## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.25565 | 0.9397 | 0.85 | 77507.6805 | 1.267 | -55137.1798 | 5.7914e-05 | 3.1933 | 151.3235 | 33.5841 | 20785293.0075 | 2640275.1188 | 33.0667 | 33.6857 | 0.13729 | [4465.848036651194, 38602.41965819327, 34439.41285401334] | [1.470898637791103, 1.2620397687823968, 1.0680647894908977] | [-9948.487297447138, -17288.63859216333, -27900.053893161825] | [4.8028754789867694e-05, 6.435815290716643e-05, 6.135494539376785e-05] | [2.3093864192606244, 3.552771740922543, 3.717756707275055] | [417.41000613369215, 21.60410261626767, 14.956302831182336] | [76.026263557932, 13.503195393100816, 11.222988111521257] | [62337227.21011554, 14216.110926448242, 4435.701580553422] | [0.15016568430785945, 0.08911169195305295, 0.07010001840217576] | [0.1370999108924692, 0.0297277862239126, 0.03454130498692536] | [183.0, 612.0, 273.0] | [0.08701042225541616, 0.6664324053266268, 0.5074047058231955] | [0.0014999355222633294, 0.0003000000692872642, 0.0003000000860543445] | [1.0, 1.0, 2.0] | [0.949999818171533, 0.8454085847078511, 0.8037108870236844] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09948487297447138, 0.17288638592163333, 0.13950026946580912] | 0.020159 | 0.050166 | 0.18293 | 1 | 183 | 1 | 612 | 2 | 273
0.25563 | 0.93928 | 0.85 | 77633.7787 | 1.2671 | -54621.4807 | 5.7776e-05 | 3.1929 | 151.3438 | 33.5903 | 20787508.5 | 2639185.4954 | 33.0662 | 33.6863 | 0.13633 | [4465.794485571808, 38602.419615005776, 34565.56455740093] | [1.4706174178629166, 1.2622574289779434, 1.0683262171546908] | [-9948.704409260157, -17230.64889729172, -27442.127403280847] | [4.8029035668970155e-05, 6.428400772613864e-05, 6.101463992578141e-05] | [2.3093741555624456, 3.551740725857285, 3.717666131427081] | [417.42465186423595, 21.645524729812625, 14.961331344699124] | [76.02788629449216, 13.51859060427268, 11.224276163551036] | [62343794.3855512, 14291.148684194408, 4439.965616065465] | [0.15016513541784857, 0.08904978916969143, 0.06977060682909539] | [0.13710595438003575, 0.02973455073028504, 0.03434565190321241] | [183.0, 612.0, 274.0] | [0.08696683868712544, 0.6661244905596585, 0.5078825173881482] | [0.0014999589910369285, 0.0003000000701344023, 0.0003000000858801542] | [1.0, 1.0, 2.0] | [0.9499998183178164, 0.8460366520926671, 0.8053393211266202] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09948704409260158, 0.17230648897291723, 0.13721063701640424] | 0.020191 | 0.050144 | 0.1829 | 1 | 183 | 1 | 612 | 2 | 274
0.25567 | 0.91688 | 0.85 | 85911.8153 | 1.266 | -54524.8208 | 5.436e-05 | 3.1719 | 152.474 | 33.9402 | 20870915.0589 | 2578536.3849 | 33.0303 | 33.5262 | 0.11399 | [4465.705363913312, 38602.41224926342, 42843.69764535871] | [1.4548118023464656, 1.276137290121586, 1.066995341886351] | [-9973.429101051277, -14059.711339901758, -30491.680358116388] | [4.8066573160860546e-05, 5.9927038108110184e-05, 5.508522637293951e-05] | [2.308912471745766, 3.489871895315667, 3.7168762956563244] | [417.9568238988848, 24.328917055040215, 15.136231839565601] | [76.08866713369932, 14.487837342524841, 11.244173797661777] | [62588442.56678339, 19730.66319607794, 4571.946806848928] | [0.15016422073795202, 0.08552019852581422, 0.06637610542282044] | [0.13746078936037204, 0.03006974592968382, 0.030949435579481085] | [183.0, 612.0, 273.0] | [0.08459825679749298, 0.6484212229489019, 0.5338731890030458] | [0.001499998049873329, 0.00030000021461606274, 0.0004557998509668197] | [1.0, 1.0, 3.0] | [0.9499998261910787, 0.8832393502508894, 0.7118566414573569] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09973429101051277, 0.1405971133990176, 0.10163893452705462] | 0.022344 | 0.048946 | 0.18198 | 1 | 183 | 1 | 612 | 3 | 273
0.25567 | 0.91664 | 0.85 | 86001.8307 | 1.2661 | -53895.0643 | 5.4224e-05 | 3.1717 | 152.486 | 33.944 | 20871702.7043 | 2577959.4749 | 33.0299 | 33.5288 | 0.11323 | [4465.705329361743, 38602.41206121122, 42933.713302693905] | [1.4546622146135426, 1.2762652420512806, 1.0673812284803774] | [-9973.668179720798, -14033.372159191433, -29888.02399537033] | [4.806693649161532e-05, 5.988813738763185e-05, 5.471777080946545e-05] | [2.3089081437383987, 3.4892854806863163, 3.7167893765983058] | [417.96180973599303, 24.356196645344916, 15.139956796126842] | [76.08923714931409, 14.497448061829886, 11.245332233654947] | [62590740.917691134, 19791.88044876766, 4575.314856436804] | [0.15016422037394875, 0.08548933829778674, 0.06595991262371496] | [0.13746417238108405, 0.030073468077263618, 0.030739715373202945] | [183.0, 612.0, 274.0] | [0.08457572538381078, 0.6482507339085123, 0.5341105987827581] | [0.0014999980650163486, 0.0003000002183047747, 0.0004572229477718304] | [1.0, 1.0, 3.0] | [0.9499998262535564, 0.8835799256138462, 0.7129844846898755] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09973668179720797, 0.14033372159191432, 0.09962674665123444] | 0.022368 | 0.048934 | 0.18197 | 1 | 183 | 1 | 612 | 3 | 274
0.25563 | 0.93945 | 0.85 | 77570.7156 | 1.2668 | -55088.9675 | 5.7904e-05 | 3.194 | 151.2969 | 33.5736 | 20786701.4256 | 2639602.5563 | 33.0665 | 33.6836 | 0.1372 | [4465.807299709926, 38665.49548224174, 34439.412819626894] | [1.4707256893436367, 1.2618044630822853, 1.0678879316471088] | [-9948.587815619901, -17280.456757804124, -27859.92294528781] | [4.8028869989588815e-05, 6.435262300266082e-05, 6.133127841334899e-05] | [2.3093782630201813, 3.5546826196145482, 3.7180774986019953] | [417.4197990204372, 21.52718536518135, 14.94374939982247] | [76.02734371887797, 13.474610398765174, 11.21874801834767] | [62341603.41708263, 14076.757635475511, 4424.102201624015] | [0.15016526676267397, 0.0890277514086542, 0.06999481786503928] | [0.13710359287976162, 0.02965432797832536, 0.0345413112276832] | [183.0, 613.0, 273.0] | [0.0869833635841899, 0.6669430569257654, 0.506664029223607] | [0.0014999533751865466, 0.00030000006977814504, 0.00030000008681038004] | [1.0, 1.0, 2.0] | [0.9499998182681259, 0.8448502888462248, 0.8037107333613679] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09948587815619903, 0.17280456757804125, 0.13929961472643906] | 0.020175 | 0.050152 | 0.18291 | 1 | 183 | 1 | 613 | 2 | 273
0.25562 | 0.93903 | 0.85 | 77696.8362 | 1.2669 | -54574.0974 | 5.7766e-05 | 3.1937 | 151.3164 | 33.5796 | 20788599.1005 | 2638515.1441 | 33.0659 | 33.6842 | 0.13624 | [4465.776222934409, 38665.49543846179, 34565.56452298045] | [1.4704432129138216, 1.262021660977157, 1.0681486968145848] | [-9948.90198750888, -17222.57169209739, -27402.623687122672] | [4.802931963518879e-05, 6.42785984313379e-05, 6.099109271968758e-05] | [2.309367731768083, 3.5536535522451893, 3.717987005679679] | [417.4322233348133, 21.568349998436737, 14.948764313782302] | [76.02873453595801, 13.489933970605033, 11.220033539304524] | [62347218.10606082, 14150.851416203765, 4428.343885176617] | [0.15016494822204465, 0.08896589717577041, 0.06966580691418169] | [0.1371097647661012, 0.029661050391739312, 0.034345658077820064] | [183.0, 613.0, 274.0] | [0.08694032536801644, 0.6666358620296547, 0.5071418965606298] | [0.0014999669947709279, 0.0003000000706355034, 0.00030000008663417615] | [1.0, 1.0, 2.0] | [0.9499998184158147, 0.8454775280276274, 0.805339167875129] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0994890198750888, 0.1722257169209739, 0.13701311843561337] | 0.020208 | 0.050131 | 0.18288 | 1 | 183 | 1 | 613 | 2 | 274
0.25566 | 0.91684 | 0.85 | 85915.72 | 1.2658 | -54465.9667 | 5.4357e-05 | 3.1728 | 152.4316 | 33.9254 | 20870957.5446 | 2578437.0708 | 33.0303 | 33.5262 | 0.11396 | [4465.705355892389, 38665.48804800193, 42784.52658097582] | [1.4547860501243388, 1.2757776011950615, 1.0669022087229945] | [-9973.470248295023, -14077.686064775886, -30414.810366059908] | [4.806663569140259e-05, 5.99589786639106e-05, 5.504542137992522e-05] | [2.3089117265227355, 3.4923305308222345, 3.717185282305467] | [417.9576824057902, 24.214807312841565, 15.122370047017966] | [76.08876528238656, 14.44756778656662, 11.239947976023089] | [62588838.306201, 19475.346344201862, 4558.981340050507] | [0.15016422065352897, 0.08546446594701496, 0.0662256388046563] | [0.1374613717246552, 0.02999204700607899, 0.030938967448635175] | [183.0, 613.0, 273.0] | [0.08459437803336893, 0.6491011613144501, 0.5329718935004931] | [0.0014999980533886832, 0.00030000021536552, 0.000457062531129025] | [1.0, 1.0, 3.0] | [0.949999826205089, 0.8823772736298898, 0.7111123682425443] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09973470248295023, 0.14077686064775888, 0.10138270122019968] | 0.022345 | 0.048944 | 0.18198 | 1 | 183 | 1 | 613 | 3 | 273
0.25566 | 0.9166 | 0.85 | 86005.0246 | 1.2659 | -53837.3873 | 5.4222e-05 | 3.1726 | 152.4431 | 33.9291 | 20871566.6996 | 2577866.4939 | 33.0299 | 33.5288 | 0.11321 | [4465.71307005662, 38665.46821662834, 42873.843347919516] | [1.454637110211197, 1.2759055599890383, 1.0672884937278915] | [-9973.761742699313, -14051.392042641568, -29812.233515198863] | [4.806709021480779e-05, 5.992018204461356e-05, 5.467796695124243e-05] | [2.308908366519879, 3.491747625738133, 3.7170972586784474] | [417.96142764778244, 24.241774737445134, 15.126110231716263] | [76.08920561247257, 14.457087175725585, 11.241118438155107] | [62590602.38499273, 19535.357098645218, 4562.356751759457] | [0.1501643479632235, 0.08543364136921387, 0.06580986848368953] | [0.1374648105445954, 0.029995665151633575, 0.030729190852203683] | [183.0, 613.0, 274.0] | [0.08457225336128944, 0.6489321706356778, 0.5332080007991113] | [0.001499994672484674, 0.0003000006037306696, 0.0004584998675964303] | [1.0, 1.0, 3.0] | [0.9499995209860932, 0.8827162803095807, 0.7122355322544979] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09973761742699312, 0.14051392042641567, 0.09937411171732953] | 0.022369 | 0.048933 | 0.18197 | 1 | 183 | 1 | 613 | 3 | 274
0.2556 | 0.91842 | 0.85 | 85210.43 | 1.2753 | -49625.1855 | 5.1803e-05 | 3.197 | 151.5773 | 33.598 | 20863390.9517 | 2583237.9689 | 33.0327 | 33.5105 | 0.099328 | [4465.710195230632, 46305.32999307656, 34439.38980488317] | [1.4560307263094103, 1.3165478344515862, 1.053313818466775] | [-9971.521525066624, -14793.065443257008, -24860.598541479863] | [4.806368235996918e-05, 4.787411148152003e-05, 5.946992920129047e-05] | [2.308948414116217, 3.5379372158004103, 3.7440157539368664] | [417.9153304321841, 22.85311734859798, 13.963372718416576] | [76.08393204351731, 13.82526827916858, 10.884748236475193] | [62569345.35510151, 17230.612466781447, 3596.887481477116] | [0.15016431756103343, 0.07257334730833502, 0.061573553065404706] | [0.13743329241345562, 0.021213468299762155, 0.03454211406431071] | [183.0, 612.0, 273.0] | [0.0847819625841245, 0.7077367249216364, 0.4391549755471474] | [0.0014999959324397234, 0.0008052790642550369, 0.0003000005928230022] | [1.0, 2.0, 2.0] | [0.9499995269161814, 0.646355436795996, 0.8036902533916537] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09971521525066625, 0.07396532721628504, 0.1243029927073993] | 0.022162 | 0.049039 | 0.182 | 1 | 183 | 2 | 612 | 2 | 273
0.2556 | 0.91815 | 0.85 | 85303.4967 | 1.2751 | -49306.7668 | 5.1727e-05 | 3.197 | 151.5764 | 33.5974 | 20864309.6791 | 2582537.7069 | 33.0323 | 33.5114 | 0.098798 | [4465.7101886897835, 46272.24503979648, 34565.54143655909] | [1.4558490001808548, 1.3159379403490754, 1.0535427524137102] | [-9971.811817949876, -14880.405095096312, -24454.549883024476] | [4.806412363126674e-05, 4.7973594047123446e-05, 5.914195679036063e-05] | [2.308943163158178, 3.5381377903012465, 3.7438920870693337] | [417.92137816757923, 22.839001026727594, 13.968798903348702] | [76.0846235394865, 13.821327377436571, 10.886341438701749] | [62572132.61472776, 17195.67815489269, 3600.744361956398] | [0.150164317487944, 0.07266807314796124, 0.06128938681564133] | [0.13743739853324166, 0.021262940109810557, 0.03434644933497769] | [183.0, 612.0, 274.0] | [0.08475461748998155, 0.7074369041141926, 0.4397464799720967] | [0.0014999959353063951, 0.000806181744918619, 0.0003000005923702218] | [1.0, 2.0, 2.0] | [0.9499995269544598, 0.6452704134762423, 0.8053188167258022] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09971811817949876, 0.07440202547548155, 0.12227274941512238] | 0.022186 | 0.049025 | 0.18199 | 1 | 183 | 2 | 612 | 2 | 274
0.25615 | 0.91412 | 0.85 | 87730.5797 | 1.272 | -52980.0412 | 5.0268e-05 | 3.1978 | 151.5548 | 33.5844 | 20879145.6426 | 2571235.2644 | 33.0213 | 33.5047 | 0.090118 | [4465.710053362318, 45772.49422812527, 37492.37543408527] | [1.4529190543569674, 1.306220244048829, 1.0569677297582443] | [-9976.498423564868, -16345.43809077399, -26658.104689426487] | [4.8071246052510094e-05, 4.95862374505394e-05, 5.314557921366586e-05] | [2.3088584147347055, 3.5412976944663286, 3.7431019999903796] | [418.0190064837616, 22.61931182639053, 14.025936098309012] | [76.09578544938499, 13.75963473920863, 10.89770368047002] | [62617141.73596817, 16659.049327403955, 3636.142443895807] | [0.1501643159900142, 0.07421563748836937, 0.05592841709548679] | [0.13750368240168487, 0.022065490563552625, 0.030830532528352415] | [183.0, 612.0, 273.0] | [0.08431319184223691, 0.7027236682858401, 0.44889508487034757] | [0.0014999959946166424, 0.0008199755322819852, 0.0005861131833390953] | [1.0, 2.0, 3.0] | [0.9499995276562091, 0.628271618124098, 0.6350395651456782] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09976498423564868, 0.08172719045386996, 0.08886034896475496] | 0.022817 | 0.048802 | 0.18214 | 1 | 183 | 2 | 612 | 3 | 273
0.25616 | 0.9141 | 0.85 | 87744.4442 | 1.2722 | -52451.6896 | 5.0148e-05 | 3.1977 | 151.5556 | 33.5847 | 20879136.786 | 2571243.2434 | 33.0212 | 33.5087 | 0.089522 | [4465.710054789008, 45779.50280526058, 37499.23133091748] | [1.452921120551657, 1.306293329802387, 1.0573259170762774] | [-9976.495120206635, -16330.773643972914, -26144.420800056418] | [4.807124103462509e-05, 4.957064644417697e-05, 5.2802024041264585e-05] | [2.3088584746640994, 3.5412714855396645, 3.743055969360048] | [418.01893741910345, 22.621164966953046, 14.02670494227867] | [76.09577755510392, 13.760149531378449, 10.898221323575154] | [62617109.88991461, 16663.538892606502, 3636.9292416330645] | [0.1501643160052218, 0.07420018711649634, 0.055556388880501045] | [0.13750363561064163, 0.02205781762699701, 0.030629737675251838] | [183.0, 612.0, 274.0] | [0.08431350353928421, 0.7027651757680844, 0.4488179367054585] | [0.0014999959939913637, 0.0008197800040939358, 0.0005897433981349676] | [1.0, 2.0, 3.0] | [0.9499995276525076, 0.6284558808077604, 0.6351517882402316] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09976495120206634, 0.08165386821986458, 0.0871480693335214] | 0.022821 | 0.048802 | 0.18214 | 1 | 183 | 2 | 612 | 3 | 274
0.2556 | 0.91851 | 0.85 | 85180.4505 | 1.2755 | -49593.0673 | 5.179e-05 | 3.197 | 151.5748 | 33.5974 | 20863185.5253 | 2583494.5458 | 33.0328 | 33.5114 | 0.099274 | [4465.70428159181, 46275.33915790528, 34439.40709697274] | [1.4560981651995266, 1.3170341507878085, 1.0533998038983337] | [-9971.368420062043, -14744.908881142077, -24876.789973691575] | [4.806343986191036e-05, 4.78263472367368e-05, 5.948055304950126e-05] | [2.308949561226372, 3.538110677151992, 3.743866129079593] | [417.9141155597816, 22.84144697983898, 13.968840504190888] | [76.08378284464847, 13.821928620017838, 10.886624056592286] | [62568753.64984858, 17201.84534144069, 3601.080689554671] | [0.1501642092942427, 0.07245902112280371, 0.06162198317009402] | [0.13743170735248555, 0.02119691276651626, 0.03454215610073219] | [183.0, 613.0, 273.0] | [0.08479185840887804, 0.7075039641786267, 0.4395952267557783] | [0.0014999985242257262, 0.00080816148237645, 0.00030000021263119366] | [1.0, 2.0, 2.0] | [0.9499998284099429, 0.6454773926474108, 0.803689893590853] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09971368420062043, 0.07372454440571038, 0.1243839498684579] | 0.022154 | 0.049044 | 0.18201 | 1 | 183 | 2 | 613 | 2 | 273
0.2556 | 0.91824 | 0.85 | 85273.6747 | 1.2753 | -49273.9147 | 5.1714e-05 | 3.197 | 151.5736 | 33.5969 | 20863964.0925 | 2582792.0317 | 33.0324 | 33.5123 | 0.098743 | [4465.71019301799, 46242.42278769689, 34565.541742377514] | [1.4559149976068824, 1.3164226872072153, 1.0536288024418725] | [-9971.706395672602, -14831.920791669461, -24470.287520664475] | [4.806396338316886e-05, 4.7925663390048785e-05, 5.91523698786442e-05] | [2.308945070377866, 3.538310344257442, 3.743742293228967] | [417.91918151009077, 22.82739730771924, 13.974269764422392] | [76.08437237714735, 13.818005962477992, 10.888219537115429] | [62571120.22072939, 17167.113438591143, 3604.9433637384454] | [0.15016431753533285, 0.07255368892731605, 0.06133733926478874] | [0.1374359072561714, 0.02124631279021912, 0.03434644694730259] | [183.0, 613.0, 274.0] | [0.08476454891810897, 0.7072047302476699, 0.4401846667998738] | [0.0014999959334094633, 0.0008090621944172648, 0.0003000005856708943] | [1.0, 2.0, 2.0] | [0.9499995269353039, 0.6443950992783093, 0.8053188868290242] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09971706395672603, 0.07415960395834731, 0.1223514376033224] | 0.022178 | 0.04903 | 0.182 | 1 | 183 | 2 | 613 | 2 | 274
0.25615 | 0.91412 | 0.85 | 87732.8497 | 1.2721 | -52962.9009 | 5.0263e-05 | 3.1978 | 151.5518 | 33.5836 | 20879140.2028 | 2571231.3241 | 33.0213 | 33.5048 | 0.090087 | [4465.710052261714, 45734.72451674116, 37532.4150815117] | [1.452918034033765, 1.3064733338984427, 1.057040571575375] | [-9976.500053048121, -16324.795424999624, -26661.60540589983] | [4.8071248527345324e-05, 4.9571217092281926e-05, 5.314531314325152e-05] | [2.3088583851078783, 3.5415280582143227, 3.7429399284977265] | [418.01904063096725, 22.603940724480687, 14.032444716104347] | [76.09578935209382, 13.755223553170515, 10.899772675176525] | [62617157.480143964, 16622.089748010243, 3641.0385465022146] | [0.1501643159782299, 0.07413484282941253, 0.055977469196854986] | [0.13750370550597157, 0.022065190008671725, 0.030824394141506117] | [183.0, 613.0, 273.0] | [0.08431303790769486, 0.7024036383850564, 0.4494878363928998] | [0.0014999959950990059, 0.0008231188905814, 0.0005850001749721803] | [1.0, 2.0, 3.0] | [0.9499995276593973, 0.6270719881349069, 0.6356955943496596] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09976500053048121, 0.08162397712499812, 0.0888720180196661] | 0.022818 | 0.048802 | 0.18214 | 1 | 183 | 2 | 613 | 3 | 273
0.25616 | 0.9141 | 0.85 | 87747.154 | 1.2723 | -52434.4422 | 5.0143e-05 | 3.1978 | 151.5527 | 33.5839 | 20879135.3256 | 2571236.2626 | 33.0212 | 33.5087 | 0.089492 | [4465.710053665446, 45741.53584622897, 37539.90810198192] | [1.4529193128137357, 1.30654362186992, 1.0573994094415513] | [-9976.498010876323, -16310.637818075693, -26147.306349502836] | [4.807124542574133e-05, 4.9556156506603424e-05, 5.280137989604162e-05] | [2.3088584222408497, 3.541502941958723, 3.742893295043204] | [418.01899783217107, 22.60571600718105, 14.033241758195857] | [76.09578446060587, 13.755716729674452, 10.900298289767445] | [62617137.747053325, 16626.38394332101, 3641.84589071716] | [0.15016431599317842, 0.07411988111798863, 0.05560499373473841] | [0.1375036765492318, 0.022057781765526342, 0.030623396284493055] | [183.0, 613.0, 274.0] | [0.08431323083586352, 0.7024435149196544, 0.44941394318462397] | [0.0014999959944837892, 0.0008229282394882111, 0.000588608971358864] | [1.0, 2.0, 3.0] | [0.9499995276558463, 0.6272503240726783, 0.6358180005468657] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09976498010876324, 0.08155318909037845, 0.08715768783167613] | 0.022822 | 0.048802 | 0.18214 | 1 | 183 | 2 | 613 | 3 | 274
0.25563 | 0.93939 | 0.85 | 77596.0447 | 1.2655 | -55222.1601 | 5.8001e-05 | 3.1962 | 148.4707 | 33.2782 | 19597749.2652 | 2639432.611 | 33.0664 | 33.6826 | 0.13767 | [4554.212288627694, 38602.41961433905, 34439.412801527076] | [1.467069166318283, 1.2616343094646747, 1.0678014827197526] | [-10121.125541154712, -17260.70146377531, -27840.333128324106] | [4.8353904167788054e-05, 6.433019458933014e-05, 6.131971273807063e-05] | [2.316062629198297, 3.5543675366535155, 3.7182342985084893] | [408.93742164196436, 21.536955620013558, 14.937617790956972] | [75.13877361624704, 13.479005558100221, 11.216676696300773] | [58774738.18213979, 14091.167477907384, 4418.445927856485] | [0.1500008502172307, 0.08898368957682118, 0.06994341716571648] | [0.136691680099462, 0.02967460877946196, 0.034541313573247336] | [184.0, 612.0, 273.0] | [0.0887287006569978, 0.666550273693497, 0.5063013364228731] | [0.0014724489293712895, 0.0003000000701474802, 0.00030000008720833065] | [1.0, 1.0, 2.0] | [0.9499998154143086, 0.8450313498158285, 0.8037106754113075] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1012112554115471, 0.17260701463775308, 0.13920166564162054] | 0.020182 | 0.050149 | 0.18291 | 1 | 184 | 1 | 612 | 2 | 273
0.25562 | 0.93897 | 0.85 | 77722.1761 | 1.2656 | -54707.74 | 5.7863e-05 | 3.1958 | 148.4898 | 33.2841 | 19599419.0166 | 2638346.3578 | 33.0658 | 33.6832 | 0.13672 | [4554.19199280676, 38602.419570308804, 34565.56450486767] | [1.4667883646679705, 1.2618515446395913, 1.0680619342572597] | [-10121.503380863618, -17202.894280318797, -27383.34236312635] | [4.835445535157289e-05, 6.425619856745342e-05, 6.097958694916742e-05] | [2.316052753860871, 3.553337984982247, 3.7181438276110987] | [408.94870590541643, 21.578170124575195, 14.942626788431179] | [75.14005694706974, 13.494344187903593, 11.217961225762169] | [58779668.97012021, 14165.402273621614, 4422.677391648611] | [0.15000064295357277, 0.08892194101299415, 0.06961460800312537] | [0.1366980359770945, 0.029681321847664945, 0.0343456603995321] | [184.0, 612.0, 274.0] | [0.0886850684104897, 0.6662431549746618, 0.5067792731142019] | [0.0014724575288789954, 0.00030000007101114925, 0.00030000008703095826] | [1.0, 1.0, 2.0] | [0.949999813510876, 0.8456586371812006, 0.8053391100553816] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10121503380863617, 0.17202894280318795, 0.13691671181563175] | 0.020214 | 0.050128 | 0.18288 | 1 | 184 | 1 | 612 | 2 | 274
0.25567 | 0.91689 | 0.85 | 85910.3721 | 1.2646 | -54596.9668 | 5.4458e-05 | 3.175 | 149.6011 | 33.6291 | 19678176.398 | 2578563.7926 | 33.0304 | 33.5263 | 0.11449 | [4554.129853147137, 38602.412185263805, 42753.83004854934] | [1.4513326541771332, 1.2755560551086675, 1.066858884355082] | [-10146.966453033483, -14073.40178723909, -30376.59852741384] | [4.839275749563785e-05, 5.995481850756876e-05, 5.5025559068785904e-05] | [2.315588866736821, 3.492218774566895, 3.7173359266290773] | [409.47050033198826, 24.217136901910443, 15.115583361619045] | [75.20022161990812, 14.449133539432415, 11.237886825476753] | [59010499.850099884, 19476.690961071432, 4552.652971263847] | [0.15000004507586367, 0.0854401661101643, 0.06615102747199071] | [0.1370547208700581, 0.030010958519450605, 0.03093360912019955] | [184.0, 612.0, 273.0] | [0.08630349620859629, 0.6487800832402765, 0.532525983276949] | [0.0014724838584448837, 0.0003000002158714383, 0.0004577189562820754] | [1.0, 1.0, 3.0] | [0.9499995752670205, 0.8824198479244982, 0.710725471897572] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10146966453033482, 0.1407340178723909, 0.1012553284247128] | 0.022344 | 0.048946 | 0.18198 | 1 | 184 | 1 | 612 | 3 | 273
0.25567 | 0.91666 | 0.85 | 85999.1548 | 1.2647 | -53969.4819 | 5.4323e-05 | 3.1748 | 149.6128 | 33.6328 | 19678921.0988 | 2577997.4718 | 33.0299 | 33.5289 | 0.11373 | [4554.1297509454325, 38602.4119993472, 42842.61304091901] | [1.4511869919206748, 1.2756811209647154, 1.0672452245600696] | [-10147.210301832207, -14047.582707551417, -29774.68886717845] | [4.839312435986861e-05, 5.991671273636872e-05, 5.465820093714086e-05] | [2.315584512954492, 3.491643581677433, 3.717249096841889] | [409.47539768523814, 24.243746169859364, 15.11927342342283] | [75.20078657467593, 14.458527555657593, 11.239041246314494] | [59012671.41672094, 19535.898279410383, 4555.981528172979] | [0.15000004473644485, 0.08540994119896021, 0.0657353547991408] | [0.13705810567801044, 0.03001463216735348, 0.03072383735852414] | [184.0, 612.0, 274.0] | [0.08628092837150775, 0.6486127462311848, 0.5327601591030324] | [0.0014724839017499693, 0.0003000002195182597, 0.0004591673709524477] | [1.0, 1.0, 3.0] | [0.9499995707970703, 0.8827539152301537, 0.7118425843105416] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10147210301832207, 0.14047582707551418, 0.09924896289059484] | 0.022367 | 0.048935 | 0.18197 | 1 | 184 | 1 | 612 | 3 | 274
0.25562 | 0.93914 | 0.85 | 77659.2076 | 1.2653 | -55173.9565 | 5.7992e-05 | 3.197 | 148.4397 | 33.2671 | 19597189.7894 | 2638761.6867 | 33.0661 | 33.6805 | 0.13758 | [4554.312713473234, 38665.48910105026, 34439.40573766461] | [1.466886111563695, 1.261402417299419, 1.0676249161553106] | [-10121.876905182764, -17251.78756916011, -27800.29201748525] | [4.83551342035626e-05, 6.432370141906655e-05, 6.129603780416051e-05] | [2.3160653733242436, 3.556272871622002, 3.7185539941059362] | [408.9333000265608, 21.460551458722158, 14.925117305863813] | [75.13839924651849, 13.450570005035601, 11.212454566795865] | [58773208.892041065, 13953.543446169317, 4406.932843754662] | [0.1500019290008613, 0.08889903995098447, 0.06983838617721927] | [0.13669635846308326, 0.029601077381493562, 0.034541293687931206] | [184.0, 613.0, 273.0] | [0.08870406522885606, 0.6670599389515569, 0.5055589107623417] | [0.00147240637965894, 0.0003000001947432947, 0.00030000024251755153] | [1.0, 1.0, 2.0] | [0.9499994877571304, 0.8444787748995534, 0.8037108796250595] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10121876905182765, 0.17251787569160112, 0.13900146008742625] | 0.020198 | 0.050136 | 0.18289 | 1 | 184 | 1 | 613 | 2 | 273
0.2556 | 0.93872 | 0.85 | 77785.2431 | 1.2654 | -54660.6464 | 5.7854e-05 | 3.1966 | 148.4622 | 33.2734 | 19600331.9201 | 2637678.3847 | 33.0656 | 33.6811 | 0.13663 | [4554.183190032686, 38665.495393124686, 34565.5644696798] | [1.4666154172887995, 1.261615858447342, 1.0678847984686457] | [-10121.751860747916, -17194.834183844847, -27344.060365451416] | [4.8354821995254664e-05, 6.42507921737982e-05, 6.095612786673173e-05] | [2.3160469578195197, 3.5552511756110747, 3.718463811588083] | [408.9552983371115, 21.501258347736282, 14.930110511590877] | [75.14080962234664, 13.465746639513037, 11.213734373363032] | [58782558.23748449, 14026.381541240486, 4411.1411730142645] | [0.1500005531320305, 0.08883823696372443, 0.06951014169354792] | [0.13670196749782876, 0.029608008357518353, 0.03434566657732879] | [184.0, 613.0, 274.0] | [0.0886583122006151, 0.6667539762375618, 0.5060376971890468] | [0.0014724612587112293, 0.0003000000715233559, 0.00030000008780179066] | [1.0, 1.0, 2.0] | [0.949999812220484, 0.8450993922866086, 0.8053389566969823] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10121751860747916, 0.17194834183844848, 0.13672030182725708] | 0.020231 | 0.050114 | 0.18286 | 1 | 184 | 1 | 613 | 2 | 274
0.25566 | 0.91685 | 0.85 | 85914.0589 | 1.2644 | -54538.9494 | 5.4455e-05 | 3.176 | 149.5587 | 33.6143 | 19678121.5341 | 2578466.4873 | 33.0304 | 33.5263 | 0.11446 | [4554.12601939181, 38665.46855680557, 42694.46431086369] | [1.45130700962428, 1.2751979010278947, 1.066765483716911] | [-10147.04420012749, -14091.23458083361, -30300.67063773881] | [4.839288146668308e-05, 5.9986517325151905e-05, 5.498615054415041e-05] | [2.315588643027694, 3.494675643048211, 3.7176432086062996] | [409.470677820868, 24.103728284896906, 15.101804601594432] | [75.20024932868428, 14.409030337666488, 11.233687748818744] | [59010599.71690025, 19225.07136828351, 4539.813987394955] | [0.15000012405217666, 0.08538443487347308, 0.06600153725332222] | [0.13705538395739106, 0.029933413675370203, 0.030923341804832537] | [184.0, 613.0, 273.0] | [0.08629955663148778, 0.6494590943236792, 0.5316224298889043] | [0.0014724854828917567, 0.0003000005970688494, 0.0004589911314841531] | [1.0, 1.0, 3.0] | [0.9499988267723293, 0.8815584864231449, 0.7099767312468572] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1014704420012749, 0.14091234580833611, 0.10100223545912937] | 0.022345 | 0.048944 | 0.18198 | 1 | 184 | 1 | 613 | 3 | 273
0.25567 | 0.91662 | 0.85 | 86001.9142 | 1.2645 | -53913.3192 | 5.4321e-05 | 3.1758 | 149.5704 | 33.618 | 19678946.7676 | 2577907.866 | 33.0299 | 33.5289 | 0.11371 | [4554.129728791196, 38665.48779948086, 42782.29668935701] | [1.4511639460923598, 1.2753188869865417, 1.0671519450337397] | [-10147.248877902872, -14066.043353113062, -29700.02696681469] | [4.839318239409959e-05, 5.9949381087636116e-05, 5.461893824573053e-05] | [2.3155838239258073, 3.494113139401864, 3.717557831246629] | [409.4761727668131, 24.1295932500647, 15.105425482922607] | [75.20087598527093, 14.418182323465814, 11.234821907546507] | [59013015.10149213, 19282.12519330903, 4543.076060876901] | [0.1500000446640784, 0.08535494521785938, 0.06558613338185833] | [0.13705864124172626, 0.029937107858666084, 0.030713564726197278] | [184.0, 613.0, 274.0] | [0.08627735744527863, 0.6492946695275552, 0.5318534135165115] | [0.0014724839111372018, 0.00030000022023239783, 0.0004604593057194762] | [1.0, 1.0, 3.0] | [0.9499995698204616, 0.8818851540743077, 0.7110838548022779] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10147248877902872, 0.1406604335311306, 0.09900008988938229] | 0.022368 | 0.048933 | 0.18197 | 1 | 184 | 1 | 613 | 3 | 274
0.25561 | 0.91848 | 0.85 | 85202.6829 | 1.2741 | -49787.9226 | 5.191e-05 | 3.1994 | 148.7384 | 33.2989 | 19670900.082 | 2583374.408 | 33.0327 | 33.5105 | 0.099888 | [4554.1090089190575, 46209.184160193545, 34439.38975924588] | [1.4525702026256684, 1.316355931450637, 1.053304820776493] | [-10144.91951248528, -14784.092550858846, -24858.910556029732] | [4.838968147694821e-05, 4.78728539504501e-05, 5.9468820272317464e-05] | [2.315626065484868, 3.5384116138608794, 3.744031535184079] | [409.42862089079847, 22.823901487276338, 13.962797714790813] | [75.19539420798489, 13.816710559307879, 10.884550904089396] | [58991944.10171212, 17159.697588432355, 3596.4466342574233] | [0.15000009437498255, 0.07248738056096407, 0.061568495297107693] | [0.13702607305318315, 0.021226324363056936, 0.03454211283976466] | [184.0, 612.0, 273.0] | [0.08649478513690946, 0.7072127585053753, 0.4391089072912318] | [0.0014724926906380497, 0.0008079058602770004, 0.0003000005938264051] | [1.0, 2.0, 2.0] | [0.9499979129619861, 0.645150387690741, 0.8036902815868384] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1014491951248528, 0.07392046275429423, 0.12429455278014866] | 0.02216 | 0.049041 | 0.18201 | 1 | 184 | 2 | 612 | 2 | 273
0.2556 | 0.91821 | 0.85 | 85295.9371 | 1.2739 | -49469.6852 | 5.1834e-05 | 3.1994 | 148.7377 | 33.2983 | 19671845.4192 | 2582672.8463 | 33.0323 | 33.5114 | 0.099358 | [4554.1236269719775, 46176.25479440413, 34565.55865034104] | [1.4523900778849042, 1.3157448478950347, 1.0535332426157962] | [-10145.192529571108, -14871.542583046798, -24452.950052849872] | [4.839008715680691e-05, 4.797248740439412e-05, 5.914091691659085e-05] | [2.3156203323722124, 3.5386119524536612, 3.7439092397340565] | [409.43512283086375, 22.809837636009885, 13.968180870377633] | [75.19613903412315, 13.81277997806472, 10.886127366752202] | [58994810.9832101, 17125.003905402245, 3600.270555675037] | [0.15000003420902608, 0.07258238417217852, 0.06128422906919645] | [0.1370301707651657, 0.021275862096835258, 0.03434649081850644] | [184.0, 612.0, 274.0] | [0.08646710017143418, 0.7069134801325246, 0.439698635619825] | [0.001472486496614308, 0.0008088080368138563, 0.00030000021528139723] | [1.0, 2.0, 2.0] | [0.9499992408212569, 0.6440657366655161, 0.805318456573329] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10145192529571107, 0.07435771291523398, 0.12226475026424938] | 0.022184 | 0.049028 | 0.182 | 1 | 184 | 2 | 612 | 2 | 274
0.25616 | 0.91419 | 0.85 | 87719.8467 | 1.2708 | -53134.5415 | 5.0373e-05 | 3.2001 | 148.7166 | 33.2855 | 19686084.0563 | 2571398.5628 | 33.0214 | 33.5048 | 0.090664 | [4554.123015476706, 45683.442026634984, 37482.28170478937] | [1.4494908421523638, 1.30607943988703, 1.056952293014803] | [-10150.049896699451, -16326.52984050248, -26657.96178911666] | [4.839739516687725e-05, 4.957481990419447e-05, 5.314606806332258e-05] | [2.3155337087799075, 3.5417389505993464, 3.7431385403801585] | [409.53255950176833, 22.592803056279287, 14.024463600493771] | [75.20737966823117, 13.751787953472904, 10.8972374522392] | [59038020.75498362, 16596.374524394374, 3635.0394954351445] | [0.1500000337037634, 0.07412194144189425, 0.05591764171356956] | [0.13709755896392267, 0.0220733355129446, 0.030832131798550374] | [184.0, 612.0, 273.0] | [0.08601783477456844, 0.702242054198025, 0.44876024881331367] | [0.0014724867557188957, 0.0008224651715865922, 0.0005863941406438402] | [1.0, 2.0, 3.0] | [0.9499992044147534, 0.6272143608033275, 0.6348732990113145] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1015004989669945, 0.0816326492025124, 0.08885987263038887] | 0.022815 | 0.048805 | 0.18215 | 1 | 184 | 2 | 612 | 3 | 273
0.25617 | 0.91417 | 0.85 | 87733.7201 | 1.271 | -52605.8877 | 5.0253e-05 | 3.2001 | 148.7173 | 33.2858 | 19686017.7703 | 2571406.5312 | 33.0213 | 33.5087 | 0.090069 | [4554.107268790371, 45690.547970537715, 37489.06486399377] | [1.4494924197439925, 1.3061544215309455, 1.0573103765803853] | [-10150.07538382208, -16311.54546118405, -26144.266845421218] | [4.8397438589091136e-05, 4.955887988552416e-05, 5.2802499391112895e-05] | [2.315534101208134, 3.5417114408401495, 3.743092031305544] | [409.53206456604715, 22.594718630172373, 14.025243293099944] | [75.20732778922677, 13.75232369897787, 10.897760620004831] | [59037816.48930502, 16600.987259991503, 3635.8342540539115] | [0.1500000929284313, 0.07410612778762457, 0.05554565688299079] | [0.1370976083740514, 0.022065517958940427, 0.030631340302963047] | [184.0, 612.0, 274.0] | [0.08601786624338427, 0.7022840056222707, 0.4486825528809753] | [0.0014724934279754488, 0.0008222661538613195, 0.0005900273133370872] | [1.0, 2.0, 3.0] | [0.9499978094157424, 0.6274024314908198, 0.6349850974410077] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10150075383822081, 0.08155772730592026, 0.08714755615140406] | 0.022818 | 0.048805 | 0.18215 | 1 | 184 | 2 | 612 | 3 | 274
0.25561 | 0.91857 | 0.85 | 85172.7387 | 1.2743 | -49756.1034 | 5.1898e-05 | 3.1994 | 148.7358 | 33.2983 | 19670624.6379 | 2583630.5688 | 33.0328 | 33.5114 | 0.099835 | [4554.123673902029, 46179.207931052726, 34439.40708045836] | [1.452636631607759, 1.3168395768390313, 1.053390589743636] | [-10144.78002829113, -14736.263751709093, -24875.059659799976] | [4.8389466393579885e-05, 4.78254028106316e-05, 5.9479417101165094e-05] | [2.315627691369211, 3.538584758736068, 3.743882292994057] | [409.4268469820453, 22.812271200344078, 13.968251309561657] | [75.1951842276517, 13.813380230662137, 10.886421867256566] | [58991142.17186417, 17131.113501000196, 3600.6284684314037] | [0.15000003425039385, 0.07237372051581656, 0.06161680217995711] | [0.13702444719749468, 0.021209887088534926, 0.03454215491810316] | [184.0, 613.0, 273.0] | [0.0865052581920971, 0.7069799569876131, 0.43954810900978974] | [0.0014724864767289702, 0.0008107955845441273, 0.0003000002129942862] | [1.0, 2.0, 2.0] | [0.9499992435989166, 0.6442711666173223, 0.8036899218448837] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10144780028291132, 0.07368131875854546, 0.1243752982989999] | 0.022152 | 0.049047 | 0.18202 | 1 | 184 | 2 | 613 | 2 | 273
0.25561 | 0.9183 | 0.85 | 85266.1522 | 1.2741 | -49437.1152 | 5.1822e-05 | 3.1994 | 148.7349 | 33.2978 | 19671513.1288 | 2582926.7466 | 33.0324 | 33.5122 | 0.099304 | [4554.123645726839, 46146.469754269114, 34565.558761350476] | [1.4524554371853764, 1.3162269910630822, 1.0536190776769407] | [-10145.08317146977, -14823.386450567403, -24468.645545577594] | [4.838992258920892e-05, 4.792486729053793e-05, 5.915130266322169e-05] | [2.3156222833614692, 3.538784073351157, 3.7437598230574713] | [409.4329287366024, 22.7982809095956, 13.973637680434132] | [75.19588589742096, 13.80946995630253, 10.888000668848044] | [58993838.29018215, 17096.637982590168, 3604.458249015536] | [0.15000003422516245, 0.0724686816321293, 0.061332059078730794] | [0.13702865337263365, 0.02125934893995761, 0.03434648815999203] | [184.0, 613.0, 274.0] | [0.08647721639248557, 0.7066813897304218, 0.44013578308386125] | [0.001472486488667443, 0.0008116951520262921, 0.00030000021284960174] | [1.0, 2.0, 2.0] | [0.9499992419338108, 0.6431895576162117, 0.805318526107902] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10145083171469771, 0.07411693225283701, 0.12234322772788796] | 0.022176 | 0.049033 | 0.182 | 1 | 184 | 2 | 613 | 2 | 274
0.25616 | 0.91418 | 0.85 | 87722.1046 | 1.2709 | -53117.4606 | 5.0368e-05 | 3.2002 | 148.7137 | 33.2847 | 19686078.3583 | 2571394.7413 | 33.0213 | 33.5049 | 0.090634 | [4554.123010115466, 45645.82593823137, 37522.155693803106] | [1.4494898604632493, 1.3063312785615198, 1.057024894831377] | [-10150.051542707091, -16306.044335237777, -26661.36469880661] | [4.8397397642391105e-05, 4.955990882028391e-05, 5.314574895202973e-05] | [2.315533679369954, 3.541968307122842, 3.7429771382561947] | [409.53259259381207, 22.57752152465586, 14.030943963899066] | [75.2073834851354, 13.747399817342679, 10.899297680410761] | [59038035.433463, 16559.72863661534, 3639.912940507022] | [0.15000003369982154, 0.07404163795072478, 0.05596642280348291] | [0.13709758181971665, 0.02207305177753511, 0.030825987454265468] | [184.0, 613.0, 273.0] | [0.08601768237599249, 0.7019228443639706, 0.4493506718440567] | [0.0014724867579905768, 0.0008256124050938976, 0.0005852851355632578] | [1.0, 2.0, 3.0] | [0.9499992040924715, 0.6260166575245796, 0.6355269696649227] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10150051542707093, 0.08153022167618888, 0.08887121566268871] | 0.022815 | 0.048805 | 0.18215 | 1 | 184 | 2 | 613 | 3 | 273
0.25617 | 0.91417 | 0.85 | 87736.2797 | 1.2711 | -52589.0694 | 5.0248e-05 | 3.2001 | 148.7145 | 33.285 | 19686072.5769 | 2571400.584 | 33.0212 | 33.5088 | 0.090039 | [4554.123017356234, 45652.62836597868, 37529.52828478576] | [1.4494913613710163, 1.3064021653718918, 1.0573836843769693] | [-10150.049025948872, -16291.817945100473, -26147.2024595102] | [4.839739385723283e-05, 4.9544764950648484e-05, 5.280190143105583e-05] | [2.31553372432507, 3.541943137297301, 3.742930404621795] | [409.53254201123445, 22.579297350703982, 14.03174305830988] | [75.20737765075292, 13.747893530837953, 10.89982444163977] | [59038012.99654607, 16564.012234948517, 3640.7220143390614] | [0.15000003370510218, 0.07402657850376607, 0.05559410110291103] | [0.13709754687754003, 0.0220656017132482, 0.030625030939389963] | [184.0, 613.0, 274.0] | [0.08601791535998327, 0.7019628453447113, 0.4492766249571809] | [0.0014724867549224965, 0.0008254212608156526, 0.0005888982184248655] | [1.0, 2.0, 3.0] | [0.9499992045280116, 0.6261955280067222, 0.6356475453965935] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10150049025948871, 0.08145908972550236, 0.08715734153170067] | 0.022819 | 0.048805 | 0.18215 | 1 | 184 | 2 | 613 | 3 | 274
0.25539 | 0.92634 | 0.85 | 81973.2201 | 1.2647 | -55775.6766 | 5.4508e-05 | 3.2104 | 144.8443 | 32.7264 | 18169408.8396 | 2604043.7145 | 33.0481 | 33.5628 | 0.11282 | [8931.419810442214, 38602.40356500311, 34439.396765056495] | [1.467149855013744, 1.269394713312552, 1.0574636788197922] | [-18206.829812173295, -11914.617557134683, -25654.229230205674] | [4.668875289244886e-05, 5.685456622149651e-05, 5.998136312433822e-05] | [2.3256949624435705, 3.5686902766774424, 3.7367376239480707] | [399.33777421458365, 20.963453700612746, 14.231667470954998] | [73.93005560483947, 13.272493649492167, 10.976723565464052] | [54491384.5979954, 13033.858352721201, 3808.0624535559314] | [0.15016428308377336, 0.07856751852536994, 0.0639213324816442] | [0.1249358278065751, 0.026226421001713206, 0.03454173478423808] | [183.0, 612.0, 273.0] | [0.16800860452858174, 0.6662330838091108, 0.4597672731656182] | [0.0014999960595427995, 0.000300000384960994, 0.000300000439793395] | [2.0, 1.0, 2.0] | [0.9499997262286863, 0.8737997364096394, 0.8036997726333935] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09103414906086647, 0.11914617557134684, 0.12827114615102836] | 0.02132 | 0.04945 | 0.18222 | 2 | 183 | 1 | 612 | 2 | 273
0.25538 | 0.92597 | 0.85 | 82099.3854 | 1.2645 | -55376.5356 | 5.4412e-05 | 3.2104 | 144.8484 | 32.7265 | 18171757.5766 | 2603070.2314 | 33.0475 | 33.5632 | 0.1122 | [8931.408252351079, 38602.41592525235, 34565.56118694548] | [1.4668877323301195, 1.2690955846955883, 1.0576610053510962] | [-18208.26210522996, -11941.328382820448, -25226.945094329487] | [4.668992991600699e-05, 5.690046354680805e-05, 5.964511361997893e-05] | [2.325678861294645, 3.568822314125918, 3.7366951891263502] | [399.3550624688979, 20.95570591800691, 14.23431648842436] | [73.93207966879443, 13.270125685293584, 10.977318410927333] | [54498444.51472821, 13018.34385684421, 3809.8711027287127] | [0.15016419626503125, 0.07859776674858814, 0.06360182147164424] | [0.12494688485290785, 0.026251721198393103, 0.03434611346218555] | [183.0, 612.0, 274.0] | [0.16793448892240703, 0.6660396129137651, 0.46012834818446435] | [0.001499998592340516, 0.0003000001425102235, 0.0003000001597140244] | [2.0, 1.0, 2.0] | [0.9499999007607076, 0.873541690400837, 0.8053278365190992] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09104131052614979, 0.11941328382820449, 0.12613472547164742] | 0.021353 | 0.049431 | 0.1822 | 2 | 183 | 1 | 612 | 2 | 274
0.25588 | 0.91737 | 0.85 | 86101.729 | 1.2607 | -57894.9036 | 5.2684e-05 | 3.2115 | 144.9273 | 32.7215 | 18226080.4328 | 2579512.7431 | 33.0298 | 33.5224 | 0.10249 | [8931.414714069893, 38602.38229566419, 38567.93197406636] | [1.4605431464555045, 1.261896114651877, 1.0597385316598933] | [-18244.598628201333, -12610.535351578359, -27039.769574470614] | [4.671992799955079e-05, 5.802898967850526e-05, 5.330368901510132e-05] | [2.325305807221391, 3.572028169921687, 3.737257886781271] | [399.7536585870298, 20.7687655156521, 14.259390410979137] | [73.97894577709788, 13.212832585806343, 10.97269204176617] | [54661776.378735825, 12647.971183819558, 3816.9484304321318] | [0.15016425624246257, 0.07933999452714917, 0.05779372033748636] | [0.12521553205479186, 0.02687589861120417, 0.03070665948996224] | [183.0, 612.0, 273.0] | [0.16614576186010596, 0.6612960781565737, 0.4688314368944311] | [0.0014999971763423377, 0.0003000008021671522, 0.0005570179671801242] | [2.0, 1.0, 3.0] | [0.949999730810957, 0.8672288104307877, 0.6521961951653953] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09122299314100665, 0.1261053535157836, 0.09013256524823539] | 0.022394 | 0.048965 | 0.18213 | 2 | 183 | 1 | 612 | 3 | 273
0.25588 | 0.91732 | 0.85 | 86126.1833 | 1.2608 | -57364.654 | 5.2568e-05 | 3.2115 | 144.9282 | 32.7218 | 18226315.6648 | 2579447.0052 | 33.0296 | 33.5262 | 0.1019 | [8931.406504121267, 38602.40837308051, 38592.36837826864] | [1.460526026384678, 1.2618753735790245, 1.0601200661499735] | [-18244.647099544978, -12612.564294383248, -26507.442645502495] | [4.67199628633697e-05, 5.803234157152335e-05, 5.295120709929456e-05] | [2.3253042458209694, 3.5720385120888833, 3.737191516921868] | [399.7554054885683, 20.768192574517993, 14.26111624315691] | [73.97914390532883, 13.212652792127026, 10.973482281786376] | [54662481.65781877, 12646.862612279656, 3818.4740909335587] | [0.1501641870538464, 0.07934225378288243, 0.05740980628420188] | [0.12521624882317275, 0.026877697058845334, 0.03050131896909167] | [183.0, 612.0, 274.0] | [0.16614060431989638, 0.6612830541256829, 0.468855147110056] | [0.001499998975441758, 0.00030000029064879407, 0.000560088503577486] | [2.0, 1.0, 3.0] | [0.9499999023560298, 0.8672103727488724, 0.6525738669740881] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09122323549772489, 0.12612564294383247, 0.08835814215167499] | 0.0224 | 0.048964 | 0.18213 | 2 | 183 | 1 | 612 | 3 | 274
0.25538 | 0.92615 | 0.85 | 82036.3095 | 1.2648 | -55636.6579 | 5.4439e-05 | 3.2104 | 144.849 | 32.7271 | 18170681.9097 | 2603540.4946 | 33.0478 | 33.5616 | 0.11239 | [8931.408222020254, 38665.49184262429, 34439.40946630879] | [1.4670146840814675, 1.2700850536389, 1.0573589462404882] | [-18207.5382742345, -11795.356538924976, -25633.763133614142] | [4.668933185874387e-05, 5.665861156854242e-05, 5.996837667400611e-05] | [2.325686319604637, 3.568509991326509, 3.73692295461088] | [399.3470992311228, 20.975012706082417, 14.224778395957685] | [73.93114317639727, 13.275832625610727, 10.974365504834799] | [54495185.96369894, 13057.265986581675, 3802.4995568636286] | [0.1501641961077966, 0.07835582001005496, 0.063861723980604] | [0.12494152519927942, 0.026130122865679218, 0.034541779192290505] | [183.0, 613.0, 273.0] | [0.16797018074754225, 0.6665602559748302, 0.4592621543810085] | [0.0014999985989871103, 0.00030000014105406727, 0.00030000016053791486] | [2.0, 1.0, 2.0] | [0.9499999007720993, 0.8747720590949843, 0.8036991828686547] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09103769137117249, 0.11795356538924977, 0.1281688156680707] | 0.021336 | 0.04944 | 0.18221 | 2 | 183 | 1 | 613 | 2 | 273
0.25538 | 0.92578 | 0.85 | 82162.4462 | 1.2647 | -55237.302 | 5.4342e-05 | 3.2104 | 144.8525 | 32.7272 | 18172822.6385 | 2602568.3032 | 33.0472 | 33.5619 | 0.11176 | [8931.41920178887, 38665.47878300117, 34565.548256945694] | [1.4667515840531866, 1.2697868491410014, 1.0575561622151797] | [-18209.09805900787, -11821.613993945524, -25206.5899426665] | [4.669062672904729e-05, 5.6704046398470364e-05, 5.963201448496321e-05] | [2.325671533590784, 3.5686403622021223, 3.736879077664381] | [399.3627932915392, 20.96732795886291, 14.22746227279462] | [73.93299751303942, 13.273488873542485, 10.974977106549593] | [54501621.74115948, 13041.841400733161, 3804.3328421289575] | [0.15016427990291173, 0.07838566542854222, 0.06354233876797465] | [0.12495264229458415, 0.02615522484711577, 0.03434608473665943] | [183.0, 613.0, 274.0] | [0.16789661062346453, 0.66636695050869, 0.4596232496330453] | [0.0014999961929206976, 0.0003000003968054191, 0.0003000004429613152] | [2.0, 1.0, 2.0] | [0.9499997266192811, 0.8745158567985294, 0.8053280427199326] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09104549029503935, 0.11821613993945523, 0.12603294971333248] | 0.021369 | 0.049421 | 0.18219 | 2 | 183 | 1 | 613 | 2 | 274
0.25588 | 0.91726 | 0.85 | 86139.0866 | 1.2609 | -57745.2215 | 5.2611e-05 | 3.2115 | 144.9311 | 32.7222 | 18226843.9493 | 2579222.1552 | 33.0296 | 33.5218 | 0.10202 | [8931.406448017671, 38665.4840082976, 38542.19619149033] | [1.4604656216566074, 1.2626439448739228, 1.0596509428658236] | [-18244.993608063276, -12476.974223828278, -27023.253663318275] | [4.672024859521597e-05, 5.781691996864826e-05, 5.3295750621063255e-05] | [2.3253006802237826, 3.5718150352938856, 3.737437989488111] | [399.7592194653206, 20.782015788105035, 14.252207701845478] | [73.97959211144936, 13.216723027493213, 10.97037053119112] | [54664046.44200836, 12674.170388950453, 3811.2355959067995] | [0.15016418675681248, 0.07911709308298404, 0.05773469845402894] | [0.12521881385137099, 0.026770542605816856, 0.030708684520758207] | [183.0, 613.0, 273.0] | [0.16612352082586085, 0.6616734247527556, 0.46825317112482334] | [0.0014999989877361153, 0.0003000002944765169, 0.0005576951909937196] | [2.0, 1.0, 3.0] | [0.9499999024162836, 0.8682774379203861, 0.6517961899382987] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09122496804031636, 0.12476974223828279, 0.09007751221106092] | 0.022403 | 0.048959 | 0.18212 | 2 | 183 | 1 | 613 | 3 | 273
0.25588 | 0.91721 | 0.85 | 86163.2362 | 1.261 | -57215.2879 | 5.2495e-05 | 3.2115 | 144.9319 | 32.7225 | 18226991.2976 | 2579158.6645 | 33.0295 | 33.5257 | 0.10144 | [8931.406450325498, 38665.484030028594, 38566.345749063985] | [1.4604485649501586, 1.262624594934445, 1.0600321670723645] | [-18245.091524121235, -12478.819722333054, -26491.37669797009] | [4.672032934331101e-05, 5.781999856246344e-05, 5.2943401527100066e-05] | [2.3252996741681806, 3.5718237399369483, 3.737370919417379] | [399.760295505998, 20.781511561823955, 14.253949900979825] | [73.97971857383095, 13.216568041121842, 10.971168848298635] | [54664487.939116046, 12673.1806335128, 3812.7731358890705] | [0.1501641867688848, 0.0791191150475703, 0.05735124670660251] | [0.1252195381691936, 0.026772248104644156, 0.030503388869599617] | [183.0, 613.0, 274.0] | [0.16611869728727072, 0.6616605132502296, 0.4682765400181826] | [0.001499998987230386, 0.000300000294050951, 0.0005607749186631933] | [2.0, 1.0, 3.0] | [0.9499999024147301, 0.8682602712850025, 0.6521706085000427] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09122545762060617, 0.12478819722333054, 0.08830458899323362] | 0.02241 | 0.048958 | 0.18212 | 2 | 183 | 1 | 613 | 3 | 274
0.25604 | 0.91916 | 0.85 | 85698.9118 | 1.274 | -56530.783 | 5.1013e-05 | 3.2106 | 145.0406 | 32.7557 | 18214961.8476 | 2584520.2401 | 33.0309 | 33.4943 | 0.094218 | [8931.412837436326, 42328.11713361871, 34439.38178157696] | [1.4618892389425326, 1.3085282734567991, 1.051628378179538] | [-18236.871123811383, -13743.846210172595, -24550.06564754368] | [4.671355330915542e-05, 4.706058730217798e-05, 5.926531657421713e-05] | [2.3253850928861777, 3.5593590404265414, 3.7469527287798763] | [399.6688850052442, 21.596181545888804, 13.856655493218346] | [73.96898100666436, 13.450098937697271, 10.848061567165734] | [54627003.49674799, 14366.068123984845, 3515.9778333179106] | [0.1501642462976707, 0.06788677390123457, 0.060630588855064164] | [0.12515840917198137, 0.021455987689985124, 0.03454214885235418] | [183.0, 612.0, 273.0] | [0.16652611720178184, 0.6839881638442807, 0.43042872922473174] | [0.0014999975875809605, 0.0009239034753834842, 0.0003000007692272206] | [2.0, 2.0, 2.0] | [0.9499997328844303, 0.6000031364177266, 0.8036891063156635] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0911843556190569, 0.06871923105086297, 0.1227503282377184] | 0.022289 | 0.049064 | 0.18229 | 2 | 183 | 2 | 612 | 2 | 273
0.25603 | 0.91877 | 0.85 | 85840.2539 | 1.2739 | -56135.3144 | 5.0909e-05 | 3.2106 | 145.0453 | 32.756 | 18217335.264 | 2583494.739 | 33.0302 | 33.4944 | 0.093559 | [8931.412778201386, 42343.30813366525, 34565.53301038664] | [1.4616134760896407, 1.308234684570153, 1.0517756509586624] | [-18238.451644402092, -13761.460062596077, -24135.402647588173] | [4.67148571647999e-05, 4.708201756214413e-05, 5.8929374778243315e-05] | [2.32536883589263, 3.559420637436471, 3.746960293329591] | [399.6862674314192, 21.59248459552765, 13.857231463270665] | [73.97102409624048, 13.448971204482612, 10.84800514119159] | [54634131.540994644, 14358.130885567653, 3516.120200564755] | [0.15016424597621514, 0.06790520157096662, 0.06030827824875451] | [0.12517010591787908, 0.0214673251350844, 0.034346488985163924] | [183.0, 612.0, 274.0] | [0.1664482207884393, 0.683906948942149, 0.4306282892160504] | [0.0014999976005614917, 0.0009234079934789387, 0.00030000077695591223] | [2.0, 2.0, 2.0] | [0.9499997329976649, 0.6000029302355068, 0.8053175291027682] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09119225822201046, 0.06880730031298038, 0.12067701323794086] | 0.022326 | 0.049044 | 0.18227 | 2 | 183 | 2 | 612 | 2 | 274
0.25662 | 0.9162 | 0.85 | 87776.29 | 1.2735 | -58817.8727 | 4.9063e-05 | 3.2109 | 145.0736 | 32.7554 | 18234116.8979 | 2576245.931 | 33.021 | 33.4995 | 0.083207 | [8931.412370670723, 42451.056634640365, 36393.82096481781] | [1.4596658567860261, 1.3061626869737644, 1.0547966327710798] | [-18249.627546396696, -13886.890981095195, -26681.354191041064] | [4.6724073767316306e-05, 4.7234113569048794e-05, 5.323183321019469e-05] | [2.325253941984819, 3.559857286110443, 3.7476700501932987] | [399.80915164770477, 21.566305897043968, 13.845200592873521] | [73.98546603575956, 13.440981924122315, 10.839795522754496] | [54684546.1222174, 14302.015510051278, 3502.5560291674556] | [0.15016424376015672, 0.06803588966219092, 0.05465409492856961] | [0.12525279880720572, 0.021547828999803016, 0.031049212821361964] | [183.0, 612.0, 273.0] | [0.1658975141319302, 0.6833307803137674, 0.43203951215602304] | [0.0014999976898662963, 0.0009199037593438044, 0.0006176057919747975] | [2.0, 2.0, 3.0] | [0.9499997338050211, 0.60000198616348, 0.6164766681391981] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0912481377319835, 0.06943445490547598, 0.08893784730347022] | 0.022829 | 0.048901 | 0.1825 | 2 | 183 | 2 | 612 | 3 | 273
0.25663 | 0.91623 | 0.85 | 87771.706 | 1.2737 | -58319.3933 | 4.8952e-05 | 3.2109 | 145.0735 | 32.7556 | 18233806.6893 | 2576379.9949 | 33.021 | 33.5036 | 0.082652 | [8931.412385140979, 42449.05907559158, 36391.234565662955] | [1.4597018511164415, 1.3062009580730645, 1.0551537846962054] | [-18249.4208186715, -13884.555495255494, -26185.41702844065] | [4.672390333243998e-05, 4.7231289748938624e-05, 5.289968633963959e-05] | [2.325256066891023, 3.559849199226207, 3.7476021222572156] | [399.8068783416789, 21.566790539682845, 13.846715833774374] | [73.98519889515296, 13.441129851202907, 10.84058180730024] | [54683613.11074772, 14303.053095245317, 3503.904152741168] | [0.15016424383829302, 0.06803346476664811, 0.05430654574465346] | [0.12525126922623353, 0.021546333425900698, 0.030853187290328373] | [183.0, 612.0, 274.0] | [0.1659077008298809, 0.6833414778869782, 0.4320133876293362] | [0.001499997686695336, 0.0009199685628078976, 0.0006216194779762562] | [2.0, 2.0, 3.0] | [0.9499997337798314, 0.6000020118179706, 0.6164314863359137] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0912471040933575, 0.06942277747627747, 0.0872847234281355] | 0.022828 | 0.048903 | 0.1825 | 2 | 183 | 2 | 612 | 3 | 274
0.25604 | 0.91915 | 0.85 | 85707.399 | 1.2742 | -56442.8584 | 5.0979e-05 | 3.2106 | 145.0402 | 32.7555 | 18215086.4573 | 2584497.8362 | 33.0308 | 33.4945 | 0.094071 | [8931.405811134287, 42336.58909877694, 34439.40413778788] | [1.461883707749123, 1.3092030549316347, 1.0516496452144157] | [-18236.857455600497, -13651.869700926913, -24554.131290874644] | [4.671353739694912e-05, 4.695639376587042e-05, 5.926804243549271e-05] | [2.325384267368891, 3.559423195444077, 3.7469162806112726] | [399.66983750004044, 21.592719104323614, 13.85798229934662] | [73.96908644307565, 13.448982419854332, 10.848515453784653] | [54627383.71285608, 14358.685233300352, 3516.973685063088] | [0.15016418338116716, 0.06772843468801683, 0.06064263047520278] | [0.12515863342653882, 0.021410114663234954, 0.03454220213907065] | [183.0, 613.0, 273.0] | [0.1665242745537697, 0.6839265677168311, 0.43054098749371716] | [0.001499999127300652, 0.0009258833565194223, 0.0003000002776931615] | [2.0, 2.0, 2.0] | [0.9499999031239514, 0.6000010647434306, 0.8036886599234521] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09118428727800248, 0.06825934850463455, 0.12277065645437321] | 0.022291 | 0.049064 | 0.18229 | 2 | 183 | 2 | 613 | 2 | 273
0.25604 | 0.91876 | 0.85 | 85848.7508 | 1.2741 | -56047.1692 | 5.0875e-05 | 3.2106 | 145.0449 | 32.7558 | 18217460.7617 | 2583471.8492 | 33.0302 | 33.4945 | 0.093412 | [8931.405789745186, 42351.78934132856, 34565.55567456406] | [1.4616078135753932, 1.3089089338181472, 1.0517969620268983] | [-18238.43887558108, -13669.342910045236, -24139.3874473562] | [4.671484200969555e-05, 4.6977749641315394e-05, 5.893207532630688e-05] | [2.3253680043185168, 3.559484769834185, 3.7469238596687644] | [399.6872262285722, 21.589024504705463, 13.8585579519636] | [73.97113029247089, 13.447855285320045, 10.848458860335501] | [54634514.41317129, 14350.756251926961, 3517.1157295482744] | [0.15016418326506117, 0.06774678562429882, 0.06032024552164997] | [0.1251703357720224, 0.02142141370461675, 0.03434654020028311] | [183.0, 613.0, 274.0] | [0.16644634195717642, 0.683845388546209, 0.43074043992055666] | [0.00149999913198779, 0.0009253869618495592, 0.0003000002804693836] | [2.0, 2.0, 2.0] | [0.949999903165041, 0.60000099892246, 0.8053171313289641] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0911921943779054, 0.06834671455022617, 0.12069693723678102] | 0.022328 | 0.049043 | 0.18227 | 2 | 183 | 2 | 613 | 2 | 274
0.25662 | 0.91615 | 0.85 | 87798.2051 | 1.2737 | -58723.058 | 4.9028e-05 | 3.2109 | 145.0736 | 32.7552 | 18234476.1428 | 2576121.4289 | 33.0209 | 33.4994 | 0.083051 | [8931.40564059336, 42461.05843021963, 36405.74105150226] | [1.4596329089151547, 1.3068049322224433, 1.0548099741383008] | [-18249.7725397485, -13795.494983727032, -26677.790517574038] | [4.6724188784553164e-05, 4.71314096012443e-05, 5.322896451121185e-05] | [2.3252515115905728, 3.559927316118457, 3.7476388983591518] | [399.8118197063038, 21.56250137406779, 13.84647184697873] | [73.98577322543507, 13.439759794033057, 10.840190127841003] | [54685631.034019396, 14293.927790602655, 3503.466570594073] | [0.15016418245376764, 0.06787873042505282, 0.05466159898479772] | [0.1252541884105463, 0.021502748511900267, 0.031046340001165216] | [183.0, 613.0, 273.0] | [0.1658879195061511, 0.6832616151176413, 0.43217006997134866] | [0.0014999991646724349, 0.0009218290190375058, 0.00061725387555065] | [2.0, 2.0, 3.0] | [0.9499999034620469, 0.6000006873453191, 0.616683233522979] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09124886269874251, 0.06897747491863516, 0.08892596839191347] | 0.022835 | 0.048898 | 0.1825 | 2 | 183 | 2 | 613 | 3 | 273
0.25663 | 0.91618 | 0.85 | 87793.7825 | 1.2739 | -58224.451 | 4.8916e-05 | 3.2109 | 145.0735 | 32.7555 | 18234168.5135 | 2576254.4036 | 33.0209 | 33.5035 | 0.082495 | [8931.40564578476, 42459.076248589634, 36403.30063599091] | [1.4596686103453003, 1.3068429465089273, 1.0551672089307125] | [-18249.56745319248, -13793.19731238268, -26181.686235308804] | [4.6724019700419934e-05, 4.712861909779018e-05, 5.289667762537723e-05] | [2.325253618832691, 3.559919291251794, 3.7475709096668495] | [399.8095653296565, 21.56298194151876, 13.847989742698932] | [73.98550830511039, 13.439906523257893, 10.840977207515367] | [54684705.76793347, 14294.956060745895, 3504.816547409425] | [0.15016418248180757, 0.0678763357147453, 0.054313866140580355] | [0.12525267123550493, 0.021501270776914244, 0.030850242389194413] | [183.0, 613.0, 274.0] | [0.16589802331250092, 0.6832722130087334, 0.4321441908729949] | [0.0014999991635348084, 0.0009218933983464849, 0.000621261897441936] | [2.0, 2.0, 3.0] | [0.9499999034529623, 0.6000006957700922, 0.6166407046146493] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0912478372659624, 0.0689659865619134, 0.08727228745102936] | 0.022834 | 0.048901 | 0.1825 | 2 | 183 | 2 | 613 | 3 | 274
0.25538 | 0.92585 | 0.85 | 82150.0895 | 1.2634 | -55785.1376 | 5.4483e-05 | 3.2131 | 142.0112 | 32.4202 | 17086026.1959 | 2602695.3388 | 33.0473 | 33.5585 | 0.11251 | [9108.264367954416, 38602.41581255737, 34439.40928174863] | [1.4633387096706536, 1.2697742637543052, 1.0570666967589677] | [-18490.563190639226, -11718.23162440826, -25576.342772182204] | [4.69779375252815e-05, 5.653990866587535e-05, 5.993181009974305e-05] | [2.332766188479041, 3.5689960750189136, 3.7374388449152973] | [390.8767939257598, 20.951230296483264, 14.20560449774138] | [73.0244717057788, 13.268239146717232, 10.967807256730659] | [51241280.833652854, 13010.701112221583, 3787.0528431053453] | [0.1500000317851575, 0.07814200167044368, 0.06369509717057635] | [0.12431689454778913, 0.026092851699037706, 0.034541790537860884] | [184.0, 612.0, 273.0] | [0.17122385160477022, 0.666124961400532, 0.45784692598210164] | [0.0014724828708219994, 0.00030000014472077565, 0.0003000001645957365] | [2.0, 1.0, 2.0] | [0.9499998104092631, 0.8751632536389579, 0.8036988989969064] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09245281595319613, 0.1171823162440826, 0.12788171386091102] | 0.021366 | 0.049423 | 0.1822 | 2 | 184 | 1 | 612 | 2 | 273
0.25538 | 0.92547 | 0.85 | 82276.2408 | 1.2633 | -55386.7001 | 5.4387e-05 | 3.2131 | 142.015 | 32.4202 | 17088170.7852 | 2601726.3879 | 33.0468 | 33.5588 | 0.11189 | [9108.264207995873, 38602.41565783948, 34565.560956276684] | [1.4630790927216728, 1.2694771314157267, 1.0572628671976896] | [-18492.10980930507, -11744.355089112212, -25150.235176406535] | [4.697920470226482e-05, 5.658529337976614e-05, 5.959575236010434e-05] | [2.332750414707955, 3.569126158330463, 3.7373954408601096] | [390.89321344034045, 20.943579056362594, 14.208264444158015] | [73.02642116347678, 13.265903336755764, 10.968411889134343] | [51247728.106486276, 12995.387728016272, 3788.861455667264] | [0.150000031336972, 0.07817192989294851, 0.06337652478797534] | [0.12432814318315309, 0.02611788319530444, 0.03434613171598415] | [184.0, 612.0, 274.0] | [0.17114885667043406, 0.6659325489501372, 0.45820822794402966] | [0.001472482904710922, 0.0003000001477556221, 0.00030000016476710163] | [2.0, 1.0, 2.0] | [0.949999808067513, 0.8749073511182277, 0.8053273787353886] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09246054904652534, 0.11744355089112211, 0.12575117588203266] | 0.021399 | 0.049404 | 0.18218 | 2 | 184 | 1 | 612 | 2 | 274
0.25588 | 0.91728 | 0.85 | 86143.8101 | 1.2597 | -57885.3891 | 5.2648e-05 | 3.2142 | 142.0907 | 32.4157 | 17137941.0412 | 2579272.1945 | 33.0296 | 33.5214 | 0.1021 | [9108.260133192638, 38602.408032620915, 38433.14194396134] | [1.4570769762540554, 1.2626171038825933, 1.0594393956556922] | [-18527.98851749085, -12371.440910479747, -26985.959632960374] | [4.700857336680332e-05, 5.765526286603873e-05, 5.327951976812201e-05] | [2.332385071249863, 3.5721664477887956, 3.7379315083201705] | [391.2738386617501, 20.766132498967245, 14.232016963462746] | [73.07159791147012, 13.211544523886232, 10.963985937596812] | [51397383.77085583, 12644.000386018859, 3795.3524052605717] | [0.1500000233832944, 0.07887696550217146, 0.05756672818222783] | [0.1245889435056231, 0.026709175853520194, 0.03071761247713588] | [184.0, 612.0, 273.0] | [0.1694101078244216, 0.6614215948843313, 0.46654601889912106] | [0.0014724837680018278, 0.0003000002973270327, 0.0005605749615713111] | [2.0, 1.0, 3.0] | [0.9499997264783083, 0.8689057132752522, 0.6500987702714011] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09263994258745424, 0.12371440910479746, 0.08995319877653458] | 0.022405 | 0.04896 | 0.18212 | 2 | 184 | 1 | 612 | 3 | 273
0.25589 | 0.91724 | 0.85 | 86166.4571 | 1.2598 | -57356.7749 | 5.2531e-05 | 3.2141 | 142.0913 | 32.416 | 17138019.5496 | 2579219.6387 | 33.0294 | 33.5253 | 0.10152 | [9108.253370426002, 38602.381493985995, 38455.82221737956] | [1.4570626293398345, 1.2626016978393921, 1.0598199850526038] | [-18528.1082268043, -12372.896212981239, -26455.770457234237] | [4.7008674208154225e-05, 5.7657709956278174e-05, 5.292792025145402e-05] | [2.3323844724212557, 3.5721724580035867, 3.737863874961108] | [391.27441957409206, 20.765761081543946, 14.233756879490647] | [73.07167092731711, 13.2114336174965, 10.964789551124037] | [51397618.50159831, 12643.25952530721, 3796.887671513004] | [0.1500000645026749, 0.07887853966097344, 0.05718475665147197] | [0.12458960516902465, 0.026710580238983952, 0.03051264317091292] | [184.0, 612.0, 274.0] | [0.1694059243393551, 0.6614105458805887, 0.46656611440171586] | [0.0014724852007684049, 0.00030000081789238335, 0.0005637006182501334] | [2.0, 1.0, 3.0] | [0.9499992470437363, 0.8688918386626464, 0.6504530319623931] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0926405411340215, 0.1237289621298124, 0.08818590152411414] | 0.022411 | 0.048959 | 0.18213 | 2 | 184 | 1 | 612 | 3 | 274
0.25538 | 0.92566 | 0.85 | 82213.1389 | 1.2635 | -55648.5184 | 5.4414e-05 | 3.2131 | 142.0154 | 32.4208 | 17087078.0331 | 2602198.2396 | 33.047 | 33.5572 | 0.11208 | [9108.264428797493, 38665.478467713154, 34439.39600214454] | [1.4632050789544193, 1.2704626093112115, 1.0569630442648381] | [-18491.400704203596, -11601.203060289788, -25555.91465634365] | [4.6978627653407204e-05, 5.634549358448045e-05, 5.9918768626453146e-05] | [2.332758474787457, 3.5688161638449416, 3.7376210545413207] | [390.88476468313473, 20.96275010428164, 14.19882976515309] | [73.02542356735589, 13.271567932204722, 10.965491150391788] | [51244418.499838665, 13033.990721024256, 3781.608618953464] | [0.15000008601738085, 0.07793194570836913, 0.06363592298925888] | [0.12432270821658416, 0.025997351722694004, 0.03454175951399969] | [184.0, 613.0, 273.0] | [0.17118539267261207, 0.6664504144345624, 0.45734310182347937] | [0.001472482857931745, 0.0003000004029798211, 0.00030000045656712897] | [2.0, 1.0, 2.0] | [0.9499994689091827, 0.8761308259092174, 0.8036991403286255] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09245700352101799, 0.11601203060289789, 0.12777957328171827] | 0.021382 | 0.049413 | 0.18219 | 2 | 184 | 1 | 613 | 2 | 273
0.25537 | 0.92528 | 0.85 | 82339.2896 | 1.2634 | -55250.0913 | 5.4318e-05 | 3.2131 | 142.0193 | 32.4209 | 17089221.8767 | 2601230.1142 | 33.0465 | 33.5576 | 0.11146 | [9108.26399076462, 38665.47803201883, 34565.54761412837] | [1.4629457149928833, 1.2701654692176312, 1.0571588464828936] | [-18492.945568041534, -11627.000217973753, -25130.145507412184] | [4.697989328521328e-05, 5.63906143367133e-05, 5.958278708692093e-05] | [2.332742708394082, 3.5689459489054345, 3.737577677846353] | [390.9011779197854, 20.955107238106642, 14.2014844289888] | [73.0273721769889, 13.269236028658971, 10.966094946616892] | [51250863.5462423, 13018.67284572725, 3783.410915179662] | [0.15000008482842328, 0.07796167598408621, 0.0633175994247278] | [0.12433394767206192, 0.026022233803465668, 0.034346102333222016] | [184.0, 613.0, 274.0] | [0.17111045487235496, 0.6662584278080892, 0.45770431260504574] | [0.00147248295073368, 0.0003000004115121847, 0.0003000004570430123] | [2.0, 1.0, 2.0] | [0.949999462253551, 0.8758758867533228, 0.8053275857056986] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09246472784020766, 0.11627000217973751, 0.1256507275370609] | 0.021415 | 0.049394 | 0.18217 | 2 | 184 | 1 | 613 | 2 | 274
0.25588 | 0.91717 | 0.85 | 86181.2084 | 1.2599 | -57739.3193 | 5.2575e-05 | 3.2141 | 142.0942 | 32.4164 | 17138547.2276 | 2578985.9488 | 33.0294 | 33.5209 | 0.10165 | [9108.252745774667, 38665.45670092055, 38407.498951073074] | [1.4570003110907188, 1.2633633731302012, 1.0593521854999852] | [-18528.481641515322, -12240.74354995176, -26970.09412041129] | [4.700897953602565e-05, 5.744510515103662e-05, 5.3271940447882044e-05] | [2.3323806647224408, 3.5719531342144917, 3.738108772596928] | [391.2783906446609, 20.779366407736124, 14.224952127687917] | [73.07214203829412, 13.215432987507786, 10.961703818022112] | [51399181.77757239, 12670.142339907681, 3789.762831984589] | [0.15000006374693126, 0.07865594359864671, 0.05750872684868331] | [0.12459232171640622, 0.026604883428812714, 0.03071980679576088] | [184.0, 613.0, 273.0] | [0.1693878094684656, 0.661796077820358, 0.4659696597318437] | [0.0014724853331077757, 0.0003000008292472324, 0.0005612544850189242] | [2.0, 1.0, 3.0] | [0.9499992316007951, 0.8699482989453436, 0.6496987823088153] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09264240820757662, 0.12240743549951759, 0.0899003137347043] | 0.022414 | 0.048955 | 0.18212 | 2 | 184 | 1 | 613 | 3 | 273
0.25589 | 0.91713 | 0.85 | 86203.3556 | 1.26 | -57211.4222 | 5.2459e-05 | 3.2141 | 142.095 | 32.4167 | 17138694.8245 | 2578936.7408 | 33.0293 | 33.5247 | 0.10107 | [9108.259931794308, 38665.483716034534, 38429.61200199925] | [1.456987514667476, 1.2633478177990192, 1.0597321004474054] | [-18528.52499055917, -12242.20460130758, -26440.692645710413] | [4.700901208704572e-05, 5.744756717452183e-05, 5.2920724336915976e-05] | [2.332379614317996, 3.5719609319235017, 3.7380427269341814] | [391.27952876548136, 20.778936156424106, 14.226637381555204] | [73.07227305177413, 13.21529774148756, 10.962487580008352] | [51399623.9079876, 12669.309974975797, 3791.255682818001] | [0.15000002313921096, 0.07865760038657879, 0.05712720436342336] | [0.12459284181138446, 0.026606199360721044, 0.030515004114189778] | [184.0, 613.0, 274.0] | [0.169384117229566, 0.6617864704491035, 0.46598720402000554] | [0.0014724838106702509, 0.0003000003002000113, 0.0005643969048815161] | [2.0, 1.0, 3.0] | [0.9499997215018868, 0.869934768196377, 0.6500433599164546] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09264262495279585, 0.1224220460130758, 0.08813564215236805] | 0.02242 | 0.048954 | 0.18212 | 2 | 184 | 1 | 613 | 3 | 274
0.25605 | 0.91895 | 0.85 | 85796.2602 | 1.2728 | -56620.6853 | 5.1044e-05 | 3.2133 | 142.1997 | 32.4483 | 17128034.2729 | 2583932.4738 | 33.0304 | 33.4923 | 0.094368 | [9108.256384889019, 42248.60011403844, 34439.40366881669] | [1.4583204894545272, 1.3087126852410247, 1.051429134615125] | [-18520.534020757612, -13586.100538953153, -24514.05069289928] | [4.70024754462147e-05, 4.6888073807239104e-05, 5.924146376166645e-05] | [2.332460814959794, 3.5600412206328094, 3.747299354772372] | [391.194880633619, 21.560029323580856, 13.844122924950693] | [73.06222805307748, 13.43883658811755, 10.843745915667771] | [51366306.551309824, 14289.675434592189, 3506.5919562062713] | [0.15000002020062225, 0.06755992085186947, 0.060519741576916766] | [0.1245348043556032, 0.021396908885725836, 0.03454221057996108] | [184.0, 612.0, 273.0] | [0.16977102535237568, 0.6833337649754053, 0.42938412006303256] | [0.0014724845621209592, 0.000926502880613433, 0.00030000028800417387] | [2.0, 2.0, 2.0] | [0.9499996252464633, 0.6000009589388725, 0.8036884365064645] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09260267010378806, 0.06793050269476576, 0.12257025346449642] | 0.022314 | 0.049052 | 0.18229 | 2 | 184 | 2 | 612 | 2 | 273
0.25605 | 0.91856 | 0.85 | 85937.5845 | 1.2727 | -56225.7186 | 5.094e-05 | 3.2133 | 142.2044 | 32.4486 | 17130306.2392 | 2582909.6071 | 33.0298 | 33.4923 | 0.09371 | [9108.25619989073, 42263.773114361706, 34565.555194885215] | [1.4580474605507754, 1.3084196787037747, 1.0515759141451966] | [-18522.169609641536, -13603.528607249682, -24100.02038753978] | [4.7003813521011214e-05, 4.690943445685595e-05, 5.8905676833747786e-05] | [2.3324441789825627, 3.5601022191524527, 3.7473064634762467] | [391.2122212296508, 21.556372916313645, 13.844708129129117] | [73.06428585317568, 13.437720407962207, 10.843694682488469] | [51373130.12191917, 14281.854072576574, 3506.741701163495] | [0.15000002009330696, 0.06757835034725898, 0.06019801371767226] | [0.12454668834329771, 0.021408200442191407, 0.03434654854657597] | [184.0, 612.0, 274.0] | [0.1696917965301527, 0.6832530233151629, 0.4295840146042621] | [0.0014724846013148877, 0.0009260061212683066, 0.00030000029097732874] | [2.0, 2.0, 2.0] | [0.9499996199349602, 0.6000009055957888, 0.8053169082384706] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09261084804820767, 0.0680176430362484, 0.12050010193769889] | 0.022351 | 0.049032 | 0.18227 | 2 | 184 | 2 | 612 | 2 | 274
0.25663 | 0.91621 | 0.85 | 87792.5433 | 1.2725 | -58941.1717 | 4.9101e-05 | 3.2136 | 142.2301 | 32.448 | 17145048.4826 | 2576274.1033 | 33.0209 | 33.4989 | 0.083407 | [9108.254862569478, 42362.50832568512, 36321.78010597071] | [1.4562776453391035, 1.3065214837059522, 1.054640051341974] | [-18532.783452800086, -13717.391910958058, -26690.996370582045] | [4.701249403028734e-05, 4.7048554821908225e-05, 5.3242917416297515e-05] | [2.3323362754468753, 3.560499097088113, 3.747982278881524] | [391.32472671247217, 21.532608044918803, 13.833050949701652] | [73.07763543426029, 13.430462589451997, 10.835866644549418] | [51417420.61735128, 14231.094382367484, 3493.735973069049] | [0.15000001941594857, 0.06769830136556537, 0.0545744137577775] | [0.12462379410223817, 0.02148177130522232, 0.031067145591432147] | [184.0, 612.0, 273.0] | [0.16917774372889413, 0.682727424720019, 0.4308813527224578] | [0.0014724848846411967, 0.0009227822529449935, 0.0006197375688899651] | [2.0, 2.0, 3.0] | [0.9499995809157719, 0.6000006623364009, 0.6152192984935317] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09266391726400043, 0.06858695955479029, 0.08896998790194015] | 0.022834 | 0.048901 | 0.1825 | 2 | 184 | 2 | 612 | 3 | 273
0.25664 | 0.91625 | 0.85 | 87786.9477 | 1.2726 | -58443.7417 | 4.899e-05 | 3.2136 | 142.23 | 32.4482 | 17144735.9219 | 2576414.866 | 33.0209 | 33.5031 | 0.082853 | [9108.254923965062, 42360.40863142726, 36318.284144915895] | [1.4563151647771977, 1.3065617049824585, 1.054996304190071] | [-18532.558232659812, -13714.961645829508, -26196.221863962648] | [4.7012309883674544e-05, 4.704559333266232e-05, 5.291160638346705e-05] | [2.3323385643908883, 3.5604906601403634, 3.747914223113294] | [391.3223395608278, 21.533112886216617, 13.834563225743574] | [73.07735220823535, 13.430616813582862, 10.83665385427304] | [51416480.51275794, 14232.171376764341, 3495.0815156011195] | [0.15000001944323843, 0.06769574931569425, 0.05422817084291949] | [0.12462215811910721, 0.021480204536851354, 0.030871535722511705] | [184.0, 612.0, 274.0] | [0.16918865066027147, 0.6827386098740652, 0.43085381593899824] | [0.0014724848716338606, 0.0009228506550427561, 0.0006237864397885067] | [2.0, 2.0, 3.0] | [0.9499995827312311, 0.6000006703918752, 0.6151581264124903] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09266279116329906, 0.06857480822914754, 0.08732073954654215] | 0.022832 | 0.048904 | 0.18251 | 2 | 184 | 2 | 612 | 3 | 274
0.25605 | 0.91894 | 0.85 | 85804.784 | 1.2731 | -56533.4022 | 5.101e-05 | 3.2133 | 142.199 | 32.4481 | 17128050.9905 | 2583911.2243 | 33.0304 | 33.4924 | 0.094222 | [9108.24276059089, 42257.16038288112, 34439.3808454465] | [1.4583145233926866, 1.3093886152314558, 1.051450608546492] | [-18520.60124222547, -13495.01437126496, -24517.786600529147] | [4.700253292365442e-05, 4.678406205452626e-05, 5.924392188859581e-05] | [2.3324606547623894, 3.5601039925081173, 3.747261345637793] | [391.1950109652679, 21.55663610622825, 13.845487654616457] | [73.06224696490665, 13.437742988745285, 10.844217728388026] | [51366362.90520091, 14282.453517095459, 3507.61287564894] | [0.15000005554578452, 0.06740215770307029, 0.06053153840193631] | [0.12453511614388156, 0.021351087815233948, 0.03454215958388981] | [184.0, 613.0, 273.0] | [0.1697691423564585, 0.6832722689109354, 0.42949620682604256] | [0.0014724874485830862, 0.0009284830706031385, 0.0003000007898094343] | [2.0, 2.0, 2.0] | [0.9499989601716008, 0.6000025002135643, 0.8036888096526917] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09260300621112735, 0.0674750718563248, 0.12258893300264573] | 0.022317 | 0.049052 | 0.18229 | 2 | 184 | 2 | 613 | 2 | 273
0.25605 | 0.91855 | 0.85 | 85946.1057 | 1.2729 | -56138.2505 | 5.0906e-05 | 3.2133 | 142.2038 | 32.4484 | 17130324.2367 | 2582887.9614 | 33.0298 | 33.4924 | 0.093564 | [9108.242244454148, 42272.33140271194, 34565.53205341235] | [1.458041391251897, 1.3090950326375337, 1.05159744287755] | [-18522.237426910757, -13512.315773229224, -24103.697300481163] | [4.700387146655757e-05, 4.680536374704523e-05, 5.8908124509476174e-05] | [2.33244400962603, 3.5601649442874597, 3.7472685410300697] | [391.2123613577117, 21.55298228756445, 13.846070971751303] | [73.06430590499022, 13.436627654494487, 10.84416550038431] | [51373190.30883958, 14274.640151236124, 3507.7611879021533] | [0.15000005525118315, 0.06742052650367585, 0.060209754443623274] | [0.1245470054754929, 0.021362349908924563, 0.034346499600398095] | [184.0, 613.0, 274.0] | [0.16968987688933915, 0.6831915069368985, 0.42969609550571913] | [0.00147248755793268, 0.0009279857659916873, 0.0003000007979196189] | [2.0, 2.0, 2.0] | [0.9499989453223475, 0.6000023682067138, 0.8053172325259583] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0926111871345538, 0.06756157886614612, 0.12051848650240582] | 0.022353 | 0.049032 | 0.18227 | 2 | 184 | 2 | 613 | 2 | 274
0.25664 | 0.91616 | 0.85 | 87814.6993 | 1.2727 | -58846.9237 | 4.9066e-05 | 3.2136 | 142.23 | 32.4478 | 17145298.1563 | 2576149.4922 | 33.0208 | 33.4988 | 0.083252 | [9108.238444831994, 42372.55256618013, 36333.90824497573] | [1.4562441477890489, 1.3071644649928258, 1.0546536812348397] | [-18533.01587930558, -13627.05938380953, -26686.84840964131] | [4.701268643812303e-05, 4.694619132134815e-05, 5.323965307785904e-05] | [2.3323344131748387, 3.5605674368675557, 3.747949695096948] | [391.3266340267413, 21.528878513579482, 13.834360867720685] | [73.077865008654, 13.429266868285406, 10.836277920539281] | [51418176.6242725, 14223.172700361602, 3494.6719029404912] | [0.1500000533631849, 0.0675418806572498, 0.054581631517555934] | [0.12462531346946291, 0.021436838298756762, 0.03106406758907693] | [184.0, 613.0, 273.0] | [0.1691678024384525, 0.6826577961462061, 0.4310130345128679] | [0.0014724883629273714, 0.000924709472243029, 0.0006193780906734418] | [2.0, 2.0, 3.0] | [0.9499988342291191, 0.6000017488261665, 0.6154318575299838] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09266507939652789, 0.06813529691904766, 0.08895616136547103] | 0.022839 | 0.048899 | 0.1825 | 2 | 184 | 2 | 613 | 3 | 273
0.25664 | 0.9162 | 0.85 | 87809.1278 | 1.2728 | -58349.6241 | 4.8955e-05 | 3.2136 | 142.2299 | 32.448 | 17145011.4833 | 2576290.064 | 33.0208 | 33.503 | 0.082698 | [9108.254790752455, 42370.441738459514, 36330.43128163611] | [1.456281899713129, 1.307203991860011, 1.0550099550555763] | [-18532.75791396303, -13624.73194045024, -26192.134210195574] | [4.7012473146175136e-05, 4.6943339845754234e-05, 5.290835536416632e-05] | [2.3323365344014197, 3.5605599152526417, 3.747882342854674] | [391.32445669031296, 21.529344023683898, 13.835853968333097] | [73.07760339311767, 13.429407106779243, 10.837056837481743] | [51417314.2707905, 14224.175199961284, 3496.003806719034] | [0.15000001938482305, 0.06753943319259535, 0.0542352904291308] | [0.12462360878596733, 0.021435304778703975, 0.030868459245077768] | [184.0, 613.0, 274.0] | [0.1691789790238992, 0.6826690037742985, 0.4309852835988896] | [0.0014724848998564296, 0.0009247783167653353, 0.0006234250102757376] | [2.0, 2.0, 3.0] | [0.9499995787871076, 0.6000006417685846, 0.6153702865869184] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.09266378956981515, 0.0681236597022512, 0.08730711403398525] | 0.022838 | 0.048901 | 0.18251 | 2 | 184 | 2 | 613 | 3 | 274