## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.26051 | 1.0132 | 0.85 | 58660.5424 | 1.1393 | -56872.8213 | 9.8727e-05 | 2.1616 | 34.1326 | 21.3733 | 67382.9915 | 2839136.8278 | 33.1489 | 34.0468 | 0.18958 | [22328.851585039512, 20878.107097242086, 15453.583672144177] | [1.2212329532383355, 1.142059581440572, 1.054681762875641] | [-23359.824383513223, -20259.99531628643, -13253.001613180471] | [9.913814570526042e-05, 0.00010313364188927791, 9.391051765896833e-05] | [1.7739351605720768, 2.2405889301888, 2.470285689132874] | [66.34627816709356, 22.53033244098977, 13.521130666154558] | [31.442395170079266, 18.223686560706994, 14.453910520904245] | [190396.8256839508, 9564.043508213064, 2188.1054264179993] | [0.15016181481558988, 0.10284917848692403, 0.06380941949025089] | [0.08055699830076105, 0.044676577224823356, 0.04109398078221882] | [354.0, 331.0, 245.0] | [0.4635444427881115, 0.5656737337337318, 0.3561242672821431] | [0.00030000003542896394, 0.00030000003155881364, 0.00030000003797516747] | [1.0, 1.0, 1.0] | [0.9499998823606862, 0.7957951194020809, 0.7527630182149888] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.23359824383513222, 0.2025999531628643, 0.1325300161318047] | 0.015257 | 0.054095 | 0.18876 | 1 | 354 | 1 | 331 | 1 | 245
0.25298 | 0.93691 | 0.85 | 74098.3379 | 1.1401 | -61231.6867 | 9.099e-05 | 2.0721 | 39.724 | 23.3769 | 80640.6833 | 2632087.9754 | 33.0884 | 33.4866 | 0.16038 | [22313.085459880338, 20878.09862747555, 30907.153781408364] | [1.1979291774433674, 1.1787777660250005, 1.043725171184811] | [-24423.719497010712, -10575.187919120252, -26232.779256563997] | [0.00010059128332249802, 7.994515851902014e-05, 9.243275242068019e-05] | [1.760909448235589, 2.0218699912739853, 2.433437640105368] | [68.17869771471388, 36.032996458947494, 14.960438108505198] | [31.95271284327445, 23.165320530226797, 15.012645796735871] | [204208.49726008152, 34839.57063692663, 2873.9821527295508] | [0.15000042107444267, 0.09455450699407957, 0.07632685361471318] | [0.08623590886082799, 0.04683177374931176, 0.04022894316425622] | [354.0, 331.0, 245.0] | [0.42510615351823705, 0.5047545634199907, 0.4730859083781891] | [0.00030053506275858055, 0.00030000033873752786, 0.0003000003702546558] | [1.0, 1.0, 2.0] | [0.9499997664744477, 0.9276229720546938, 0.7689473842799369] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.2442371949701071, 0.1057518791912025, 0.13116389628282] | 0.019272 | 0.050004 | 0.18131 | 1 | 354 | 1 | 331 | 2 | 245
0.25296 | 0.93646 | 0.85 | 74224.486 | 1.1402 | -61105.7656 | 9.0927e-05 | 2.0724 | 39.7423 | 23.378 | 80759.9142 | 2630867.4765 | 33.0879 | 33.484 | 0.16011 | [22313.08238149875, 20878.098484325477, 31033.305136601062] | [1.197792733995571, 1.1790483575247557, 1.0436738024616647] | [-24430.6186796391, -10528.72174404534, -26146.425135021607] | [0.00010060052275876284, 7.980591557724615e-05, 9.237320053059727e-05] | [1.7608364789469548, 2.0204408295758123, 2.436050596029178] | [68.18919877069536, 36.150680321882575, 14.88711857660127] | [31.955616374816753, 23.20378050378907, 14.97456246176795] | [204290.20677714125, 35154.87588315688, 2834.659969326797] | [0.15000038978068525, 0.09450876489455948, 0.07616082723542647] | [0.08626992447731621, 0.04684527842615716, 0.040094627200720906] | [354.0, 331.0, 246.0] | [0.42487925360093215, 0.5043718524675039, 0.4737005441239438] | [0.00030053516729804423, 0.00030000034392924985, 0.0003000003774011703] | [1.0, 1.0, 2.0] | [0.949999765280425, 0.9284382006602939, 0.7683870389060102] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24430618679639102, 0.10528721744045343, 0.130732125675108] | 0.019305 | 0.04998 | 0.18128 | 1 | 354 | 1 | 331 | 2 | 246
0.26044 | 1.0127 | 0.85 | 58723.6134 | 1.1391 | -56849.5146 | 9.8727e-05 | 2.1625 | 34.095 | 21.357 | 67364.1995 | 2837830.0832 | 33.1487 | 34.0431 | 0.1895 | [22328.84973022052, 20941.18141150877, 15453.582300934708] | [1.221080976502623, 1.1418356089065362, 1.0544987462095075] | [-23366.98817534819, -20244.05026475888, -13238.476175591737] | [9.91482497897654e-05, 0.00010314886736723347, 9.388334213100461e-05] | [1.7738535567467324, 2.2431170980752824, 2.47057007081704] | [66.35736097821778, 22.41581302749335, 13.511810368304333] | [31.44553090689711, 18.1757654685468, 14.44982982785525] | [190477.33064461517, 9431.415360386429, 2183.852509887218] | [0.15016182830172373, 0.10268896322355464, 0.06372834260390081] | [0.08059282082421923, 0.04453051351216533, 0.04109397287660404] | [354.0, 332.0, 245.0] | [0.46330591972144475, 0.566418521623764, 0.35530491186901153] | [0.00030000009832826353, 0.0003000000871701325, 0.0003000001051621694] | [1.0, 1.0, 1.0] | [0.9499996767743827, 0.7949892081719713, 0.7527630553324505] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.23366988175348188, 0.20244050264758878, 0.13238476175591737] | 0.015273 | 0.054069 | 0.1887 | 1 | 354 | 1 | 332 | 1 | 245
0.26039 | 1.0123 | 0.85 | 58786.694 | 1.1392 | -56546.4245 | 9.849e-05 | 2.1621 | 34.1133 | 21.3643 | 67401.2716 | 2836844.0555 | 33.1484 | 34.046 | 0.18849 | [22328.85157235966, 20941.182944620923, 15516.659522319882] | [1.2209664883616456, 1.1419659576462984, 1.054787098474008] | [-23372.352361668, -20193.457884153733, -12980.614303966804] | [9.915580306690645e-05, 0.0001030485066878995, 9.32655363457178e-05] | [1.7737916195847891, 2.242205633072025, 2.470424271248891] | [66.36579213984946, 22.457004559924165, 13.517194127216095] | [31.447912870561908, 18.192927609523583, 14.451960355563603] | [190538.64896564337, 9478.967477533091, 2186.1983613658076] | [0.15016181457586114, 0.10265150165479124, 0.06335963287028223] | [0.0806198342883281, 0.044541724121766615, 0.040817348301735126] | [354.0, 332.0, 246.0] | [0.46312596607474876, 0.5661509485888135, 0.35591848837590867] | [0.0003000000358589541, 0.0003000000317352194, 0.00030000003805067603] | [1.0, 1.0, 1.0] | [0.9499998830551718, 0.7955460577717939, 0.754783974423473] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.23372352361667997, 0.20193457884153732, 0.12980614303966806] | 0.01529 | 0.05405 | 0.18866 | 1 | 354 | 1 | 332 | 1 | 246
0.25296 | 0.93666 | 0.85 | 74161.4046 | 1.14 | -61178.2759 | 9.0986e-05 | 2.0731 | 39.6464 | 23.3511 | 80451.9771 | 2631393.9461 | 33.0882 | 33.4851 | 0.1603 | [22313.0608809107, 20941.1804037112, 30907.163344366945] | [1.1978520917406335, 1.1784835025668081, 1.0436020604297265] | [-24427.48492871944, -10573.487669385244, -26177.303338131656] | [0.00010059630581903982, 7.998403020814957e-05, 9.237655315985749e-05] | [1.7608672539308396, 2.0246903365919535, 2.433650552359242] | [68.18479232032459, 35.80375366151278, 14.950703001219404] | [31.954393662347748, 23.089682049811493, 15.00918769518915] | [204255.976373938, 34231.63342118582, 2868.3216451018184] | [0.15000014624995148, 0.09438266505853042, 0.07619240664741578] | [0.08625516586397802, 0.0466604369199374, 0.040223234721603274] | [354.0, 332.0, 245.0] | [0.42497671471836673, 0.5056682731002502, 0.4722307502720585] | [0.0003005358974422306, 0.0003000001236105046, 0.00030000013596994654] | [1.0, 1.0, 2.0] | [0.9499999150434834, 0.9267217523644802, 0.769056868317965] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.2442748492871944, 0.10573487669385244, 0.1308865166906583] | 0.019288 | 0.04999 | 0.18129 | 1 | 354 | 1 | 332 | 2 | 245
0.25294 | 0.9362 | 0.85 | 74287.5551 | 1.14 | -61052.7528 | 9.0923e-05 | 2.0734 | 39.6643 | 23.3521 | 80569.0167 | 2630176.6011 | 33.0877 | 33.4825 | 0.16002 | [22313.05985688937, 20941.18035105486, 31033.314922770493] | [1.197715981445564, 1.1787534847847505, 1.0435508143245407] | [-24434.37880742553, -10527.081404950486, -26091.29256685828] | [0.00010060553786899475, 7.984492562986876e-05, 9.231727097891104e-05] | [1.7607945293753056, 2.02326286197567, 2.436265074301065] | [68.19525874642416, 35.92037080358639, 14.877384144669398] | [31.957287665958468, 23.12791531328127, 14.971092265759072] | [204337.43117632376, 34540.56951639999, 2829.0494542575134] | [0.15000013584594815, 0.09433683570374873, 0.07602667547478306] | [0.08628910190140475, 0.04667380020517613, 0.04008899195454592] | [354.0, 332.0, 246.0] | [0.4247504250292406, 0.5052863492628615, 0.4728456908555151] | [0.00030053593221727846, 0.000300000125514475, 0.0003000001386225801] | [1.0, 1.0, 2.0] | [0.9499999146095183, 0.9275368041185964, 0.7684954123103445] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24434378807425536, 0.10527081404950485, 0.1304564628342914] | 0.019321 | 0.049966 | 0.18126 | 1 | 354 | 1 | 332 | 2 | 246
0.25225 | 0.91874 | 0.85 | 79522.7211 | 1.1103 | -54803.0717 | 8.9253e-05 | 2.1721 | 35.0674 | 21.4734 | 74131.1006 | 2583562.7021 | 33.066 | 33.3724 | 0.15046 | [22313.052309463863, 41756.1010263133, 15453.567743581394] | [1.1925274998583661, 1.1202853665117158, 1.0181749429974842] | [-24699.797142346135, -19328.3431937695, -10774.931405560945] | [0.00010095886070531987, 7.800865210048287e-05, 8.879169817379278e-05] | [1.758025211343206, 2.2310358601607403, 2.52733137279717] | [68.59628490970087, 24.7995708636219, 11.806219376784702] | [32.06790624005157, 18.672294382053657, 13.680117860730709] | [207482.28261167053, 13389.348597189386, 1521.6706116995022] | [0.15000009282159707, 0.10135050933474049, 0.0483551135371405] | [0.08759127144616886, 0.03064822270906554, 0.04109686520059782] | [354.0, 331.0, 245.0] | [0.4160687662813441, 0.6976945219921169, 0.15017584320061036] | [0.0003005361885226651, 0.00030000208373658923, 0.0003000008184492007] | [1.0, 2.0, 1.0] | [0.949999698249842, 0.8790223242576344, 0.7527067449586187] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24699797142346133, 0.09664171596884749, 0.10774931405560945] | 0.020683 | 0.049045 | 0.18013 | 1 | 354 | 2 | 331 | 1 | 245
0.25225 | 0.91855 | 0.85 | 79585.876 | 1.1104 | -54561.6412 | 8.9041e-05 | 2.1719 | 35.0796 | 21.4781 | 74157.5973 | 2583072.3941 | 33.0657 | 33.3735 | 0.14971 | [22313.04947601303, 41756.17224630501, 15516.654244003508] | [1.192473330416409, 1.1203746799491547, 1.018276061289123] | [-24702.55119190338, -19297.6221155983, -10561.46787051258] | [0.00010096249558900499, 7.796021717308416e-05, 8.820028674973121e-05] | [1.7579959288566525, 2.2304235832216044, 2.527260346416526] | [68.60056289690792, 24.830072910442553, 11.808247442941397] | [32.069081232873124, 18.68418821144882, 13.681025040292463] | [207516.1117514608, 13434.373561408695, 1522.3065321048753] | [0.15000003351348465, 0.10132858846696861, 0.0480508202832612] | [0.087604968684741, 0.03065028609240974, 0.04082026594436975] | [354.0, 331.0, 246.0] | [0.415977216663205, 0.6976086747948759, 0.15055020545047404] | [0.0003005362847447542, 0.00030000079224066915, 0.00030000029562819887] | [1.0, 2.0, 1.0] | [0.9499998903450221, 0.8793526089155799, 0.75472737686784] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24702551191903382, 0.09648811057799149, 0.1056146787051258] | 0.020699 | 0.049035 | 0.18012 | 1 | 354 | 2 | 331 | 1 | 246
0.25221 | 0.91074 | 0.85 | 82394.2893 | 1.1233 | -57512.6866 | 8.5203e-05 | 2.1417 | 36.3175 | 22.0127 | 76083.6067 | 2561598.1449 | 33.054 | 33.3402 | 0.13723 | [22313.048642140522, 34561.44678645843, 25519.793843969666] | [1.1900990310449235, 1.154605634484098, 1.0251051452320958] | [-24825.638616845506, -14557.591673300572, -18129.45635379548] | [0.00010112492719674899, 7.10920534095248e-05, 8.33923215259346e-05] | [1.7567296341058358, 2.164071433143342, 2.504172716640978] | [68.78559573235944, 27.634408615717682, 12.532629341630368] | [32.11993961494071, 19.931890125315483, 13.986152060059037] | [208983.19791970926, 17506.57089828248, 1761.051233590435] | [0.15000002676285154, 0.0880486061161465, 0.052097503440016284] | [0.08820655617540082, 0.031024637973116286, 0.037734439794654025] | [354.0, 331.0, 245.0] | [0.4119664411131806, 0.6477154748114944, 0.2758112550098091] | [0.00030053631306250974, 0.000457628794673845, 0.00045984926888859284] | [1.0, 2.0, 2.0] | [0.949999879089093, 0.807016726170454, 0.6477164720585055] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24825638616845505, 0.07278795836650286, 0.09064728176897739] | 0.02143 | 0.048611 | 0.17977 | 1 | 354 | 2 | 331 | 2 | 245
0.25221 | 0.91065 | 0.85 | 82424.9682 | 1.1234 | -57081.95 | 8.498e-05 | 2.1415 | 36.3237 | 22.0151 | 76095.945 | 2561405.4573 | 33.0538 | 33.3425 | 0.13651 | [22313.04864117534, 34546.83894135554, 25565.08058797462] | [1.1900777711842303, 1.1546864806989565, 1.0253100109878746] | [-24826.745387844163, -14549.021757653869, -17706.18283487469] | [0.00010112638377192634, 7.107703942259663e-05, 8.27362807641851e-05] | [1.7567182983446954, 2.163801097013768, 2.504071203788673] | [68.78725678976696, 27.64814543741242, 12.53571254468527] | [32.120395670873975, 19.937413849799817, 13.9875191137476] | [208996.41355410713, 17529.22224327154, 1762.1992811104114] | [0.1500000267546028, 0.08802783649145438, 0.051709577396023686] | [0.08821195892424018, 0.031031723666060027, 0.037433785448080556] | [354.0, 331.0, 246.0] | [0.41193042127464147, 0.6475517843672394, 0.27619190128090915] | [0.0003005363130952865, 0.0004580156224629503, 0.0004619612082182625] | [1.0, 2.0, 2.0] | [0.9499998790788202, 0.8069158452427366, 0.6487824401562917] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24826745387844162, 0.07274510878826934, 0.08853091417437346] | 0.021437 | 0.048607 | 0.17977 | 1 | 354 | 2 | 331 | 2 | 246
0.25225 | 0.91837 | 0.85 | 79648.947 | 1.1102 | -54763.028 | 8.9244e-05 | 2.1731 | 35.0234 | 21.4556 | 74087.1193 | 2582560.9656 | 33.0655 | 33.3702 | 0.15039 | [22313.049443290234, 41882.319308091646, 15453.578244453134] | [1.1924166695870375, 1.1200145162297335, 1.0180521192982754] | [-24705.47668686847, -19289.484426477244, -10768.06692125418] | [0.00010096636639017819, 7.798864209596913e-05, 8.877594910276532e-05] | [1.7579657021953519, 2.2337810323899747, 2.52752293740718] | [68.6049676681397, 24.664133836459886, 11.800955494798064] | [32.07029323107456, 18.61893609539486, 13.677668350034356] | [207550.91979773814, 13190.466656590035, 1519.9714775555035] | [0.15000003323411434, 0.10115624792634796, 0.04830568773065583] | [0.08761928383764221, 0.030548355898599888, 0.0410969638553573] | [354.0, 332.0, 245.0] | [0.415881777250714, 0.6981011590406366, 0.1493038280642987] | [0.00030053628585599855, 0.00030000087388648973, 0.0003000003039231439] | [1.0, 2.0, 1.0] | [0.9499998899949111, 0.8783409623776469, 0.7527057031354195] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.2470547668686847, 0.09644742213238622, 0.1076806692125418] | 0.020715 | 0.049025 | 0.18011 | 1 | 354 | 2 | 332 | 1 | 245
0.25224 | 0.91818 | 0.85 | 79712.0202 | 1.1102 | -54521.6723 | 8.9032e-05 | 2.1729 | 35.0355 | 21.4603 | 74113.1516 | 2582072.9252 | 33.0652 | 33.3713 | 0.14964 | [22313.049423900677, 41882.31663390488, 15516.654101734846] | [1.192362605004122, 1.1201039358408915, 1.0181527425412193] | [-24708.26871008172, -19258.75910221195, -10554.644485646615] | [0.00010097006012952289, 7.794015495392103e-05, 8.818436588177748e-05] | [1.757936861053731, 2.2331695686157804, 2.5274509623810886] | [68.60917107949535, 24.69438602116383, 11.803001179364603] | [32.07144976508269, 18.63076517973915, 13.67858734528058] | [207584.14191267808, 13234.699290147906, 1520.6135630407698] | [0.1500000330680156, 0.10113409900158177, 0.04800153675019071] | [0.08763294492919839, 0.030550309466439846, 0.040820284137346355] | [354.0, 332.0, 246.0] | [0.4157906988707129, 0.6980156400343159, 0.14967724676439897] | [0.00030053628651445513, 0.00030000092223378096, 0.0003000003025707955] | [1.0, 2.0, 1.0] | [0.9499998897910075, 0.8786702151892428, 0.7547270155174849] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24708268710081718, 0.09629379551105974, 0.10554644485646614] | 0.020732 | 0.049016 | 0.1801 | 1 | 354 | 2 | 332 | 1 | 246
0.2522 | 0.91073 | 0.85 | 82395.8706 | 1.1232 | -57501.7855 | 8.5212e-05 | 2.1427 | 36.2589 | 21.9912 | 75982.6801 | 2561564.9774 | 33.054 | 33.3402 | 0.13721 | [22313.04864091372, 34580.44032784592, 25502.381622410638] | [1.1900953715187073, 1.1544708606940597, 1.025084140285646] | [-24825.829120615304, -14553.351667932351, -18122.604744193566] | [0.00010112517791587182, 7.112630981358758e-05, 8.33832229103966e-05] | [1.756727682838808, 2.166988982811423, 2.5042390640734684] | [68.78588165023244, 27.460358485290566, 12.530428126720144] | [32.12001811655337, 19.868444750133904, 13.985248576811937] | [208985.4726690155, 17202.298193466246, 1760.2693299278042] | [0.15000002675367405, 0.0878367499498241, 0.05207165942154309] | [0.08820748614730817, 0.030935641124663828, 0.03773281517871783] | [354.0, 332.0, 245.0] | [0.4119602410096166, 0.6478788685303837, 0.2754828810038528] | [0.0003005363131041712, 0.0004598886339160588, 0.0004604754011960321] | [1.0, 2.0, 2.0] | [0.949999879067757, 0.8045543810081403, 0.6473052463268782] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24825829120615303, 0.07276675833966176, 0.09061302372096783] | 0.02143 | 0.048611 | 0.17977 | 1 | 354 | 2 | 332 | 2 | 245
0.2522 | 0.91064 | 0.85 | 82426.3065 | 1.1233 | -57071.4054 | 8.4989e-05 | 2.1425 | 36.2648 | 21.9936 | 75994.5529 | 2561374.0817 | 33.0538 | 33.3425 | 0.1365 | [22313.048640002744, 34566.898063193126, 25546.359827963268] | [1.1900743095005697, 1.154546215035986, 1.0252878489108856] | [-24826.925605809156, -14545.355473384043, -17699.124346586595] | [0.00010112662094263903, 7.111222200418857e-05, 8.272676485675892e-05] | [1.756716452575637, 2.166729560034927, 2.5041413705183895] | [68.7875272625142, 27.473480026205664, 12.533381914050455] | [32.12046993042164, 19.87372688081423, 13.986563334264975] | [208998.56555401598, 17223.721732453807, 1761.3712715688312] | [0.15000002674583462, 0.08781769958063942, 0.05168241603181978] | [0.08821283866591942, 0.0309424730167265, 0.037432095614216] | [354.0, 332.0, 246.0] | [0.41192455605466194, 0.647724613349573, 0.2758440496092848] | [0.0003005363131351074, 0.00046024792149135273, 0.00046263478349500153] | [1.0, 2.0, 2.0] | [0.9499998790584022, 0.8044645458572888, 0.6483418550738692] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24826925605809153, 0.07272677736692021, 0.08849562173293299] | 0.021438 | 0.048607 | 0.17977 | 1 | 354 | 2 | 332 | 2 | 246
0.26044 | 1.0127 | 0.85 | 58723.6186 | 1.1389 | -56951.5018 | 9.8793e-05 | 2.1632 | 33.9139 | 21.3174 | 65795.509 | 2837840.0743 | 33.1487 | 34.0429 | 0.18984 | [22391.927819243327, 20878.10709264555, 15453.583668173138] | [1.2204066836930514, 1.1417849267259423, 1.0544853644046506] | [-23490.16614635941, -20223.89538659524, -13237.440253035604] | [9.940238940406045e-05, 0.00010309374849569965, 9.388141676723379e-05] | [1.77737573701991, 2.2416307295107463, 2.4705910802055104] | [65.75091683108538, 22.47955256008428, 13.511124049920294] | [31.298916736151632, 18.203632551490397, 14.449528746189007] | [185699.8856160283, 9503.101697181668, 2183.539622718272] | [0.15000001843173916, 0.10269165891817297, 0.06372245787204929] | [0.08032553358302882, 0.044627580175299573, 0.04109398827332131] | [355.0, 331.0, 245.0] | [0.46450893136131705, 0.5654847214586107, 0.35524510964919465] | [0.0003000000225022587, 0.00030000003172551927, 0.0003000000381697419] | [1.0, 1.0, 1.0] | [0.9483456746981305, 0.7955829522117585, 0.7527628750261408] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.23490166146359412, 0.2022389538659524, 0.13237440253035604] | 0.015273 | 0.054069 | 0.1887 | 1 | 355 | 1 | 331 | 1 | 245
0.2604 | 1.0123 | 0.85 | 58786.6944 | 1.139 | -56648.3135 | 9.8556e-05 | 2.1628 | 33.9323 | 21.3246 | 65832.1953 | 2836854.4984 | 33.1484 | 34.0457 | 0.18883 | [22391.9278177046, 20878.10708956276, 15516.659521934922] | [1.220292487440608, 1.1419159833081265, 1.0547737243369464] | [-23495.597717866058, -20173.138162849904, -12979.577658669394] | [9.941002818309624e-05, 0.0001029929952193381, 9.326356929290132e-05] | [1.7773136610484124, 2.24071678099913, 2.4704450051749927] | [65.75925757846703, 22.52101717427746, 13.516514653015609] | [31.3012864948546, 18.220882044957133, 14.451663014259088] | [185759.4918880437, 9551.205667428147, 2185.888291332273] | [0.15000001838584356, 0.10265414369258531, 0.06335376464721594] | [0.08035257825311956, 0.04463873398185033, 0.040817347992754785] | [355.0, 331.0, 246.0] | [0.46432862446995216, 0.5652171404987469, 0.3558588110189382] | [0.000300000022554292, 0.0003000000318373248, 0.0003000000380694618] | [1.0, 1.0, 1.0] | [0.9483456748889796, 0.7961416615393931, 0.7547839803425913] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.23495597717866054, 0.20173138162849907, 0.12979577658669395] | 0.01529 | 0.05405 | 0.18866 | 1 | 355 | 1 | 331 | 1 | 246
0.25297 | 0.93665 | 0.85 | 74177.195 | 1.1396 | -61365.3309 | 9.109e-05 | 2.0739 | 39.4555 | 23.309 | 78685.5577 | 2631355.4995 | 33.0881 | 33.4846 | 0.16096 | [22391.92717315791, 20878.10453778862, 30907.163317381925] | [1.1969495162288681, 1.1784018040782618, 1.0435584525418298] | [-24651.941699681356, -10556.27711998379, -26157.112042338147] | [0.00010099316511393832, 7.992063204505987e-05, 9.235594832736811e-05] | [1.7646643791479761, 2.0233052783077063, 2.433723556607416] | [67.50706129690886, 35.912076480516106, 14.947319320109951] | [31.792450511342526, 23.126699300838364, 15.00799824617314] | [198676.89128954647, 34513.42853637333, 2866.353162824974] | [0.15000001219858136, 0.09438099708773098, 0.07614424127086378] | [0.0860466209133796, 0.04674561981795638, 0.04022105650402262] | [355.0, 331.0, 245.0] | [0.4263665604005662, 0.5047570426705922, 0.4719254059285731] | [0.00030000004435012776, 0.0003000001243842059, 0.0003000001366310575] | [1.0, 1.0, 2.0] | [0.9483456724047046, 0.9272913636332885, 0.769098514910276] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.2465194169968136, 0.1055627711998379, 0.13078556021169074] | 0.019292 | 0.049989 | 0.18129 | 1 | 355 | 1 | 331 | 2 | 245
0.25295 | 0.93619 | 0.85 | 74303.3281 | 1.1397 | -61239.3698 | 9.1027e-05 | 2.0743 | 39.4736 | 23.3101 | 78802.8595 | 2630139.6608 | 33.0876 | 33.482 | 0.16068 | [22391.924850778432, 20878.09836804806, 31033.304866887283] | [1.1968140302130141, 1.1786723819680083, 1.0435077230628766] | [-24658.960781996768, -10509.891688852189, -26070.517368916106] | [0.00010100253276315895, 7.978143650434199e-05, 9.229584800379773e-05] | [1.7645915395005662, 2.0218760469963977, 2.4363340812448397] | [67.51739665920546, 36.02929363148992, 14.874132636729637] | [31.79532598929335, 23.16507021819681, 14.969965014716768] | [198755.81068366542, 34825.599347518226, 2827.1686110694613] | [0.15000003356842428, 0.09433530852509042, 0.07597819191054125] | [0.08608063886857335, 0.046758982167216155, 0.04008661118726604] | [355.0, 331.0, 246.0] | [0.42613984598269505, 0.5043754188564176, 0.4725405268829105] | [0.0003000001228831639, 0.00030000034814636284, 0.0003000003839820799] | [1.0, 1.0, 2.0] | [0.9483453874010086, 0.928106696006204, 0.7685406726305942] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24658960781996764, 0.10509891688852188, 0.1303525868445805] | 0.019325 | 0.049965 | 0.18126 | 1 | 355 | 1 | 331 | 2 | 246
0.26037 | 1.0122 | 0.85 | 58786.6944 | 1.1387 | -56928.4889 | 9.8792e-05 | 2.1641 | 33.8763 | 21.3011 | 65776.4141 | 2836537.5112 | 33.1485 | 34.0392 | 0.18976 | [22391.927817140033, 20941.182943074327, 15453.583664562228] | [1.2202557635170534, 1.1415609269641174, 1.0543027519774524] | [-23497.34488538809, -20208.14873783356, -13222.99532407085] | [9.941248492118337e-05, 0.00010310928429217928, 9.385437706247377e-05] | [1.777293698703288, 2.244160771075404, 2.4708750590010213] | [65.76194027158667, 22.365253668100628, 13.501827383109037] | [31.302048643518088, 18.15574956572608, 14.445456380612592] | [185778.66752161848, 9371.269710840133, 2179.3051646787912] | [0.15000001836972576, 0.1025319263631498, 0.06364163921900691] | [0.08036127709027635, 0.0444818486113066, 0.04109399608477372] | [355.0, 332.0, 245.0] | [0.4642706292946201, 0.5662291609208365, 0.3544258873042598] | [0.00030000002257338313, 0.00030000003179114185, 0.00030000003834667054] | [1.0, 1.0, 1.0] | [0.9483456749544419, 0.7947758132443735, 0.7527627257570317] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.23497344885388088, 0.20208148737833562, 0.1322299532407085] | 0.01529 | 0.054044 | 0.18864 | 1 | 355 | 1 | 332 | 1 | 245
0.26033 | 1.0119 | 0.85 | 58849.7662 | 1.1388 | -56625.473 | 9.8555e-05 | 2.1637 | 33.8946 | 21.3083 | 65812.6572 | 2835554.9116 | 33.1482 | 34.0421 | 0.18875 | [22391.926640295263, 20941.181390201615, 15516.658141694192] | [1.2201417879449634, 1.1416922187396594, 1.0545902525156625] | [-23502.801855194215, -20157.300084075676, -12965.37105757531] | [9.942016536029392e-05, 0.00010300831426073773, 9.323661717572443e-05] | [1.7772321500977077, 2.2432466871515353, 2.4707290378237765] | [65.7701994983584, 22.406463036670292, 13.507207368991903] | [31.304397560271564, 18.172936188641934, 14.447588306998995] | [185837.67402258006, 9418.652409013343, 2181.6451689482624] | [0.1500000505160454, 0.1024941876479737, 0.06327327712867026] | [0.08038826252318373, 0.044492813553121666, 0.04081734026744031] | [355.0, 332.0, 246.0] | [0.46409083236740883, 0.5659623317505866, 0.355039221806973] | [0.00030000006236928376, 0.00030000008794056566, 0.00030000010542406377] | [1.0, 1.0, 1.0] | [0.9483453957567007, 0.7953351772596963, 0.7547840149488385] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.23502801855194216, 0.20157300084075672, 0.1296537105757531] | 0.015306 | 0.054024 | 0.1886 | 1 | 355 | 1 | 332 | 1 | 246
0.25295 | 0.93639 | 0.85 | 74240.2708 | 1.1395 | -61311.6551 | 9.1086e-05 | 2.0749 | 39.3781 | 23.2833 | 78498.0677 | 2630664.066 | 33.0879 | 33.4831 | 0.16087 | [22391.927169319104, 20941.18036192676, 30907.163248320438] | [1.1968725301875345, 1.1781080588068638, 1.0434359928613677] | [-24655.912317997587, -10554.539792971329, -26101.203010163248] | [0.00010099845935986384, 7.995937701724498e-05, 9.229896686390504e-05] | [1.7646227827336187, 2.0261266859017915, 2.433930940588455] | [67.51297022092776, 35.68367849181753, 14.937763382678224] | [31.79409314255823, 23.051211910328004, 15.00462499374554] | [198722.0258044889, 33911.37123876877, 2860.8060617244782] | [0.15000001218626197, 0.09420943959802286, 0.07600977636014287] | [0.08606595634351295, 0.04657466227062043, 0.04021511826334295] | [355.0, 332.0, 245.0] | [0.4262376519088705, 0.5056699062884594, 0.4710690379276729] | [0.0003000000444799399, 0.0003000001251213642, 0.0003000001383230072] | [1.0, 1.0, 2.0] | [0.9483456722348172, 0.926389969286425, 0.7692120719566263] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24655912317997591, 0.10554539792971328, 0.13050601505081624] | 0.019309 | 0.049976 | 0.18127 | 1 | 355 | 1 | 332 | 2 | 245
0.25293 | 0.93594 | 0.85 | 74366.4036 | 1.1395 | -61186.0218 | 9.1022e-05 | 2.0753 | 39.3959 | 23.2843 | 78613.2266 | 2629451.3885 | 33.0874 | 33.4806 | 0.1606 | [22391.92484015687, 20941.174136140242, 31033.304668751123] | [1.196737414171498, 1.1783780369268424, 1.0433854286446251] | [-24662.914201783424, -10508.214965820342, -26014.892660103254] | [0.00010100780244969394, 7.982032101629733e-05, 9.223905733431023e-05] | [1.7645501445089817, 2.0246991123052376, 2.436542611916038] | [67.52327883907797, 35.799835968522345, 14.864588605884787] | [31.796960982609466, 23.089357497186214, 14.96658551093652] | [198800.75833322672, 34217.24489452243, 2821.6764294008053] | [0.15000003353479496, 0.09416366852621529, 0.0758439889695876] | [0.08609988788910572, 0.046587885898266096, 0.040080726886526315] | [355.0, 332.0, 246.0] | [0.42601151352097016, 0.5052890698238852, 0.47168448938374236] | [0.00030000012324233997, 0.0003000003502360736, 0.000300000388816524] | [1.0, 1.0, 2.0] | [0.9483453869280591, 0.9272051240489183, 0.7686534886717377] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24662914201783423, 0.1050821496582034, 0.13007446330051628] | 0.019342 | 0.049952 | 0.18124 | 1 | 355 | 1 | 332 | 2 | 246
0.25226 | 0.91855 | 0.85 | 79601.5798 | 1.1099 | -54987.3264 | 8.9373e-05 | 2.1738 | 34.8182 | 21.4111 | 72220.2866 | 2583023.6676 | 33.0657 | 33.3708 | 0.15115 | [22391.923814464335, 41756.08856527151, 15453.567430395922] | [1.1915927632593977, 1.1199646103007983, 1.0180817846713839] | [-24930.818917370918, -19286.859242175782, -10769.648244888524] | [0.00010136277251054865, 7.797786399994107e-05, 8.877952490352402e-05] | [1.7617721945771112, 2.2322159921641633, 2.527475922541598] | [67.92047360760293, 24.731788588627296, 11.80224276236719] | [31.90709557685413, 18.648074750036127, 13.6782701549011] | [201858.89248498305, 13281.579851110702, 1520.3874778320767] | [0.15000003125636663, 0.1011580591893337, 0.04831752527124586] | [0.08740090886259759, 0.03063280157424757, 0.04109687499765215] | [355.0, 331.0, 245.0] | [0.41733766337462874, 0.6972718740075526, 0.14951419025332555] | [0.00030000015792692206, 0.00030000230970427737, 0.00030000083379480265] | [1.0, 2.0, 1.0] | [0.9483453351300611, 0.8787805802215934, 0.7527065336946581] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24930818917370914, 0.09643429621087891, 0.10769648244888523] | 0.020703 | 0.049035 | 0.18013 | 1 | 355 | 2 | 331 | 1 | 245
0.25225 | 0.91836 | 0.85 | 79664.7482 | 1.1099 | -54746.1581 | 8.9161e-05 | 2.1736 | 34.8304 | 21.4158 | 72246.3647 | 2582534.5272 | 33.0654 | 33.3719 | 0.15039 | [22391.92678742397, 41756.16726832866, 15516.654130627856] | [1.1915389292365202, 1.1200536333316649, 1.0181824086667017] | [-24933.61514116628, -19256.261675899696, -10556.281312498904] | [0.00010136644504298725, 7.792952626493162e-05, 8.818817793160866e-05] | [1.7617427499575644, 2.231604502238505, 2.5274051262384196] | [67.9247231771189, 24.762160750758465, 11.804262545086955] | [31.90826844124225, 18.65993312279062, 13.679174073211106] | [201891.89112347862, 13326.18246071224, 1521.0203917698225] | [0.15000001133268695, 0.10113626071581097, 0.048013386118147434] | [0.08741462442465397, 0.030634826240260055, 0.04082027665484451] | [355.0, 331.0, 246.0] | [0.4172461450611224, 0.6971865213663134, 0.1498873633377763] | [0.00030000005739401443, 0.00030000088251063133, 0.0003000003011608398] | [1.0, 2.0, 1.0] | [0.9483456529820998, 0.8791105648918562, 0.7547271618335105] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.2493361514116628, 0.09628130837949847, 0.10556281312498905] | 0.02072 | 0.049025 | 0.18012 | 1 | 355 | 2 | 331 | 1 | 246
0.25222 | 0.91082 | 0.85 | 82382.5306 | 1.1229 | -57720.3523 | 8.5337e-05 | 2.1435 | 36.0522 | 21.9453 | 74115.1991 | 2561790.004 | 33.054 | 33.3403 | 0.13796 | [22391.926619933845, 34512.93020570228, 25477.673776617135] | [1.189255372762187, 1.1542640668915478, 1.0250607623477068] | [-25054.107679959205, -14552.34361648313, -18113.90102166796] | [0.00010152472416653715, 7.111339750762482e-05, 8.337160424943167e-05] | [1.7605107141582923, 2.1657531337638423, 2.504320431819101] | [68.10246094394435, 27.526573796828842, 12.527709309612169] | [31.95737897512773, 19.89450775015198, 13.98414041908568] | [203275.35140555145, 17310.93734476832, 1759.308419773679] | [0.15000001107281005, 0.08787297788398929, 0.0520390513488295] | [0.0879975737676928, 0.031004600612498576, 0.03773061896418755] | [355.0, 331.0, 245.0] | [0.4133596531147284, 0.6472394469475505, 0.275070912074026] | [0.00030000006305782066, 0.0004589148160238233, 0.0004613653483120855] | [1.0, 2.0, 2.0] | [0.948345643814533, 0.8055841246741543, 0.6467208109286723] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.25054107679959203, 0.07276171808241565, 0.0905695051083398] | 0.021426 | 0.048615 | 0.17978 | 1 | 355 | 2 | 331 | 2 | 245
0.25222 | 0.91073 | 0.85 | 82412.629 | 1.1229 | -57290.4694 | 8.5114e-05 | 2.1434 | 36.0578 | 21.9475 | 74126.4536 | 2561601.6212 | 33.0539 | 33.3426 | 0.13724 | [22391.92661980882, 34500.92582351404, 25519.7765592832] | [1.189234677666508, 1.1543316237774157, 1.0252628482426367] | [-25055.20407938198, -14545.14378260998, -17690.12153188631] | [0.00010152616059565498, 7.11006416809262e-05, 8.271457238390291e-05] | [1.7604995513239756, 2.165512439133442, 2.5042282038480126] | [68.10407573525957, 27.538826896031292, 12.53047821867384] | [31.957824677027094, 19.899423271780304, 13.985380409110363] | [203287.96258091572, 17331.053648726775, 1760.3446546837945] | [0.15000001107198704, 0.08785608826546927, 0.0516479136638038] | [0.08800287207656868, 0.031011023938043933, 0.037429820538946966] | [355.0, 331.0, 246.0] | [0.4133243295898253, 0.6470984526966734, 0.2754041448967447] | [0.0003000000630620485, 0.0004592335724663639, 0.0004635929507867143] | [1.0, 2.0, 2.0] | [0.948345643811667, 0.8055083777742895, 0.6477151768206583] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.2505520407938198, 0.0727257189130499, 0.08845060765943155] | 0.021434 | 0.048611 | 0.17978 | 1 | 355 | 2 | 331 | 2 | 246
0.25225 | 0.91818 | 0.85 | 79727.7084 | 1.1097 | -54947.3653 | 8.9364e-05 | 2.1748 | 34.7743 | 21.3934 | 72176.0735 | 2582026.1638 | 33.0651 | 33.3686 | 0.15108 | [22391.923790890487, 41882.21755995539, 15453.56702457153] | [1.1914827371948264, 1.1196947788329756, 1.0179597944432055] | [-24936.60133699012, -19248.02095224468, -10762.742980043504] | [0.00010137038824137927, 7.795780813727392e-05, 8.876361509340662e-05] | [1.7617128188277829, 2.234960868186291, 2.527665165025436] | [67.92901619664423, 24.59677557089588, 11.797039133438009] | [31.909458490966916, 18.594813239460514, 13.67585116638628] | [201925.16525713424, 13084.34498625728, 1518.710235321057] | [0.15000003121693872, 0.10096400999461613, 0.048268324693700106] | [0.08742891641221172, 0.03053310898507423, 0.041096892048652585] | [355.0, 332.0, 245.0] | [0.4171509384154949, 0.6976773819822699, 0.1486464838357463] | [0.0003000001587240897, 0.000300002713420829, 0.00030000085367956896] | [1.0, 2.0, 1.0] | [0.948345333857772, 0.878098130770962, 0.7527061768750009] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24936601336990122, 0.09624010476122338, 0.10762742980043503] | 0.020736 | 0.049015 | 0.18011 | 1 | 355 | 2 | 332 | 1 | 245
0.25225 | 0.91799 | 0.85 | 79790.7749 | 1.1098 | -54706.2675 | 8.9152e-05 | 2.1745 | 34.7864 | 21.398 | 72201.6729 | 2581539.4315 | 33.0649 | 33.3697 | 0.15033 | [22391.9237822037, 41882.20819708353, 15516.6428868839] | [1.191429057694466, 1.1197839566521517, 1.0180599459662605] | [-24939.42326276749, -19217.422952880683, -10549.42128244428] | [0.00010137410415432267, 7.790942516424547e-05, 8.817210657244517e-05] | [1.7616838509588704, 2.2343502509604356, 2.5275934228889407] | [67.93318471567557, 24.626895219370248, 11.799076661577264] | [31.910611430787355, 18.606605806596797, 13.676766864515193] | [201957.51201169274, 13128.157231830488, 1519.3493324345825] | [0.15000003120122993, 0.10094197404280372, 0.04796433697297326] | [0.0874425835337106, 0.030535022778651093, 0.040820215447025555] | [355.0, 332.0, 246.0] | [0.41705982040250417, 0.6975923398035478, 0.1490188583686902] | [0.00030000015901784016, 0.00030000288269537237, 0.0003000008498469423] | [1.0, 2.0, 1.0] | [0.9483453333964025, 0.8784268197954209, 0.7547274456163885] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.24939423262767493, 0.09608711476440342, 0.10549421282444281] | 0.020752 | 0.049005 | 0.1801 | 1 | 355 | 2 | 332 | 1 | 246
0.25221 | 0.91081 | 0.85 | 82384.0869 | 1.1228 | -57709.7373 | 8.5345e-05 | 2.1445 | 35.994 | 21.924 | 74015.7481 | 2561757.1093 | 33.054 | 33.3402 | 0.13794 | [22391.926619606536, 34531.85915172642, 25460.301102882182] | [1.1892517590045286, 1.1541299458575758, 1.025039753919019] | [-25054.299127588412, -14548.127179213132, -18107.310973132982] | [0.00010152497499381883, 7.114755263584155e-05, 8.336289118732576e-05] | [1.760508764928995, 2.1686621085691433, 2.5043864769071957] | [68.10274290884217, 27.35384029654734, 12.525520075318674] | [31.9574568015922, 19.83141518206886, 13.983241419398997] | [203277.55343489532, 17011.159233497576, 1758.531498998425] | [0.15000001107237404, 0.08766234846466954, 0.052013573785949924] | [0.08799849893297444, 0.03091601402543296, 0.0377291559920834] | [355.0, 332.0, 245.0] | [0.4133534850890896, 0.6474022722118831, 0.2747438042710151] | [0.0003000000630688888, 0.0004611788408593254, 0.00046199212550674485] | [1.0, 2.0, 2.0] | [0.9483456437961637, 0.803123411808646, 0.646309162452979] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.25054299127588414, 0.07274063589606566, 0.09053655486566492] | 0.021427 | 0.048614 | 0.17978 | 1 | 355 | 2 | 332 | 2 | 245
0.25106 | 0.90932 | 0.85 | 80957.7635 | 1.0937 | -49316.7945 | 8.3426e-05 | 2.29 | 26.5027 | 18.6299 | 39734.0185 | 2558615.8754 | 33.0618 | 33.3349 | 0.1115 | [44626.09651053641, 20878.093788356116, 15453.573177888307] | [1.1886620956864835, 1.0766083281397807, 1.015704998302245] | [-31735.20203453992, -6945.089312276803, -10636.503134030318] | [8.633020106670659e-05, 7.547861713223492e-05, 8.847019761223022e-05] | [1.8921051758064984, 2.4466519986096102, 2.5311611677151418] | [53.48449249163237, 14.322016681844264, 11.70146347870058] | [27.48997391105495, 14.768286531209963, 13.631387963311127] | [115132.83282308168, 2580.964637715259, 1488.258028759304] | [0.15000002512757946, 0.055242413484869454, 0.04736161086148338] | [0.04471141903073246, 0.03205353696672805, 0.04109707499062359] | [354.0, 331.0, 245.0] | [0.7019571696449871, 0.4198756699845562, 0.13233548019008926] | [0.00030053632620043684, 0.0003000005142412357, 0.00030000055217669567] | [2.0, 1.0, 1.0] | [0.949999864388093, 0.8232133166805529, 0.7527031910700497] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.15867601017269958, 0.06945089312276803, 0.10636503134030316] | 0.021056 | 0.048552 | 0.17905 | 2 | 354 | 1 | 331 | 1 | 245
0.25106 | 0.90914 | 0.85 | 81020.839 | 1.0937 | -49123.6075 | 8.3246e-05 | 2.2899 | 26.5055 | 18.6309 | 39743.879 | 2558154.3199 | 33.0615 | 33.3359 | 0.11084 | [44626.096469115364, 20878.093486763308, 15516.649018771914] | [1.18861443569534, 1.0765955378274317, 1.0157875419759217] | [-31741.649210441996, -6956.8006228442855, -10425.15764051859] | [8.633714317376238e-05, 7.552135707175255e-05, 8.787943128303797e-05] | [1.8920295919853813, 2.44663244787069, 2.531103456883021] | [53.49091602461185, 14.322542510875786, 11.703071089128123] | [27.49214591437778, 14.76849271636259, 13.632118290002115] | [115161.61851008814, 2581.264447705976, 1488.7539040653865] | [0.15000002497592937, 0.055273006825770944, 0.04705906501163786] | [0.04472781743537803, 0.03207064492241095, 0.0408203943697846] | [354.0, 331.0, 246.0] | [0.7018478296238589, 0.41988723740654527, 0.13263634396270244] | [0.0003005363269037525, 0.0003000005251793144, 0.0003000005506154] | [2.0, 1.0, 1.0] | [0.9499998640071229, 0.8230594102440647, 0.754724499989786] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.15870824605220998, 0.06956800622844285, 0.10425157640518588] | 0.021072 | 0.048543 | 0.17905 | 2 | 354 | 1 | 331 | 1 | 246
0.25149 | 0.90317 | 0.85 | 83944.8886 | 1.0978 | -51878.7762 | 7.8861e-05 | 2.2737 | 26.9201 | 18.8497 | 40205.7328 | 2541690.0765 | 33.0486 | 33.3354 | 0.097955 | [44626.09510772255, 17494.227036644665, 21824.566407202452] | [1.186912692836663, 1.0861202490371933, 1.0203492235078626] | [-31972.698547975673, -6894.004370848386, -13012.073268472035] | [8.658487353215294e-05, 7.562441623937148e-05, 7.437253474399378e-05] | [1.8893411575031145, 2.453044345175356, 2.478806568795735] | [53.720573940504515, 14.03292361598545, 13.006897408168959] | [27.569653370000445, 14.65307955071537, 14.326377902687781] | [116195.32594837295, 2442.847999079994, 1979.0244243662146] | [0.15000002048148656, 0.05259213519360353, 0.04397041888147324] | [0.045316108752146346, 0.03226087953127564, 0.03560890251400139] | [354.0, 331.0, 245.0] | [0.6979252757256731, 0.38667718836136017, 0.19025017373945005] | [0.00030053635001975207, 0.00044646400983624666, 0.0006151195068414586] | [2.0, 1.0, 2.0] | [0.9499998483832145, 0.7027972087603047, 0.6000006406123] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.15986349273987835, 0.06894004370848386, 0.06506036634236018] | 0.021833 | 0.048218 | 0.17904 | 2 | 354 | 1 | 331 | 2 | 245
0.25149 | 0.90315 | 0.85 | 83956.3739 | 1.0979 | -51843.3664 | 7.8867e-05 | 2.2745 | 26.9003 | 18.8388 | 40197.8041 | 2541651.1733 | 33.0486 | 33.3357 | 0.097942 | [44626.09511954426, 17406.835704113288, 21923.443059469813] | [1.1869086680906686, 1.0862346135628562, 1.0204495779255685] | [-31973.24696311735, -6922.059487966031, -12948.059922407247] | [8.658545910390134e-05, 7.573571907288176e-05, 7.427925245136499e-05] | [1.8893348227877085, 2.4532668336192187, 2.4809309638514048] | [53.721117812597356, 14.024018802635629, 12.955860959656425] | [27.569836580767838, 14.649366375845355, 14.297194985175244] | [116197.784529759, 2438.6078666800154, 1957.019946217068] | [0.1500000205122491, 0.05259847711200042, 0.04387477911366956] | [0.04531750649083866, 0.032314258306696916, 0.03547593994485983] | [354.0, 331.0, 246.0] | [0.697915956115504, 0.3857359471490851, 0.19151582439807072] | [0.00030053634981902337, 0.0004510008712924375, 0.0006146403262524893] | [2.0, 1.0, 2.0] | [0.9499998485712311, 0.699157561360387, 0.600000625828259] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.15986623481558676, 0.06922059487966031, 0.06474029961203624] | 0.021836 | 0.048217 | 0.17904 | 2 | 354 | 1 | 331 | 2 | 246
0.25106 | 0.90916 | 0.85 | 81020.839 | 1.0937 | -49218.1065 | 8.3301e-05 | 2.2899 | 26.5052 | 18.6307 | 39743.1686 | 2558194.6221 | 33.0615 | 33.3341 | 0.11116 | [44626.09644024431, 20941.169519611834, 15453.573072029621] | [1.1886185975006338, 1.0768591797542488, 1.01566732047835] | [-31741.086156745052, -6842.593880707816, -10634.426484978245] | [8.633653697242053e-05, 7.510242557333699e-05, 8.84653582095832e-05] | [1.8920361912963137, 2.446577635303882, 2.5312194685609244] | [53.490355098328074, 14.325447197861592, 11.699877990951006] | [27.49195625794335, 14.769536071049885, 13.63064767509673] | [115159.10453137185, 2582.642604722, 1487.7586217315547] | [0.1500000248782624, 0.05499914888692102, 0.04734651649883504] | [0.04472638536722044, 0.031891532933851, 0.04109708463362924] | [354.0, 332.0, 245.0] | [0.7018573780367834, 0.4202549257673573, 0.13205851613321462] | [0.0003005363273939734, 0.0003000005171626115, 0.00030000055736360327] | [2.0, 1.0, 1.0] | [0.949999863690691, 0.824639851476728, 0.7527029990110109] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.15870543078372526, 0.06842593880707816, 0.10634426484978243] | 0.021072 | 0.048544 | 0.17905 | 2 | 354 | 1 | 332 | 1 | 245
0.25106 | 0.90898 | 0.85 | 81083.8699 | 1.0937 | -49024.6238 | 8.3121e-05 | 2.2899 | 26.5081 | 18.6318 | 39752.9337 | 2557733.8075 | 33.0612 | 33.3351 | 0.1105 | [44626.09747473153, 20941.1435577507, 15516.628911349613] | [1.1885708730977573, 1.076846719537926, 1.0157497822892316] | [-31747.582430123177, -6854.044185497794, -10422.99718550638] | [8.63435272541125e-05, 7.514461882250918e-05, 8.787425118256667e-05] | [1.8919610828235023, 2.4465573107049603, 2.531160366981284] | [53.49672362874223, 14.325994260090331, 11.701515249935545] | [27.494113035940067, 14.769753475654706, 13.631395734308029] | [115187.5828223726, 2582.9533434745917, 1488.2650274526466] | [0.15000006815098252, 0.055029393170972295, 0.04704390914212408] | [0.044742771439991925, 0.03190843668883996, 0.040820286611582976] | [354.0, 332.0, 246.0] | [0.7017482066174521, 0.42026636663154493, 0.13235905704493384] | [0.00030053630982872394, 0.0003000014559047881, 0.0003000015318434312] | [2.0, 1.0, 1.0] | [0.9499996231321527, 0.8244867829701181, 0.75472499422697] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.15873791215061592, 0.06854044185497794, 0.1042299718550638] | 0.021089 | 0.048535 | 0.17904 | 2 | 354 | 1 | 332 | 1 | 246
0.25149 | 0.90327 | 0.85 | 83911.0041 | 1.098 | -51928.5815 | 7.8848e-05 | 2.2743 | 26.9048 | 18.8417 | 40193.6427 | 2541964.2335 | 33.0488 | 33.335 | 0.097882 | [44626.09511398328, 17395.07096136687, 21889.838053118438] | [1.186941055223643, 1.0867360072314818, 1.020398965283365] | [-31968.834114090627, -6800.650828849667, -13159.096545197184] | [8.658074691823806e-05, 7.529282563801531e-05, 7.46689991400372e-05] | [1.8893858011226428, 2.453350482520129, 2.4800973506512] | [53.71674144206453, 14.020884243498509, 12.976903427097763] | [27.568362283892952, 14.648058105553186, 14.30864259835931] | [116178.0027089223, 2437.084589016001, 1965.8407419831706] | [0.15000002050362587, 0.052269781729855205, 0.044147719130866174] | [0.0453062596550685, 0.03212785179866689, 0.035688234062550304] | [354.0, 332.0, 245.0] | [0.6979909463848655, 0.3854387657840288, 0.19170611824181544] | [0.00030053634991344697, 0.00045436077635190123, 0.0006119220387291082] | [2.0, 1.0, 2.0] | [0.9499998484457525, 0.69865041277177, 0.6000006582285743] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.15984417057045314, 0.06800650828849666, 0.06579548272598593] | 0.021824 | 0.048223 | 0.17905 | 2 | 354 | 1 | 332 | 2 | 245
0.25149 | 0.90325 | 0.85 | 83923.3358 | 1.0981 | -51891.688 | 7.8855e-05 | 2.275 | 26.8854 | 18.831 | 40186.0562 | 2541917.8193 | 33.0487 | 33.3353 | 0.097871 | [44626.095125621585, 17309.710845612175, 21987.529860375063] | [1.186936253572334, 1.0868354164379452, 1.0204984724501611] | [-31969.48831388397, -6831.009928277635, -13091.189802765975] | [8.658144553769482e-05, 7.5413335383485e-05, 7.45688967117014e-05] | [1.8893782426933234, 2.453569511323694, 2.4821921106271043] | [53.71739026892398, 14.01215460393988, 12.926717942852795] | [27.568580863686265, 14.644408334985233, 14.279917756084279] | [116180.93531949566, 2432.934237449421, 1944.298998682086] | [0.15000002053379388, 0.052284420597592154, 0.04404832809423952] | [0.045307926953742715, 0.032185055564234434, 0.03555324711369255] | [354.0, 332.0, 246.0] | [0.6979798294335049, 0.3845164119897601, 0.19294704726338202] | [0.0003005363497158323, 0.0004588559949075921, 0.0006115162455564333] | [2.0, 1.0, 2.0] | [0.9499998486315951, 0.6950484885460729, 0.6000006422016929] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.15984744156941985, 0.06831009928277634, 0.06545594901382988] | 0.021827 | 0.048222 | 0.17905 | 2 | 354 | 1 | 332 | 2 | 246
0.25172 | 0.9017 | 0.85 | 84855.1321 | 1.0953 | -49854.8478 | 7.8392e-05 | 2.2754 | 27.0267 | 18.8685 | 40407.5543 | 2537941.5166 | 33.0441 | 33.2857 | 0.1006 | [44626.09427189364, 24775.564406061294, 15453.473459374989] | [1.1865248096155745, 1.0861454667911072, 1.0133264007492948] | [-32025.59552742602, -7322.527417122778, -10506.724834383089] | [8.664130233271752e-05, 6.0368236742843024e-05, 8.816560341075187e-05] | [1.8887311684662127, 2.4025624236411374, 2.5348395878172068] | [53.77300298316396, 15.705066206104172, 11.601999340839566] | [27.587307724472076, 15.433273090051355, 13.5848639572823] | [116432.55741273593, 3332.8226811674494, 1457.28270148531] | [0.1500000183887482, 0.047567465535698655, 0.04641134894837207] | [0.045450956156180486, 0.026606155684113352, 0.041097459089686164] | [354.0, 331.0, 245.0] | [0.6970261527595702, 0.44078035049798114, 0.11455258436849244] | [0.000300536364211851, 0.0008189689779347576, 0.0003000054382570676] | [2.0, 2.0, 1.0] | [0.9499998345689039, 0.6000002620215551, 0.7526882754474661] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1601279776371301, 0.03661263708561389, 0.10506724834383091] | 0.02207 | 0.048144 | 0.17911 | 2 | 354 | 2 | 331 | 1 | 245
0.25172 | 0.90164 | 0.85 | 84882.0931 | 1.0954 | -49625.9601 | 7.8172e-05 | 2.275 | 27.0387 | 18.8743 | 40417.3289 | 2537782.762 | 33.044 | 33.2871 | 0.099876 | [44626.09426678832, 24739.43607690795, 15516.562769559165] | [1.1865083790228315, 1.0863544662368645, 1.0134316084142962] | [-32027.838138956213, -7298.5002479877285, -10299.621757881301] | [8.664369231755577e-05, 6.029208452841483e-05, 8.758090517128513e-05] | [1.8887053519881447, 2.4015335731371477, 2.5347332920590886] | [53.77522458901092, 15.735886762830129, 11.604869300273993] | [27.588055470269694, 15.448783103334998, 13.586199307682222] | [116442.62011917064, 3351.204191681495, 1458.1623536882973] | [0.15000001837463936, 0.04753475338491398, 0.04612665066077024] | [0.04545667442862114, 0.02660050672818649, 0.040820800252448525] | [354.0, 331.0, 246.0] | [0.6969880251625901, 0.44051412108252774, 0.11508520593524235] | [0.0003005363642985377, 0.0008208326361340303, 0.00030000475953411186] | [2.0, 2.0, 1.0] | [0.9499998344929241, 0.6000002616902109, 0.7547101262809018] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16013919069478105, 0.03649250123993864, 0.10299621757881301] | 0.022077 | 0.048141 | 0.17911 | 2 | 354 | 2 | 331 | 1 | 246
0.25225 | 0.89886 | 0.85 | 86789.4994 | 1.1032 | -47804.8649 | 6.9679e-05 | 2.2177 | 28.7191 | 19.7258 | 41511.1349 | 2530447.8649 | 33.0349 | 33.332 | 0.079675 | [44626.09061815016, 21798.285681756686, 20365.1231174592] | [1.1857488184255225, 1.1048756250782092, 1.019046091549798] | [-32131.722370285628, -5537.9297279032135, -10135.21283786662] | [8.675419301518457e-05, 5.422939957094878e-05, 6.805312955443071e-05] | [1.887514447959615, 2.316814277281329, 2.44875917037521] | [53.877921900399784, 18.54381838716776, 13.73553331340268] | [27.62259617925476, 16.806355541534327, 14.748469720717091] | [116908.62434341751, 5308.202617434063, 2316.577776529086] | [0.15000004824473465, 0.04484229795640497, 0.04029046111377148] | [0.04572154007293003, 0.02622308945396708, 0.03392276571272356] | [354.0, 331.0, 245.0] | [0.6952220500053651, 0.41531854149737935, 0.15812008668523067] | [0.0003005364262512154, 0.0009932721686577962, 0.0006919660596314503] | [2.0, 2.0, 2.0] | [0.9499995271546547, 0.6000006677614859, 0.60000120973007] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16065861185142816, 0.027689648639516066, 0.050676064189333105] | 0.022573 | 0.047996 | 0.17929 | 2 | 354 | 2 | 331 | 2 | 245
0.25226 | 0.89882 | 0.85 | 86812.5445 | 1.1034 | -47726.9157 | 6.9609e-05 | 2.2177 | 28.7275 | 19.7279 | 41526.3522 | 2530348.9981 | 33.0348 | 33.3321 | 0.079545 | [44626.09390439447, 21720.20922974931, 20466.241371312575] | [1.1857387058583677, 1.1054131740768494, 1.0191340146772239] | [-32133.067389121123, -5496.532601079444, -10097.315723561129] | [8.675562236579981e-05, 5.407300642713765e-05, 6.799801996132408e-05] | [1.8874980568581017, 2.3145103568053087, 2.4511021874653136] | [53.879357014070855, 18.628330697839147, 13.6748116395258] | [27.623074415470747, 16.84562021215532, 14.714910612751321] | [116915.22522869059, 5376.171349104894, 2287.660097567443] | [0.15000001748893363, 0.044772022568186465, 0.04020574987746486] | [0.04572510687402487, 0.026216247659081246, 0.03380456810470885] | [354.0, 331.0, 246.0] | [0.6951982052771132, 0.4145531297408265, 0.15928641833579912] | [0.00030053637045186597, 0.000998486101887745, 0.0006909556351806556] | [2.0, 2.0, 2.0] | [0.9499998283662684, 0.6000002419259955, 0.6000004330839186] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1606653369456056, 0.027482663005397225, 0.050486578617805644] | 0.022579 | 0.047994 | 0.17929 | 2 | 354 | 2 | 331 | 2 | 246
0.25172 | 0.90164 | 0.85 | 84889.4578 | 1.0954 | -49782.703 | 7.8327e-05 | 2.2756 | 27.02 | 18.865 | 40406.7542 | 2537771.5362 | 33.044 | 33.2854 | 0.10048 | [44626.09425089502, 24809.892534474813, 15453.471017510266] | [1.1865072171724491, 1.0863490181966038, 1.0133165952227932] | [-32027.996736642497, -7248.510487963197, -10506.195807667415] | [8.664386133481249e-05, 6.017197586433286e-05, 8.816435974036019e-05] | [1.8887035266615988, 2.403286965999838, 2.5348547414207596] | [53.7753816614102, 15.683059646263985, 11.601591951757914] | [27.588108339170798, 15.422256881536162, 13.584672410875877] | [116443.33155709019, 3319.773660036808, 1457.157317063167] | [0.1500000183400956, 0.04738744034040732, 0.04640744207067395] | [0.04545707881014323, 0.02649966008251055, 0.04109745918586241] | [354.0, 332.0, 245.0] | [0.6969853288092482, 0.440902794767556, 0.11447800005063588] | [0.0003005363645684006, 0.0008210533715699274, 0.00030000555790612527] | [2.0, 2.0, 1.0] | [0.949999834196997, 0.6000002582394828, 0.7526880880466885] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1601399836832125, 0.036242552439815987, 0.10506195807667416] | 0.022078 | 0.04814 | 0.17911 | 2 | 354 | 2 | 332 | 1 | 245
0.25172 | 0.90157 | 0.85 | 84916.2982 | 1.0955 | -49554.045 | 7.8107e-05 | 2.2752 | 27.032 | 18.8709 | 40416.4948 | 2537613.7098 | 33.0439 | 33.2869 | 0.099755 | [44626.09424587285, 24773.643027330436, 15516.560910120528] | [1.1864908823618152, 1.0865587284735905, 1.0134218015097698] | [-32030.22644146725, -7224.712701102914, -10299.105871563037] | [8.664623736189962e-05, 6.0096018583509055e-05, 8.75796768754601e-05] | [1.888677862628041, 2.402256248848263, 2.53474839073565] | [53.77759037663867, 15.713882657504186, 11.604463146669193] | [27.588851717966907, 15.437779342280304, 13.586008408659179] | [116453.3367641338, 3338.110455488495, 1458.0372922675097] | [0.15000001832625032, 0.04735483928404631, 0.046122781210601836] | [0.045462764283837394, 0.02649405308754812, 0.04082080163558111] | [354.0, 332.0, 246.0] | [0.6969474199055832, 0.44063606473581024, 0.11501089700843273] | [0.0003005363646536754, 0.0008229237486748985, 0.0003000048502743082] | [2.0, 2.0, 1.0] | [0.9499998341220404, 0.6000002579249296, 0.7547099584957407] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16015113220733626, 0.03612356350551457, 0.10299105871563036] | 0.022085 | 0.048137 | 0.17911 | 2 | 354 | 2 | 332 | 1 | 246
0.25226 | 0.89882 | 0.85 | 86814.5702 | 1.1033 | -47747.6641 | 6.9618e-05 | 2.2179 | 28.7121 | 19.7226 | 41507.3089 | 2530347.42 | 33.0348 | 33.3318 | 0.079579 | [44626.09389729329, 21824.92272387148, 20363.55357579566] | [1.1857385423982088, 1.1051315247659046, 1.0190401019524873] | [-32133.089780462986, -5482.235302445434, -10132.338998759371] | [8.675564614037789e-05, 5.405330715355512e-05, 6.804636300857159e-05] | [1.8874978009724543, 2.3174327291573573, 2.448732131034549] | [53.879379128836334, 18.520681167190485, 13.736162973863362] | [27.62308184762041, 16.795725497312304, 14.748857512425086] | [116915.32576781462, 5289.702406053142, 2316.898603740445] | [0.1500000174750486, 0.044673930048901266, 0.04028536883868291] | [0.04572516400289312, 0.02612054950660435, 0.03392108181120555] | [354.0, 332.0, 245.0] | [0.6951978243329614, 0.41540991230188967, 0.15805543169217054] | [0.0003005363705724414, 0.0009958786285805656, 0.0006920546327776969] | [2.0, 2.0, 2.0] | [0.949999828224236, 0.6000002395342576, 0.6000004388367978] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16066544890231493, 0.02741117651222717, 0.05066169499379686] | 0.022579 | 0.047994 | 0.17929 | 2 | 354 | 2 | 332 | 2 | 245
0.25226 | 0.89878 | 0.85 | 86837.538 | 1.1035 | -47669.9538 | 6.9548e-05 | 2.2179 | 28.7204 | 19.7246 | 41522.1936 | 2530249.2651 | 33.0347 | 33.3319 | 0.07945 | [44626.09055793864, 21746.993075050053, 20464.454409538204] | [1.1857282480878517, 1.1056685180279726, 1.0191280728662702] | [-32134.539415693733, -5441.42165658634, -10093.992774573457] | [8.675718384822435e-05, 5.389803168933812e-05, 6.799015188953374e-05] | [1.8874822356466763, 2.315134580795167, 2.451069218547421] | [53.88070654434951, 18.60485284632684, 13.675589984874685] | [27.623531862259558, 16.834856406580535, 14.71538190083248] | [116921.28693479791, 5357.244953796968, 2288.0489968099723] | [0.15000004811720935, 0.04460425446024777, 0.04020012192146476] | [0.04572872907392568, 0.026113833630369617, 0.03380257218600256] | [354.0, 332.0, 246.0] | [0.6951741159340311, 0.4146468072417662, 0.15921833046120196] | [0.0003005364272735875, 0.001001085689016201, 0.0006910558924457634] | [2.0, 2.0, 2.0] | [0.9499995260123651, 0.6000006594626673, 0.600001193748711] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16067269707846865, 0.027207108282931703, 0.05046996387286728] | 0.022585 | 0.047992 | 0.17929 | 2 | 354 | 2 | 332 | 2 | 246
0.25107 | 0.90894 | 0.85 | 81115.5182 | 1.0931 | -49510.7101 | 8.3451e-05 | 2.2918 | 26.3042 | 18.5747 | 38650.3131 | 2557573.0048 | 33.0611 | 33.3323 | 0.1117 | [44783.85273158576, 20878.092956732573, 15453.572545241608] | [1.1875705283892297, 1.076150664414807, 1.015557144577005] | [-31998.84180389549, -6883.5293862793105, -10628.338883825982] | [8.663176945453414e-05, 7.526964122422125e-05, 8.845112329551717e-05] | [1.8966518037268674, 2.447420816742002, 2.5313900086838297] | [52.92193368464147, 14.295508290537976, 11.695242250385174] | [27.338572789857203, 14.757050002956655, 13.62848604175793] | [111897.62788023052, 2567.012175923956, 1486.2993755571754] | [0.15000001143824745, 0.05496793273028948, 0.04730236146773748] | [0.044519273732136155, 0.03199183754142884, 0.04109709611762309] | [355.0, 331.0, 245.0] | [0.7032383110102751, 0.41810086583853473, 0.1312476625859901] | [0.00030000007165179124, 0.00030000054440231313, 0.00030000058317538084] | [2.0, 1.0, 1.0] | [0.9483456251006942, 0.8237686458648146, 0.7527027394694801] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.15999420901947747, 0.06883529386279312, 0.10628338883825983] | 0.021097 | 0.048532 | 0.17904 | 2 | 355 | 1 | 331 | 1 | 245
0.25107 | 0.90876 | 0.85 | 81178.5937 | 1.0931 | -49317.5488 | 8.327e-05 | 2.2918 | 26.3071 | 18.5757 | 38659.8854 | 2557113.4148 | 33.0608 | 33.3332 | 0.11105 | [44783.852719624585, 20878.09262135603, 15516.648386065839] | [1.1875234057990052, 1.0761384229958466, 1.0156389917231645] | [-32005.334362585887, -6895.068067019646, -10417.146406041902] | [8.663873561153843e-05, 7.531200166591262e-05, 8.786046449994379e-05] | [1.8965759946986693, 2.447400988104273, 2.531332516796597] | [52.92828464964283, 14.296044671306884, 11.696841092974728] | [27.340732703913574, 14.757260552183158, 13.62921318819544] | [111925.54784503533, 2567.3161213812737, 1486.7921848375674] | [0.15000001142386754, 0.054998277377225055, 0.04700009249289164] | [0.04453559130625849, 0.0320087946217061, 0.04082041528822214] | [355.0, 331.0, 246.0] | [0.7031295100640362, 0.41811359074156323, 0.13154702666393894] | [0.0003000000718540292, 0.00030000055656565123, 0.00030000058149097167] | [2.0, 1.0, 1.0] | [0.9483456248055941, 0.8236158891454699, 0.7547240485894529] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16002667181292943, 0.06895068067019645, 0.10417146406041902] | 0.021113 | 0.048523 | 0.17904 | 2 | 355 | 1 | 331 | 1 | 246
0.2515 | 0.90332 | 0.85 | 83916.0981 | 1.0975 | -52135.283 | 7.894e-05 | 2.2759 | 26.706 | 18.788 | 39079.3378 | 2542088.6793 | 33.0487 | 33.3353 | 0.098285 | [44783.852291346346, 17277.16395784825, 21855.081865002958] | [1.1859814561742774, 1.0860953449118287, 1.0203782377245285] | [-32218.494511317112, -6835.776355923632, -13081.01217118416] | [8.68665547385871e-05, 7.544128709524405e-05, 7.4511636596537e-05] | [1.894104168839999, 2.45428352293787, 2.4794016074233465] | [53.136345328433286, 13.988613211472202, 12.993137139864151] | [27.41136938374722, 14.634426785614846, 14.318198553661341] | [112843.91533321425, 2421.146218422962, 1972.951865860825] | [0.15000001097786772, 0.052201197382703304, 0.04405554866971689] | [0.04507185493153199, 0.03222340702435989, 0.03564594733487952] | [355.0, 331.0, 245.0] | [0.6995538633754453, 0.38280059414247364, 0.19097444837317323] | [0.00030000007909530694, 0.00045781726738772515, 0.0006136222660229703] | [2.0, 1.0, 2.0] | [0.9483456138038123, 0.6954081970632315, 0.6000006484174295] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16109247255658554, 0.06835776355923631, 0.06540506085592081] | 0.021825 | 0.048226 | 0.17906 | 2 | 355 | 1 | 331 | 2 | 245
0.25151 | 0.9033 | 0.85 | 83930.5029 | 1.0975 | -52094.2492 | 7.8944e-05 | 2.2767 | 26.6872 | 18.7776 | 39072.2279 | 2542028.0599 | 33.0487 | 33.3357 | 0.098268 | [44783.85229654133, 17196.328963832657, 21950.321612313015] | [1.1859752295090988, 1.08618291567648, 1.020475442869848] | [-32219.358088305682, -6866.613936991703, -13008.277181587257] | [8.686747420473235e-05, 7.556271178315128e-05, 7.440119636495017e-05] | [1.8940942213068972, 2.4544899174076904, 2.4814520528499666] | [53.13718651674701, 13.980416918463025, 12.943881632351165] | [27.41165448127166, 14.63099104509568, 14.290053014106544] | [112847.64294393768, 2417.2723175543492, 1951.7685878910227] | [0.15000001097985985, 0.05222016683917066, 0.04394964742861457] | [0.04507402960015818, 0.03228071018878936, 0.03550832235155153] | [355.0, 331.0, 246.0] | [0.6995393633642193, 0.3819271498018517, 0.19215665901342605] | [0.0003000000790074709, 0.00046211850025486875, 0.0006133278390207539] | [2.0, 1.0, 2.0] | [0.9483456139588714, 0.6919560214232879, 0.6000006323182661] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16109679044152841, 0.06866613936991704, 0.06504138590793629] | 0.021829 | 0.048225 | 0.17906 | 2 | 355 | 1 | 331 | 2 | 246
0.25107 | 0.90878 | 0.85 | 81178.5938 | 1.0931 | -49413.1292 | 8.3327e-05 | 2.2918 | 26.3068 | 18.5755 | 38659.1633 | 2557154.9594 | 33.0608 | 33.3315 | 0.11137 | [44783.85270980027, 20941.168675431247, 15453.572428062764] | [1.1875276654988214, 1.0763992555926716, 1.0155199103064707] | [-32004.747431000244, -6782.091886377305, -10626.289861707843] | [8.663810593451376e-05, 7.489508160362455e-05, 8.844634445124567e-05] | [1.8965828472082091, 2.447347304009628, 2.5314476162032995] | [52.9277104867859, 14.298894924139617, 11.69367673002545] | [27.34053744803642, 14.758283555492302, 13.627754893835828] | [111923.02338994353, 2568.6596575556027, 1485.806972018825] | [0.15000001141762795, 0.05472609202004915, 0.047287450816037545] | [0.04453411607967894, 0.031830424177189856, 0.0410971057332238] | [355.0, 332.0, 245.0] | [0.7031393464401339, 0.4184784733446396, 0.13097338242460607] | [0.00030000007202013755, 0.000300000547686886, 0.0003000005889169587] | [2.0, 1.0, 1.0] | [0.9483456245279893, 0.8251917906802257, 0.7527025470674763] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1600237371550012, 0.06782091886377305, 0.10626289861707844] | 0.021113 | 0.048523 | 0.17904 | 2 | 355 | 1 | 332 | 1 | 245
0.25107 | 0.9086 | 0.85 | 81241.6693 | 1.0932 | -49219.7985 | 8.3146e-05 | 2.2917 | 26.3096 | 18.5766 | 38668.7333 | 2556695.6522 | 33.0606 | 33.3325 | 0.11071 | [44783.852697725175, 20941.16833486738, 15516.648269019506] | [1.187480569466611, 1.0763871255308282, 1.015601576982093] | [-32011.237491935703, -6793.425523099062, -10415.135483079743] | [8.664506794881599e-05, 7.493709934506878e-05, 8.785571184472698e-05] | [1.8965070955179193, 2.4473273844335224, 2.531390187306625] | [52.93405826826368, 14.299434585257206, 11.695273153329024] | [27.34269607659963, 14.758495624391855, 13.628481140995419] | [111950.93541150205, 2568.965503562712, 1486.2989441471677] | [0.15000001140331687, 0.054756221381849435, 0.04698524946007011] | [0.04455042827109696, 0.03184723716202745, 0.04082042479059632] | [355.0, 332.0, 246.0] | [0.703030581395409, 0.41849139046118017, 0.1312723303689767] | [0.0003000000722243019, 0.00030000056000115333, 0.0003000005872027432] | [2.0, 1.0, 1.0] | [0.9483456242287769, 0.8250398015763483, 0.7547238566139925] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1600561874596785, 0.06793425523099061, 0.10415135483079742] | 0.02113 | 0.048514 | 0.17903 | 2 | 355 | 1 | 332 | 1 | 246
0.25151 | 0.90343 | 0.85 | 83881.3529 | 1.0977 | -52188.9402 | 7.8932e-05 | 2.2765 | 26.6911 | 18.7802 | 39067.3706 | 2542368.5173 | 33.0489 | 33.3349 | 0.098231 | [44783.844080762734, 17178.85803057106, 21918.650794852212] | [1.1860100738147368, 1.0866834357502018, 1.0204280240981485] | [-32214.567871086976, -6749.381257098443, -13224.991057734022] | [8.686237350477455e-05, 7.513319551792771e-05, 7.480090152719245e-05] | [1.8941504821183632, 2.4545872481416486, 2.480653261943537] | [53.132408097598656, 13.976757262985128, 12.964122737759249] | [27.41003962198882, 14.629463859752306, 14.301015077304811] | [112826.3833402717, 2415.511229583506, 1960.2173325305691] | [0.1500000302756563, 0.05189818624800188, 0.044229345139424454] | [0.04506183200481623, 0.032100245167921655, 0.035723296218265706] | [355.0, 332.0, 245.0] | [0.6996207317962121, 0.3815691992837175, 0.19240552457592683] | [0.00030000021791890935, 0.00046583367092398566, 0.0006105166448719725] | [2.0, 1.0, 2.0] | [0.9483452268229631, 0.6912114170559837, 0.6000018362311682] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16107283935543487, 0.06749381257098444, 0.0661249552886701] | 0.021816 | 0.048231 | 0.17906 | 2 | 355 | 1 | 332 | 2 | 245
0.25151 | 0.9034 | 0.85 | 83896.8054 | 1.0978 | -52145.8435 | 7.8936e-05 | 2.2772 | 26.6726 | 18.7699 | 39060.6293 | 2542298.9616 | 33.0488 | 33.3353 | 0.098213 | [44783.844094646825, 17100.308842589853, 22012.652465797557] | [1.186002929513358, 1.086756757098642, 1.0205242196223483] | [-32215.558578999135, -6782.134795543039, -13148.150119086842] | [8.68634284734356e-05, 7.526244669231341e-05, 7.46833431735966e-05] | [1.8941390668842104, 2.4547892202917603, 2.4826737550927644] | [53.13337324682865, 13.968767679831526, 12.915711136080912] | [27.41036675044578, 14.626106037346977, 14.273328235892057] | [112830.65969132535, 2411.740870746025, 1939.487441048995] | [0.15000003028063755, 0.05192459061896156, 0.04411941911073053] | [0.04506432678608266, 0.032160767732288945, 0.03558357672385869] | [355.0, 332.0, 246.0] | [0.6996040973803269, 0.38071780584179915, 0.19356040250998977] | [0.00030000021768415865, 0.0004700735677584697, 0.0006102965408167413] | [2.0, 1.0, 2.0] | [0.9483452272395417, 0.6878114908440602, 0.6000017881518015] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16107779289499566, 0.0678213479554304, 0.06574075059543422] | 0.02182 | 0.04823 | 0.17906 | 2 | 355 | 1 | 332 | 2 | 246
0.25174 | 0.90166 | 0.85 | 84904.6941 | 1.095 | -49984.038 | 7.8372e-05 | 2.2766 | 26.8426 | 18.822 | 39303.7901 | 2537819.0842 | 33.0439 | 33.2851 | 0.10082 | [44783.85183963341, 24667.37972604826, 15453.462544963519] | [1.1855427859302066, 1.0860822630146731, 1.0132996406444312] | [-32279.391556075818, -7199.382182724678, -10505.264262926394] | [8.693132427559894e-05, 6.002283072420525e-05, 8.816214542466022e-05] | [1.8934040587645309, 2.401398088128638, 2.5348809790345763] | [53.19562333408783, 15.731394083435394, 11.600886782774229] | [27.431450769633834, 15.450268472151018, 13.58434241484827] | [113106.88242332362, 3347.5477007100235, 1456.9402718869394] | [0.1500000107176722, 0.04721614246919053, 0.046400661630852026] | [0.04522524022060179, 0.026535354954813472, 0.04109744156034018] | [355.0, 331.0, 245.0] | [0.6985311378776083, 0.4381178626359405, 0.114348912477179] | [0.00030000008673281605, 0.0008245659215118106, 0.0003000059730531817] | [2.0, 2.0, 1.0] | [0.9483456008710277, 0.6000002579925635, 0.7526877803707286] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1613969577803791, 0.03599691091362339, 0.10505264262926395] | 0.022082 | 0.048141 | 0.17912 | 2 | 355 | 2 | 331 | 1 | 245
0.25174 | 0.9016 | 0.85 | 84931.5167 | 1.0951 | -49755.4553 | 7.8153e-05 | 2.2762 | 26.8547 | 18.8279 | 39313.5125 | 2537661.6549 | 33.0438 | 33.2866 | 0.10009 | [44783.85183732951, 24631.110405606436, 15516.554470799088] | [1.1855266072796806, 1.086292155817064, 1.0134047501293604] | [-32281.639646935615, -7175.621305334139, -10298.194300730063] | [8.693371265353886e-05, 5.994665577725331e-05, 8.757748301262354e-05] | [1.8933782633621168, 2.4003640715525565, 2.534774676772371] | [53.19781039364834, 15.762449192695746, 11.603756260600969] | [27.432191297920877, 15.46588342235987, 13.58567772405188] | [113116.59591305415, 3366.121896114356, 1457.8196179821907] | [0.15000001071493238, 0.04718358886954456, 0.04611603176100386] | [0.045230904244782794, 0.02652968728491477, 0.0408207887769004] | [355.0, 331.0, 246.0] | [0.6984933719559382, 0.4378500916224309, 0.11488158274621095] | [0.0003000000867717701, 0.0008264533223708536, 0.0003000051645119463] | [2.0, 2.0, 1.0] | [0.9483456008139977, 0.600000257680817, 0.7547097173315007] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16140819823467809, 0.03587810652667069, 0.10298194300730064] | 0.022089 | 0.048138 | 0.17912 | 2 | 355 | 2 | 331 | 1 | 246
0.25228 | 0.89885 | 0.85 | 86828.8926 | 1.1028 | -47912.9144 | 6.9635e-05 | 2.2188 | 28.5363 | 19.6804 | 40402.0474 | 2530423.727 | 33.0347 | 33.3321 | 0.079855 | [44783.8423291844, 21717.492298396854, 20327.55793919069] | [1.1847823493121206, 1.1046377263090084, 1.0190207565886549] | [-32385.270504648044, -5456.475270136492, -10071.168600824427] | [8.704360510775203e-05, 5.3961568966240964e-05, 6.789906469182387e-05] | [1.8921942184427594, 2.3162962911185803, 2.447936714831947] | [53.29840335213663, 18.554076125846994, 13.756472611209412] | [27.466228329173628, 16.81477608209262, 14.760277783901605] | [113564.1386693401, 5315.271573185335, 2326.7320127208377] | [0.1500000291222104, 0.04454116078514371, 0.04020697581137147] | [0.04549197138348968, 0.026156023021901693, 0.033881472400157014] | [355.0, 331.0, 245.0] | [0.696752697842268, 0.41287057640575187, 0.15739858621449598] | [0.0003000002475344006, 0.0009986682131165746, 0.0006940897100974516] | [2.0, 2.0, 2.0] | [0.9483451775879588, 0.6000006606813006, 0.6000012017989775] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16192635252324022, 0.027282376350682463, 0.05035584300412213] | 0.022583 | 0.047995 | 0.1793 | 2 | 355 | 2 | 331 | 2 | 245
0.25228 | 0.89881 | 0.85 | 86851.7602 | 1.103 | -47835.7161 | 6.9565e-05 | 2.2188 | 28.5447 | 19.6825 | 40417.1238 | 2530326.6258 | 33.0346 | 33.3322 | 0.079726 | [44783.842317742026, 21639.352397778184, 20428.565511632474] | [1.1847723624158069, 1.1051753375307887, 1.019108598195519] | [-32386.662751582986, -5415.555268671003, -10033.498074002107] | [8.704507874331538e-05, 5.3805414069515143e-05, 6.784408079797154e-05] | [1.8921783483940189, 2.3139870170314096, 2.450280882477819] | [53.299754939288206, 18.638887859209923, 13.69559758413429] | [27.466685215397035, 16.854167035243943, 14.726663645045928] | [113570.16471684424, 5383.546017711033, 2297.6605258558125] | [0.15000002911501215, 0.04447134467871704, 0.04012219296856359] | [0.04549548209927031, 0.026149073196134236, 0.03376339843411229] | [355.0, 331.0, 246.0] | [0.6967292895320552, 0.4121046169127091, 0.15856123699931926] | [0.0003000002477278673, 0.0010039253666300268, 0.0006930731480612026] | [2.0, 2.0, 2.0] | [0.9483451772641959, 0.600000659858841, 0.6000011861227543] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16193331375791492, 0.027077776343355016, 0.05016749037001054] | 0.022589 | 0.047993 | 0.1793 | 2 | 355 | 2 | 331 | 2 | 246
0.25174 | 0.9016 | 0.85 | 84938.5388 | 1.095 | -49912.9995 | 7.8307e-05 | 2.2768 | 26.836 | 18.8186 | 39302.8273 | 2537653.7528 | 33.0438 | 33.2848 | 0.1007 | [44783.8518283383, 24701.227162571195, 15453.459772306489] | [1.1855257951365448, 1.0862867816564197, 1.0132902334396863] | [-32281.75252311856, -7126.490754001429, -10504.756249812903] | [8.693383257007655e-05, 5.98272884935309e-05, 8.81609510679646e-05] | [1.8933769688216988, 2.402114199652022, 2.53489551755053] | [53.19792014358852, 15.709583528159659, 11.600495978598781] | [27.43222846093489, 15.439361227697077, 13.58415862520123] | [113117.08331898192, 3334.5786851242606, 1456.8200236898551] | [0.15000001071114294, 0.047037239240320494, 0.04639691258039516] | [0.04523118857391897, 0.026429200074269684, 0.04109744083348768] | [355.0, 332.0, 245.0] | [0.6984914761318878, 0.43823718956884267, 0.11427732609615607] | [0.0003000000869237924, 0.0008266766500044162, 0.000300006108910944] | [2.0, 2.0, 1.0] | [0.9483456005477885, 0.6000002543608671, 0.7526875835410796] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16140876261559278, 0.03563245377000715, 0.10504756249812904] | 0.022091 | 0.048138 | 0.17912 | 2 | 355 | 2 | 332 | 1 | 245
0.25174 | 0.90153 | 0.85 | 84965.2409 | 1.0951 | -49684.6443 | 7.8088e-05 | 2.2764 | 26.848 | 18.8245 | 39312.5165 | 2537497.2461 | 33.0436 | 33.2863 | 0.099971 | [44783.8518260664, 24664.83669392975, 15516.55241223257] | [1.1855097110085884, 1.086497389041347, 1.0133953441267032] | [-32283.98764095805, -7102.95732487168, -10297.699314533156] | [8.693620696786689e-05, 5.9751309591335435e-05, 8.757630451660878e-05] | [1.893351326041477, 2.401078304939693, 2.534789158366876] | [53.200094481968755, 15.74064174567865, 11.603366755467771] | [27.432964654558752, 15.45498891504142, 13.5854946086796] | [113126.74114385476, 3353.1085640197734, 1457.6997145535727] | [0.15000001070843477, 0.04700479706709302, 0.04611232011287007] | [0.04523682002432093, 0.026423575066627764, 0.040820789642200206] | [355.0, 332.0, 246.0] | [0.6984539274033627, 0.43796890747575895, 0.11481028167065402] | [0.0003000000869622055, 0.0008285708799784978, 0.00030000526496964827] | [2.0, 2.0, 1.0] | [0.9483456004915908, 0.6000002540648973, 0.7547095444114592] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16141993820479023, 0.0355147866243584, 0.10297699314533158] | 0.022098 | 0.048135 | 0.17912 | 2 | 355 | 2 | 332 | 1 | 246
0.25228 | 0.89881 | 0.85 | 86853.6722 | 1.1029 | -47856.8952 | 6.9575e-05 | 2.219 | 28.5294 | 19.6772 | 40398.12 | 2530326.2356 | 33.0346 | 33.332 | 0.079761 | [44783.84230581655, 21743.49034364377, 20326.339510989736] | [1.184772322206575, 1.1048960832320351, 1.0190151282454585] | [-32386.668386407477, -5401.364605006915, -10068.862238962407] | [8.704508470953598e-05, 5.378542724245851e-05, 6.789363460838923e-05] | [1.8921782849071227, 2.3168988406390527, 2.4479165348787313] | [53.299760328768784, 18.53149548828348, 13.756931017441484] | [27.466687041107303, 16.80440832588784, 14.760567472893285] | [113570.18867520292, 5297.201232054273, 2326.9700136637994] | [0.15000002911055585, 0.04437349877900324, 0.04020266404242718] | [0.045495496221766726, 0.02605378201795826, 0.033880134575285] | [355.0, 332.0, 245.0] | [0.696729195358893, 0.4129558801566658, 0.15734146159249984] | [0.0003000002479295018, 0.0010013206091233962, 0.0006941587222208343] | [2.0, 2.0, 2.0] | [0.948345176907508, 0.6000006534215776, 0.6000012018354658] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16193334193203737, 0.02700682302503457, 0.050344311194812044] | 0.022589 | 0.047993 | 0.1793 | 2 | 355 | 2 | 332 | 2 | 245
0.25229 | 0.89877 | 0.85 | 86876.2236 | 1.1031 | -47780.6524 | 6.9505e-05 | 2.219 | 28.538 | 19.6794 | 40413.3475 | 2530231.3143 | 33.0345 | 33.3321 | 0.079634 | [44783.85164633845, 21664.483888873514, 20427.888035830816] | [1.1847626909911928, 1.1054396956525154, 1.019103186399398] | [-32387.966199754454, -5360.520460197942, -10032.165747690704] | [8.704645803540102e-05, 5.3628465132812355e-05, 6.78409928583019e-05] | [1.8921623565282732, 2.314567708606541, 2.450273412486207] | [53.30113978542113, 18.616982353093526, 13.695728694696005] | [27.467148302345162, 16.8441379701374, 14.72677038453815] | [113576.43184984414, 5365.871285721909, 2297.739507015007] | [0.15000001055751955, 0.04430336405448087, 0.04011909609708963] | [0.045498912098149935, 0.026046860253953377, 0.033762702198981184] | [355.0, 332.0, 246.0] | [0.6967063818984051, 0.412182293300498, 0.15851361308800782] | [0.00030000009000102446, 0.001006639570014746, 0.0006931112960196087] | [2.0, 2.0, 2.0] | [0.9483455956454869, 0.6000002367625104, 0.6000004303406936] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.16193983099877227, 0.02680260230098971, 0.05016082873845352] | 0.022595 | 0.047991 | 0.17931 | 2 | 355 | 2 | 332 | 2 | 246