## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.2557 | 1.0046 | 0.85 | 53551.3954 | 1.036 | -6849.3411 | 0.00038894 | 0.16128 | 33.4614 | 73.958 | 4350.5218 | 2821206.2846 | 33.1794 | 33.4752 | 0.022831 | [22328.85080633526, 17787.38925042582, 13435.155296719358] | [1.0537955687832132, 1.0372064513983699, 1.01697368423552] | [-1816.9258754491648, -2880.2913014560813, -2152.1239182537374] | [0.0003917821732095753, 0.0004107882149781563, 0.0003642362270142165] | [0.13035679630159444, 0.16614888377240056, 0.1873339535876048] | [63.18390101476332, 23.46294160935994, 13.73726127969022] | [117.9230669285487, 60.05266242574551, 43.89826081274248] | [12083.533127456618, 794.014961490574, 174.01740374295224] | [0.1521006708294325, 0.12601694135521493, 0.08341027954324703] | [0.07917379556687071, 0.05775332399150606, 0.05247324505041977] | [354.0, 282.0, 213.0] | [0.4794777158460257, 0.5417627390541768, 0.371040420081822] | [0.0003000000618358262, 0.0003000000777976774, 0.00030000010111413467] | [1.0, 1.0, 1.0] | [0.937890004364263, 0.739705040610059, 0.6780870822741107] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.018169258754491647, 0.028802913014560817, 0.021521239182537375] | 0.013928 | 0.053741 | 0.18564 | 1 | 354 | 1 | 282 | 1 | 213
0.25563 | 1.0041 | 0.85 | 53614.4712 | 1.036 | -6781.2854 | 0.00038812 | 0.16122 | 33.5135 | 74.087 | 4368.2438 | 2819813.0496 | 33.1792 | 33.4755 | 0.022604 | [22328.850798341333, 17787.38924245575, 13498.231143562085] | [1.053797535143591, 1.0372226788501986, 1.0170464434140578] | [-1812.4570231969958, -2869.8806212896548, -2098.9477571122384] | [0.0003915415176098225, 0.0004105560533692737, 0.0003622559558163944] | [0.1303096301915681, 0.16604664400247113, 0.18731616782792632] | [63.27523935069496, 23.520267723445805, 13.745052835620754] | [118.04742083886728, 60.176268134781495, 44.0371868968779] | [12131.151515870162, 799.296099550799, 174.2838727107658] | [0.15203729483159834, 0.1259476913562396, 0.08280504301057244] | [0.07918228380324403, 0.05776838619470382, 0.05202302504533551] | [354.0, 282.0, 214.0] | [0.47920488890223784, 0.5413910098678861, 0.37187947207210825] | [0.0003000000621069106, 0.0003000000781369592, 0.0003000001010928598] | [1.0, 1.0, 1.0] | [0.938280958683071, 0.7404996457091249, 0.6807593551723196] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.018124570231969957, 0.028698806212896548, 0.020989477571122385] | 0.013944 | 0.053713 | 0.18557 | 1 | 354 | 1 | 282 | 1 | 214
0.24601 | 0.92387 | 0.85 | 66986.5389 | 1.0344 | -7353.2853 | 0.00037127 | 0.15339 | 39.9622 | 85.4972 | 5822.504 | 2602501.4617 | 33.129 | 33.2592 | 0.017611 | [22328.846622661706, 17787.385264566292, 26870.307005936946] | [1.049084439531439, 1.040884297097622, 1.013285192057596] | [-1755.0383261776306, -1458.4570272195783, -4139.789906532398] | [0.00038974980886185206, 0.00036075009056906864, 0.0003633021907211349] | [0.12793435401288084, 0.148459144538617, 0.183778539345193] | [67.69420192696698, 36.845752960564894, 15.346571232296228] | [123.5878579647864, 86.02515469480525, 46.87870964206343] | [14511.911938780166, 2720.5491646363325, 235.05089880288173] | [0.15016249871467424, 0.11475694037958964, 0.09909286745611678] | [0.0845731444695325, 0.059561070595063645, 0.05087492823704293] | [354.0, 282.0, 213.0] | [0.4368002970731189, 0.48102169199309003, 0.48674190082469637] | [0.00030000020370960623, 0.0003000002474737202, 0.0003000002022092469] | [1.0, 1.0, 2.0] | [0.9499952339292307, 0.8788789430770022, 0.6993888487788261] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017550383261776305, 0.014584570272195785, 0.02069894953266199] | 0.017422 | 0.049419 | 0.17677 | 1 | 354 | 1 | 282 | 2 | 213
0.24597 | 0.92336 | 0.85 | 67112.6903 | 1.0344 | -7329.5599 | 0.00037096 | 0.15343 | 39.9819 | 85.5237 | 5832.3836 | 2601100.7611 | 33.1285 | 33.258 | 0.01756 | [22328.846536716705, 17787.385185721207, 26996.458595038268] | [1.0490468533658306, 1.0409196648441807, 1.0132743392906092] | [-1755.6271448017408, -1450.7479380524114, -4123.184823767104] | [0.0003897932654243153, 0.0003603237852908146, 0.0003627481496594661] | [0.12792696448506252, 0.14833059924075837, 0.18402787322085978] | [67.70677804122822, 36.975209732216065, 15.263565933065285] | [123.60145831262612, 86.25165398897768, 46.71794785881546] | [14518.796848577613, 2746.809383335432, 231.54463654607466] | [0.15016249232199172, 0.1146828474016351, 0.09883700149948049] | [0.08461434753598836, 0.059568522464898827, 0.05067976483629533] | [354.0, 282.0, 214.0] | [0.4365258708884409, 0.4806212878431084, 0.4873874173504055] | [0.00030000020662411314, 0.0003000002508301167, 0.00030000020464895433] | [1.0, 1.0, 2.0] | [0.949995268799572, 0.8798752469917908, 0.6988013609063177] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017556271448017406, 0.014507479380524114, 0.020615924118835522] | 0.017455 | 0.049392 | 0.17673 | 1 | 354 | 1 | 282 | 2 | 214
0.25562 | 1.0041 | 0.85 | 53614.4747 | 1.036 | -6840.1088 | 0.0003887 | 0.16135 | 33.4479 | 73.9222 | 4364.2453 | 2819714.4605 | 33.1792 | 33.4738 | 0.0228 | [22328.851965108162, 17850.46626656934, 13435.156437000145] | [1.0538002234889152, 1.0371812525069952, 1.0169159470956712] | [-1811.8167466977768, -2878.791757761667, -2149.500256276946] | [0.0003915062289611726, 0.00041048612500992515, 0.0003641165769798242] | [0.13030377777449087, 0.1663868829361154, 0.18736214826872827] | [63.28679541766869, 23.33027434037476, 13.726500682824469] | [118.06333282120647, 59.81917661045024, 43.88394344753281] | [12137.22057681167, 781.8818292899039, 173.6334741329314] | [0.1520287706788979, 0.12580474898044453, 0.08329552748648515] | [0.07918080893328719, 0.057544297392405186, 0.05247337585798829] | [354.0, 283.0, 213.0] | [0.47918538775722325, 0.5426513995299189, 0.3701720280788182] | [0.0003000000225403483, 0.0003000000282633343, 0.0003000000368483607] | [1.0, 1.0, 1.0] | [0.9383336422005674, 0.7387491729972585, 0.678085474418737] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.018118167466977766, 0.02878791757761667, 0.02149500256276946] | 0.013944 | 0.053711 | 0.18557 | 1 | 354 | 1 | 283 | 1 | 213
0.25554 | 1.0035 | 0.85 | 53677.5505 | 1.036 | -6772.1278 | 0.00038789 | 0.1613 | 33.4999 | 74.0509 | 4382.0258 | 2818325.6565 | 33.179 | 33.474 | 0.022574 | [22328.85196219026, 17850.466263659797, 13498.232288950781] | [1.0538023561073324, 1.0371974805281134, 1.01698847892273] | [-1807.3531274861905, -2868.3929941079437, -2096.3817266577503] | [0.0003912651221617148, 0.0004102546967709792, 0.00036213666739667025] | [0.13025658408460733, 0.1662847822099817, 0.18734441626683104] | [63.37839363365796, 23.387106654783828, 13.73426063354599] | [118.18792967163581, 59.94208498867933, 44.022794507611394] | [12185.112899784215, 787.0662804054081, 173.89831479764723] | [0.15196542448807898, 0.1257353833200246, 0.08269087210609148] | [0.07918914880284524, 0.05755913532314899, 0.0520231517428847] | [354.0, 283.0, 214.0] | [0.47891338841873055, 0.5422808953376782, 0.3710103612747124] | [0.00030000002263929807, 0.0003000000283867544, 0.0003000000368408587] | [1.0, 1.0, 1.0] | [0.9387247827099353, 0.7395427258702788, 0.680757780054491] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.018073531274861908, 0.028683929941079437, 0.020963817266577506] | 0.013961 | 0.053684 | 0.1855 | 1 | 354 | 1 | 283 | 1 | 214
0.24598 | 0.92358 | 0.85 | 67049.6268 | 1.0344 | -7343.8068 | 0.00037116 | 0.15348 | 39.8747 | 85.3682 | 5806.5345 | 2601715.7187 | 33.1288 | 33.2585 | 0.017596 | [22328.850432708467, 17850.464807615, 26870.31155628999] | [1.0490636277408387, 1.040855894454099, 1.0132444555673528] | [-1755.3314988746588, -1458.3029208075557, -4130.172330854162] | [0.00038977203695536946, 0.0003605995220599244, 0.0003631018933567043] | [0.12792990501706594, 0.14871854428737546, 0.18380423112398708] | [67.70192627104856, 36.58859653182189, 15.333632538214507] | [123.59639394207602, 85.63922814390024, 46.86888055330614] | [14516.170064107631, 2668.980181527165, 234.4532606365611] | [0.1501620558410687, 0.11452177520379767, 0.09890273542795652] | [0.08459600311731375, 0.059317417257885974, 0.050867505326599435] | [354.0, 283.0, 213.0] | [0.4366464025476557, 0.48208363211318517, 0.4858299446422591] | [0.0003000000745059919, 0.00030000009015081344, 0.00030000007398117484] | [1.0, 1.0, 2.0] | [0.9499982827967184, 0.8778117831514308, 0.699491082444004] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01755331498874659, 0.014583029208075556, 0.02065086165427081] | 0.017439 | 0.049404 | 0.17675 | 1 | 354 | 1 | 283 | 2 | 213
0.24595 | 0.92307 | 0.85 | 67175.7784 | 1.0344 | -7320.1884 | 0.00037085 | 0.15352 | 39.8939 | 85.3941 | 5816.2154 | 2600319.3707 | 33.1283 | 33.2572 | 0.017545 | [22328.850401145522, 17850.464778690854, 26996.463221705235] | [1.049026160711986, 1.0408911862971575, 1.0132336157053885] | [-1755.9188665162742, -1450.6026025585115, -4113.666934023446] | [0.00038981537388448507, 0.0003601746384202853, 0.0003625492637714317] | [0.12792254237894202, 0.14859015010669013, 0.18405381857748188] | [67.71445843418186, 36.71675537063058, 15.250610707849722] | [123.60994424745056, 85.8643094027046, 46.707908885971264] | [14523.032602955285, 2694.661524991572, 230.95201505718242] | [0.15016205355336393, 0.11444755203884431, 0.09864752653878557] | [0.08463708196724432, 0.05932468167053554, 0.050672547371046615] | [354.0, 283.0, 214.0] | [0.4363728182162301, 0.48168414103059204, 0.48647567953800497] | [0.00030000007557633195, 0.0003000000913777487, 0.00030000007487961583] | [1.0, 1.0, 2.0] | [0.9499982952233195, 0.8788076172211353, 0.698901069991938] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01755918866516274, 0.014506026025585116, 0.020568334670117226] | 0.017471 | 0.049376 | 0.1767 | 1 | 354 | 1 | 283 | 2 | 214
0.24462 | 0.90567 | 0.85 | 71338.7779 | 1.0279 | -6389.0197 | 0.00035873 | 0.16215 | 35.1268 | 77.1113 | 5310.4036 | 2553304.8698 | 33.112 | 33.2088 | 0.016481 | [22328.847748629978, 35574.776492007855, 13435.15369211572] | [1.0477697645447497, 1.030095212823683, 1.0057725745284585] | [-1775.7816440675333, -2889.4971659424764, -1723.7409189353177] | [0.00039127150638342017, 0.0003423122880111883, 0.0003426105717559734] | [0.12767621627489115, 0.16606419136939465, 0.19271829748425245] | [68.13667205417471, 25.38137290873419, 11.862443826391461] | [124.0652381304756, 65.92821128414701, 41.340370882026924] | [14756.116643834126, 1057.5838524732262, 117.51037066844285] | [0.15016196954825764, 0.125106039321438, 0.062399506560321324] | [0.08602205026412793, 0.0389722030600181, 0.052477158792481424] | [354.0, 282.0, 213.0] | [0.42714893230674955, 0.6885793215095226, 0.15909025434865107] | [0.0003000001655265611, 0.0003000001205554067, 0.00030000019154897934] | [1.0, 2.0, 1.0] | [0.9499986546923334, 0.8199902670520176, 0.6780347330944788] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017757816440675336, 0.014447485829712383, 0.017237409189353174] | 0.018554 | 0.048447 | 0.17522 | 1 | 354 | 2 | 282 | 1 | 213
0.24461 | 0.90544 | 0.85 | 71401.8536 | 1.0279 | -6338.3357 | 0.00035804 | 0.16213 | 35.143 | 77.1833 | 5312.9804 | 2552687.6085 | 33.1118 | 33.2087 | 0.016324 | [22328.84769035031, 35574.77642079739, 13498.229515017634] | [1.0477533346381485, 1.030113898659468, 1.0057977260097417] | [-1776.0435528161065, -2882.1020494280024, -1680.190050960313] | [0.0003912905861978187, 0.0003421417510734514, 0.0003406996856237817] | [0.12767300245824528, 0.16599676606885772, 0.1927116293864875] | [68.14221846442351, 25.422013428235637, 11.864762522780099] | [124.07120333923933, 66.01309256873807, 41.46549710037662] | [14759.202956725243, 1062.1742957405093, 117.56388828598988] | [0.1501619684950149, 0.125055527726231, 0.06189849959523392] | [0.08604025756067256, 0.038969885151605044, 0.05202688324455531] | [354.0, 282.0, 214.0] | [0.4270276719630725, 0.6884719492311219, 0.15955790055591804] | [0.0003000001675028998, 0.00030000012207110363, 0.0003000001924481018] | [1.0, 2.0, 1.0] | [0.9499986575768273, 0.8204951033042697, 0.6807070850426085] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017760435528161065, 0.014410510247140011, 0.016801900509603132] | 0.018571 | 0.048435 | 0.17521 | 1 | 354 | 2 | 282 | 1 | 214
0.2441 | 0.88445 | 0.85 | 78264.3132 | 1.0305 | -6426.6363 | 0.00032988 | 0.15805 | 37.4166 | 79.47 | 5642.8941 | 2495836.7167 | 33.0833 | 33.1613 | 0.013705 | [22319.00095228387, 31701.887681353608, 24243.42453424705] | [1.0462874929702124, 1.0382317326431219, 1.0070695237807055] | [-1796.0882921066516, -1952.67480779615, -2677.8732259033377] | [0.0003927217790155163, 0.00029617083363394844, 0.00030074270702677914] | [0.12736144119681272, 0.15778106934371958, 0.18900064846507242] | [68.69112764370422, 30.504793994888832, 13.053963515607824] | [124.65456540810904, 72.3124504704155, 41.44310276668833] | [15068.938193198268, 1709.6758078844875, 150.06839781075632] | [0.15006140594813572, 0.11061511126752156, 0.06592357599239525] | [0.08768654956811019, 0.03896251557451297, 0.04806837950624478] | [354.0, 282.0, 213.0] | [0.4156724183851134, 0.6478396324678305, 0.2709613377028488] | [0.00030033423047145304, 0.00039250413494726724, 0.0003820461992973927] | [1.0, 2.0, 2.0] | [0.9499968332700833, 0.8113736487290341, 0.6442384473350228] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01796088292106652, 0.00976337403898075, 0.013389366129516689] | 0.020355 | 0.047312 | 0.17404 | 1 | 354 | 2 | 282 | 2 | 213
0.24411 | 0.88445 | 0.85 | 78270.4875 | 1.0305 | -6425.1142 | 0.0003294 | 0.15816 | 37.3862 | 79.3503 | 5643.2724 | 2495831.3577 | 33.0833 | 33.1616 | 0.013701 | [22317.29097693781, 31709.99784392294, 24243.19867104372] | [1.046294548298602, 1.038219090428128, 1.0070997953420973] | [-1795.3306566610127, -1953.3795578774425, -2676.4039546956465] | [0.00039266426067377974, 0.0002962356641214925, 0.0002992973890965191] | [0.12735808438111235, 0.157783916363037, 0.18933975021333777] | [68.6982771015928, 30.50381960517189, 12.956597874007509] | [124.66147921828856, 72.31824827489308, 41.07102998519683] | [15073.216442253493, 1709.5988414823714, 147.00192223900643] | [0.15004358677145438, 0.11063778815429347, 0.06570080113224762] | [0.08768072609603157, 0.03896230631698954, 0.04791351309370613] | [354.0, 282.0, 214.0] | [0.4156418330208711, 0.6479137356725143, 0.27084607685909395] | [0.0003003922735762032, 0.00039228681425540924, 0.0003859941778943453] | [1.0, 2.0, 2.0] | [0.9499988549450463, 0.8114916228417324, 0.6397160995521896] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01795330656661013, 0.009766897789387214, 0.01338201977347823] | 0.020357 | 0.047312 | 0.17404 | 1 | 354 | 2 | 282 | 2 | 214
0.2446 | 0.90525 | 0.85 | 71464.9293 | 1.0278 | -6381.2662 | 0.00035859 | 0.16224 | 35.0768 | 77.0263 | 5306.5333 | 2552162.1743 | 33.1115 | 33.2076 | 0.016466 | [22328.847624663667, 35700.92803733883, 13435.153634823353] | [1.047739350390643, 1.030046608352178, 1.0057266745789941] | [-1776.2665067747423, -2882.675140401183, -1722.3245693710228] | [0.0003913068258337516, 0.00034192903918615816, 0.00034253037957639523] | [0.12767026706270773, 0.1663245927883822, 0.19273971510038584] | [68.14694002808415, 25.22778330036327, 11.855662648252949] | [124.07628112919394, 65.67169403232427, 41.33083752668604] | [14761.83079011551, 1040.4261801450725, 117.3428200373872] | [0.15016196733917633, 0.12483262642636644, 0.06231881500391447] | [0.08605575661457188, 0.03882151201769064, 0.0524771856080135] | [354.0, 283.0, 213.0] | [0.42692444748892794, 0.6891043251177567, 0.15800044917512113] | [0.0003000001697304194, 0.00030000012361715164, 0.00030000019477795557] | [1.0, 2.0, 1.0] | [0.949998660630125, 0.8192032736806392, 0.6780343693627157] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017762665067747423, 0.014413375702005914, 0.01722324569371023] | 0.018587 | 0.048425 | 0.1752 | 1 | 354 | 2 | 283 | 1 | 213
0.24459 | 0.90502 | 0.85 | 71527.9796 | 1.0278 | -6330.4842 | 0.0003579 | 0.16222 | 35.0928 | 77.0983 | 5308.9893 | 2551548.1589 | 33.1112 | 33.2075 | 0.01631 | [22328.838674199895, 35700.91759435158, 13498.223329177576] | [1.047722827881737, 1.0300655409290527, 1.0057516877354113] | [-1776.5538049022332, -2875.1911782144007, -1678.7392282999324] | [0.0003913272896740273, 0.0003417559342800946, 0.0003406170647231579] | [0.12766729567845253, 0.16625674381404848, 0.19273259508995533] | [68.15195603151679, 25.268388091263276, 11.858090503351862] | [124.08152827810522, 65.75684967885668, 41.45639738289752] | [14764.602074931521, 1044.9666016888475, 117.3993245205244] | [0.1501622475025542, 0.12478120292022381, 0.06181767360845565] | [0.0860740514507731, 0.03881878325196639, 0.052026436686075] | [354.0, 283.0, 214.0] | [0.4268036776755243, 0.6889979497453514, 0.1584657037690669] | [0.0003000004732523707, 0.0003000003451081321, 0.0003000005394507531] | [1.0, 2.0, 1.0] | [0.949996307837243, 0.8197132087615292, 0.6807124394376716] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017765538049022332, 0.014375955891072004, 0.016787392282999324] | 0.018603 | 0.048413 | 0.17518 | 1 | 354 | 2 | 283 | 1 | 214
0.24411 | 0.88445 | 0.85 | 78267.3637 | 1.0306 | -6423.5971 | 0.00032961 | 0.15814 | 37.3435 | 79.3128 | 5631.8735 | 2495835.6127 | 33.0833 | 33.1613 | 0.013699 | [22318.455799561336, 31697.98661289725, 24250.921288129375] | [1.0462896995980269, 1.0383498721336482, 1.0070704451661525] | [-1795.8549227083722, -1949.540660802446, -2678.2015134193052] | [0.00039270391190160696, 0.00029529144373713416, 0.00030082867600914455] | [0.12736044021328824, 0.1580580571671637, 0.18899576173920413] | [68.69325291497368, 30.281511986223524, 13.055657686578138] | [124.65656522231045, 71.8259678747741, 41.45598070357965] | [15070.208995462404, 1675.2926361488012, 150.11886662277044] | [0.15005582689590893, 0.11021141399485847, 0.06593867247350016] | [0.087684734067428, 0.03882745771870297, 0.04806975575634482] | [354.0, 283.0, 213.0] | [0.4156627912305315, 0.6477748387981321, 0.2711074442275637] | [0.0003003527340744721, 0.00039562221401784846, 0.0003817867608155201] | [1.0, 2.0, 2.0] | [0.9499968302394617, 0.8080401719030286, 0.6444584891437645] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017958549227083724, 0.009747703304012229, 0.013391007567096526] | 0.020356 | 0.047312 | 0.17404 | 1 | 354 | 2 | 283 | 2 | 213
0.24411 | 0.88445 | 0.85 | 78273.7626 | 1.0306 | -6421.9419 | 0.00032914 | 0.15825 | 37.31 | 79.1899 | 5630.615 | 2495828.6341 | 33.0833 | 33.1616 | 0.013696 | [22318.59089435068, 31704.93726943513, 24250.23448047667] | [1.046288961391481, 1.0383372563179312, 1.007100913511388] | [-1795.9158501655604, -1950.121439233976, -2675.904624053995] | [0.0003927085622241349, 0.0002953442034333971, 0.00029936125652189487] | [0.12736065109260514, 0.15806367553128814, 0.18933219314885866] | [68.69279150262861, 30.278159562548826, 12.959013002792796] | [124.65613937483792, 71.82708248081697, 41.08645220734649] | [15069.931117731645, 1674.8391265484577, 147.07461436508441] | [0.1500572093983759, 0.1102271525065227, 0.06570983190582962] | [0.08768539828750871, 0.03882623673564056, 0.04791135511534397] | [354.0, 283.0, 214.0] | [0.41566374851629645, 0.647836237736585, 0.27097918117633113] | [0.0003003481485956535, 0.00039543525025738965, 0.00038574953887629825] | [1.0, 2.0, 2.0] | [0.9499968310465763, 0.8081282602600999, 0.6399649040680161] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017959158501655602, 0.00975060719616988, 0.013379523120269975] | 0.020358 | 0.047312 | 0.17404 | 1 | 354 | 2 | 283 | 2 | 214
0.25562 | 1.0041 | 0.85 | 53614.4712 | 1.0359 | -6841.3658 | 0.00038878 | 0.16138 | 33.3131 | 73.7801 | 4282.4942 | 2819685.6283 | 33.1792 | 33.4738 | 0.022805 | [22391.92665241203, 17787.389241698034, 13435.15528827885] | [1.0537622482728826, 1.0371487827539352, 1.0169147857563368] | [-1816.3044129820498, -2875.6375873503835, -2149.4237784583697] | [0.00039166471234222965, 0.0004105472070773544, 0.00036411335867478665] | [0.13055375937607733, 0.1662349140636713, 0.18736261297661083] | [62.8011779299206, 23.411666050243422, 13.726314280353174] | [117.48147871340727, 59.975125529935895, 43.883777383786004] | [11884.677117119996, 789.1785758524588, 173.6268025569819] | [0.15180339687512237, 0.12583322572192873, 0.0832929550474465] | [0.07888052004887885, 0.05768913594257418, 0.05247325677543931] | [355.0, 282.0, 213.0] | [0.48039035122912016, 0.5416039008258846, 0.37015399878209965] | [0.0003000000619595463, 0.00030000007816921484, 0.0003000001015898385] | [1.0, 1.0, 1.0] | [0.9370795404824722, 0.7394862818154601, 0.6780869249909509] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.018163044129820498, 0.028756375873503836, 0.0214942377845837] | 0.013944 | 0.053711 | 0.18557 | 1 | 355 | 1 | 282 | 1 | 213
0.25554 | 1.0035 | 0.85 | 53677.547 | 1.036 | -6773.3919 | 0.00038796 | 0.16133 | 33.3649 | 73.9088 | 4299.916 | 2818296.9965 | 33.179 | 33.474 | 0.022578 | [22391.926644369185, 17787.389233679456, 13498.23113507217] | [1.0537642512241905, 1.0371650857218018, 1.016987315439537] | [-1811.8382789093225, -2865.2459880500205, -2096.307604075529] | [0.00039142451656459554, 0.00041031527363141285, 0.0003621334804006037] | [0.1305065896724735, 0.16613271114039913, 0.1873448826815182] | [62.89181811161815, 23.46882475841371, 13.734073533415721] | [117.60529537248055, 60.09850614793616, 44.02262515791201] | [11931.432406695421, 794.4240722678442, 173.8916096810787] | [0.151740041107494, 0.12576413170998532, 0.08268832387153074] | [0.07888895144723457, 0.057704014258838844, 0.052023036591856274] | [355.0, 282.0, 214.0] | [0.4801178148248781, 0.5412335724156214, 0.37099236287718934] | [0.0003000000622315209, 0.0003000000785105616, 0.00030000010156911214] | [1.0, 1.0, 1.0] | [0.9374707972349322, 0.7402805952816423, 0.6807591982844228] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.018118382789093224, 0.02865245988050021, 0.02096307604075529] | 0.013961 | 0.053683 | 0.1855 | 1 | 355 | 1 | 282 | 1 | 214
0.24598 | 0.92358 | 0.85 | 67049.627 | 1.0344 | -7351.7876 | 0.00037132 | 0.15352 | 39.7244 | 85.21 | 5698.064 | 2601709.5598 | 33.1288 | 33.2585 | 0.017623 | [22391.926455689023, 17787.38895312414, 26870.31155570195] | [1.0489857125928541, 1.0408357385720302, 1.013243700819789] | [-1765.33117631888, -1456.4826992755297, -4129.9736789052395] | [0.0003902830176165065, 0.000360572954934711, 0.000363097818204231] | [0.12821639386954148, 0.14855185296320128, 0.1838046617662149] | [67.08903394668849, 36.75088525018145, 15.333407632205581] | [122.86623225143012, 85.89500546347041, 46.86875715445012] | [14158.510836461788, 2701.2383228793815, 234.44281110681936] | [0.15000026919105666, 0.11459574743735061, 0.09889906770762832] | [0.0843369794905615, 0.059471897828778576, 0.05086731729807025] | [355.0, 282.0, 213.0] | [0.43776564243929245, 0.48106992406622767, 0.485812771611413] | [0.0003000000686118845, 0.00030000009045365815, 0.0003000000739977459] | [1.0, 1.0, 2.0] | [0.9483440013142618, 0.8786070187490863, 0.6994936681039561] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0176533117631888, 0.014564826992755298, 0.020649868394526198] | 0.017439 | 0.049404 | 0.17675 | 1 | 355 | 1 | 282 | 2 | 213
0.24595 | 0.92307 | 0.85 | 67175.7786 | 1.0344 | -7328.184 | 0.00037101 | 0.15356 | 39.7439 | 85.2362 | 5707.8159 | 2600313.3255 | 33.1283 | 33.2572 | 0.017571 | [22391.926429958843, 17787.388924207567, 26996.463221103295] | [1.0489482957683416, 1.040871125106134, 1.013232862713093] | [-1765.923675996772, -1448.7907010851438, -4113.4696395889405] | [0.00039032656793177537, 0.00036014743363732576, 0.0003625452067805546] | [0.12820898625001076, 0.14842336624812058, 0.18405425088248756] | [67.10149238067105, 36.87987348359965, 15.250386539275357] | [122.87974982214988, 86.12098028278757, 46.70778439609676] | [14165.220838499643, 2727.2851970107267, 230.94169746781887] | [0.1500002672611994, 0.11452183588427292, 0.09864387172476898] | [0.08437810431042034, 0.059479247573878735, 0.05067236132115283] | [355.0, 282.0, 214.0] | [0.4374914578578135, 0.4806707019213336, 0.48645853325300753] | [0.00030000006948197017, 0.000300000091684622, 0.00030000007489649913] | [1.0, 1.0, 2.0] | [0.9483440118546219, 0.8796027816695398, 0.6989036361193004] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017659236759967722, 0.014487907010851437, 0.0205673481979447] | 0.017471 | 0.049376 | 0.1767 | 1 | 355 | 1 | 282 | 2 | 214
0.25553 | 1.0035 | 0.85 | 53677.547 | 1.0359 | -6832.2221 | 0.00038855 | 0.16146 | 33.2983 | 73.7428 | 4295.2774 | 2818198.9313 | 33.179 | 33.4723 | 0.022774 | [22391.92664363273, 17850.465087464407, 13435.155280108787] | [1.0537650585395961, 1.037123998079305, 1.0168572066351322] | [-1811.4384800807068, -2873.994629231092, -2146.789015092195] | [0.00039140278340162786, 0.00041024093695865864, 0.0003639933295996752] | [0.13050260115603482, 0.16647238949982493, 0.1873906299617041] | [62.89954489071029, 23.279660884390168, 13.715623320324294] | [117.61589364678089, 59.74287425427449, 43.86962731834036] | [11935.432841045154, 777.1532342359537, 173.24604874736445] | [0.1517345115454256, 0.12562006557283237, 0.0831783291329048] | [0.07888900561362931, 0.05747986033988525, 0.05247326873849858] | [355.0, 283.0, 213.0] | [0.48009851061632547, 0.5424920494993227, 0.3692855439833498] | [0.0003000000622564247, 0.0003000000782798624, 0.00030000010205030004] | [1.0, 1.0, 1.0] | [0.9375049608261191, 0.7385381668713054, 0.6780867645631165] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.018114384800807067, 0.028739946292310917, 0.02146789015092195] | 0.013961 | 0.053681 | 0.1855 | 1 | 355 | 1 | 283 | 1 | 213
0.25546 | 1.003 | 0.85 | 53740.6264 | 1.0359 | -6764.2289 | 0.00038773 | 0.1614 | 33.3513 | 73.8728 | 4313.4452 | 2816814.6169 | 33.1787 | 33.4726 | 0.022547 | [22391.927813842423, 17850.466260454872, 13498.232285852826] | [1.0537692441325033, 1.0371399368731757, 1.016929478761676] | [-1806.7202442691018, -2863.7566210388404, -2093.7520516355776] | [0.0003911476703261015, 0.00041001387532751276, 0.00036201454043835793] | [0.13045340740035039, 0.16637090219264977, 0.18737306952498387] | [62.9944504531781, 23.3359920559253, 13.723315822595893] | [117.74557187346531, 59.86467489133461, 44.00827318497844] | [11984.555724773056, 782.2718554385119, 173.50800905997122] | [0.15166797862239903, 0.12555217989422623, 0.08257447545672571] | [0.07889564729772869, 0.057495108645934136, 0.05202316370560743] | [355.0, 283.0, 214.0] | [0.47982663186322755, 0.5421230417914183, 0.3701232519776804] | [0.00030000002268489425, 0.0003000000285227043, 0.00030000003701464236] | [1.0, 1.0, 1.0] | [0.9379162953456877, 0.7393239581165194, 0.6807576181309298] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.018067202442691017, 0.028637566210388404, 0.02093752051635578] | 0.013977 | 0.053654 | 0.18543 | 1 | 355 | 1 | 283 | 1 | 214
0.24596 | 0.92329 | 0.85 | 67112.6908 | 1.0343 | -7341.227 | 0.0003712 | 0.15362 | 39.6375 | 85.0825 | 5682.0151 | 2600926.7193 | 33.1286 | 33.2577 | 0.017605 | [22391.92285201174, 17850.461030719416, 26870.306881796445] | [1.0489644416473856, 1.0408081781656071, 1.013203717581637] | [-1765.7031250163786, -1456.2079048941732, -4119.315956459657] | [0.00039030972831439553, 0.0003604149451086969, 0.000362879490102265] | [0.12821256226693312, 0.14881018746436395, 0.1838270365182785] | [67.095316326623, 36.495643648618746, 15.32164123029612] | [122.8728557300237, 85.51196713740558, 46.86270832226826] | [14161.86311238877, 2650.286007938134, 233.89617473456073] | [0.15000074026589671, 0.1143593763672261, 0.09870376662507596] | [0.08436030846687123, 0.05922788864793537, 0.050856963847806864] | [355.0, 283.0, 213.0] | [0.4376118754817895, 0.4821311104648637, 0.48489994120091057] | [0.0003000001904729995, 0.00030000025036323993, 0.00030000020570750303] | [1.0, 1.0, 2.0] | [0.9483407904588369, 0.8775516293854364, 0.6996358792740855] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01765703125016379, 0.014562079048941733, 0.020596579782298285] | 0.017455 | 0.049388 | 0.17672 | 1 | 355 | 1 | 283 | 2 | 213
0.24592 | 0.92278 | 0.85 | 67238.8544 | 1.0343 | -7318.2412 | 0.00037089 | 0.15366 | 39.6564 | 85.1075 | 5691.6598 | 2599534.6161 | 33.128 | 33.2565 | 0.017555 | [22391.926415479695, 17850.464762384923, 26996.463198144345] | [1.0489274314154768, 1.0408430567698608, 1.0131925770574721] | [-1766.2541925745902, -1448.5873413130364, -4103.399677998191] | [0.0003903508547204877, 0.0003599946067838082, 0.0003623366419160291] | [0.12820485606581175, 0.1486824568058946, 0.1840783355936614] | [67.10844088214078, 36.62272432207408, 15.238093224769077] | [122.88728812091831, 85.73535378392646, 46.699842479156395] | [14168.964606575264, 2675.6364301255167, 230.37828147731926] | [0.1500002662072714, 0.11428618017888603, 0.09845176711082701] | [0.0844010419210166, 0.05923547508302883, 0.05066353672621091] | [355.0, 283.0, 214.0] | [0.4373385298782724, 0.48173292226372216, 0.4855457972772021] | [0.0003000000699715936, 0.00030000009206943115, 0.00030000007554045456] | [1.0, 1.0, 2.0] | [0.9483440175833026, 0.878540724070002, 0.6990253643838167] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0176625419257459, 0.014485873413130367, 0.020516998389990954] | 0.017488 | 0.049361 | 0.17668 | 1 | 355 | 1 | 283 | 2 | 214
0.24461 | 0.90544 | 0.85 | 71401.8314 | 1.0278 | -6393.3595 | 0.00035883 | 0.16228 | 34.9043 | 76.8419 | 5188.1106 | 2552688.6637 | 33.1118 | 33.2081 | 0.016504 | [22391.917477040508, 35574.76631806976, 13435.14763410143] | [1.047677032231498, 1.0300419825098488, 1.0057474112976472] | [-1786.2576499468512, -2884.212615221507, -1722.889207148314] | [0.00039181088032777533, 0.00034212024218947736, 0.00034256361091233585] | [0.12795822481729602, 0.16614276150612195, 0.192729554869928] | [67.52609159989686, 25.327864689752193, 11.858848268551856] | [123.33901828163016, 65.85092716984438, 41.335638355201375] | [14395.769499825154, 1051.1403625811479, 117.42184078807131] | [0.15000058194457594, 0.12491968121969772, 0.06235457370923764] | [0.08578300770098346, 0.03895294267700683, 0.052476668250219204] | [355.0, 282.0, 213.0] | [0.4281262361763191, 0.6882689563960867, 0.1584918577377369] | [0.00030000037223185263, 0.000300000337105168, 0.0003000005329765324] | [1.0, 2.0, 1.0] | [0.9483414444815317, 0.8198122585436269, 0.6780405990787147] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017862576499468513, 0.014421063076107533, 0.01722889207148314] | 0.018571 | 0.048435 | 0.17521 | 1 | 355 | 2 | 282 | 1 | 213
0.24459 | 0.90521 | 0.85 | 71464.9069 | 1.0278 | -6342.7262 | 0.00035814 | 0.16225 | 34.9204 | 76.9137 | 5190.6505 | 2552073.0722 | 33.1115 | 33.2081 | 0.016348 | [22391.91737481725, 35574.76611694995, 13498.223399537068] | [1.04766066952737, 1.030060641838444, 1.0057724540633157] | [-1786.5211884801852, -2876.842717335066, -1679.3622808529071] | [0.0003918300017940731, 0.00034195009784428133, 0.00034065304785852227] | [0.12795500050834047, 0.16607542218304125, 0.19272293393067735] | [67.53159099089476, 25.3683578209823, 11.861151132491162] | [123.3449529682756, 65.93558541344716, 41.46071110125146] | [14398.780054468454, 1055.6965312825098, 117.4749297668142] | [0.150000580712347, 0.12486936594079272, 0.061853834613204796] | [0.08580118855491622, 0.03895057258673828, 0.052026425740153086] | [355.0, 282.0, 214.0] | [0.428005020964646, 0.6881622067590538, 0.1589581068173266] | [0.0003000003756886128, 0.00030000034138595496, 0.0003000005355038452] | [1.0, 2.0, 1.0] | [0.9483414456740649, 0.820316417154467, 0.6807125947180478] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017865211884801852, 0.014384213586675331, 0.01679362280852907] | 0.018587 | 0.048423 | 0.17519 | 1 | 355 | 2 | 282 | 1 | 214
0.2441 | 0.88445 | 0.85 | 78263.5693 | 1.0305 | -6439.3211 | 0.00032995 | 0.1582 | 37.1596 | 79.1254 | 5506.3654 | 2495831.8021 | 33.0833 | 33.1614 | 0.01375 | [22391.910828557706, 31650.240832985808, 24221.417627509785] | [1.0461729859072098, 1.0382295867803886, 1.007065977031092] | [-1810.695632149295, -1951.098720262585, -2677.526742920205] | [0.0003935713339040806, 0.00029578228582727235, 0.00030050259928923387] | [0.12766239414809777, 0.15790718160608172, 0.1890179211490845] | [68.03483028572035, 30.395775244304694, 13.048121109496128] | [123.8864618075193, 72.08765117637643, 41.40223169218185] | [14676.921595978658, 1692.2814850961572, 149.89301973852844] | [0.15000017881821381, 0.11037825624888256, 0.0658816693973957] | [0.08746458127786848, 0.038938129248416775, 0.048067088786789204] | [355.0, 282.0, 213.0] | [0.4169137419287783, 0.6473048618442055, 0.27051699916085414] | [0.0003000005970556158, 0.00039389068176208275, 0.0003828087150642884] | [1.0, 2.0, 2.0] | [0.9483435640321299, 0.8098506564490554, 0.6435566422904269] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01810695632149295, 0.009755493601312925, 0.013387633714601024] | 0.020355 | 0.047312 | 0.17404 | 1 | 355 | 2 | 282 | 2 | 213
0.24411 | 0.88445 | 0.85 | 78270.2213 | 1.0305 | -6436.8742 | 0.00032948 | 0.15831 | 37.1267 | 79.0044 | 5505.1101 | 2495823.0345 | 33.0833 | 33.1617 | 0.013746 | [22391.87978064089, 31657.555301348584, 24220.786219818143] | [1.0461725232209433, 1.038216947081753, 1.0070966503796985] | [-1810.738568493802, -1951.6125124557093, -2674.5230846851036] | [0.00039357360104427087, 0.00029583498012353477, 0.0002990233532457707] | [0.1276626984482754, 0.1579119117742608, 0.1893503311972185] | [68.03412600447038, 30.393165544833522, 12.95268612114398] | [123.88544584505209, 72.0906092331164, 41.037108490824636] | [14676.498497495186, 1691.942188096932, 146.88950478824637] | [0.15000049345455327, 0.11039426270475837, 0.06564954411232077] | [0.08746510058883654, 0.03893667454909111, 0.04790628241049459] | [355.0, 282.0, 214.0] | [0.4169115028580343, 0.6473692083997831, 0.2703867004389051] | [0.00030000164696752024, 0.0003936940375232474, 0.00038677441880866575] | [1.0, 2.0, 2.0] | [0.9483395708552647, 0.8099536108668128, 0.6391128086185471] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01810738568493802, 0.009758062562278545, 0.013372615423425518] | 0.020357 | 0.047312 | 0.17404 | 1 | 355 | 2 | 282 | 2 | 214
0.24459 | 0.90502 | 0.85 | 71528.006 | 1.0278 | -6385.8072 | 0.00035869 | 0.16237 | 34.8544 | 76.7568 | 5184.3299 | 2551549.1942 | 33.1112 | 33.207 | 0.01649 | [22391.924413492015, 35700.92795129064, 13435.15360184579] | [1.0476469752590056, 1.0299930858230923, 1.005701655149897] | [-1786.7121942801928, -2877.541685243515, -1721.5533575274899] | [0.00039184440290977756, 0.0003417410341624074, 0.00034248668220342843] | [0.12795198486373205, 0.16640384544363265, 0.19275138646640508] | [67.5368709909569, 25.174218939719353, 11.851969427740453] | [123.35082312913308, 65.5937976304169, 41.32564647761673] | [14401.695838792974, 1034.0421079104394, 117.25167542976541] | [0.1500002099264078, 0.12464786356110608, 0.062274846755161185] | [0.08581643392046817, 0.03880287733206836, 0.05247719824839689] | [355.0, 283.0, 213.0] | [0.427901966898242, 0.688793027514122, 0.15740546471773004] | [0.00030000013767033995, 0.0003000001254421939, 0.0003000001966365585] | [1.0, 2.0, 1.0] | [0.9483442441895926, 0.819018223837063, 0.6780341972763007] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.017867121942801927, 0.014387708426217576, 0.017215533575274902] | 0.018603 | 0.048413 | 0.17518 | 1 | 355 | 2 | 283 | 1 | 213
0.24458 | 0.90479 | 0.85 | 71591.0817 | 1.0278 | -6335.2396 | 0.000358 | 0.16234 | 34.8703 | 76.8284 | 5186.8333 | 2550936.5355 | 33.111 | 33.2069 | 0.016334 | [22391.924375253424, 35700.92787461587, 13498.229423419767] | [1.0476306931806938, 1.0300116654587932, 1.00572650345834] | [-1786.97456429049, -2870.2117682700605, -1678.0533143278883] | [0.00039186343408406714, 0.00034157182292476754, 0.0003405762502103924] | [0.12794877708407748, 0.1663367281184452, 0.19274477830121076] | [67.54234395100528, 25.214269482651684, 11.854262072375448] | [123.35672851944014, 65.67779691326541, 41.45069918835768] | [14404.693095654491, 1038.5022707480534, 117.30449249061185] | [0.15000020948791312, 0.12459769102062411, 0.06177447726880139] | [0.08583452951827596, 0.03880041998122186, 0.05202692263879732] | [355.0, 283.0, 214.0] | [0.42778132281445935, 0.6886873142973924, 0.157869087110387] | [0.00030000013896340727, 0.00030000012706843046, 0.0003000001975863994] | [1.0, 2.0, 1.0] | [0.9483442444937902, 0.8195207938137361, 0.6807065434151379] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0178697456429049, 0.014351058841350304, 0.01678053314327888] | 0.01862 | 0.048401 | 0.17516 | 1 | 355 | 2 | 283 | 1 | 214
0.2441 | 0.88445 | 0.85 | 78266.6033 | 1.0305 | -6436.5124 | 0.00032969 | 0.15829 | 37.0861 | 78.9678 | 5495.0516 | 2495830.8584 | 33.0833 | 33.1613 | 0.013745 | [22391.91080862304, 31645.888558491, 24228.803918096066] | [1.0461729610284123, 1.0383478989789099, 1.0070668837136485] | [-1810.6960480106723, -1947.9678700924137, -2677.848530692207] | [0.00039357136336371667, 0.0002949000024558657, 0.0003005872306659534] | [0.12766238936760377, 0.15818395106748437, 0.18901315165614346] | [68.0348385238257, 30.173574930389208, 13.049775807475916] | [123.88647055696947, 71.60210045731714, 41.414890199790925] | [14676.9261835173, 1658.2864999759993, 149.9422488533997] | [0.1500001788106474, 0.10997544327257337, 0.06589648060532627] | [0.08746460927887215, 0.038803664084953296, 0.04806841961455313] | [355.0, 283.0, 213.0] | [0.4169135552183861, 0.64723541374829, 0.27066083120535633] | [0.00030000059772972257, 0.0003970261998159874, 0.0003825526335637139] | [1.0, 2.0, 2.0] | [0.9483435627932959, 0.8065088733146344, 0.6437732926463833] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.018106960480106724, 0.00973983935046207, 0.013389242653461036] | 0.020356 | 0.047312 | 0.17404 | 1 | 355 | 2 | 283 | 2 | 213
0.24411 | 0.88445 | 0.85 | 78273.2588 | 1.0305 | -6434.0578 | 0.00032921 | 0.1584 | 37.0531 | 78.8466 | 5493.7926 | 2495822.0699 | 33.0833 | 33.1617 | 0.013741 | [22391.879725533494, 31653.194266487106, 24228.184818811358] | [1.0461724977393974, 1.0383352503593952, 1.007097565775775] | [-1810.7390069847256, -1948.477704324267, -2674.8411226665035] | [0.0003935736316458634, 0.0002949523698064834, 0.0002991075333571356] | [0.12766269371806038, 0.15818880725570347, 0.18934581638719397] | [68.03413407069925, 30.170889185724445, 12.954253941678616] | [123.88545425856478, 71.60490319730603, 41.0495284986667] | [14676.502974642435, 1657.939510158128, 146.93540146160427] | [0.15000049343361177, 0.10999117641351673, 0.06566412790164285] | [0.08746512928978452, 0.03880214588110644, 0.04790747155814775] | [355.0, 283.0, 214.0] | [0.4169113114295628, 0.6472997067167614, 0.27053070108004] | [0.0003000016488310266, 0.0003968290403405184, 0.00038651669300989074] | [1.0, 2.0, 2.0] | [0.94833956743081, 0.806611048458811, 0.6393277961535957] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.018107390069847257, 0.009742388521621336, 0.013374205613332519] | 0.020358 | 0.047312 | 0.17404 | 1 | 355 | 2 | 283 | 2 | 214
0.24357 | 0.88852 | 0.85 | 75880.1946 | 1.0234 | -4934.5259 | 0.00032616 | 0.17328 | 26.091 | 64.8752 | 2817.5067 | 2507013.9954 | 33.0943 | 33.1674 | 0.012664 | [44657.66829583822, 17787.37906665392, 13435.147188520592] | [1.0473832788373136, 1.0186786882527086, 1.0040581807990505] | [-2270.8627365805423, -991.116965094319, -1672.5462034706866] | [0.00033248040120559854, 0.00030634422699030167, 0.0003396654337317218] | [0.13951796249842338, 0.18680141824036134, 0.19351216238355876] | [52.71126512942328, 13.94733298449432, 11.614378974814759] | [105.69900517835349, 47.93574417991933, 40.99070350558742] | [8159.371450089015, 181.5993618814212, 111.54931214165784] | [0.1501623340015372, 0.06575214577676683, 0.05941482260106826] | [0.041805366563187264, 0.04013039887649997, 0.052477800923957554] | [354.0, 282.0, 213.0] | [0.7216354102226614, 0.38978269876115373, 0.11681435296934309] | [0.00030000062674457396, 0.00030000051131589514, 0.00030000055808932364] | [2.0, 1.0, 1.0] | [0.949995467122912, 0.7582246393397305, 0.6780255018999293] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.011354313682902711, 0.009911169650943191, 0.016725462034706866] | 0.019735 | 0.047533 | 0.17391 | 2 | 354 | 1 | 282 | 1 | 213
0.24357 | 0.88833 | 0.85 | 75943.1596 | 1.0234 | -4894.7828 | 0.00032559 | 0.17327 | 26.094 | 64.9165 | 2818.12 | 2506513.7352 | 33.094 | 33.1674 | 0.01253 | [44657.59720066296, 17787.35724787917, 13498.205120809935] | [1.0473698118064394, 1.018679253427238, 1.004076033188164] | [-2271.499205483609, -993.2403796293344, -1630.043254905666] | [0.0003325161483595545, 0.0003065018794605732, 0.0003377593313963295] | [0.13951101546439781, 0.18679837406416014, 0.19350585564459008] | [52.71739544017436, 13.94828850707305, 11.616356539378241] | [105.70699059142173, 47.92736828225843, 41.11512809000611] | [8161.128785474393, 181.6368496289286, 111.5944492268331] | [0.15016320605323583, 0.06579964151909527, 0.058927884659208785] | [0.041824581494818214, 0.04015755596752563, 0.05202647773858905] | [354.0, 282.0, 214.0] | [0.7215090441591595, 0.38981044054140107, 0.11717491528075048] | [0.00030000183221272824, 0.00030000144013219825, 0.0003000015608743924] | [2.0, 1.0, 1.0] | [0.9499876452896143, 0.7580197656187873, 0.6807100795611211] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.011357496027418047, 0.009932403796293343, 0.01630043254905666] | 0.019752 | 0.047523 | 0.1739 | 2 | 354 | 1 | 282 | 1 | 214
0.24377 | 0.88134 | 0.85 | 78849.8354 | 1.0246 | -5576.505 | 0.00029906 | 0.17042 | 25.1518 | 61.0244 | 1974.6597 | 2487510.511 | 33.0816 | 33.1802 | 0.01153 | [41999.49803208924, 17787.229501261656, 19063.107868614952] | [1.0462336227998301, 1.0207373493681977, 1.0066867009845146] | [-2967.935230573863, -1341.7244753659766, -1266.8452625638643] | [0.0003472635639658032, 0.00033016506577874464, 0.00021976174046495456] | [0.14335374376026117, 0.1848600925265108, 0.1830412612355315] | [46.09646384997289, 14.639374411658002, 14.71951359306357] | [93.20818924612217, 47.87214683598455, 41.992734383580924] | [5502.77022372994, 208.59443467255028, 212.61436154975053] | [0.15000048233868932, 0.07534453562027649, 0.04934053872820605] | [0.04642733804515644, 0.04385601492342729, 0.041101772252237045] | [354.0, 282.0, 213.0] | [0.6905169759965454, 0.4180288348928502, 0.16705701902839093] | [0.00034792425164519806, 0.00030000687829910013, 0.0006101077044177585] | [2.0, 1.0, 2.0] | [0.8719253241298841, 0.7356319784214608, 0.6000054298314427] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014839676152869316, 0.013417244753659765, 0.006334226312819321] | 0.020508 | 0.047147 | 0.17372 | 2 | 354 | 1 | 282 | 2 | 213
0.24378 | 0.88132 | 0.85 | 78864.5389 | 1.0246 | -5552.4204 | 0.00029858 | 0.17043 | 25.1448 | 61.013 | 1973.1283 | 2487457.766 | 33.0815 | 33.1807 | 0.01149 | [41992.170319210294, 17787.229141180527, 19085.139471532286] | [1.046232532699165, 1.0207469775322542, 1.006731316585891] | [-2969.7332151880773, -1341.4635745620933, -1241.223657416458] | [0.0003472880274543569, 0.00033016490785615655, 0.00021829087843857074] | [0.14336061094475588, 0.18484002823966134, 0.1830896932585957] | [46.08469728462897, 14.646162215317275, 14.70353547225543] | [93.18165985446323, 47.88778476089232, 41.9695843347625] | [5498.547786716919, 208.8644840611706, 211.97259993630365] | [0.15000048168237917, 0.075356388664472, 0.048989519915986546] | [0.046440951377949014, 0.04385796055230794, 0.040802010934066886] | [354.0, 282.0, 214.0] | [0.690426206241746, 0.4180945417541685, 0.1672072061588744] | [0.00034806474734482825, 0.00030000689362784567, 0.0006138806700391619] | [2.0, 1.0, 2.0] | [0.8717254680758278, 0.7357319157014776, 0.6000052882733626] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014848666075940386, 0.013414635745620932, 0.00620611828708229] | 0.020511 | 0.047146 | 0.17373 | 2 | 354 | 1 | 282 | 2 | 214
0.24357 | 0.88834 | 0.85 | 75943.1585 | 1.0234 | -4915.4554 | 0.0003257 | 0.17327 | 26.0938 | 64.9102 | 2818.1008 | 2506534.2064 | 33.094 | 33.167 | 0.012599 | [44657.59614232791, 17850.43305166165, 13435.129340651973] | [1.047370344945368, 1.018730693260674, 1.0040422870002683] | [-2271.4770251163063, -972.069715405723, -1671.908690825635] | [0.00033251482428388877, 0.00030494863786479254, 0.0003396313072097622] | [0.1395113273061443, 0.186792076738549, 0.19351823546559066] | [52.71709977263379, 13.951999773990583, 11.612433436104833] | [105.7065950596678, 48.035309477554655, 40.98873390685379] | [8161.03748806966, 181.75992700248682, 111.5049285418451] | [0.15016319658393837, 0.06537766477522843, 0.059385859334642646] | [0.04182380740882938, 0.03986598431978113, 0.052476551423870525] | [354.0, 283.0, 213.0] | [0.7215141824753623, 0.3903313319684089, 0.11640443500588486] | [0.00030000185015756435, 0.0003000014372111715, 0.00030000156399077334] | [2.0, 1.0, 1.0] | [0.9499876708852918, 0.7602025438223439, 0.6780402668839894] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01135738512558153, 0.00972069715405723, 0.01671908690825635] | 0.019752 | 0.047523 | 0.1739 | 2 | 354 | 1 | 283 | 1 | 213
0.24357 | 0.88816 | 0.85 | 76006.3399 | 1.0234 | -4875.8301 | 0.00032513 | 0.17327 | 26.0974 | 64.9518 | 2819.0709 | 2506033.098 | 33.0938 | 33.1669 | 0.012466 | [44657.6628777919, 17850.454365107682, 13498.22267814776] | [1.0473579901737375, 1.018730898685103, 1.0040598643388488] | [-2271.888362775942, -974.1981513740731, -1629.743599076612] | [0.0003325422559561258, 0.0003051092346642314, 0.0003377387691136045] | [0.1395027859518618, 0.18678989089104187, 0.19351434519645297] | [52.72577977287259, 13.952687627914813, 11.613803719587086] | [105.71843383178391, 48.02620400211153, 41.11081999048132] | [8163.890812154206, 181.78779668010867, 111.53399551578904] | [0.1501622796371849, 0.0654253855100281, 0.058901667049129074] | [0.041842399817841415, 0.039893296098511666, 0.052027578210212366] | [354.0, 283.0, 214.0] | [0.7213886439167791, 0.3903585677097104, 0.11676306412103571] | [0.00030000071861118334, 0.00030000053311250615, 0.000300000575971126] | [2.0, 1.0, 1.0] | [0.9499956354050509, 0.7599917769747764, 0.6806970241622459] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01135944181387971, 0.00974198151374073, 0.01629743599076612] | 0.019768 | 0.047513 | 0.17389 | 2 | 354 | 1 | 283 | 1 | 214
0.24377 | 0.88134 | 0.85 | 78853.7595 | 1.0246 | -5583.8881 | 0.00029899 | 0.1705 | 25.1077 | 60.9185 | 1965.8807 | 2487488.7449 | 33.0816 | 33.1802 | 0.011547 | [41959.16901719919, 17850.407007309594, 19044.18349808696] | [1.0462349628277332, 1.0207444299325825, 1.0066858931675307] | [-2977.4303309488587, -1344.2192849482137, -1262.2384984561545] | [0.0003473797551981984, 0.00033012534034396873, 0.00021947757921235225] | [0.143395038790529, 0.18510537724657133, 0.18300284287320062] | [46.02900270931373, 14.56215723176767, 14.731849252492463] | [93.05866241575922, 47.686012099688256, 42.01092287716724] | [5478.940102408862, 205.58295485179434, 213.11889761587258] | [0.1500001737634201, 0.07529954829976046, 0.04928424630429426] | [0.04649164434361055, 0.04375144934288594, 0.0410714557209754] | [354.0, 283.0, 213.0] | [0.6900875690435035, 0.41906989479787726, 0.16672054503276204] | [0.0003486980960442569, 0.0003000025419938692, 0.0006111682973525134] | [2.0, 1.0, 2.0] | [0.8708282952694455, 0.7344943664995552, 0.6000019634701511] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014887151654744293, 0.013442192849482136, 0.006311192492280773] | 0.020509 | 0.047147 | 0.17372 | 2 | 354 | 1 | 283 | 2 | 213
0.24378 | 0.88131 | 0.85 | 78868.6359 | 1.0246 | -5559.0598 | 0.0002985 | 0.17051 | 25.1016 | 60.9103 | 1964.4201 | 2487434.8562 | 33.0815 | 33.1808 | 0.011504 | [41952.04608104907, 17850.301485030694, 19066.288321066895] | [1.046233753492674, 1.0207565798590388, 1.0067304645093569] | [-2979.2117535903562, -1343.128696571405, -1236.7193094450747] | [0.00034740424965579685, 0.00033008238006557405, 0.00021801009411766387] | [0.14340174023608745, 0.18507744177394556, 0.18305124281527285] | [46.01753336273782, 14.571470148528537, 14.715865827124565] | [93.03275314289206, 47.710148018778696, 41.98795430522337] | [5474.835329940836, 205.94894843579203, 212.47591092960184] | [0.15000047831521335, 0.07530111192397271, 0.048933783186584395] | [0.04650509320000039, 0.04374770641126991, 0.040772018459613625] | [354.0, 283.0, 214.0] | [0.6899985267223695, 0.41913163536700404, 0.16687133206830077] | [0.00034883492752729197, 0.00030000701820609926, 0.0006149396649799606] | [2.0, 1.0, 2.0] | [0.8706327405615677, 0.7346834705338007, 0.6000052729824122] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014896058767951782, 0.013431286965714051, 0.006183596547225373] | 0.020513 | 0.047146 | 0.17373 | 2 | 354 | 1 | 283 | 2 | 214
0.24393 | 0.88383 | 0.85 | 78206.3818 | 1.0262 | -5943.9495 | 0.00029837 | 0.17261 | 24.2696 | 58.0678 | 1796.356 | 2494215.0363 | 33.0839 | 33.1509 | 0.012672 | [40986.209824246755, 23785.03413768494, 13435.137814862072] | [1.0465416109818348, 1.0285952599896886, 1.003601152735036] | [-3188.301541127817, -1096.1748750713427, -1659.473120721528] | [0.00034908200064289054, 0.00020711767022077167, 0.0003388983272513191] | [0.1443383231596538, 0.1797730593023338, 0.19372165378795048] | [44.55466375363359, 16.704083931624975, 11.550042903208459] | [89.64911085286076, 43.65488954426718, 40.8994599795762] | [4978.888735500243, 300.11998448877733, 110.05933352694521] | [0.15000015187925803, 0.06318345338239094, 0.058629425948755365] | [0.04779312329837703, 0.03324937184145698, 0.05247797567304139] | [354.0, 282.0, 213.0] | [0.6814097874139029, 0.4738844396694045, 0.10497395376052406] | [0.00036782906630209366, 0.0006753283324189435, 0.0003000010863860602] | [2.0, 2.0, 1.0] | [0.8451333621496916, 0.6000015247517565, 0.6780222681641644] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015941507705639082, 0.005480874375356713, 0.01659473120721528] | 0.02034 | 0.04728 | 0.17392 | 2 | 354 | 2 | 282 | 1 | 213
0.24393 | 0.88381 | 0.85 | 78213.7183 | 1.0263 | -5905.9851 | 0.0002977 | 0.17258 | 24.2728 | 58.0986 | 1793.3263 | 2494153.9162 | 33.0839 | 33.1513 | 0.012539 | [40958.66093034964, 23756.877796234006, 13498.179610770087] | [1.0465457013271409, 1.0286936050007949, 1.0036303950440966] | [-3194.3886456530267, -1094.017270809834, -1617.5792074618362] | [0.00034912836695500055, 0.00020694386919869177, 0.0003370142662054546] | [0.14435735323553972, 0.17967412696975518, 0.19370915098678038] | [44.52194578507136, 16.742591829138817, 11.553848121613846] | [89.56442643354123, 43.7047585155341, 41.02652941698966] | [4967.766363143188, 302.06586569537023, 110.146744476928] | [0.15000041716796023, 0.06319560257582238, 0.05816863063943635] | [0.04784092161974088, 0.03324773667697504, 0.05202616016771384] | [354.0, 282.0, 214.0] | [0.6810916528390561, 0.4740113144184201, 0.10565104054220735] | [0.0003683839828372861, 0.0006766705902149375, 0.0003000029919000972] | [2.0, 2.0, 1.0] | [0.8444263814948001, 0.6000042061304183, 0.6807120237859812] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015971943228265135, 0.005470086354049169, 0.01617579207461836] | 0.020342 | 0.047279 | 0.17392 | 2 | 354 | 2 | 282 | 1 | 214
0.24416 | 0.88199 | 0.85 | 79263.1813 | 1.0314 | -6386.4265 | 0.00026084 | 0.16679 | 25.909 | 57.3351 | 1674.0681 | 2489170.4702 | 33.0791 | 33.1711 | 0.010644 | [37676.62228157226, 21178.727169752623, 20407.83185599175] | [1.0477534583917558, 1.0398592366184647, 1.0067254190490726] | [-3817.961766791028, -964.7538457078329, -1603.7108910675136] | [0.0003489224029714329, 0.00019462320430405693, 0.00023896198275118714] | [0.14534569088453708, 0.1692984946830828, 0.1857115907837757] | [42.38515481854784, 21.447435200333466, 13.894345602981948] | [81.85164607843356, 49.408931380781674, 40.74468761241713] | [4237.435716478803, 604.1786596564265, 180.5898299339532] | [0.15000011556907436, 0.06620905915948251, 0.053131274121697915] | [0.053797051903823084, 0.034215001514977264, 0.04302286792143943] | [354.0, 282.0, 214.0] | [0.6413786683007207, 0.4833270382428025, 0.19034166702208224] | [0.0004403012189216049, 0.0008147000926057369, 0.000544460740700306] | [2.0, 2.0, 2.0] | [0.7680461313950283, 0.6000018561809567, 0.6000025707214987] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01908980883395514, 0.004823769228539165, 0.008018554455337569] | 0.020615 | 0.04718 | 0.17397 | 2 | 354 | 2 | 282 | 2 | 214
0.24394 | 0.88384 | 0.85 | 78211.9077 | 1.0263 | -5936.6408 | 0.0002981 | 0.17263 | 24.2529 | 58.031 | 1792.1468 | 2494227.1817 | 33.0839 | 33.1509 | 0.01266 | [40957.228538855736, 23819.575038413426, 13435.10410906889] | [1.0465479653357763, 1.0287283393511282, 1.0036019902636995] | [-3194.5972495100805, -1082.8351957187626, -1659.2083553102975] | [0.0003491261316880111, 0.00020628713863889478, 0.0003388877638629869] | [0.144359408755026, 0.17981900881319543, 0.19371927360836724] | [44.51938183813178, 16.688649940554832, 11.550652671158577] | [89.5588949090215, 43.63242299385142, 40.90158164889797] | [4966.988619888886, 299.3768781857133, 110.07504643446387] | [0.15000041712809983, 0.06293316806173602, 0.0586283471632636] | [0.0478403844556037, 0.03308568487942247, 0.05247593110820286] | [354.0, 283.0, 213.0] | [0.6810952343351966, 0.4743925763170828, 0.10499236582053978] | [0.00036841285587183226, 0.0006776962808750679, 0.00030000298604109893] | [2.0, 2.0, 1.0] | [0.844389732526698, 0.6000041260813, 0.6780460920252815] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015972986247550402, 0.005414175978593814, 0.016592083553102977] | 0.020342 | 0.04728 | 0.17392 | 2 | 354 | 2 | 283 | 1 | 213
0.24394 | 0.88382 | 0.85 | 78218.6502 | 1.0263 | -5899.9856 | 0.00029744 | 0.1726 | 24.2549 | 58.0581 | 1788.8693 | 2494170.101 | 33.0838 | 33.1512 | 0.01253 | [40927.439457708264, 23792.997073520713, 13498.213648533329] | [1.046552983205001, 1.0288263547435779, 1.0036311294606446] | [-3201.0851571905223, -1081.0672766494456, -1617.8331354461443] | [0.00034917297830801904, 0.00020613606988195173, 0.00033702555213210964] | [0.14437959116190296, 0.17972191704669782, 0.19371046382015567] | [44.48460877254833, 16.726564892754233, 11.553544267454729] | [89.46826824040957, 43.68107612533059, 41.02506901452885] | [4955.177285275595, 301.2921803027183, 110.13835484274958] | [0.15000015077201856, 0.06295354499511023, 0.058171957641444685] | [0.047891603917260876, 0.03308610046564819, 0.05202784407844264] | [354.0, 283.0, 214.0] | [0.6807531585934985, 0.47455597613817135, 0.10567325689956081] | [0.00036901377908339487, 0.0006789640166469325, 0.0003000010824995769] | [2.0, 2.0, 1.0] | [0.8436297670191517, 0.600001498093154, 0.6806926073008166] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.016005425785952612, 0.0054053363832472275, 0.016178331354461443] | 0.020343 | 0.047279 | 0.17392 | 2 | 354 | 2 | 283 | 1 | 214
0.24416 | 0.88202 | 0.85 | 79250.8129 | 1.0315 | -6417.9494 | 0.00026119 | 0.16679 | 25.8995 | 57.3068 | 1672.257 | 2489249.4913 | 33.0792 | 33.1706 | 0.010697 | [37641.44473532528, 21223.955828483773, 20385.41229958192] | [1.0477758781208837, 1.0399982433090873, 1.0066795786720657] | [-3823.4472077941186, -955.658567807658, -1638.8436076858222] | [0.0003488644385468414, 0.0001940298294780787, 0.00024067246600078623] | [0.14534625240843588, 0.16937062695051308, 0.1856644917949804] | [42.3761992035976, 21.413445441659245, 13.90883897839316] | [81.78793907632392, 49.36626164129642, 40.766228013338214] | [4234.049498237041, 601.6073627776158, 181.11402988542673] | [0.1500001153645114, 0.06599943493071875, 0.053534066157091935] | [0.053859337412880195, 0.03406207749572109, 0.04335558596167645] | [354.0, 283.0, 213.0] | [0.640963386326605, 0.4840027823190438, 0.19021911207709055] | [0.0004411399723450539, 0.0008164903215205758, 0.0005408765460768862] | [2.0, 2.0, 2.0] | [0.767302229330674, 0.6000018237859147, 0.6000026891819776] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.019117236038970593, 0.00477829283903829, 0.00819421803842911] | 0.020612 | 0.047182 | 0.17397 | 2 | 354 | 2 | 283 | 2 | 213
0.24416 | 0.882 | 0.85 | 79264.5799 | 1.0315 | -6392.1459 | 0.00026071 | 0.1668 | 25.8991 | 57.2941 | 1672.1865 | 2489201.1118 | 33.0791 | 33.171 | 0.010654 | [37623.544420151055, 21211.810785898444, 20429.22465669192] | [1.0477848379481522, 1.0400595840116167, 1.006725827602892] | [-3826.3672324965705, -955.3332124530057, -1610.4454923571527] | [0.0003488393813573873, 0.0001939881262494826, 0.00023931455800686572] | [0.1453453493322422, 0.1693155244525722, 0.18575222049193674] | [42.37263467200016, 21.442211859123212, 13.882345696235982] | [81.75675674436077, 49.39927853377027, 40.726136524853835] | [4232.549125133548, 603.863059445397, 180.14732015000794] | [0.1500001152539076, 0.06602146845599938, 0.053204472920536816] | [0.053894581964934074, 0.0340732187674072, 0.0430607713276605] | [354.0, 283.0, 214.0] | [0.6407283970929403, 0.4840061452215065, 0.19074345565986] | [0.00044156737940854107, 0.0008172195861435507, 0.0005434118350783314] | [2.0, 2.0, 2.0] | [0.7669242430646539, 0.6000018267688038, 0.6000025874891872] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.019131836162482853, 0.004776666062265029, 0.008052227461785763] | 0.020616 | 0.047181 | 0.17397 | 2 | 354 | 2 | 283 | 2 | 214
0.24357 | 0.88817 | 0.85 | 76006.3496 | 1.0233 | -4938.0155 | 0.00032607 | 0.17341 | 25.9164 | 64.6517 | 2748.8667 | 2506055.2417 | 33.0938 | 33.1665 | 0.012656 | [44783.82429648162, 17787.378533800147, 13435.146818839512] | [1.0472557669004305, 1.0185786586919063, 1.0040248095093394] | [-2282.4572353780204, -983.974253595994, -1671.5839648833432] | [0.0003328064009588307, 0.0003057954016075343, 0.0003396091613247729] | [0.13986057495042828, 0.18685415995474458, 0.19352749032657401] | [52.21242047209654, 13.927235877573697, 11.609655716230803] | [105.04031721316389, 47.930680874964835, 40.98401790418153] | [7954.30941394587, 180.85156112070058, 111.43914673520378] | [0.1500006784766527, 0.06548948649858136, 0.05935732681455389] | [0.04162071166338855, 0.04006538378800114, 0.05247781209750497] | [355.0, 282.0, 213.0] | [0.7225665706839431, 0.3883276454969953, 0.11595822668251962] | [0.00030000055242946543, 0.00030000053399923505, 0.0003000005789244306] | [2.0, 1.0, 1.0] | [0.9483404902385476, 0.7587198930571959, 0.6780253161210824] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.011412286176890102, 0.00983974253595994, 0.01671583964883343] | 0.019768 | 0.047514 | 0.1739 | 2 | 355 | 1 | 282 | 1 | 213
0.24357 | 0.88798 | 0.85 | 76069.3221 | 1.0233 | -4898.2909 | 0.0003255 | 0.17341 | 25.9193 | 64.6929 | 2749.4244 | 2505557.1028 | 33.0935 | 33.1664 | 0.012522 | [44783.76231642984, 17787.35571935782, 13498.204065964228] | [1.047242246623068, 1.0185793125790856, 1.004042521866528] | [-2283.1236281980036, -986.0672034851583, -1629.1001147586194] | [0.0003328432273615325, 0.0003059517039299425, 0.00033770311902126405] | [0.13985379903011058, 0.18685110355326698, 0.19352118397633] | [52.21820017639868, 13.92819673585231, 11.611628597733338] | [105.04782698103438, 47.922398079042566, 41.1084343651015] | [7955.899828961097, 180.88911592839503, 111.4841842547022] | [0.15000184538185368, 0.06553654634152299, 0.058870659866856634] | [0.04163986807949783, 0.040092283536013726, 0.052026462967113656] | [355.0, 282.0, 214.0] | [0.7224409988054071, 0.3883564118665052, 0.11631657102008747] | [0.00030000160038361266, 0.0003000015052008113, 0.00030000162004750996] | [2.0, 1.0, 1.0] | [0.948331112632727, 0.7585166543331606, 0.6807101787245026] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.011415618140990019, 0.009860672034851583, 0.016291001147586196] | 0.019784 | 0.047504 | 0.17389 | 2 | 355 | 1 | 282 | 1 | 214
0.24378 | 0.88135 | 0.85 | 78852.8073 | 1.0245 | -5621.6141 | 0.00029923 | 0.17059 | 24.9359 | 60.6646 | 1905.3285 | 2487526.9322 | 33.0816 | 33.1803 | 0.011607 | [42024.16731734587, 17787.331983830132, 19041.308033165482] | [1.0461132316848194, 1.0207043989555789, 1.006686063321854] | [-3017.299663395412, -1342.773762828017, -1261.540723547755] | [0.0003480797710349151, 0.00033018331921993776, 0.00021943455729267312] | [0.14384254212998748, 0.1849196668935585, 0.18299686525638145] | [45.454962677898095, 14.61906150042594, 14.73378146335989] | [92.15513821493583, 47.82475710462736, 42.01378218696025] | [5295.000914698392, 207.7868031162912, 213.19773264729724] | [0.15000017024551546, 0.07531044207071348, 0.04927602225159396] | [0.046385963905407744, 0.04385510500025747, 0.04106681724419712] | [355.0, 282.0, 213.0] | [0.6907921991993782, 0.4177774790192701, 0.16667557424719598] | [0.00034972464983602867, 0.00030000251561526284, 0.0006113296337248312] | [2.0, 1.0, 2.0] | [0.8669292092023221, 0.7353171285051604, 0.6000019624998391] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01508649831697706, 0.013427737628280171, 0.006307703617738776] | 0.020508 | 0.047148 | 0.17373 | 2 | 355 | 1 | 282 | 2 | 213
0.24378 | 0.88133 | 0.85 | 78867.4674 | 1.0245 | -5597.5976 | 0.00029875 | 0.1706 | 24.9292 | 60.6536 | 1903.9237 | 2487474.5244 | 33.0815 | 33.1808 | 0.011567 | [42016.90728031235, 17787.33185614225, 19063.228255321974] | [1.0461124013416705, 1.0207139590253134, 1.006730656857093] | [-3019.0637743931056, -1342.5091010836281, -1236.024727971132] | [0.00034810222993356414, 0.00033018288889116715, 0.00021796573341768778] | [0.1438489276648868, 0.18489972237313657, 0.18304510035866756] | [45.444043975167574, 14.625797332955973, 14.717847355511854] | [92.1298273060473, 47.840304191049825, 41.990713704346305] | [5291.160257344598, 208.05410964350963, 212.55663390501113] | [0.15000017002861482, 0.07532212485777746, 0.04892546308095336] | [0.04639945236460278, 0.04385698507519965, 0.040767382234226164] | [355.0, 282.0, 214.0] | [0.6907022627508136, 0.4178428096919283, 0.16682438194993] | [0.0003498640771099487, 0.0003000025210509059, 0.0006151117668830332] | [2.0, 1.0, 2.0] | [0.8667334588836143, 0.7354168585349328, 0.6000019116647798] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015095318871965527, 0.01342509101083628, 0.00618012363985566] | 0.020512 | 0.047147 | 0.17373 | 2 | 355 | 1 | 282 | 2 | 214
0.24357 | 0.88799 | 0.85 | 76069.4231 | 1.0233 | -4919.2097 | 0.00032561 | 0.17341 | 25.9195 | 64.6867 | 2749.6156 | 2505577.0213 | 33.0935 | 33.166 | 0.012592 | [44783.82238217446, 17850.454083660574, 13435.146641365247] | [1.047243479322762, 1.018630074718178, 1.0040089637586898] | [-2282.9620437735034, -965.1200498180033, -1671.1275680970195] | [0.00033283672747380465, 0.00030440588985986233, 0.00033958245989459366] | [0.13985313918878248, 0.18684534310654882, 0.19353476690520097] | [52.21943406558968, 13.931717271664283, 11.60741434567018] | [105.0497405316872, 48.029515526408304, 40.98084431879027] | [7956.455107384395, 181.0048439468438, 111.38691218172076] | [0.15000066575848686, 0.06511723496850547, 0.05933003477860232] | [0.04163872527802444, 0.03980209469213885, 0.05247781797985561] | [355.0, 283.0, 213.0] | [0.7224464353762083, 0.3888737665143853, 0.1155512507651088] | [0.0003000005847963864, 0.0003000005450512445, 0.0003000005889268234] | [2.0, 1.0, 1.0] | [0.9483405088671468, 0.7606900381492187, 0.6780252199460836] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.011414810218867517, 0.009651200498180032, 0.016711275680970195] | 0.019785 | 0.047504 | 0.17389 | 2 | 355 | 1 | 283 | 1 | 213
0.24357 | 0.8878 | 0.85 | 76132.4966 | 1.0233 | -4879.489 | 0.00032504 | 0.17341 | 25.9228 | 64.7282 | 2750.3839 | 2505079.0038 | 33.0933 | 33.1659 | 0.012459 | [44783.820543176895, 17850.45378580416, 13498.22228351955] | [1.0472306807988019, 1.0186305699390759, 1.004026511983322] | [-2283.4880853840555, -967.1914244098448, -1628.809455725127] | [0.00033286831738361055, 0.00030456312877763416, 0.0003376830140697904] | [0.13984539858635692, 0.1868427130871248, 0.19352962759628847] | [52.22673701414193, 13.93254629474708, 11.60909302937304] | [105.05955124608292, 48.02090464185308, 41.10413265950962] | [7958.689721332446, 181.03769308031522, 111.42417285554582] | [0.15000065478431124, 0.06516419390781056, 0.058844758950436706] | [0.04165749164578359, 0.03982891744001601, 0.05202759254459647] | [355.0, 283.0, 214.0] | [0.7223212840641176, 0.38890253885263254, 0.11590820225092535] | [0.0003000006158899826, 0.00030000055768605166, 0.0003000005981083157] | [2.0, 1.0, 1.0] | [0.9483405189002262, 0.7604844944651942, 0.6806967932530356] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.011417440426920276, 0.009671914244098447, 0.01628809455725127] | 0.019801 | 0.047494 | 0.17388 | 2 | 355 | 1 | 283 | 1 | 214
0.24378 | 0.88134 | 0.85 | 78856.8321 | 1.0245 | -5628.411 | 0.00029915 | 0.17067 | 24.8938 | 60.5626 | 1897.1568 | 2487504.6319 | 33.0815 | 33.1803 | 0.011622 | [41983.609244735184, 17850.40655183825, 19022.8163479844] | [1.046115826966442, 1.020714018895585, 1.006685259766335] | [-3026.781078018363, -1344.6009806511374, -1257.028924272884] | [0.00034818762633062004, 0.0003301091403001042, 0.0002191564228478657] | [0.14388192660085874, 0.1851578769373463, 0.18295906396195766] | [45.39105216770391, 14.544289284735404, 14.745937454445178] | [92.00985867131283, 47.64621836809054, 42.03187088661275] | [5272.896702991556, 204.87786058309575, 213.69571842122264] | [0.1500001691069922, 0.07525792333540143, 0.04922082676782439] | [0.0464507172071862, 0.043746157673922925, 0.0410370128170995] | [355.0, 283.0, 213.0] | [0.6903604461430921, 0.418818910076948, 0.1663464026498989] | [0.0003505041756826187, 0.00030000256131466516, 0.0006123683292172361] | [2.0, 1.0, 2.0] | [0.8658367843145064, 0.734253666114674, 0.600001956681904] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015133905390091818, 0.013446009806511375, 0.0062851446213644194] | 0.020509 | 0.047147 | 0.17373 | 2 | 355 | 1 | 283 | 2 | 213
0.24378 | 0.88132 | 0.85 | 78871.6636 | 1.0245 | -5603.6319 | 0.00029866 | 0.17068 | 24.888 | 60.5549 | 1895.8116 | 2487451.0918 | 33.0815 | 33.1809 | 0.011578 | [41976.501138469146, 17850.300242483056, 19044.86218199887] | [1.0461148784307566, 1.0207262856099717, 1.0067298083898102] | [-3028.540771336642, -1343.465024839054, -1231.6261134048] | [0.0003482102800700905, 0.00033006391944398646, 0.00021769170411780828] | [0.14388820597169646, 0.18512954932376674, 0.1830073810770853] | [45.38033019429743, 14.553716776981238, 14.72996150759297] | [91.98495895149301, 47.67078312178934, 42.00892428645504] | [5269.135348478221, 205.24749627460557, 213.0519202405016] | [0.1500004655330708, 0.07525892167874264, 0.048870967664348446] | [0.046464121503988966, 0.043742085075363236, 0.040737982641296605] | [355.0, 283.0, 214.0] | [0.6902716835665292, 0.418880704959781, 0.16649667590489492] | [0.0003506409485664122, 0.0003000070709147811, 0.0006161458597711166] | [2.0, 1.0, 2.0] | [0.8656439003269272, 0.7344476894803106, 0.6000052556483195] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015142703856683211, 0.013434650248390538, 0.006158130567024] | 0.020513 | 0.047146 | 0.17373 | 2 | 355 | 1 | 283 | 2 | 214
0.24394 | 0.88385 | 0.85 | 78207.2511 | 1.0262 | -5990.1274 | 0.00029851 | 0.17275 | 24.0839 | 57.75 | 1739.4874 | 2494248.6865 | 33.0839 | 33.1509 | 0.012749 | [41000.97315428378, 23771.140164319128, 13435.137792222027] | [1.046454352788458, 1.028602974340619, 1.0036007394920419] | [-3237.1098181282623, -1093.5562272850814, -1659.4613081167315] | [0.0003496854143011827, 0.00020694989158799473, 0.0003388976311832705] | [0.14478219119550687, 0.17975748118440055, 0.19372184280419677] | [43.992781544955335, 16.708810200396442, 11.549985071092262] | [88.6881992904297, 43.66241646250059, 40.899378360501245] | [4808.063258001186, 300.3408589146196, 110.0580043475373] | [0.15000014869440956, 0.06312350829359699, 0.05862871688741584] | [0.04776666123399652, 0.03323582648181508, 0.052477975160726414] | [355.0, 282.0, 213.0] | [0.681586218410523, 0.47359927993149004, 0.10496313222455689] | [0.0003698617472809191, 0.000675990282934481, 0.0003000010876620475] | [2.0, 2.0, 1.0] | [0.8401860709561572, 0.6000015207736595, 0.6780222729540875] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.016185549090641314, 0.005467781136425406, 0.016594613081167317] | 0.020341 | 0.04728 | 0.17392 | 2 | 355 | 2 | 282 | 1 | 213
0.24394 | 0.88382 | 0.85 | 78214.2514 | 1.0263 | -5952.8361 | 0.00029785 | 0.17272 | 24.087 | 57.7796 | 1736.5903 | 2494189.9563 | 33.0839 | 33.1513 | 0.012618 | [40971.97091236548, 23744.066909082172, 13498.213572591967] | [1.0464597476348263, 1.028700911961448, 1.0036299435351403] | [-3243.401823541965, -1091.6343709257937, -1617.7999406763452] | [0.00034972697824737305, 0.0002067902978966579, 0.00033702355299229496] | [0.14480072255951493, 0.1796597815977479, 0.19371100583714077] | [43.960780718987714, 16.746964486070205, 11.553378353037715] | [88.60247974514768, 43.71155623271397, 41.024836079526594] | [4797.3650202762055, 302.27120450696924, 110.13453876610295] | [0.1500001481762686, 0.06314095453925694, 0.05816993934492762] | [0.047816667566878766, 0.03323545002566107, 0.05202784088815909] | [355.0, 282.0, 214.0] | [0.6812527964574729, 0.4737505560642835, 0.10564226536455411] | [0.0003704471876281093, 0.0006772823593879124, 0.0003000010867596133] | [2.0, 2.0, 1.0] | [0.8394520670072431, 0.6000015220440696, 0.6806926438833157] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.016217009117709822, 0.005458171854628969, 0.01617799940676345] | 0.020342 | 0.047279 | 0.17392 | 2 | 355 | 2 | 282 | 1 | 214
0.24416 | 0.88203 | 0.85 | 79245.5913 | 1.0314 | -6463.3452 | 0.00026141 | 0.16689 | 25.7782 | 57.0912 | 1638.4095 | 2489286.6201 | 33.0792 | 33.1707 | 0.010772 | [37671.96663048905, 21203.38333546174, 20370.241304731957] | [1.0477473212463868, 1.0397946643265636, 1.0066798403857196] | [-3861.7801630194463, -967.594390524888, -1633.970628562192] | [0.00034899154873960274, 0.00019483307094798042, 0.0002404203280172633] | [0.1456638752291877, 0.1693596453783593, 0.1856354114471666] | [42.00005555394771, 21.4171644992501, 13.91747210089369] | [81.12143561238268, 49.37258951377423, 40.77952472095835] | [4131.949984213461, 601.8455985731758, 181.43295655129901] | [0.1500001142839196, 0.06625846107020056, 0.05348242850593192] | [0.05380201885968201, 0.03422068410846626, 0.043328330189085905] | [355.0, 282.0, 213.0] | [0.6413455486230941, 0.48362667481968263, 0.18994669859355012] | [0.0004429477631846103, 0.0008132210748965075, 0.0005416198762080265] | [2.0, 2.0, 2.0] | [0.7635515323548233, 0.6000018596049596, 0.6000026758271667] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01930890081509723, 0.00483797195262444, 0.008169853142810959] | 0.020611 | 0.047182 | 0.17397 | 2 | 355 | 2 | 282 | 2 | 213
0.24416 | 0.88202 | 0.85 | 79259.3584 | 1.0314 | -6437.5534 | 0.00026094 | 0.1669 | 25.778 | 57.0787 | 1638.3978 | 2489238.2853 | 33.0792 | 33.1711 | 0.010729 | [37654.111353633154, 21191.381467806692, 20413.86554718852] | [1.0477564904741203, 1.0398553525014047, 1.0067260757493188] | [-3864.658970478886, -967.2728116662565, -1605.6216161122454] | [0.0003489648925804523, 0.0001947918523531864, 0.00023906196116763563] | [0.1456625053503996, 0.1693049596856417, 0.185722837674826] | [41.997086987925464, 21.44572896554469, 13.891046114786596] | [81.09126996009334, 49.40536472150429, 40.73955179403814] | [4130.639497536967, 604.0861469713309, 180.46764936914454] | [0.1500001141777312, 0.06628063422594323, 0.05315273687372679] | [0.05383715090163699, 0.0342318030404905, 0.043033551602944184] | [355.0, 282.0, 214.0] | [0.6411113094937856, 0.48363157500757553, 0.19046768478402976] | [0.0004433746060165104, 0.0008139405855914679, 0.000544164681554656] | [2.0, 2.0, 2.0] | [0.763178172759863, 0.6000018626816292, 0.600002575232298] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01932329485239443, 0.004836364058331283, 0.008028108080561227] | 0.020614 | 0.047181 | 0.17397 | 2 | 355 | 2 | 282 | 2 | 214
0.24394 | 0.88385 | 0.85 | 78212.7127 | 1.0263 | -5982.8866 | 0.00029824 | 0.17278 | 24.0678 | 57.7139 | 1735.5663 | 2494261.3382 | 33.0839 | 33.1509 | 0.012737 | [40971.699287249336, 23805.90935983401, 13435.104048551837] | [1.0464616135302731, 1.028735949961598, 1.0036015911514073] | [-3243.3905905606084, -1080.2992123028255, -1659.1967662111895] | [0.0003497238140872306, 0.0002061233162252483, 0.0003388870836189369] | [0.14480203761740779, 0.1798036955774311, 0.19371945493981696] | [43.95950828963162, 16.693289783814834, 11.550597114314158] | [88.60033062915632, 43.63981506777173, 40.90150398618421] | [4797.031785247328, 299.5933217478586, 110.07377045390963] | [0.15000040843973528, 0.06287462324167085, 0.05862766077193576] | [0.04781437585535042, 0.0330724984802741, 0.052475929305882074] | [355.0, 283.0, 213.0] | [0.6812686297705409, 0.4741127717146993, 0.10498191259002387] | [0.0003704526745805028, 0.0006783477631419699, 0.00030000298945184235] | [2.0, 2.0, 1.0] | [0.8394437421022396, 0.6000041158127357, 0.6780461105770144] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01621695295280304, 0.0054014960615141275, 0.016591967662111892] | 0.020342 | 0.047281 | 0.17392 | 2 | 355 | 2 | 283 | 1 | 213
0.24394 | 0.88383 | 0.85 | 78219.6647 | 1.0263 | -5945.6975 | 0.00029758 | 0.17275 | 24.071 | 57.7434 | 1732.6959 | 2494202.8658 | 33.0838 | 33.1512 | 0.012605 | [40942.61923765836, 23778.865776748815, 13498.179699366294] | [1.0464671528823746, 1.0288341930481357, 1.0036307892707712] | [-3249.6836462053966, -1078.4232945116219, -1617.590575103724] | [0.00034976445949097887, 0.00020596580451068868, 0.0003370149509652151] | [0.1448203892079742, 0.1797060223611482, 0.1937089715201316] | [43.92774768903527, 16.731393782566816, 11.553903097334329] | [88.5148183006439, 43.68890537005136, 41.02660465524109] | [4786.421336068294, 301.51826218554976, 110.14800857652286] | [0.15000040702568826, 0.0628924587216265, 0.058169304777245745] | [0.047864558780739946, 0.033072288740513274, 0.05202616379286998] | [355.0, 283.0, 214.0] | [0.6809340291350275, 0.47426510821962375, 0.10566134839738978] | [0.00037104052609731, 0.0006796392158364786, 0.0003000029869301446] | [2.0, 2.0, 1.0] | [0.8387090737751962, 0.6000041193667696, 0.6807119823262417] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.016248418231026983, 0.00539211647255811, 0.016175905751037237] | 0.020344 | 0.04728 | 0.17392 | 2 | 355 | 2 | 283 | 1 | 214
0.24416 | 0.88205 | 0.85 | 79246.957 | 1.0315 | -6469.1124 | 0.00026129 | 0.16691 | 25.7689 | 57.051 | 1636.7358 | 2489317.5132 | 33.0792 | 33.1705 | 0.010782 | [37618.555741389835, 21236.96585485112, 20391.435378902606] | [1.0477797563727544, 1.0399939625209331, 1.006680229653322] | [-3870.1020285599157, -958.2071505846072, -1640.80319246273] | [0.000348901751141992, 0.0001942016313440183, 0.0002407734979388424] | [0.1456618190039288, 0.16937748924706014, 0.18567572517486375] | [41.98962573665692, 21.411575518852548, 13.905539439303407] | [81.02930937757546, 49.362470469077174, 40.761094358051515] | [4127.712352149234, 601.5033131109826, 180.99161434769664] | [0.15000011398191132, 0.06607217821857875, 0.05355577583184404] | [0.05390019275283611, 0.03407907768227614, 0.04336641642510105] | [355.0, 283.0, 213.0] | [0.6406909847785502, 0.4843136662741132, 0.1903452242126] | [0.00044422579450199726, 0.000815710043171019, 0.0005405817412191884] | [2.0, 2.0, 2.0] | [0.7624357797897143, 0.6000018301418693, 0.6000026942484439] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.019350510142799576, 0.004791035752923036, 0.008204015962313651] | 0.020611 | 0.047183 | 0.17397 | 2 | 355 | 2 | 283 | 2 | 213
0.24417 | 0.88203 | 0.85 | 79260.7097 | 1.0315 | -6443.3095 | 0.00026082 | 0.16692 | 25.7687 | 57.0385 | 1636.7412 | 2489269.223 | 33.0791 | 33.171 | 0.010739 | [37600.43729295001, 21224.895722137622, 20435.37672226906] | [1.0477891607099743, 1.0400553683902172, 1.006726492254621] | [-3873.0060172084072, -957.9009827808802, -1612.4024804912603] | [0.0003488740193619878, 0.00019416120057217634, 0.00023941666870366712] | [0.1456602786566022, 0.16932231159435424, 0.18576367507192032] | [41.98680637391311, 21.440389563212097, 13.878989574406054] | [80.99895827139592, 49.39553061348091, 40.72090950321591] | [4126.437551063541, 603.7628775395078, 180.02323342346222] | [0.1500001138757524, 0.06609485824947157, 0.05322640735536896] | [0.053935871137305684, 0.034090394449788015, 0.043071683863350294] | [355.0, 283.0, 214.0] | [0.6404531030640371, 0.48431931106981907, 0.1908720106241141] | [0.0004446601627688545, 0.0008164339191963505, 0.0005431106011098894] | [2.0, 2.0, 2.0] | [0.7620580260639265, 0.6000018332034864, 0.6000025921781921] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.019365030086042036, 0.004789504913904401, 0.008062012402456301] | 0.020615 | 0.047182 | 0.17398 | 2 | 355 | 2 | 283 | 2 | 214