## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.25516 | 0.98811 | 0.85 | 58786.6941 | 1.0981 | -25428.144 | 0.00014093 | 1.0595 | 32.1442 | 27.7986 | 12422.0774 | 2774544.1293 | 33.1541 | 33.7262 | 0.08476 | [22328.851735226934, 20815.031190738453, 15642.81114539475] | [1.1639403956424326, 1.0933188618086505, 1.0370727746010246] | [-6047.874903695345, -11225.342164732638, -8154.9269016304] | [0.0001289283636487436, 0.00015590765104633533, 0.000137965988896396] | [0.4037444720077847, 1.1221155677834365, 1.652490890580354] | [61.39060167130265, 21.50912578440355, 13.532780968113448] | [36.66544672864306, 25.063423610011935, 21.667049130894558] | [32197.086814071536, 3657.5812087385702, 1411.5641245041154] | [0.15431462835497647, 0.10779171483867762, 0.0628205246256929] | [0.08349286194260232, 0.04663659241948568, 0.040274876107149984] | [354.0, 330.0, 248.0] | [0.4589561109189378, 0.567407697287837, 0.35902588242000416] | [0.0003000000303359157, 0.00030000003353215446, 0.00030000004194048545] | [1.0, 1.0, 1.0] | [0.9244341213330773, 0.7681203184902595, 0.7587815398364279] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.06047874903695345, 0.11225342164732637, 0.08154926901630401] | 0.01529 | 0.052819 | 0.18466 | 1 | 354 | 1 | 330 | 1 | 248
0.25511 | 0.98773 | 0.85 | 58849.7699 | 1.0982 | -25224.0484 | 0.00014056 | 1.0586 | 32.1761 | 27.8085 | 12446.9955 | 2773536.1666 | 33.1538 | 33.7277 | 0.08408 | [22328.85173173791, 20815.0311871799, 15705.886997933992] | [1.1639873148821935, 1.0934028829337632, 1.0372700988817984] | [-6035.169057663467, -11191.883641336046, -7996.995681083797] | [0.0001288377399412634, 0.00015575944527265485, 0.00013707030969387513] | [0.4033947017666691, 1.120230917320302, 1.6520805694894805] | [61.446405759613995, 21.54370253028211, 13.538288008036584] | [36.677815206397895, 25.078382185352577, 21.669287508641837] | [32258.812009904224, 3669.570398277944, 1412.6040375498412] | [0.15427278261470445, 0.10776687202796348, 0.06246835312034228] | [0.08350102086150592, 0.046655216693210814, 0.04000911835103903] | [354.0, 330.0, 249.0] | [0.4587564560723024, 0.5671350272490422, 0.35966594625524895] | [0.0003000000304542331, 0.00030000003366160603, 0.00030000004188521033] | [1.0, 1.0, 1.0] | [0.9246848693620783, 0.7685808834493975, 0.7607541289140488] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.06035169057663467, 0.11191883641336046, 0.07996995681083797] | 0.015306 | 0.052799 | 0.18462 | 1 | 354 | 1 | 330 | 1 | 249
0.2483 | 0.91424 | 0.85 | 74429.4921 | 1.1017 | -25901.018 | 0.00012643 | 0.90104 | 38.1205 | 29.6946 | 16652.2111 | 2574428.7525 | 33.0924 | 33.3352 | 0.060319 | [22328.847651687945, 20815.027824994933, 31285.616627960506] | [1.160324933753536, 1.1154846140038426, 1.029399889959735] | [-4932.183531505168, -5358.053092659449, -15610.78135442924] | [0.0001204539849686151, 0.00012282813266298694, 0.00013601437485036646] | [0.36321416661216965, 0.7673081774763926, 1.5726077246228187] | [68.40732681275374, 31.21151821870051, 14.742531306673765] | [38.193579860285354, 28.758116805019473, 22.132034333230944] | [40472.660184149194, 7840.2901560719565, 1643.6830231226315] | [0.15016185206060015, 0.10151429504472849, 0.0752998489337246] | [0.08706757142257873, 0.04981731031194379, 0.039715458596405954] | [354.0, 330.0, 248.0] | [0.4201855522314186, 0.5093014608400808, 0.47271659781441194] | [0.0003000001688139911, 0.00030000015596970907, 0.00030000017899689714] | [1.0, 1.0, 2.0] | [0.9499993916920588, 0.8740612930646813, 0.7694675299998569] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04932183531505168, 0.05358053092659449, 0.0780539067721462] | 0.019358 | 0.048865 | 0.17768 | 1 | 354 | 1 | 330 | 2 | 248
0.24828 | 0.91382 | 0.85 | 74555.6434 | 1.1017 | -25831.4497 | 0.00012632 | 0.90261 | 38.1282 | 29.6924 | 16664.3164 | 2573318.6286 | 33.0918 | 33.3334 | 0.060162 | [22328.847534464305, 20815.027747215412, 31411.768109033306] | [1.1602278053470552, 1.1156366516837593, 1.0293734715578] | [-4933.029918640748, -5332.752570177782, -15565.667220220352] | [0.00012046140434881223, 0.00012263917080150048, 0.00013587236693149847] | [0.3631517447649689, 0.7655150561830002, 1.5791586840404823] | [68.416980938286, 31.28475651127649, 14.682799916801184] | [38.19588623288313, 28.782912523701604, 22.098420030908883] | [40484.773260779315, 7878.222145999275, 1629.9539277864058] | [0.15016185000431506, 0.10147753626292107, 0.07509025205173177] | [0.08709907462189852, 0.049833785348386755, 0.0395631647734949] | [354.0, 330.0, 249.0] | [0.4199757404266231, 0.5089612563471356, 0.47327255654422706] | [0.0003000001727891968, 0.00030000015879913923, 0.0003000001837909907] | [1.0, 1.0, 2.0] | [0.9499993971003937, 0.8746942877652, 0.7693273575770266] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.049330299186407474, 0.053327525701777824, 0.07782833610110176] | 0.019391 | 0.048843 | 0.17765 | 1 | 354 | 1 | 330 | 2 | 249
0.2551 | 0.98766 | 0.85 | 58849.7652 | 1.0981 | -25403.8458 | 0.00014088 | 1.0612 | 32.1345 | 27.7892 | 12437.0445 | 2773317.3382 | 33.1539 | 33.7237 | 0.084679 | [22328.85015160013, 20878.10541301355, 15642.809611966508] | [1.1640042497999121, 1.0932107360962686, 1.036944175459611] | [-6031.706953290919, -11222.010980601344, -8150.1278490599325] | [0.0001288129897622246, 0.00015587743772008206, 0.00013793689632290556] | [0.4033041869121071, 1.127063040454714, 1.6533366767984965] | [61.461004823397886, 21.419314238275014, 13.523174275618544] | [36.681034271629194, 25.02402878972624, 21.662639216189326] | [32274.97680033169, 3626.538522927765, 1409.6180683822772] | [0.15426152618642627, 0.10757187502034575, 0.0627386425526618] | [0.0835017079428144, 0.04645991019170533, 0.04027486434733656] | [354.0, 331.0, 248.0] | [0.4587125046269395, 0.5681660915404175, 0.35818918607673267] | [0.0003000000840387376, 0.0003000000926418419, 0.00030000011616704454] | [1.0, 1.0, 1.0] | [0.9247522436724718, 0.767710135722802, 0.7587816419098314] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.06031706953290919, 0.11222010980601343, 0.08150127849059931] | 0.015306 | 0.052794 | 0.1846 | 1 | 354 | 1 | 331 | 1 | 248
0.25505 | 0.98728 | 0.85 | 58912.8458 | 1.0982 | -25199.9768 | 0.0001405 | 1.0604 | 32.1664 | 27.7991 | 12462.0336 | 2772312.1842 | 33.1536 | 33.7253 | 0.084 | [22328.851727232814, 20878.10703713448, 15705.886993731792] | [1.164051885991202, 1.0932943945210085, 1.0371407971795814] | [-6018.979657876918, -11188.694457156562, -7992.302666237852] | [0.00012872204072103663, 0.0001557298736616101, 0.00013704148059582954] | [0.4029538040925287, 1.1251757292688898, 1.6529281832994425] | [61.51706232735538, 21.45362738694613, 13.528652327232077] | [36.69344747538741, 25.03891412818542, 21.664865467884407] | [32337.066086666542, 3638.3834318878276, 1410.651134510806] | [0.15421957560779154, 0.10754716229461303, 0.0623868238492596] | [0.08350971272351251, 0.04647844702772715, 0.04000912594590602] | [354.0, 331.0, 249.0] | [0.45851334633448265, 0.5678943753717426, 0.3588286845002031] | [0.0003000000306070067, 0.00030000003373877564, 0.00030000004208780354] | [1.0, 1.0, 1.0] | [0.9250038928724119, 0.7681691468743563, 0.7607539780481019] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.06018979657876918, 0.11188694457156562, 0.07992302666237851] | 0.015322 | 0.052775 | 0.18456 | 1 | 354 | 1 | 331 | 1 | 249
0.24828 | 0.914 | 0.85 | 74492.5381 | 1.1016 | -25870.5934 | 0.0001264 | 0.90245 | 38.0676 | 29.6763 | 16627.0363 | 2573802.4937 | 33.0921 | 33.3342 | 0.060274 | [22328.83873590143, 20878.096023185793, 31285.603320061142] | [1.1602697171006084, 1.115345242610415, 1.0293167110934591] | [-4932.69835320818, -5360.809072990047, -15577.085983482417] | [0.00012045848012204813, 0.0001228396822768812, 0.00013591612711399745] | [0.363179926071828, 0.7712070446212278, 1.57294934940083] | [68.41256280439596, 31.055762440835743, 14.734588006741983] | [38.19483895505513, 28.704610780824737, 22.12951615969559] | [40479.22912201344, 7759.9320828861, 1641.9476031854679] | [0.15016192849875087, 0.10128813088369815, 0.0751557909980607] | [0.08708540525155999, 0.04961255004912593, 0.03970628699611366] | [354.0, 331.0, 248.0] | [0.42006707837068713, 0.5102273965229799, 0.4718276139537704] | [0.00030000047115999, 0.0003000004331891043, 0.00030000050108574037] | [1.0, 1.0, 2.0] | [0.9499983300088581, 0.8735443588476849, 0.769644760363343] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0493269835320818, 0.05360809072990047, 0.07788542991741208] | 0.019374 | 0.048852 | 0.17766 | 1 | 354 | 1 | 331 | 2 | 248
0.24773 | 0.89897 | 0.85 | 79069.3301 | 1.0826 | -22816.2291 | 0.00012435 | 1.1261 | 34.3689 | 28.0464 | 15361.4937 | 2533415.1919 | 33.0734 | 33.2628 | 0.058457 | [22328.381840791022, 41098.14593733853, 15642.802330043392] | [1.1567536347521241, 1.0795952546478582, 1.0115393933720405] | [-4962.873530642023, -10558.400803995803, -7294.954791842762] | [0.00012072246281482791, 0.00011985487415400753, 0.00013246213315826596] | [0.3609181344558682, 1.1845527997362364, 1.8327170454424688] | [68.76605789122031, 22.57235538154897, 11.768432952171558] | [38.278999142440696, 25.03578664837769, 20.824399714737172] | [40924.72808304909, 4070.977692467961, 1088.775369914034] | [0.1501570518048474, 0.1058054877905105, 0.04711144072402489] | [0.08823155484401664, 0.03160878019322882, 0.04027761160891498] | [354.0, 330.0, 248.0] | [0.4124149173656409, 0.7013490992410006, 0.14512739140534275] | [0.00030001596539487634, 0.0003098001629577488, 0.0003000004686533134] | [1.0, 2.0, 1.0] | [0.9499995583990619, 0.8336176147708171, 0.7587271400407013] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04962873530642023, 0.05279200401997901, 0.07294954791842762] | 0.020565 | 0.048054 | 0.17671 | 1 | 354 | 2 | 330 | 1 | 248
0.24773 | 0.89891 | 0.85 | 79087.8586 | 1.0827 | -22658.6361 | 0.00012404 | 1.1257 | 34.3739 | 28.0486 | 15364.3557 | 2533260.5871 | 33.0733 | 33.2639 | 0.057956 | [22327.55033633724, 41054.44690997199, 15705.861340932865] | [1.156752785612684, 1.0797086949452595, 1.011632533267726] | [-4961.897041585456, -10543.655887034882, -7153.083196417454] | [0.00012071459318566919, 0.00011980389833651454, 0.00013159908101438366] | [0.3608941480875705, 1.1839166153371754, 1.8322769426372947] | [68.77048065876741, 22.57890151388287, 11.772211544580566] | [38.27996120479863, 25.03960619532922, 20.82623771168477] | [40930.32379015271, 4073.3646168370747, 1089.3787165183473] | [0.15014865359424473, 0.10571972988700906, 0.04683777007130643] | [0.08823325422355008, 0.03160600640458367, 0.040011685055943824] | [354.0, 330.0, 249.0] | [0.41237073181092054, 0.7011328950231441, 0.14580989246008208] | [0.00030004416501544447, 0.00031061657052462526, 0.000300001278842669] | [1.0, 2.0, 1.0] | [0.9499987815396153, 0.8330493556317788, 0.760701218048002] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04961897041585455, 0.0527182794351744, 0.07153083196417455] | 0.02057 | 0.048051 | 0.17671 | 1 | 354 | 2 | 330 | 1 | 249
0.24772 | 0.89539 | 0.85 | 80387.5791 | 1.0902 | -25255.46 | 0.00011881 | 1.0612 | 35.2294 | 28.4517 | 15684.8948 | 2523463.3144 | 33.0679 | 33.2572 | 0.050342 | [22313.166363599525, 34419.37450829766, 23655.03822432089] | [1.1561245875459085, 1.0982072566676733, 1.016331325169768] | [-4949.846745298488, -8461.353534906313, -11844.259708259266] | [0.00012062076852628377, 0.00011206611432587389, 0.00012372994624707304] | [0.3600734912087582, 1.054146343659977, 1.7694391027281267] | [68.91213771917917, 24.39489677218736, 12.381194928685048] | [38.31194000046436, 25.94020696285761, 21.10280573749244] | [41109.8571408309, 4758.136303965373, 1186.6909828814748] | [0.15000142752901344, 0.09519268651138454, 0.0497219237478118] | [0.08846388873196898, 0.03245389213103619, 0.037113256691196174] | [354.0, 330.0, 248.0] | [0.4102563292594711, 0.6591484616385638, 0.2536929624973765] | [0.0003005323153410363, 0.00045862967678859685, 0.0005442557696365707] | [1.0, 2.0, 2.0] | [0.9499986324646635, 0.7500715136711239, 0.6002884241199994] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04949846745298488, 0.04230676767453156, 0.059221298541296326] | 0.020908 | 0.047858 | 0.17656 | 1 | 354 | 2 | 330 | 2 | 248
0.24772 | 0.89535 | 0.85 | 80403.9767 | 1.0902 | -25005.6543 | 0.00011851 | 1.0614 | 35.2265 | 28.4503 | 15684.1806 | 2523366.3681 | 33.0679 | 33.2586 | 0.049926 | [22313.166763176247, 34441.867689812505, 23648.942249685835] | [1.1561161448458996, 1.098140059926117, 1.0164286696470293] | [-4949.92111177048, -8467.662895340512, -11588.070342550413] | [0.00012062141618523605, 0.00011209169943916237, 0.00012283098780753874] | [0.36006817246339595, 1.054588653139613, 1.7696422078104637] | [68.91298076141138, 24.387566378241893, 12.379067323906122] | [38.31213997265843, 25.936798602438323, 21.10186266923612] | [41110.9277776275, 4755.266523008268, 1186.34742025764] | [0.15000143153016596, 0.09522183040443938, 0.049339901149968654] | [0.0884666461987729, 0.03244894858600681, 0.03684384881109676] | [354.0, 330.0, 249.0] | [0.4102379612998878, 0.6593047704253601, 0.25337385343434843] | [0.0003005323017718195, 0.00045803156975961126, 0.0005485530833403738] | [1.0, 2.0, 2.0] | [0.9499986330050679, 0.7503541278549546, 0.6000954802279805] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.049499211117704806, 0.042338314476702554, 0.057940351712752074] | 0.020912 | 0.047856 | 0.17656 | 1 | 354 | 2 | 330 | 2 | 249
0.24773 | 0.89897 | 0.85 | 79069.0972 | 1.0826 | -22816.5561 | 0.00012434 | 1.1285 | 34.3203 | 28.0269 | 15343.5392 | 2533418.9841 | 33.0734 | 33.2628 | 0.058457 | [22328.382592836915, 41097.91223197472, 15642.80233153458] | [1.1567539529539637, 1.0796008702699262, 1.0115397195615015] | [-4962.871652798255, -10558.719856910126, -7294.9645752659] | [0.00012072244588073461, 0.0001198470941332952, 0.00013246219958087257] | [0.360918358799706, 1.1919906057269831, 1.832714604623178] | [68.76602192455643, 22.426320515803152, 11.768453463718545] | [38.27899068249469, 24.97736399812291, 20.824409888688074] | [40924.6825586683, 4017.1562551498705, 1088.7787046296178] | [0.15015705951240743, 0.10535968255825355, 0.047111634355040864] | [0.08823144942993132, 0.03147576704631715, 0.04027761159545788] | [354.0, 331.0, 248.0] | [0.4124156495826774, 0.7013474985534173, 0.14513090704581685] | [0.0003000159398909618, 0.00031212878067808343, 0.0003000004685811314] | [1.0, 2.0, 1.0] | [0.9499995583965682, 0.8309030970504901, 0.7587271404211836] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04962871652798254, 0.05279359928455063, 0.07294964575265898] | 0.020565 | 0.048054 | 0.17671 | 1 | 354 | 2 | 331 | 1 | 248
0.24773 | 0.89891 | 0.85 | 79087.4854 | 1.0827 | -22660.2081 | 0.00012404 | 1.1282 | 34.324 | 28.0288 | 15345.078 | 2533265.2391 | 33.0733 | 33.2639 | 0.057961 | [22328.342479347757, 41053.26471389388, 15705.878244265503] | [1.1567412028830666, 1.0797131621236187, 1.0116327816037198] | [-4962.93469333531, -10544.061103851922, -7153.21228532879] | [0.00012072302596544105, 0.00011979647356347098, 0.0001315998706301722] | [0.3609090752560219, 1.1913723171194923, 1.8322809307178656] | [68.76751779238172, 22.43222975624777, 11.772189800806109] | [38.27934151678578, 24.980970583607792, 20.826220985323445] | [40926.57593318477, 4019.2840348850964, 1089.3741373280805] | [0.1501566484015424, 0.10527185848134306, 0.046838113136932646] | [0.08823569115263487, 0.031473045841845605, 0.0400118144845818] | [354.0, 331.0, 249.0] | [0.41238579093435385, 0.7011240119318001, 0.14581338766195365] | [0.0003000173002504881, 0.00031296546494387367, 0.0003000004639105211] | [1.0, 2.0, 1.0] | [0.9499995585122847, 0.8303172644645755, 0.7607000050914273] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0496293469333531, 0.052720305519259617, 0.0715321228532879] | 0.020569 | 0.048051 | 0.17671 | 1 | 354 | 2 | 331 | 1 | 249
0.24772 | 0.89539 | 0.85 | 80387.4152 | 1.0902 | -25255.5175 | 0.0001188 | 1.0628 | 35.1923 | 28.4374 | 15670.0787 | 2523465.6371 | 33.0679 | 33.2572 | 0.050342 | [22313.166381270825, 34418.93890917862, 23655.3098689831] | [1.156124789415239, 1.0982125101131, 1.0163318536050168] | [-4949.84499903724, -8461.454204478172, -11844.2183418736] | [0.0001206207532978647, 0.00011206116127435907, 0.00012372981394140166] | [0.36007361913761393, 1.058780010456171, 1.769434399310914] | [68.912117421738, 24.283641546829678, 12.381244769331513] | [38.31193518866691, 25.897570353249154, 21.102827500151175] | [41109.83136417459, 4713.705419890138, 1186.699233202182] | [0.1500014277066802, 0.09490980773614287, 0.04972234092913586] | [0.08846382275560037, 0.032357825534408434, 0.037113165900553836] | [354.0, 331.0, 248.0] | [0.4102567698143546, 0.659144511246476, 0.25370105347359234] | [0.00030053231474093704, 0.0004614165439111845, 0.0005442442694653259] | [1.0, 2.0, 2.0] | [0.9499986324840308, 0.7477722174082299, 0.600295683525522] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0494984499903724, 0.042307271022390854, 0.05922109170936799] | 0.020908 | 0.047858 | 0.17656 | 1 | 354 | 2 | 331 | 2 | 248
0.24772 | 0.89535 | 0.85 | 80403.206 | 1.0902 | -25007.6874 | 0.00011852 | 1.063 | 35.1892 | 28.4359 | 15669.4312 | 2523372.9484 | 33.0679 | 33.2586 | 0.049929 | [22313.091328733415, 34442.984820038226, 23647.129824563413] | [1.1561183401992097, 1.0981403773082279, 1.0164274658388344] | [-4949.773296497859, -8468.342866441011, -11589.571188064763] | [0.00012062020531240687, 0.00011208909136668085, 0.0001228362292343068] | [0.36006612939103666, 1.0592731289869484, 1.7696798922365953] | [68.91342101867357, 24.275461172493372, 12.378756054939739] | [38.31222833765708, 25.893778350932006, 21.101694237511634] | [41111.4857653741, 4710.5169016350965, 1186.2909847326746] | [0.15000052246362236, 0.09494077441643067, 0.049340306956157] | [0.08846613076141571, 0.03235228042477926, 0.03684515918982059] | [354.0, 331.0, 249.0] | [0.4102378232637741, 0.6593141699500815, 0.253353431094394] | [0.00030053486345693804, 0.00046077522401268207, 0.0005486301688965812] | [1.0, 2.0, 2.0] | [0.9499995044717954, 0.748070176274408, 0.600035810486125] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04949773296497859, 0.04234171433220505, 0.05794785594032382] | 0.020912 | 0.047856 | 0.17656 | 1 | 354 | 2 | 331 | 2 | 249
0.2551 | 0.98765 | 0.85 | 58849.7652 | 1.098 | -25407.5309 | 0.0001409 | 1.061 | 32.0288 | 27.77 | 12307.3358 | 2773290.4015 | 33.1539 | 33.7237 | 0.084692 | [22391.926006294052, 20815.029558543927, 15642.809611479986] | [1.163783326032689, 1.0931740736248992, 1.0369408336945691] | [-6048.873210619223, -11208.65432769197, -8150.003391789126] | [0.000128937502431499, 0.000155823594459149, 0.00013793614046990273] | [0.4056088954774605, 1.1239719059593303, 1.6533587055867873] | [61.092554232795884, 21.471018298462642, 13.52292440316062] | [36.59950942598811, 25.04803391768957, 21.662524548167347] | [31868.238093220785, 3644.201740493797, 1409.5674696366173] | [0.15395522326617425, 0.10761222585816027, 0.06273651552346753] | [0.08315670301913856, 0.04657591758400816, 0.04027486422613642] | [355.0, 330.0, 248.0] | [0.4598765572429044, 0.5672500582001344, 0.3581674194533875] | [0.00030000008380851837, 0.0003000000929074126, 0.00030000011619059493] | [1.0, 1.0, 1.0] | [0.9239819742005014, 0.7680925480733581, 0.7587816442493247] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.060488732106192225, 0.11208654327691968, 0.08150003391789128] | 0.015306 | 0.052794 | 0.1846 | 1 | 355 | 1 | 330 | 1 | 248
0.25505 | 0.98727 | 0.85 | 58912.8458 | 1.0981 | -25203.6389 | 0.00014052 | 1.0601 | 32.0607 | 27.7799 | 12332.0859 | 2772285.3746 | 33.1536 | 33.7252 | 0.084012 | [22391.92758204919, 20815.031182400042, 15705.886993555296] | [1.1638309884716955, 1.0932578427457949, 1.037137446905163] | [-6036.0996954931325, -11175.35849601669, -7992.180733111262] | [0.0001288464227156338, 0.00015567598588038262, 0.00013704073047464085] | [0.40525609246086125, 1.1220878312687068, 1.6529501760129997] | [61.1482829105351, 21.505469753197776, 13.52840257436463] | [36.61189869173545, 25.06295415619439, 21.664750910652693] | [31929.53222721432, 3656.1249951734853, 1410.6005367779921] | [0.15391323922563038, 0.10758766131724135, 0.062384710754981094] | [0.08316474037788311, 0.046594498261303, 0.040009125829893945] | [355.0, 330.0, 249.0] | [0.45967699068428275, 0.5669784222913816, 0.35880696014073216] | [0.0003000000305231586, 0.0003000000338354855, 0.0003000000420963125] | [1.0, 1.0, 1.0] | [0.9242341146456082, 0.7685518530848952, 0.7607539803329157] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.060360996954931315, 0.1117535849601669, 0.07992180733111263] | 0.015322 | 0.052774 | 0.18456 | 1 | 355 | 1 | 330 | 1 | 249
0.24828 | 0.91401 | 0.85 | 74492.5429 | 1.1014 | -25916.9842 | 0.00012654 | 0.90269 | 37.8906 | 29.6445 | 16384.2081 | 2573809.3255 | 33.0921 | 33.3341 | 0.060432 | [22391.91949037577, 20815.02016516921, 31285.60329366284] | [1.159572199535996, 1.1153223124625467, 1.0293109677936925] | [-4989.616727925918, -5352.6011851963, -15574.766265163173] | [0.00012093071064380332, 0.00012278110440996028, 0.00013590935514429893] | [0.366206487054835, 0.768890764275334, 1.57297307028167] | [67.79340845596212, 31.14433583626589, 14.734038921905134] | [38.06805380607291, 28.736136330895466, 22.129342025899707] | [39705.414550327165, 7805.382012347856, 1641.8276861108782] | [0.15000025684185453, 0.10135006926785624, 0.07514586035475937] | [0.0868227102732365, 0.04973369889077208, 0.0397056559161084] | [355.0, 330.0, 248.0] | [0.4211933548105058, 0.5093314007186387, 0.47176619087555044] | [0.00030000030414933704, 0.0003000004346156669, 0.0003000005017246543] | [1.0, 1.0, 2.0] | [0.9483436298168496, 0.8739554990158843, 0.7696569922368981] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.049896167279259176, 0.053526011851963005, 0.07787383132581586] | 0.019374 | 0.048852 | 0.17766 | 1 | 355 | 1 | 330 | 2 | 248
0.24827 | 0.9136 | 0.85 | 74618.7209 | 1.1014 | -25848.2493 | 0.00012643 | 0.90426 | 37.8983 | 29.6423 | 16396.2775 | 2572702.0302 | 33.0916 | 33.3324 | 0.060277 | [22391.925182873303, 20815.027698919585, 31411.767976948428] | [1.1594763976962583, 1.1154739822783613, 1.0292842238942312] | [-4990.415500776036, -5327.380431878661, -15530.453364296573] | [0.00012093769589955968, 0.00012259263569258235, 0.0001357694653159512] | [0.36614197044862956, 0.7670962736740853, 1.5795432699421768] | [67.80327941904565, 31.217317046285853, 14.674162297731987] | [38.070414918888055, 28.76087832023332, 22.09563793812081] | [39717.667017177, 7843.091991607367, 1628.073519459874] | [0.1500000923281625, 0.10131357292817349, 0.07493714224215588] | [0.08685407721762267, 0.049750145930206054, 0.0395536956615623] | [355.0, 330.0, 249.0] | [0.42098359822178716, 0.5089922038937263, 0.47232237287684964] | [0.00030000011165312113, 0.0003000001605560241, 0.00030000018697497866] | [1.0, 1.0, 2.0] | [0.9483450373393147, 0.8745876196495957, 0.7695115219307089] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04990415500776036, 0.05327380431878661, 0.07765226682148285] | 0.019407 | 0.048831 | 0.17764 | 1 | 355 | 1 | 330 | 2 | 249
0.25503 | 0.9872 | 0.85 | 58912.841 | 1.0979 | -25383.2894 | 0.00014084 | 1.0628 | 32.0192 | 27.7606 | 12322.1351 | 2772067.4261 | 33.1536 | 33.7212 | 0.084611 | [22391.92599385356, 20878.10539980627, 15642.809599855575] | [1.163847958941561, 1.0930658819270413, 1.0368125268314643] | [-6032.637087673778, -11205.409987158064, -8145.242310622608] | [0.00012882167651334927, 0.00015579376481112027, 0.00013790725099146046] | [0.4051651765328713, 1.1289289025240798, 1.654204000393752] | [61.16279852499289, 21.381338486057743, 13.513340769414999] | [36.61510935571844, 25.008652502115904, 21.658122336935634] | [31945.513986107624, 3613.2632665066717, 1407.6280736791184] | [0.15390199809019717, 0.10739292654207168, 0.0626548998894553] | [0.08316541966615275, 0.04639961240680872, 0.040274871848237144] | [355.0, 331.0, 248.0] | [0.45963310821874714, 0.5680080604583799, 0.3573309031135897] | [0.00030000008422920323, 0.0003000000931208391, 0.000300000116753282] | [1.0, 1.0, 1.0] | [0.9243015215965175, 0.7676815894224529, 0.7587814936590277] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.060326370876737784, 0.11205409987158063, 0.08145242310622608] | 0.015322 | 0.05277 | 0.18455 | 1 | 355 | 1 | 331 | 1 | 248
0.24827 | 0.91378 | 0.85 | 74555.6183 | 1.1013 | -25887.2755 | 0.00012651 | 0.9041 | 37.8379 | 29.6263 | 16359.1859 | 2573184.5049 | 33.0919 | 33.3332 | 0.060388 | [22391.91942941588, 20878.09589156903, 31285.60296551567] | [1.159517776517007, 1.1151827203531899, 1.0292274957719942] | [-4990.099912837079, -5355.388263885075, -15541.787336945734] | [0.00012093491865207691, 0.00012279288319694062, 0.0001358130158813694] | [0.36617087184555175, 0.7727989350268423, 1.5733279472944948] | [67.79881191363943, 30.98887943845005, 14.725986163417923] | [38.069352558860444, 28.682659406828016, 22.12675968501481] | [39712.120997112346, 7725.366767304886, 1640.0700088558265] | [0.15000025559666164, 0.10112440652130178, 0.07500268704664569] | [0.0868404663039578, 0.04952940084742729, 0.039696749147683945] | [355.0, 331.0, 248.0] | [0.4210749716267372, 0.5102567646374976, 0.4708762670722607] | [0.0003000003062107434, 0.00030000043796254104, 0.00030000050966674845] | [1.0, 1.0, 2.0] | [0.9483436337546849, 0.8734381119894116, 0.7698296610261698] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04990099912837078, 0.053553882638850754, 0.07770893668472867] | 0.019391 | 0.04884 | 0.17764 | 1 | 355 | 1 | 331 | 2 | 248
0.24826 | 0.91337 | 0.85 | 74681.7965 | 1.1013 | -25818.7352 | 0.00012641 | 0.90567 | 37.8454 | 29.624 | 16371.09 | 2572080.1065 | 33.0913 | 33.3315 | 0.060233 | [22391.925160390554, 20878.103505817413, 31411.767851230758] | [1.159422233111891, 1.1153340954361717, 1.029200836094001] | [-4990.8966526963995, -5330.192424466167, -15497.64611321791] | [0.00012094188533325863, 0.00012260471173318384, 0.00013567345377763943] | [0.3661065406103886, 0.7709983651107447, 1.5799013552285803] | [67.80865733299075, 31.061336216332535, 14.666116302917533] | [38.071707363167725, 28.707303251174885, 22.093048642710077] | [39724.34340325262, 7762.6017387589, 1626.3247102134274] | [0.15000009188789587, 0.10108792287016458, 0.0747943347032113] | [0.08687175263635884, 0.049545737200014005, 0.03954485353949694] | [355.0, 331.0, 249.0] | [0.4208657554537412, 0.5099183012459483, 0.47143275229941567] | [0.0003000001124133926, 0.0003000001618113951, 0.00030000019000548127] | [1.0, 1.0, 2.0] | [0.948345038671671, 0.8740695746885704, 0.7696835709083607] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04990896652696399, 0.05330192424466167, 0.07748823056608956] | 0.019424 | 0.048818 | 0.17762 | 1 | 355 | 1 | 331 | 2 | 249
0.24773 | 0.89898 | 0.85 | 79064.7181 | 1.0824 | -22867.9787 | 0.0001245 | 1.128 | 34.1393 | 27.9961 | 15092.005 | 2533427.877 | 33.0734 | 33.2628 | 0.058639 | [22391.921814587506, 41029.99399726282, 15642.802309140196] | [1.1560650326516637, 1.0795290638374149, 1.0115354654404414] | [-5020.848150691688, -10552.294614801236, -7294.835903069495] | [0.0001212017866655285, 0.00011983199587545484, 0.00013246132250280387] | [0.363922786189832, 1.1872586153065114, 1.8327464634029316] | [68.14310557240978, 22.506548860240798, 11.76818579808519] | [38.15187344599715, 25.012079488190597, 20.824277569088032] | [40141.32437845516, 4045.955437974513, 1088.735182063194] | [0.15000006847360947, 0.10551799976214393, 0.04710910693962192] | [0.08797179989979581, 0.03158135582429816, 0.04027761043234638] | [355.0, 330.0, 248.0] | [0.4135317117247173, 0.7007951664934798, 0.1450850446151554] | [0.00030000022555430405, 0.0003110741711661693, 0.0003000004696651469] | [1.0, 2.0, 1.0] | [0.9483449707503315, 0.8322634319812682, 0.7587271615060555] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.050208481506916876, 0.05276147307400618, 0.07294835903069494] | 0.020564 | 0.048055 | 0.17671 | 1 | 355 | 2 | 330 | 1 | 248
0.24772 | 0.89891 | 0.85 | 79083.1167 | 1.0824 | -22711.6829 | 0.00012419 | 1.1276 | 34.1429 | 27.998 | 15093.4451 | 2533274.1755 | 33.0733 | 33.2639 | 0.058143 | [22391.92180892056, 40985.31666636902, 15705.878222136464] | [1.1560517184662347, 1.079641325069387, 1.0116284923786345] | [-5020.967434368925, -10537.629979263276, -7153.085534500787] | [0.00012120281826039211, 0.00011978130575962821, 0.00013159899539038779] | [0.36391417295001144, 1.1866548533798436, 1.8323129193502226] | [68.14443642763823, 22.512248493437927, 11.771920755299185] | [38.15219162212205, 25.01559797100424, 20.826088044979226] | [40142.99066682845, 4048.0143494910744, 1089.3303784600544] | [0.15000006845445382, 0.1054292555181595, 0.04683558793062485] | [0.0879761802191316, 0.031578413215449255, 0.04001181334608233] | [355.0, 330.0, 249.0] | [0.41350250832201035, 0.7005710408728906, 0.1457673340440677] | [0.00030000022574593635, 0.00031191165254131065, 0.0003000004649773904] | [1.0, 2.0, 1.0] | [0.9483449705056687, 0.8316744482357773, 0.7607000259338568] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05020967434368924, 0.05268814989631638, 0.07153085534500786] | 0.020568 | 0.048052 | 0.17671 | 1 | 355 | 2 | 330 | 1 | 249
0.24772 | 0.89541 | 0.85 | 80381.8738 | 1.0899 | -25331.8331 | 0.00011902 | 1.063 | 34.981 | 28.3981 | 15389.576 | 2523500.9118 | 33.068 | 33.2572 | 0.050601 | [22391.920938011175, 34341.977098001735, 23647.97579489239] | [1.1552056999646525, 1.0981113975560337, 1.0163190630147774] | [-5028.5555752716655, -8454.982330121851, -11848.295217144558] | [0.0001212683859144667, 0.00011203829592094474, 0.00012374363647768452] | [0.3633676439851329, 1.0561002011852303, 1.769617039901215] | [68.22907104456381, 24.334509086992778, 12.379565466224612] | [38.172412570701795, 25.91983252675426, 21.102000163686924] | [40249.07125276026, 4733.250461710221, 1186.4062691726392] | [0.15000006635233798, 0.09494778324776466, 0.04971569396865732] | [0.08825480337766918, 0.03243907419961261, 0.03711743577547532] | [355.0, 330.0, 248.0] | [0.41164493633679855, 0.6584252647666378, 0.25351531792540183] | [0.00030000025519641454, 0.00046069370603925384, 0.0005445548527699597] | [1.0, 2.0, 2.0] | [0.9483449275834126, 0.7485576382870838, 0.6000703381419424] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05028555575271666, 0.04227491165060925, 0.059241476085722784] | 0.020906 | 0.047858 | 0.17657 | 1 | 355 | 2 | 330 | 2 | 248
0.24772 | 0.89536 | 0.85 | 80399.2997 | 1.0899 | -25077.9449 | 0.00011872 | 1.0632 | 34.979 | 28.3971 | 15389.1621 | 2523396.6349 | 33.0679 | 33.2586 | 0.050178 | [22391.92094041792, 34360.5255977453, 23646.853196401167] | [1.1551966796052693, 1.0980564159080697, 1.0164204935523573] | [-5028.636554573262, -8460.083001526127, -11589.225325791585] | [0.0001212690850490264, 0.00011205906020047005, 0.00012283486228782344] | [0.3633618243123476, 1.056440295382462, 1.7697383528609378] | [68.22997431658594, 24.32897250524395, 12.37817172538731] | [38.17262823533233, 25.917230959924222, 21.101426694063967] | [40250.2046238513, 4731.090158013669, 1186.1913879178949] | [0.1500000663526773, 0.09497188322094219, 0.049334876619815574] | [0.08825777717404767, 0.03243553401698384, 0.03684524850404512] | [355.0, 330.0, 249.0] | [0.4116251102199115, 0.6585492740896881, 0.2532693993258484] | [0.0003000002551150286, 0.000460198208636732, 0.0005486419354060793] | [1.0, 2.0, 2.0] | [0.9483449277366097, 0.7487942671182568, 0.6000285071206105] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05028636554573262, 0.04230041500763063, 0.05794612662895792] | 0.020911 | 0.047856 | 0.17656 | 1 | 355 | 2 | 330 | 2 | 249
0.24773 | 0.89898 | 0.85 | 79064.4802 | 1.0824 | -22868.3108 | 0.0001245 | 1.1304 | 34.091 | 27.9767 | 15074.2441 | 2533431.7029 | 33.0734 | 33.2628 | 0.05864 | [22391.92181470782, 41029.75606512423, 15642.802310646197] | [1.15606536406511, 1.0795346629702762, 1.011535794147924] | [-5020.845181579176, -10552.619811606392, -7294.8457611285985] | [0.0001212017609875496, 0.00011982424726775503, 0.00013246138943172925] | [0.3639230005940256, 1.194679982139297, 1.8327440037156773] | [68.1430724453704, 22.361600176619277, 11.768206467227312] | [38.151865526025816, 24.953977528324575, 20.82428782152308] | [40141.28290267776, 3992.7108167727406, 1088.7385422744785] | [0.1500000684740364, 0.10507541484643242, 0.04710930206215846] | [0.08797169086769874, 0.03144906016915231, 0.040277610418186144] | [355.0, 331.0, 248.0] | [0.41353243863687733, 0.7007935552873346, 0.14508858770002628] | [0.00030000022555023547, 0.00031340674344870176, 0.00030000046959224804] | [1.0, 2.0, 1.0] | [0.948344970755398, 0.8295524412974374, 0.7587271619014903] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05020845181579176, 0.052763099058031955, 0.07294845761128599] | 0.020563 | 0.048055 | 0.17671 | 1 | 355 | 2 | 331 | 1 | 248
0.24772 | 0.89892 | 0.85 | 79082.8774 | 1.0824 | -22712.0143 | 0.00012419 | 1.1301 | 34.0947 | 27.9786 | 15075.7194 | 2533278.0031 | 33.0733 | 33.2639 | 0.058143 | [22391.92180904267, 40985.07740566407, 15705.87822362448] | [1.156052050019233, 1.0796469177563084, 1.0116288239459368] | [-5020.964463907283, -10537.95462672827, -7153.095250320533] | [0.00012120279257142868, 0.00011977358467913344, 0.00013159906221382056] | [0.3639143874352175, 1.1940536394947228, 1.832310448546102] | [68.14440328577469, 22.367625425642935, 11.771941540197984] | [38.15218369876828, 24.957633400352783, 20.826098349920407] | [40142.94917110466, 3994.8752986992017, 1089.3337584092474] | [0.15000006845488428, 0.10498815129728298, 0.04683578297075778] | [0.08797607113763883, 0.03144646262060153, 0.04001181333134712] | [355.0, 331.0, 249.0] | [0.4135032355635, 0.7005694215856967, 0.1457708934837794] | [0.00030000022574180695, 0.0003142467974012041, 0.0003000004649056511] | [1.0, 2.0, 1.0] | [0.9483449705108288, 0.828966434925279, 0.7607000263414462] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.050209644639072834, 0.05268977313364135, 0.07153095250320532] | 0.020568 | 0.048052 | 0.17671 | 1 | 355 | 2 | 331 | 1 | 249
0.24772 | 0.89541 | 0.85 | 80381.6696 | 1.0899 | -25332.0019 | 0.00011902 | 1.0646 | 34.9442 | 28.3839 | 15374.8962 | 2523503.5212 | 33.068 | 33.2572 | 0.050601 | [22391.920938142957, 34341.71513172184, 23648.033530872603] | [1.1552059256944456, 1.098116087214449, 1.0163194393724508] | [-5028.553548628167, -8455.140395871083, -11848.307991346726] | [0.00012126836841736772, 0.0001120335807790892, 0.00012374368865748946] | [0.3633677896127325, 1.0607252012980708, 1.7696139497152914] | [68.22904844270604, 24.22397840492318, 12.379597262471062] | [38.17240717419346, 25.87739674192418, 21.102014395634754] | [40249.042893640806, 4689.2341357368305, 1186.411621270081] | [0.15000006635265556, 0.09466718899122337, 0.049715997625378185] | [0.08825472896129376, 0.03234344736860511, 0.03711741986874486] | [355.0, 331.0, 248.0] | [0.4116454324674594, 0.6584227427834783, 0.25352019942239884] | [0.0003000002551919583, 0.00046348222523441367, 0.0005445524070148706] | [1.0, 2.0, 2.0] | [0.9483449275899104, 0.7462644210973272, 0.600071825360578] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05028553548628167, 0.042275701979355415, 0.05924153995673363] | 0.020906 | 0.047859 | 0.17657 | 1 | 355 | 2 | 331 | 2 | 248
0.24772 | 0.89536 | 0.85 | 80399.0868 | 1.0899 | -25078.1317 | 0.00011872 | 1.0647 | 34.9422 | 28.3829 | 15374.4726 | 2523399.309 | 33.0679 | 33.2586 | 0.050178 | [22391.920940555072, 34360.30306139807, 23646.862807498466] | [1.1551969109285936, 1.0980609857563608, 1.0164208406518416] | [-5028.634477661807, -8460.25350403837, -11589.243731432023] | [0.0001212690671182607, 0.00011205438706212261, 0.00012283493429699686] | [0.36336197354414707, 1.0610722530967345, 1.7697354544073307] | [68.22995115425728, 24.218345307887397, 12.378200673512266] | [38.17262270507972, 25.874751427073097, 21.101439982260146] | [40250.17556083696, 4687.045874862898, 1186.1963238829753] | [0.1500000663530065, 0.09469100243750914, 0.04933514704688361] | [0.08825770091200653, 0.032339813285853024, 0.036845245497665914] | [355.0, 331.0, 249.0] | [0.41162561865555725, 0.658547078430841, 0.25327355527699563] | [0.00030000025511039074, 0.00046298416279187373, 0.0005486415265888026] | [1.0, 2.0, 2.0] | [0.9483449277433806, 0.7465004470789026, 0.6000287593252931] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05028634477661808, 0.04230126752019186, 0.05794621865716012] | 0.020911 | 0.047856 | 0.17656 | 1 | 355 | 2 | 331 | 2 | 249
0.24699 | 0.89148 | 0.85 | 80568.962 | 1.0693 | -19539.1342 | 0.00011832 | 1.3181 | 25.9252 | 25.5192 | 8567.1888 | 2513485.544 | 33.0683 | 33.2391 | 0.051877 | [44111.179415529026, 20814.99584304073, 15642.786744061928] | [1.145161908729684, 1.052730422511287, 1.0100392898804977] | [-7951.996956895797, -4336.796582211023, -7250.340611573571] | [0.00011053005252630293, 0.00011228127620972301, 0.00013215842291652898] | [0.5310484542818033, 1.5793083641681, 1.8439764750686412] | [51.684401476953894, 14.416381728447542, 11.674678081166451] | [33.76496765779469, 22.014901288883756, 20.77777184071548] | [23028.53512466999, 1599.39310515788, 1073.6381714187232] | [0.15000013256138617, 0.0558876894104928, 0.04622298552613664] | [0.04512863095144191, 0.03199364347618761, 0.040277723641050985] | [354.0, 330.0, 248.0] | [0.6991755557203883, 0.4276482589966674, 0.12868487751265406] | [0.0003093815076949795, 0.00030000131939731165, 0.0003000012231040812] | [2.0, 1.0, 1.0] | [0.9336112674529282, 0.8237883025303547, 0.7587237381046904] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03975998478447898, 0.04336796582211022, 0.07250340611573572] | 0.020955 | 0.047661 | 0.17598 | 2 | 354 | 1 | 330 | 1 | 248
0.24699 | 0.89137 | 0.85 | 80612.0295 | 1.0693 | -19433.8513 | 0.00011811 | 1.3181 | 25.9057 | 25.5154 | 8547.0667 | 2513177.0659 | 33.0681 | 33.2398 | 0.051483 | [44091.17260858486, 20814.99442272553, 15705.862470930926] | [1.145009224089096, 1.052753733713097, 1.0101022934078812] | [-7977.748815019988, -4347.357558092955, -7108.7449542631075] | [0.00011065312314672377, 0.0001123740828194191, 0.0001312931940021203] | [0.5315414346995484, 1.5790243963036472, 1.8437215733466552] | [51.620454044062555, 14.419739943397957, 11.676837958581313] | [33.7510777899462, 22.016317321321253, 20.778819750579643] | [22967.060916213024, 1600.1626051938194, 1073.976638224339] | [0.15000012874092325, 0.05594716937767266, 0.04593989146960867] | [0.04516505090084378, 0.03201715058068813, 0.04001193149249644] | [354.0, 330.0, 249.0] | [0.6989327115497839, 0.427836616828871, 0.12910103158067093] | [0.0003097293516583865, 0.0003000013710650913, 0.0003000012243639046] | [2.0, 1.0, 1.0] | [0.9329859514091261, 0.8235765424938789, 0.7606964736925866] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03988874407509994, 0.04347357558092955, 0.07108744954263108] | 0.020966 | 0.047654 | 0.17598 | 2 | 354 | 1 | 330 | 1 | 249
0.24734 | 0.88884 | 0.85 | 82126.9703 | 1.0727 | -20349.9717 | 0.00011081 | 1.2584 | 26.0963 | 25.7241 | 8409.3575 | 2506248.6845 | 33.0612 | 33.2604 | 0.041319 | [43856.354678391996, 16828.125250962363, 21442.490374457877] | [1.1430310417428953, 1.0603283201502938, 1.0146167931502033] | [-8287.342455062984, -4441.4874815726325, -7621.1417826421775] | [0.0001121212100062558, 0.0001133724852989696, 0.00010693219466738535] | [0.5363169885241883, 1.5965414390361379, 1.6423038641738892] | [50.945532181294986, 14.097910933409475, 13.245537355642236] | [33.60868980697474, 21.87780931738256, 21.685820700354924] | [22317.272809299964, 1537.6511350595079, 1373.14858926741] | [0.1500000961744463, 0.05312808403937775, 0.0426236594152025] | [0.0457198837849621, 0.032388319661568646, 0.03442609520976054] | [354.0, 330.0, 248.0] | [0.695233204823534, 0.3904664849923168, 0.19241306819957105] | [0.00031383568389418704, 0.0004793952582685142, 0.0006475911924884766] | [2.0, 1.0, 2.0] | [0.9257087275495346, 0.6795645401537079, 0.6000006231453834] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04143671227531492, 0.04441487481572633, 0.03810570891321089] | 0.02136 | 0.047518 | 0.17607 | 2 | 354 | 1 | 330 | 2 | 248
0.24734 | 0.8888 | 0.85 | 82148.3864 | 1.0727 | -20305.9636 | 0.00011076 | 1.26 | 26.085 | 25.7166 | 8408.5593 | 2506141.8366 | 33.0611 | 33.2608 | 0.041275 | [43858.149772222045, 16782.191921843307, 21508.044704719505] | [1.1430336557112724, 1.0603367739383178, 1.0146803327949883] | [-8285.478762373425, -4459.0292471883395, -7561.4556041179] | [0.00011211284722059204, 0.0001135235260743428, 0.00010664734902805721] | [0.5362450041666191, 1.5968804837167005, 1.6468060993650464] | [50.952452973032, 14.09281904725051, 13.209655684240076] | [33.61037842817793, 21.875497357611057, 21.663936901260126] | [22323.58003734524, 1536.628023815781, 1365.4699348674085] | [0.15000026543348605, 0.05315617954355401, 0.04246186846270681] | [0.045721617372271074, 0.0324337004529635, 0.03426428515383825] | [354.0, 330.0, 249.0] | [0.695221989841871, 0.3899347651186609, 0.19314658932020937] | [0.0003138041257594607, 0.0004819587457100204, 0.0006486651268348419] | [2.0, 1.0, 2.0] | [0.9257628854293658, 0.6774667762912707, 0.6000016798599733] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04142739381186712, 0.0445902924718834, 0.037807278020589495] | 0.021366 | 0.047515 | 0.17607 | 2 | 354 | 1 | 330 | 2 | 249
0.24699 | 0.89141 | 0.85 | 80602.4003 | 1.0693 | -19514.6315 | 0.0001182 | 1.3182 | 25.8948 | 25.5129 | 8536.4982 | 2513283.5632 | 33.0682 | 33.2388 | 0.051733 | [44081.65219010127, 20878.0064843424, 15642.741641874783] | [1.1449547722036608, 1.0529591395762858, 1.0100245270717636] | [-7989.457533960507, -4275.490897741198, -7249.683047190006] | [0.00011070835838706099, 0.00011174968112013495, 0.0001321541210507942] | [0.5318384081789018, 1.5787870576877463, 1.8440779927559112] | [51.586505539846414, 14.424183795195976, 11.673821744010258] | [33.74335093811865, 22.018098255967057, 20.777353681588828] | [22934.950751744625, 1601.0411667342012, 1073.502661259357] | [0.15000035050238125, 0.055680667076196316, 0.046213897955936264] | [0.045173062076671634, 0.03183776185223318, 0.04027747425779106] | [354.0, 331.0, 248.0] | [0.6988797409415345, 0.42831947603558074, 0.12851885035954316] | [0.00030989498720088317, 0.00030000368057049945, 0.0003000034063166674] | [2.0, 1.0, 1.0] | [0.9326872930244061, 0.8251596232332812, 0.7587250979704373] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03994728766980254, 0.04275490897741198, 0.07249683047190006] | 0.020963 | 0.047657 | 0.17598 | 2 | 354 | 1 | 331 | 1 | 248
0.24699 | 0.89129 | 0.85 | 80645.2085 | 1.0693 | -19409.8674 | 0.00011799 | 1.3182 | 25.8752 | 25.5091 | 8516.2951 | 2512977.0259 | 33.068 | 33.2395 | 0.05134 | [44061.276564672815, 20878.06968698805, 15705.862206240596] | [1.1448015978867179, 1.05298297900142, 1.0100874889200884] | [-8015.536356276098, -4286.010716110792, -7108.320308450928] | [0.00011083260815963631, 0.00011184299627142592, 0.0001312902637062891] | [0.53233580272615, 1.5785009450188192, 1.8438325773714663] | [51.5221639660586, 14.42758476230821, 11.675921481294036] | [33.72936189172684, 22.019528963951394, 20.77836203002027] | [22873.234974928106, 1601.820663842739, 1073.8297049677628] | [0.1500001236218065, 0.05574069054412306, 0.045931226778112975] | [0.04520989530775666, 0.03186133192861583, 0.040011935505751293] | [354.0, 331.0, 249.0] | [0.6986336932949323, 0.4285122610882264, 0.12893656807807352] | [0.000310249721365355, 0.00030000138834351483, 0.00030000123712498966] | [2.0, 1.0, 1.0] | [0.9320531015191504, 0.8249482114512274, 0.7606963738953124] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.040077681781380485, 0.04286010716110792, 0.07108320308450929] | 0.020975 | 0.047651 | 0.17597 | 2 | 354 | 1 | 331 | 1 | 249
0.24734 | 0.88891 | 0.85 | 82105.8747 | 1.0728 | -20365.0918 | 0.00011076 | 1.2596 | 26.0903 | 25.7186 | 8411.9768 | 2506422.9348 | 33.0613 | 33.2601 | 0.041257 | [43862.1693558899, 16751.601181784084, 21492.10416196504] | [1.1430785300873654, 1.0606831238055077, 1.0146392370272204] | [-8279.771034972773, -4388.846152653224, -7696.474572216931] | [0.0001120857096113428, 0.00011292549521697927, 0.00010728029590216496] | [0.5362056922736326, 1.5972523080948615, 1.6454148671242248] | [50.961381129786275, 14.087642534724088, 13.221768269978636] | [33.61202671654657, 21.87319530621603, 21.670724585803438] | [22332.43630944361, 1535.5622309793032, 1367.9318658306536] | [0.1500002666945898, 0.05283830718053156, 0.04275176269543111] | [0.045705979776366555, 0.03226560632601774, 0.034482359511553574] | [354.0, 331.0, 248.0] | [0.6953262584153946, 0.3894452501513202, 0.19351755962068812] | [0.00031373346998393704, 0.0004865249121050834, 0.0006450408198000864] | [2.0, 1.0, 2.0] | [0.9258865111268392, 0.6761474925401452, 0.6000017465860935] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04139885517486386, 0.04388846152653224, 0.038482372861084656] | 0.021354 | 0.047521 | 0.17607 | 2 | 354 | 1 | 331 | 2 | 248
0.24735 | 0.88887 | 0.85 | 82127.1234 | 1.0728 | -20322.1 | 0.00011072 | 1.2612 | 26.0788 | 25.7111 | 8411.0932 | 2506316.4512 | 33.0612 | 33.2605 | 0.041216 | [43863.78160147346, 16705.314188476234, 21558.02761434002] | [1.143081012997646, 1.0606868842486752, 1.0147028461246559] | [-8277.97528855618, -4407.517393636952, -7636.60728438374] | [0.00011207767150305664, 0.00011308737985104825, 0.00010699640922487206] | [0.5361352895604754, 1.5976079523587492, 1.6499436385762647] | [50.968065580384504, 14.08239915978512, 13.185822898062488] | [33.61366647089227, 21.870797023684506, 21.648771256767592] | [22338.518552388727, 1534.5068316854854, 1360.2540941798911] | [0.15000009686673804, 0.05287107428556375, 0.042590268941860715] | [0.04570785241097655, 0.03231392600714652, 0.034320561912729204] | [354.0, 331.0, 249.0] | [0.6953134272814727, 0.3889095746159502, 0.19425840193240348] | [0.0003137051337567324, 0.0004891397799381349, 0.0006461011466011222] | [2.0, 1.0, 2.0] | [0.9259371578362782, 0.6740067765336127, 0.6000006193311558] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.041389876442780894, 0.044075173936369526, 0.0381830364219187] | 0.02136 | 0.047519 | 0.17607 | 2 | 354 | 1 | 331 | 2 | 249
0.24752 | 0.88845 | 0.85 | 82573.7864 | 1.0708 | -20833.3534 | 0.00011231 | 1.2689 | 25.4206 | 25.5968 | 7635.6071 | 2505127.861 | 33.0591 | 33.2203 | 0.046768 | [42788.473590430345, 24142.73817707383, 15642.574655281529] | [1.1373356809475481, 1.065859025602751, 1.0092602616095587] | [-9575.219603101867, -4030.806709285085, -7227.327047334268] | [0.00011780855788798568, 8.712404054264882e-05, 0.00013200174474818256] | [0.5608622901881171, 1.3960734767130323, 1.8498531698160705] | [48.107362419682985, 16.527982326578403, 11.626426316443142] | [32.966090608197106, 23.070598161023426, 20.753616465853632] | [19736.675644048293, 2104.2160413110864, 1065.9296238086085] | [0.15000005220974558, 0.04891853555688844, 0.045762780407342905] | [0.047188383851763015, 0.026515152879046443, 0.04027753310834574] | [354.0, 330.0, 248.0] | [0.6854417058857893, 0.458088566954917, 0.11992221508349238] | [0.00033307858638366325, 0.0008484631936278821, 0.00030001148956516346] | [2.0, 2.0, 1.0] | [0.8939965269482629, 0.6000002932727845, 0.7587113968650206] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.047876098015509336, 0.020154033546425424, 0.07227327047334269] | 0.021476 | 0.047495 | 0.17615 | 2 | 354 | 2 | 330 | 1 | 248
0.24752 | 0.88839 | 0.85 | 82595.5248 | 1.0709 | -20688.2686 | 0.000112 | 1.2679 | 25.4259 | 25.6014 | 7632.691 | 2504996.8955 | 33.059 | 33.2212 | 0.046292 | [42778.76813614532, 24111.073459175863, 15705.683182871018] | [1.1372823183079475, 1.0660442328913347, 1.0093356299855392] | [-9586.91685913892, -4014.6905241036934, -7086.661174237305] | [0.00011785820255488019, 8.701226349104973e-05, 0.00013114085284851742] | [0.5610240305752651, 1.3932819916225605, 1.8494815566723628] | [48.08721817380109, 16.561069928800926, 11.629504094103371] | [32.96164705092157, 23.087370018641934, 20.755132660019193] | [19718.754379510265, 2112.904629619691, 1066.4138639235566] | [0.1500000520171334, 0.048903088211308114, 0.04549120736207942] | [0.04720682234796185, 0.026514103877262343, 0.04001181736602344] | [354.0, 330.0, 249.0] | [0.6853187650008876, 0.4579386512840194, 0.12050926998648055] | [0.00033325788123069405, 0.0008501779018826123, 0.00030000986818645427] | [2.0, 2.0, 1.0] | [0.893718269096756, 0.6000002928962548, 0.7606851580832331] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04793458429569461, 0.020073452620518465, 0.07086661174237305] | 0.021482 | 0.047493 | 0.17615 | 2 | 354 | 2 | 330 | 1 | 249
0.24794 | 0.88599 | 0.85 | 84167.6898 | 1.0756 | -19120.2171 | 9.9362e-05 | 1.1132 | 26.5826 | 26.357 | 7646.449 | 2498664.3531 | 33.0516 | 33.261 | 0.031867 | [42119.13831522636, 22101.297344745977, 19947.25416456431] | [1.1340896073838933, 1.0789510084873117, 1.0138289153480122] | [-10358.15934073894, -3104.0664081617933, -5657.991357360022] | [0.00012104480516219439, 8.012735477276278e-05, 9.691267146938755e-05] | [0.5714189631189591, 1.2211953499673054, 1.5469040630587496] | [46.82846225104656, 18.891184568356902, 14.028004488955535] | [32.68110609172025, 24.22024772262432, 22.169780088717097] | [18617.93028518397, 2771.3305261567266, 1550.0862226423117] | [0.15000011706836136, 0.04797340494551634, 0.039046864781733706] | [0.04838529787747332, 0.02656217409600918, 0.03281073789960883] | [354.0, 330.0, 248.0] | [0.6774613304145519, 0.44641960159882854, 0.15978494412602628] | [0.0003456372795636158, 0.0009690639943484405, 0.0007304057885101616] | [2.0, 2.0, 2.0] | [0.8752035986598631, 0.6000007602850748, 0.6000012406803329] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.051790796703694686, 0.015520332040808969, 0.02828995678680011] | 0.021891 | 0.047368 | 0.17629 | 2 | 354 | 2 | 330 | 2 | 248
0.24794 | 0.88596 | 0.85 | 84186.787 | 1.0757 | -19081.893 | 9.9268e-05 | 1.1138 | 26.5762 | 26.3542 | 7641.5852 | 2498588.5707 | 33.0515 | 33.2614 | 0.031803 | [42106.869295439836, 22067.708494862578, 20012.209172143317] | [1.1340377471628755, 1.079189045832718, 1.0138886120867978] | [-10372.017371154052, -3090.6313958998776, -5619.244245110571] | [0.00012110058506222668, 8.001610082212116e-05, 9.66862367155013e-05] | [0.5715998009211082, 1.2183889038021958, 1.5514586553049012] | [46.80708390029804, 18.93465768703341, 13.98682788385457] | [32.676298683106594, 24.240528693112054, 22.145684233400964] | [18599.548998421065, 2784.49069118574, 1540.715819991388] | [0.1500000423415327, 0.04795960524922428, 0.038903643772902334] | [0.048405999719357516, 0.02656525072217838, 0.032663210669612176] | [354.0, 330.0, 249.0] | [0.677323139051858, 0.4461959581691058, 0.160483867202248] | [0.00034587120876882973, 0.0009712348843260489, 0.0007313242843887689] | [2.0, 2.0, 2.0] | [0.8748669352240344, 0.6000002756314275, 0.6000004442397225] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05186008685577026, 0.015453156979499389, 0.028096221225552852] | 0.021896 | 0.047366 | 0.17629 | 2 | 354 | 2 | 330 | 2 | 249
0.24752 | 0.88843 | 0.85 | 82590.8104 | 1.0708 | -20821.4967 | 0.00011226 | 1.2697 | 25.3996 | 25.5899 | 7621.3987 | 2505071.0968 | 33.059 | 33.2202 | 0.046747 | [42769.35500387218, 24179.310311470566, 15642.145054803415] | [1.1372447497276985, 1.0660396392128089, 1.0092570069196756] | [-9597.705456729642, -3997.323515173123, -7226.467749237038] | [0.00011790345669167447, 8.687998551999537e-05, 0.0001319964562414823] | [0.5612306057498017, 1.397930882908845, 1.84986712023083] | [48.06517930613187, 16.50731485226597, 11.626285987406192] | [32.95651008088287, 23.05952518050401, 20.753559385600603] | [19699.48059225911, 2098.805729728914, 1065.9098786511765] | [0.15000014291704494, 0.0487606861556144, 0.0457591822180656] | [0.047217130148487184, 0.02641221461265601, 0.04027635604323874] | [354.0, 331.0, 248.0] | [0.6852502275410295, 0.4584450209593624, 0.1198787101850899] | [0.00033343185356661396, 0.0008504388986513254, 0.000300032285844498] | [2.0, 2.0, 1.0] | [0.8934480150707593, 0.6000007998664577, 0.7587018139376291] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04798852728364821, 0.019986617575865614, 0.07226467749237038] | 0.021481 | 0.047494 | 0.17616 | 2 | 354 | 2 | 331 | 1 | 248
0.24753 | 0.88837 | 0.85 | 82612.2975 | 1.0709 | -20677.7254 | 0.00011195 | 1.2687 | 25.4047 | 25.5944 | 7618.2694 | 2504941.8459 | 33.0589 | 33.2211 | 0.046274 | [42759.20875681317, 24147.409408187592, 15705.679358032177] | [1.1371899672926813, 1.0662273293451736, 1.0093323214006225] | [-9609.852284116554, -3981.3096529167224, -7086.563505662153] | [0.00011795491999095308, 8.676833580550665e-05, 0.0001311401843507284] | [0.561399624340557, 1.3951113424514656, 1.8495064709531346] | [48.044235182735136, 16.540668415861496, 11.62930030818064] | [32.95188200708005, 23.07643734020109, 20.75503007498075] | [19680.874403778667, 2107.552374390865, 1066.3814223700101] | [0.15000005165219732, 0.04874578544710246, 0.04548926543508632] | [0.04723611251389546, 0.026411306340947637, 0.040011811404324214] | [354.0, 331.0, 249.0] | [0.6851234692309593, 0.45829792089730303, 0.1204718359907715] | [0.00033361946101661714, 0.0008521664074424251, 0.0003000100525914502] | [2.0, 2.0, 1.0] | [0.8931580225275101, 0.600000289810635, 0.7606849869034602] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.048049261420582766, 0.01990654826458361, 0.07086563505662154] | 0.021486 | 0.047492 | 0.17615 | 2 | 354 | 2 | 331 | 1 | 249
0.24794 | 0.88599 | 0.85 | 84179.2628 | 1.0757 | -19119.6203 | 9.9322e-05 | 1.1138 | 26.5622 | 26.3504 | 7633.1243 | 2498647.7916 | 33.0516 | 33.261 | 0.031866 | [42097.5760926642, 22134.144543074974, 19947.54211742836] | [1.1340066290956883, 1.0791725790089826, 1.013827366776979] | [-10382.167328520807, -3079.1342479167097, -5658.318730338319] | [0.00012114112015614153, 7.991064293378237e-05, 9.691450400909756e-05] | [0.5717652551303289, 1.2227000536192933, 1.5469334800828136] | [46.78952021899867, 18.869318202217467, 14.027713762256576] | [32.672195689154265, 24.20943882004338, 22.169623311155988] | [18584.621454158696, 2764.7281488200474, 1550.023241717656] | [0.1500000422501894, 0.04782538598209596, 0.03904679045034626] | [0.04841725404518992, 0.02646240322620825, 0.032811077544437725] | [354.0, 331.0, 248.0] | [0.6772481000518012, 0.4467921217563451, 0.15977464159116356] | [0.0003460484898448217, 0.0009712630085571634, 0.0007303886448196681] | [2.0, 2.0, 2.0] | [0.8746117716463381, 0.6000002734728531, 0.6000004501457556] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.051910836642604034, 0.015395671239583549, 0.0282915936516916] | 0.021894 | 0.047367 | 0.17629 | 2 | 354 | 2 | 331 | 2 | 248
0.24795 | 0.88596 | 0.85 | 84198.5677 | 1.0758 | -19080.6046 | 9.9227e-05 | 1.1144 | 26.5561 | 26.3476 | 7628.5079 | 2498570.5798 | 33.0515 | 33.2613 | 0.031801 | [42085.75796943586, 22100.56351179457, 20012.24618792057] | [1.1339564628533065, 1.0794094961732703, 1.0138869861865583] | [-10395.545211053723, -3065.8071927956435, -5619.252195649924] | [0.0001211948963330399, 7.979966896553082e-05, 9.668626360233136e-05] | [0.57193771802328, 1.2199031712658899, 1.5514697544242917] | [46.76906763742224, 18.91250957496658, 13.986700399655096] | [32.667601237602824, 24.22961249846248, 22.145624743496164] | [18567.04597955769, 2777.787111374697, 1540.690612898266] | [0.1500000421271725, 0.04781113897874723, 0.03890298404897444] | [0.04843739844722688, 0.026465367326202364, 0.03266324836760305] | [354.0, 331.0, 249.0] | [0.6771137859246993, 0.44656506986888395, 0.16046865373004437] | [0.00034627405046420946, 0.0009734335080083431, 0.0007313220860273075] | [2.0, 2.0, 2.0] | [0.8742874962538857, 0.6000002732964637, 0.6000004442835325] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05197772605526861, 0.01532903596397822, 0.028096260978249618] | 0.021899 | 0.047366 | 0.17629 | 2 | 354 | 2 | 331 | 2 | 249
0.247 | 0.89121 | 0.85 | 80679.7903 | 1.0688 | -19685.0843 | 0.00011851 | 1.3212 | 25.6885 | 25.4598 | 8355.2479 | 2512718.1606 | 33.0679 | 33.2377 | 0.052074 | [44222.01446809626, 20814.99143974066, 15642.784414176103] | [1.1438798863296782, 1.0524771615283877, 1.0099613245137167] | [-8126.009636493347, -4311.032891805919, -7248.0417504317575] | [0.00011132622563226077, 0.00011205315587392013, 0.000132142735727583] | [0.5380876827069943, 1.5810479092667955, 1.8445636617309809] | [51.00110195480177, 14.394565652447508, 11.66983606667588] | [33.59871574373274, 22.005387200376553, 20.77535610267685] | [22398.373179239163, 1594.5084347268826, 1072.862095729264] | [0.15000011573381733, 0.055665872561267864, 0.04617691905691006] | [0.04497363016931331, 0.03194461082633056, 0.04027773148344943] | [355.0, 330.0, 248.0] | [0.7002090183103041, 0.42624805794504766, 0.1278150251374355] | [0.0003096202569483668, 0.00030000147957919953, 0.00030000133588402815] | [2.0, 1.0, 1.0] | [0.9305533254469027, 0.8242300589998418, 0.7587234059090613] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04063004818246674, 0.04311032891805918, 0.07248041750431757] | 0.020984 | 0.047645 | 0.17597 | 2 | 355 | 1 | 330 | 1 | 248
0.247 | 0.89109 | 0.85 | 80722.3674 | 1.0688 | -19580.1575 | 0.00011829 | 1.3212 | 25.6694 | 25.4561 | 8335.7383 | 2512414.9903 | 33.0677 | 33.2384 | 0.05168 | [44201.640778094756, 20814.91517573297, 15705.8114314947] | [1.1437290544380239, 1.0525019297099178, 1.0100242400481916] | [-8152.407981400526, -4321.465353751555, -7106.284197059529] | [0.00011145054296687129, 0.00011214522097486353, 0.00013127635262456604] | [0.5385851334399125, 1.5807554618330815, 1.8442981574761066] | [50.938116878189, 14.3980110247246, 11.672062136219814] | [33.58493647882768, 22.006846240009345, 20.77644712473164] | [22338.706338516764, 1595.2957896405871, 1073.2127938337103] | [0.15000031102620445, 0.05572527545724996, 0.04589383133673729] | [0.04501033931328069, 0.03196792826168428, 0.04001169013962224] | [355.0, 330.0, 249.0] | [0.6999646440099064, 0.4264412712891167, 0.12823178436395785] | [0.0003099737044205732, 0.00030000425389820214, 0.00030000368505317876] | [2.0, 1.0, 1.0] | [0.9299194786887676, 0.8240178094316519, 0.7606972826590809] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04076203990700264, 0.043214653537515545, 0.07106284197059529] | 0.020995 | 0.047639 | 0.17597 | 2 | 355 | 1 | 330 | 1 | 249
0.24735 | 0.88887 | 0.85 | 82128.9787 | 1.0724 | -20397.0704 | 0.00011084 | 1.2614 | 25.9486 | 25.6821 | 8289.7658 | 2506308.3469 | 33.0612 | 33.2604 | 0.041357 | [44055.9917450637, 16624.855284597154, 21448.131653140605] | [1.1423917999041993, 1.060147576632983, 1.014618838886351] | [-8350.250952205373, -4417.15733476703, -7629.662079048673] | [0.00011238405904342025, 0.00011315978764172489, 0.00010697167405273008] | [0.541071246511714, 1.6004024571150317, 1.642661324065885] | [50.554208644670105, 14.048654650667299, 13.242789297621613] | [33.50626735447839, 21.856096953508594, 21.68408336869916] | [21969.516558091225, 1527.234287901689, 1372.5464212504107] | [0.15000009483276092, 0.05272730484697196, 0.042637911415388294] | [0.045420629692516847, 0.03236058142123655, 0.03443249064406063] | [355.0, 330.0, 248.0] | [0.697228527289584, 0.38635838450902504, 0.19253308900249308] | [0.00031250997936959436, 0.0004908468879751766, 0.0006473006107677073] | [2.0, 1.0, 2.0] | [0.9254231143983823, 0.6725009184199509, 0.6000006243333583] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04175125476102686, 0.0441715733476703, 0.03814831039524337] | 0.021361 | 0.047519 | 0.17607 | 2 | 355 | 1 | 330 | 2 | 248
0.24735 | 0.88882 | 0.85 | 82151.4795 | 1.0724 | -20351.9632 | 0.00011079 | 1.2629 | 25.9369 | 25.6747 | 8288.3602 | 2506193.5088 | 33.0611 | 33.2607 | 0.041312 | [44057.06477350915, 16582.449220586885, 21511.965527633332] | [1.1423894841521989, 1.0601488495613274, 1.0146814464817682] | [-8349.294818547565, -4435.370219366715, -7567.29818632664] | [0.00011237994578466053, 0.00011331697849961499, 0.00010667456033317559] | [0.5410158549215813, 1.6007103548419774, 1.6470563537292162] | [50.55893023609011, 14.044058751098428, 13.207736209117138] | [33.507477651685605, 21.853995216547567, 21.662724972895695] | [21973.712927514083, 1526.316450693704, 1365.0513113550862] | [0.15000026154584956, 0.05276183636284025, 0.042471536829634164] | [0.04542358922790193, 0.03240752331838244, 0.03426868811208869] | [355.0, 330.0, 249.0] | [0.6972091306889835, 0.3858701683840115, 0.19322664525294042] | [0.0003124912327575019, 0.0004932713149378812, 0.0006484635691797208] | [2.0, 1.0, 2.0] | [0.9254550623172733, 0.6705107498361655, 0.600001682050984] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04174647409273782, 0.044353702193667154, 0.0378364909316332] | 0.021366 | 0.047516 | 0.17607 | 2 | 355 | 1 | 330 | 2 | 249
0.247 | 0.89113 | 0.85 | 80712.5321 | 1.0688 | -19662.4942 | 0.00011839 | 1.3214 | 25.6586 | 25.4536 | 8325.3644 | 2512523.395 | 33.0677 | 33.2374 | 0.051934 | [44191.68139585209, 20878.06663028731, 15642.784110852219] | [1.1436750512658107, 1.0527058271279996, 1.0099470244378628] | [-8164.504962115294, -4250.367164035563, -7247.622116458795] | [0.00011150679891432669, 0.00011152508805295936, 0.00013213987695410222] | [0.5388874060175297, 1.5805208617863897, 1.8446713545613111] | [50.9043320246032, 14.402423302640235, 11.668948469316124] | [33.57719762792042, 22.00860815636944, 20.77491249123983] | [22307.207892100912, 1596.165475462137, 1072.7199001191486] | [0.15000011160541757, 0.05546135559508937, 0.04616847447845174] | [0.045018722875780515, 0.03178954782237061, 0.04027773533343362] | [355.0, 331.0, 248.0] | [0.6999083460962898, 0.4269278649845197, 0.1276553291143755] | [0.00031014660067455336, 0.0003000014992033028, 0.00030000135056666065] | [2.0, 1.0, 1.0] | [0.9296117729613995, 0.8255970956705049, 0.7587233070602841] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04082252481057647, 0.04250367164035563, 0.07247622116458795] | 0.020992 | 0.047642 | 0.17597 | 2 | 355 | 1 | 331 | 1 | 248
0.247 | 0.89102 | 0.85 | 80754.8741 | 1.0688 | -19557.7031 | 0.00011817 | 1.3213 | 25.6394 | 25.4498 | 8305.8625 | 2512222.1038 | 33.0675 | 33.2381 | 0.05154 | [44171.07443301207, 20877.989071349773, 15705.810602475862] | [1.1435240334774908, 1.0527312217778042, 1.010009984535126] | [-8191.158175620934, -4260.670665123741, -7105.874305635623] | [0.00011163192168655671, 0.00011161688221959253, 0.00013127352438876727] | [0.5393873606015974, 1.580225124849006, 1.8444050486013364] | [50.84121740602622, 14.405914119048614, 11.671180387678323] | [33.56337554949299, 22.010086703145454, 20.776006655491265] | [22247.552238191576, 1596.9635826007948, 1073.0715350664389] | [0.15000030020128607, 0.05552082725361449, 0.04588548734803865] | [0.045055730279243644, 0.03181276575567859, 0.04001169219310874] | [355.0, 331.0, 249.0] | [0.699661970144785, 0.4271235646920084, 0.12807313147608035] | [0.00031050458795665365, 0.0003000043121053713, 0.00030000372502156657] | [2.0, 1.0, 1.0] | [0.9289720241848506, 0.8253849896977479, 0.7606971785400096] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04095579087810467, 0.04260670665123741, 0.07105874305635623] | 0.021003 | 0.047636 | 0.17597 | 2 | 355 | 1 | 331 | 1 | 249
0.24735 | 0.88893 | 0.85 | 82107.59 | 1.0725 | -20413.726 | 0.0001108 | 1.2626 | 25.9434 | 25.6769 | 8293.0887 | 2506484.1236 | 33.0613 | 33.2601 | 0.041303 | [44062.54609126941, 16548.06354677295, 21496.98035863736] | [1.1424439923082956, 1.0604851543288527, 1.0146412134999694] | [-8341.617274303033, -4368.120905432774, -7703.987842173578] | [0.00011234385182387502, 0.00011274208427817062, 0.00010731488712566516] | [0.5409381389566543, 1.6011319269292819, 1.6457245193661756] | [50.57238168737302, 14.038296609487702, 13.219402464536639] | [33.510143813768664, 21.85141684161385, 21.66922382113147] | [21986.718773777844, 1525.1335039830153, 1367.413843709764] | [0.15000009546823384, 0.052452648596672785, 0.042764378622696775] | [0.045405767416168495, 0.03224611175455797, 0.034487969511843006] | [355.0, 331.0, 248.0] | [0.6973276253111248, 0.3853267084616269, 0.19362436155250617] | [0.0003123954842681917, 0.000498132526264253, 0.0006447907966377107] | [2.0, 1.0, 2.0] | [0.9256245764036772, 0.6690071117138635, 0.6000006346546397] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.041708086371515164, 0.043681209054327735, 0.03851993921086789] | 0.021355 | 0.047522 | 0.17608 | 2 | 355 | 1 | 331 | 2 | 248
0.24735 | 0.88889 | 0.85 | 82130.4837 | 1.0725 | -20368.1328 | 0.00011075 | 1.2641 | 25.9316 | 25.6695 | 8291.5082 | 2506365.7579 | 33.0612 | 33.2604 | 0.041258 | [44063.3906769131, 16506.55570973071, 21560.537342737873] | [1.1424400514762736, 1.0604822780335459, 1.0147036204382625] | [-8340.955091954436, -4386.860471610456, -7640.317229257344] | [0.00011234109872496807, 0.00011290492786752095, 0.00010701357762029829] | [0.5408879948135249, 1.6014338005895266, 1.6501007433023875] | [50.57644068703475, 14.033804648394812, 13.184625200979344] | [33.51120896197723, 21.84935672828949, 21.648012452096356] | [21990.294328149557, 1524.2371114144548, 1359.993084881386] | [0.15000026324072982, 0.05249075191519895, 0.042596427991908645] | [0.045409148255534534, 0.03229461687835457, 0.0343233271364661] | [355.0, 331.0, 249.0] | [0.6973054216248235, 0.38484870483730726, 0.19431001959554098] | [0.00031238073303619843, 0.0005005348315966438, 0.0006459727181588675] | [2.0, 1.0, 2.0] | [0.9256495081323748, 0.6670348532308529, 0.6000017087479643] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04170477545977218, 0.04386860471610457, 0.03820158614628672] | 0.021361 | 0.04752 | 0.17608 | 2 | 355 | 1 | 331 | 2 | 249
0.24753 | 0.88838 | 0.85 | 82617.1452 | 1.0705 | -20893.5519 | 0.00011231 | 1.2699 | 25.2696 | 25.561 | 7503.8037 | 2504937.5062 | 33.0589 | 33.2199 | 0.046867 | [42937.365067019484, 24037.26313600985, 15642.516987658806] | [1.1364890158185141, 1.065860406317498, 1.0092402485649152] | [-9708.060206326754, -3958.8204587189207, -7226.67127305873] | [0.00011833634680979829, 8.660564612056728e-05, 0.0001319973142116994] | [0.566782797387578, 1.3927803681641273, 1.8500048862987852] | [47.629093821666814, 16.554566030395613, 11.625186872447824] | [32.841110233552556, 23.088828483427513, 20.752995850166553] | [19334.32340316911, 2111.355222082663, 1065.732334477512] | [0.15000005074924305, 0.04856365837612612, 0.04575080041691207] | [0.046956340429400126, 0.026446035451188156, 0.04027740837074161] | [355.0, 330.0, 248.0] | [0.6869888763689111, 0.455550895209056, 0.11969437083219962] | [0.0003325628660787754, 0.0008541924182149071, 0.00030001428109714884] | [2.0, 2.0, 1.0] | [0.8922780278707702, 0.6000002893244394, 0.7587094788698647] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04854030103163377, 0.019794102293594604, 0.0722667127305873] | 0.021487 | 0.047492 | 0.17616 | 2 | 355 | 2 | 330 | 1 | 248
0.24753 | 0.88833 | 0.85 | 82638.7691 | 1.0706 | -20748.8552 | 0.00011201 | 1.2689 | 25.2751 | 25.5656 | 7501.0688 | 2504807.7506 | 33.0588 | 33.2208 | 0.046391 | [42927.59299721705, 24005.53430832357, 15705.64182996063] | [1.1364363844729044, 1.0660465434320965, 1.0093155163074912] | [-9719.88904733729, -3942.9287500031046, -7086.0374248602075] | [0.00011838608613764492, 8.649407685695217e-05, 0.00013113657011985368] | [0.5669444898904601, 1.3899850194373853, 1.849633302107937] | [47.60927951680229, 16.58784948895204, 11.628263280984125] | [32.83671963714751, 23.1056810482699, 20.754511621244497] | [19316.87968404858, 2120.1103361892237, 1066.2163152278015] | [0.15000005056767665, 0.048548406175666414, 0.045479328913276315] | [0.046974757745259686, 0.02644498877838527, 0.04001173014123444] | [355.0, 330.0, 249.0] | [0.6868660765644614, 0.4554012187609057, 0.12028135995153738] | [0.00033274264829612904, 0.0008559257245238682, 0.0003000118619178871] | [2.0, 2.0, 1.0] | [0.8919989365735854, 0.6000002889689324, 0.7606837589198887] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04859944523668645, 0.019714643750015522, 0.07086037424860206] | 0.021493 | 0.047489 | 0.17616 | 2 | 355 | 2 | 330 | 1 | 249
0.24795 | 0.88595 | 0.85 | 84205.4117 | 1.0753 | -19150.3312 | 9.9293e-05 | 1.1138 | 26.4463 | 26.3249 | 7530.9807 | 2498540.1332 | 33.0514 | 33.2612 | 0.031917 | [42276.83667273981, 22027.50110522844, 19901.073946892928] | [1.1333384073971469, 1.07877440920156, 1.0138099535453626] | [-10484.604670147193, -3059.628262657794, -5606.09827893653] | [0.00012151856975855366, 7.974205700785319e-05, 9.661836667092594e-05] | [0.5771088588066444, 1.220550518201269, 1.5438630755820193] | [46.39559788395995, 18.888363216664896, 14.054922675580983] | [32.56519977130179, 24.223539758393812, 22.185914641569568] | [18265.953698563266, 2770.6583993365166, 1556.3299056678231] | [0.15000011479916048, 0.04764850736656742, 0.03894875818881013] | [0.04813331582156728, 0.0264920979973406, 0.03276325911483823] | [355.0, 330.0, 248.0] | [0.6791414300715427, 0.44411500486605254, 0.15888700888358684] | [0.00034490202952732764, 0.0009738422449016595, 0.0007331616143498899] | [2.0, 2.0, 2.0] | [0.8737977521622362, 0.6000007529252851, 0.6000012322658522] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05242302335073596, 0.01529814131328897, 0.02803049139468265] | 0.021901 | 0.047365 | 0.17629 | 2 | 355 | 2 | 330 | 2 | 248
0.24796 | 0.88592 | 0.85 | 84224.4163 | 1.0754 | -19112.4697 | 9.9199e-05 | 1.1145 | 26.44 | 26.322 | 7526.2857 | 2498465.322 | 33.0514 | 33.2616 | 0.031854 | [42264.59875269279, 21994.116899935154, 19965.70061272811] | [1.133287561052511, 1.0790112477442813, 1.0138695061420817] | [-10498.496392940648, -3046.4402715212086, -5567.533081033948] | [0.00012157403050182581, 7.963178312114955e-05, 9.639163251562018e-05] | [0.5772882823121634, 1.217759711042319, 1.548398060027177] | [46.37470134563986, 18.93163591978257, 14.013749589815536] | [32.560481454785005, 24.243726471632407, 22.161855527113683] | [18248.159085176332, 2783.756238344206, 1546.9416304217648] | [0.15000004152419047, 0.047634992021556744, 0.038805421932323315] | [0.04815383951992727, 0.026495086433404855, 0.03261582328100128] | [355.0, 330.0, 249.0] | [0.6790044302465573, 0.4438943425298416, 0.15957953224686472] | [0.0003451342820695501, 0.0009760143806734465, 0.0007340928600259901] | [2.0, 2.0, 2.0] | [0.8734630128869708, 0.6000002729734686, 0.6000004412764633] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05249248196470324, 0.015232201357606041, 0.02783766540516974] | 0.021905 | 0.047364 | 0.17629 | 2 | 355 | 2 | 330 | 2 | 249
0.24754 | 0.88836 | 0.85 | 82633.9079 | 1.0706 | -20882.1289 | 0.00011226 | 1.2706 | 25.249 | 25.5542 | 7490.0681 | 2504883.3814 | 33.0588 | 33.2197 | 0.046846 | [42918.35443066168, 24073.572303578927, 15641.981129964455] | [1.1364004955955738, 1.0660410801156153, 1.0092371743951596] | [-9730.513611155506, -3925.9322823106177, -7225.683019279155] | [0.00011843022838265173, 8.636303668383116e-05, 0.00013199124199980483] | [0.5671471798585213, 1.394628349795084, 1.8500181404539866] | [47.588097620274134, 16.533897164722756, 11.62505181902662] | [32.8317529326243, 23.077770784475444, 20.752941632124255] | [19298.55648413259, 2105.9342156711323, 1065.7134855275262] | [0.15000013896013692, 0.04840686506830131, 0.045746964342638696] | [0.046984708850263894, 0.026343469834143304, 0.04027598956619275] | [355.0, 331.0, 248.0] | [0.6867999111410631, 0.45590586269533995, 0.11965154308156624] | [0.0003329126906434655, 0.0008561824223145935, 0.00030004022148765456] | [2.0, 2.0, 1.0] | [0.8917347161853109, 0.6000007892819937, 0.7586965964625659] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04865256805577752, 0.01962966141155309, 0.07225683019279155] | 0.021492 | 0.047491 | 0.17616 | 2 | 355 | 2 | 331 | 1 | 248
0.24754 | 0.88831 | 0.85 | 82655.2813 | 1.0706 | -20738.8772 | 0.00011196 | 1.2696 | 25.2543 | 25.5588 | 7487.1151 | 2504755.3226 | 33.0587 | 33.2207 | 0.046375 | [42908.11153283284, 24041.533022489373, 15705.636715903831] | [1.1363463352519325, 1.066230159070595, 1.0093123809492421] | [-9742.830028492472, -3910.1040356720623, -7085.943149497237] | [0.00011848192826473341, 8.625132904994148e-05, 0.00013113592628259034] | [0.5673167131608577, 1.3917985860640871, 1.8496569244323946] | [47.567434694097486, 16.56752363036958, 11.628070106260592] | [32.827165787356925, 23.094802518456277, 20.75441433505437] | [19280.392008068316, 2114.767670880804, 1066.1855691973226] | [0.15000005022731458, 0.048392118740739135, 0.04547748415982264] | [0.047003710064674284, 0.026342557431064166, 0.040011721258451496] | [355.0, 331.0, 249.0] | [0.6866730332124474, 0.4557587278925032, 0.12024585149102755] | [0.00033310130401456074, 0.0008579327195426135, 0.00030001210848060856] | [2.0, 2.0, 1.0] | [0.8914430645165644, 0.6000002859903152, 0.7606835481460823] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04871415014246236, 0.01955052017836031, 0.07085943149497237] | 0.021497 | 0.047488 | 0.17616 | 2 | 355 | 2 | 331 | 1 | 249
0.24796 | 0.88594 | 0.85 | 84217.1191 | 1.0754 | -19149.4249 | 9.9252e-05 | 1.1145 | 26.4265 | 26.3184 | 7518.2554 | 2498523.2133 | 33.0514 | 33.2612 | 0.031916 | [42255.827037196075, 22059.96230942052, 19901.329743099344] | [1.1332586983354305, 1.0789953998915558, 1.013808426352093] | [-10508.153638205113, -3034.919831233107, -5606.351442231877] | [0.00012161227246731051, 7.95252365261526e-05, 9.661978883531265e-05] | [0.5774452121613314, 1.222046468918225, 1.5438884721215018] | [46.35836554697245, 18.86656567435271, 14.054667611361532] | [32.55664377800515, 24.212777833078707, 22.185778805225006] | [18234.414349734572, 2764.0768977151884, 1556.274928662197] | [0.15000011423139215, 0.047500564029987064, 0.03894856860513804] | [0.048164339282186025, 0.026392491836345587, 0.032763521648471905] | [355.0, 331.0, 248.0] | [0.678934578100334, 0.44448030871461935, 0.15887616910542365] | [0.00034530083538419584, 0.0009760665787165811, 0.0007331463143679718] | [2.0, 2.0, 2.0] | [0.8732225123538133, 0.6000007466190685, 0.6000012324273303] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.052540768191025565, 0.015174599156165536, 0.028031757211159386] | 0.021904 | 0.047365 | 0.17629 | 2 | 355 | 2 | 331 | 2 | 248
0.24796 | 0.88591 | 0.85 | 84236.042 | 1.0754 | -19111.8177 | 9.9159e-05 | 1.1151 | 26.4203 | 26.3155 | 7513.5676 | 2498448.9781 | 33.0513 | 33.2615 | 0.031853 | [42243.52445490564, 22026.46100035276, 19966.056548157754] | [1.133207899130242, 1.079233409707099, 1.013868012443941] | [-10522.094370775803, -3021.8291410490783, -5567.894161178652] | [0.00012166784880016394, 7.941519612652442e-05, 9.639367787045575e-05] | [0.577624485376071, 1.2192452431207434, 1.548430101262216] | [46.33749043238977, 18.90989498463083, 14.013437237204679] | [32.55192984540527, 24.23300524093299, 22.1616850772272] | [18216.653404058885, 2777.1757103371683, 1546.8735677718232] | [0.15000004131949918, 0.04748717920608212, 0.03880543921783745] | [0.04818495785996373, 0.026395532329282965, 0.032616185347486865] | [355.0, 331.0, 249.0] | [0.6787969463601697, 0.44425949455467095, 0.15957057236384464] | [0.0003455345477150896, 0.0009782465161395483, 0.0007340716228160043] | [2.0, 2.0, 2.0] | [0.8728864438246751, 0.6000002706943317, 0.6000004413396768] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.052610471853879015, 0.015109145705245393, 0.02783947080589326] | 0.021909 | 0.047363 | 0.1763 | 2 | 355 | 2 | 331 | 2 | 249