## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.25893 | 1.0192 | 0.85 | 53677.5506 | 1.072 | -21702.712 | 0.00019817 | 0.34952 | 26.4476 | 28.59 | 4244.7601 | 2859007.6052 | 33.1748 | 33.7568 | 0.072342 | [23842.672504809452, 17093.556018929405, 12741.322048803202] | [1.1168068066852794, 1.0674758402658728, 1.031750638018605] | [-6246.39934665164, -9782.442452435784, -5673.870171674403] | [0.00018497015159136914, 0.00022133626924131412, 0.00018821168441225772] | [0.31724778465063436, 0.35636675806915064, 0.3749451588875128] | [45.70919691132262, 20.118846377471158, 13.514751638096419] | [40.071147772784435, 25.172124678031132, 20.52660135702974] | [11315.275421991806, 1085.3727786444038, 333.6322113734839] | [0.1563014941634339, 0.13833670247706198, 0.08909161349219208] | [0.07685414214870442, 0.06486304493945134, 0.05799484902498669] | [378.0, 271.0, 202.0] | [0.5083103285691072, 0.5311871132398313, 0.34917716393935766] | [0.00030000002039697033, 0.0003000000290277022, 0.0003000000379306177] | [1.0, 1.0, 1.0] | [0.8547348378341756, 0.6623442448885938, 0.6469372957716772] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.06246399346651641, 0.09782442452435783, 0.056738701716744035] | 0.013961 | 0.054488 | 0.18809 | 1 | 378 | 1 | 271 | 1 | 202
0.25886 | 1.0187 | 0.85 | 53740.6264 | 1.0721 | -21499.9489 | 0.00019745 | 0.34946 | 26.4838 | 28.6121 | 4260.428 | 2857723.5207 | 33.1746 | 33.7599 | 0.071666 | [23842.67250237135, 17093.556016470615, 12804.397901849014] | [1.1168417481561879, 1.0675542606842676, 1.032003861357147] | [-6231.855760110635, -9749.281268108769, -5518.811831074259] | [0.00018481934148648652, 0.00022107215327195535, 0.00018647299402218246] | [0.31718921635141867, 0.3562528668490383, 0.37492457982813143] | [45.76655253285404, 20.162719777133578, 13.52206059075487] | [40.100669599156575, 25.204095465764816, 20.53138753689671] | [11355.101850614554, 1092.0449689289576, 334.1371688090565] | [0.1562247547106027, 0.13825012417645996, 0.08835815657620089] | [0.07685760116415681, 0.06486892446222092, 0.05744538735425648] | [378.0, 271.0, 203.0] | [0.5080466407372487, 0.5308507986008443, 0.3499923174972063] | [0.00030000002047439987, 0.0003000000291366202, 0.0003000000378526136] | [1.0, 1.0, 1.0] | [0.8551546935930976, 0.6631144327062217, 0.6499078407962294] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.06231855760110634, 0.09749281268108768, 0.0551881183107426] | 0.013977 | 0.054462 | 0.18803 | 1 | 378 | 1 | 271 | 1 | 203
0.24892 | 0.93888 | 0.85 | 66418.8592 | 1.0738 | -22969.3609 | 0.00018073 | 0.33946 | 32.4802 | 32.2311 | 6722.476 | 2641467.7045 | 33.1274 | 33.3938 | 0.055301 | [23842.668495064678, 17093.551646912896, 25482.63901895975] | [1.1128692014433714, 1.0838527549050556, 1.0247471620602673] | [-5252.209469465717, -4959.264096028312, -12757.887352820746] | [0.00017411903618688918, 0.00017397346421551646, 0.0001940921529858349] | [0.31123146950319336, 0.3347359014447427, 0.372424527590157] | [51.883315327105684, 30.956176355204555, 14.601194426589842] | [43.21981302060762, 32.32276752688334, 21.15072262923369] | [16085.64515280306, 3667.0623396261376, 414.72042857487804] | [0.1500004080606001, 0.1232016176758472, 0.10957058941340264] | [0.08038186504160441, 0.06518505987399577, 0.057997946377593236] | [378.0, 271.0, 202.0] | [0.46413476326755326, 0.47095086946302006, 0.4708275141393836] | [0.00030000014773921065, 0.0003000002226967005, 0.00030000018883929845] | [1.0, 1.0, 2.0] | [0.8906395639434903, 0.8105244033713435, 0.6469014388571491] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05252209469465717, 0.049592640960283124, 0.06378943676410373] | 0.017275 | 0.050189 | 0.17906 | 1 | 378 | 1 | 271 | 2 | 202
0.24888 | 0.93832 | 0.85 | 66545.021 | 1.0739 | -22593.9035 | 0.00018002 | 0.3394 | 32.5218 | 32.2558 | 6737.6337 | 2639988.447 | 33.1269 | 33.3942 | 0.054635 | [23842.6714421948, 17093.5548293004, 25608.79475612417] | [1.1127751902468392, 1.0839906303987035, 1.0249256753152447] | [-5254.202310908806, -4932.709563450988, -12406.991647580926] | [0.00017414308823536653, 0.00017363996567142825, 0.00019228467940361136] | [0.3112194914609554, 0.334569061193688, 0.3724127562938902] | [51.894333515702236, 31.063468492599945, 14.607687978494084] | [43.225981612709624, 32.387481639611856, 21.153885587611164] | [16094.443006415877, 3703.2160345949005, 415.2419585712667] | [0.15000014632985614, 0.12309993223585027, 0.1086806767937617] | [0.08042625912555233, 0.06518378797676327, 0.05744870905335218] | [378.0, 271.0, 203.0] | [0.46383785324190574, 0.4705240297438705, 0.47154696978646765] | [0.00030000005414368517, 0.0003000000817251737, 0.0003000000688272445] | [1.0, 1.0, 2.0] | [0.8906412857705249, 0.8116435893927529, 0.64986909980568] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05254202310908806, 0.04932709563450988, 0.062034958237904635] | 0.017307 | 0.05016 | 0.17901 | 1 | 378 | 1 | 271 | 2 | 203
0.25884 | 1.0186 | 0.85 | 53740.623 | 1.072 | -21675.2697 | 0.0001981 | 0.34961 | 26.4295 | 28.5716 | 4254.8393 | 2857460.0913 | 33.1746 | 33.7543 | 0.072251 | [23842.671368571573, 17156.63071397342, 12741.320919894491] | [1.1168493566549114, 1.0673722344950323, 1.0316435546686566] | [-6228.811644063655, -9779.358240680749, -5667.099842732221] | [0.00018478773964165842, 0.00022135532303046464, 0.00018814673641363882] | [0.3171770141800426, 0.3566644603413291, 0.3749754683775831] | [45.778521628851124, 20.004726334976546, 13.505116356098052] | [40.10682553867433, 25.08817325444366, 20.519678822890313] | [11363.42702764695, 1068.1501000480569, 332.9406511794113] | [0.15620872071399403, 0.13814000729131287, 0.08897711241595312] | [0.07685817264632738, 0.0646458149388805, 0.05799482548289069] | [378.0, 272.0, 202.0] | [0.5079924811857048, 0.5320921708331944, 0.34833957634081925] | [0.0003000000564818256, 0.0003000000801100955, 0.00030000010502018604] | [1.0, 1.0, 1.0] | [0.8552424087058234, 0.6612758815801385, 0.6469374661079865] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.06228811644063655, 0.0977935824068075, 0.05667099842732222] | 0.013977 | 0.054457 | 0.18801 | 1 | 378 | 1 | 272 | 1 | 202
0.25877 | 1.0181 | 0.85 | 53803.7023 | 1.0721 | -21473.0051 | 0.00019738 | 0.34954 | 26.4654 | 28.5935 | 4270.4903 | 2856179.8989 | 33.1744 | 33.7573 | 0.071577 | [23842.672499408083, 17156.63186813565, 12804.39789899843] | [1.116884213766359, 1.0674500469882722, 1.0318959037551543] | [-6214.346450805668, -9746.43466943119, -5512.223997740188] | [0.00018463745098686775, 0.0002210930444233498, 0.0001864086689745505] | [0.31711857294947626, 0.3565511053969798, 0.3749549891175805] | [45.835858736556915, 20.04809593144592, 13.512386690188956] | [40.13631762961074, 25.119856261327744, 20.524439085425037] | [11403.351999580558, 1074.6770463192856, 333.4419516565858] | [0.15613229918308513, 0.13805401252721428, 0.08824438700591318] | [0.07686161716963337, 0.06465181776364581, 0.05744540230588945] | [378.0, 272.0, 203.0] | [0.5077295757613856, 0.5317570312606692, 0.34915378772980066] | [0.00030000002056850797, 0.0003000000291716749, 0.0003000000380211855] | [1.0, 1.0, 1.0] | [0.8556610830680144, 0.6620414057426777, 0.6499076664742247] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.062143464508056676, 0.09746434669431189, 0.055122239977401885] | 0.013994 | 0.054432 | 0.18795 | 1 | 378 | 1 | 272 | 1 | 203
0.24889 | 0.93856 | 0.85 | 66481.9349 | 1.0737 | -22950.5787 | 0.00018072 | 0.33959 | 32.4037 | 32.1841 | 6699.1074 | 2640611.1262 | 33.1272 | 33.3925 | 0.055274 | [23842.66846713483, 17156.62746595563, 25482.63896837471] | [1.1128145119362434, 1.0837225019279262, 1.0246692184213972] | [-5253.395002804015, -4960.561560624889, -12736.62213038893] | [0.00017413333680132585, 0.0001740361536828557, 0.00019400341342135246] | [0.31122464845107156, 0.3350846527893801, 0.3724631667436637] | [51.88955781117547, 30.734545512508287, 14.586989797829776] | [43.223319758378395, 32.18779132025895, 21.141251415589817] | [16090.616913250875, 3593.225383143313, 413.4800278799198] | [0.1500004052535082, 0.122985028086133, 0.10938415875281848] | [0.08040765211150118, 0.06493889899612476, 0.05799795986462779] | [378.0, 272.0, 202.0] | [0.46396283137967453, 0.4720207899969624, 0.4699251896331608] | [0.0003000001486262123, 0.000300000223459908, 0.0003000001903424003] | [1.0, 1.0, 2.0] | [0.8906395790208138, 0.8092262413649539, 0.6469012809033202] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05253395002804015, 0.04960561560624889, 0.06368311065194464] | 0.017291 | 0.050172 | 0.17903 | 1 | 378 | 1 | 272 | 2 | 202
0.24884 | 0.938 | 0.85 | 66608.0968 | 1.0738 | -22575.7078 | 0.00018002 | 0.33953 | 32.4449 | 32.2086 | 6713.9699 | 2639136.2592 | 33.1266 | 33.3929 | 0.054609 | [23842.671431925148, 17156.63067097359, 25608.794737518132] | [1.1127207952932976, 1.0838600931456281, 1.02484721951935] | [-5255.382498760929, -4934.034327150046, -12386.290981589267] | [0.0001741573183686699, 0.0001737030591600624, 0.00019219671894479853] | [0.31121270903318493, 0.33491821100094693, 0.37245141314205704] | [51.900542953526326, 30.8406862518382, 14.593462233158814] | [43.229469384118474, 32.25200916103722, 21.14440584915038] | [16099.391047227506, 3628.5202369228573, 413.9982711256951] | [0.15000014534198414, 0.12288323547707702, 0.10849556770990791] | [0.08045191814960417, 0.06493747811195928, 0.05744872512078056] | [378.0, 272.0, 203.0] | [0.4636667812433705, 0.47159483483113435, 0.47064490756859134] | [0.00030000005446983075, 0.0003000000820078735, 0.00030000006937738727] | [1.0, 1.0, 2.0] | [0.8906412910514766, 0.8103440782002314, 0.6498689117347703] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.052553824987609285, 0.049340343271500456, 0.06193145490794634] | 0.017324 | 0.050143 | 0.17898 | 1 | 378 | 1 | 272 | 2 | 203
0.24736 | 0.91987 | 0.85 | 70771.0993 | 1.0602 | -19714.6167 | 0.00017428 | 0.34892 | 28.6829 | 29.5246 | 6034.7262 | 2590350.9779 | 33.1103 | 33.3185 | 0.049412 | [23842.670360239197, 34187.10901700478, 12741.31993642341] | [1.1096232987013808, 1.0592639342697696, 1.0118578208625448] | [-5323.324287861591, -9781.77451410186, -4609.517876514192] | [0.000174970777942183, 0.00017087793082458418, 0.0001769939633120444] | [0.3108267637175666, 0.3554184003666763, 0.380504142563464] | [52.256364837741884, 21.91414673587499, 11.87825938938112] | [43.428832781140585, 25.82220172487207, 19.32269812526288] | [16385.531061218688, 1485.4463338490775, 233.2011052084725] | [0.15000010246854903, 0.13585010372859016, 0.06899870348736531] | [0.0819239565203243, 0.04440919206302045, 0.057999508885883136] | [378.0, 271.0, 202.0] | [0.45385256818971903, 0.6731964124295954, 0.15948886346514562] | [0.0003000000885046368, 0.00030000009593569247, 0.00030000016346659565] | [1.0, 2.0, 1.0] | [0.8906414846070633, 0.7491630800337206, 0.6468836444754237] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05323324287861591, 0.048908872570509306, 0.046095178765141916] | 0.018406 | 0.049179 | 0.17738 | 1 | 378 | 2 | 271 | 1 | 202
0.24735 | 0.91964 | 0.85 | 70834.1751 | 1.0603 | -19563.6925 | 0.00017368 | 0.34889 | 28.696 | 29.5334 | 6038.026 | 2589731.5146 | 33.1101 | 33.3195 | 0.048948 | [23842.670343723097, 34187.10897952546, 12804.395777635587] | [1.109584174416933, 1.0593225717271857, 1.011953581091949] | [-5324.191804228346, -9758.351145951581, -4481.149594135597] | [0.00017498109234940953, 0.0001707348802945242, 0.00017533377525829084] | [0.3108218923535725, 0.3553413377469648, 0.3804953073840229] | [52.26088729265557, 21.946267720053918, 11.880829268466332] | [43.43136041105467, 25.844421093700213, 19.32451195443991] | [16389.20090533347, 1491.5506031814941, 233.32661362767104] | [0.15000010217461507, 0.13578852642894032, 0.0683839249243315] | [0.08194268723404043, 0.04440423159788275, 0.05744996056919963] | [378.0, 271.0, 203.0] | [0.4537276898151108, 0.6730846127804615, 0.159968294076996] | [0.00030000008902915826, 0.00030000009676581083, 0.0003000001634699808] | [1.0, 2.0, 1.0] | [0.8906414854120837, 0.7496741731238143, 0.6498544233690846] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.053241918042283454, 0.048791755729757906, 0.044811495941355965] | 0.018423 | 0.049167 | 0.17736 | 1 | 378 | 2 | 271 | 1 | 203
0.24637 | 0.89291 | 0.85 | 79020.4084 | 1.0634 | -20612.2877 | 0.00016602 | 0.34424 | 30.7885 | 30.9377 | 6582.8844 | 2517237.1907 | 33.0765 | 33.2159 | 0.043398 | [23842.663620511197, 31689.110114689764, 23488.634661223972] | [1.1050410253779535, 1.0731260194234413, 1.0119427440134057] | [-5426.544168478675, -6487.219829438921, -8698.523735499477] | [0.00017618557402070842, 0.0001487339898544997, 0.00017313210674250445] | [0.31025678756070174, 0.3439688561600387, 0.3784980493538228] | [52.790872894278564, 27.083304797525166, 12.491330650205589] | [43.72650049462133, 29.340423473611715, 19.746073658513765] | [16825.07326123509, 2659.011826123162, 264.5680572513814] | [0.15000007657306236, 0.12139622011610289, 0.07538307127437079] | [0.08414126530892349, 0.043824329619401456, 0.055867761166974964] | [378.0, 271.0, 202.0] | [0.4390697349590408, 0.6390753908800715, 0.2589928450460487] | [0.0003000003025462691, 0.00035968889759766697, 0.0003642806588623798] | [1.0, 2.0, 2.0] | [0.8906412546790166, 0.774775833051804, 0.6000130683907283] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.054265441684786746, 0.03243609914719461, 0.04349261867749738] | 0.020552 | 0.047735 | 0.17569 | 1 | 378 | 2 | 271 | 2 | 202
0.24637 | 0.89284 | 0.85 | 79046.1993 | 1.0635 | -20523.4547 | 0.00016583 | 0.34429 | 30.7852 | 30.9313 | 6585.5082 | 2517052.9239 | 33.0764 | 33.216 | 0.04325 | [23842.663590787837, 31596.556188902858, 23606.97952057739] | [1.105029566550747, 1.0733620801597075, 1.0120188574941953] | [-5426.80642641607, -6462.367159327622, -8634.28112701877] | [0.0001761886290791826, 0.00014855952604216402, 0.00017273857078520095] | [0.31025536363961614, 0.34387471618818, 0.3787304437085051] | [52.792221823469234, 27.123414399953862, 12.439852272652548] | [43.72724900182773, 29.36977721485723, 19.696922888765396] | [16826.1974274603, 2668.9360185940077, 261.39110256194596] | [0.150000076544845, 0.12115988195094005, 0.07520117558530418] | [0.0841468699775091, 0.043841472781853276, 0.055598997905514334] | [378.0, 271.0, 203.0] | [0.4390323687218354, 0.6382294304098292, 0.26077467597669984] | [0.00030000030349022967, 0.00036208176199568486, 0.0003642088183122939] | [1.0, 2.0, 2.0] | [0.890641253154443, 0.7734673620205007, 0.6000093496306099] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05426806426416071, 0.03231183579663811, 0.043171405635093855] | 0.020559 | 0.047731 | 0.17569 | 1 | 378 | 2 | 271 | 2 | 203
0.24733 | 0.91941 | 0.85 | 70897.2332 | 1.0601 | -19691.251 | 0.00017424 | 0.34903 | 28.6388 | 29.4931 | 6028.5996 | 2589088.5106 | 33.1098 | 33.3165 | 0.04937 | [23842.66535498651, 34313.25283649597, 12741.314992159694] | [1.1095432624388941, 1.0591326418707907, 1.0117675762152822] | [-5325.1333165250835, -9760.633527748478, -4605.484151196427] | [0.00017499227760514577, 0.0001707818583834429, 0.0001769467636327105] | [0.3108169878991217, 0.35574634255079274, 0.38052861538337807] | [52.265399410909616, 21.779427628912096, 11.871594870366192] | [43.433897822794194, 25.727740715179305, 19.317686145857557] | [16392.847482182366, 1460.0917216250639, 232.8597418761257] | [0.15000028055015735, 0.13558281389142077, 0.0689126894287772] | [0.0819622369958397, 0.04424600401015196, 0.05799942585669504] | [378.0, 272.0, 202.0] | [0.4535980017457537, 0.6737557098107876, 0.1584404477379627] | [0.0003000002474624431, 0.00030000026970002796, 0.000300000457297907] | [1.0, 2.0, 1.0] | [0.890640142286773, 0.748228595493395, 0.6468841759092733] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05325133316525083, 0.048803167638742394, 0.04605484151196427] | 0.018439 | 0.049154 | 0.17735 | 1 | 378 | 2 | 272 | 1 | 202
0.24732 | 0.91917 | 0.85 | 70960.3266 | 1.0602 | -19540.7575 | 0.00017364 | 0.349 | 28.6517 | 29.5019 | 6031.8944 | 2588471.5869 | 33.1095 | 33.3176 | 0.048907 | [23842.670303291787, 34313.26058534799, 12804.39573633258] | [1.1095046155092998, 1.0591905471960135, 1.0118625626472912] | [-5325.956604260246, -9737.54479055292, -4477.256069468844] | [0.00017500206953074802, 0.00017064064096449565, 0.0001752874180657417] | [0.31081198668166876, 0.35566994239758787, 0.3805199404308303] | [52.27008590439573, 21.811038089979927, 11.874122252177784] | [43.43650109028074, 25.749665738874995, 19.319465875579375] | [16396.667892320384, 1466.0323778696688, 232.98283925988818] | [0.1500001014953723, 0.13552205791458863, 0.06829855140565802] | [0.08198078662431586, 0.04424116735711568, 0.05744999674304208] | [378.0, 272.0, 203.0] | [0.4534736794538705, 0.6736450092350437, 0.1589171915873045] | [0.0003000000903131836, 0.0003000000987039541, 0.0003000001659124736] | [1.0, 2.0, 1.0] | [0.8906414871434493, 0.7487346001778885, 0.6498539988754756] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05325956604260246, 0.0486877239527646, 0.04477256069468844] | 0.018456 | 0.049142 | 0.17733 | 1 | 378 | 2 | 272 | 1 | 203
0.24637 | 0.8929 | 0.85 | 79022.3212 | 1.0634 | -20605.2245 | 0.00016602 | 0.34437 | 30.7152 | 30.8924 | 6562.4684 | 2517216.4164 | 33.0765 | 33.2159 | 0.043386 | [23842.66361473724, 31692.82429517096, 23486.833267071343] | [1.105039733472788, 1.0731036599264505, 1.0119416546501814] | [-5426.573736652339, -6483.801517302016, -8694.849287769443] | [0.00017618591847106736, 0.00014876767770838435, 0.0001731074092291345] | [0.31025662703388834, 0.34436370576041997, 0.3784952527950947] | [52.79102496044468, 26.862750779664395, 12.491883633759084] | [43.72658487639356, 29.203817431921742, 19.74666326710101] | [16825.19998482188, 2597.6015664139823, 264.6037606458611] | [0.15000007656819828, 0.12100379542394737, 0.07536969176516835] | [0.08414189718157501, 0.04367877039762544, 0.055862404286815576] | [378.0, 272.0, 202.0] | [0.4390655222677192, 0.6391075724652094, 0.2589323398055426] | [0.00030000030272963956, 0.00036260716076600606, 0.0003643436648214441] | [1.0, 2.0, 2.0] | [0.8906412543791928, 0.770948301608974, 0.6000128520582868] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05426573736652339, 0.032419007586510076, 0.04347424643884722] | 0.020553 | 0.047734 | 0.17569 | 1 | 378 | 2 | 272 | 2 | 202
0.24637 | 0.89283 | 0.85 | 79048.1976 | 1.0635 | -20513.5112 | 0.00016583 | 0.34442 | 30.7123 | 30.8864 | 6565.0748 | 2517031.8597 | 33.0764 | 33.2161 | 0.043234 | [23842.646792534088, 31601.548401346427, 23604.00238281368] | [1.1050279605811126, 1.0733371135561707, 1.012018545316876] | [-5426.878668896357, -6459.186844843643, -8627.445675172268] | [0.0001761894738833047, 0.00014859425467249443, 0.00017269213674011498] | [0.3102553724684472, 0.34426779655483997, 0.37872409231208903] | [52.792164861236266, 26.90362639594298, 12.441196146433843] | [43.72723563741292, 29.233651644727324, 19.69826148647821] | [16826.13277684076, 2607.616543289934, 261.47495091362885] | [0.1500002109743429, 0.12077341759327444, 0.07517883567432863] | [0.0841476236680176, 0.04369639532447377, 0.05558869344479852] | [378.0, 272.0, 203.0] | [0.4390278466672787, 0.6382727977666587, 0.2606920187650282] | [0.0003000008369730661, 0.0003649750394032273, 0.00036431242138658534] | [1.0, 2.0, 2.0] | [0.8906394986621351, 0.769675836097513, 0.6000255816824019] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05426878668896358, 0.03229593422421821, 0.04313722837586135] | 0.020559 | 0.047731 | 0.17569 | 1 | 378 | 2 | 272 | 2 | 203
0.25884 | 1.0186 | 0.85 | 53740.623 | 1.0719 | -21679.6404 | 0.00019813 | 0.34965 | 26.3438 | 28.5336 | 4182.3349 | 2857438.4777 | 33.1746 | 33.7542 | 0.072265 | [23905.74722325934, 17093.554859469954, 12741.320919632051] | [1.1166703455015587, 1.0673519415596984, 1.0316416944157782] | [-6245.945306345742, -9766.712688064254, -5666.982367206849] | [0.00018500360574346284, 0.00022123961223235542, 0.00018814560822316971] | [0.31751000201731727, 0.35647036861509174, 0.37497599580048496] | [45.45005164406844, 20.07627087923627, 13.504948833379538] | [39.9385840924987, 25.142569799698954, 20.519558481671005] | [11135.359141145213, 1078.7167766239381, 332.9286376559369] | [0.1560619387584075, 0.13814348488871933, 0.08897512433440852] | [0.07660189934502289, 0.06480132467361945, 0.057994825295121795] | [379.0, 271.0, 202.0] | [0.509171911069227, 0.5309782584271756, 0.3483250118280434] | [0.0003000000563390892, 0.0003000000803887408, 0.0003000001050357822] | [1.0, 1.0, 1.0] | [0.8537880970165957, 0.6621084407755753, 0.6469374682404655] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.06245945306345743, 0.09766712688064252, 0.05666982367206848] | 0.013977 | 0.054457 | 0.18801 | 1 | 379 | 1 | 271 | 1 | 202
0.25877 | 1.0181 | 0.85 | 53803.7023 | 1.072 | -21477.3477 | 0.00019741 | 0.34959 | 26.3797 | 28.5555 | 4197.7273 | 2856158.4211 | 33.1744 | 33.7573 | 0.071591 | [23905.748354222338, 17093.556013388643, 12804.397898903331] | [1.1167052115270866, 1.067429906508891, 1.0318940363460074] | [-6231.430347994949, -9733.807501589949, -5512.109883554981] | [0.00018485308826226595, 0.00022097718876425395, 0.00018640755301365126] | [0.31745155113362317, 0.35635682361942184, 0.37495551557088536] | [45.5069065323576, 20.119907216467322, 13.512219319813909] | [39.967921519535494, 25.174396509220905, 20.524318907934973] | [11174.425600504379, 1085.3264989943243, 333.4299336161076] | [0.1559853313609689, 0.13805774114815417, 0.08824241846535243] | [0.07660537480274845, 0.06480732016697047, 0.057445402126902724] | [379.0, 271.0, 203.0] | [0.5089085524673528, 0.53064333982184, 0.3491392647262473] | [0.00030000002051652313, 0.0003000000292731436, 0.0003000000380268092] | [1.0, 1.0, 1.0] | [0.854207470365967, 0.6628751753983947, 0.6499076685500054] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.06231430347994949, 0.0973380750158995, 0.05512109883554981] | 0.013994 | 0.054431 | 0.18795 | 1 | 379 | 1 | 271 | 1 | 203
0.24889 | 0.93856 | 0.85 | 66481.9452 | 1.0736 | -22988.8 | 0.00018088 | 0.33966 | 32.2792 | 32.1304 | 6565.1936 | 2640615.9153 | 33.1272 | 33.3925 | 0.055403 | [23905.747304849327, 17093.55483731872, 25482.643049247126] | [1.11238938918486, 1.0837248289677501, 1.0246658959312902] | [-5300.483907430859, -4952.3318554307625, -12735.984234532667] | [0.0001747242576030209, 0.00017391052939543387, 0.00019400099395186865] | [0.31166923955079556, 0.33485846213511605, 0.3724649730030702] | [51.37544298269356, 30.87567201950423, 14.586347143049299] | [42.97511613396523, 32.27529898982903, 21.14081233913276] | [15642.374019592597, 3639.782278571587, 413.4243736160297] | [0.150000144200966, 0.12303172224578814, 0.10937705575743792] | [0.0802390303544199, 0.06509545777636606, 0.05799820632397755] | [379.0, 271.0, 202.0] | [0.4650860981272857, 0.47094867655957245, 0.46988850168378776] | [0.00030000005375477583, 0.00030000008136998305, 0.0003000000690819266] | [1.0, 1.0, 2.0] | [0.8882913220656763, 0.8102030667255535, 0.6468986899190262] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.053004839074308585, 0.049523318554307624, 0.06367992117266334] | 0.017291 | 0.050172 | 0.17903 | 1 | 379 | 1 | 271 | 2 | 202
0.24884 | 0.938 | 0.85 | 66608.0864 | 1.0737 | -22613.53 | 0.00018017 | 0.3396 | 32.3206 | 32.1551 | 6580.0797 | 2639141.66 | 33.1267 | 33.3928 | 0.054736 | [23905.74427631879, 17093.551552235233, 25608.790613524277] | [1.1122951974841344, 1.0838637597877079, 1.0248441851502168] | [-5302.603305814103, -4925.650165431332, -12385.276537693813] | [0.00017474967427265158, 0.00017357512802725802, 0.00019219220235551556] | [0.31165763631637855, 0.33469111129646895, 0.3724527817596197] | [51.38588486826219, 30.98298786138226, 14.592942046906177] | [42.98102790213141, 32.34009579853345, 21.14406785131096] | [15650.51581590175, 3675.7706407969345, 413.95252573800974] | [0.15000039299387258, 0.1229293274115863, 0.10848772447479352] | [0.08028364781382513, 0.06509361890856835, 0.05744852613203214] | [379.0, 271.0, 203.0] | [0.4647895216612871, 0.470522801303774, 0.4706084590878513] | [0.0003000001496816568, 0.0003000002268906769, 0.00030000019131553256] | [1.0, 1.0, 2.0] | [0.8882896772303577, 0.8113272418667109, 0.6498710033395257] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05302603305814102, 0.04925650165431333, 0.06192638268846906] | 0.017324 | 0.050143 | 0.17898 | 1 | 379 | 1 | 271 | 2 | 203
0.25875 | 1.018 | 0.85 | 53803.7023 | 1.0718 | -21652.6667 | 0.00019805 | 0.34974 | 26.3254 | 28.5151 | 4192.1252 | 2855895.7588 | 33.1744 | 33.7517 | 0.072176 | [23905.748353706826, 17156.63186752096, 12741.322043010696] | [1.1167127002688992, 1.067247646339041, 1.0315347597533793] | [-6228.4068167091955, -9763.991290981212, -5660.268586913903] | [0.00018482170009462683, 0.00022126147713565176, 0.00018808119077771217] | [0.31743941355137584, 0.35676857392073236, 0.37500631264835854] | [45.51873020031248, 19.962222624734807, 13.495323821098197] | [39.974018467550835, 25.05859617197454, 20.512638719906004] | [11182.563182262318, 1061.5733044773176, 332.23908793258477] | [0.1559693952448536, 0.13794834242464246, 0.08886104097059655] | [0.07660598251120482, 0.0645849888860146, 0.0579948793260148] | [379.0, 272.0, 202.0] | [0.5088544743456106, 0.5318830732592627, 0.34748742272597183] | [0.0003000000205328519, 0.0003000000291988039, 0.0003000000382748587] | [1.0, 1.0, 1.0] | [0.8542947486748553, 0.6610346665527909, 0.6469369475235601] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.062284068167091956, 0.09763991290981212, 0.05660268586913903] | 0.013994 | 0.054426 | 0.18794 | 1 | 379 | 1 | 272 | 1 | 202
0.25869 | 1.0175 | 0.85 | 53866.7747 | 1.072 | -21450.1969 | 0.00019734 | 0.34967 | 26.3613 | 28.5371 | 4207.5632 | 2854619.9404 | 33.1742 | 33.7547 | 0.071501 | [23905.747208284214, 17156.630698606252, 12804.396761513062] | [1.116747983039778, 1.0673263761718907, 1.0317863779949306] | [-6213.899567551275, -9730.762385322389, -5505.534912261498] | [0.0001846709655071301, 0.00022099648578626828, 0.0001863432549302162] | [0.31738089624841725, 0.35665479211857937, 0.3749858135724998] | [45.5757642339856, 20.005665157056825, 13.5025870820097] | [40.003425320078314, 25.090356705982792, 20.517399757811404] | [11221.864865480235, 1068.0858743848898, 332.7389590171376] | [0.15589276977229127, 0.137861316434577, 0.08812893928758705] | [0.07660928408431698, 0.06459026739666132, 0.05744537932054056] | [379.0, 272.0, 203.0] | [0.5085918619279618, 0.5315490866372549, 0.34830110842968703] | [0.00030000005681341733, 0.00030000008078831845, 0.00030000010528745196] | [1.0, 1.0, 1.0] | [0.8547145950173591, 0.6618055236213529, 0.6499078336383084] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.06213899567551275, 0.09730762385322388, 0.05505534912261498] | 0.01401 | 0.054401 | 0.18788 | 1 | 379 | 1 | 272 | 1 | 203
0.24886 | 0.93825 | 0.85 | 66545.021 | 1.0735 | -22970.1287 | 0.00018087 | 0.33979 | 32.2028 | 32.0835 | 6541.9689 | 2639762.0925 | 33.1269 | 33.3912 | 0.055376 | [23905.74729463485, 17156.63067906281, 25482.643030659314] | [1.1123350736057755, 1.083594655296086, 1.0245880767863504] | [-5301.680252104681, -4953.631405085244, -12714.816998267874] | [0.0001747386146260565, 0.00017397323060819883, 0.000193912534593795] | [0.311662407074353, 0.3352072567144418, 0.37250352772298306] | [51.381622256992195, 30.65467193679205, 14.572188336284409] | [42.97860287259637, 32.14055361110015, 21.13136912331121] | [15647.20366552099, 3566.5119007419053, 412.19125601889544] | [0.1500001432408543, 0.12281556838556522, 0.10919109696245703] | [0.08026479114614411, 0.06484977459287364, 0.0579982222475762] | [379.0, 272.0, 202.0] | [0.4649143477103788, 0.4720180570515828, 0.4689852467963319] | [0.0003000000540783132, 0.0003000000816508594, 0.0003000000696342512] | [1.0, 1.0, 2.0] | [0.8882913271729623, 0.8089047045031761, 0.6468985060238732] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.053016802521046805, 0.049536314050852445, 0.06357408499133937] | 0.017307 | 0.050156 | 0.179 | 1 | 379 | 1 | 272 | 2 | 202
0.24881 | 0.93769 | 0.85 | 66671.1622 | 1.0736 | -22595.4385 | 0.00018017 | 0.33973 | 32.2439 | 32.108 | 6556.5623 | 2638292.2103 | 33.1264 | 33.3915 | 0.05471 | [23905.744247783023, 17156.627370310536, 25608.790561575624] | [1.1122411797855725, 1.08373330154942, 1.0247658563908826] | [-5303.793615460432, -4926.976611445124, -12364.668298855457] | [0.0001747639528892841, 0.0001736382287335589, 0.00019210450097087705] | [0.3116508401799626, 0.33504030406747853, 0.37249135000400946] | [51.392034113646446, 30.7608374036064, 14.57876322196893] | [42.984497075713215, 32.204854201926366, 21.134617040445818] | [15655.324673830377, 3601.6459016311696, 412.71620887418385] | [0.1500003904256172, 0.1227130653373507, 0.10830307757953017] | [0.08030927922426657, 0.06484778753453374, 0.057448540491160376] | [379.0, 272.0, 203.0] | [0.46461862837895745, 0.47159306553223157, 0.46970546423094495] | [0.0003000001505855101, 0.00030000022768116236, 0.0003000001928515493] | [1.0, 1.0, 2.0] | [0.8882896908234045, 0.8100275383406172, 0.6498708332989483] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05303793615460432, 0.04926976611445124, 0.061823341494277276] | 0.01734 | 0.050127 | 0.17895 | 1 | 379 | 1 | 272 | 2 | 203
0.24735 | 0.91963 | 0.85 | 70834.1751 | 1.06 | -19743.1626 | 0.00017445 | 0.3491 | 28.4955 | 29.4317 | 5880.8038 | 2589680.8507 | 33.1101 | 33.3174 | 0.049538 | [23905.746195436244, 34187.10896386583, 12741.319912501933] | [1.1091664722471517, 1.0591439667108797, 1.0118066720983276] | [-5372.2580997490395, -9763.65189373444, -4607.252574003364] | [0.0001755794800067566, 0.00017079781331091345, 0.00017696748859070727] | [0.31126412102452083, 0.3555171382067692, 0.38051806939586286] | [51.744438244901936, 21.86757908838891, 11.874469275732332] | [43.18280142594606, 25.792363142135525, 19.319846091768053] | [15933.453595153744, 1475.9508684717155, 233.00683799687084] | [0.15000010081884174, 0.13564832428924276, 0.06895004333740103] | [0.08177913032705243, 0.044390418013039355, 0.057999526437967956] | [379.0, 271.0, 202.0] | [0.4548181156036519, 0.6728487259389733, 0.15889513583154596] | [0.0003000000888947643, 0.00030000009711265123, 0.000300000164888218] | [1.0, 2.0, 1.0] | [0.8882915161470979, 0.7489511308126049, 0.6468834410944301] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0537225809974904, 0.04881825946867221, 0.04607252574003365] | 0.018423 | 0.049166 | 0.17736 | 1 | 379 | 2 | 271 | 1 | 202
0.24733 | 0.91939 | 0.85 | 70897.2509 | 1.0601 | -19592.3826 | 0.00017385 | 0.34907 | 28.5085 | 29.4405 | 5884.0538 | 2589063.0293 | 33.1098 | 33.3185 | 0.049074 | [23905.746178746966, 34187.10892563255, 12804.39575354467] | [1.1091275944849326, 1.0592024853482354, 1.0119020311236706] | [-5373.133770485359, -9740.306434901506, -4478.94242939445] | [0.00017558983801648246, 0.00017065501638766352, 0.000175307494222638] | [0.3112592378273149, 0.3554401837363331, 0.3805092610780498] | [51.748918512792685, 21.89958523271592, 11.877029512144262] | [43.18531657782048, 25.814521829196515, 19.32165380029422] | [15937.021434073988, 1482.0082812837418, 233.13178489644415] | [0.15000010053617838, 0.13558697274417314, 0.06833556117545016] | [0.08179785220849178, 0.04438540146045668, 0.05744997780714271] | [379.0, 271.0, 203.0] | [0.4546932961343593, 0.6727375608505961, 0.15937321930182582] | [0.000300000089423387, 0.00030000009795946874, 0.0003000001648946202] | [1.0, 2.0, 1.0] | [0.8882915168759182, 0.7494615593777527, 0.6498542207208802] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05373133770485359, 0.048701532174507525, 0.04478942429394451] | 0.018439 | 0.049154 | 0.17734 | 1 | 379 | 2 | 271 | 1 | 203
0.24637 | 0.89291 | 0.85 | 79019.9247 | 1.0632 | -20640.9852 | 0.00016618 | 0.34443 | 30.5877 | 30.839 | 6418.9517 | 2517233.4611 | 33.0765 | 33.2159 | 0.043528 | [23905.72274550483, 31632.070811542773, 23482.131174609018] | [1.1046420125437348, 1.073052967744353, 1.0119407569530507] | [-5475.810246854788, -6481.004576095394, -8684.170395360878] | [0.00017679201087328746, 0.00014872213049828704, 0.00017303525393603156] | [0.3106966035362176, 0.3441061668779555, 0.378485648466458] | [52.27032129593076, 26.998932759802994, 12.493909358963851] | [43.4769881970009, 29.291340991238123, 19.748693827224493] | [16357.788035918475, 2634.3354344930117, 264.73158289935276] | [0.1500002091825045, 0.12115099645741222, 0.07533437204886355] | [0.08398112488703507, 0.043807676288133514, 0.0558464071507168] | [379.0, 271.0, 202.0] | [0.4401378806026835, 0.6384822328693721, 0.2587971549584483] | [0.00030000083165792365, 0.00036116192077547565, 0.00036450817179251504] | [1.0, 2.0, 2.0] | [0.8882895464838709, 0.773097026138296, 0.6000339822412512] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05475810246854788, 0.032405022880476975, 0.04342085197680439] | 0.020552 | 0.047735 | 0.17569 | 1 | 379 | 2 | 271 | 2 | 202
0.24637 | 0.89284 | 0.85 | 79045.5076 | 1.0633 | -20553.9605 | 0.000166 | 0.34448 | 30.5844 | 30.8326 | 6421.6303 | 2517050.7983 | 33.0764 | 33.2161 | 0.043383 | [23905.7394460792, 31539.084329931513, 23600.683837584762] | [1.1046309843044309, 1.0732896122706175, 1.0120163353379026] | [-5476.031297745969, -6456.19383956907, -8621.735411064126] | [0.00017679457017402215, 0.00014854773091025258, 0.0001726536457301383] | [0.31069501611353995, 0.3440110198270533, 0.3787202137903031] | [52.27185466067156, 27.03943088596278, 12.441917992274458] | [43.47782500790786, 29.320975627295077, 19.699075241251894] | [16359.058402843551, 2644.310267426249, 261.5221803629859] | [0.1500000758625264, 0.12091547927760087, 0.07515677445101816] | [0.08398658073627828, 0.04382529466345188, 0.05558042731495703] | [379.0, 271.0, 203.0] | [0.44010100900023824, 0.6376319270775334, 0.26058492649457027] | [0.0003000003026766373, 0.0003635746920183402, 0.00036442793609561906] | [1.0, 2.0, 2.0] | [0.8882912817284151, 0.7717818190984946, 0.6000089552125226] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05476031297745968, 0.03228096919784536, 0.043108677055320635] | 0.020559 | 0.047731 | 0.17569 | 1 | 379 | 2 | 271 | 2 | 203
0.24732 | 0.91916 | 0.85 | 70960.3266 | 1.0599 | -19720.1073 | 0.00017441 | 0.34921 | 28.4515 | 29.4002 | 5874.7072 | 2588422.0986 | 33.1096 | 33.3155 | 0.049496 | [23905.746154929173, 34313.26056905913, 12741.319870951513] | [1.109087268033352, 1.0590123589622398, 1.011716749772067] | [-5374.042310742425, -9742.787189132661, -4603.2777846361805] | [0.000175600582920994, 0.00017070329500176127, 0.00017692101550574913] | [0.31125417271258926, 0.35584540868769254, 0.3805425441464772] | [51.753566517784336, 21.733022879329646, 11.867811968389745] | [43.18792572708012, 25.697933686384893, 19.314834929385032] | [15940.7237088309, 1450.731850416414, 232.66602941903142] | [0.15000010015977117, 0.1353822120930658, 0.06886454240656943] | [0.08181727537014644, 0.04422773707412133, 0.057999563291816464] | [379.0, 272.0, 202.0] | [0.4545638009041434, 0.6734072655960097, 0.15784977369087508] | [0.0003000000901778013, 0.00030000009906340497, 0.00030000016735750587] | [1.0, 2.0, 1.0] | [0.8882915177562039, 0.7480131279903592, 0.6468830147780056] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05374042310742425, 0.048713935945663304, 0.046032777846361804] | 0.018456 | 0.049141 | 0.17733 | 1 | 379 | 2 | 272 | 1 | 202
0.24731 | 0.91893 | 0.85 | 71023.4024 | 1.06 | -19569.5486 | 0.00017381 | 0.34918 | 28.4644 | 29.409 | 5877.9076 | 2587807.0481 | 33.1093 | 33.3165 | 0.049033 | [23905.746137885544, 34313.260529308754, 12804.395711692858] | [1.1090485750313759, 1.0590706139376036, 1.0118113971456626] | [-5374.914299493721, -9719.564916070563, -4475.069376111687] | [0.00017561089370829645, 0.00017056104459537805, 0.00017526135772229305] | [0.3112493128933098, 0.35576876719176603, 0.3805337847268452] | [51.7580269127885, 21.76467107419472, 11.870354814372309] | [43.19042940716191, 25.719900955536286, 19.31663154503489] | [15944.277363809699, 1456.6555841747193, 232.78996917826458] | [0.15000009988294996, 0.13532104105973336, 0.06825057509799393] | [0.08183591525104882, 0.044222647715658946, 0.057450013992145034] | [379.0, 272.0, 203.0] | [0.4544395281566232, 0.6732971096515521, 0.1583254071361723] | [0.00030000009071764794, 0.00030000009994058736, 0.00030000016736956707] | [1.0, 2.0, 1.0] | [0.8882915184303606, 0.7485217545705365, 0.6498537960531197] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05374914299493721, 0.04859782458035281, 0.04475069376111687] | 0.018472 | 0.049129 | 0.17731 | 1 | 379 | 2 | 272 | 1 | 203
0.24637 | 0.8929 | 0.85 | 79021.8211 | 1.0632 | -20633.9832 | 0.00016619 | 0.34456 | 30.5151 | 30.794 | 6398.8359 | 2517212.8529 | 33.0765 | 33.2159 | 0.043516 | [23905.722729705194, 31635.761971601984, 23480.336417345123] | [1.1046407354555432, 1.0730307570738231, 1.0119396695665759] | [-5475.83993721456, -6477.607580761165, -8680.535644792742] | [0.0001767923550176115, 0.00014875562221369727, 0.00017301079762356382] | [0.31069644350311665, 0.34449896870371494, 0.3784828830517222] | [52.27047108797257, 26.78028692337732, 12.494455839018434] | [43.477071693143216, 29.155722433730784, 19.7492769581471] | [16357.910512372595, 2573.830262857119, 264.76689594304037] | [0.1500002091694653, 0.12076154004125948, 0.0753211083160241] | [0.08398175308967055, 0.04366298283983979, 0.05584110287290331] | [379.0, 272.0, 202.0] | [0.44013369235174016, 0.638514269747387, 0.25873701714883196] | [0.0003000008321583684, 0.00036408587025666994, 0.00036457098037770354] | [1.0, 2.0, 2.0] | [0.8882895456663762, 0.7692775407014362, 0.6000334554296753] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05475839937214561, 0.03238803790380582, 0.04340267822396371] | 0.020552 | 0.047734 | 0.17569 | 1 | 379 | 2 | 272 | 2 | 202
0.24637 | 0.89283 | 0.85 | 79047.3838 | 1.0633 | -20547.0607 | 0.000166 | 0.3446 | 30.5121 | 30.7879 | 6401.5616 | 2517030.4022 | 33.0764 | 33.2161 | 0.043372 | [23905.739440375826, 31542.726970702402, 23598.917427796157] | [1.1046297204534716, 1.0732675206667646, 1.0120152545374377] | [-5476.060676879295, -6452.829103657505, -8618.170953224979] | [0.00017679491069083348, 0.0001485809672782981, 0.00017262954586561626] | [0.310694857697324, 0.34440126868678955, 0.3787174869770934] | [52.27200295901637, 26.821811323460707, 12.442453213375488] | [43.477907665443965, 29.18606187636535, 19.699648283726354] | [16359.179670991463, 2583.948545203649, 261.5564901816045] | [0.15000007585785208, 0.12052915402678743, 0.07514368180286501] | [0.08398720246098415, 0.043681433126599584, 0.055575218221983566] | [379.0, 272.0, 203.0] | [0.4400968639649596, 0.6376637926531131, 0.2605253795222646] | [0.00030000030285728827, 0.00036650824584103555, 0.00036448943601964515] | [1.0, 2.0, 2.0] | [0.8882912814331207, 0.7679753674147571, 0.6000088539040405] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.054760606768792956, 0.032264145518287525, 0.0430908547661249] | 0.020559 | 0.047731 | 0.17569 | 1 | 379 | 2 | 272 | 2 | 203
0.24603 | 0.89533 | 0.85 | 77520.1146 | 1.0506 | -13383.6732 | 0.00015288 | 0.36155 | 21.6398 | 25.1491 | 3076.8633 | 2524562.1094 | 33.0828 | 33.2298 | 0.033415 | [47685.25266094249, 17093.54716914714, 12741.314766978525] | [1.1066927345453657, 1.0371556660391654, 1.007802855907082] | [-6718.516909689373, -2227.968242730128, -4437.188016886982] | [0.00014552613929678064, 0.00013816121341263984, 0.00017494116370195162] | [0.328182959641805, 0.3748677837846137, 0.3815983964596882] | [39.78887746457373, 13.5457287643479, 11.584813575038098] | [35.84825603207599, 20.49813050257686, 19.10101602722279] | [8676.24462912246, 335.6795732868052, 218.6656387429381] | [0.1504446353822145, 0.06561076201292074, 0.0651888582338432] | [0.03931186659575235, 0.0423523892926164, 0.05800144268627178] | [378.0, 271.0, 202.0] | [0.7387352245496992, 0.35459819670879184, 0.11031094562048632] | [0.00030000148681301654, 0.00030000042105021913, 0.0003000004706801434] | [2.0, 1.0, 1.0] | [0.8880073232933106, 0.7421446679214853, 0.6468610344272181] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.033592584548446866, 0.022279682427301283, 0.044371880168869816] | 0.020162 | 0.047879 | 0.17559 | 2 | 378 | 1 | 271 | 1 | 202
0.24602 | 0.89514 | 0.85 | 77583.1775 | 1.0506 | -13252.6985 | 0.00015233 | 0.36153 | 21.6541 | 25.157 | 3084.8917 | 2524063.7736 | 33.0826 | 33.2305 | 0.032998 | [47685.2399761254, 17093.547018191293, 12804.390543672413] | [1.1067410418311368, 1.0371539848881395, 1.007865796960018] | [-6706.682165584154, -2232.800054902965, -4313.216313653808] | [0.00014543896194809807, 0.00013826148615835962, 0.00017329555924208543] | [0.32813208285861595, 0.3748640428229027, 0.3815919340829108] | [39.82905938899246, 13.546788479407661, 11.586577875110985] | [35.869899991479784, 20.498822391904675, 19.102308033062133] | [8700.1676654187, 335.7597044931329, 218.74763961754724] | [0.15039215320084245, 0.06566118152736049, 0.0645964414289273] | [0.03931738646650606, 0.042380778663666074, 0.05745186110470866] | [378.0, 271.0, 203.0] | [0.7386073084460508, 0.35466143382374227, 0.11065913257702865] | [0.0003000016882372384, 0.00030000042773717736, 0.0003000004729855144] | [2.0, 1.0, 1.0] | [0.8883168500920275, 0.7419377334443719, 0.6498318754234216] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03353341082792077, 0.02232800054902965, 0.04313216313653809] | 0.020178 | 0.04787 | 0.17558 | 2 | 378 | 1 | 271 | 1 | 203
0.24605 | 0.88741 | 0.85 | 80487.8769 | 1.0506 | -17936.0338 | 0.00015787 | 0.35933 | 21.1067 | 25.2492 | 2228.5123 | 2502635.0004 | 33.071 | 33.2248 | 0.036583 | [42570.130628624574, 17093.267668440905, 20824.4786401686] | [1.0990297619269296, 1.0418789660237544, 1.0110245783920977] | [-9085.48448768218, -4013.798571265093, -4836.7507863794735] | [0.00016405798754713844, 0.00016775965378671744, 0.0001417858324635388] | [0.3319670561139547, 0.3725270386154026, 0.3735012043179594] | [35.42707576109083, 14.280047323835257, 13.61309356585532] | [33.899302163921405, 21.00710013620363, 20.84132224338153] | [5950.282103227482, 393.19683749222685, 342.05808677175673] | [0.15000007378784527, 0.08392318561336952, 0.060303110559231696] | [0.04666970445881049, 0.049914186716764807, 0.04890678647671181] | [378.0, 271.0, 202.0] | [0.68890011103155, 0.40533527837254146, 0.18907169383258107] | [0.0003909849522359948, 0.0003000128024191039, 0.0004693758538636711] | [2.0, 1.0, 2.0] | [0.7654983342930407, 0.6908241146033195, 0.600000716482058] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0454274224384109, 0.040137985712650925, 0.02418375393189737] | 0.020934 | 0.047446 | 0.17528 | 2 | 378 | 1 | 271 | 2 | 202
0.24606 | 0.88735 | 0.85 | 80518.3714 | 1.0507 | -17890.7606 | 0.00015774 | 0.35938 | 21.0925 | 25.238 | 2225.7041 | 2502477.3475 | 33.0709 | 33.2253 | 0.036539 | [42536.06560315428, 17093.221879310026, 20889.08395781248] | [1.0989952576911013, 1.0418951885267504, 1.011092053580837] | [-9099.219423534527, -4032.7748607689396, -4758.766313659013] | [0.00016415687187971848, 0.00016802179618556065, 0.00014103962615480363] | [0.3319685993393186, 0.3725121845331687, 0.3736524751358167] | [35.418118806468016, 14.284758506499932, 13.574727974995579] | [33.89667539525198, 21.0103402631889, 20.806990431918134] | [5944.24906363664, 393.5906238080307, 339.27254614672626] | [0.15000007347337435, 0.08407772619109455, 0.05994348334400624] | [0.04672652819124793, 0.0499825845722644, 0.04857884783378981] | [378.0, 271.0, 203.0] | [0.6885212314940646, 0.4056148669392174, 0.18967707027570188] | [0.00039166422150059977, 0.0003000148308322585, 0.000471082982206494] | [2.0, 1.0, 2.0] | [0.7647827068296122, 0.6903910981307897, 0.6000006966954802] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04549609711767263, 0.040327748607689395, 0.023793831568295065] | 0.020942 | 0.047443 | 0.17528 | 2 | 378 | 1 | 271 | 2 | 203
0.24603 | 0.89517 | 0.85 | 77583.1734 | 1.0506 | -13324.3507 | 0.00015253 | 0.36153 | 21.6559 | 25.1577 | 3086.1514 | 2524117.4826 | 33.0826 | 33.2292 | 0.033241 | [47685.23585467343, 17156.622902588784, 12741.314688597697] | [1.1067586456671774, 1.0373362606117236, 1.007779371288256] | [-6703.991272396934, -2184.126557517887, -4436.2328675796325] | [0.00014541798381269663, 0.00013724430061314157, 0.00017492956871419725] | [0.3281256853310401, 0.3748576770602261, 0.38160467717591984] | [39.83492202006755, 13.549680650298473, 11.583154734341278] | [35.87282579221117, 20.500653204014583, 19.099756851869437] | [8703.922071211735, 335.945694865635, 218.58635617684436] | [0.15038232418501457, 0.06521948145896207, 0.06516707989290146] | [0.03931331089772845, 0.04206675812891399, 0.05800146195750993] | [378.0, 272.0, 202.0] | [0.7386173245675068, 0.35510517332745656, 0.11001316486234733] | [0.0003000017536824508, 0.00030000042486215455, 0.00030000047533821836] | [2.0, 1.0, 1.0] | [0.8883747936256049, 0.7441878311338144, 0.6468608069898147] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03351995636198467, 0.021841265575178865, 0.04436232867579633] | 0.020178 | 0.047871 | 0.17559 | 2 | 378 | 1 | 272 | 1 | 202
0.24603 | 0.89498 | 0.85 | 77645.9751 | 1.0507 | -13194.2899 | 0.00015199 | 0.36151 | 21.6693 | 25.1652 | 3093.6097 | 2523621.7182 | 33.0823 | 33.2299 | 0.032826 | [47684.993267534, 17156.605570498046, 12804.37627711318] | [1.1068011901973804, 1.0373349069053681, 1.0078422185332843] | [-6693.241682786556, -2188.830885910676, -4312.217323961766] | [0.0001453390764223463, 0.00013734320754762105, 0.00017328309870405322] | [0.3280780973238782, 0.3748538076944892, 0.3815980215188586] | [39.87229191436685, 13.550775678009055, 11.58495994995502] | [35.89302183349352, 20.501374206784977, 19.10108807030686] | [8726.129996926282, 336.02841442104403, 218.67056423298564] | [0.15033356502854753, 0.06526937461417892, 0.06457457061837032] | [0.03931983071773674, 0.04209475715476265, 0.05745164835814039] | [378.0, 272.0, 203.0] | [0.7384891400568775, 0.3551691780004571, 0.11036105756396172] | [0.0003000056057833908, 0.0003000011898075523, 0.0003000013166537388] | [2.0, 1.0, 1.0] | [0.8886560392204199, 0.743982363217233, 0.6498331719016741] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03346620841393278, 0.021888308859106757, 0.04312217323961766] | 0.020195 | 0.047861 | 0.17558 | 2 | 378 | 1 | 272 | 1 | 203
0.24605 | 0.88743 | 0.85 | 80480.7583 | 1.0507 | -17947.9866 | 0.00015779 | 0.35934 | 21.098 | 25.2454 | 2222.352 | 2502686.251 | 33.0711 | 33.2246 | 0.036511 | [42471.0151797194, 17156.34350088371, 20853.399596051066] | [1.0989598447460196, 1.0422078544385927, 1.0110263612791617] | [-9123.255003302835, -3958.809788435718, -4865.921802058182] | [0.00016432857383207378, 0.00016697247752806124, 0.00014207836710317633] | [0.3319803639607767, 0.3724708686043104, 0.37356382138535926] | [35.396878704563015, 14.299440118452674, 13.597684808779851] | [33.88866687048704, 21.02032335961755, 20.827104270459834] | [5931.350605635911, 394.7862827702592, 340.91921312254243] | [0.15000007294147977, 0.08367608417040591, 0.06042646603745728] | [0.04681585727911454, 0.049646088951350496, 0.04897303537952441] | [378.0, 272.0, 202.0] | [0.6879256185526809, 0.40678289220885894, 0.18963116542969638] | [0.00039296437825017786, 0.00030001275634116575, 0.00046809081353881113] | [2.0, 1.0, 2.0] | [0.7634198578911658, 0.6924787663771467, 0.6000007215491069] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04561627501651418, 0.03958809788435718, 0.024329609010290913] | 0.020932 | 0.047447 | 0.17528 | 2 | 378 | 1 | 272 | 2 | 202
0.24606 | 0.88737 | 0.85 | 80511.1697 | 1.0507 | -17902.9486 | 0.00015767 | 0.35938 | 21.0839 | 25.2341 | 2219.6001 | 2502528.8028 | 33.0709 | 33.2251 | 0.036468 | [42436.24521224375, 17156.297349429526, 20918.627175987185] | [1.098925407333939, 1.0422244530989802, 1.0110938862140773] | [-9137.152639236489, -3977.8690369480223, -4787.926880649124] | [0.00016442840292351694, 0.00016723814683013556, 0.00014133528654984185] | [0.3319812420695317, 0.37245576337447706, 0.3737162535500537] | [35.38830629670705, 14.304241241814836, 13.559087338036562] | [33.88628537304298, 21.023621934639664, 20.792538931339976] | [5925.488528975441, 395.18896615474927, 338.1226756196615] | [0.1500000726324564, 0.08383295041843472, 0.06006814753650969] | [0.04687396726865463, 0.049715297293064016, 0.04864561897729867] | [378.0, 272.0, 203.0] | [0.6875381630890344, 0.4070674179514422, 0.1902476013699462] | [0.00039366095702694857, 0.00030001479328823494, 0.0004697719752058655] | [2.0, 1.0, 2.0] | [0.7626933945142987, 0.6920381088771312, 0.6000007014876265] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04568576319618244, 0.039778690369480216, 0.02393963440324562] | 0.02094 | 0.047444 | 0.17528 | 2 | 378 | 1 | 272 | 2 | 203
0.24624 | 0.88992 | 0.85 | 79882.6603 | 1.0496 | -17946.877 | 0.00015768 | 0.3615 | 20.5891 | 24.7983 | 2134.5299 | 2509428.3557 | 33.0731 | 33.2031 | 0.037228 | [40891.22968966436, 26250.130962646173, 12741.299667051202] | [1.0983987170535303, 1.043805151727859, 1.0066355581238344] | [-9659.12200608221, -3897.6382177800333, -4390.116771020219] | [0.00016809597056282967, 0.00013058616553698362, 0.0001743658612042167] | [0.3320214965788931, 0.370565824637525, 0.3819101047407531] | [35.07900528822212, 15.185520060368344, 11.502855629581223] | [33.798836152280536, 21.55717979444005, 19.038777867028] | [5718.729539955357, 470.07404982116884, 214.78616628370432] | [0.15000006316666553, 0.07495087735703235, 0.0641097058310196] | [0.049007492977053334, 0.03805406963020143, 0.058002059495560886] | [378.0, 271.0, 202.0] | [0.6733127115377675, 0.49240252099923615, 0.0953172265279709] | [0.00042580949831906063, 0.0005289467839637201, 0.00030000136805108477] | [2.0, 2.0, 1.0] | [0.7317517857819716, 0.6000005061074984, 0.6468527599368575] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.048295610030411044, 0.019488191088900167, 0.043901167710202194] | 0.020776 | 0.04758 | 0.17549 | 2 | 378 | 2 | 271 | 1 | 202
0.24624 | 0.88986 | 0.85 | 79903.5451 | 1.0496 | -17863.1791 | 0.00015725 | 0.36148 | 20.5943 | 24.803 | 2133.9922 | 2509281.4918 | 33.073 | 33.2042 | 0.036885 | [40833.7891471919, 26265.38046758646, 12804.375448390174] | [1.0983618499773717, 1.04386636267669, 1.0067046400279636] | [-9678.813641666342, -3916.413749845996, -4267.951698057385] | [0.00016823314766438587, 0.00013078501763569698, 0.00017273188060880934] | [0.3320067378145898, 0.370528694795479, 0.3819001951906055] | [35.0780390818779, 15.19925935212944, 11.505479666850007] | [33.80187202714913, 21.566282302885472, 19.04074727530031] | [5715.668123080642, 471.40051911168666, 214.90789967095583] | [0.15000006286385922, 0.07513820303242753, 0.06353781908318862] | [0.0491053080618923, 0.03809452411633869, 0.057452458490456076] | [378.0, 271.0, 203.0] | [0.6726605258192005, 0.4931297886135143, 0.09582420023830576] | [0.0004270516202394375, 0.0005283742337098811, 0.00030000136566121706] | [2.0, 2.0, 1.0] | [0.7306497697607863, 0.6000005049597128, 0.649823726893931] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.048394068208331704, 0.019582068749229978, 0.04267951698057386] | 0.020782 | 0.047577 | 0.17549 | 2 | 378 | 2 | 271 | 1 | 203
0.24892 | 0.90399 | 0.85 | 79169.8206 | 1.0728 | -10669.5224 | 9.7234e-05 | 0.33545 | 30.9973 | 32.3652 | 3924.0907 | 2548287.7901 | 33.0697 | 33.5067 | 0.017783 | [40205.207074575956, 25409.79539167702, 13554.818124077745] | [1.100141371306193, 1.0961281557555933, 1.0222312171903374] | [-9783.46446788293, -441.3325211352126, -444.7254484607677] | [0.00016883264646699704, 6.097499431899882e-05, 6.189402605351209e-05] | [0.33261626096850694, 0.3337686885170954, 0.33997842858886174] | [34.6732449445638, 31.874561046203894, 26.444132914511766] | [33.564637168684925, 32.96519167308645, 30.5658323871532] | [5541.318404838911, 3915.3417466031287, 2315.6120653954868] | [0.15022919820033712, 0.04694137980845887, 0.03299429326894446] | [0.04871081604672925, 0.024591970645949916, 0.02915045266401089] | [378.0, 271.0, 202.0] | [0.6757861884726925, 0.4762299596301552, 0.11655852615761571] | [0.0004408763150142493, 0.0005615599635658268, 0.0009663129457771934] | [2.0, 2.0, 2.0] | [0.7177072411673703, 0.9251638361490583, 0.7512058517305632] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04891732233941465, 0.002206662605676063, 0.0022236272423038386] | 0.020591 | 0.048348 | 0.17759 | 2 | 378 | 2 | 271 | 2 | 202
0.24646 | 0.88827 | 0.85 | 80864.791 | 1.058 | -19427.1963 | 0.00014798 | 0.35311 | 23.3401 | 26.9306 | 2487.4865 | 2504804.961 | 33.0688 | 33.2185 | 0.032379 | [36682.19110689443, 22692.846475585182, 21489.753425936175] | [1.0970073430535563, 1.065965856677756, 1.0111455861386327] | [-10825.99779413423, -3207.115885425754, -5394.0826529222295] | [0.0001759702633262808, 0.00012073481054338134, 0.0001472231690663677] | [0.32970967562864784, 0.35471331127288663, 0.374920513561824] | [36.026377523040324, 20.724821348270087, 13.26910069288132] | [34.56440174946819, 25.705246225906137, 20.52202813203177] | [5986.150480170003, 1159.0803541912178, 317.22871507785663] | [0.15000004989490995, 0.07735262285697186, 0.06259815070705681] | [0.05650227388798161, 0.03860445346708637, 0.049973482138492516] | [378.0, 271.0, 203.0] | [0.6233418278667501, 0.5010256604270616, 0.20177026003668055] | [0.0005271289924721431, 0.0006835331493336807, 0.0004451361398142824] | [2.0, 2.0, 2.0] | [0.6589268015445374, 0.6000005803766177, 0.6000008204324806] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05412998897067115, 0.01603557942712877, 0.02697041326461115] | 0.021032 | 0.047489 | 0.17555 | 2 | 378 | 2 | 271 | 2 | 203
0.24625 | 0.88996 | 0.85 | 79877.6376 | 1.0497 | -17874.5726 | 0.00015741 | 0.3615 | 20.5893 | 24.7986 | 2134.2717 | 2509538.7798 | 33.0731 | 33.2033 | 0.037109 | [40881.92775368608, 26254.409609647202, 12741.300190781276] | [1.0984006308873482, 1.0441047077777317, 1.0066462176829176] | [-9661.750247155338, -3822.27798292664, -4390.544371154844] | [0.00016811405911736652, 0.00012973883122833972, 0.00017437113113440557] | [0.33202153260516165, 0.37056192828022205, 0.3819072609378292] | [35.0776352405039, 15.186689854566662, 11.503599847428152] | [33.79848257393889, 21.558051170142573, 19.03934271363436] | [5717.805578810014, 470.18834106273033, 214.8210532873889] | [0.15000006312741238, 0.0744654095992988, 0.0641195354802799] | [0.049018170053026555, 0.03780514698358881, 0.05800206146878922] | [378.0, 272.0, 202.0] | [0.6732415217197409, 0.4924352638583941, 0.09545595950002815] | [0.00042601041100280335, 0.0005324243978966831, 0.0003000013369263861] | [2.0, 2.0, 1.0] | [0.7315730994579976, 0.6000005012427522, 0.6468527785167875] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.048308751235776694, 0.019111389914633202, 0.04390544371154844] | 0.020775 | 0.047583 | 0.17549 | 2 | 378 | 2 | 272 | 1 | 202
0.24625 | 0.8899 | 0.85 | 79898.5471 | 1.0497 | -17789.9216 | 0.00015697 | 0.36148 | 20.5945 | 24.8034 | 2133.7553 | 2509391.3315 | 33.073 | 33.2043 | 0.036764 | [40824.96085309708, 26269.24993465199, 12804.336355450127] | [1.0983639111129337, 1.0441670043299591, 1.006715475391364] | [-9681.304009313832, -3840.357643057076, -4268.259905972688] | [0.00016825023255332848, 0.00012993264454773984, 0.00017273560472913868] | [0.33200681661209247, 0.3705241850827449, 0.381897068317015] | [35.07672931326468, 15.200575746464347, 11.506285656863527] | [33.80152430812428, 21.567293482565837, 19.041369665952338] | [5714.792633985324, 471.52721515011865, 214.94608280542943] | [0.1500001731783702, 0.0746490552867309, 0.06354718194663773] | [0.049115314391735575, 0.037844670520011225, 0.05745208265669866] | [378.0, 272.0, 203.0] | [0.672594049177784, 0.49315465872629083, 0.09596340723256877] | [0.00042724283740643287, 0.0005318653279675946, 0.0003000036774739319] | [2.0, 2.0, 1.0] | [0.7304801527545512, 0.6000013786106771, 0.6498249543367205] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04840652004656915, 0.01920178821528538, 0.042682599059726885] | 0.02078 | 0.04758 | 0.17549 | 2 | 378 | 2 | 272 | 1 | 203
0.24646 | 0.88832 | 0.85 | 80848.0332 | 1.058 | -19486.2719 | 0.00014814 | 0.35313 | 23.3251 | 26.9218 | 2485.1395 | 2504918.7852 | 33.0689 | 33.2181 | 0.032477 | [36638.19481541255, 22815.442190139125, 21394.396216696558] | [1.0970111866347818, 1.0659090205951594, 1.01107291887733] | [-10834.88094285075, -3200.7999297813144, -5450.590985539957] | [0.00017602827144757959, 0.0001206732793514818, 0.00014770701474248776] | [0.3296755761919337, 0.35501254880680655, 0.3747096197199361] | [36.04534606047866, 20.609560664527574, 13.320541426845299] | [34.57708659726246, 25.619240581130992, 20.569078961574995] | [5993.527034413945, 1141.0644536279765, 320.82686999507706] | [0.15000004982002269, 0.07726258467521446, 0.06284150282818349] | [0.056580117474548164, 0.038446333142180544, 0.05024622342167122] | [378.0, 272.0, 202.0] | [0.6228228194576789, 0.5024908935345636, 0.20052115402161044] | [0.0005283110055457963, 0.0006815903020047304, 0.0004446931350921458] | [2.0, 2.0, 2.0] | [0.6582420460414514, 0.6000005725945892, 0.6000008427034113] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.054174404714253756, 0.016003999648906572, 0.027252954927699788] | 0.021027 | 0.047491 | 0.17555 | 2 | 378 | 2 | 272 | 2 | 202
0.24647 | 0.88829 | 0.85 | 80864.2092 | 1.0581 | -19446.7273 | 0.000148 | 0.35313 | 23.3412 | 26.929 | 2491.0981 | 2504857.4596 | 33.0688 | 33.2184 | 0.032411 | [36591.5153518141, 22770.116647008068, 21502.577170629338] | [1.0970045203109342, 1.066209061737503, 1.011148060227758] | [-10845.064331795984, -3192.9825854351666, -5408.680428179391] | [0.0001760947616350583, 0.00012055656507176519, 0.0001473592287208969] | [0.32963642839850693, 0.3548059325669916, 0.37494652970053216] | [36.06714386300931, 20.693571946295037, 13.262976833421982] | [34.591656196817034, 25.67902077733811, 20.51623494270006] | [6002.00750162759, 1154.4915060332162, 316.79517337823063] | [0.1500001370893092, 0.07728199631093814, 0.06265863927647056] | [0.056669878320663065, 0.03846881738098761, 0.05000400928331151] | [378.0, 272.0, 203.0] | [0.6222245750158444, 0.5023245872619932, 0.2020538371203134] | [0.000529568212979458, 0.0006838571454184433, 0.00044459800300432833] | [2.0, 2.0, 2.0] | [0.6575167012486189, 0.600001583100376, 0.600002270963645] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05422532165897992, 0.015964912927175834, 0.027043402140896955] | 0.021032 | 0.04749 | 0.17555 | 2 | 378 | 2 | 272 | 2 | 203
0.24603 | 0.89498 | 0.85 | 77645.9463 | 1.0504 | -13363.5734 | 0.00015277 | 0.36168 | 21.5479 | 25.0982 | 3026.0419 | 2523614.4413 | 33.0823 | 33.2285 | 0.033354 | [47811.1164382938, 17093.52964547808, 12741.300232004678] | [1.1065091260839697, 1.0369720495652737, 1.0077458272902307] | [-6714.827692900368, -2213.9580764735842, -4434.787622858149] | [0.0001455096873486902, 0.00013788136335115853, 0.0001749118872971167] | [0.3285081199214496, 0.3749208442156249, 0.38161345630897625] | [39.53377906156378, 13.529043121704433, 11.580826804031219] | [35.710185665635336, 20.486323374709762, 19.097999499898286] | [8525.180903923665, 334.4695131544021, 218.47542442508743] | [0.15021060411726758, 0.06537863049275221, 0.06513563517217426] | [0.03913456499510174, 0.042293394754222634, 0.05800123142676975] | [379.0, 271.0, 202.0] | [0.7395086154534576, 0.3532085807992454, 0.1095868304892767] | [0.0003000060429771454, 0.0003000011973047357, 0.0003000013344765251] | [2.0, 1.0, 1.0] | [0.8870360454667745, 0.7425746418093735, 0.6468622534575353] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.033574138464501836, 0.02213958076473584, 0.044347876228581495] | 0.020195 | 0.047861 | 0.17558 | 2 | 379 | 1 | 271 | 1 | 202
0.24602 | 0.89479 | 0.85 | 77708.9413 | 1.0504 | -13233.4188 | 0.00015223 | 0.36166 | 21.5614 | 25.1056 | 3033.4809 | 2523118.3534 | 33.082 | 33.2292 | 0.032938 | [47811.03624337413, 17093.529205037376, 12804.375860463444] | [1.1065528900040662, 1.0369705376495193, 1.0078083079435936] | [-6703.811382069979, -2218.726162213173, -4310.881210882235] | [0.00014542878636858566, 0.00013798073764942435, 0.00017326654460984113] | [0.3284597424558878, 0.37491711480246775, 0.38160703674037283] | [39.571513288282155, 13.530099198118497, 11.582578158629467] | [35.73061822839419, 20.487012921285395, 19.09928243743672] | [8547.336770151187, 334.5491142012602, 218.5567653193384] | [0.15016114814296835, 0.06542857753208532, 0.06454354900049888] | [0.03914073913749334, 0.04232154124823685, 0.05745166310734266] | [379.0, 271.0, 203.0] | [0.7393816662796515, 0.35327215519542177, 0.10993301483942976] | [0.00030000731306209993, 0.00030000121681517306, 0.0003000013412927945] | [2.0, 1.0, 1.0] | [0.8873259249724984, 0.7423692292012035, 0.6498329667958478] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0335190569103499, 0.022187261622131735, 0.04310881210882234] | 0.020211 | 0.047851 | 0.17557 | 2 | 379 | 1 | 271 | 1 | 203
0.24606 | 0.88744 | 0.85 | 80485.4204 | 1.0505 | -18012.543 | 0.00015802 | 0.35947 | 21.0019 | 25.1921 | 2178.4121 | 2502693.0556 | 33.071 | 33.2249 | 0.036701 | [42575.84375331551, 17093.257431627073, 20816.319201910686] | [1.098650324709353, 1.0418684696059601, 1.0110231371472809] | [-9175.858922203539, -4008.176430135396, -4828.507638415341] | [0.0001646695838281757, 0.00016768234215818568, 0.00014170301049034126] | [0.3323883272250937, 0.37253284404871834, 0.3734837932354335] | [35.11004537274935, 14.278173145661086, 13.617358234872075] | [33.72536611259831, 21.005801321601655, 20.845278352461897] | [5799.820859170888, 393.0409525176002, 342.37460167656116] | [0.15000007251478736, 0.08387408161444604, 0.06026739758231445] | [0.04665065136369634, 0.049894835333721285, 0.04888812819072051] | [379.0, 271.0, 202.0] | [0.6890271472647006, 0.4052178251892275, 0.188900634001138] | [0.0003931147112789929, 0.000300013255898868, 0.00046973904672199964] | [2.0, 1.0, 2.0] | [0.7612489730844879, 0.690945735327421, 0.6000007151178659] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.045879294611017696, 0.04008176430135396, 0.024142538192076703] | 0.020933 | 0.047447 | 0.17528 | 2 | 379 | 1 | 271 | 2 | 202
0.24606 | 0.88738 | 0.85 | 80515.8086 | 1.0505 | -17967.4023 | 0.00015789 | 0.35951 | 20.988 | 25.1811 | 2175.8048 | 2502536.2812 | 33.0709 | 33.2254 | 0.036658 | [42541.63550663864, 17093.20840926813, 20880.964643376126] | [1.098617143893827, 1.0418849303797084, 1.0110906499271792] | [-9189.481667949318, -4027.179406821367, -4750.741270352916] | [0.0001647671819032176, 0.00016794508739920196, 0.00014095810073643235] | [0.3323885347610212, 0.3725179178767274, 0.37363519007844637] | [35.10214460730718, 14.282907918128837, 13.578948119204359] | [33.723296640195876, 21.009057601972152, 20.810909743200636] | [5794.393812435437, 393.43658707907974, 339.584065371345] | [0.15000007221574646, 0.08402905815435507, 0.05990835979699579] | [0.04670768144411167, 0.049963367162869955, 0.04856052936928088] | [379.0, 271.0, 203.0] | [0.6886468918636298, 0.40549928361870785, 0.18950764828431196] | [0.00039379845968335, 0.00030001542754384423, 0.0004714439339894778] | [2.0, 1.0, 2.0] | [0.760538292198913, 0.6905115114619081, 0.6000006954374167] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04594740833974659, 0.04027179406821367, 0.02375370635176458] | 0.020941 | 0.047444 | 0.17528 | 2 | 379 | 1 | 271 | 2 | 203
0.24603 | 0.89482 | 0.85 | 77708.9133 | 1.0505 | -13305.6316 | 0.00015243 | 0.36166 | 21.5629 | 25.1063 | 3034.5874 | 2523172.6929 | 33.082 | 33.2278 | 0.033183 | [47811.00815425723, 17156.60514659778, 12741.300004480121] | [1.106569152997009, 1.0371513242620027, 1.0077225277430326] | [-6701.3565620617455, -2170.4344274092205, -4433.840613186004] | [0.0001454096169704962, 0.00013696725328297737, 0.00017490038407520767] | [0.32845408490549644, 0.3749108478464801, 0.38161968515292266] | [39.57670151822101, 13.532949911998887, 11.579182318658132] | [35.73320374126893, 20.488816704173885, 19.096751107688753] | [8550.63381165921, 334.73156437240436, 218.39690559692266] | [0.15015219024256557, 0.06498890755623932, 0.06511403427657601] | [0.03913687587797195, 0.042008503733828716, 0.05800124907008852] | [379.0, 272.0, 202.0] | [0.7393918467356547, 0.35371310497311786, 0.1092910175207855] | [0.00030000775792376566, 0.00030000120851625276, 0.00030000134799805717] | [2.0, 1.0, 1.0] | [0.8873780672790764, 0.7446147574638379, 0.6468620326453028] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03350678281030872, 0.021704344274092204, 0.04433840613186004] | 0.020211 | 0.047852 | 0.17557 | 2 | 379 | 1 | 272 | 1 | 202
0.24602 | 0.89463 | 0.85 | 77772.28 | 1.0505 | -13173.1454 | 0.00015188 | 0.36164 | 21.5785 | 25.1148 | 3043.3339 | 2522674.5391 | 33.0818 | 33.2285 | 0.032764 | [47811.26734519834, 17156.622431212956, 12804.390229150822] | [1.1066260770904206, 1.0371498363705256, 1.0077847789536307] | [-6688.00862731463, -2175.106750001653, -4310.03003880016] | [0.00014531057084791088, 0.00013706592905470441, 0.00017325611461992775] | [0.32839849306441316, 0.37490718910609144, 0.38161347407473134] | [39.62071122493436, 13.533989756721931, 11.580887139489203] | [35.75685205773893, 20.489491164363052, 19.09799138983171] | [8576.71587392922, 334.81007988458435, 218.47574568604992] | [0.15009429900015395, 0.06503853975465058, 0.06452235168394202] | [0.03914085134522142, 0.04203640614403775, 0.05745191611357858] | [379.0, 272.0, 203.0] | [0.7392648028216053, 0.35377729765779364, 0.10963652593945569] | [0.0003000036530045219, 0.0003000004456661316, 0.00030000049158506446] | [2.0, 1.0, 1.0] | [0.8877276623155473, 0.7444102565578864, 0.6498312098801465] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03344004313657315, 0.021751067500016527, 0.04310030038800159] | 0.020227 | 0.047842 | 0.17556 | 2 | 379 | 1 | 272 | 1 | 203
0.24606 | 0.88746 | 0.85 | 80478.1277 | 1.0506 | -18024.8057 | 0.00015794 | 0.35947 | 20.9941 | 25.1888 | 2172.8413 | 2502745.8256 | 33.0711 | 33.2247 | 0.036631 | [42476.21086284424, 17156.33369256417, 20845.583112289936] | [1.0985839951643672, 1.042197847170018, 1.011025018293298] | [-9213.324135510438, -3953.5083180657784, -4857.973271115846] | [0.00016493667637782806, 0.0001668989116070034, 0.00014199882743157617] | [0.33239776685781414, 0.37247640268915644, 0.3735471634141937] | [35.082928019193865, 14.297650501991649, 13.601759133333488] | [33.7163585077847, 21.01908415534641, 20.830885946677903] | [5782.6659570295315, 394.6369264314706, 341.22093355363677] | [0.15000007170954682, 0.08362932838203918, 0.060392158664681166] | [0.04679759339946871, 0.04962769286606519, 0.04895511260096523] | [379.0, 272.0, 202.0] | [0.6880473925688497, 0.4066711806616147, 0.18946747662641003] | [0.00039510922328404277, 0.00030001318924162163, 0.0004684377705214671] | [2.0, 1.0, 2.0] | [0.7591827753601099, 0.6925950201940269, 0.6000007202094307] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04606662067755219, 0.039535083180657786, 0.02428986635557923] | 0.020931 | 0.047448 | 0.17528 | 2 | 379 | 1 | 272 | 2 | 202
0.24606 | 0.8874 | 0.85 | 80508.4345 | 1.0506 | -17979.8952 | 0.00015782 | 0.35952 | 20.9803 | 25.1777 | 2170.2895 | 2502589.2409 | 33.0709 | 33.2252 | 0.036587 | [42441.29544499254, 17156.28442667649, 20910.854658427997] | [1.0985508878808248, 1.0422146899366465, 1.0110925812570852] | [-9227.10703401171, -3972.5947336586214, -4780.193424327162] | [0.0001650352032402546, 0.00016716518499375186, 0.00014125704525746183] | [0.3323972945391745, 0.372461217775779, 0.3736997280737503] | [35.07541691108418, 14.302477389726594, 13.563116134042502] | [33.71453840315706, 21.0224006363236, 20.79628267230961] | [5777.407532817329, 395.04164144119216, 338.4194010711711] | [0.15000007141544383, 0.08378663747413428, 0.060034429714045844] | [0.046855915721309274, 0.04969703739377408, 0.048628034432418164] | [379.0, 272.0, 203.0] | [0.687658521341966, 0.40695758381361924, 0.1900856092416496] | [0.0003958103972787991, 0.0003000153636506447, 0.0004701165286003511] | [2.0, 1.0, 2.0] | [0.7584613472062687, 0.692153186227485, 0.6000007002532547] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04613553517005854, 0.039725947336586215, 0.023900967121635808] | 0.020939 | 0.047445 | 0.17528 | 2 | 379 | 1 | 272 | 2 | 203
0.24625 | 0.88995 | 0.85 | 79879.0756 | 1.0495 | -18030.5872 | 0.00015786 | 0.36162 | 20.499 | 24.7486 | 2092.89 | 2509496.8344 | 33.0731 | 33.2031 | 0.037368 | [40888.65649061741, 26249.160053941065, 12741.259075127879] | [1.0980721442437695, 1.0438017031011113, 1.0066346241769781] | [-9744.034517494298, -3896.5973037741883, -4389.955382361676] | [0.0001686511942738649, 0.00013057509315254787, 0.0001743637107929472] | [0.3323816081126945, 0.3705668206122852, 0.38191007999304977] | [34.808966774435596, 15.185039501038641, 11.502848288795366] | [33.650146888081636, 21.556916252384177, 19.03878432782291] | [5593.858652989587, 470.0252226496623, 214.7862398666736] | [0.15000017190957016, 0.07494041547478575, 0.06410831408124254] | [0.0490023268367166, 0.03805223954907835, 0.05800164984498105] | [379.0, 271.0, 202.0] | [0.6733473938862348, 0.4923560652470877, 0.09530396906705667] | [0.0004282012187186268, 0.0005289832597402772, 0.00030000378039194455] | [2.0, 2.0, 1.0] | [0.7277098476509795, 0.6000013927432145, 0.6468541883528082] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.048720172587471494, 0.01948298651887094, 0.04389955382361675] | 0.020775 | 0.047582 | 0.17549 | 2 | 379 | 2 | 271 | 1 | 202
0.24625 | 0.88989 | 0.85 | 79899.813 | 1.0495 | -17946.5945 | 0.00015743 | 0.3616 | 20.5046 | 24.7536 | 2092.5882 | 2509351.1453 | 33.0731 | 33.2042 | 0.037024 | [40831.17919588629, 26264.299086027102, 12804.334735702121] | [1.09803712879759, 1.0438634186984523, 1.006703777101206] | [-9763.469436584042, -3915.3203687675195, -4267.804744435742] | [0.00016878603240943075, 0.00013077336207708716, 0.0001727298850292242] | [0.3323649718584837, 0.37052937213021186, 0.3819001703095976] | [34.80939034127544, 15.198871757642383, 11.505473315627858] | [33.65393394972027, 21.56609371045102, 19.0407536738712] | [5591.496756247406, 471.3599520666627, 214.90799010778534] | [0.1500001711102423, 0.0751275692633843, 0.06353653612631012] | [0.049100215524376024, 0.03809259600481362, 0.05745207495972181] | [379.0, 271.0, 203.0] | [0.6726947167901015, 0.4930836945538079, 0.09581197232509794] | [0.00042944758161594807, 0.0005284148128168361, 0.000300003773260177] | [2.0, 2.0, 1.0] | [0.7266192685597467, 0.600001389701089, 0.649824916555054] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04881734718292021, 0.019576601843837596, 0.04267804744435742] | 0.020781 | 0.047579 | 0.17549 | 2 | 379 | 2 | 271 | 1 | 203
0.24765 | 0.89744 | 0.85 | 79457.9944 | 1.0689 | -12880.596 | 0.00011396 | 0.34425 | 26.6533 | 29.4233 | 2924.6717 | 2530314.0477 | 33.0715 | 33.3261 | 0.021468 | [40580.619542426735, 22341.92672991571, 16535.448093661416] | [1.0967752460197748, 1.0943997676259594, 1.015389534483509] | [-10445.19034304687, -584.4787125385415, -1850.9269872098134] | [0.00017274783013829153, 6.747277596712907e-05, 0.00010166743630779825] | [0.3336357184516976, 0.3385455184373462, 0.36056914862401745] | [33.922882278577944, 28.595524461210193, 17.4416285620781] | [33.14852478745963, 31.065141202368288, 24.05629743884586] | [5204.6394982039255, 2869.8758563129163, 699.4996492633933] | [0.15229330728516646, 0.04793860118187559, 0.04670616807026499] | [0.04940155237525977, 0.02625766002036996, 0.0394510742600945] | [379.0, 271.0, 202.0] | [0.6756452384922971, 0.4523711525641498, 0.15540970733341583] | [0.00043492206951917446, 0.0007014503948550751, 0.0007097147983160247] | [2.0, 2.0, 2.0] | [0.7110330885911722, 0.8251968890818063, 0.6195225561545762] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.05222595171523436, 0.002922393562692707, 0.009254634936049068] | 0.020666 | 0.047993 | 0.1766 | 2 | 379 | 2 | 271 | 2 | 202
0.24647 | 0.88831 | 0.85 | 80856.7663 | 1.058 | -19505.5589 | 0.00014815 | 0.3532 | 23.2766 | 26.8957 | 2457.4106 | 2504906.0856 | 33.0689 | 33.2185 | 0.032509 | [36665.07006857778, 22699.062924978814, 21492.633319924083] | [1.0967802415194867, 1.0659667061368858, 1.0111474420408113] | [-10896.455628066216, -3211.6535564243873, -5397.449764943667] | [0.0001764023733269763, 0.00012079045673833895, 0.00014725447794989625] | [0.329950644386238, 0.35471365600581517, 0.37492598285005146] | [35.83645728353175, 20.725551471506897, 13.267849633349844] | [34.46115860692771, 25.70525168018698, 20.520810664219212] | [5895.83953286002, 1159.2532265006325, 317.13889376408304] | [0.15000004954472757, 0.0773998185132482, 0.06261329348291926] | [0.0565263886426872, 0.03861555264686755, 0.04998036166604199] | [379.0, 271.0, 203.0] | [0.6231810461892081, 0.501186557088643, 0.20185348778755166] | [0.0005301938934480887, 0.0006832207439309595, 0.0004450152317624191] | [2.0, 2.0, 2.0] | [0.6554236458552654, 0.6000005814402767, 0.6000008210951113] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.054482278140331075, 0.016058267782121938, 0.026987248824718337] | 0.02103 | 0.047491 | 0.17555 | 2 | 379 | 2 | 271 | 2 | 203
0.24625 | 0.88999 | 0.85 | 79874.0681 | 1.0496 | -17958.4029 | 0.00015759 | 0.36162 | 20.4992 | 24.749 | 2092.6693 | 2509607.1398 | 33.0731 | 33.2033 | 0.037248 | [40879.21506079195, 26253.59250373508, 12741.260523721636] | [1.0980742530086407, 1.0441010115642382, 1.0066452688875647] | [-9746.661201349176, -3821.3583364443853, -4390.383400560777] | [0.00016866920163624775, 0.00012972897584780267, 0.0001743689871632515] | [0.3323813045085317, 0.37056314497666165, 0.3819072412808911] | [34.80783206768543, 15.186155988535456, 11.503591236239338] | [33.64992736178583, 21.557737333766674, 19.039348155787575] | [5593.051919758436, 470.1350370022204, 214.82106515686672] | [0.15000017180455105, 0.07445576897184919, 0.064118134969586] | [0.0490132410451896, 0.037803520114366565, 0.058001655667353096] | [379.0, 272.0, 202.0] | [0.6732746228871695, 0.49239138093747575, 0.09544252336167384] | [0.0004284057102544894, 0.0005324551985554264, 0.0003000036943030756] | [2.0, 2.0, 1.0] | [0.727530480375691, 0.6000013793774368, 0.6468542355611272] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04873330600674588, 0.019106791682221926, 0.04390383400560777] | 0.020774 | 0.047584 | 0.1755 | 2 | 379 | 2 | 272 | 1 | 202
0.24625 | 0.88993 | 0.85 | 79894.4006 | 1.0496 | -17874.9396 | 0.00015716 | 0.3616 | 20.5048 | 24.754 | 2092.3625 | 2509463.7322 | 33.0731 | 33.2043 | 0.036905 | [40820.62955417025, 26269.39508095788, 12804.375921467681] | [1.0980390506296538, 1.0441631395420798, 1.0067145980170331] | [-9766.399249694095, -3840.2030325571495, -4268.337358623288] | [0.00016880614635002858, 0.00012993131767617254, 0.00017273671958587507] | [0.33236428439609056, 0.3705262287717806, 0.3818975542104652] | [34.80833498546883, 15.199902077081228, 11.506171248083655] | [33.65381980827719, 21.566800055564393, 19.041272248142025] | [5590.682818455226, 471.46425307785483, 214.9403299635494] | [0.1500000620347426, 0.07464579251185288, 0.06354687266329327] | [0.04911282601940394, 0.03784447398075827, 0.05745245852245835] | [379.0, 272.0, 203.0] | [0.6726103979059084, 0.49313513461144093, 0.09595308736529727] | [0.0004296767259093264, 0.0005318598630843158, 0.00030000133768523946] | [2.0, 2.0, 1.0] | [0.7264199812255261, 0.6000004993765603, 0.6498237637260124] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04883199624847048, 0.019201015162785745, 0.04268337358623288] | 0.020779 | 0.047581 | 0.1755 | 2 | 379 | 2 | 272 | 1 | 203
0.24783 | 0.89692 | 0.85 | 79943.5427 | 1.0621 | -11446.9782 | 0.00010665 | 0.34263 | 27.0422 | 29.8269 | 2909.7735 | 2529060.9667 | 33.069 | 33.4286 | 0.019078 | [40424.735599509404, 26235.012139311737, 13283.794945960733] | [1.0990182231905734, 1.0694954713131533, 1.0178170094255587] | [-9810.675567703254, -1056.88082376557, -579.4218060063774] | [0.00016907922318624117, 8.297295730888866e-05, 6.788380715423356e-05] | [0.3325976967030758, 0.3512890423523669, 0.3440145326784575] | [34.64451513063348, 22.20480956584466, 24.27726608902532] | [33.56088936807553, 26.785988793178024, 29.133721227054032] | [5518.590778206546, 1393.4978407061233, 1817.2319224246294] | [0.15000386821430955, 0.05564939720174514, 0.03454882824772615] | [0.04900600351645612, 0.028478615739084466, 0.031012950080847472] | [379.0, 272.0, 202.0] | [0.6733309330161121, 0.4883700578434019, 0.10239619317783057] | [0.00043836222821651196, 0.0005331560998604374, 0.0009953562277779107] | [2.0, 2.0, 2.0] | [0.7189819312460627, 0.8021423772132512, 0.699474625875986] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04905337783851627, 0.00528440411882785, 0.0028971090300318873] | 0.020792 | 0.047968 | 0.17668 | 2 | 379 | 2 | 272 | 2 | 202
0.24647 | 0.88833 | 0.85 | 80855.7734 | 1.058 | -19526.0992 | 0.00014818 | 0.35321 | 23.2784 | 26.8945 | 2461.2731 | 2504961.3965 | 33.0689 | 33.2184 | 0.032543 | [36572.973658481314, 22776.763638847166, 21506.03613833149] | [1.0967792576597646, 1.066210921414394, 1.0111500155572233] | [-10915.40797251008, -3197.915652397621, -5412.775577971604] | [0.00017652584300897805, 0.00012061715968907022, 0.00014739725884319887] | [0.3298742849862426, 0.35480559320135, 0.3749532816279179] | [35.87913655394312, 20.69466408761604, 13.26142369519798] | [34.48957310024743, 25.679235431742352, 20.514732405005027] | [5912.407588609482, 1154.7276927663943, 316.68410349487283] | [0.150000049387032, 0.07733377342425883, 0.06267673627667188] | [0.05669665007891825, 0.03848104445586057, 0.05001240307346112] | [379.0, 272.0, 203.0] | [0.6220458583067907, 0.5024997299580211, 0.20215037201000244] | [0.0005326803041454222, 0.0006835241482616126, 0.0004444529604615654] | [2.0, 2.0, 2.0] | [0.6540070567220628, 0.6000005754505124, 0.6000008245965093] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0545770398625504, 0.01598957826198811, 0.02706387788985802] | 0.021029 | 0.047492 | 0.17555 | 2 | 379 | 2 | 272 | 2 | 203