## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.25459 | 0.99398 | 0.85 | 55632.8976 | 1.0488 | -15520.7204 | 0.00027041 | 0.22887 | 21.6635 | 33.6151 | 1192.78 | 2791477.1406 | 33.1707 | 33.5282 | 0.051736 | [26681.084490867004, 16462.7959627319, 12489.017121782656] | [1.0808119858519822, 1.0454141576447524, 1.0201541355908497] | [-4759.694946472768, -6746.450848161209, -4014.574625364349] | [0.0002535392314202172, 0.0002987381927509002, 0.0002589530737625223] | [0.20608671045433416, 0.2324057521065551, 0.24810983554020577] | [33.20983348318192, 18.630942021536974, 13.149698033665905] | [41.98850433909633, 31.688323098966134, 27.168461650021037] | [2821.4854699665057, 553.9831085617051, 202.87135146523067] | [0.15330035217738347, 0.13619032007318138, 0.08807155159372801] | [0.0690954598592254, 0.06623050688479099, 0.06030232343438512] | [423.0, 261.0, 198.0] | [0.5492978980223268, 0.5137636042689683, 0.3154305669994062] | [0.0003000000603377088, 0.0003000000994690943, 0.00030000013009399854] | [1.0, 1.0, 1.0] | [0.7787584646823084, 0.6403329897339423, 0.6347512995791619] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.047596949464727686, 0.06746450848161209, 0.04014574625364349] | 0.014469 | 0.053153 | 0.18457 | 1 | 423 | 1 | 261 | 1 | 198
0.25453 | 0.99353 | 0.85 | 55695.9775 | 1.0489 | -15371.691 | 0.00026937 | 0.22881 | 21.6912 | 33.6364 | 1196.8044 | 2790290.0417 | 33.1704 | 33.5301 | 0.051239 | [26681.08584241175, 16462.797337527933, 12552.094341102087] | [1.0808447474274907, 1.045476668751962, 1.020325246306712] | [-4748.25511456564, -6723.399316522768, -3900.036570569058] | [0.00025331524565395534, 0.00029834824421654183, 0.0002564528787349598] | [0.2060350262370271, 0.23229761451427752, 0.24809098737005844] | [33.24689402279764, 18.67054734108185, 13.156276402255969] | [42.01289805605889, 31.7226618657583, 27.173558773889262] | [2830.0353214946726, 557.2372558053249, 203.1406826909899] | [0.15321565995302, 0.1361111413659444, 0.08730915075483908] | [0.06909792596365588, 0.06623257557443117, 0.05970855102104057] | [423.0, 261.0, 199.0] | [0.5490326420113756, 0.5134653430055914, 0.3162526421623479] | [0.0003000000219813326, 0.000300000036235874, 0.00030000004713137766] | [1.0, 1.0, 1.0] | [0.7791889951056439, 0.6410826061333608, 0.6378422674586669] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0474825511456564, 0.06723399316522767, 0.039000365705690584] | 0.014486 | 0.05313 | 0.18452 | 1 | 423 | 1 | 261 | 1 | 199
0.24673 | 0.92417 | 0.85 | 68121.9016 | 1.0499 | -16832.1873 | 0.00024862 | 0.22067 | 25.7338 | 36.6878 | 1751.3379 | 2602291.5642 | 33.1232 | 33.2869 | 0.041409 | [26681.080454926898, 16462.791472863217, 24978.02962862845] | [1.075973684393649, 1.0579376034395296, 1.0159107682070847] | [-4507.161163653435, -3506.172545325893, -8818.8535675499] | [0.000248266915535838, 0.00023261397092720512, 0.000264975279324042] | [0.2026687536009847, 0.21338228941901768, 0.2459680539611621] | [35.55097945430735, 27.590412497485765, 14.059893334337982] | [43.592193148657316, 38.689913443723746, 27.781259295470356] | [3371.573669583523, 1640.5649487496935, 241.87493331727214] | [0.15000043287414547, 0.122427779920775, 0.10634335855704702] | [0.07386417664303338, 0.06579736418206167, 0.060305420482862644] | [423.0, 261.0, 198.0] | [0.5075883208931192, 0.4626113802329794, 0.4330630943583883] | [0.000300000174876327, 0.0003000003059789697, 0.00030000026999417635] | [1.0, 1.0, 2.0] | [0.7958904990333765, 0.7782281800084908, 0.6347174311007728] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04507161163653436, 0.03506172545325893, 0.044094267837749494] | 0.017717 | 0.049415 | 0.1772 | 1 | 423 | 1 | 261 | 2 | 198
0.24669 | 0.92367 | 0.85 | 68248.067 | 1.05 | -16562.5289 | 0.00024762 | 0.22062 | 25.7676 | 36.7116 | 1756.8882 | 2600956.8107 | 33.1227 | 33.287 | 0.040932 | [26681.084353995073, 16462.795679139912, 25104.18696939787] | [1.075916961787168, 1.0580452719235223, 1.0160323646082106] | [-4508.865121072775, -3487.9235513428425, -8565.740268824928] | [0.00024829890768800504, 0.00023214689442731815, 0.0002624008020395602] | [0.20265623315162876, 0.21323502819335144, 0.24595807911793974] | [35.558763077154886, 27.678713136524358, 14.065447015752786] | [43.597955101714135, 38.7526370393163, 27.784349223461884] | [3373.3849784818944, 1655.156901385068, 242.12264632518273] | [0.15000015576499356, 0.12233313156805355, 0.10543461823021838] | [0.0739082961576107, 0.06579297271718505, 0.05971207643752927] | [423.0, 261.0, 199.0] | [0.5072932641234779, 0.4622313327160279, 0.43380307500741655] | [0.0003000000642220873, 0.00030000011251280124, 0.00030000009879355735] | [1.0, 1.0, 2.0] | [0.7958921466095821, 0.7792972332206741, 0.6378034395166379] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.045088651210727755, 0.034879235513428426, 0.04282870134412463] | 0.01775 | 0.049389 | 0.17716 | 1 | 423 | 1 | 261 | 2 | 199
0.25451 | 0.99347 | 0.85 | 55695.9775 | 1.0488 | -15499.4826 | 0.00027033 | 0.22895 | 21.6401 | 33.5915 | 1193.1506 | 2790104.6746 | 33.1705 | 33.5265 | 0.051665 | [26681.08584183018, 16525.87319153012, 12489.018485325367] | [1.08085127545969, 1.0453348577565444, 1.0200810062858423] | [-4746.249308546321, -6742.806822663168, -4010.426432846011] | [0.0002532759588837565, 0.0002988242943553037, 0.00025888155938467294] | [0.20602627669023538, 0.23269463722964914, 0.2481376532836451] | [33.25320640355077, 18.52619588028366, 13.14102087063863] | [42.01703840766058, 31.596279680794822, 27.161060504892948] | [2831.4965309543704, 545.4558278594498, 202.49956050648885] | [0.15320100643268897, 0.13597515017806777, 0.08796381066038768] | [0.06909768560652398, 0.06599996287513085, 0.06030240043439281] | [423.0, 262.0, 198.0] | [0.5489910717843979, 0.514689712225218, 0.3145908577658356] | [0.0003000000219978374, 0.00030000003613808376, 0.00030000004742339315] | [1.0, 1.0, 1.0] | [0.779263523714049, 0.639333359153903, 0.6347505897205292] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.047462493085463214, 0.06742806822663168, 0.04010426432846011] | 0.014486 | 0.053126 | 0.18451 | 1 | 423 | 1 | 262 | 1 | 198
0.25446 | 0.99303 | 0.85 | 55759.0492 | 1.0488 | -15350.2993 | 0.00026929 | 0.22889 | 21.6678 | 33.6127 | 1197.149 | 2788921.5415 | 33.1702 | 33.5284 | 0.051168 | [26681.084471373822, 16525.871797118525, 12552.092958379191] | [1.080883364081793, 1.0453982508532569, 1.020251594026215] | [-4734.967930303036, -6719.366915639318, -3895.964435248443] | [0.00025305464447349373, 0.000298428062005658, 0.00025638114453443436] | [0.20597501519371825, 0.23258595126622733, 0.24811875869868433] | [33.29001317954219, 18.565733430177364, 13.147599450424565] | [42.04125387455706, 31.63065250002169, 27.16616609058939] | [2840.0060246968847, 548.6725007689259, 202.76848657623412] | [0.15311727345939025, 0.13589386842568998, 0.08720192282110155] | [0.06910040188237103, 0.06600090598449536, 0.059708509231171845] | [423.0, 262.0, 199.0] | [0.5487266674679577, 0.5143922852088056, 0.31541199950954757] | [0.0003000000608909185, 0.00030000010002872275, 0.0003000001305435899] | [1.0, 1.0, 1.0] | [0.7796896069707857, 0.6400906724796572, 0.6378426018129651] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04734967930303036, 0.06719366915639319, 0.038959644352484425] | 0.014502 | 0.053103 | 0.18446 | 1 | 423 | 1 | 262 | 1 | 199
0.2467 | 0.92389 | 0.85 | 68184.9772 | 1.0499 | -16820.5831 | 0.00024864 | 0.22079 | 25.6669 | 36.6395 | 1740.9886 | 2601527.5351 | 33.123 | 33.286 | 0.041392 | [26681.080410495066, 16525.867272161988, 24978.029541148724] | [1.075941056656825, 1.057829624361116, 1.015855527801056] | [-4508.161481861074, -3506.3683494552447, -8806.053277049743] | [0.0002482857353735121, 0.00023275822271012048, 0.0002648775146020724] | [0.2026616689925354, 0.2137075846406294, 0.2460033654408041] | [35.555365374371675, 27.39812308143277, 14.047153165686757] | [43.59544894374046, 38.551670004212255, 27.771247655854143] | [3372.591951048591, 1609.137741738818, 241.2360948372273] | [0.1500004307897783, 0.12219647038970581, 0.106165305747954] | [0.07388951081776471, 0.06554060281820619, 0.060305428093359786] | [423.0, 262.0, 198.0] | [0.5074194101465773, 0.46369544393935364, 0.432111862488751] | [0.00030000017613728767, 0.0003000003073580865, 0.00030000027264609393] | [1.0, 1.0, 2.0] | [0.7958905080729693, 0.7769917657482635, 0.634717342029822] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04508161481861074, 0.035063683494552446, 0.04403026638524872] | 0.017734 | 0.0494 | 0.17718 | 1 | 423 | 1 | 262 | 2 | 198
0.24667 | 0.92338 | 0.85 | 68311.1286 | 1.0499 | -16551.056 | 0.00024764 | 0.22073 | 25.7005 | 36.6632 | 1746.4274 | 2600196.9059 | 33.1224 | 33.2861 | 0.040915 | [26681.080334124974, 16525.867180765046, 25104.18112702344] | [1.0758842433702867, 1.0579374559104227, 1.0159768912291458] | [-4509.904100392771, -3488.0700094061403, -8553.081926068595] | [0.00024831850922210435, 0.00023228989676174708, 0.000262301598691121] | [0.2026493345579266, 0.2135602865620075, 0.24599308331550188] | [35.563004210880926, 27.485687164984387, 14.052775737720584] | [43.60111865100141, 38.61408719798807, 27.77441588291735] | [3374.366218006111, 1623.4294897266213, 241.48647688268497] | [0.15000042730217944, 0.12210121635621449, 0.10525726209690343] | [0.07393363785027339, 0.0655358083350521, 0.05971173028240971] | [423.0, 262.0, 199.0] | [0.50712520210299, 0.463316155010723, 0.43285199968821486] | [0.00030000017830464533, 0.00030000031154581175, 0.0003000002750130671] | [1.0, 1.0, 2.0] | [0.7958905231060699, 0.7780623106048083, 0.6378069051040018] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04509904100392772, 0.034880700094061405, 0.042765409630342976] | 0.017767 | 0.049374 | 0.17713 | 1 | 423 | 1 | 262 | 2 | 199
0.24566 | 0.90844 | 0.85 | 72095.6611 | 1.0405 | -14747.2729 | 0.00024267 | 0.22893 | 22.5758 | 34.0132 | 1436.3683 | 2559923.2701 | 33.1074 | 33.2378 | 0.037819 | [26681.075436860123, 32925.577273007126, 12489.00839654269] | [1.0741713693288124, 1.0400077364692897, 1.0073265717775466] | [-4562.919516527578, -6803.258328438363, -3381.095082927045] | [0.0002493086536201908, 0.00023163761823648482, 0.00024707191977400806] | [0.20227842001484567, 0.2315793500732078, 0.2529357457791034] | [35.79443251384437, 20.185703596364096, 11.747144578187484] | [43.772394854948985, 32.32361857988629, 25.943519201020212] | [3428.5767692265, 730.1655284403898, 150.362559944349] | [0.15000033443340252, 0.13395662354355006, 0.06999424943348762] | [0.07527225125560104, 0.046497655674208396, 0.06030709629532562] | [423.0, 261.0, 198.0] | [0.4982003147866433, 0.6529926040132078, 0.13846769845425955] | [0.0003000003172874171, 0.00030000043643635713, 0.0003000006590993948] | [1.0, 2.0, 1.0] | [0.7958907932284323, 0.7248096212054834, 0.6346989331260567] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04562919516527578, 0.03401629164219182, 0.03381095082927045] | 0.018751 | 0.048578 | 0.17593 | 1 | 423 | 2 | 261 | 1 | 198
0.24565 | 0.90822 | 0.85 | 72158.7365 | 1.0405 | -14633.7385 | 0.0002418 | 0.2289 | 22.5871 | 34.0224 | 1437.596 | 2559339.0234 | 33.1071 | 33.2384 | 0.037468 | [26681.075344720266, 32925.57702790767, 12552.084167976951] | [1.0741466153339787, 1.0400519514922637, 1.0073892239611122] | [-4563.692535544054, -6786.968234266775, -3283.0776814706223] | [0.00024932299283083464, 0.00023142733521908028, 0.00024465741747930244] | [0.2022730733806452, 0.23150794001826341, 0.2529277725459774] | [35.797792890430394, 20.21397560784971, 11.749436987212965] | [43.77487481569724, 32.34685014901421, 25.945448089119736] | [3429.370453471617, 732.9847140569004, 150.4327551142588] | [0.15000033364089757, 0.1338994454069664, 0.06934103804452162] | [0.07529171331559495, 0.04649000059252118, 0.05971318088324515] | [423.0, 261.0, 199.0] | [0.4980705580358654, 0.6529014594579633, 0.13891650614951845] | [0.00030000031990231663, 0.0003000004420729909, 0.000300000660821561] | [1.0, 2.0, 1.0] | [0.7958907932446774, 0.7253066107459433, 0.6377905622407455] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04563692535544055, 0.03393484117133387, 0.032830776814706225] | 0.018767 | 0.048567 | 0.17592 | 1 | 423 | 2 | 261 | 1 | 199
0.24513 | 0.88881 | 0.85 | 78416.9875 | 1.0439 | -14426.615 | 0.00022545 | 0.22395 | 24.4203 | 35.5829 | 1621.2914 | 2506781.5182 | 33.0813 | 33.1866 | 0.031837 | [26656.34572821745, 29191.4433724356, 22569.198366601548] | [1.0716928272877426, 1.0511210427022655, 1.008785996587552] | [-4675.539698327115, -4621.356803067742, -5129.718493272812] | [0.0002514548349447668, 0.00020159150400560796, 0.00022330165487285963] | [0.20194184979745294, 0.22165056033194533, 0.2482725895908419] | [35.97329170050668, 24.293756050728415, 12.99393710256102] | [43.92106951241295, 35.7069043722216, 27.120822406294415] | [3467.0592052595844, 1201.1522263814368, 195.66284677846278] | [0.15019506077145658, 0.11900886262414163, 0.0725988451412053] | [0.07720283728773747, 0.04578896506040171, 0.05509164861385883] | [423.0, 261.0, 198.0] | [0.48599638034600556, 0.6153309695726898, 0.24125545412562513] | [0.00030070278954004984, 0.0003968605945022119, 0.00038081694998208125] | [1.0, 2.0, 2.0] | [0.7937377442519, 0.7125338592786395, 0.6057560574865406] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04675539698327114, 0.023106784015338708, 0.02564859246636406] | 0.020395 | 0.047528 | 0.17481 | 1 | 423 | 2 | 261 | 2 | 198
0.24512 | 0.88925 | 0.85 | 78243.4221 | 1.0441 | -14898.6191 | 0.00022778 | 0.22424 | 24.3805 | 35.5238 | 1628.9971 | 2507943.2744 | 33.082 | 33.1847 | 0.032551 | [26681.072782728428, 28618.090541550595, 22944.25872679652] | [1.0719797816484296, 1.051634690367981, 1.0087594813349212] | [-4632.0948348131315, -4642.149034321166, -5624.375272003778] | [0.0002505808608658675, 0.00020203060250868237, 0.00023073430480773403] | [0.20180637174996657, 0.2214743164916034, 0.2494339940052952] | [36.09384678417938, 24.324023157478443, 12.723655320312025] | [43.99257316360613, 35.757000480052625, 26.821846229602112] | [3500.0396664808695, 1202.6819166823548, 184.2697874407175] | [0.15000010078913492, 0.11842424681794475, 0.07480554227046593] | [0.07700832145541511, 0.046148533486554524, 0.05611585674314336] | [423.0, 261.0, 199.0] | [0.48662510079774496, 0.6103938447341978, 0.2499519374598594] | [0.0003000003926108263, 0.0004139713817818247, 0.00037128145497764876] | [1.0, 2.0, 2.0] | [0.7958919122712941, 0.69935108237387, 0.6000025057924615] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04632094834813132, 0.02321074517160583, 0.02812187636001889] | 0.02035 | 0.047551 | 0.17483 | 1 | 423 | 2 | 261 | 2 | 199
0.24564 | 0.90802 | 0.85 | 72221.8386 | 1.0404 | -14730.9497 | 0.00024264 | 0.22904 | 22.5352 | 33.9789 | 1432.8042 | 2558777.8213 | 33.1069 | 33.2364 | 0.03779 | [26681.082483101574, 33051.74084227663, 12489.01525009347] | [1.074123058916572, 1.0399064496879231, 1.00726851678602] | [-4564.398995145471, -6787.835520687547, -3378.7151857687577] | [0.00024933603632484294, 0.00023157153881518563, 0.00024702336861648854] | [0.20226781815413908, 0.23189566834308692, 0.25295727643711785] | [35.8011231455686, 20.063034403763353, 11.74133323773172] | [43.77731907639528, 32.220979682194226, 25.93831637433538] | [3430.1604589794892, 718.0763076175267, 150.17590379525228] | [0.15000012068994092, 0.13367613612220125, 0.06991661443002549] | [0.07531028797872835, 0.04632516688456353, 0.060307340056475145] | [423.0, 262.0, 198.0] | [0.49794600742841116, 0.6535547680213658, 0.13750707711920965] | [0.0003000001173174098, 0.0003000001630748636, 0.0003000002435731853] | [1.0, 2.0, 1.0] | [0.7958922476637844, 0.7239252670097845, 0.6346968864988628] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04564398995145471, 0.03393917760343773, 0.033787151857687575] | 0.018784 | 0.048555 | 0.17591 | 1 | 423 | 2 | 262 | 1 | 198
0.24563 | 0.9078 | 0.85 | 72284.8872 | 1.0405 | -14617.2656 | 0.00024177 | 0.22901 | 22.5464 | 33.9881 | 1434.0102 | 2558196.503 | 33.1066 | 33.237 | 0.037439 | [26681.075127592183, 33051.72808034597, 12552.083963095407] | [1.0740982157300425, 1.0399510786217716, 1.007330744034264] | [-4565.204510280477, -6771.345402044625, -3280.715664388629] | [0.00024935103131881975, 0.00023135846554141643, 0.0002446080203645491] | [0.2022626205480602, 0.23182389315709492, 0.25294916852913407] | [35.80436454896103, 20.09124937660876, 11.743649935856206] | [43.77972412658493, 32.24422842284338, 25.9402772067891] | [3430.9231513702935, 720.8605270867976, 150.24697099270062] | [0.15000033188686998, 0.13361788988068335, 0.06926367578031514] | [0.07532977571152243, 0.04631704087602026, 0.059713217502245244] | [423.0, 262.0, 199.0] | [0.4978167891135788, 0.6534644267636729, 0.1379537170855243] | [0.0003000003260643416, 0.0003000004554449313, 0.00030000067318097784] | [1.0, 2.0, 1.0] | [0.795890792680658, 0.7244268005229096, 0.6377901431984234] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04565204510280477, 0.033856727010223124, 0.03280715664388629] | 0.0188 | 0.048544 | 0.17589 | 1 | 423 | 2 | 262 | 1 | 199
0.24512 | 0.88931 | 0.85 | 78220.7045 | 1.044 | -14964.8811 | 0.0002281 | 0.22431 | 24.3276 | 35.4896 | 1620.2988 | 2508084.9061 | 33.0821 | 33.1846 | 0.032661 | [26681.072825138835, 28703.05776411681, 22836.57393360299] | [1.0719857247739335, 1.0514498066421418, 1.0087003164152994] | [-4631.905062399757, -4654.846911977892, -5678.129116264313] | [0.00025057740037553425, 0.00020235408495715307, 0.0002313790402928681] | [0.20180764742123927, 0.2218926418897907, 0.2492184043872066] | [36.09303029173343, 24.116687421872335, 12.773197856592683] | [43.9919748312664, 35.599735622915134, 26.876981067263596] | [3499.8427486632527, 1174.7264663945134, 186.3271522966309] | [0.1500001008150137, 0.11826136459823908, 0.07504928064170092] | [0.07700357817826546, 0.045986836725420414, 0.056422422791872415] | [423.0, 262.0, 198.0] | [0.4866567244192928, 0.6112246960224911, 0.24830286860016848] | [0.00030000039140723234, 0.00041472046789409623, 0.00037100526554072227] | [1.0, 2.0, 2.0] | [0.7958919140619856, 0.6969370989274866, 0.600002691493439] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.046319050623997576, 0.023274234559889462, 0.028390645581321566] | 0.020344 | 0.047554 | 0.17483 | 1 | 423 | 2 | 262 | 2 | 198
0.24512 | 0.88925 | 0.85 | 78245.2782 | 1.0441 | -14891.6756 | 0.00022779 | 0.22434 | 24.3281 | 35.4853 | 1621.7899 | 2507922.4418 | 33.082 | 33.1847 | 0.03254 | [26681.07277001906, 28622.430058321886, 22941.775344347236] | [1.0719789074737762, 1.0516111471057559, 1.0087588097371256] | [-4632.122751462543, -4638.463839093831, -5621.089020248652] | [0.0002505813699195272, 0.0002021033012938564, 0.00023068774835967881] | [0.2018061841277523, 0.22177918301999275, 0.2494297780134925] | [36.093966871714734, 24.16571852931504, 12.724549349225281] | [43.992661165421545, 35.64022732737801, 26.82291931755348] | [3500.0686291883526, 1180.9932070065984, 184.30790528423873] | [0.15000010078266068, 0.11808814823181736, 0.07478825329669861] | [0.07700901916367736, 0.046012638738616225, 0.056108379190683344] | [423.0, 262.0, 199.0] | [0.48662044913928804, 0.6104355302762939, 0.24987848266974022] | [0.0003000003929715141, 0.0004171766166843523, 0.0003713711357575349] | [1.0, 2.0, 2.0] | [0.7958919117278705, 0.6958538219881033, 0.6000024981304534] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04632122751462544, 0.023192319195469154, 0.028105445101243253] | 0.02035 | 0.047551 | 0.17483 | 1 | 423 | 2 | 262 | 2 | 199
0.25451 | 0.99346 | 0.85 | 55695.9775 | 1.0487 | -15502.6477 | 0.00027036 | 0.22898 | 21.5971 | 33.5691 | 1179.8105 | 2790090.9882 | 33.1705 | 33.5265 | 0.051675 | [26744.161696618667, 16462.797336850243, 12489.018485228036] | [1.080718727168245, 1.045324221449703, 1.0200800785105943] | [-4757.454285992091, -6734.819970481664, -4010.373481075991] | [0.000253592450793074, 0.0002986213655083576, 0.00025888064346863294] | [0.20629699047162386, 0.232501258551414, 0.2481380060088981] | [33.05697375215611, 18.59351782525646, 13.14091087479585] | [41.88875080712127, 31.657520856175797, 27.16096674505398] | [2786.1059543402484, 550.8307633004833, 202.49485100123977] | [0.15308859168289296, 0.13598932238969436, 0.08796244155579173] | [0.06887799533382519, 0.06616775614016604, 0.06030240030180334] | [424.0, 261.0, 198.0] | [0.5500950079551468, 0.5135064343085561, 0.31458018668961857] | [0.00030000002194872856, 0.00030000003626704403, 0.0003000000474292942] | [1.0, 1.0, 1.0] | [0.7779965108930925, 0.6401454676186028, 0.6347505911463849] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04757454285992091, 0.06734819970481663, 0.04010373481075991] | 0.014486 | 0.053126 | 0.18451 | 1 | 424 | 1 | 261 | 1 | 198
0.25445 | 0.99302 | 0.85 | 55759.0534 | 1.0488 | -15353.6131 | 0.00026933 | 0.22892 | 21.6248 | 33.5903 | 1183.7806 | 2788907.8316 | 33.1702 | 33.5283 | 0.051179 | [26744.16169336296, 16462.797333563725, 12552.094337232778] | [1.0807511963031433, 1.045387211471954, 1.0202506212447822] | [-4746.076984566429, -6711.607724316609, -3895.9284348831834] | [0.00025336958749147797, 0.0002982284020587887, 0.0002563806020893073] | [0.20624549507930875, 0.23239282700274785, 0.248119164279954] | [33.09367530282863, 18.633146536902665, 13.147475856034054] | [41.91296817054888, 31.69190985654337, 27.166058496604442] | [2794.5034948778402, 554.0752317629483, 202.7631862745628] | [0.15300430470320894, 0.13590933352436346, 0.08720063964508303] | [0.06888058486411171, 0.0661691740518582, 0.05970856746981058] | [424.0, 261.0, 199.0] | [0.5498302116886717, 0.5132094683512511, 0.31540125344956615] | [0.00030000002204090645, 0.00030000003641820604, 0.0003000000473647922] | [1.0, 1.0, 1.0] | [0.7784250933054543, 0.6408991673651253, 0.6378420864930688] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.047460769845664295, 0.0671160772431661, 0.038959284348831835] | 0.014502 | 0.053102 | 0.18446 | 1 | 424 | 1 | 261 | 1 | 199
0.2467 | 0.92389 | 0.85 | 68184.9912 | 1.0498 | -16844.2973 | 0.0002488 | 0.22083 | 25.6221 | 36.6156 | 1725.3518 | 2601532.4329 | 33.123 | 33.286 | 0.041471 | [26744.160220203907, 16462.79569203871, 24978.03527107313] | [1.0757039428170114, 1.0578374822638286, 1.0158539411909955] | [-4537.138461404263, -3501.131017233431, -8806.027844231741] | [0.0002489701346876589, 0.00023255185387701145, 0.00026487823510358256] | [0.20298320982856305, 0.2134938760128692, 0.2460046791185798] | [35.29759708691059, 27.521856208418114, 14.046717320760493] | [43.43353378964694, 38.6424246180365, 27.77088169046009] | [3305.6732503818516, 1629.1677790821427, 241.21450642340136] | [0.15000015464151173, 0.12225244391539045, 0.10616167595967164] | [0.07373090787507204, 0.06570878033941722, 0.06030591064641329] | [424.0, 261.0, 198.0] | [0.5084759170009647, 0.46256534268368965, 0.4320878930983016] | [0.00030000006375005187, 0.000300000111919526, 0.0003000000989454695] | [1.0, 1.0, 2.0] | [0.7940150491916483, 0.7779399466641317, 0.6347124851251958] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04537138461404263, 0.03501131017233432, 0.044030139221158705] | 0.017734 | 0.0494 | 0.17718 | 1 | 424 | 1 | 261 | 2 | 198
0.24667 | 0.92339 | 0.85 | 68311.1286 | 1.0499 | -16574.4897 | 0.00024779 | 0.22077 | 25.6559 | 36.6395 | 1730.853 | 2600202.1604 | 33.1224 | 33.2861 | 0.040994 | [26744.156189042606, 16462.791326736715, 25104.18112397298] | [1.0756470406979666, 1.0579459366634656, 1.0159754994630936] | [-4538.939825493177, -3482.779625335997, -8552.770282097872] | [0.0002490039743219138, 0.00023208180960153629, 0.0002622991685067744] | [0.20297095830408557, 0.21334610164385248, 0.2459939680520474] | [35.30508111551856, 27.61021203825731, 14.052456464671817] | [43.439125968781184, 38.705260825224535, 27.7741651559836] | [3307.3842628957814, 1643.704400547797, 241.47046966758148] | [0.1500004228288727, 0.12215698492440234, 0.10525283956887414] | [0.0737752351210993, 0.06570375502924138, 0.05971172991190928] | [424.0, 261.0, 199.0] | [0.5081812643775114, 0.46218633329281744, 0.4328281644063714] | [0.00030000017788323194, 0.0003000003127000069, 0.00030000027510507617] | [1.0, 1.0, 2.0] | [0.7940134471682201, 0.7790142218387638, 0.6378069089940412] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04538939825493177, 0.03482779625335997, 0.04276385141048936] | 0.017767 | 0.049374 | 0.17714 | 1 | 424 | 1 | 261 | 2 | 199
0.25444 | 0.99296 | 0.85 | 55759.0492 | 1.0487 | -15481.0871 | 0.00027028 | 0.22906 | 21.5738 | 33.5455 | 1180.137 | 2788723.2832 | 33.1702 | 33.5248 | 0.051604 | [26744.16032437316, 16525.871795231913, 12489.01710075363] | [1.0807573245728832, 1.0452461238342807, 1.0200072158698674] | [-4744.137521251818, -6730.7395470295205, -4006.2100022420595] | [0.00025333157867594823, 0.00029870044421761424, 0.00025880860280253073] | [0.20623695108848944, 0.23278941990972654, 0.248165644993135] | [33.09979463503241, 18.489294047842613, 13.13229071020588] | [41.91699479246078, 31.56583588197289, 27.153616627658625] | [2795.907663408429, 542.3771107314301, 202.12610966933227] | [0.15299007924650435, 0.13577239563606242, 0.0878548777303898] | [0.06888051990159866, 0.06593659501961567, 0.06030235668355358] | [424.0, 262.0, 198.0] | [0.5497887737104671, 0.5144317665192126, 0.31374114815461523] | [0.0003000000608007365, 0.0003000001001151657, 0.0003000001313689732] | [1.0, 1.0, 1.0] | [0.7784974127735819, 0.6391556612358875, 0.634750938075186] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04744137521251817, 0.0673073954702952, 0.040062100022420596] | 0.014502 | 0.053099 | 0.18444 | 1 | 424 | 1 | 262 | 1 | 198
0.25438 | 0.99252 | 0.85 | 55822.125 | 1.0488 | -15332.2475 | 0.00026924 | 0.229 | 21.6013 | 33.5666 | 1184.0939 | 2787543.8355 | 33.17 | 33.5266 | 0.051107 | [26744.16031534164, 16525.87178611176, 12552.092947644778] | [1.0807898352929242, 1.045308959988151, 1.020177153112708] | [-4732.8047389712165, -6707.569986998484, -3891.8728234118257] | [0.00025310916598206393, 0.0002983080087708584, 0.0002563090867577854] | [0.20618552705587487, 0.23268120781384036, 0.24814686554978463] | [33.136511321949655, 18.528565283451456, 13.13882812922881] | [41.941204216713416, 31.60001103388209, 27.158688501071442] | [2804.3282329230956, 545.5605502299225, 202.3928500594413] | [0.15290602001692405, 0.13569237028564493, 0.08709373422546292] | [0.06888304227912496, 0.06593785931436696, 0.05970852547949236] | [424.0, 262.0, 199.0] | [0.5495247483164669, 0.5141358731056715, 0.31456105597107054] | [0.0003000000610564433, 0.00030000010053304296, 0.00030000013119113925] | [1.0, 1.0, 1.0] | [0.7789253869726617, 0.6399076181815702, 0.6378424224527052] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04732804738971216, 0.06707569986998484, 0.03891872823411826] | 0.014518 | 0.053076 | 0.18439 | 1 | 424 | 1 | 262 | 1 | 199
0.24668 | 0.92361 | 0.85 | 68248.067 | 1.0497 | -16832.7685 | 0.00024882 | 0.22095 | 25.5553 | 36.5674 | 1715.0711 | 2600770.7992 | 33.1227 | 33.2851 | 0.041454 | [26744.160203911888, 16525.87152650308, 24978.035238821874] | [1.0756715164353963, 1.0577295710880952, 1.0157988071838404] | [-4538.144969772826, -3501.3322357331854, -8793.291245354882] | [0.0002489890101495465, 0.0002326961787431835, 0.0002647808379660719] | [0.20297611339169297, 0.21381928371271183, 0.2460399072986236] | [35.30194950373992, 27.33007669685466, 14.034020579000094] | [43.43677710726554, 38.50437448606539, 27.76090099421084] | [3306.6704222721396, 1597.9635823159495, 240.57939356093084] | [0.15000015391178992, 0.12202159449901095, 0.10598412248514572] | [0.07375620692648101, 0.06545253759290638, 0.06030592552135178] | [424.0, 262.0, 198.0] | [0.5083072445281901, 0.46364864913234416, 0.43113600368224503] | [0.00030000006421132335, 0.0003000001124280715, 0.0003000000999231545] | [1.0, 1.0, 2.0] | [0.794015052317222, 0.7767032760340705, 0.6347123217337072] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04538144969772826, 0.03501332235733186, 0.04396645622677441] | 0.01775 | 0.049385 | 0.17715 | 1 | 424 | 1 | 262 | 2 | 198
0.24665 | 0.92311 | 0.85 | 68374.2043 | 1.0498 | -16563.3325 | 0.00024782 | 0.22089 | 25.5889 | 36.5911 | 1720.4602 | 2599444.4149 | 33.1222 | 33.2852 | 0.040977 | [26744.156143356053, 16525.86712421216, 25104.181033179193] | [1.0756147891203456, 1.0578377231336222, 1.015919976985936] | [-4539.941354883958, -3483.006592119052, -8540.384504491667] | [0.0002490227476655953, 0.00023222670698731787, 0.0002622026348023368] | [0.20296390045377483, 0.2136717894459362, 0.24602920677585943] | [35.30941204377035, 27.417502879095593, 14.039741627475745] | [43.442352621164275, 38.566767802829695, 27.764177173551595] | [3308.3770576737907, 1612.1696084767832, 240.8338357943443] | [0.15000042086466028, 0.12192607559280579, 0.10507657352213158] | [0.07380040825434249, 0.06544738588291898, 0.059711741745916806] | [424.0, 262.0, 199.0] | [0.5080134276685202, 0.46327054322773886, 0.43187628575825554] | [0.00030000017917674313, 0.00030000031413701396, 0.0003000002778436271] | [1.0, 1.0, 2.0] | [0.7940134554984478, 0.7777758931400178, 0.6378067734574828] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.045399413548839584, 0.03483006592119052, 0.04270192252245834] | 0.017783 | 0.049359 | 0.17711 | 1 | 424 | 1 | 262 | 2 | 199
0.24565 | 0.90822 | 0.85 | 72158.7629 | 1.0404 | -14763.9566 | 0.00024287 | 0.22907 | 22.4759 | 33.9488 | 1412.5093 | 2559314.0264 | 33.1071 | 33.237 | 0.037895 | [26744.158375311403, 32925.58924778109, 12489.015281681743] | [1.0739134667100423, 1.039918762134242, 1.0072942190177856] | [-4593.21677305845, -6790.950535542382, -3379.7892828860595] | [0.00025001448402537524, 0.00023155249504232408, 0.000247045391073263] | [0.20259237218719361, 0.23166948195149173, 0.252947814214472] | [35.53910103480393, 20.144828588631153, 11.743890449124507] | [43.61297756729854, 32.29283521917301, 25.94060296389253] | [3361.4737334704346, 725.7962196350045, 150.25794803469728] | [0.1500001200274182, 0.13374912045208104, 0.06995110537203074] | [0.07513646508009222, 0.04648062243056598, 0.06030731937774827] | [424.0, 261.0, 198.0] | [0.4991048889803684, 0.6525816138007609, 0.13793286324993492] | [0.0003000001159839903, 0.00030000016104860314, 0.00030000024165801036] | [1.0, 2.0, 1.0] | [0.7940151489440371, 0.724626016492614, 0.6346971127769739] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.045932167730584506, 0.033954752677711905, 0.033797892828860594] | 0.018767 | 0.048566 | 0.17592 | 1 | 424 | 2 | 261 | 1 | 198
0.24564 | 0.908 | 0.85 | 72221.8386 | 1.0404 | -14650.5109 | 0.000242 | 0.22904 | 22.4872 | 33.958 | 1413.7248 | 2558731.2832 | 33.1069 | 33.2376 | 0.037544 | [26744.158341352206, 32925.5891561926, 12552.091105794285] | [1.0738888515883238, 1.0399628771090497, 1.0073566034374497] | [-4593.994917255903, -6774.711119090982, -3281.804898079874] | [0.0002500288718741912, 0.0002313425364730782, 0.0002446310409989684] | [0.2025870132340714, 0.2315981635220301, 0.2529398584406015] | [35.542437922392416, 20.173003385625364, 11.746175774198502] | [43.61544960578943, 32.31600831109976, 25.942527074155624] | [3362.2514674046433, 728.5950284464986, 150.32789586554094] | [0.15000011974740382, 0.13369215608265803, 0.06929815512204153] | [0.0751559111050624, 0.04647291362508961, 0.059713393444404704] | [424.0, 261.0, 199.0] | [0.4989752406409722, 0.6524911098329624, 0.1383803096625528] | [0.0003000001169454678, 0.0003000001631548927, 0.0003000002423000711] | [1.0, 2.0, 1.0] | [0.79401514888974, 0.7251223877932357, 0.6377888233201814] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04593994917255903, 0.03387355559545491, 0.032818048980798736] | 0.018784 | 0.048555 | 0.1759 | 1 | 424 | 2 | 261 | 1 | 199
0.24512 | 0.88931 | 0.85 | 78219.4104 | 1.044 | -14986.5567 | 0.00022827 | 0.22434 | 24.2755 | 35.4626 | 1601.7341 | 2508088.0555 | 33.0821 | 33.1846 | 0.032748 | [26744.148676617584, 28644.23049354362, 22831.031279161976] | [1.0717599179589474, 1.0514152499096423, 1.0086996659120175] | [-4662.044742159784, -4653.730503442006, -5670.781443326582] | [0.00025127641100232, 0.00020226997321342146, 0.00023127532711522325] | [0.20212496105257566, 0.221682876781429, 0.24920851867332644] | [35.832770385006, 24.2183581403663, 12.775353509472621] | [43.8297776243253, 35.67840095838524, 26.87950759538659] | [3430.6285218338307, 1188.1546973553009, 186.41896242316696] | [0.15000010015386497, 0.11837863793936847, 0.07501238133467147] | [0.07685043031875353, 0.04611528230742558, 0.05640555396757462] | [424.0, 261.0, 198.0] | [0.4876777623029203, 0.6105249647227461, 0.24815788485517595] | [0.00030000039058058244, 0.0004131763742810086, 0.00037120632766257704] | [1.0, 2.0, 2.0] | [0.7940148153118918, 0.6988911234188733, 0.6000026710406267] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.046620447421597835, 0.02326865251721003, 0.02835390721663291] | 0.020344 | 0.047554 | 0.17483 | 1 | 424 | 2 | 261 | 2 | 198
0.24512 | 0.88925 | 0.85 | 78244.0038 | 1.044 | -14913.3548 | 0.00022796 | 0.22437 | 24.2759 | 35.4582 | 1603.2277 | 2507925.5988 | 33.082 | 33.1848 | 0.032626 | [26744.148621400716, 28563.696119249944, 22936.159022343076] | [1.071753121092891, 1.0515764900830995, 1.0087581564388661] | [-4662.264393015596, -4637.336554262242, -5613.753879187194] | [0.00025128040400688035, 0.0002020193566975808, 0.0002305834859382515] | [0.20212349042719246, 0.22157044203571136, 0.24941981100494875] | [35.83370278987469, 24.267145302419593, 12.726710197989979] | [43.83046355009266, 35.71863921432244, 26.825458963419543] | [3430.850383707163, 1194.4334371750392, 184.39929758216783] | [0.1500001001219062, 0.11820433676795741, 0.07475110949025122] | [0.07685588043233657, 0.046140663641831045, 0.056091475678046274] | [424.0, 261.0, 199.0] | [0.48764142615891515, 0.609735532466775, 0.2497317797641445] | [0.00030000039214392375, 0.0004156303710050347, 0.00037157402597543193] | [1.0, 2.0, 2.0] | [0.7940148129826978, 0.6978003970650705, 0.6000024804724386] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.046622643930155964, 0.023186682771311213, 0.02806876939593597] | 0.02035 | 0.047551 | 0.17483 | 1 | 424 | 2 | 261 | 2 | 199
0.24563 | 0.9078 | 0.85 | 72284.887 | 1.0403 | -14747.1211 | 0.00024284 | 0.22918 | 22.4356 | 33.9147 | 1408.9585 | 2558172.6784 | 33.1066 | 33.2357 | 0.037865 | [26744.150962599924, 33051.72799572788, 12489.00807531118] | [1.0738650436367447, 1.0398188680973026, 1.0072365547239515] | [-4594.776880010383, -6775.015096109993, -3377.329126734643] | [0.0002500433850163645, 0.0002314798248753554, 0.0002469946518191473] | [0.20258199576891694, 0.2319845920894533, 0.25296888590238575] | [35.545536697550396, 20.0229288818799, 11.738188305441929] | [43.6177581158564, 32.19072336566377, 25.935513133702045] | [3362.9707145380285, 713.8294947722268, 150.0752060091931] | [0.1500003291168941, 0.1334667703611454, 0.0698734265987782] | [0.07517467250652464, 0.0463076386652274, 0.06030715100524449] | [424.0, 262.0, 198.0] | [0.4988508572129858, 0.6531426534706091, 0.13697641391851614] | [0.00030000032585814166, 0.0003000004573834944, 0.0003000006785754581] | [1.0, 2.0, 1.0] | [0.7940137067466775, 0.7237537769814976, 0.6346983146656476] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04594776880010384, 0.033875075480549965, 0.033773291267346434] | 0.0188 | 0.048544 | 0.17589 | 1 | 424 | 2 | 262 | 1 | 198
0.24562 | 0.90758 | 0.85 | 72347.9624 | 1.0403 | -14633.8436 | 0.00024197 | 0.22915 | 22.4467 | 33.9238 | 1410.1524 | 2557592.534 | 33.1063 | 33.2363 | 0.037515 | [26744.150866122738, 33051.72772790097, 12552.083842849344] | [1.0738405439016094, 1.0398627265882063, 1.0072984532025342] | [-4595.551727912815, -6758.879500636959, -3279.412351100316] | [0.0002500577063588383, 0.00023127082176654045, 0.000244580737314539] | [0.20257666247607803, 0.23191356508525313, 0.25296098065782974] | [35.54885896385136, 20.050779537458958, 11.740456656461522] | [43.62021892959059, 32.21369765201287, 25.93742401305849] | [3363.7453978283484, 716.5671184602978, 150.1445615111606] | [0.15000032835918217, 0.1334100431774391, 0.06922096920857781] | [0.07519403410022514, 0.046299895429526464, 0.05971323485779653] | [424.0, 262.0, 199.0] | [0.49872177037036053, 0.6530530732408232, 0.1374213442567898] | [0.0003000003285896757, 0.00030000046351929036, 0.00030000068043478537] | [1.0, 2.0, 1.0] | [0.7940137063923175, 0.7242480039755115, 0.6377899426877912] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04595551727912816, 0.03379439750318479, 0.03279412351100316] | 0.018817 | 0.048532 | 0.17588 | 1 | 424 | 2 | 262 | 1 | 199
0.24512 | 0.8893 | 0.85 | 78221.4331 | 1.0439 | -14979.021 | 0.00022828 | 0.22444 | 24.2233 | 35.4242 | 1594.6067 | 2508066.0804 | 33.0821 | 33.1846 | 0.032735 | [26744.12441480642, 28649.044949759944, 22828.263753229217] | [1.0717587794568586, 1.0513914141388025, 1.0086990886586094] | [-4662.113120140726, -4650.008973232197, -5666.898905933836] | [0.00025127773209094, 0.00020234225600211878, 0.00023122053657996964] | [0.20212489727368205, 0.22198817088701098, 0.24920337612210797] | [35.83277927411371, 24.06071756971159, 12.776466875173126] | [43.82979989376879, 35.56184467395356, 26.88082152089949] | [3430.6269534047533, 1166.7267660606549, 186.46651289813957] | [0.15000027604405528, 0.11804305528348072, 0.07499259814713685] | [0.07685131214063369, 0.0459791736873105, 0.056396695103003894] | [424.0, 262.0, 198.0] | [0.4876724839798637, 0.6105705540829025, 0.24807762430640254] | [0.00030000107749979515, 0.00041636432298413386, 0.00037130675737628887] | [1.0, 2.0, 2.0] | [0.7940127864935148, 0.6954019076657667, 0.6000073395346449] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.04662113120140726, 0.023250044866160988, 0.028334494529669182] | 0.020344 | 0.047553 | 0.17483 | 1 | 424 | 2 | 262 | 2 | 198
0.24512 | 0.88924 | 0.85 | 78245.8458 | 1.044 | -14906.4576 | 0.00022797 | 0.22447 | 24.2238 | 35.4199 | 1596.1064 | 2507904.9162 | 33.082 | 33.1848 | 0.032615 | [26744.14860875289, 28568.00882045721, 22933.688402777327] | [1.0717522557753352, 1.0515530969949374, 1.0087574899644676] | [-4662.292359912412, -4633.673376107178, -5610.491899854741] | [0.00025128091240547246, 0.0002020916703144287, 0.00023053721314822737] | [0.20212330321452604, 0.22187386763900124, 0.24941561265907408] | [35.833821487288226, 24.110021113178725, 12.727601110184803] | [43.83055087044571, 35.60259122413363, 26.826527800465566] | [3430.87862798115, 1173.0032416938834, 184.43729655747] | [0.15000010011556733, 0.11787057784565222, 0.07473393654816023] | [0.07685657431424403, 0.0460054926563762, 0.05608404299707377] | [424.0, 262.0, 199.0] | [0.4876368000103607, 0.6097770253263552, 0.24965878542540065] | [0.0003000003925020185, 0.0004188422790740186, 0.0003716633088368802] | [1.0, 2.0, 2.0] | [0.7940148124439832, 0.6943114458851973, 0.6000024730209681] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.046622923599124115, 0.02316836688053589, 0.028052459499273708] | 0.020351 | 0.04755 | 0.17483 | 1 | 424 | 2 | 262 | 2 | 199
0.2449 | 0.8945 | 0.85 | 75931.026 | 1.0334 | -12047.2066 | 0.00022313 | 0.24102 | 16.8256 | 29.6487 | 617.9727 | 2522442.2128 | 33.0921 | 33.1975 | 0.028531 | [46979.224551639454, 16462.7895126416, 12489.011900324407] | [1.0681131360713132, 1.0265453543327439, 1.0056230506810557] | [-6975.770640913038, -1760.0141953625152, -3311.421736067846] | [0.00022702284107724145, 0.00019674530812942336, 0.0002456272858702926] | [0.22252655919382755, 0.24698301861784205, 0.2535605074195893] | [25.385202833903048, 13.511934653896372, 11.579769360478892] | [35.73171462707963, 27.420827754451114, 25.79352072619817] | [1489.979358613203, 218.8482092182866, 145.09051865265423] | [0.15000003971244877, 0.06944524741825643, 0.06772225063356295] | [0.0389341830258259, 0.04508908817919678, 0.060308444484419334] | [423.0, 261.0, 198.0] | [0.7404789851669076, 0.3508323409912169, 0.10952908826433004] | [0.0004028788531174243, 0.00030000039613868465, 0.00030000044666739093] | [2.0, 1.0, 1.0] | [0.673176673334098, 0.7231737637695341, 0.6346846645258765] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03487885320456519, 0.01760014195362515, 0.033114217360678454] | 0.019749 | 0.047838 | 0.17492 | 2 | 423 | 1 | 261 | 1 | 198
0.24489 | 0.89423 | 0.85 | 76021.1059 | 1.0334 | -11949.2912 | 0.00022234 | 0.24102 | 16.8258 | 29.6485 | 618.0939 | 2521722.8605 | 33.0917 | 33.1977 | 0.028209 | [47006.257917604635, 16462.773655459347, 12552.074301271306] | [1.0680861441007254, 1.0265130193708543, 1.0056611724386044] | [-6973.0476148028, -1761.4412174793652, -3214.8024043656037] | [0.00022698763371085704, 0.0001968040472193483, 0.00024321343828978605] | [0.22252445309358385, 0.24699124734660835, 0.25355729993288] | [25.387562428727083, 13.509184235898683, 11.580678293466022] | [35.73287794865073, 27.418484454433383, 25.794284384068284] | [1490.4409130807699, 218.72366473990422, 145.11697864312222] | [0.15000011352663523, 0.06944383671326364, 0.06706942681506943] | [0.03892713538288214, 0.04510608383555589, 0.05971420782179042] | [423.0, 261.0, 199.0] | [0.740526106598206, 0.3505743281271984, 0.10972120537289778] | [0.0004023842205424122, 0.0003000011254850835, 0.0003000012560280466] | [2.0, 1.0, 1.0] | [0.6736162264769309, 0.7230561299132034, 0.6377784740675028] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.034865238074014, 0.017614412174793655, 0.032148024043656034] | 0.019772 | 0.047823 | 0.1749 | 2 | 423 | 1 | 261 | 1 | 199
0.24574 | 0.86693 | 0.85 | 87440.1359 | 1.0316 | -10199.6565 | 0.00019409 | 0.23853 | 17.7971 | 30.43 | 753.3182 | 2447988.2059 | 33.0428 | 33.1294 | 0.019438 | [53362.1376656397, 13769.365335082572, 20308.63287972474] | [1.0670866860136916, 1.0225547942621873, 1.0052638087861898] | [-5642.221166520154, -1463.0413339833158, -3094.3939714143403] | [0.00020823153589165285, 0.00018629870111057232, 0.00018775471488851939] | [0.22067600561171874, 0.2495194071198029, 0.24539758087395339] | [27.1385175999095, 12.697201921776076, 13.555539642275505] | [36.67108077566725, 26.736483305737334, 27.882553322116916] | [1850.8797622536135, 184.71222977248473, 224.362695027049] | [0.1500000095126705, 0.05933411810273013, 0.05681422929528465] | [0.03491945798806694, 0.043770976004075916, 0.04964937216582473] | [423.0, 261.0, 198.0] | [0.7672497859274208, 0.2623843364935334, 0.12617196358846441] | [0.0003000005047079969, 0.00044811628997882543, 0.0004740970937399873] | [2.0, 1.0, 2.0] | [0.7958922170139635, 0.6076280499771047, 0.6000032369293855] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.02821110583260077, 0.014630413339833158, 0.0154719698570717] | 0.022742 | 0.046366 | 0.17423 | 2 | 423 | 1 | 261 | 2 | 198
0.24574 | 0.86693 | 0.85 | 87445.1815 | 1.0317 | -10179.3639 | 0.00019407 | 0.23861 | 17.7764 | 30.4086 | 752.3702 | 2447988.4985 | 33.0428 | 33.1297 | 0.019422 | [53362.16034969675, 13680.30584181592, 20402.715350787803] | [1.0670867151871235, 1.0225766262438234, 1.0053011240084853] | [-5642.2121421718675, -1474.0281245658632, -3063.123586894253] | [0.00020823140054203456, 0.00018677649591977835, 0.00018719840140746474] | [0.22067599382764364, 0.2495335110167824, 0.245620166657538] | [27.13853018073798, 12.692227621920354, 13.49840888697192] | [36.671087211229576, 26.73229683196818, 27.82238150839604] | [1850.8826037572649, 184.5326371083308, 221.69545948157793] | [0.15000000345292736, 0.05942672707625042, 0.056568515610443494] | [0.03491942749134507, 0.043887621362111696, 0.04938025099408429] | [423.0, 261.0, 199.0] | [0.7672499798829227, 0.2615707508411374, 0.1271339489567628] | [0.00030000018282486216, 0.000454009945498213, 0.0004744844609424008] | [2.0, 1.0, 2.0] | [0.7958927647825498, 0.6027033608572402, 0.6000011436805673] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.02821106071085934, 0.014740281245658632, 0.015315617934471264] | 0.022743 | 0.046366 | 0.17423 | 2 | 423 | 1 | 261 | 2 | 199
0.2449 | 0.89425 | 0.85 | 76019.1125 | 1.0334 | -12004.0363 | 0.00022262 | 0.24103 | 16.8257 | 29.6483 | 618.0923 | 2521777.9686 | 33.0917 | 33.1967 | 0.028391 | [47004.23564780305, 16525.865107712023, 12489.0117178691] | [1.0680882555303488, 1.0266588340665797, 1.0055948815180362] | [-6973.233811279815, -1720.505512242881, -3310.296929637869] | [0.00022699005629537913, 0.00019525769908214995, 0.00024560371509418216] | [0.22252461885819858, 0.24698361537453256, 0.253570791383782] | [25.38738782521986, 13.512583144675371, 11.5770399893105] | [35.732789919232275, 27.421007374226257, 25.791066627182193] | [1490.4071461667186, 218.8633505494077, 145.00626050512872] | [0.15000004141090223, 0.06894806436734432, 0.06768493703184919] | [0.0389275987804534, 0.0447491613654161, 0.060308471866120664] | [423.0, 262.0, 198.0] | [0.7405228918711343, 0.3510807619951644, 0.10903752109237455] | [0.0004024212025545094, 0.00030000040653124126, 0.0003000004577295343] | [2.0, 1.0, 1.0] | [0.6735836242380481, 0.7254857130454849, 0.6346843536052557] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.034866169056399075, 0.01720505512242881, 0.03310296929637869] | 0.019771 | 0.047824 | 0.17491 | 2 | 423 | 1 | 262 | 1 | 198
0.24489 | 0.89398 | 0.85 | 76109.2342 | 1.0334 | -11906.0814 | 0.00022182 | 0.24103 | 16.8259 | 29.6482 | 618.2155 | 2521060.2371 | 33.0913 | 33.1969 | 0.028069 | [47031.31165398528, 16525.848752295944, 12552.073774481445] | [1.0680613753203607, 1.026626354632692, 1.0056328183573746] | [-6970.486884747354, -1721.8852747088722, -3213.7092135995827] | [0.0002269545201249932, 0.00019531542791910946, 0.00024319007095356085] | [0.22252247017880705, 0.24699186443777613, 0.25356758355221964] | [25.389781860824193, 13.509825242512672, 11.577947583323583] | [35.7339731678976, 27.418658691846474, 25.791830158335266] | [1490.8752063637712, 218.7384586612881, 145.0326899175364] | [0.15000011860143517, 0.06894640280071794, 0.067032411880403] | [0.0389204780555512, 0.04476590807653007, 0.05971423100953741] | [423.0, 262.0, 199.0] | [0.7405705064368542, 0.3508221425651392, 0.10922899149571995] | [0.000401926317164828, 0.0003000011559225668, 0.00030000128780653597] | [2.0, 1.0, 1.0] | [0.6740243893213769, 0.7253690187807913, 0.637778176945558] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03485243442373677, 0.017218852747088724, 0.03213709213599582] | 0.019795 | 0.04781 | 0.17489 | 2 | 423 | 1 | 262 | 1 | 199
0.24574 | 0.86693 | 0.85 | 87443.6945 | 1.0317 | -10235.9581 | 0.0001942 | 0.23861 | 17.7774 | 30.4096 | 752.4143 | 2447988.5006 | 33.0428 | 33.1289 | 0.019462 | [53362.160587346894, 13683.38508498474, 20398.14879545402] | [1.0670867154277779, 1.0227405040497297, 1.0052542411394552] | [-5642.212057924139, -1441.0051023344827, -3152.740940759826] | [0.00020823139926928104, 0.00018537191722066792, 0.0001890022472500201] | [0.2206759937010237, 0.2495344312676268, 0.2456082612777073] | [27.138530308526935, 12.691915794833431, 13.501611461113296] | [36.67108727801535, 26.73202751450877, 27.825593739507866] | [1850.8826322884888, 184.5210701435107, 221.8391643977221] | [0.15000000342818937, 0.058976467789115056, 0.0571234529726646] | [0.03491942721258383, 0.043557880921236185, 0.04986148533762867] | [423.0, 262.0, 198.0] | [0.7672499817033941, 0.26152353242761267, 0.12718975056634474] | [0.00030000017945264635, 0.0004572953313907232, 0.00047001015854806783] | [2.0, 1.0, 2.0] | [0.7958927703156756, 0.602805935805916, 0.600001207361062] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.028211060289620695, 0.014410051023344826, 0.01576370470379913] | 0.022743 | 0.046366 | 0.17423 | 2 | 423 | 1 | 262 | 2 | 198
0.24574 | 0.86693 | 0.85 | 87449.07 | 1.0317 | -10181.3457 | 0.0001939 | 0.23865 | 17.7664 | 30.3982 | 751.9155 | 2447988.2081 | 33.0428 | 33.1294 | 0.01938 | [53362.13795171014, 13638.591159566698, 20448.34091982109] | [1.0670866862846278, 1.022749406484202, 1.005297334688262] | [-5642.2210680781955, -1446.8809202827697, -3092.243757655543] | [0.00020823153440149123, 0.00018562978138582254, 0.00018782726614133656] | [0.220676005458391, 0.24954134045476756, 0.24572658190530294] | [27.138517752574835, 12.689459749814603, 13.471314084315233] | [36.67108085587544, 26.729968794963423, 27.793677234415906] | [1850.879796240423, 184.432629800558, 220.43394572442358] | [0.15000000949407283, 0.05902885847053362, 0.056725638386105726] | [0.03491945766426193, 0.04362079034053708, 0.04948671551681267] | [423.0, 262.0, 199.0] | [0.7672497880577912, 0.2611131189326944, 0.12767525118347414] | [0.0003000005006487015, 0.00046029885537566775, 0.0004724056304956085] | [2.0, 1.0, 2.0] | [0.7958922236151101, 0.6003066661026542, 0.6000031949579084] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.02821110534039098, 0.014468809202827696, 0.015461218788277718] | 0.022744 | 0.046366 | 0.17424 | 2 | 423 | 1 | 262 | 2 | 199
0.24603 | 0.86693 | 0.85 | 87937.9393 | 1.0309 | -10074.7613 | 0.00019623 | 0.23909 | 17.7551 | 30.339 | 756.2485 | 2447988.1416 | 33.0401 | 33.1069 | 0.022137 | [53362.12816892228, 22087.01305557626, 12488.798026533648] | [1.067086677649094, 1.0225580576396704, 1.0029728759249845] | [-5642.224334831035, -1224.9312222411388, -3207.605763563445] | [0.0002082315839544221, 0.00013703332432233727, 0.0002434118027520605] | [0.22067601073336682, 0.24207402825364593, 0.25452737289507055] | [27.13851257033385, 14.799582064619269, 11.327218322423866] | [36.67107811882051, 28.780870644333174, 25.56496323168222] | [1850.8786459143096, 280.35430214063604, 137.51260865957073] | [0.15000000975539735, 0.04999122516349923, 0.06424302381131496] | [0.034919468342186025, 0.03433074233963305, 0.06030797824800816] | [423.0, 261.0, 198.0] | [0.7672497172594751, 0.3133760876196351, 0.061284037900723266] | [0.00030000063946497666, 0.0006715746975250533, 0.00030001341391448284] | [2.0, 2.0, 1.0] | [0.7958919998628368, 0.6000010228876095, 0.6346718164176097] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.02821112167415517, 0.006124656111205693, 0.03207605763563445] | 0.022871 | 0.046366 | 0.1744 | 2 | 423 | 2 | 261 | 1 | 198
0.24603 | 0.86692 | 0.85 | 87937.9884 | 1.0309 | -9971.6972 | 0.00019529 | 0.23903 | 17.7719 | 30.3554 | 757.1293 | 2447988.1377 | 33.0401 | 33.1076 | 0.021811 | [53362.12766482847, 22023.986510136932, 12551.874242330616] | [1.067086677176117, 1.022674747250195, 1.0030095439936195] | [-5642.224507602571, -1214.539404030359, -3114.933324559261] | [0.00020823158657044447, 0.00013660351400851864, 0.0002410421625719951] | [0.22067601100385445, 0.24190502368023456, 0.2545200680184456] | [27.138512301552918, 14.847929155464879, 11.329132467457095] | [36.671077977495955, 28.828460625877682, 25.5666602890227] | [1850.8785861033175, 282.9415599906515, 137.5676327258954] | [0.15000000978559105, 0.0498942981497415, 0.06364088239915641] | [0.03491946890993813, 0.03427986348846554, 0.05971538394315553] | [423.0, 261.0, 199.0] | [0.7672497135203848, 0.31306158016665975, 0.06171377839247884] | [0.0003000006466179928, 0.0006748049378692155, 0.0003000133247341416] | [2.0, 2.0, 1.0] | [0.7958919882444304, 0.6000010204748888, 0.6377492338419244] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.02821112253801285, 0.006072697020151795, 0.031149333245592613] | 0.022871 | 0.046366 | 0.1744 | 2 | 423 | 2 | 261 | 1 | 199
0.24532 | 0.88308 | 0.85 | 80830.183 | 1.0417 | -11745.6236 | 0.0001828 | 0.22851 | 20.8864 | 33.3629 | 909.2381 | 2491544.9392 | 33.0708 | 33.1907 | 0.019576 | [41930.36800865262, 19511.964360207563, 19387.850617631157] | [1.0677756084013683, 1.0492006690624598, 1.0081113109824207] | [-7853.259181067376, -1249.941412988664, -2642.422994535514] | [0.0002379357117845969, 0.00013337384415202798, 0.00017707634754469997] | [0.21796793709659007, 0.22528548668389053, 0.24227005627743106] | [26.95549862416637, 21.236736742555962, 14.46707565035398] | [37.2063084994768, 34.13674229941706, 28.745737751382915] | [1683.1300562974168, 777.2979587466499, 267.28630238309324] | [0.15000004228940772, 0.0625160752423311, 0.05704315339193779] | [0.047134169053663334, 0.035804302304493385, 0.047569716927328656] | [423.0, 261.0, 198.0] | [0.68580318447547, 0.42738099481766084, 0.16615383514606646] | [0.0005064413771608674, 0.0008205422621724586, 0.0005183269499301966] | [2.0, 2.0, 2.0] | [0.6000003614272927, 0.6000004397361127, 0.6000006926599301] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.039266295905336875, 0.00624970706494332, 0.013212114972677573] | 0.021023 | 0.047227 | 0.17468 | 2 | 423 | 2 | 261 | 2 | 198
0.24533 | 0.88304 | 0.85 | 80851.2815 | 1.0418 | -11698.8465 | 0.00018242 | 0.22851 | 20.8919 | 33.3647 | 910.5146 | 2491454.0463 | 33.0707 | 33.1911 | 0.019498 | [41930.43987189504, 19470.228436062644, 19450.61320738853] | [1.067772013588196, 1.0493623708990598, 1.0081661091816585] | [-7853.582546405357, -1243.599251829867, -2601.6647517494416] | [0.00023793954788504414, 0.0001331171470676783, 0.00017621188917126392] | [0.21796632188723875, 0.2251509186271406, 0.2424223426236828] | [26.95609686364271, 21.294791973244934, 14.424959317959827] | [37.20685260792479, 34.18459183471896, 28.702751362016244] | [1683.2072929919655, 783.2480594010029, 265.08846297604066] | [0.15000011639564828, 0.06244612751951677, 0.05671415314318415] | [0.04713762878522307, 0.03579188893345858, 0.047255376945081015] | [423.0, 261.0, 199.0] | [0.685780271628596, 0.426938063214999, 0.16685902108089423] | [0.0005064397256066722, 0.0008232812004599976, 0.0005200901579339024] | [2.0, 2.0, 2.0] | [0.6000009933425541, 0.6000012118845629, 0.600001874949574] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03926791273202679, 0.006217996259149334, 0.013008323758747208] | 0.021028 | 0.047225 | 0.17468 | 2 | 423 | 2 | 261 | 2 | 199
0.24604 | 0.86693 | 0.85 | 87948.7508 | 1.0309 | -10054 | 0.00019597 | 0.2391 | 17.7527 | 30.3366 | 756.1227 | 2447988.4744 | 33.04 | 33.1069 | 0.022104 | [53362.15678516253, 22097.655448613004, 12488.93856571549] | [1.0670867120472225, 1.0226800497436364, 1.002973415069254] | [-5642.213331423367, -1203.482354300457, -3208.3043395856803] | [0.00020823141858276499, 0.00013623503835061084, 0.00024343046026067296] | [0.2206759957500226, 0.2420977067795434, 0.2545295343708766] | [27.13852829288936, 14.792651008536234, 11.32677325661195] | [36.6710862139895, 28.77415514519427, 25.564443734705538] | [1850.8821847380466, 279.9887659735542, 137.49718510160332] | [0.15000000354419382, 0.04968755006673116, 0.06424732329796434] | [0.034919431377877126, 0.03412278042987234, 0.060311045993648664] | [423.0, 262.0, 198.0] | [0.7672499541078982, 0.31336435683807456, 0.06129911836220183] | [0.0003000002334050136, 0.0006753537957580403, 0.0003000048929218371] | [2.0, 2.0, 1.0] | [0.795892683275242, 0.6000003670291656, 0.6346504159264231] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.02821106665711683, 0.006017411771502284, 0.0320830433958568] | 0.022874 | 0.046366 | 0.1744 | 2 | 423 | 2 | 262 | 1 | 198
0.24604 | 0.86692 | 0.85 | 87948.8715 | 1.031 | -9950.5382 | 0.00019503 | 0.23904 | 17.7695 | 30.3531 | 757.0037 | 2447988.1357 | 33.04 | 33.1076 | 0.021776 | [53362.12739243871, 22034.870746389497, 12551.873367477368] | [1.0670866769247904, 1.0227966866780653, 1.0030102762574233] | [-5642.224600287507, -1193.3515393319803, -3114.962090043826] | [0.00020823158797453082, 0.00013581088484848776, 0.00024104282205550772] | [0.22067601115022306, 0.2419293227811165, 0.2545197997270353] | [27.13851215657719, 14.840794041990828, 11.329201238191208] | [36.67107790117128, 28.82155438864899, 25.566721986540706] | [1850.8785538649104, 282.56290848552646, 137.5696429847575] | [0.1500000097993746, 0.0495921602363448, 0.06364182740459712] | [0.03491946921406062, 0.03407278172881074, 0.05971539019026327] | [423.0, 262.0, 199.0] | [0.7672497115137908, 0.3130514508770118, 0.061727620178225806] | [0.00030000065048316275, 0.0006785808195802893, 0.0003000133775111667] | [2.0, 2.0, 1.0] | [0.795891981979797, 0.600001009450929, 0.6377490980072904] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.02821112300143754, 0.005966757696659901, 0.031149620900438255] | 0.022874 | 0.046366 | 0.1744 | 2 | 423 | 2 | 262 | 1 | 199
0.24533 | 0.88307 | 0.85 | 80841.9185 | 1.0418 | -11728.9685 | 0.00018258 | 0.22852 | 20.8842 | 33.3608 | 909.093 | 2491521.1056 | 33.0707 | 33.1905 | 0.019548 | [41930.43958625182, 19515.328652043, 19396.1502621386] | [1.0677746159598527, 1.0494732575078771, 1.0081103364871677] | [-7853.349533261938, -1228.647323241871, -2646.971652439206] | [0.00023793677350297332, 0.00013261390269512637, 0.00017718442784754498] | [0.21796758140214467, 0.22528816773536856, 0.24228958949062518] | [26.955624411236805, 21.2351234397685, 14.461725779149067] | [37.20642636176947, 34.13563913969658, 28.740218013154497] | [1683.1455490328674, 777.1289194094306, 267.00458682256226] | [0.15000011622684623, 0.06215223550100006, 0.057073347163864675] | [0.04713500983472913, 0.0356007715739205, 0.047587589267541704] | [423.0, 262.0, 198.0] | [0.6857977333920282, 0.42730295471367497, 0.166281913676239] | [0.000506439732171286, 0.0008252167095469292, 0.0005179095203484272] | [2.0, 2.0, 2.0] | [0.6000009903277753, 0.6000011990820213, 0.6000019115820301] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03926674766630969, 0.006143236616209354, 0.013234858262196031] | 0.021026 | 0.047227 | 0.17468 | 2 | 423 | 2 | 262 | 2 | 198
0.24533 | 0.88303 | 0.85 | 80862.6537 | 1.0419 | -11682.665 | 0.00018221 | 0.22852 | 20.89 | 33.3628 | 910.4211 | 2491432.6454 | 33.0706 | 33.191 | 0.019471 | [41930.36769476867, 19472.276550300994, 19460.00945122454] | [1.0677712511231259, 1.0496406368269409, 1.0081651574337251] | [-7853.64936136922, -1222.254833040106, -2606.760794179548] | [0.00023794035755797652, 0.00013235202129273225, 0.00017633424149300173] | [0.21796582706668452, 0.2251495465436193, 0.24244452797422963] | [26.956290175868766, 21.294929704707144, 14.418909948686073] | [37.20702259978875, 34.18493043901178, 28.696495791673094] | [1683.2335110155302, 783.2581840747434, 264.7714909561244] | [0.1500000420978845, 0.062081142872575414, 0.05674846642002783] | [0.047138555702699, 0.03558831286941196, 0.047275547243917526] | [423.0, 262.0, 199.0] | [0.6857739356339447, 0.42684749333131394, 0.16700745711088377] | [0.000506441384374531, 0.0008280520603346274, 0.0005196182744723098] | [2.0, 2.0, 2.0] | [0.6000003581385899, 0.6000004349180337, 0.6000006810060299] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0392682468068461, 0.00611127416520053, 0.013033803970897742] | 0.021031 | 0.047225 | 0.17468 | 2 | 423 | 2 | 262 | 2 | 199
0.24491 | 0.89543 | 0.85 | 75610.8637 | 1.0335 | -12180.7782 | 0.00022395 | 0.24102 | 16.8016 | 29.6398 | 610.9612 | 2524966.3334 | 33.0934 | 33.2004 | 0.02881 | [46659.060892022186, 16462.790280534246, 12489.01249114854] | [1.0680266938052296, 1.0268809788346087, 1.0057324684381503] | [-7075.675165192026, -1789.3029022553392, -3315.8001512983983] | [0.0002283440620291037, 0.00019777233261045283, 0.00024571897892109053] | [0.22267829465471767, 0.24684911941524482, 0.2535205487432255] | [25.259804506613726, 13.554613802064342, 11.590382443546844] | [35.659873356146136, 27.45633378773145, 25.80305991592285] | [1466.6426488497862, 220.8223278019771, 145.4186716485819] | [0.15000003617411195, 0.070087987547959, 0.0678672743314145] | [0.039230681698542005, 0.04525926273560291, 0.060308345272154805] | [424.0, 261.0, 198.0] | [0.7385019231233882, 0.3543585787665209, 0.11143437978002611] | [0.00041082775008883545, 0.00030000036081972536, 0.0003000004108461201] | [2.0, 1.0, 1.0] | [0.664681544370297, 0.7219987256296225, 0.6346857855639815] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03537837582596012, 0.01789302902255339, 0.03315800151298398] | 0.019665 | 0.047887 | 0.17496 | 2 | 424 | 1 | 261 | 1 | 198
0.24491 | 0.89517 | 0.85 | 75699.1354 | 1.0335 | -12083.5738 | 0.00022315 | 0.24102 | 16.8016 | 29.6395 | 611.0392 | 2524253.2292 | 33.0931 | 33.2006 | 0.028489 | [46684.25716263224, 16462.790064871155, 12552.088191127259] | [1.0679991429464308, 1.0268500173147106, 1.0057718336983694] | [-7073.474196300265, -1790.9564075250203, -3219.143198271178] | [0.0002283160669052984, 0.00019783864847732198, 0.00024330651172354973] | [0.22267701129053905, 0.24685681048689076, 0.2535173715859461] | [25.26145746953123, 13.552029857875738, 11.59130028080568] | [35.66064014865703, 27.454125789103887, 25.803816327920913] | [1466.9676954283025, 220.70459814063557, 145.44515652508457] | [0.15000003725384112, 0.07009048349073871, 0.06721435787976061] | [0.03922520368893391, 0.045277610480939104, 0.05971440997675381] | [424.0, 261.0, 199.0] | [0.7385384522558588, 0.35411971897861627, 0.11163887645372789] | [0.000410359261064536, 0.00030000037073907505, 0.00030000041812631957] | [2.0, 1.0, 1.0] | [0.6650812278633943, 0.7218721821181627, 0.6377774220222829] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.035367370981501334, 0.017909564075250205, 0.03219143198271177] | 0.019688 | 0.047873 | 0.17495 | 2 | 424 | 1 | 261 | 1 | 199
0.24597 | 0.86315 | 0.85 | 89222.1139 | 1.0305 | -9764.3869 | 0.00019117 | 0.2377 | 17.9968 | 30.6522 | 755.8012 | 2437801.6336 | 33.0353 | 33.1229 | 0.018893 | [53488.29457853351, 16451.424065053805, 19282.39528176686] | [1.066482524251951, 1.0200474121510152, 1.0048362713237389] | [-5704.237636740267, -1571.6932750007677, -2488.4559857088757] | [0.0002091889087381229, 0.00019048240528859894, 0.00017383758483302184] | [0.22082185612489003, 0.24917295988993762, 0.2430956116151628] | [27.014455583129813, 12.826797890055172, 14.149123316047824] | [36.600623585245096, 26.839381091357616, 28.516573570842308] | [1824.2005878975815, 189.35720524539892, 253.8458340578124] | [0.15000000803637803, 0.06238678796310786, 0.05287272482512127] | [0.035140255568067755, 0.04463498305495356, 0.04734234665466495] | [424.0, 261.0, 198.0] | [0.7657774308827198, 0.28464088442480173, 0.10464988373858684] | [0.0003000004298603013, 0.0003005235071702896, 0.0005236621025730288] | [2.0, 1.0, 2.0] | [0.7940152401568358, 0.7257880518958467, 0.6000028466716995] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.028521188183701335, 0.01571693275000768, 0.012442279928544376] | 0.023205 | 0.046165 | 0.17421 | 2 | 424 | 1 | 261 | 2 | 198
0.24598 | 0.86315 | 0.85 | 89227.964 | 1.0305 | -9725.3399 | 0.00019083 | 0.23777 | 17.9768 | 30.6319 | 754.8075 | 2437801.6328 | 33.0353 | 33.1232 | 0.01881 | [53488.29449267516, 16373.364335386672, 19366.305160031967] | [1.0664825241639835, 1.0201519144393867, 1.0048698596744488] | [-5704.237667704098, -1560.4882090447088, -2460.613998378194] | [0.00020918890920208202, 0.00019003758673614393, 0.00017325582404121234] | [0.22082185617003872, 0.24918029227508104, 0.2433050329110587] | [27.01445553755594, 12.82370792177628, 14.092167574389183] | [36.600623561419596, 26.83702490811716, 28.458112741663466] | [1824.200577810299, 189.25005680478716, 250.9717470889294] | [0.1500000080473611, 0.062192627761391915, 0.0526185303787584] | [0.035140255670378547, 0.044532810030689776, 0.04707587011925726] | [424.0, 261.0, 199.0] | [0.7657774302176368, 0.2840498673792938, 0.10538893834288167] | [0.0003000004310757444, 0.00030413594081056165, 0.0005243446310629115] | [2.0, 1.0, 2.0] | [0.794015238156305, 0.7228360593297372, 0.6000027844259878] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.028521188338520492, 0.015604882090447088, 0.012303069991890972] | 0.023207 | 0.046165 | 0.17421 | 2 | 424 | 1 | 261 | 2 | 199
0.24491 | 0.89519 | 0.85 | 75697.1366 | 1.0336 | -12137.3804 | 0.00022343 | 0.24102 | 16.8015 | 29.6393 | 611.0434 | 2524307.6189 | 33.0931 | 33.1996 | 0.028668 | [46682.28466976822, 16525.851777423166, 12489.000176478725] | [1.0680011992522789, 1.0269990366334718, 1.0057042933271023] | [-7073.665240508385, -1749.114846089473, -3314.600343893409] | [0.0002283184846552407, 0.00019627557642927718, 0.0002456934963425121] | [0.22267710691517326, 0.2468486890157043, 0.2535306058261361] | [25.261324030400807, 13.555600964246372, 11.587697950159686] | [35.660579736558745, 27.456795137217178, 25.800658890506554] | [1466.9411276406622, 220.85323450984606, 145.33581324466925] | [0.15000010314875034, 0.06958806688459467, 0.0678295107047743] | [0.03922569900342134, 0.04491736876445413, 0.0603080644522845] | [424.0, 262.0, 198.0] | [0.7385352644094945, 0.3546327772716395, 0.1109435569500619] | [0.0004103959185345729, 0.0003000010173136856, 0.0003000011574769882] | [2.0, 1.0, 1.0] | [0.6650496287246164, 0.7243167590718187, 0.6346877787314171] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.035368326202541926, 0.01749114846089473, 0.03314600343893409] | 0.019688 | 0.047874 | 0.17495 | 2 | 424 | 1 | 262 | 1 | 198
0.2449 | 0.89492 | 0.85 | 75785.4303 | 1.0336 | -12040.1427 | 0.00022264 | 0.24102 | 16.8015 | 29.6391 | 611.1229 | 2523596.2337 | 33.0927 | 33.1999 | 0.028348 | [46707.50353460347, 16525.85115191799, 12552.075585982375] | [1.0679737557532645, 1.0269679643569785, 1.0057434737032176] | [-7071.445577604172, -1750.7159147746816, -3217.9812309997274] | [0.00022829023552573287, 0.00019634082297660923, 0.00024328135988904557] | [0.22267578990828557, 0.24685638893909578, 0.2535274420055462] | [25.263003628024165, 13.553013002834746, 11.588611505638834] | [35.6613621149531, 27.454584793050014, 25.801411855203412] | [1467.2711140745414, 220.73530794476383, 145.362163213746] | [0.15000010635224917, 0.0695903047570971, 0.06717692019435509] | [0.039220163545792754, 0.04493545436776132, 0.05971414608415462] | [424.0, 262.0, 199.0] | [0.7385721802933516, 0.35439356475767303, 0.11114746109289371] | [0.0004099274759387284, 0.0003000010459738224, 0.0003000011785281282] | [2.0, 1.0, 1.0] | [0.6654501049285225, 0.7241911984378858, 0.6377792559640222] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03535722788802086, 0.017507159147746816, 0.03217981230999727] | 0.019711 | 0.04786 | 0.17494 | 2 | 424 | 1 | 262 | 1 | 199
0.24598 | 0.86315 | 0.85 | 89228.3572 | 1.0305 | -9721.3781 | 0.00019059 | 0.2377 | 17.9969 | 30.6523 | 755.8082 | 2437801.8738 | 33.0353 | 33.1229 | 0.01875 | [53488.313825077166, 16458.155867385485, 19281.88752370448] | [1.0664825483697307, 1.020224174840506, 1.0048387391881102] | [-5704.229985587505, -1528.8495869251797, -2488.2985232416877] | [0.0002091887947890221, 0.00018873622801194865, 0.00017383330994745252] | [0.22082184621612658, 0.24917362678820315, 0.2430936814095091] | [27.014466071062778, 12.826559164958814, 14.149711748929713] | [36.60062896988092, 26.839181440043028, 28.517108731049717] | [1824.2029319976932, 189.3483012867584, 253.87341041966243] | [0.15000000292179166, 0.061812032525622666, 0.052874150671812295] | [0.035140229841111044, 0.044225877477736576, 0.04734140136922871] | [424.0, 262.0, 198.0] | [0.7657775944483461, 0.2846067888403063, 0.10469192764742065] | [0.0003000001573990834, 0.00030311554681270966, 0.0005236879320278455] | [2.0, 1.0, 2.0] | [0.7940157026496234, 0.7259750174573305, 0.6000010319861158] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.028521149927937525, 0.015288495869251795, 0.012441492616208439] | 0.023207 | 0.046165 | 0.17421 | 2 | 424 | 1 | 262 | 2 | 198
0.24598 | 0.86315 | 0.85 | 89233.9839 | 1.0306 | -9701.6645 | 0.00019037 | 0.23781 | 17.9649 | 30.6199 | 754.2231 | 2437801.8743 | 33.0353 | 33.1229 | 0.018689 | [53488.31388911199, 16329.363355052354, 19416.30663542295] | [1.0664825484284086, 1.0203951962814986, 1.0048667260761222] | [-5704.229963612776, -1511.62390500423, -2485.8106150576928] | [0.0002091887944586597, 0.00018803932092801827, 0.00017388600797420232] | [0.22082184618211845, 0.24918580555441375, 0.24342846752684685] | [27.014466104625047, 12.821442077624777, 14.058847292547648] | [36.60062898758195, 26.835273289302773, 28.42373049401949] | [1824.202939390537, 189.17070989166794, 249.29570944180654] | [0.1500000029177788, 0.06150464942864869, 0.05276825100251743] | [0.03514022976920569, 0.04406597076266053, 0.04718222798438131] | [424.0, 262.0, 199.0] | [0.7657775949215652, 0.2836304341971175, 0.10591206121709364] | [0.00030000015649258286, 0.00030911228699852044, 0.0005218169268691056] | [2.0, 1.0, 2.0] | [0.794015704119541, 0.7210918942886105, 0.6000010190210586] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.028521149818063887, 0.015116239050042302, 0.012429053075288465] | 0.023208 | 0.046165 | 0.17421 | 2 | 424 | 1 | 262 | 2 | 199
0.24628 | 0.86318 | 0.85 | 89726.7319 | 1.0297 | -10446.1102 | 0.00020051 | 0.24049 | 17.3462 | 29.9464 | 729.1568 | 2437801.6807 | 33.0326 | 33.0952 | 0.022724 | [53488.29970339125, 23749.55735751109, 12488.874830613744] | [1.0664825295582387, 1.019783113723546, 1.0027038057064064] | [-5704.235779564773, -1553.7706723391182, -3188.103745378017] | [0.00020918888091911786, 0.00014940491241328705, 0.00024293923542224343] | [0.22082185343280097, 0.24605774271522368, 0.2545924004401747] | [27.01445830678839, 13.715071906620974, 11.309039323433353] | [36.60062500788406, 27.688516123604888, 25.54993560634958] | [1824.201191040475, 226.25221973315894, 137.01708109318392] | [0.15000000734742383, 0.05302450895816175, 0.06384823663291753] | [0.03514024942582541, 0.03598631478315005, 0.06026831588687095] | [424.0, 261.0, 198.0] | [0.7657774707648687, 0.3214408839840097, 0.056098052628873414] | [0.0003000003573108932, 0.000592556890443904, 0.00030000875720357186] | [2.0, 2.0, 1.0] | [0.7940153597445747, 0.6000011468148582, 0.6350952717486864] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.028521178897823865, 0.007768853361695589, 0.031881037453780174] | 0.023337 | 0.046165 | 0.17438 | 2 | 424 | 2 | 261 | 1 | 198
0.24628 | 0.86318 | 0.85 | 89725.5556 | 1.0297 | -10349.1827 | 0.00019964 | 0.24045 | 17.3583 | 29.9584 | 729.7461 | 2437801.8911 | 33.0326 | 33.0958 | 0.022423 | [53488.315718637736, 23685.19739055409, 12552.042471144403] | [1.066482550321052, 1.019886727656737, 1.0027341009261792] | [-5704.229300885839, -1540.1223824670456, -3104.8310176718296] | [0.00020918878453127088, 0.0001489234523096629, 0.00024081931418986512] | [0.22082184522098033, 0.24589476581823372, 0.2546229570230649] | [27.0144670768482, 13.757583276173937, 11.302902592516123] | [36.60062949543741, 27.73195939336685, 25.542588458935032] | [1824.2031546768062, 228.23434653169494, 136.8009179455183] | [0.1500000026728289, 0.05291390387870614, 0.06328986940993579] | [0.03514022757753748, 0.03592612736099502, 0.05971655184348709] | [424.0, 261.0, 199.0] | [0.7657776091536479, 0.3211595839976412, 0.05648857821871289] | [0.00030000013059314754, 0.0005954094028240121, 0.0003000031761786615] | [2.0, 2.0, 1.0] | [0.7940157468059816, 0.6000004143321142, 0.6377496144928467] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.028521146504429194, 0.007700611912335228, 0.031048310176718295] | 0.023336 | 0.046165 | 0.17438 | 2 | 424 | 2 | 261 | 1 | 199
0.24533 | 0.883 | 0.85 | 80871.0201 | 1.0416 | -11702.9739 | 0.00018228 | 0.22856 | 20.8431 | 33.337 | 900.3839 | 2491355.167 | 33.0706 | 33.1908 | 0.019505 | [42139.29540196881, 19393.56897728034, 19338.155710214298] | [1.0675730949160263, 1.0492029421054356, 1.008105358310294] | [-7868.783395513891, -1219.3287905423254, -2614.8617054676665] | [0.0002381566367368196, 0.00013226321855595527, 0.0001764207724502011] | [0.21836231521258792, 0.22517242202025783, 0.24215624904302152] | [26.75866877851564, 21.272565118309778, 14.497948093935548] | [37.057204641243246, 34.17593151210134, 28.777925221884754] | [1651.5580671178227, 780.6678201773881, 268.92588999809465] | [0.1500000416976117, 0.06187941762508351, 0.056848227827500895] | [0.046811894192027914, 0.03564212295652502, 0.04746240834943558] | [424.0, 261.0, 198.0] | [0.6879519856748256, 0.42410934285265317, 0.1651816551090987] | [0.0005039304427616917, 0.0008283427234794738, 0.0005208338447026812] | [2.0, 2.0, 2.0] | [0.6000003505029287, 0.6000004348800155, 0.6000006885795919] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.039343916977569456, 0.006096643952711626, 0.01307430852733833] | 0.021033 | 0.047223 | 0.17468 | 2 | 424 | 2 | 261 | 2 | 198
0.24534 | 0.88297 | 0.85 | 80891.9978 | 1.0417 | -11656.6561 | 0.00018191 | 0.22857 | 20.8485 | 33.3388 | 901.6541 | 2491265.3916 | 33.0705 | 33.1912 | 0.019428 | [42139.36548236804, 19352.31582261146, 19400.316516051214] | [1.0675695619390704, 1.0493631991791736, 1.0081600907176322] | [-7869.1046649653545, -1213.205317127602, -2574.3461496673103] | [0.00023816045139555603, 0.00013201111056644198, 0.00017555505618153038] | [0.21836070378550926, 0.22503900095017895, 0.24230748626951862] | [26.759258991652366, 21.33028641525645, 14.455999612322723] | [37.057743779927634, 34.223461785771896, 28.73516608654453] | [1651.6332429130966, 786.6007103904474, 266.72831983643084] | [0.1500001147750048, 0.061811251600268124, 0.05651889258852041] | [0.046815308959751605, 0.03562991381599473, 0.04714820115046626] | [424.0, 261.0, 199.0] | [0.6879293693834015, 0.4236714620601202, 0.165876318238843] | [0.0005039288443416781, 0.0008310831031472748, 0.0005226238517208021] | [2.0, 2.0, 2.0] | [0.6000009635024801, 0.6000011985577558, 0.6000018641855305] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03934552332482677, 0.00606602658563801, 0.012871730748336552] | 0.021039 | 0.047222 | 0.17468 | 2 | 424 | 2 | 261 | 2 | 199
0.24628 | 0.86318 | 0.85 | 89736.9725 | 1.0297 | -10417.4447 | 0.0002002 | 0.2405 | 17.3443 | 29.9444 | 729.0695 | 2437801.6793 | 33.0325 | 33.0952 | 0.022676 | [53488.299532269935, 23759.799813916517, 12488.873125070857] | [1.0664825293912, 1.0198984153834316, 1.0027045984085492] | [-5704.235839938721, -1524.9149525062762, -3188.2939495783558] | [0.00020918888182506877, 0.00014848026829808485, 0.0002429442484550676] | [0.22082185352317157, 0.2460789168425797, 0.25459272525197435] | [27.014458216474583, 13.709411785593952, 11.308984162354347] | [36.60062496048532, 27.682829361432983, 25.549855228179332] | [1824.2011710929255, 225.99262490282408, 137.01484631059094] | [0.15000000736430563, 0.0526844392592764, 0.06385006665629137] | [0.035140249624484476, 0.03575612753698709, 0.06026901639896983] | [424.0, 262.0, 198.0] | [0.7657774694665195, 0.3214293181668394, 0.0561141439806198] | [0.0003000003597333505, 0.0005961246808342793, 0.0003000088606117814] | [2.0, 2.0, 1.0] | [0.7940153557838955, 0.6000011300576483, 0.6350877565110875] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.02852117919969361, 0.007624574762531381, 0.03188293949578356] | 0.023339 | 0.046165 | 0.17439 | 2 | 424 | 2 | 262 | 1 | 198
0.24628 | 0.86317 | 0.85 | 89735.8722 | 1.0297 | -10319.6223 | 0.00019933 | 0.24045 | 17.3567 | 29.9568 | 729.6676 | 2437801.6777 | 33.0325 | 33.0958 | 0.022372 | [53488.29934622523, 23695.62440251055, 12551.948469631547] | [1.0664825292070632, 1.0200020863215407, 1.0027352664980687] | [-5704.235905986588, -1511.614488681932, -3103.771914769284] | [0.00020918888281575126, 0.0001480049853382424, 0.0002407899072747812] | [0.22082185362130263, 0.2459163767898666, 0.254618226462033] | [27.014458118127532, 13.751788405685843, 11.303915446401842] | [36.600624908927315, 27.7261433529917, 25.54371567831971] | [1824.201149357978, 227.96699075289644, 136.83477324737387] | [0.15000000738418728, 0.052575527235143533, 0.0632856028202356] | [0.03514024984207448, 0.03569694179900781, 0.059711558759591714] | [424.0, 262.0, 199.0] | [0.765777468046619, 0.321148987628929, 0.05650387212151004] | [0.00030000036236706883, 0.0005989774245977838, 0.00030000884687148466] | [2.0, 2.0, 1.0] | [0.794015351469722, 0.6000011256676098, 0.6377956626666845] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.02852117952993294, 0.0075580724434096596, 0.03103771914769284] | 0.023339 | 0.046165 | 0.17438 | 2 | 424 | 2 | 262 | 1 | 199
0.24534 | 0.883 | 0.85 | 80882.4949 | 1.0417 | -11687.1071 | 0.00018207 | 0.22857 | 20.841 | 33.335 | 900.2727 | 2491333.7106 | 33.0705 | 33.1906 | 0.019479 | [42139.365223678695, 19395.934234054268, 19347.195472326195] | [1.067572200048442, 1.04947819997725, 1.0081044371505006] | [-7868.865870714044, -1198.4745961732815, -2619.7666346543133] | [0.00023815760533207937, 0.00013150593378501792, 0.00017653811358362862] | [0.21836199839702014, 0.22517213224480126, 0.2421775473455549] | [26.758778875028906, 21.27223229557675, 14.4921015874688] | [37.05730867365324, 34.175885827727356, 28.771897101331525] | [1651.5713514952652, 780.6298938510239, 268.61673042324253] | [0.15000011461818455, 0.06151864357422477, 0.05688107897452297] | [0.046812644256468985, 0.03543976842270353, 0.04748179629280012] | [424.0, 262.0, 198.0] | [0.6879471362693381, 0.42402073018954906, 0.16532304733397007] | [0.0005039288502419518, 0.0008331108070834411, 0.0005203768692559736] | [2.0, 2.0, 2.0] | [0.6000009607879693, 0.6000011861274993, 0.6000019004458322] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03934432935357022, 0.005992372980866408, 0.013098833173271568] | 0.021036 | 0.047223 | 0.17468 | 2 | 424 | 2 | 262 | 2 | 198
0.24534 | 0.88296 | 0.85 | 80903.1089 | 1.0418 | -11641.2549 | 0.0001817 | 0.22858 | 20.8469 | 33.3371 | 901.596 | 2491246.369 | 33.0704 | 33.1911 | 0.019402 | [42139.29511588104, 19353.33977488341, 19410.474005105687] | [1.0675688941785775, 1.049644246455387, 1.0081591939183352] | [-7869.163664427033, -1192.296510599477, -2579.7947095607515] | [0.00023816116903310086, 0.00013124847552662425, 0.0001756867762304161] | [0.21836025273370935, 0.2250345656098201, 0.24233148742895105] | [26.759433722142802, 21.331753692593047, 14.449439375813878] | [37.05789783977284, 34.22489567846709, 28.728387617645552] | [1651.6566825105497, 786.7481703558008, 266.3831477049598] | [0.15000004151827237, 0.06144928684459511, 0.05655588497489325] | [0.0468161386926973, 0.0354274999185624, 0.047169899588615276] | [424.0, 262.0, 199.0] | [0.6879236845968025, 0.4235699705565534, 0.16603835807985076] | [0.0005039304492868995, 0.0008359506317147148, 0.0005221111105045627] | [2.0, 2.0, 2.0] | [0.6000003475245657, 0.6000004302393109, 0.6000006771399662] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.03934581832213517, 0.005961482552997385, 0.012898973547803757] | 0.021042 | 0.047221 | 0.17468 | 2 | 424 | 2 | 262 | 2 | 199