## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.24576 | 0.91916 | 0.85 | 68307.5405 | 1.0429 | -7912.342 | 0.00022808 | 0.11602 | 103.583 | 141.0117 | 48392.6505 | 2589676.7685 | 33.1234 | 33.3029 | 0.0053514 | [34569.61816923077, 18984.361442307694, 14753.560892307696] | [1.075862803877654, 1.0414054169463047, 1.0115100502604126] | [-2406.2267516245997, -2585.363655586881, -2920.751582009408] | [0.0002359038060773926, 0.0002259442613685234, 0.00022238539430296888] | [0.11457541056779111, 0.11645218870982718, 0.11703744344532951] | [113.26892461871034, 102.16513523408958, 95.31503627128156] | [144.70823178035727, 139.89156261426723, 138.43516827099955] | [63311.449324219546, 45157.57506985534, 36708.926968208965] | [0.15062761591418442, 0.12914991694758557, 0.10076340594914716] | [0.05673950326149156, 0.06525630099563819, 0.07945284313128928] | [239.0, 105.0, 68.0] | [0.6233362824531835, 0.4948189673571609, 0.21158795129387323] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006015566879061499, 0.005170727311173762, 0.0048679193033490135] | 0.017766 | 0.049166 | 0.17644 | 4 | 239 | 5 | 105 | 6 | 68
0.2457 | 0.91828 | 0.85 | 68524.5046 | 1.0429 | -7852.7249 | 0.00022767 | 0.11613 | 103.2381 | 140.7545 | 48042.3478 | 2587289.2254 | 33.1225 | 33.301 | 0.0053199 | [34569.61816923077, 18984.361442307694, 14970.525023076923] | [1.0757598444662064, 1.0414006393941695, 1.0115434094275564] | [-2408.353681707707, -2594.7815728018104, -2849.589691726399] | [0.00023598217951120931, 0.00022619223584601587, 0.00022083049735678478] | [0.11455433910385496, 0.1163899174171806, 0.11743287540367295] | [113.3273400031316, 102.38023929082037, 94.00678410508937] | [144.7555148245087, 140.04150756253645, 137.4663829334004] | [63383.60820564154, 45419.56601641806, 35323.869200510315] | [0.15062761591418442, 0.12935474426759783, 0.09952957143044064] | [0.0568294901594049, 0.06540514694000385, 0.07830135020227015] | [239.0, 105.0, 69.0] | [0.6227388103757521, 0.4944679489657374, 0.21338302442584012] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006020884204269267, 0.005189563145603621, 0.004749316152877331] | 0.017822 | 0.049119 | 0.17636 | 4 | 239 | 5 | 105 | 6 | 69
0.24513 | 0.9096 | 0.85 | 70766.4673 | 1.0424 | -8562.4711 | 0.00022948 | 0.11567 | 104.8408 | 141.8584 | 49864.0426 | 2563715.7276 | 33.1136 | 33.2683 | 0.0054573 | [34569.61816923077, 18984.361442307694, 17212.48770769231] | [1.0747450901808204, 1.0413366505006028, 1.0109744385032744] | [-2429.453740779457, -2689.5291873080832, -3443.4881367758003] | [0.00023675518476393436, 0.00022865386657033832, 0.0002230234539368254] | [0.11434741748891311, 0.11577706067404665, 0.11688348265338508] | [113.90496851614652, 104.52557769369443, 96.09179983683974] | [145.2218753953938, 141.52979412425046, 138.82344369364682] | [64101.81196808163, 48083.95437782578, 37406.361357308306] | [0.15062761591418442, 0.13138464246684992, 0.10330834694174934] | [0.057721286439411046, 0.06690445325751386, 0.079452814942531] | [239.0, 105.0, 68.0] | [0.6168176984008387, 0.49086423952445485, 0.2310189445806399] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006073634351948643, 0.005379058374616167, 0.004919268766822572] | 0.018405 | 0.048653 | 0.17568 | 4 | 239 | 5 | 105 | 7 | 68
0.24509 | 0.90869 | 0.85 | 71019.5921 | 1.0423 | -8490.603 | 0.00022907 | 0.11577 | 104.4955 | 141.6016 | 49512.6482 | 2561265.7699 | 33.1126 | 33.2662 | 0.0054258 | [34569.61816923077, 18984.361442307694, 17465.61252692308] | [1.0746398204002534, 1.0413282593092767, 1.0110005436081315] | [-2431.6570270140983, -2699.560779169097, -3359.385227434305] | [0.00023683543613547465, 0.00022891105069166288, 0.00022145953928504112] | [0.11432602939771819, 0.11571358257542368, 0.11727964988389002] | [113.96508957939844, 104.7507698899877, 94.77078385246087] | [145.27029205210232, 141.685264639879, 137.84914637184005] | [64177.054608313214, 48369.08595667431, 35991.8041619124] | [0.1506276159141844, 0.13159638329927745, 0.10205296497610616] | [0.05781431065449427, 0.06706337698429835, 0.07830132194799379] | [239.0, 105.0, 69.0] | [0.6162000619370618, 0.4904755151982858, 0.23284207684407998] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0060791425675352445, 0.005399121558338193, 0.004799121753477579] | 0.018471 | 0.048605 | 0.17562 | 4 | 239 | 5 | 105 | 7 | 69
0.24571 | 0.91841 | 0.85 | 68488.3439 | 1.0429 | -7862.5114 | 0.00022766 | 0.11613 | 103.2156 | 140.7559 | 47961.0283 | 2587654.1747 | 33.1227 | 33.3003 | 0.005319 | [34569.61816923077, 19165.164884615384, 14753.560892307696] | [1.0757755802175388, 1.0414386837849179, 1.0113781122863506] | [-2408.028448279856, -2538.6951168603064, -2915.787812419243] | [0.0002359702006742459, 0.00022474184423282545, 0.00022227938950565747] | [0.11455755862809092, 0.11675586527468654, 0.11706356485259031] | [113.31840983834468, 101.12381875375429, 95.20458307879414] | [144.7482879349065, 139.14886888019427, 138.37055047811924] | [63372.5714218686, 43910.5936655003, 36599.919876830165] | [0.1506276159141844, 0.12810339379281133, 0.10051009670610907] | [0.0568157311382343, 0.06447817524542845, 0.07945284106432095] | [239.0, 106.0, 68.0] | [0.6228301640070654, 0.4967658604105966, 0.20960004014121136] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0060200711206996405, 0.005077390233720613, 0.0048596463540320715] | 0.017813 | 0.049126 | 0.17637 | 4 | 239 | 5 | 106 | 6 | 68
0.24565 | 0.91754 | 0.85 | 68705.3081 | 1.0428 | -7802.7271 | 0.00022725 | 0.11623 | 102.8695 | 140.498 | 47608.6239 | 2585284.9394 | 33.1218 | 33.2984 | 0.0052874 | [34569.61816923077, 19165.164884615384, 14970.525023076923] | [1.075673438373252, 1.041434334359733, 1.0114110919457633] | [-2410.1406237712395, -2547.872789409461, -2844.7137352746854] | [0.00023604796046448694, 0.00022498663885212018, 0.00022072458409029718] | [0.11453666639831143, 0.11669390058090552, 0.11745923464586105] | [113.37639081754324, 101.33509284630212, 93.89706219767962] | [144.79520081095708, 139.2968941494123, 137.4018233114242] | [63444.266149909134, 44163.40188610467, 35218.20371380651] | [0.1506276159141844, 0.12830485008279, 0.09927714664800406] | [0.05690507995303656, 0.06462380300671963, 0.07830134816271382] | [239.0, 106.0, 69.0] | [0.622236928664472, 0.4964207264742811, 0.21138202022580058] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0060253515594280984, 0.005095745578818922, 0.0047411895587911425] | 0.017869 | 0.049079 | 0.1763 | 4 | 239 | 5 | 106 | 6 | 69
0.24509 | 0.90893 | 0.85 | 70947.2708 | 1.0423 | -8508.5085 | 0.00022905 | 0.11578 | 104.4546 | 141.5929 | 49392.791 | 2561893.0869 | 33.1129 | 33.266 | 0.0054228 | [34569.61816923077, 19165.164884615384, 17212.48770769231] | [1.0746667714730382, 1.041374788811867, 1.0108487077993615] | [-2431.092684457047, -2640.1905471108957, -3437.2252607571204] | [0.0002368148891473781, 0.00022741665137927534, 0.00022291053438380635] | [0.11433150377719166, 0.11608402860407259, 0.11691104877088829] | [113.94969386598339, 103.4420842239823, 95.97207690003751] | [145.2578957909496, 140.76609633549043, 138.75463735841592] | [64157.77774611304, 46733.79802433435, 37286.79707956599] | [0.1506276159141844, 0.130301189085056, 0.10302358359085029] | [0.05779048553563153, 0.06609060079413037, 0.07945281284526558] | [239.0, 106.0, 68.0] | [0.6163582493563382, 0.4928764620991665, 0.22889246509274325] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006077731711142618, 0.005280381094221792, 0.004910321801081602] | 0.018452 | 0.048617 | 0.17563 | 4 | 239 | 5 | 106 | 7 | 68
0.24505 | 0.90802 | 0.85 | 71200.3956 | 1.0423 | -8436.4905 | 0.00022864 | 0.11588 | 104.1082 | 141.3354 | 49039.179 | 2559461.0903 | 33.1118 | 33.2639 | 0.0053912 | [34569.61816923077, 19165.164884615384, 17465.61252692308] | [1.0745623003525913, 1.0413668779598664, 1.0108745559504206] | [-2433.2812554291318, -2649.9675972947134, -3353.2416963143114] | [0.00023689454020982834, 0.00022767063258619636, 0.0002213468774550945] | [0.11431028858950418, 0.11602082994007143, 0.1173074271639766] | [114.00938638345765, 103.66332787141792, 94.65199929126234] | [145.30595032094664, 140.91963405959072, 137.7804995219167] | [64232.55227818292, 47008.92192326048, 35876.06278797064] | [0.15062761591418442, 0.1305095001359801, 0.10176942364671268] | [0.05788287453729661, 0.06624613426059599, 0.07830131987866061] | [239.0, 106.0, 69.0] | [0.6157448305436714, 0.4924938898352623, 0.23070371330150494] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006083203138572829, 0.005299935194589427, 0.004790345280449016] | 0.018518 | 0.048569 | 0.17557 | 4 | 239 | 5 | 106 | 7 | 69
0.24489 | 0.90482 | 0.85 | 72104.4128 | 1.0404 | -8266.9555 | 0.00022685 | 0.11635 | 102.6171 | 140.2643 | 47499.1132 | 2550801.6073 | 33.1082 | 33.2519 | 0.0052708 | [34569.61816923077, 22781.233730769232, 14753.560892307696] | [1.074190610097867, 1.038162082608661, 1.0089430469554812] | [-2441.0896345901283, -2998.591121481178, -2827.2747203431863] | [0.00023717801878433216, 0.00022301769382088561, 0.00022035647496273245] | [0.11423492372076378, 0.11728731176272882, 0.11754253860673432] | [114.22206284334962, 100.42153842919623, 93.20779606519507] | [145.47697718349966, 138.11804276631796, 137.19783186375625] | [64499.70911686202, 43310.88177172687, 34686.74866434459] | [0.1506276159141844, 0.13250238788765906, 0.09588177643920721] | [0.05821234614311381, 0.06209486474158182, 0.07945279930174147] | [239.0, 105.0, 68.0] | [0.6135572980363636, 0.5314717276748805, 0.17142798349218719] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006102724086475321, 0.004997651869135297, 0.00471212453390531] | 0.018753 | 0.048398 | 0.17534 | 4 | 239 | 6 | 105 | 6 | 68
0.24485 | 0.90407 | 0.85 | 72321.3769 | 1.0404 | -8208.6166 | 0.00022642 | 0.11646 | 102.2624 | 139.9972 | 47150.6393 | 2548772.9118 | 33.1073 | 33.2503 | 0.0052389 | [34569.61816923077, 22781.233730769232, 14970.525023076923] | [1.074103599456115, 1.0381645141610725, 1.0089692866808464] | [-2442.9224708527327, -3007.8842965321314, -2757.8098010181106] | [0.00023724440093643846, 0.0002232259566889677, 0.00021880403291149649] | [0.11421730706032454, 0.11723395119113104, 0.11794242912981563] | [114.27191727670129, 100.60098864450902, 91.91419861932623] | [145.51702664838461, 138.24403201001647, 136.23058689251548] | [64562.50325381401, 43524.580036265965, 33364.83461695564] | [0.1506276159141844, 0.1326783389959501, 0.09466592224859095] | [0.05828964683922494, 0.06220903462050263, 0.07830130695534956] | [239.0, 105.0, 69.0] | [0.613044059040452, 0.5312323391730557, 0.1729493764284141] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006107306177131832, 0.00501314049422022, 0.004596349668363518] | 0.01881 | 0.048358 | 0.17529 | 4 | 239 | 6 | 105 | 6 | 69
0.24457 | 0.8967 | 0.85 | 74563.3396 | 1.04 | -8888.3926 | 0.00022802 | 0.11606 | 103.6565 | 140.9724 | 48692.5404 | 2528750.7883 | 33.0981 | 33.2234 | 0.0053576 | [34569.61816923077, 22781.233730769232, 17212.48770769231] | [1.073246230755866, 1.0381771598837526, 1.0085304953571756] | [-2461.083492961571, -3101.1433927357057, -3326.165683936845] | [0.00023789894874388828, 0.0002252929622745571, 0.00022087067869263214] | [0.11404423804053843, 0.11670812176611027, 0.11741481833463756] | [114.76455405979159, 102.38867960982132, 93.81619436963129] | [145.9119288416677, 139.4943134388057, 137.51105540041448] | [65186.46527724563, 45688.40907767459, 35202.74674052368] | [0.15062761591418442, 0.13442010532449, 0.09783157791603839] | [0.05905485798774666, 0.06335759331705344, 0.07945277049470324] | [239.0, 105.0, 68.0] | [0.6079634361597668, 0.5287597073325822, 0.18794954059074412] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006152708732403928, 0.005168572321226176, 0.004751665262766922] | 0.019393 | 0.047962 | 0.17482 | 4 | 239 | 6 | 105 | 7 | 68
0.24455 | 0.89592 | 0.85 | 74816.4644 | 1.04 | -8818.4325 | 0.0002276 | 0.11616 | 103.3026 | 140.7066 | 48344.4602 | 2526650.7873 | 33.0971 | 33.2217 | 0.0053258 | [34569.61816923077, 22781.233730769232, 17465.61252692308] | [1.0731564529831563, 1.0381772915157064, 1.00855177473079] | [-2462.995861228014, -3111.0880749501057, -3244.348544059814] | [0.0002379675359959215, 0.00022551095883010649, 0.00021931235832816585] | [0.11402616945235389, 0.11665306198856791, 0.11781492130933006] | [114.81628651326692, 102.57792521823731, 92.51368514267315] | [145.95330921916374, 139.62615768539254, 136.5402132113681] | [65252.35449106648, 45921.210439149094, 33859.815682282846] | [0.15062761591418442, 0.13460333394248453, 0.09660055732416384] | [0.05913535591615429, 0.06348036624159338, 0.07830127809500695] | [239.0, 105.0, 69.0] | [0.6074289704944466, 0.5284888412034239, 0.18952082714054125] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006157489653070035, 0.0051851467915835095, 0.004634783634371163] | 0.019459 | 0.047921 | 0.17478 | 4 | 239 | 6 | 105 | 7 | 69
0.24485 | 0.90408 | 0.85 | 72321.3769 | 1.0404 | -8209.4423 | 0.00022644 | 0.11646 | 102.2542 | 140.0091 | 47084.6597 | 2548802.1366 | 33.1073 | 33.2493 | 0.0052394 | [34569.61816923077, 22998.19786153846, 14753.560892307696] | [1.0741048527211632, 1.038164970871866, 1.0088206124326136] | [-2442.8960581089323, -2943.5680230812773, -2822.9781882244683] | [0.0002372434447375082, 0.00022180802287992423, 0.00022026151893517597] | [0.1142175607340407, 0.11759933342171291, 0.11756644786922614] | [114.2711990104892, 99.38191519724174, 93.10951738868246] | [145.51644975721717, 137.37091883464882, 137.13988905672758] | [64561.59810611551, 42096.98881925845, 34595.392119869066] | [0.15062761591418442, 0.13142414508250352, 0.09565140664469346] | [0.05828853296546181, 0.061361279734331656, 0.07945279673593267] | [239.0, 106.0, 68.0] | [0.6130514546191685, 0.5332091829736031, 0.16943145781697297] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0061072401452723305, 0.004905946705135462, 0.004704963647040782] | 0.01881 | 0.048358 | 0.17529 | 4 | 239 | 6 | 106 | 6 | 68
0.24482 | 0.90333 | 0.85 | 72538.3411 | 1.0403 | -8150.9226 | 0.00022601 | 0.11657 | 101.8984 | 139.7414 | 46734.4343 | 2546790.0772 | 33.1064 | 33.2478 | 0.0052074 | [34569.61816923077, 22998.19786153846, 14970.525023076923] | [1.0740185804456726, 1.0381677150628617, 1.0088465162667772] | [-2444.715169809724, -2952.6142735837534, -2753.593129756767] | [0.0002373092715462011, 0.0002220134038267365, 0.0002187092198466517] | [0.11420010306394782, 0.1175462870865334, 0.11796654429938462] | [114.32065557925168, 99.55799355116179, 91.81663116921527] | [145.5561642191312, 137.49516760985355, 136.17273324285242] | [64623.95363323217, 42302.96743314695, 33276.38184926538] | [0.15062761591418442, 0.13159710152766158, 0.09443643082976386] | [0.05836524168172438, 0.06147277101182741, 0.07830130442454168] | [239.0, 106.0, 69.0] | [0.6125421462032926, 0.5329752409257562, 0.17093857522776829] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006111787924524311, 0.004921023789306255, 0.004589321882927945] | 0.018866 | 0.048319 | 0.17524 | 4 | 239 | 6 | 106 | 6 | 69
0.24455 | 0.89603 | 0.85 | 74780.3037 | 1.0399 | -8826.9245 | 0.00022759 | 0.11616 | 103.2773 | 140.7086 | 48245.1879 | 2526932.3455 | 33.0972 | 33.2212 | 0.0053244 | [34569.61816923077, 22998.19786153846, 17212.48770769231] | [1.0731684883361097, 1.0381836443662034, 1.0084139467278654] | [-2462.739376502075, -3043.385297092628, -3320.7997964481847] | [0.00023795834085297866, 0.00022405180135871895, 0.0002207702686915192] | [0.11402859108604965, 0.1170235184665317, 0.1174399061055749] | [114.80934978276066, 101.31201044675451, 93.71039975403714] | [145.94776155999136, 138.7281749794298, 137.44980586420905] | [65243.515447500264, 44388.217234598575, 35103.83104067454] | [0.15062761591418442, 0.13330915059091422, 0.09757346934241415] | [0.05912456051312513, 0.06259430108758644, 0.07945276790318564] | [239.0, 106.0, 68.0] | [0.607500646520989, 0.5305579145202631, 0.1858004200506605] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006156848441255187, 0.0050723088284877135, 0.0047439997092116925] | 0.019449 | 0.047926 | 0.17478 | 4 | 239 | 6 | 106 | 7 | 68
0.24454 | 0.89526 | 0.85 | 75033.4286 | 1.0399 | -8756.7964 | 0.00022717 | 0.11627 | 102.9224 | 140.4421 | 47895.26 | 2524848.47 | 33.0962 | 33.2194 | 0.0052924 | [34569.61816923077, 22998.19786153846, 17465.61252692308] | [1.073079423959483, 1.0381841411136747, 1.008434994330789] | [-2464.6382890098653, -3053.0689028519587, -3239.0892435195456] | [0.00023802639092692876, 0.0002242668981561514, 0.00021921223427226444] | [0.1140106747596854, 0.11696874541941193, 0.11784019054549374] | [114.86069510707027, 101.4977843369219, 92.40877503225195] | [145.9888178903107, 138.85826873363231, 136.47914009335423] | [65308.971357067334, 44612.643724993846, 33764.16497174888] | [0.1506276159141844, 0.13348934392509984, 0.09634361862582821] | [0.059204478895650975, 0.06271424231303913, 0.07830127553911258] | [239.0, 106.0, 69.0] | [0.6069700288596251, 0.5302928626526154, 0.18735833184812373] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006161595722524663, 0.005088448171419931, 0.004627270347885065] | 0.019515 | 0.047885 | 0.17474 | 4 | 239 | 6 | 106 | 7 | 69
0.24572 | 0.91855 | 0.85 | 68452.1833 | 1.0429 | -7869.137 | 0.00022768 | 0.11612 | 103.2209 | 140.7724 | 47901.9803 | 2588030.6104 | 33.1228 | 33.3008 | 0.0053191 | [34714.26092307692, 18984.361442307694, 14753.560892307694] | [1.075959328263075, 1.0412167349345365, 1.0114027823177496] | [-2382.7861510174694, -2569.636236198647, -2916.7146205891822] | [0.00023519899987797414, 0.0002255554389357306, 0.0002222991948490089] | [0.1147472706027863, 0.1165459294397159, 0.11705868241733572] | [112.63784588894994, 101.7995296964661, 95.22521641526387] | [144.27803533400123, 139.65657735445808, 138.38262395485475] | [62387.12438085351, 44698.559170635875, 36620.2574501438] | [0.1500000008481728, 0.12862979588561674, 0.1005574410687974] | [0.056275535699957385, 0.06512291421598308, 0.07945284148148751] | [240.0, 105.0, 68.0] | [0.6248534525256627, 0.49381320476895424, 0.20997234863371955] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005956965377543673, 0.005139272472397295, 0.004861191034315304] | 0.017803 | 0.049133 | 0.17639 | 4 | 240 | 5 | 105 | 6 | 68
0.24565 | 0.91767 | 0.85 | 68669.1474 | 1.0428 | -7809.4699 | 0.00022727 | 0.11622 | 102.8755 | 140.5149 | 47550.9605 | 2585658.2058 | 33.122 | 33.2989 | 0.0052876 | [34714.26092307692, 18984.361442307694, 14970.525023076923] | [1.0758568568718505, 1.0412126853243517, 1.0114358446984173] | [-2384.8868464009242, -2578.95850120661, -2845.6245646258553] | [0.00023527703048897993, 0.00022580185566098264, 0.00022074438154007643] | [0.11472618253565119, 0.11648391016353558, 0.11745430544557003] | [112.69581397012556, 102.01301745331656, 93.91756847890431] | [144.32511141259323, 139.8055852775481, 137.4138915258719] | [62457.98404360883, 44956.9705405183, 35237.92680433327] | [0.15000000084787535, 0.12883358543895726, 0.09932434794159258] | [0.0563646936295438, 0.06527028579018941, 0.07830134857417322] | [240.0, 105.0, 69.0] | [0.6242590071014866, 0.4934697350905075, 0.21175696425327664] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005962217116002311, 0.00515791700241322, 0.004742707607709759] | 0.01786 | 0.049087 | 0.17631 | 4 | 240 | 5 | 105 | 6 | 69
0.2451 | 0.90905 | 0.85 | 70911.1101 | 1.0423 | -8516.8671 | 0.00022908 | 0.11577 | 104.4686 | 141.6139 | 49352.4041 | 2562234.7095 | 33.113 | 33.2665 | 0.0054239 | [34714.26092307707, 18984.361442307694, 17212.48770769231] | [1.074846896976441, 1.0411560345631499, 1.0108723360173852] | [-2405.7261947395223, -2672.7406182275763, -3438.400307284827] | [0.00023604664849413557, 0.00022824808747944699, 0.0002229317356214342] | [0.11451909849137501, 0.11587349053233702, 0.11690587070820271] | [113.26901222407771, 104.14223409888677, 95.9945523918843] | [144.7894269648362, 141.28461000833005, 138.76755673862002] | [63163.23071291202, 47584.76976688276, 37309.21171386509] | [0.15000000084852794, 0.1308532156504447, 0.10307707334267899] | [0.057248281847069725, 0.0667546760695445, 0.07945281326663452] | [240.0, 105.0, 68.0] | [0.6183678417880519, 0.48994114733451344, 0.2292927979335355] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006014315486848805, 0.005345481236455153, 0.004912000438978324] | 0.018443 | 0.048624 | 0.17564 | 4 | 240 | 5 | 105 | 7 | 68
0.24505 | 0.90815 | 0.85 | 71164.2349 | 1.0423 | -8444.9708 | 0.00022867 | 0.11587 | 104.1229 | 141.3567 | 49000.3232 | 2559799.578 | 33.112 | 33.2644 | 0.0053924 | [34714.26092307692, 18984.361442307694, 17465.61252692308] | [1.0747420877672484, 1.041148418514419, 1.0108982433780376] | [-2407.902942206734, -2682.6730012811113, -3354.394863294873] | [0.00023612657444510351, 0.00022850375569890332, 0.00022136803983815686] | [0.11449768648512011, 0.11581023907921617, 0.11730220706714012] | [113.32869148386047, 104.36580921832399, 94.67430869967453] | [144.837647129732, 141.43916912764584, 137.79339476071215] | [63237.138062731305, 47866.06115392222, 35897.77030440391] | [0.15000000084787532, 0.13106395795046336, 0.1018227082148572] | [0.05734048160332771, 0.06691206539833475, 0.07830132029426311] | [240.0, 105.0, 69.0] | [0.6177531175278047, 0.48956015927662144, 0.23110647467201337] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006019757355516834, 0.005365346002562222, 0.004791992661849819] | 0.018509 | 0.048576 | 0.17557 | 4 | 240 | 5 | 105 | 7 | 69
0.24566 | 0.91781 | 0.85 | 68632.9867 | 1.0428 | -7819.6292 | 0.00022727 | 0.11622 | 102.855 | 140.5173 | 47474.652 | 2586021.9866 | 33.1221 | 33.2982 | 0.005287 | [34714.26092307692, 19165.164884615384, 14753.560892307696] | [1.0758725675553278, 1.0412494466068192, 1.0112719339101648] | [-2384.5646099456244, -2523.2587794123306, -2911.8057742565734] | [0.00023526506636240967, 0.00022435554653660764, 0.00022219421246107247] | [0.1147294147803031, 0.1168496937279541, 0.11708457506673293] | [112.68692418716822, 100.76215804036248, 95.11586092568064] | [144.31789341927202, 138.9154068230843, 138.31862684984296] | [62447.11175728054, 43464.24307372051, 36512.601051010155] | [0.15000000098148908, 0.12758721116715366, 0.10030643295837387] | [0.05635101826549287, 0.06434752302990018, 0.07945283941215645] | [240.0, 106.0, 68.0] | [0.6243501852676067, 0.4957539150674977, 0.20799445026335353] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005961411524864061, 0.005046517558824661, 0.004853009623760955] | 0.01785 | 0.049094 | 0.17632 | 4 | 240 | 5 | 106 | 6 | 68
0.2456 | 0.91694 | 0.85 | 68849.9508 | 1.0428 | -7759.7969 | 0.00022686 | 0.11633 | 102.5084 | 140.259 | 47121.5644 | 2583667.722 | 33.1213 | 33.2963 | 0.0052553 | [34714.26092307692, 19165.164884615384, 14970.525023076925] | [1.0757709070002701, 1.0412458167678291, 1.011304620386873] | [-2386.6507781120395, -2532.3433459242437, -2840.8027360441215] | [0.00023534248790483105, 0.0002245988044735614, 0.00022063949245610176] | [0.11470850555432617, 0.11678797996954123, 0.11748043335039207] | [112.7444625387433, 100.97184675406533, 93.80893965772792] | [144.36460208927906, 139.0625077237075, 137.3499536430084] | [62517.51697192404, 43713.60060072389, 35133.57553230984] | [0.15000000084787532, 0.12778765208122003, 0.09907421911536139] | [0.056439546335872184, 0.06449170866943336, 0.07830134653230938] | [240.0, 106.0, 69.0] | [0.6237599394771017, 0.4954162612616417, 0.20976599040488816] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005966626945280099, 0.005064686691848487, 0.004734671226740202] | 0.017907 | 0.049047 | 0.17625 | 4 | 240 | 5 | 106 | 6 | 69
0.24506 | 0.90838 | 0.85 | 71091.9135 | 1.0422 | -8463.2753 | 0.00022865 | 0.11587 | 104.0842 | 141.3491 | 48886.0334 | 2560424.1718 | 33.1123 | 33.2642 | 0.0053897 | [34714.26092307692, 19165.164884615384, 17212.48770769231] | [1.074768967175452, 1.0411935260921057, 1.0107476469371064] | [-2407.3444376880266, -2623.721564114939, -3432.209292148176] | [0.00023610607553627974, 0.00022701362841695566, 0.00022281993808892611] | [0.11450317642557158, 0.11618053464225886, 0.11693318918594275] | [113.31338259551873, 103.06302797869057, 95.87605196131639] | [144.82527991701312, 140.522574419969, 138.6994312867592] | [63218.17073145673, 46248.73819891005, 37191.191324716856] | [0.15000000084787532, 0.12977394782221147, 0.10279493088242617] | [0.057316826954810066, 0.06594391792457528, 0.07945281116729029] | [240.0, 106.0, 68.0] | [0.6179108303614976, 0.4919464429085429, 0.22717646175817427] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0060183610942200665, 0.005247443128229878, 0.004903156131640251] | 0.01849 | 0.048588 | 0.17559 | 4 | 240 | 5 | 106 | 7 | 68
0.24502 | 0.90749 | 0.85 | 71345.0383 | 1.0422 | -8391.2308 | 0.00022824 | 0.11598 | 103.7374 | 141.0913 | 48531.7703 | 2558006.8265 | 33.1113 | 33.2621 | 0.005358 | [34714.26092307692, 19165.164884615384, 17465.612526923076] | [1.0746649497412626, 1.0411863821247125, 1.010773299683627] | [-2409.5067062107664, -2633.4020883298676, -3348.322035179228] | [0.00023618540594671844, 0.00022726611474035326, 0.0002212565001693377] | [0.11448193687437865, 0.11611756159120785, 0.11732973430303754] | [113.37263815823776, 103.28268615066679, 94.556739695159] | [144.87314083183588, 140.67521337299473, 137.72542885456477] | [63291.62012609942, 46520.162191744326, 35783.52860434812] | [0.15000000084787532, 0.12998128303488599, 0.10154177917497163] | [0.05740840000707466, 0.06609795059502871, 0.07830131822290028] | [240.0, 106.0, 69.0] | [0.6173002846613826, 0.49157154124869284, 0.2289782564543227] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006023766765526916, 0.0052668041766597345, 0.004783317193113183] | 0.018556 | 0.04854 | 0.17553 | 4 | 240 | 5 | 106 | 7 | 69
0.24486 | 0.90431 | 0.85 | 72249.0555 | 1.0404 | -8222.0986 | 0.00022647 | 0.11645 | 102.2637 | 140.0312 | 47016.2448 | 2549413.8389 | 33.1076 | 33.2501 | 0.0052393 | [34714.26092307692, 22781.23373076923, 14753.560892307694] | [1.074295483525694, 1.0379812938770583, 1.008858202041101] | [-2417.2083910852657, -2980.594417499305, -2824.295760852385] | [0.00023646727523018987, 0.00022264516731357884, 0.00022029065026757025] | [0.11440661027117091, 0.11737792160917468, 0.11755911056229842] | [113.58340715611605, 100.06811134086901, 93.13966457998171] | [145.043196196323, 137.89285400881954, 137.1576666088455] | [63553.60326658863, 42871.74368243041, 34623.38739073141] | [0.15000000084787532, 0.1319643930891461, 0.09572211037864715] | [0.057734421976501415, 0.061991461959504834, 0.07945279760696322] | [240.0, 105.0, 68.0] | [0.6151265974124179, 0.5303451196756463, 0.17004524149568806] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006043020977713164, 0.004967657362498842, 0.004707159601420641] | 0.018791 | 0.04837 | 0.1753 | 4 | 240 | 6 | 105 | 6 | 68
0.24483 | 0.90356 | 0.85 | 72466.0197 | 1.0404 | -8163.7026 | 0.00022604 | 0.11656 | 101.9086 | 139.7639 | 46667.1324 | 2547396.9275 | 33.1067 | 33.2486 | 0.0052073 | [34714.26092307692, 22781.233730769232, 14970.525023076923] | [1.0742088291336627, 1.037984237248604, 1.008884221489123] | [-2419.019587990851, -2989.796363867254, -2754.8866236531485] | [0.00023653340535968924, 0.00022285216005588781, 0.00021873831675142224] | [0.1143889691944752, 0.11732477544310868, 0.1179591413805253] | [113.63290774556033, 100.24626774714349, 91.84656992161385] | [145.0830934703616, 138.01807894950494, 136.19048918508943] | [63615.29686342614, 43082.604619163525, 33303.4958643971] | [0.15000000084787532, 0.13213956188391812, 0.09450688809627235] | [0.05781105832421417, 0.062104526463264684, 0.07830130528343245] | [240.0, 105.0, 69.0] | [0.6146156399954058, 0.5301118426780946, 0.17155695960247394] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006047548969977126, 0.004982993939778757, 0.004591477706088582] | 0.018847 | 0.048331 | 0.17525 | 4 | 240 | 6 | 105 | 6 | 69
0.24456 | 0.89623 | 0.85 | 74707.9824 | 1.0399 | -8841.5565 | 0.00022763 | 0.11615 | 103.2954 | 140.7353 | 48193.4007 | 2527491.0574 | 33.0975 | 33.2219 | 0.0053252 | [34714.26092307692, 22781.233730769232, 17212.48770769231] | [1.0733549431068794, 1.0380020536750634, 1.0084498566249687] | [-2436.9662940319927, -3082.139339874002, -3322.450901827789] | [0.00023718547735121633, 0.00022490663932163185, 0.00022080118012486114] | [0.11421565759590013, 0.11680102016632694, 0.11743218016932086] | [114.12205365020013, 102.02110121245737, 93.74296549298566] | [145.4765004970646, 139.26082358472124, 137.46866305580699] | [64228.32003243173, 45217.63660500517, 35134.245357229855] | [0.15000000084787532, 0.13387363520860104, 0.09765296549663716] | [0.05856971540376296, 0.06324192051210788, 0.07945276878010576] | [240.0, 105.0, 68.0] | [0.6095574533774406, 0.5277001171307301, 0.18646354903369838] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0060924157350799825, 0.005136898899790003, 0.004746358431182556] | 0.01943 | 0.047937 | 0.17479 | 4 | 240 | 6 | 105 | 7 | 68
0.24454 | 0.89546 | 0.85 | 74961.1072 | 1.0399 | -8771.5549 | 0.00022721 | 0.11626 | 102.9412 | 140.4692 | 47844.6942 | 2525402.4578 | 33.0965 | 33.2201 | 0.0052933 | [34714.26092307692, 22781.233730769232, 17465.61252692308] | [1.0732654934471015, 1.0380027401113368, 1.008470987631253] | [-2438.8568178283795, -3091.989989116324, -3240.7080708105836] | [0.0002372538318783887, 0.0002251234050371967, 0.00021924306773750814] | [0.11419755658626925, 0.11674615280671947, 0.11783240616365905] | [114.17343946996714, 102.2090600241348, 92.44107907560601] | [145.5177403069308, 139.39192761788192, 136.4979490981603] | [64293.07820150368, 45447.419529395345, 33793.584754168296] | [0.15000000084787532, 0.13405612866638358, 0.09642278059721991] | [0.05864955629154282, 0.06336354153531595, 0.07830127640373533] | [240.0, 105.0, 69.0] | [0.6090251317364801, 0.5274355988311813, 0.18802581785634231] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006097142044570948, 0.005153316648527207, 0.004629582958300834] | 0.019496 | 0.047896 | 0.17475 | 4 | 240 | 6 | 105 | 7 | 69
0.24483 | 0.90357 | 0.85 | 72466.0197 | 1.0403 | -8164.9615 | 0.00022606 | 0.11655 | 101.9024 | 139.7767 | 46605.9605 | 2547427.363 | 33.1067 | 33.2476 | 0.005208 | [34714.26092307693, 22998.197861538465, 14753.560892307696] | [1.0742101365757843, 1.0379837984443925, 1.0087369382623819] | [-2418.9922469126327, -2925.919016216232, -2820.050241461835] | [0.00023653240752892528, 0.00022143824285904273, 0.00022019671621820337] | [0.11438923529009833, 0.11768994447770129, 0.11758277936820938] | [113.63216069077706, 99.03255400026428, 93.04246391994796] | [145.0824914641392, 137.1473878008241, 137.1003453216893] | [63614.36532653305, 41670.30482004387, 34533.21147443143] | [0.15000000084787535, 0.13089034313290923, 0.09549409590225365] | [0.05780990155036825, 0.06126036340899292, 0.07945279503892567] | [240.0, 106.0, 68.0] | [0.6146233525511626, 0.532076425793219, 0.1680625687114811] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006047480617281581, 0.0048765316936937204, 0.0047000837357697245] | 0.018847 | 0.048331 | 0.17525 | 4 | 240 | 6 | 106 | 6 | 68
0.2448 | 0.90283 | 0.85 | 72682.9838 | 1.0403 | -8106.3868 | 0.00022563 | 0.11666 | 101.5462 | 139.5087 | 46255.1246 | 2545426.9248 | 33.1058 | 33.2461 | 0.005176 | [34714.26092307692, 22998.19786153846, 14970.525023076923] | [1.074124214198459, 1.037987046722131, 1.0087626258954059] | [-2420.78994093748, -2934.8766840154726, -2750.7201478024754] | [0.00023659798673986032, 0.00022164237452388557, 0.00021864452625627108] | [0.11437175279358618, 0.11763711089420852, 0.11798301360098148] | [113.68126793762606, 99.20736680736381, 91.75007481513947] | [145.12205640463893, 137.27088480161188, 136.13325739152634] | [63675.629891312194, 41873.55419065155, 33216.18964634316] | [0.15000000084787532, 0.13106253705920012, 0.09427974602863312] | [0.05788595386781339, 0.06137077807524231, 0.07830130275045544] | [240.0, 106.0, 69.0] | [0.6141162891606398, 0.5318485192493463, 0.1695600783195779] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0060519748523437, 0.004891461140025788, 0.004584533579670792] | 0.018904 | 0.048292 | 0.17521 | 4 | 240 | 6 | 106 | 6 | 69
0.24454 | 0.89557 | 0.85 | 74924.9465 | 1.0399 | -8780.511 | 0.0002272 | 0.11626 | 102.9179 | 140.4723 | 47750.7043 | 2525683.8179 | 33.0966 | 33.2196 | 0.0052922 | [34714.26092307692, 22998.19786153846, 17212.48770769231] | [1.0732775418211593, 1.038008069093314, 1.0083344296819212] | [-2438.602058047823, -3024.758366712103, -3317.150559667866] | [0.0002372446243840549, 0.00022366845241426404, 0.00022070187600932334] | [0.11419999409523293, 0.11711640053357515, 0.1174570106499889] | [114.1665164750312, 100.94880909098273, 93.63835649240299] | [145.51218521734373, 138.49647959529088, 137.40808580587833] | [64284.34961683804, 43931.11302851048, 35036.650245905774] | [0.15000000115957154, 0.1327670900471786, 0.09739753071098038] | [0.05863879810417053, 0.06248143479572327, 0.07945276618669238] | [240.0, 106.0, 68.0] | [0.6090968595880363, 0.5294913447690875, 0.1843289491654276] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.006096505145119557, 0.005041263944520171, 0.0047387865138112375] | 0.019487 | 0.047902 | 0.17476 | 4 | 240 | 6 | 106 | 7 | 68
0.24452 | 0.8948 | 0.85 | 75178.0713 | 1.0399 | -8710.3432 | 0.00022678 | 0.11637 | 102.5627 | 140.2055 | 47400.1784 | 2523611.1809 | 33.0956 | 33.2179 | 0.0052602 | [34714.26092307692, 22998.19786153846, 17465.61252692308] | [1.073188799290692, 1.0380091128097053, 1.0083553315361782] | [-2440.4793485825794, -3034.350679994927, -3235.5131516274637] | [0.0002373124461508386, 0.0002238823385901278, 0.00021914404822498653] | [0.11418204492619885, 0.11706181844595279, 0.11785741591011005] | [114.21751968412225, 101.13332444786056, 92.337346455207] | [145.5531036453837, 138.62584528437452, 136.43754742582541] | [64348.68415390812, 44152.63680691895, 33699.214288683004] | [0.15000000084787532, 0.13294656767591986, 0.0961685059625548] | [0.05871806739019795, 0.06260025388128568, 0.07830127384600373] | [240.0, 106.0, 69.0] | [0.6085683490884425, 0.5292325665993063, 0.18587789127520202] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0061011983714564485, 0.005057251133324878, 0.004622161645182091] | 0.019553 | 0.047861 | 0.17471 | 4 | 240 | 6 | 106 | 7 | 69
0.24441 | 0.88942 | 0.85 | 76949.945 | 1.0361 | -7205.5227 | 0.00021589 | 0.11925 | 93.1037 | 133.6411 | 37131.326 | 2509199.739 | 33.0881 | 33.2003 | 0.0044987 | [43212.02271153847, 18984.361442307694, 14753.560892307696] | [1.0719458435003575, 1.029875571942791, 1.0065250575054168] | [-2607.836821265101, -1852.6193577225195, -2745.066546663718] | [0.00022339265809500508, 0.00020577613330097135, 0.00021851184452746495] | [0.11811553133942643, 0.12163388382152382, 0.11801153877865626] | [104.19646513560573, 83.81061462889356, 91.30397079403072] | [137.16001540167764, 127.69165536048021, 136.071663227432] | [52751.06636204495, 25679.4027471356, 32963.50896872506] | [0.1506276159141844, 0.10162053908905146, 0.09137345015422535] | [0.04464500671276319, 0.05917518676654595, 0.07945274174567553] | [239.0, 105.0, 68.0] | [0.7036403061829115, 0.41779515903530934, 0.13052596861765045] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005215673642530203, 0.0037052387154450387, 0.004575110911106196] | 0.020014 | 0.047576 | 0.17442 | 5 | 239 | 5 | 105 | 6 | 68
0.2444 | 0.88879 | 0.85 | 77166.9092 | 1.0361 | -7144.7004 | 0.00021546 | 0.11937 | 92.7382 | 133.3668 | 36764.3591 | 2507506.7413 | 33.0872 | 33.199 | 0.0044657 | [43212.02271153846, 18984.361442307694, 14970.525023076923] | [1.0718780491563524, 1.029898567387121, 1.0065452724716415] | [-2609.8099252911247, -1857.7159253351824, -2677.1745185928376] | [0.0002234608344968432, 0.00020594290355505692, 0.0002169629934772481] | [0.11809478559573679, 0.1215864504042424, 0.1184152913461102] | [104.24381066758079, 83.94580442480192, 90.02497666591806] | [137.20114690543062, 127.79272885382125, 135.10664569181972] | [52800.21725391449, 25795.387960216613, 31697.472056657094] | [0.15062761591418442, 0.1017678044184359, 0.09017628493475406] | [0.04470970487002413, 0.05925870152855267, 0.07830125018779348] | [239.0, 105.0, 69.0] | [0.7032107145846928, 0.4178168741645263, 0.131751967098196] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00521961985058225, 0.003715431850670365, 0.004461957530988063] | 0.02007 | 0.047542 | 0.17439 | 5 | 239 | 5 | 105 | 6 | 69
0.24439 | 0.88264 | 0.85 | 79408.8719 | 1.0359 | -7762.4392 | 0.00021689 | 0.11897 | 93.928 | 134.2439 | 37870.1676 | 2490792.3223 | 33.0779 | 33.1774 | 0.0045608 | [43212.02271153847, 18984.361442307694, 17212.48770769231] | [1.0712082348637049, 1.030117736220665, 1.006234507563296] | [-2629.382706971983, -1908.9385174460372, -3224.117962191827] | [0.0002241338397503889, 0.00020760218421753406, 0.00021892954240222592] | [0.11789081010780231, 0.12111750166968263, 0.11790490291042074] | [104.71221947988256, 85.29533171898575, 91.77642315698576] | [137.6071747298377, 128.79820444967456, 136.32635673129738] | [53288.96151075322, 26971.241262880903, 33350.29995958421] | [0.15062761591418442, 0.10323002660856641, 0.09279805343868427] | [0.04535210374016515, 0.0600977869888622, 0.07945271240899977] | [239.0, 105.0, 68.0] | [0.6989452376545684, 0.4179336513855004, 0.14388057079640604] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005258765413943966, 0.003817877034892074, 0.004605882803131182] | 0.020653 | 0.047212 | 0.17413 | 5 | 239 | 5 | 105 | 7 | 68
0.24439 | 0.88198 | 0.85 | 79661.9967 | 1.0358 | -7690.3275 | 0.00021645 | 0.11908 | 93.5647 | 133.9718 | 37503.4531 | 2489016.2085 | 33.0768 | 33.1759 | 0.004528 | [43212.02271153846, 18984.361442307694, 17465.61252692308] | [1.0711370084280534, 1.030140177531756, 1.0062516677009858] | [-2631.4724895376626, -1914.4791643204187, -3144.3758017866403] | [0.00022420534540229433, 0.00020777986347913976, 0.00021737746440170496] | [0.11786922485707214, 0.12106760521163633, 0.1183084001272808] | [104.76209786760516, 85.44032272199357, 90.49169868907632] | [137.6503141896832, 128.90585647848877, 135.35936083706727] | [53341.271405120904, 27099.531726430676, 32069.556232843774] | [0.1506276159141844, 0.10338628892095028, 0.09159122904283058] | [0.045420754546860995, 0.06018852194243153, 0.07830122081223741] | [239.0, 105.0, 69.0] | [0.6984894028871513, 0.4179356321997016, 0.14517183299688213] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005262944979075326, 0.003828958328640837, 0.004491965431123772] | 0.020719 | 0.047177 | 0.1741 | 5 | 239 | 5 | 105 | 7 | 69
0.2444 | 0.88891 | 0.85 | 77130.7485 | 1.0361 | -7171.8416 | 0.00021554 | 0.11935 | 92.8183 | 133.4218 | 36893.4133 | 2507818.6569 | 33.0874 | 33.1986 | 0.0044765 | [43212.02271153847, 19165.164884615384, 14753.560892307694] | [1.0718905402362564, 1.0298834859161299, 1.0064509056993678] | [-2609.446273174778, -1819.7645577924136, -2742.6307747155734] | [0.00022344827386451628, 0.0002047146307590838, 0.00021845627508600878] | [0.11809860658654125, 0.12193896764387788, 0.11802581836115841] | [104.23508640835135, 82.97310863197794, 91.24680033493807] | [137.1935689549126, 127.03409284485899, 136.03771599034175] | [52791.1568885725, 24975.815222359015, 32913.267691773195] | [0.1506276159141844, 0.10078084319402136, 0.09123656500192891] | [0.04469777982663708, 0.05852911717104873, 0.07945273956964238] | [239.0, 106.0, 68.0] | [0.703289896090578, 0.41935444151180984, 0.12922081504844507] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005218892546349555, 0.0036395291155848276, 0.0045710512911926226] | 0.020061 | 0.047549 | 0.1744 | 5 | 239 | 5 | 106 | 6 | 68
0.24439 | 0.88828 | 0.85 | 77347.7126 | 1.0361 | -7110.9322 | 0.0002151 | 0.11947 | 92.4522 | 133.1471 | 36525.6103 | 2506135.9313 | 33.0865 | 33.1973 | 0.0044434 | [43212.02271153847, 19165.164884615384, 14970.525023076925] | [1.071823149309385, 1.0299065441851967, 1.0064709374944307] | [-2611.4088036434646, -1824.7372869193812, -2674.7861411730332] | [0.00022351603555264134, 0.0002048794008775577, 0.000216907543272202] | [0.1180779993725494, 0.12189174694779048, 0.11842968675800832] | [104.28215951683958, 83.10604461908973, 89.96825616017821] | [137.2344502112495, 127.13395586595138, 135.07277229064962] | [52840.06193482657, 25087.88719588353, 31648.88180505627] | [0.1506276159141844, 0.10092595868438362, 0.09003998249937788] | [0.04476214067173499, 0.05861093200431202, 0.07830124804208811] | [239.0, 106.0, 69.0] | [0.7028625443774645, 0.4193785400765218, 0.13043695609384354] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0052228176072869285, 0.003649474573838762, 0.004457976901955055] | 0.020117 | 0.047515 | 0.17437 | 5 | 239 | 5 | 106 | 6 | 69
0.24439 | 0.88217 | 0.85 | 79589.6753 | 1.0358 | -7726.6929 | 0.00021652 | 0.11907 | 93.6321 | 134.0187 | 37615.6042 | 2489522.703 | 33.0771 | 33.1758 | 0.0045376 | [43212.02271153847, 19165.164884615384, 17212.48770769231] | [1.071157321005675, 1.0301264663282144, 1.0061640949937425] | [-2630.876351450019, -1874.7113848572765, -3221.1051856566205] | [0.00022418495433542638, 0.0002065187758451325, 0.00021887119332177594] | [0.1178753785698274, 0.12142488038527124, 0.1179198040747675] | [104.7478720156777, 84.43302781264283, 91.71530058200254] | [137.6380122360635, 128.12738736153236, 136.29072237580527] | [53326.346817663, 26223.911280313878, 33296.55444898729] | [0.1506276159141844, 0.10236678858365031, 0.09264538366793665] | [0.045401169832079216, 0.05943288763603484, 0.07945271021893004] | [239.0, 106.0, 68.0] | [0.6986194434926682, 0.4195200221202052, 0.1424690776284724] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0052617527029000365, 0.003749422769714553, 0.004601578836652315] | 0.0207 | 0.047187 | 0.17411 | 5 | 239 | 5 | 106 | 7 | 68
0.2444 | 0.88152 | 0.85 | 79842.8001 | 1.0358 | -7654.4999 | 0.00021609 | 0.11918 | 93.2681 | 133.7462 | 37247.982 | 2487756.4947 | 33.0761 | 33.1744 | 0.0045046 | [43212.02271153846, 19165.164884615384, 17465.61252692308] | [1.0710864853786068, 1.0301490123586459, 1.0061811243255487] | [-2632.955831419913, -1880.119101385607, -3141.424925188591] | [0.0002242560597591571, 0.00020669440520069103, 0.00021731930817087534] | [0.1178539258913808, 0.12137517998777611, 0.11832340425205301] | [104.79748631350094, 84.57565859395262, 90.43111458192459] | [137.68091019928792, 128.23379943224933, 135.32384529587966] | [53378.416202305656, 26347.897372653115, 32017.63234521813] | [0.15062761591418442, 0.10252083181386966, 0.09143929709494641] | [0.045469490260544705, 0.059521806599540594, 0.07830121865296413] | [239.0, 106.0, 69.0] | [0.6981658025502099, 0.41952475320101296, 0.1437507810112745] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005265911662839825, 0.0037602382027712143, 0.004487749893126559] | 0.020766 | 0.047152 | 0.17409 | 5 | 239 | 5 | 106 | 7 | 69
0.24448 | 0.87943 | 0.85 | 80746.8173 | 1.0344 | -7505.1731 | 0.00021528 | 0.11943 | 92.6587 | 133.2654 | 36789.0931 | 2482134.9935 | 33.0722 | 33.1665 | 0.0044628 | [43212.02271153847, 22781.233730769232, 14753.560892307696] | [1.0708609711574615, 1.0272808987898963, 1.0051174347235197] | [-2639.586992033625, -2165.981302426942, -2699.6048467549117] | [0.0002244823607141148, 0.00020389194485566847, 0.00021746554374107524] | [0.11778575942990506, 0.12222708963737403, 0.11828194445485474] | [104.95552969123965, 82.79083044611768, 90.22970141075389] | [137.81743741176328, 126.54660262182821, 135.432255870795] | [53544.62024759974, 24788.92862331336, 32033.73053349129] | [0.1506276159141844, 0.10399328823690744, 0.0887887627857198] | [0.04568742788650745, 0.05750129399456141, 0.07945269590863657] | [239.0, 105.0, 68.0] | [0.6967187194409685, 0.4471858169370918, 0.10520215657902308] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00527917398406725, 0.0036099688373782365, 0.004499341411258186] | 0.021001 | 0.047041 | 0.17405 | 5 | 239 | 6 | 105 | 6 | 68
0.24449 | 0.87888 | 0.85 | 80963.7815 | 1.0344 | -7445.1186 | 0.00021483 | 0.11955 | 92.2879 | 132.9852 | 36424.6615 | 2480643.7497 | 33.0713 | 33.1654 | 0.0044297 | [43212.02271153846, 22781.233730769232, 14970.525023076923] | [1.0708011335013838, 1.0273023073187584, 1.0051343141296536] | [-2641.349286359429, -2171.1622626061967, -2632.607060092294] | [0.00022454238898760893, 0.00020403498921134824, 0.00021591909267191936] | [0.1177677054956349, 0.12218593145308457, 0.11868786130068801] | [104.99748791835277, 82.90677258384675, 88.95933439516084] | [137.8536523419051, 126.63332825341647, 134.4687229604071] | [53588.832174636875, 24886.654440705453, 30798.49777808517] | [0.15062761591418442, 0.10412516487950588, 0.08760298119285212] | [0.045745365323632284, 0.05756767335530283, 0.07830120499116436] | [239.0, 105.0, 69.0] | [0.6963340212427768, 0.44724836357245024, 0.10623445908511843] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005282698572718857, 0.0036186037710103274, 0.004387678433487157] | 0.021057 | 0.047012 | 0.17403 | 5 | 239 | 6 | 105 | 6 | 69
0.24464 | 0.87347 | 0.85 | 83205.7442 | 1.0342 | -8050.0024 | 0.00021614 | 0.11919 | 93.3686 | 133.7879 | 37420.5657 | 2465915.5317 | 33.0618 | 33.1466 | 0.0045162 | [43212.02271153847, 22781.233730769232, 17212.48770769231] | [1.0702098503551611, 1.0275087748135152, 1.0048991268129428] | [-2658.8269582309995, -2223.1582155563965, -3168.017236784401] | [0.00022513516394926172, 0.0002054581938894269, 0.00021783265168941074] | [0.11759004728786501, 0.12177864996798841, 0.11818675454838676] | [105.4126312158447, 84.06346505415408, 90.6298480658588] | [138.21127040288994, 127.49607769545352, 135.6562305847446] | [54028.25554551445, 25874.814165295706, 32358.627423834812] | [0.15062761591418442, 0.10543395916717913, 0.08991969144897628] | [0.04632035862993225, 0.05823370493838465, 0.07945266629663945] | [239.0, 105.0, 68.0] | [0.6925161367069065, 0.4477917628746398, 0.11646195327171298] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005317653916461999, 0.0037052636925939946, 0.004525738909692001] | 0.021641 | 0.046721 | 0.17389 | 5 | 239 | 6 | 105 | 7 | 68
0.24467 | 0.87288 | 0.85 | 83458.869 | 1.0342 | -7978.9769 | 0.0002157 | 0.1193 | 93.0005 | 133.5102 | 37056.9457 | 2464334.3926 | 33.0608 | 33.1454 | 0.0044832 | [43212.02271153846, 22781.233730769232, 17465.61252692308] | [1.0701463434520846, 1.0275303956507404, 1.004913869612315] | [-2660.711088182466, -2228.830238012464, -3089.4356064774192] | [0.00022519879025273133, 0.0002056121043973522, 0.000216284282368275] | [0.11757104510098113, 0.12173484484719213, 0.11859218908305225] | [105.4572785906033, 84.1888960937074, 89.35532981105862] | [138.24965563717404, 127.58936588590866, 134.69151923867994] | [54075.72945257276, 25983.416690373866, 31111.690911920916] | [0.15062761591418442, 0.10557514269474261, 0.08872704943650522] | [0.0463823848658911, 0.05830634677256058, 0.07830117534992076] | [239.0, 105.0, 69.0] | [0.6921042909803073, 0.4478420431135128, 0.11756329312433476] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005321422176364933, 0.0037147170633541064, 0.0044134794378248845] | 0.021706 | 0.046689 | 0.17388 | 5 | 239 | 6 | 105 | 7 | 69
0.2445 | 0.87891 | 0.85 | 80963.7815 | 1.0344 | -7466.1319 | 0.00021493 | 0.11953 | 92.3785 | 133.0485 | 36561.3845 | 2480725.4435 | 33.0712 | 33.1647 | 0.0044413 | [43212.02271153847, 22998.19786153846, 14753.560892307694] | [1.0708044116982955, 1.0272704674687978, 1.005053153387] | [-2641.252708917861, -2127.3147261167383, -2697.5644333059467] | [0.0002245391005419871, 0.00020283283205592986, 0.00021741813969828285] | [0.11776869421786836, 0.12253575507464054, 0.1182942719547136] | [104.9951889894841, 81.95918337774164, 90.18115923092736] | [137.85166843055137, 125.89047606609594, 135.40327079522905] | [53586.40881492039, 24105.32757212436, 31992.417073092354] | [0.15062761591418442, 0.103135692622301, 0.08867142158588211] | [0.045742190033321785, 0.05688355347018852, 0.07945269324747964] | [239.0, 106.0, 68.0] | [0.6963551048168393, 0.44857802161617927, 0.10401744670693168] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0052825054178357225, 0.003545524543527897, 0.004495940722176578] | 0.021057 | 0.047013 | 0.17403 | 5 | 239 | 6 | 106 | 6 | 68
0.24451 | 0.87836 | 0.85 | 81180.7456 | 1.0344 | -7405.9795 | 0.00021448 | 0.11965 | 92.0071 | 132.7679 | 36196.2205 | 2479243.4678 | 33.0703 | 33.1636 | 0.0044081 | [43212.02271153846, 22998.19786153846, 14970.525023076925] | [1.070744940464952, 1.0272918766922357, 1.0050698807871026] | [-2643.005312398621, -2132.367153437184, -2630.606995511555] | [0.00022459875422058215, 0.00020297408667320965, 0.0002158717986273779] | [0.11775076384127232, 0.12249480292153228, 0.11870028773033889] | [105.03689947159955, 82.07313893757457, 88.91118442060404] | [137.88765733531918, 125.97611814908512, 134.439805943331] | [53630.39401646593, 24199.707526741553, 30758.559963458625] | [0.15062761591418442, 0.10326562278608532, 0.08748616353445286] | [0.04579981596370312, 0.0569485404139363, 0.07830120236780053] | [239.0, 106.0, 69.0] | [0.6959724751229907, 0.4486424032157459, 0.10504043574934849] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005286010624797241, 0.0035539452557286394, 0.004384344992519259] | 0.021114 | 0.046984 | 0.17402 | 5 | 239 | 6 | 106 | 6 | 69
0.24467 | 0.87298 | 0.85 | 83422.7083 | 1.0342 | -8008.9586 | 0.00021578 | 0.11929 | 93.0792 | 133.5657 | 37178.7066 | 2464606.4906 | 33.0609 | 33.145 | 0.0044938 | [43212.02271153847, 22998.19786153846, 17212.48770769231] | [1.070157272734837, 1.027498456147663, 1.0048381391965253] | [-2660.3867403544914, -2183.0697171658258, -3165.502162772976] | [0.0002251878409675342, 0.0002043794820535425, 0.00021778296942209923] | [0.1175743142158476, 0.1220895434703551, 0.11819960680098136] | [105.44959413136402, 83.20997950350659, 90.57806457917334] | [138.2430500243815, 126.8280876342252, 135.62586124007152] | [54067.55551589694, 25153.919249065453, 32314.64497743021] | [0.15062761591418442, 0.1045550744944606, 0.08978908974168306] | [0.04637170667955155, 0.05760054813617405, 0.07945266362647226] | [239.0, 106.0, 68.0] | [0.6921751926664713, 0.44920507163995854, 0.1151761659431082] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005320773480708983, 0.003638449528609709, 0.004522145946818537] | 0.021697 | 0.046695 | 0.17388 | 5 | 239 | 6 | 106 | 7 | 68
0.24469 | 0.8724 | 0.85 | 83675.8331 | 1.0342 | -7937.8371 | 0.00021534 | 0.1194 | 92.7104 | 133.2876 | 36814.2836 | 2463034.3203 | 33.0598 | 33.1438 | 0.0044607 | [43212.02271153847, 22998.19786153846, 17465.61252692308] | [1.0700941216237443, 1.02752011132469, 1.0048527679443506] | [-2662.2614284187184, -2188.603082178821, -3086.972602057346] | [0.00022525110454174095, 0.0002045315434216554, 0.00021623476502293898] | [0.11755543097460623, 0.12204593191738049, 0.11860513107717119] | [105.49400089362787, 83.33331677552601, 89.30400553823986] | [138.28121639941492, 126.92025683945012, 134.6612515410865] | [54114.80803808102, 25258.83134091502, 31069.211412495944] | [0.1506276159141844, 0.10469423921721957, 0.08859709031763867] | [0.04643342827207228, 0.057671690867142154, 0.07830117271798542] | [239.0, 106.0, 69.0] | [0.6917653698598102, 0.44925756949331724, 0.11626823490197903] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005324522856837437, 0.0036476718036313684, 0.004409960860081923] | 0.021763 | 0.046664 | 0.17387 | 5 | 239 | 6 | 106 | 7 | 69
0.2444 | 0.88891 | 0.85 | 77130.7485 | 1.036 | -7165.7373 | 0.00021552 | 0.11935 | 92.7825 | 133.416 | 36764.9024 | 2507825.7991 | 33.0874 | 33.1986 | 0.0044724 | [43392.82615384615, 18984.361442307694, 14753.560892307696] | [1.0720100370823962, 1.029644585964033, 1.0064516830787509] | [-2581.396119927783, -1841.684907126415, -2742.656267777556] | [0.00022267836233527748, 0.00020543628307010986, 0.00021845685903520108] | [0.11830863837628787, 0.1217273292822549, 0.11802566806436392] | [103.58831323923812, 83.51165324300615, 91.24740129172588] | [136.72409165751546, 127.4858300277283, 136.03807222065987] | [51960.616472104746, 25420.29520425626, 32913.79564391035] | [0.15000000084787532, 0.10114189478566578, 0.09123799967028941] | [0.04424957896872878, 0.05908746645313981, 0.07945273955458945] | [240.0, 105.0, 68.0] | [0.7050365725812331, 0.41590686031975654, 0.12923451480922687] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005162792239855565, 0.0036833698142528302, 0.0045710937796292605] | 0.020061 | 0.047549 | 0.1744 | 5 | 240 | 5 | 105 | 6 | 68
0.24439 | 0.88828 | 0.85 | 77347.7126 | 1.036 | -7104.8737 | 0.00021509 | 0.11947 | 92.4166 | 133.1414 | 36397.559 | 2506142.9984 | 33.0865 | 33.1973 | 0.0044394 | [43392.82615384615, 18984.361442307694, 14970.525023076925] | [1.0719426839102058, 1.0296678445662946, 1.006471716050669] | [-2583.3435022689805, -1846.7191079617378, -2674.8111145674025] | [0.00022274620941156392, 0.00020560166897475433, 0.00021690812540933925] | [0.11828787835636807, 0.12168018221653291, 0.11842953538805139] | [103.63526777105912, 83.64555607495309, 89.96885180873784] | [136.76502466231975, 127.58606968520442, 135.07312740732897] | [52008.85057754043, 25534.434640581363, 31649.391909407343] | [0.15000000084787532, 0.1012880951541519, 0.09004140969436647] | [0.044313541629941465, 0.05917006922772654, 0.07830124802727804] | [240.0, 105.0, 69.0] | [0.7046100869902966, 0.4159342898198386, 0.13045074630592352] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00516668700453796, 0.0036934382159234756, 0.004458018524279003] | 0.020117 | 0.047515 | 0.17437 | 5 | 240 | 5 | 105 | 6 | 69
0.24439 | 0.88217 | 0.85 | 79589.6753 | 1.0358 | -7721.1121 | 0.00021651 | 0.11907 | 93.5993 | 134.0145 | 37492.3674 | 2489529.0714 | 33.0771 | 33.1758 | 0.0045339 | [43392.82615384615, 18984.361442307694, 17212.48770769231] | [1.0712771833947472, 1.0298897768763502, 1.0061648264329992] | [-2602.6613610917784, -1897.3142790057072, -3221.136432318419] | [0.0002234159852776247, 0.00020724725285993414, 0.00021887180085489402] | [0.11808375385646652, 0.12121402478750073, 0.11791964867970532] | [104.09981956509519, 84.98226915077542, 91.715937114772] | [137.1691058974987, 128.58329674203898, 136.29109290043203] | [52488.476230760105, 26691.51211708762, 33297.11394884063] | [0.15000000084787532, 0.10273982405912048, 0.09264696911939864] | [0.04494867302586521, 0.05999994190589628, 0.07945271020413898] | [240.0, 105.0, 68.0] | [0.7003752141536014, 0.4161084688843048, 0.14248376003008598] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005205322722183557, 0.0037946285580114144, 0.004601623474740598] | 0.0207 | 0.047187 | 0.17411 | 5 | 240 | 5 | 105 | 7 | 68
0.2444 | 0.88152 | 0.85 | 79842.8001 | 1.0358 | -7648.9699 | 0.00021608 | 0.11918 | 93.2357 | 133.7421 | 37125.2707 | 2487762.8017 | 33.0761 | 33.1744 | 0.0045009 | [43392.82615384615, 18984.361442307694, 17465.61252692308] | [1.0712063782050545, 1.0299125398402869, 1.0061818565756506] | [-2604.724903341028, -1902.7895315009434, -3141.4555072267867] | [0.00022348718296437528, 0.00020742355528635095, 0.0002173199132424529] | [0.11806214195288216, 0.12116439812881645, 0.11832324790083466] | [104.14931129356357, 85.1259534626416, 90.43174502779945] | [137.21205973117247, 128.69012005731378, 135.32421431008623] | [52539.833648844986, 26817.805842321126, 32018.172468661658] | [0.15000000084787532, 0.1028950453233257, 0.09144087370091991] | [0.045016582328955, 0.060089717003461655, 0.0783012186384066] | [240.0, 105.0, 69.0] | [0.6999224155987299, 0.4161166553920722, 0.14376555195426696] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005209449806682056, 0.003805579063001887, 0.004487793581752553] | 0.020766 | 0.047152 | 0.17409 | 5 | 240 | 5 | 105 | 7 | 69
0.2444 | 0.8884 | 0.85 | 77311.5519 | 1.036 | -7132.2808 | 0.00021517 | 0.11945 | 92.4984 | 133.1973 | 36529.4377 | 2506454.1195 | 33.0866 | 33.1969 | 0.0044504 | [43392.82615384615, 19165.164884615384, 14753.560892307694] | [1.0719551371526266, 1.0296521731071908, 1.0063784991761273] | [-2582.9833357814973, -1809.040521741997, -2740.256952505838] | [0.00022273366572216855, 0.00020437733215140732, 0.00021840206885681795] | [0.11829171535743621, 0.12203237568172261, 0.11803975614778484] | [103.62658529715418, 82.67756365456927, 91.19104385893975] | [136.75745689933436, 126.82981160526151, 136.0045996994313] | [51999.9281328559, 24724.032271393673, 32864.352836252816] | [0.15000000084787532, 0.10030576050501185, 0.0911029800108756] | [0.044301710889713575, 0.058443421139052286, 0.07945273737711962] | [240.0, 106.0, 68.0] | [0.7046889711271173, 0.41745827849545564, 0.12794334488665615] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005165966671562994, 0.003618081043483994, 0.004567094920843063] | 0.020108 | 0.047522 | 0.17437 | 5 | 240 | 5 | 106 | 6 | 68
0.24439 | 0.88778 | 0.85 | 77528.5161 | 1.036 | -7071.3314 | 0.00021473 | 0.11957 | 92.1318 | 132.9222 | 36161.2741 | 2504781.4723 | 33.0857 | 33.1956 | 0.0044173 | [43392.82615384615, 19165.164884615384, 14970.525023076923] | [1.0718881819287431, 1.0296754900916592, 1.006398352035307] | [-2584.920347566603, -1813.952559320259, -2672.4585416892005] | [0.0002228011026004307, 0.00020454073867812094, 0.00021685345370823592] | [0.11827109315269953, 0.12198543919233658, 0.11844373757528304] | [103.6732713271942, 82.80923818058689, 89.91293890975726] | [136.79814237836956, 126.92885328283062, 135.0397282433899] | [52047.922459317124, 24834.324567360065, 31601.575376333414] | [0.15000000084787532, 0.10044983235441698, 0.0899069667435884] | [0.04436534262320083, 0.05852434627648679, 0.07830124588017982] | [240.0, 106.0, 69.0] | [0.7042646922258847, 0.4174880387064153, 0.12914980880692248] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005169840695133206, 0.0036279051186405183, 0.004454097569482] | 0.020164 | 0.047489 | 0.17435 | 5 | 240 | 5 | 106 | 6 | 69
0.2444 | 0.88171 | 0.85 | 79770.4787 | 1.0357 | -7685.6207 | 0.00021615 | 0.11917 | 93.3048 | 133.79 | 37240.5467 | 2488267.6494 | 33.0764 | 33.1743 | 0.0045108 | [43392.82615384615, 19165.164884615384, 17212.48770769231] | [1.0712267909713602, 1.0298981716618603, 1.0060953456871293] | [-2604.1350270661055, -1863.3162021992787, -3218.1695089364057] | [0.00022346625483895115, 0.00020616634441683436, 0.0002188140383721423] | [0.11806831611080956, 0.12152134307660827, 0.11793434817998154] | [104.13516632073852, 84.12366275021427, 91.65569463077449] | [137.19978519032983, 127.91416042562908, 136.25596290380926] | [52525.15032154252, 25952.249830733777, 33244.23994954207] | [0.15000000084787435, 0.10188038171269374, 0.092496402171972] | [0.04499716858977306, 0.059337314600887724, 0.07945270801371805] | [240.0, 106.0, 68.0] | [0.700051860479478, 0.4176863998656169, 0.14108719057179653] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00520827005413221, 0.0037266324043985577, 0.004597385012766295] | 0.020747 | 0.047162 | 0.17409 | 5 | 240 | 5 | 106 | 7 | 68
0.24441 | 0.88105 | 0.85 | 80023.6036 | 1.0357 | -7613.3983 | 0.00021571 | 0.11929 | 92.9405 | 133.5172 | 36872.5582 | 2486511.0794 | 33.0753 | 33.1729 | 0.0044778 | [43392.82615384615, 19165.164884615384, 17465.61252692308] | [1.0711561939652312, 1.0299209925267583, 1.0061122400086908] | [-2606.1884397750205, -1868.6602394976428, -3138.5496053411243] | [0.00022353763838421493, 0.00020634089503487286, 0.0002172625834098857] | [0.11804683636391053, 0.12147191084993422, 0.11833804878874594] | [104.18439718925337, 84.26501161394228, 90.37203416790828] | [137.24249964258158, 128.01975535676775, 135.28920200047025] | [52576.272625840385, 26074.309941930427, 31967.092086116667] | [0.15000000084787532, 0.10203340336934417, 0.0912910355606103] | [0.04506475315479367, 0.059425296732850116, 0.0783012164780107] | [240.0, 106.0, 69.0] | [0.699601227324104, 0.41769727668888434, 0.14235949770579076] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005212376879550042, 0.003737320478995286, 0.004483642293344463] | 0.020813 | 0.047128 | 0.17407 | 5 | 240 | 5 | 106 | 7 | 69
0.24449 | 0.87899 | 0.85 | 80927.6208 | 1.0344 | -7464.2466 | 0.00021492 | 0.11953 | 92.3449 | 133.0464 | 36427.3426 | 2480933.8973 | 33.0714 | 33.165 | 0.0044371 | [43392.82615384615, 22781.233730769232, 14753.560892307696] | [1.0709325346062248, 1.0270662155120447, 1.0050629374404534] | [-2612.720906694826, -2153.6508534162494, -2697.874846407732] | [0.00022376243675133927, 0.000203572997920779, 0.0002174253519098042] | [0.1179787451311306, 0.12231497382928527, 0.11829239616255208] | [104.34084714173062, 82.50541485820513, 90.18854344825812] | [137.37812085905912, 126.3534146264237, 135.40768125551864] | [52739.06416588083, 24544.265967374442, 31998.697621294858] | [0.15000000084787532, 0.10349676280250522, 0.08868927781072432] | [0.04527983372609604, 0.05743686562980243, 0.07945269369234802] | [240.0, 105.0, 68.0] | [0.6981671373695315, 0.44515576637991633, 0.10419793010782338] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005225441813389653, 0.0035894180890270826, 0.00449645807734622] | 0.021048 | 0.047017 | 0.17403 | 5 | 240 | 6 | 105 | 6 | 68
0.2445 | 0.87844 | 0.85 | 81144.5849 | 1.0343 | -7404.1448 | 0.00021447 | 0.11964 | 91.9738 | 132.766 | 36062.5407 | 2479450.5778 | 33.0705 | 33.1639 | 0.0044039 | [43392.82615384615, 22781.233730769232, 14970.525023076925] | [1.0708730341165704, 1.0270877912801069, 1.0050796896829184] | [-2614.461466086201, -2158.7720472739034, -2630.911322061104] | [0.00022382222140896114, 0.00020371493416422327, 0.00021587899536756498] | [0.11796066415203646, 0.12227404730823692, 0.11869839654743294] | [104.38249010475079, 82.62033003701215, 88.91851025978687] | [137.41418894896793, 126.43947263614443, 134.44420681688933] | [52782.480093049686, 24640.509552584608, 30764.632423324983] | [0.15000000084787532, 0.10362779559280964, 0.08750394314753265] | [0.045337160571854225, 0.05750259121123574, 0.07830120280627663] | [240.0, 105.0, 69.0] | [0.6977849002406636, 0.44522299031816814, 0.10522237112511236] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005228922932172403, 0.0035979534121231725, 0.004384852203435173] | 0.021104 | 0.046988 | 0.17402 | 5 | 240 | 6 | 105 | 6 | 69
0.24466 | 0.87305 | 0.85 | 83386.5476 | 1.0341 | -8007.7777 | 0.00021578 | 0.11928 | 93.0491 | 133.5655 | 37049.6642 | 2464800.3706 | 33.0611 | 33.1453 | 0.0044899 | [43392.82615384615, 22781.233730769232, 17212.48770769231] | [1.0702850433745987, 1.027296022859482, 1.0048474402630199] | [-2631.7239522894797, -2210.1682253793733, -3165.8855269861656] | [0.00022441261170595884, 0.0002051271756405024, 0.00021779054328550677] | [0.11778273244950462, 0.12186902895882332, 0.11819764721657529] | [104.79452665725474, 83.76680939601644, 90.5859574979204] | [137.77036956984313, 127.29561794585206, 135.63049148765782] | [53213.995637018335, 25613.652695112854, 32321.344247217407] | [0.15000000084787532, 0.1049282933420008, 0.08980900265664049] | [0.045906128337125346, 0.05816202076811004, 0.0794526640720123] | [240.0, 105.0, 68.0] | [0.693991212264019, 0.4458133536126775, 0.11537245200712444] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00526344790457896, 0.003683613708965623, 0.004522693609980237] | 0.021688 | 0.046699 | 0.17388 | 5 | 240 | 6 | 105 | 7 | 68
0.24468 | 0.87247 | 0.85 | 83639.6724 | 1.0341 | -7936.7111 | 0.00021533 | 0.1194 | 92.6806 | 133.2876 | 36685.6555 | 2463226.9056 | 33.06 | 33.144 | 0.0044569 | [43392.82615384616, 22781.23373076923, 17465.612526923076] | [1.070221858824691, 1.0273178544992663, 1.0048620882971115] | [-2633.585722325103, -2215.777234791983, -3087.3481047913115] | [0.00022447601144432076, 0.00020527997281434766, 0.00021624231529714555] | [0.11776369207604287, 0.1218254453931534, 0.11860315739904101] | [104.8388602433132, 83.891189811158, 89.31183006600216] | [137.80861823959907, 127.38823583030246, 134.66586723671313] | [53260.63558221969, 25720.647715858107, 31075.683059459163] | [0.15000000084787535, 0.10506865044390247, 0.08861690924210984] | [0.04596753456920734, 0.058233968930529324, 0.0783011731570714] | [240.0, 105.0, 69.0] | [0.6935817767360415, 0.44586878075548597, 0.11646597806568534] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005267171444650206, 0.003692962057986638, 0.004410497292559017] | 0.021753 | 0.046668 | 0.17387 | 5 | 240 | 6 | 105 | 7 | 69
0.24451 | 0.87847 | 0.85 | 81144.5849 | 1.0343 | -7425.4606 | 0.00021457 | 0.11963 | 92.066 | 132.8301 | 36201.9492 | 2479532.9373 | 33.0705 | 33.1633 | 0.0044157 | [43392.82615384615, 22998.19786153846, 14753.560892307696] | [1.0708763379776824, 1.0270557045963147, 1.0049995605517348] | [-2614.3647886662175, -2115.2304669442733, -2695.8653778451558] | [0.00022381890197390835, 0.00020251654601136717, 0.00021737863438165352] | [0.11796166776054229, 0.1226235235924245, 0.11830455072397819] | [104.38017756403273, 81.67720529965223, 90.14071549333397] | [137.41218633444237, 125.69889892921894, 135.379114831254] | [52780.0681563208, 23867.738971617804, 31958.040447497206] | [0.15000000084787532, 0.10264296500078982, 0.08857363745717081] | [0.04533397620868217, 0.05682082402912845, 0.07945269103008148] | [240.0, 106.0, 68.0] | [0.6978061325552066, 0.4465416706670457, 0.10302779156951243] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005228729577332434, 0.0035253841115737887, 0.004493108963075259] | 0.021104 | 0.04699 | 0.17402 | 5 | 240 | 6 | 106 | 6 | 68
0.24452 | 0.87792 | 0.85 | 81361.549 | 1.0343 | -7365.2623 | 0.00021412 | 0.11975 | 91.6943 | 132.5492 | 35836.4279 | 2478058.7833 | 33.0696 | 33.1622 | 0.0043825 | [43392.82615384616, 22998.197861538465, 14970.525023076925] | [1.0708171991979054, 1.027077277621815, 1.0050161632700148] | [-2616.0958397551685, -2120.224805954394, -2628.9416097414337] | [0.0002238783159005737, 0.00020265671077086513, 0.0002158323864294319] | [0.11794370978893945, 0.12258280097792248, 0.11871064864568122] | [104.42157622812101, 81.7901556499468, 88.87106905002862] | [137.44803072776284, 125.78388438065402, 134.4157075794917] | [52823.26290176037, 23960.691313682757, 30725.329618659984] | [0.1500000008524563, 0.10277206931898734, 0.08738881981161653] | [0.04539099728255274, 0.05688517516039189, 0.07830120018183993] | [240.0, 106.0, 69.0] | [0.6974259343470142, 0.4466106779967662, 0.10404302098915132] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 6.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005232191679510337, 0.0035337080099239904, 0.004381569349569056] | 0.021161 | 0.046961 | 0.174 | 5 | 240 | 6 | 106 | 6 | 69
0.24468 | 0.87257 | 0.85 | 83603.5117 | 1.0341 | -7967.0173 | 0.00021542 | 0.11939 | 92.761 | 133.344 | 36810.3606 | 2463498.801 | 33.0601 | 33.1437 | 0.0044676 | [43392.82615384615, 22998.19786153846, 17212.48770769231] | [1.070232777571897, 1.0272855853991236, 1.0047873136850416] | [-2633.263900311722, -2170.344504990745, -3163.4088526622486] | [0.00022446505608424055, 0.00020405132366588287, 0.00021774158254997934] | [0.11776698129221712, 0.12217978411082883, 0.1182103191221997] | [104.83119827844148, 82.91700004670548, 90.53493941772986] | [137.80200894121967, 126.62935851272084, 135.60056200469208] | [53252.57208560469, 24900.442605067197, 32278.067234277474] | [0.15000000084787532, 0.10405340249836499, 0.08968030628187465] | [0.04595691943677787, 0.0575307625204479, 0.07945266140097872] | [240.0, 106.0, 68.0] | [0.6936525547582506, 0.4472197905160194, 0.11410232137310351] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005266527800623444, 0.0036172408416512425, 0.004519155503803212] | 0.021744 | 0.046673 | 0.17387 | 5 | 240 | 6 | 106 | 7 | 68
0.24471 | 0.87199 | 0.85 | 83856.6365 | 1.0341 | -7895.8557 | 0.00021497 | 0.1195 | 92.392 | 133.0656 | 36445.5625 | 2461934.2077 | 33.0591 | 33.1424 | 0.0044345 | [43392.82615384616, 22998.197861538454, 17465.612526923076] | [1.0701699443587607, 1.0273074474035553, 1.0048018493085298] | [-2635.1164048970736, -2175.8166037031842, -3084.922712193663] | [0.00022452809673264494, 0.00020420228937483058, 0.0002161935169491471] | [0.1177480593778338, 0.12213639227012303, 0.11861591786783876] | [104.87529454416456, 83.03930845632983, 89.26126442570191] | [137.84004094510675, 126.72086804419811, 134.6360378416966] | [53298.99604477859, 25003.806093875948, 31033.88521581957] | [0.15000000084787538, 0.10419175826453415, 0.08848884664151833] | [0.046018026566835186, 0.05760123036098843, 0.0783011705242907] | [240.0, 106.0, 69.0] | [0.6932451136685167, 0.4472773817207701, 0.1151866686611114] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.005270232809794029, 0.003626361006172446, 0.004407032445990474] | 0.02181 | 0.046642 | 0.17386 | 5 | 240 | 6 | 106 | 7 | 69