## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.2489 | 0.92424 | 0.85 | 71742.8059 | 1.0952 | -20636.181 | 0.00010442 | 0.28287 | 103.8407 | 64.5431 | 120304.1475 | 2602068.5008 | 33.1026 | 33.4734 | 0.013198 | [34569.61816923077, 19707.57521153846, 17465.61252692308] | [1.1681998775831135, 1.0921284657940789, 1.0251610180886641] | [-6070.313391818702, -6316.948270000851, -8248.919294836463] | [0.00010892183606796446, 0.00010313122509018507, 0.00010121777967390831] | [0.2803543029029447, 0.28362650992433186, 0.2846386582397565] | [114.17550896988271, 102.01830545404191, 95.32825861165887] | [66.80615184884437, 63.82330491868161, 62.99982428647918] | [161089.0245675215, 110775.2695857862, 89048.14849122884] | [0.1506276159141844, 0.12851199860664367, 0.10296461162248671] | [0.05861007467834376, 0.06517943304542737, 0.07830129372607672] | [239.0, 109.0, 69.0] | [0.6109165650595906, 0.4929024802479349, 0.23963777814388978] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015175783479546755, 0.012633896540001703, 0.011784170421194945] | 0.018659 | 0.049411 | 0.17843 | 4 | 239 | 5 | 109 | 7 | 69
0.24884 | 0.92328 | 0.85 | 71995.9307 | 1.0951 | -20457.4103 | 0.00010422 | 0.28302 | 103.5035 | 64.4125 | 119450.0077 | 2599495.4648 | 33.1016 | 33.4704 | 0.01312 | [34569.61816923077, 19707.575211538464, 17718.73734615385] | [1.1679440140918789, 1.0920931577648574, 1.0252367050325573] | [-6076.090678877354, -6341.40128340091, -8039.918384062732] | [0.00010896338280140466, 0.00010326040601113125, 0.00010042301670097121] | [0.2803243151885881, 0.28353753043320495, 0.28519119247983754] | [114.23621614683034, 102.23405957161069, 94.04032608146454] | [66.83127300171877, 63.90160820581458, 62.50474759991283] | [161284.70993403686, 111441.70855963547, 85623.60457613127] | [0.15062761591418442, 0.1287147052361229, 0.10173254393329689] | [0.05870252247170459, 0.06533282637918149, 0.07718270095778364] | [239.0, 109.0, 70.0] | [0.6103027575327142, 0.492509087727122, 0.24142382359360948] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015190226697193386, 0.012682802566801819, 0.011485597691518188] | 0.018725 | 0.04936 | 0.17836 | 4 | 239 | 5 | 109 | 7 | 70
0.24839 | 0.91514 | 0.85 | 74237.8934 | 1.0938 | -22199.7713 | 0.00010507 | 0.28243 | 104.959 | 64.9324 | 123636.2026 | 2577272.8325 | 33.0926 | 33.4147 | 0.013442 | [34569.61816923077, 19707.57521153846, 19960.700030769232] | [1.1657389196714572, 1.0917603303538272, 1.0239733364214776] | [-6126.232973632739, -6556.442812683199, -9517.095473819229] | [0.0001093221187359107, 0.00010438260160043249, 0.00010149234046833999] | [0.28006632769040724, 0.2827702722195873, 0.2844584477757313] | [114.76140285641088, 104.11499723798684, 96.00064477514385] | [67.04818216346364, 64.58175201204196, 63.16719895777576] | [162988.00560425824, 117359.16909159988, 90561.43312100382] | [0.1506276159141844, 0.1304722319120662, 0.10533659813327062] | [0.05950407229462432, 0.06668096579078599, 0.07830126548292224] | [239.0, 109.0, 69.0] | [0.6049808712492238, 0.48901022166280095, 0.25676735277775875] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015315582434081848, 0.013112885625366399, 0.011896369342274036] | 0.019308 | 0.048921 | 0.17777 | 4 | 239 | 5 | 109 | 8 | 69
0.24835 | 0.91417 | 0.85 | 74527.1789 | 1.0937 | -21989.8102 | 0.00010486 | 0.28258 | 104.6212 | 64.8019 | 122779.1784 | 2574652.6612 | 33.0914 | 33.4116 | 0.013363 | [34569.61816923077, 19707.575211538464, 20249.98553846154] | [1.165479491304925, 1.0917178153341034, 1.0240359947235655] | [-6132.174038610606, -6582.255710651925, -9275.38049422087] | [0.00010936440432080682, 0.00010451567177253548, 0.0001006931660066334] | [0.28003602839427755, 0.28267996363485215, 0.2850123174536578] | [114.82342789211411, 104.33883555985639, 94.70141926787852] | [67.07375010543062, 64.66239460599917, 62.66942231335581] | [163190.40215467653, 118076.28948264976, 87070.8436471516] | [0.1506276159141844, 0.13068025160927826, 0.1040836117593308] | [0.05959894320255787, 0.06684268645094639, 0.07718267265119923] | [239.0, 109.0, 70.0] | [0.6043509771491756, 0.48858583178021825, 0.25856634487134733] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015330435096526514, 0.01316451142130385, 0.011594225617776089] | 0.019383 | 0.048869 | 0.1777 | 4 | 239 | 5 | 109 | 8 | 70
0.24885 | 0.92352 | 0.85 | 71923.6094 | 1.0951 | -20509.1042 | 0.00010421 | 0.28302 | 103.4832 | 64.4139 | 119238.1134 | 2600149.6296 | 33.1019 | 33.4692 | 0.013117 | [34569.61816923077, 19888.378653846157, 17465.61252692308] | [1.1680090537571255, 1.0922595931211334, 1.0249111877114776] | [-6074.621311426683, -6200.401030350403, -8234.081836221814] | [0.00010895282022455011, 0.00010252671816391034, 0.00010116371878677753] | [0.28033193691850894, 0.2840429313962519, 0.2846750783841916] | [114.22078004033293, 101.0098160762934, 95.21886832216092] | [66.82488635953902, 63.450007175441975, 62.96680698523174] | [161234.92920452537, 107706.56844651027, 88772.84257160613] | [0.15062761591418442, 0.12749348877610447, 0.10270863174341685] | [0.058679011570592014, 0.0644263235481433, 0.0783012916650703] | [239.0, 110.0, 69.0] | [0.6104588582464603, 0.4947581960664981, 0.23774188025117493] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015186553278566708, 0.012400802060700806, 0.011762974051745447] | 0.018706 | 0.049373 | 0.17838 | 4 | 239 | 5 | 110 | 7 | 69
0.24879 | 0.92257 | 0.85 | 72176.7342 | 1.095 | -20329.9925 | 0.00010401 | 0.28316 | 103.145 | 64.283 | 118379.0858 | 2597593.2045 | 33.1009 | 33.4663 | 0.013038 | [34569.61816923077, 19888.378653846157, 17718.73734615385] | [1.1677549252770114, 1.0922253230337542, 1.0249861935987425] | [-6080.365649528158, -6224.2519141706625, -8025.374940028866] | [0.00010899409716236278, 0.0001026543441736839, 0.00010036911516757756] | [0.28030216070505476, 0.2839543705748576, 0.28522784672282003] | [114.28111090024383, 101.22207909965127, 93.93176911371262] | [66.84984438337062, 63.52736934834526, 62.47182870638811] | [161429.58463954198, 108350.42809714116, 85357.24478395251] | [0.15062761591418442, 0.1276931760829416, 0.10147770743148632] | [0.058770917862441735, 0.06457672291094585, 0.07718269892443436] | [239.0, 110.0, 70.0] | [0.6098486461506665, 0.49437021432353917, 0.23951798849857583] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015200914123820396, 0.012448503828341326, 0.01146482134289838] | 0.018772 | 0.049322 | 0.1783 | 4 | 239 | 5 | 110 | 7 | 70
0.24836 | 0.91449 | 0.85 | 74418.6969 | 1.0937 | -22063.2174 | 0.00010485 | 0.28258 | 104.5864 | 64.799 | 122484.5321 | 2575520.0216 | 33.0919 | 33.4111 | 0.013356 | [34569.61816923077, 19888.378653846157, 19960.700030769232] | [1.1655653570871205, 1.0919018090986425, 1.0237356864441782] | [-6130.2066782328, -6433.923285565159, -9499.087387349902] | [0.00010935040671618216, 0.00010376273893422849, 0.00010143572692690572] | [0.28004605565895624, 0.2831908827295579, 0.2844962852274656] | [114.80289324166566, 103.0720307372255, 95.88430814364331] | [67.0652864653513, 64.19916110097228, 63.13263301872323] | [163123.36563573527, 114064.93729448986, 90265.293515508] | [0.1506276159141844, 0.1294239958297466, 0.10505504470036386] | [0.059567529461389636, 0.06589816440295551, 0.07830126339923593] | [239.0, 110.0, 69.0] | [0.6045595482358824, 0.49091971263897616, 0.25477456788308805] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015325516695581999, 0.012867846571130319, 0.011873859234187377] | 0.019355 | 0.048886 | 0.17772 | 4 | 239 | 5 | 110 | 8 | 69
0.24832 | 0.91352 | 0.85 | 74707.9824 | 1.0937 | -21852.9694 | 0.00010464 | 0.28272 | 104.2476 | 64.6682 | 121622.3856 | 2572915.9349 | 33.0907 | 33.408 | 0.013277 | [34569.61816923077, 19888.378653846154, 20249.98553846154] | [1.1653076008197358, 1.091860398197595, 1.0237978592616241] | [-6136.115325436837, -6459.104318731713, -9257.749740157886] | [0.00010939243107107568, 0.0001038942512559858, 0.00010063678617610838] | [0.2800159589188415, 0.28310095925513457, 0.2850503527288329] | [114.86455174932689, 103.29230611364059, 94.58608600970912] | [67.0906964588905, 64.27886111084675, 62.635000169000975] | [163324.7397287003, 114757.76374906911, 86784.65328297135] | [0.1506276159141844, 0.12962896859821396, 0.10380350112534097] | [0.05966186839248342, 0.06605677344339882, 0.07718267059563708] | [239.0, 110.0, 70.0] | [0.6039331863057793, 0.4905008583242221, 0.2565647267866128] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015340288313592092, 0.012918208637463425, 0.011572187175197358] | 0.01943 | 0.048835 | 0.17766 | 4 | 239 | 5 | 110 | 8 | 70
0.24815 | 0.91008 | 0.85 | 75684.321 | 1.0898 | -21381.7559 | 0.0001037 | 0.28341 | 102.7067 | 64.1007 | 117638.7897 | 2563645.3974 | 33.0868 | 33.3867 | 0.012959 | [34569.61816923077, 23649.090253846152, 17465.61252692308] | [1.1643909574377325, 1.0850622709480118, 1.0197973706655026] | [-6157.199201356539, -7282.93990613558, -7941.6167978249] | [0.00010954201724129966, 0.00010147601439349761, 0.00010007721232068885] | [0.27990901498993886, 0.28490497963683836, 0.2854153183937823] | [115.08422755277056, 100.00868267481351, 93.02713830847651] | [67.18114367363387, 62.81813662951557, 62.302950278411366] | [164044.30217555352, 105431.99876812132, 83440.06811281727] | [0.15062761591418442, 0.1315559560680919, 0.09752807616963219] | [0.05999832306034316, 0.06173795647435433, 0.07830124887810443] | [239.0, 109.0, 69.0] | [0.601699301952721, 0.5308070678183406, 0.19723263773398655] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015392998003391346, 0.012138233176892634, 0.011345166854035572] | 0.019684 | 0.048652 | 0.17742 | 4 | 239 | 6 | 109 | 7 | 69
0.24812 | 0.90926 | 0.85 | 75937.4458 | 1.0897 | -21208.3335 | 0.00010348 | 0.28356 | 102.3616 | 63.9659 | 116798.5157 | 2561440.2202 | 33.0857 | 33.3844 | 0.01288 | [34569.61816923077, 23649.090253846156, 17718.73734615385] | [1.1641731395511452, 1.0850479441076124, 1.0198591989696812] | [-6162.225705874667, -7307.258543465918, -7738.849202180395] | [0.000109577594445545, 0.00010158579811188651, 9.92862197665832e-05] | [0.2798836222969023, 0.2848277262210811, 0.28597261234397486] | [115.13652105147483, 100.19076849201726, 91.75752753948258] | [67.2026554283348, 62.884711172359495, 61.81019908075463] | [164216.07974878856, 105978.50773124264, 80200.95962005437] | [0.1506276159141844, 0.13173174517635483, 0.09632154470409235] | [0.06007849466201957, 0.061857872745747375, 0.07718265670283751] | [239.0, 109.0, 70.0] | [0.6011670044542057, 0.5305226449506141, 0.19878960544252042] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015405564264686668, 0.012178764239109862, 0.011055498860257707] | 0.01975 | 0.048608 | 0.17736 | 4 | 239 | 6 | 109 | 7 | 70
0.24793 | 0.90233 | 0.85 | 78179.4085 | 1.0887 | -22870.8713 | 0.00010424 | 0.28303 | 103.6384 | 64.429 | 120349.514 | 2542517.4826 | 33.0766 | 33.3399 | 0.01316 | [34569.61816923077, 23649.090253846152, 19960.700030769232] | [1.1623075997255985, 1.084905616262249, 1.0188771956562896] | [-6205.536994023941, -7519.315858063974, -9146.018440737429] | [0.00010988280581443328, 0.00010253334857987727, 0.00010030263393370989] | [0.27966645101399445, 0.28416508338893787, 0.28526261493721905] | [115.58587092814344, 101.76686269919199, 93.5624279208316] | [67.38720170618204, 63.45926018246597, 62.44050924958757] | [165699.89151257585, 110782.60353517586, 84566.04695330186] | [0.1506276159141844, 0.1332449860554165, 0.09937044140080434] | [0.060768633807700395, 0.06290422437298623, 0.0783012200581451] | [239.0, 109.0, 69.0] | [0.5965848465688269, 0.5279996252356118, 0.21212322065933792] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015513842485059853, 0.012532193096773291, 0.011432523050921786] | 0.020333 | 0.048234 | 0.17697 | 4 | 239 | 6 | 109 | 8 | 69
0.24792 | 0.90149 | 0.85 | 78468.694 | 1.0886 | -22668.0878 | 0.00010403 | 0.28318 | 103.294 | 64.2946 | 119510.1097 | 2540252.2925 | 33.0754 | 33.3375 | 0.013081 | [34569.61816923077, 23649.090253846156, 20249.98553846154] | [1.162084712258639, 1.0848862526079386, 1.0189299812294819] | [-6210.743125704421, -7545.109524398632, -8912.235198158714] | [0.00010991933215413268, 0.00010264743105687902, 9.950874870457908e-05] | [0.27964054083628775, 0.28408579951789276, 0.2858204768143892] | [115.63973498250098, 101.95716534231268, 92.28495751860416] | [67.40928741586933, 63.52842716175915, 61.94598560818705] | [165878.69355271623, 111371.64427706946, 81279.99127742434] | [0.15062761591418442, 0.13342670280479804, 0.09814917094848916] | [0.06085150881055642, 0.06303157767334167, 0.07718262783222285] | [239.0, 109.0, 70.0] | [0.5960346011048313, 0.5276877372413684, 0.2137158459302206] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015526857814261052, 0.012575182540664387, 0.011140293997698395] | 0.020409 | 0.048189 | 0.17693 | 4 | 239 | 6 | 109 | 8 | 70
0.24812 | 0.90936 | 0.85 | 75901.2851 | 1.0896 | -21236.9363 | 0.00010349 | 0.28356 | 102.355 | 63.9725 | 116625.954 | 2561725.6635 | 33.0859 | 33.3828 | 0.012881 | [34569.61816923077, 23866.05438461539, 17465.61252692308] | [1.1642013295485267, 1.0851269747811643, 1.0195629253999485] | [-6161.574818731231, -7146.644896648455, -7928.716536567539] | [0.00010957298935402461, 0.00010087093364641067, 0.000100028348102015] | [0.27988690819134737, 0.28533102889789275, 0.2854489846587799] | [115.12975120942826, 99.00648424423473, 92.92886549950927] | [67.1998709596849, 62.44447020439229, 62.273077491273014] | [164193.83110017655, 102474.93699224172, 83209.09394835861] | [0.1506276159141844, 0.13051162962892576, 0.09729326823768154] | [0.06006811405515412, 0.06102941371272752, 0.07830124633123335] | [239.0, 110.0, 69.0] | [0.6012359262468986, 0.5324812834059447, 0.19529432445719005] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015403937046828077, 0.011911074827747425, 0.011326737909382198] | 0.019741 | 0.048614 | 0.17737 | 4 | 239 | 6 | 110 | 7 | 69
0.24809 | 0.90855 | 0.85 | 76154.4099 | 1.0896 | -21063.1294 | 0.00010328 | 0.28371 | 102.0091 | 63.8373 | 115781.6102 | 2559535.5325 | 33.0848 | 33.3805 | 0.012801 | [34569.61816923077, 23866.054384615385, 17718.73734615385] | [1.163985072176272, 1.0851134649333194, 1.0196241293902266] | [-6166.57076665981, -7170.344387132557, -7726.214290093629] | [0.00010960832220278406, 0.0001009793083621644, 9.923752451279207e-05] | [0.2798617039628087, 0.2852541970469825, 0.28600648219176883] | [115.18170087989873, 99.18548371347585, 91.66005078291214] | [67.22123496950039, 62.51019166115499, 61.7804304915305] | [164364.64087399587, 103002.47341618409, 79977.71642884219] | [0.1506276159141844, 0.13068473195099806, 0.09608784437827689] | [0.060147784579957266, 0.06114681005890348, 0.07718265419097037] | [239.0, 110.0, 70.0] | [0.6007069557428372, 0.5322020041025148, 0.19684002387339436] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015416426916649526, 0.011950573978554263, 0.01103744898584804] | 0.019807 | 0.04857 | 0.17732 | 4 | 239 | 6 | 110 | 7 | 70
0.24792 | 0.90167 | 0.85 | 78396.3726 | 1.0886 | -22717.014 | 0.00010403 | 0.28318 | 103.2736 | 64.297 | 119265.7822 | 2540748.1773 | 33.0757 | 33.3365 | 0.013077 | [34569.61816923077, 23866.05438461539, 19960.700030769232] | [1.1621334978082376, 1.084978454326311, 1.0186542507247662] | [-6209.6030312557905, -7376.916112760021, -9130.494858297208] | [0.00010991133616001187, 0.00010191438634349366, 0.00010025177317327912] | [0.27964621138747947, 0.28459535499328387, 0.2852974229636869] | [115.62794197712624, 100.73430015870835, 93.45849220869916] | [67.40445262461847, 63.077189912346036, 62.409424439882194] | [165839.52941418363, 107637.53625897155, 84320.28087225957] | [0.1506276159141844, 0.13217430355961884, 0.09911284481180331] | [0.06083336147095428, 0.06217078447285843, 0.0783012174928269] | [239.0, 110.0, 69.0] | [0.5961550896726306, 0.5297248811884658, 0.21007456182980472] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015524007578139473, 0.012294860187933368, 0.01141311857287151] | 0.02039 | 0.048199 | 0.17694 | 4 | 239 | 6 | 110 | 8 | 69
0.24791 | 0.90084 | 0.85 | 78685.6581 | 1.0885 | -22513.8867 | 0.00010381 | 0.28333 | 102.9283 | 64.1623 | 118422.0982 | 2538497.4307 | 33.0745 | 33.3341 | 0.012998 | [34569.61816923077, 23866.054384615385, 20249.98553846154] | [1.161912103315934, 1.0849599835858599, 1.0187065787588272] | [-6214.779514755039, -7402.060137523165, -8897.047050943105] | [0.00010994762794997611, 0.0001020270556715389, 9.945811949952288e-05] | [0.2796204807386602, 0.2845164597876298, 0.28585545619736585] | [115.681474667581, 100.92145050616682, 92.18195831837012] | [67.42639651911412, 63.14550158519836, 61.91504324467254] | [166017.38697923237, 108206.21236493187, 81042.69530060499] | [0.1506276159141844, 0.13235331306322828, 0.0978929389493105] | [0.06091575078223896, 0.06229550660410669, 0.07718262530244652] | [239.0, 110.0, 70.0] | [0.595608069037583, 0.5294183592250918, 0.21165681744599182] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015536948786887595, 0.01233676689587194, 0.011121308813678883] | 0.020465 | 0.048155 | 0.17689 | 4 | 239 | 6 | 110 | 8 | 70
0.24886 | 0.92365 | 0.85 | 71887.4487 | 1.0951 | -20524.1111 | 0.00010422 | 0.283 | 103.4869 | 64.4216 | 119059.9898 | 2600496.5025 | 33.102 | 33.47 | 0.013115 | [34714.26092307686, 19707.575211538464, 17465.61252692308] | [1.1684794993441001, 1.09176271925011, 1.0249573479510465] | [-6008.569721953742, -6278.722034245738, -8236.81935493275] | [0.00010855743415032373, 0.00010294159533700834, 0.00010117369984424305] | [0.2805940817796444, 0.28375226208158477, 0.2846683516320128] | [113.54526516640674, 101.67651440074935, 95.23906200770132] | [66.58356383351817, 63.70841453993154, 62.972903117968016] | [158672.83137323568, 109683.5398385175, 88823.59828847386] | [0.15000000138023684, 0.12803075116870982, 0.10275590777439493] | [0.05814729948912238, 0.06504731776544266, 0.07830129207263886] | [240.0, 109.0, 69.0] | [0.6123738106548421, 0.49202828750916466, 0.23809273829428032] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015021424304884356, 0.012557444068491476, 0.011766884792761072] | 0.018697 | 0.04938 | 0.17839 | 4 | 240 | 5 | 109 | 7 | 69
0.2488 | 0.9227 | 0.85 | 72140.5735 | 1.095 | -20345.2846 | 0.00010402 | 0.28315 | 103.1494 | 64.2909 | 118204.3405 | 2597937.3673 | 33.101 | 33.467 | 0.013037 | [34714.26092307692, 19707.575211538464, 17718.73734615385] | [1.1682245190016232, 1.0917290247685234, 1.0250324999236464] | [-6014.277265785671, -6302.947989512321, -8028.059348910804] | [0.0001085988084248376, 0.00010307006442696954, 0.00010037907107793349] | [0.28056407513719217, 0.28366359065177427, 0.28522107380439166] | [113.60555360159417, 101.89086589789841, 93.95181759045639] | [66.608580702473, 63.786288589333275, 62.477909277013474] | [158865.0673057441, 110341.58225966644, 85406.37182567586] | [0.15000000084787532, 0.1282325804495353, 0.10152479271635143] | [0.05823896362083063, 0.06519940816646422, 0.07718269932632633] | [240.0, 109.0, 70.0] | [0.6117626593740714, 0.49164148541690894, 0.23987084393833655] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015035693164464176, 0.012605895979024643, 0.01146865621272972] | 0.018763 | 0.049329 | 0.17831 | 4 | 240 | 5 | 109 | 7 | 70
0.24836 | 0.91461 | 0.85 | 74382.5362 | 1.0937 | -22082.171 | 0.00010486 | 0.28256 | 104.5974 | 64.8087 | 122347.024 | 2575839.5669 | 33.092 | 33.4118 | 0.013356 | [34714.26092307692, 19707.57521153846, 19960.700030769232] | [1.166027431415965, 1.09141040071909, 1.0237797755874296] | [-6063.803650414624, -6515.944444788226, -9502.422922170575] | [0.00010895598278415158, 0.00010418587481517713, 0.0001014462208786665] | [0.2803059763295916, 0.2828991025508302, 0.2844892686760732] | [114.12701031184665, 103.75920555121732, 95.90586992949636] | [66.82454557126623, 64.46258168898412, 63.13904046143458] | [160537.9602477515, 116183.00911512513, 90320.10266395636] | [0.15000000084787532, 0.12998217191036346, 0.10510725404104607] | [0.05903356974262341, 0.06653578466818513, 0.07830126380923548] | [240.0, 109.0, 69.0] | [0.6064647977899593, 0.48820064090483206, 0.2551449027508857] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01515950912603656, 0.013031888889576453, 0.01187802865271322] | 0.019346 | 0.048893 | 0.17773 | 4 | 240 | 5 | 109 | 8 | 69
0.24832 | 0.91364 | 0.85 | 74671.8217 | 1.0937 | -21872.2153 | 0.00010465 | 0.28271 | 104.2593 | 64.6781 | 121488.5713 | 2573232.8516 | 33.0909 | 33.4087 | 0.013278 | [34714.26092307692, 19707.57521153846, 20249.98553846154] | [1.1657688105626134, 1.0913695635964804, 1.0238420566872812] | [-6069.674597026513, -6541.5240072893985, -9261.016685514034] | [0.00010899810525121328, 0.00010431825672742613, 0.00010064724103091441] | [0.2802756487826244, 0.28280907030862973, 0.28504329662264655] | [114.1886252953439, 103.98165658131015, 94.60747049424188] | [66.85001487035382, 64.54280944628853, 62.64138353309378] | [160736.8385800161, 116891.23347745798, 86837.64198983992] | [0.15000000084787532, 0.1301893586161023, 0.10385546415661241] | [0.05912766703814646, 0.06669616964186119, 0.07718267099990302] | [240.0, 109.0, 70.0] | [0.6058374256135518, 0.4877829314758018, 0.2569368607496699] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01517418649256628, 0.013083048014578796, 0.011576270856892544] | 0.019421 | 0.048841 | 0.17766 | 4 | 240 | 5 | 109 | 8 | 70
0.24881 | 0.92294 | 0.85 | 72068.2521 | 1.095 | -20397.855 | 0.00010402 | 0.28315 | 103.1308 | 64.2928 | 118004.2355 | 2598589.5275 | 33.1013 | 33.4659 | 0.013035 | [34714.26092307692, 19888.378653846157, 17465.61252692308] | [1.1682894867301328, 1.091892470082254, 1.024709343297541] | [-6012.822224087875, -6162.90080427058, -8222.13200920602] | [0.0001085882649544035, 0.00010233842520925112, 0.0001011201068863993] | [0.2805717196176625, 0.28416866626983994, 0.2847044871116891] | [113.59018792134702, 100.67164192762367, 95.13064513693293] | [66.6022056147937, 63.335925574765454, 62.9401704761346] | [158816.04917704986, 106645.21234995041, 88551.44507667978] | [0.15000000087847012, 0.12701584836802593, 0.10250201592628257] | [0.05821559716867857, 0.06429671908103177, 0.07830129000980796] | [240.0, 110.0, 69.0] | [0.6119184502527043, 0.4938786278391366, 0.23620468468454384] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015032055560219686, 0.012325801608541161, 0.011745902870294311] | 0.018744 | 0.049342 | 0.17833 | 4 | 240 | 5 | 110 | 7 | 69
0.24875 | 0.922 | 0.85 | 72321.3769 | 1.0949 | -20218.6913 | 0.00010381 | 0.28329 | 102.7923 | 64.1617 | 117143.7728 | 2596046.8628 | 33.1003 | 33.463 | 0.012956 | [34714.26092307692, 19888.378653846157, 17718.73734615385] | [1.1680362289156068, 1.0918597990827361, 1.0247838196847665] | [-6018.4973287511775, -6186.530523681182, -8013.663468956948] | [0.00010862937145450524, 0.0001024653487663788, 0.00010032563715162727] | [0.2805419239309027, 0.2840804120095538, 0.28525744101520056] | [113.65010390972483, 100.88252730827534, 93.84422864543554] | [66.62706057635145, 63.41286415995323, 62.44527483707814] | [159007.27670249733, 107280.96927594328, 85143.07251488978] | [0.15000000084787532, 0.12721467614478618, 0.10127203723693584] | [0.058306726566360344, 0.06444584187805008, 0.07718269729119506] | [240.0, 110.0, 70.0] | [0.6113108643284436, 0.4934971848745865, 0.23797285406518245] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015046243321877942, 0.012373061047362362, 0.011448090669938498] | 0.01881 | 0.049292 | 0.17826 | 4 | 240 | 5 | 110 | 7 | 70
0.24833 | 0.91396 | 0.85 | 74563.3396 | 1.0936 | -21946.5404 | 0.00010465 | 0.28271 | 104.2263 | 64.6757 | 121206.8215 | 2574097.2479 | 33.0913 | 33.4082 | 0.013271 | [34714.26092307693, 19888.378653846157, 19960.700030769232] | [1.1658545571269427, 1.0915503584396349, 1.02354386368243] | [-6067.727098359831, -6394.210451596887, -9484.6028318968] | [0.00010898413754826222, 0.00010356744279577618, 0.00010139011036525672] | [0.28028570274307213, 0.2833196811846513, 0.2845268034678542] | [114.1681911571998, 102.72010685607465, 95.79059283202696] | [66.84156931495849, 64.08085609811482, 63.10478044310254] | [160670.85363829488, 112922.1350107172, 90027.47590595842] | [0.15000000084795406, 0.12893772127917943, 0.10482802307973553] | [0.05909645558629058, 0.0657557599318341, 0.07830126172392306] | [240.0, 110.0, 69.0] | [0.6060455208040836, 0.4901042406524042, 0.25315995054750257] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015169317745899576, 0.012788420903193773, 0.011855753539871] | 0.019393 | 0.048858 | 0.17768 | 4 | 240 | 5 | 110 | 8 | 69
0.24829 | 0.91299 | 0.85 | 74852.6251 | 1.0936 | -21736.3009 | 0.00010444 | 0.28286 | 103.8872 | 64.5448 | 120343.3226 | 2571506.4749 | 33.0901 | 33.4052 | 0.013192 | [34714.26092307692, 19888.378653846157, 20249.98553846154] | [1.1655975959413678, 1.0915106115460103, 1.0236056628816157] | [-6073.566144614839, -6419.164261434411, -9243.57046242033] | [0.00010902600083415369, 0.00010369827604284612, 0.00010059136315770665] | [0.2802555771728826, 0.2832300326702052, 0.2850810271476113] | [114.22944352744041, 102.9390199572126, 94.49318950461438] | [66.86688190404797, 64.16014680439962, 62.60726664859762] | [160868.73149346915, 113606.37962447193, 86554.85661955211] | [0.15000000087847054, 0.12914187872415758, 0.10357766607082718] | [0.05919002774857223, 0.06591306022689002, 0.07718266894275902] | [240.0, 110.0, 70.0] | [0.6054216499504594, 0.48969201800625395, 0.25494306563038055] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015183915361537098, 0.012838328522868822, 0.011554463078025413] | 0.019468 | 0.048807 | 0.17762 | 4 | 240 | 5 | 110 | 8 | 70
0.24812 | 0.90957 | 0.85 | 75828.9637 | 1.0897 | -21266.5355 | 0.0001035 | 0.28354 | 102.362 | 63.9825 | 116417.3246 | 2562296.4884 | 33.0862 | 33.384 | 0.012878 | [34714.26092307692, 23649.090253846152, 17465.61252692308] | [1.1646850673437539, 1.0847104784256065, 1.0196340594429745] | [-6094.371939510378, -7239.5375315808, -7932.625979479144] | [0.00010917480208843709, 0.0001012951134431062, 0.00010004316330239503] | [0.2801486825289538, 0.28502621918867427, 0.2854387745611869] | [114.44736205009417, 99.6799934420669, 92.95865766440782] | [66.95685446361249, 62.70850922903257, 62.28213532720182] | [161574.78765417374, 104398.14547516503, 83279.04064978895] | [0.1500000009271537, 0.13106042403629456, 0.09736448720097259] | [0.059523275916483785, 0.061634400154744126, 0.07830124718879253] | [240.0, 109.0, 69.0] | [0.603199795909832, 0.5298231809947143, 0.19588321656127455] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015235929848775944, 0.012065895885968, 0.011332322827827347] | 0.019722 | 0.048625 | 0.17738 | 4 | 240 | 6 | 109 | 7 | 69
0.24809 | 0.90876 | 0.85 | 76082.0885 | 1.0896 | -21093.0237 | 0.00010329 | 0.28369 | 102.0166 | 63.8475 | 115575.648 | 2560102.1352 | 33.0851 | 33.3817 | 0.012799 | [34714.26092307692, 23649.090253846156, 17718.73734615385] | [1.164467869305505, 1.0846973189603166, 1.0196954762136698] | [-6099.340250130011, -7263.638870222555, -7730.044530545654] | [0.00010921025064367635, 0.00010140431402524456, 9.925229323623193e-05] | [0.2801232598564889, 0.2849492284252618, 0.28599620701802747] | [114.4993221972355, 99.86095010013454, 91.68961115918496] | [66.97828841605373, 62.774732041394394, 61.78945963330807] | [161743.61519034038, 104937.98565344834, 80045.34323709359] | [0.15000000084787532, 0.13123555405935616, 0.0961587504042783] | [0.05960281413529093, 0.061753325947701665, 0.0771826550364571] | [240.0, 109.0, 70.0] | [0.6026694938041273, 0.5295441889050644, 0.1974325393195308] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015248350625325027, 0.01210606478370426, 0.011042920757922363] | 0.019788 | 0.048582 | 0.17733 | 4 | 240 | 6 | 109 | 7 | 70
0.24792 | 0.90187 | 0.85 | 78324.0512 | 1.0886 | -22751.106 | 0.00010404 | 0.28316 | 103.2876 | 64.309 | 119092.9333 | 2541276.5278 | 33.076 | 33.3376 | 0.013077 | [34714.26092307692, 23649.090253846156, 19960.700030769232] | [1.1626080045817426, 1.0845652038637896, 1.0187221043007213] | [-6142.140621419383, -7473.752181708537, -9135.213231677153] | [0.00010951429302276478, 0.00010234664380096213, 0.00010026724013217545] | [0.2799058786800825, 0.2842889530580097, 0.2852868345444517] | [114.94571099865611, 101.42693749661335, 93.49009644007057] | [67.16212771797245, 63.34613169829229, 62.41887810747079] | [163201.60863155924, 109682.26509773036, 84394.92627668385] | [0.15000000084787532, 0.13274281932507365, 0.09919121431074605] | [0.060287363776804284, 0.06279076869212365, 0.07830121835369272] | [240.0, 109.0, 69.0] | [0.5981054273762342, 0.5270687333350219, 0.21069895839798305] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015355351553548459, 0.012456253636180895, 0.011419016539596441] | 0.020371 | 0.04821 | 0.17694 | 4 | 240 | 6 | 109 | 8 | 69
0.24791 | 0.90103 | 0.85 | 78613.3367 | 1.0886 | -22548.2764 | 0.00010383 | 0.28331 | 102.9429 | 64.1745 | 118252.1544 | 2539021.7256 | 33.0748 | 33.3352 | 0.012998 | [34714.26092307692, 23649.090253846156, 20249.98553846154] | [1.1623856666108345, 1.0845470726254023, 1.0187745936251804] | [-6147.288190732696, -7499.323258791796, -8901.6649187508] | [0.00010955069986478126, 0.00010246016320934299, 9.947352095136464e-05] | [0.2798799288983224, 0.28420990483187647, 0.2858448122321924] | [114.99925002606665, 101.6161263870581, 92.21328779984326] | [67.18414115343754, 63.414959235834104, 61.92445658730115] | [163377.3953577223, 110264.27732460099, 81114.79063415348] | [0.15000000084787532, 0.13292392261541264, 0.0979709183446233] | [0.06036961485449991, 0.06291710352407001, 0.07718262615111063] | [240.0, 109.0, 70.0] | [0.5975570391396564, 0.5267624197413423, 0.21228458405459047] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015368220476831741, 0.012498872097986329, 0.0111270811484385] | 0.020446 | 0.048165 | 0.1769 | 4 | 240 | 6 | 109 | 8 | 70
0.2481 | 0.90886 | 0.85 | 76045.9278 | 1.0896 | -21122.6528 | 0.0001033 | 0.28368 | 102.0118 | 63.8546 | 115414.2953 | 2560387.962 | 33.0853 | 33.3802 | 0.0128 | [34714.260922712856, 23866.054384615458, 17465.612526923178] | [1.1644961559165223, 1.0847741388133072, 1.0194015698318994] | [-6098.692857546064, -7104.096468849489, -7919.86342924796] | [0.00010920563328062974, 0.00010069144487024977, 9.999476244855494e-05] | [0.28012657030563465, 0.2854521552532491, 0.28547214335709625] | [114.49255323732878, 98.68147291526078, 92.86133668102816] | [66.97549658239512, 62.33569753823483, 62.2525457732328] | [161721.61124445032, 101470.49570148317, 83050.77903832239] | [0.15000000149381032, 0.13001989268167838, 0.09713179955275104] | [0.05959245081508463, 0.0609281288103622, 0.0783012446404251] | [240.0, 110.0, 69.0] | [0.6027385871217056, 0.531492077858477, 0.1939559775434328] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01524673214386516, 0.011840160781415813, 0.011314090613211371] | 0.019778 | 0.048587 | 0.17734 | 4 | 240 | 6 | 110 | 7 | 69
0.24807 | 0.90805 | 0.85 | 76299.0527 | 1.0895 | -20948.7606 | 0.00010308 | 0.28384 | 101.6655 | 63.7193 | 114568.6094 | 2558208.522 | 33.0842 | 33.3779 | 0.012721 | [34714.26092307693, 23866.054384615385, 17718.73734615385] | [1.1642805067726543, 1.084761782388077, 1.01946236842622] | [-6103.6310991718165, -7127.584706434578, -7717.544806029716] | [0.00010924083948017002, 0.00010079924555084194, 9.920406203954236e-05] | [0.2801013355686472, 0.2853755840679278, 0.28602977715732186] | [114.54417323056425, 98.85936579994328, 91.59308011514267] | [66.9967839457498, 62.401072700669644, 61.75997379438296] | [161889.49188779882, 101991.60752116224, 79824.72888270083] | [0.15000000084787532, 0.13019235139121538, 0.09592716271524028] | [0.05967149438764037, 0.06104455809151655, 0.07718265252292349] | [240.0, 110.0, 70.0] | [0.6022115847001361, 0.531218171655439, 0.19549406678085354] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01525907774792954, 0.01187930784405763, 0.01102506400861388] | 0.019844 | 0.048544 | 0.17729 | 4 | 240 | 6 | 110 | 7 | 70
0.24791 | 0.90122 | 0.85 | 78541.0153 | 1.0885 | -22598.2837 | 0.00010383 | 0.28331 | 102.9243 | 64.1775 | 118019.9853 | 2539517.0962 | 33.0751 | 33.3342 | 0.012995 | [34714.26092307692, 23866.054384615385, 19960.700030769232] | [1.1624345055144663, 1.0846368594245055, 1.0185010269828516] | [-6146.156901592776, -7332.267209575728, -9119.859573349431] | [0.00010954270160755245, 0.0001017291842868729, 0.00010021687330188463] | [0.279885628371602, 0.2847190917336927, 0.28532132942762967] | [114.98748638146014, 100.39827951610559, 93.38718645529649] | [67.17930499817837, 62.96497068804145, 62.38809417090762] | [163338.75442871315, 106569.0717868363, 84152.1297907414] | [0.15000000087847024, 0.13167608702701686, 0.09893597053866228] | [0.060351539887382726, 0.0620598360651609, 0.07830121578690147] | [240.0, 110.0, 69.0] | [0.597677549395847, 0.5287880919810172, 0.20866170490141048] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01536539225398194, 0.01222044534929288, 0.011399824466686788] | 0.020427 | 0.048175 | 0.17691 | 4 | 240 | 6 | 110 | 8 | 69
0.2479 | 0.90038 | 0.85 | 78830.3008 | 1.0885 | -22395.1135 | 0.00010361 | 0.28346 | 102.5788 | 64.0426 | 117174.9877 | 2537276.607 | 33.0739 | 33.3318 | 0.012916 | [34714.26092307692, 23866.05438461539, 20249.98553846154] | [1.1622136494270694, 1.084619607418242, 1.0185530629149409] | [-6151.2753050032225, -7357.194841808936, -8886.643328541186] | [0.00010957887577015034, 0.0001018412991898703, 9.942338407604111e-05] | [0.27985985759780885, 0.28464043044968, 0.2858794766138128] | [115.04069764658077, 100.58433834419081, 92.11130632089633] | [67.20117774906295, 63.03294812661029, 61.89381411216398] | [163513.6174028839, 107130.97746120169, 80880.36827302125] | [0.15000000084787532, 0.13185449803120355, 0.09771702845146023] | [0.060433311597634966, 0.06218356356002014, 0.07718262361990538] | [240.0, 110.0, 70.0] | [0.5971323573186934, 0.5284870888939327, 0.21023698165910368] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015378188262508058, 0.012261991403014892, 0.011108304160676484] | 0.020503 | 0.048131 | 0.17687 | 4 | 240 | 6 | 110 | 8 | 70
0.24778 | 0.89559 | 0.85 | 80385.2105 | 1.0815 | -18747.5377 | 9.8281e-05 | 0.28729 | 93.5649 | 60.8183 | 92072.9122 | 2524679.1855 | 33.0672 | 33.3103 | 0.011032 | [43212.02271153847, 19707.57521153846, 17465.61252692308] | [1.1601314484783158, 1.0691430092734768, 1.015202661085689] | [-6561.382506612676, -4489.498420018683, -7696.656810299593] | [0.00010266467198010492, 9.304248279802683e-05, 9.913471763985332e-05] | [0.28508308553346945, 0.2907274249574804, 0.2860706619678144] | [105.23780572738744, 84.32102663998702, 91.13597887828881] | [63.022514188019485, 57.705835509800465, 61.726517699559395] | [134008.7828890251, 63093.61747390557, 79116.33635469513] | [0.1506276159141844, 0.10242609106094981, 0.09296902510855407] | [0.04671315450060053, 0.05885195167422231, 0.07830119338640311] | [239.0, 109.0, 69.0] | [0.6899080104175325, 0.4255245877853297, 0.1578469295853391] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013122765013225353, 0.008978996840037364, 0.010995224014713706] | 0.020907 | 0.047882 | 0.1766 | 5 | 239 | 5 | 109 | 7 | 69
0.24778 | 0.89488 | 0.85 | 80638.3353 | 1.0815 | -18569.3338 | 9.8061e-05 | 0.28745 | 93.2121 | 60.6807 | 91192.1609 | 2522774.7028 | 33.0661 | 33.3085 | 0.010951 | [43212.02271153846, 19707.575211538464, 17718.73734615385] | [1.1599540844317915, 1.0691762864262286, 1.0152531343457782] | [-6566.924984836124, -4503.374698989843, -7499.034112503244] | [0.00010270179507737356, 9.313356489727108e-05, 9.834730517202777e-05] | [0.28505316038224715, 0.2906569015937957, 0.2866317293184734] | [105.28902465442941, 84.46486100742685, 89.88231925619053] | [63.044963271412406, 57.761155935960076, 61.23597269537729] | [134147.28653807307, 63405.010117873215, 76024.1861423145] | [0.1506276159141844, 0.1025786017400302, 0.09178520589679205] | [0.04678270958018113, 0.058944627640141675, 0.07718260197470338] | [239.0, 109.0, 70.0] | [0.6894461753787747, 0.4254750737763834, 0.15917166626479792] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013133849969672247, 0.009006749397979685, 0.010712905875004635] | 0.020973 | 0.047844 | 0.17657 | 5 | 239 | 5 | 109 | 7 | 70
0.24781 | 0.88894 | 0.85 | 82880.298 | 1.0808 | -20090.6433 | 9.8753e-05 | 0.28693 | 94.3328 | 61.1051 | 93817.387 | 2506550.4092 | 33.0568 | 33.2732 | 0.011181 | [43212.02271153847, 19707.57521153846, 19960.700030769232] | [1.1584429318860618, 1.069444971466441, 1.0145155176975402] | [-6614.374309269988, -4623.628141694362, -8852.640825477136] | [0.0001030182025976308, 9.391530981005482e-05, 9.932534176333755e-05] | [0.2847989624089265, 0.2900550494930434, 0.2859379651941139] | [105.72631957277281, 85.70263907052616, 91.56950993314345] | [63.236299633490866, 58.23590347393739, 61.84295065354511] | [135335.59036836968, 66125.30997564332, 79991.26066964414] | [0.15062761591418442, 0.10388504825238817, 0.09438222053014736] | [0.04737853665067075, 0.05974654327137769, 0.07830116418418805] | [239.0, 109.0, 69.0] | [0.6854899830023238, 0.42497958216496406, 0.1704627632668065] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013228748618539975, 0.009247256283388723, 0.01106580103184642] | 0.021556 | 0.047524 | 0.17634 | 5 | 239 | 5 | 109 | 8 | 69
0.24783 | 0.88821 | 0.85 | 83169.5835 | 1.0808 | -19884.0253 | 9.8535e-05 | 0.28708 | 93.9818 | 60.9684 | 92937.1957 | 2504573.2565 | 33.0556 | 33.2713 | 0.0111 | [43212.02271153846, 19707.575211538464, 20249.98553846154] | [1.1582587610726232, 1.0694758888560485, 1.014559989808356] | [-6620.185209865165, -4638.534964201085, -8625.305127290769] | [0.00010305677970651024, 9.401128561561724e-05, 9.853617864142108e-05] | [0.2847680749225326, 0.2899815808572893, 0.2864989961316066] | [105.77972695730595, 85.85500634748158, 90.31053826451506] | [63.25962759545505, 58.294181549151176, 61.35133138514207] | [135481.4335693636, 66465.22228294835, 76864.93135622412] | [0.1506276159141844, 0.10404513518259724, 0.0931884602843402] | [0.04745154700796275, 0.0598458001826038, 0.0771825727339368] | [239.0, 109.0, 70.0] | [0.6850052073528496, 0.4249101746319865, 0.17183926160209742] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013240370419730332, 0.00927706992840217, 0.010781631409113462] | 0.021631 | 0.047484 | 0.17632 | 5 | 239 | 5 | 109 | 8 | 70
0.24778 | 0.89508 | 0.85 | 80566.0139 | 1.0814 | -18662.3273 | 9.8103e-05 | 0.28743 | 93.2845 | 60.7081 | 91483.3916 | 2523331.3095 | 33.0664 | 33.3077 | 0.010977 | [43212.02271153846, 19888.378653846154, 17465.61252692308] | [1.1600059216868988, 1.0692050916916451, 1.015052494046283] | [-6565.304539333401, -4408.098461206833, -7688.924348964024] | [0.00010269094502381193, 9.25128698122381e-05, 9.91044503792234e-05] | [0.285061904476965, 0.2911392167881651, 0.28609192035865977] | [105.27405288122104, 83.50399209788728, 91.07540023164707] | [63.03840203010757, 57.37789852673984, 61.707996437567296] | [134106.78596535925, 61361.35472589298, 78982.03409265103] | [0.15062761591418442, 0.10160188295276676, 0.0928215379571783] | [0.046762372907131144, 0.058224419264048206, 0.07830119123551488] | [239.0, 110.0, 69.0] | [0.6895812077424113, 0.42704032180907, 0.15650815316486946] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013130609078666802, 0.008816196922413668, 0.010984177641377178] | 0.020954 | 0.047855 | 0.17658 | 5 | 239 | 5 | 110 | 7 | 69
0.24778 | 0.89438 | 0.85 | 80819.1387 | 1.0814 | -18483.9368 | 9.7883e-05 | 0.28758 | 92.931 | 60.5703 | 90600.5956 | 2521436.5494 | 33.0653 | 33.306 | 0.010896 | [43212.02271153847, 19888.378653846157, 17718.73734615385] | [1.1598294591231095, 1.0692387125946878, 1.0151025951846226] | [-6570.822747921644, -4421.648065622908, -7491.465967497929] | [0.00010272788135693709, 9.260292190658095e-05, 9.831715699863786e-05] | [0.28503214478825073, 0.2910689972810355, 0.28665310852417625] | [105.32502701245339, 83.64563852574602, 89.82225974490413] | [63.06073814465361, 57.432594225703404, 61.21752481443747] | [134244.72714917024, 61662.56462687997, 75894.49512692713] | [0.15062761591418442, 0.10175235960090698, 0.09163846451969497] | [0.046831629941840036, 0.05831538651253316, 0.07718259985380956] | [239.0, 110.0, 70.0] | [0.6891213518110892, 0.42699347592285986, 0.15782458603480853] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013141645495843289, 0.008843296131245815, 0.010702094239282757] | 0.02102 | 0.047818 | 0.17655 | 5 | 239 | 5 | 110 | 7 | 70
0.24782 | 0.88848 | 0.85 | 83061.1014 | 1.0807 | -20000.487 | 9.8571e-05 | 0.28707 | 94.0434 | 60.9922 | 93190.1399 | 2505299.5274 | 33.0561 | 33.2709 | 0.011123 | [43212.02271153846, 19888.378653846154, 19960.700030769232] | [1.1583264131085804, 1.0695104399593274, 1.014372950207428] | [-6618.049960101662, -4539.029172744199, -8843.4078469084] | [0.00010304260865624023, 9.337560192097e-05, 9.929401684433557e-05] | [0.28477941859930817, 0.2904698901430639, 0.2859598436643381] | [105.76010579058689, 84.86420710984633, 91.50578431415974] | [63.251058224953226, 57.901844420038024, 61.82378693625169] | [135427.83456502284, 64292.853491590206, 79849.73168158835] | [0.15062761591418442, 0.10304097800264436, 0.09422099148903923] | [0.04742471790916686, 0.05910225829767006, 0.07830116202289142] | [239.0, 110.0, 69.0] | [0.6851833477228746, 0.42652155345529624, 0.16904259225477597] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013236099920203321, 0.009078058345488398, 0.0110542598086355] | 0.021603 | 0.047499 | 0.17632 | 5 | 239 | 5 | 110 | 8 | 69
0.24783 | 0.88774 | 0.85 | 83350.3869 | 1.0807 | -19793.7026 | 9.8352e-05 | 0.28722 | 93.6917 | 60.8553 | 92307.7375 | 2503331.6826 | 33.0548 | 33.269 | 0.011042 | [43212.02271153847, 19888.378653846157, 20249.98553846154] | [1.158143107992084, 1.0695417726802197, 1.0144171406076985] | [-6623.837402136042, -4553.588669373573, -8616.276522086506] | [0.00010308100660878677, 9.347052754016834e-05, 9.850500665222767e-05] | [0.28474868881121146, 0.2903967055234361, 0.2865209774453207] | [105.81327762461285, 85.01430562458171, 90.24740735589425] | [63.27427782377837, 57.95948578232801, 61.33226175171317] | [135573.13254984142, 64621.700042824574, 76728.37989261014] | [0.1506276159141844, 0.10319898101715001, 0.09302812198587741] | [0.047497438961868206, 0.05919971399101289, 0.07718257060304777] | [239.0, 110.0, 70.0] | [0.6847004931317734, 0.42645506096268154, 0.17041120132657164] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013247674804272084, 0.009107177338747146, 0.010770345652608131] | 0.021678 | 0.04746 | 0.1763 | 5 | 239 | 5 | 110 | 8 | 70
0.2479 | 0.88538 | 0.85 | 84326.7255 | 1.0776 | -19397.6397 | 9.7879e-05 | 0.28761 | 92.9765 | 60.5725 | 90957.8513 | 2496961.832 | 33.0507 | 33.2558 | 0.010916 | [43212.02271153846, 23649.090253846152, 17465.61252692308] | [1.1575497454270243, 1.0632754286519916, 1.0120118385575965] | [-6642.613401324705, -5219.1842177522985, -7535.842095004572] | [0.00010320532574871195, 9.193410201947265e-05, 9.849825680652581e-05] | [0.2846493506418154, 0.2916703620804305, 0.28652061722837036] | [105.98556467778128, 83.07954560035769, 89.86433981457927] | [63.34945449097912, 57.031102082078334, 61.33694148083864] | [136044.99195327327, 60477.8352107462, 76350.72676449778] | [0.1506276159141844, 0.10466319298376911, 0.08985555943591006] | [0.047733422741551595, 0.05688104221172289, 0.07830114682503038] | [239.0, 109.0, 69.0] | [0.6831336050473873, 0.45664555621362996, 0.1286519455636943] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01328522680264941, 0.008698640362920496, 0.01076548870714939] | 0.021932 | 0.047334 | 0.17624 | 5 | 239 | 6 | 109 | 7 | 69
0.24791 | 0.88475 | 0.85 | 84579.8503 | 1.0776 | -19222.6415 | 9.7655e-05 | 0.28777 | 92.619 | 60.4321 | 90088.5852 | 2495275.9157 | 33.0496 | 33.2544 | 0.010835 | [43212.02271153846, 23649.090253846152, 17718.73734615385] | [1.1573926981789642, 1.0633098389391007, 1.0120548640175904] | [-6647.593677857507, -5233.369249795228, -7341.678550710204] | [0.00010323823604883753, 9.201296926020123e-05, 9.771347213928224e-05] | [0.28462309276595266, 0.29160846662053624, 0.28708417123703256] | [106.03120786761079, 83.20393313287767, 88.62183636150618] | [63.3693555147896, 57.079021581042944, 60.84801510671004] | [136170.27299947396, 60741.06514384182, 73354.4174489083] | [0.15062761591418442, 0.1048004715268044, 0.08868808541684009] | [0.04779603094737103, 0.05695565118512666, 0.0771825560567557] | [239.0, 109.0, 70.0] | [0.6827178986425997, 0.4566452479609206, 0.1297939504518079] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013295187355715013, 0.008722282082992047, 0.010488112215300292] | 0.021998 | 0.047301 | 0.17622 | 5 | 239 | 6 | 109 | 7 | 70
0.2481 | 0.87954 | 0.85 | 86821.813 | 1.077 | -20706.4166 | 9.829e-05 | 0.28729 | 93.6399 | 60.822 | 92448.045 | 2481005.0644 | 33.0402 | 33.225 | 0.011044 | [43212.02271153846, 23649.090253846152, 19960.700030769232] | [1.1560633592357283, 1.0635913790617852, 1.0114903174188206] | [-6689.93202617747, -5355.304361627555, -8661.180233329358] | [0.00010351692024079535, 9.26852957081969e-05, 9.866812821828438e-05] | [0.2844013989243871, 0.2910833990545499, 0.28640016852753075] | [106.41829571135361, 84.26662008320932, 90.23485074675355] | [63.53787613852573, 57.48747876025576, 61.440766122823604] | [137237.38025227175, 63019.60459592818, 77087.15028760166] | [0.1506276159141844, 0.105967992710835, 0.09098542597302064] | [0.04832849876770299, 0.05759627882695803, 0.07830111734205078] | [239.0, 109.0, 69.0] | [0.679182420933486, 0.4565851180123791, 0.13947791274852495] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013379864052354942, 0.00892550726937926, 0.010826475291661697] | 0.022581 | 0.047019 | 0.17611 | 5 | 239 | 6 | 109 | 8 | 69
0.24813 | 0.87887 | 0.85 | 87111.0985 | 1.077 | -20503.9535 | 9.8068e-05 | 0.28745 | 93.2848 | 60.6828 | 91580.713 | 2479238.0244 | 33.039 | 33.2235 | 0.010963 | [43212.02271153846, 23649.090253846152, 20249.98553846154] | [1.1558987661444537, 1.0636250158296643, 1.0115291085974962] | [-6695.197059683858, -5370.636567270151, -8438.119829637402] | [0.00010355144030500232, 9.276913297175448e-05, 9.7882258677312e-05] | [0.2843740197557447, 0.2910182460056049, 0.28696332933639157] | [106.46631600986373, 84.39942428466327, 88.9885236713906] | [63.55875032393925, 57.53840651387306, 60.95117291614703] | [137370.34077211955, 63308.10281492607, 74063.69534434534] | [0.15062761591418442, 0.10611323829562154, 0.08981093081502056] | [0.048394740477919446, 0.05767674456010495, 0.07718252654523669] | [239.0, 109.0, 70.0] | [0.6787425902145373, 0.45657048736404116, 0.1406790478401186] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013390394119367717, 0.008951060945450253, 0.010547649787046753] | 0.022656 | 0.046984 | 0.1761 | 5 | 239 | 6 | 109 | 8 | 70
0.24791 | 0.88486 | 0.85 | 84543.6896 | 1.0775 | -19299.9335 | 9.7704e-05 | 0.28775 | 92.7018 | 60.4638 | 90398.2324 | 2495575.6829 | 33.0498 | 33.2533 | 0.010863 | [43212.02271153846, 23866.05438461539, 17465.61252692308] | [1.1574206222333419, 1.0632943021197616, 1.0118786041671899] | [-6646.707820604112, -5123.9475638358435, -7529.278091148398] | [0.00010323238417887638, 9.14070793270648e-05, 9.847197404770646e-05] | [0.2846277605477573, 0.2920864848646241, 0.28653932696713047] | [106.02309086816759, 82.27040912462915, 89.81194623608988] | [63.36581686169647, 56.70473071461496, 61.32084478981758] | [136147.98513399265, 58807.53897528907, 76239.17302898501] | [0.15062761591418442, 0.10382354286734738, 0.08972648268789025] | [0.04778489420672892, 0.056282975504222066, 0.07830114419947459] | [239.0, 110.0, 69.0] | [0.6827918444406174, 0.45801116226568683, 0.12739783831022963] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013293415641208227, 0.008539912606393071, 0.010756111558783426] | 0.021989 | 0.047307 | 0.17622 | 5 | 239 | 6 | 110 | 7 | 69
0.24793 | 0.88423 | 0.85 | 84796.8144 | 1.0775 | -19124.7139 | 9.7479e-05 | 0.28791 | 92.3438 | 60.3232 | 89527.1778 | 2493898.5705 | 33.0487 | 33.2519 | 0.010782 | [43212.02271153847, 23866.054384615385, 17718.73734615385] | [1.1572643950650632, 1.0633289103393553, 1.0119213058581427] | [-6651.665781613816, -5137.792312036019, -7335.255848092054] | [0.00010326512484042333, 9.148501864293487e-05, 9.768729615931353e-05] | [0.28460165142988253, 0.29202488439298857, 0.28710298648808036] | [106.06851060888394, 82.39285384245548, 88.5698998459818] | [63.38561528118454, 56.75208719517941, 60.83198422754623] | [136272.74654428728, 59062.04823316098, 73246.73875451929] | [0.15062761591418442, 0.10395897414510297, 0.08855968115493053] | [0.04784722659398044, 0.05635616073495579, 0.07718255346841685] | [239.0, 110.0, 70.0] | [0.6823779695375143, 0.45801311520591054, 0.12853159706505612] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01330333156322763, 0.008562987186726698, 0.010478936925845792] | 0.022054 | 0.047274 | 0.17621 | 5 | 239 | 6 | 110 | 7 | 70
0.24813 | 0.87905 | 0.85 | 87038.7771 | 1.077 | -20603.9285 | 9.8111e-05 | 0.28743 | 93.3573 | 60.711 | 91856.4684 | 2479706.5462 | 33.0393 | 33.2228 | 0.010989 | [43212.02271153846, 23866.05438461539, 19960.700030769232] | [1.1559424069285558, 1.063612194699934, 1.0113638925879134] | [-6693.800575849687, -5256.757409253655, -8653.370470549951] | [0.00010354228721124702, 9.214922089017853e-05, 9.864098507012412e-05] | [0.2843812776731037, 0.2915024697114759, 0.2864193982190125] | [106.45358173242064, 83.43858541542387, 90.17985770183301] | [63.55321547676781, 57.15561562629735, 61.4241463216272] | [137335.06907201975, 61264.17240246098, 76970.16383028157] | [0.1506276159141844, 0.10511039700593491, 0.09084458075890396] | [0.04837717017009556, 0.05698432793058522, 0.07830111471065429] | [239.0, 110.0, 69.0] | [0.6788592532667844, 0.45797285953496514, 0.13814310430697105] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013387601151699374, 0.008761262348756092, 0.010816713088187439] | 0.022637 | 0.046993 | 0.1761 | 5 | 239 | 6 | 110 | 8 | 69
0.24816 | 0.87839 | 0.85 | 87328.0626 | 1.0769 | -20401.2541 | 9.7888e-05 | 0.28759 | 93.0016 | 60.5715 | 90987.1831 | 2477947.9671 | 33.0381 | 33.2213 | 0.010907 | [43212.02271153847, 23866.054384615385, 20249.98553846154] | [1.1557786039010585, 1.0636460921202242, 1.0114024271830737] | [-6699.044039610242, -5271.726138171464, -8430.483966740852] | [0.00010357664400793293, 9.223210489000237e-05, 9.785524762956298e-05] | [0.2843540410709672, 0.29143759684325266, 0.286982651301867] | [106.50138657119415, 83.5693624914845, 88.93404485716776] | [63.573990913927126, 57.20596520380032, 60.934634431366135] | [137467.52679821968, 61543.16915062475, 73950.853392592] | [0.1506276159141844, 0.105253741088948, 0.0896708708529485] | [0.04844314443424384, 0.05706328145187632, 0.07718252395144268] | [239.0, 110.0, 70.0] | [0.6784211984477064, 0.4579607720101901, 0.13933618498029482] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013398088079220485, 0.008786210230285774, 0.010538104958426065] | 0.022713 | 0.046958 | 0.17609 | 5 | 239 | 6 | 110 | 8 | 70
0.24778 | 0.89508 | 0.85 | 80566.0139 | 1.0814 | -18643.9283 | 9.8093e-05 | 0.28743 | 93.248 | 60.7041 | 91134.1443 | 2523323.4626 | 33.0664 | 33.3077 | 0.010965 | [43392.82615384615, 19707.57521153846, 17465.612526923076] | [1.1603361132795207, 1.068691060567161, 1.0150538750559512] | [-6492.230918465416, -4462.702048366255, -7688.995363493038] | [0.00010229994959823497, 9.287553275977455e-05, 9.910472953918124e-05] | [0.2853460125135819, 0.2908526342690293, 0.28609172382605463] | [104.63167610772196, 84.03636689377763, 91.07595937478611] | [62.799724434003735, 57.60449570264991, 61.70816698760228] | [131951.34344651274, 62467.81603650603, 78983.27335624311] | [0.15000000084787532, 0.10198267679267108, 0.09282289395797956] | [0.04631713237667139, 0.05875944663395041, 0.07830119121132621] | [240.0, 109.0, 69.0] | [0.6912507641075805, 0.4239336154489907, 0.156520481703885] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.012984461836930831, 0.00892540409673251, 0.010984279090704341] | 0.020954 | 0.047855 | 0.17658 | 5 | 240 | 5 | 109 | 7 | 69
0.24778 | 0.89437 | 0.85 | 80819.1387 | 1.0813 | -18465.6637 | 9.7873e-05 | 0.28758 | 92.8948 | 60.5664 | 90252.5678 | 2521428.7126 | 33.0653 | 33.306 | 0.010883 | [43392.82615384615, 19707.57521153846, 17718.73734615385] | [1.1601596303023143, 1.0687250895542306, 1.0151039765467555] | [-6497.702826596035, -4476.425557686869, -7491.535319564664] | [0.00010233690143402916, 9.296596412104761e-05, 9.831743444499094e-05] | [0.28531607387121194, 0.29078246757217713, 0.2866529113124982] | [104.68251265851958, 84.17902957839883, 89.82281286257533] | [62.822070072456725, 57.659423283154204, 61.21769431338993] | [132087.32258044512, 62774.69178583125, 75895.68917262412] | [0.15000000097528343, 0.10213424181660458, 0.09163981066989749] | [0.04638596815837458, 0.058851254558649764, 0.0771825998299546] | [240.0, 109.0, 70.0] | [0.6907917921561305, 0.4238894298988854, 0.15783696366259584] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.012995405653192071, 0.008952851115373738, 0.010702193313663805] | 0.02102 | 0.047818 | 0.17655 | 5 | 240 | 5 | 109 | 7 | 70
0.24782 | 0.88847 | 0.85 | 83061.1014 | 1.0807 | -19983.3455 | 9.8563e-05 | 0.28707 | 94.0097 | 60.989 | 92853.0943 | 2505291.7898 | 33.0561 | 33.2709 | 0.011111 | [43392.82615384615, 19707.57521153846, 19960.700030769232] | [1.1586563282616922, 1.069000349847221, 1.014374234299391] | [-6544.535102746769, -4595.319521574906, -8843.490901079724] | [0.00010265176772997621, 9.374192884051589e-05, 9.929429981859499e-05] | [0.28506182523059104, 0.2901837919415765, 0.28595964556011466] | [105.11642831276029, 85.40639794138488, 91.50636033815735] | [63.01247542126752, 58.13068102071692, 61.82395977701246] | [133253.62994317347, 65454.64246217705, 79851.01058429634] | [0.15000000084787532, 0.10343227547013578, 0.09422244323951087] | [0.04697549177602, 0.059645399848864696, 0.07830116199859861] | [240.0, 109.0, 69.0] | [0.6868610709287106, 0.42344008821593715, 0.1690554019512504] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013089070205493538, 0.009190639043149812, 0.011054363626349652] | 0.021603 | 0.047499 | 0.17632 | 5 | 240 | 5 | 109 | 8 | 69
0.24783 | 0.88774 | 0.85 | 83350.3869 | 1.0806 | -19776.6991 | 9.8344e-05 | 0.28722 | 93.6583 | 60.8522 | 91972.0654 | 2503323.9753 | 33.0548 | 33.269 | 0.01103 | [43392.82615384615, 19707.57521153846, 20249.98553846154] | [1.1584729835239602, 1.0690321199895123, 1.0144184243694316] | [-6550.274261041735, -4610.067320094291, -8616.357557719022] | [0.00010269018315101559, 9.383726090085007e-05, 9.850528761999567e-05] | [0.2850309102610509, 0.2901106583436192, 0.2865207788516985] | [105.16945890908751, 85.5575860742652, 90.2479767302753] | [63.03570572500814, 58.18857070903272, 61.332433362382325] | [133396.86697436962, 65789.718071965, 76729.61105930882] | [0.15000000084787532, 0.10359144314772087, 0.0930295624957056] | [0.04704778042958989, 0.059743755731187086, 0.0771825705790825] | [240.0, 109.0, 70.0] | [0.6863790783869593, 0.4233763403062133, 0.17042405360790366] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01310054852208347, 0.00922013464018858, 0.010770446947148777] | 0.021678 | 0.04746 | 0.1763 | 5 | 240 | 5 | 109 | 8 | 70
0.24778 | 0.89458 | 0.85 | 80746.8173 | 1.0813 | -18559.2865 | 9.7916e-05 | 0.28757 | 92.9687 | 60.5942 | 90550.5124 | 2521983.8722 | 33.0656 | 33.3051 | 0.01091 | [43392.82615384615, 19888.378653846154, 17465.61252692308] | [1.160211340389218, 1.0687521108435234, 1.0149053588859769] | [-6496.09897701307, -4381.823278328056, -7681.364232816421] | [0.00010232607416946653, 9.23472160394072e-05, 9.907482718235075e-05] | [0.28532484400028085, 0.29126428560887424, 0.2861127390820135] | [104.66761514884783, 83.22246598629116, 91.01612080847484] | [62.81552257694625, 57.2773448851395, 61.689868387796366] | [132047.4599341752, 60753.214249689634, 78850.86300917443] | [0.15000000084787532, 0.10116172573580438, 0.09267712110412492] | [0.04636579096224368, 0.05813383051076927, 0.07830118905933603] | [240.0, 110.0, 69.0] | [0.6909263263399282, 0.425442585764171, 0.15519311636062688] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01299219795402614, 0.008763646556656112, 0.01097337747545203] | 0.021001 | 0.047828 | 0.17656 | 5 | 240 | 5 | 110 | 7 | 69
0.24778 | 0.89388 | 0.85 | 80999.9422 | 1.0813 | -18380.8376 | 9.7696e-05 | 0.28772 | 92.6149 | 60.4563 | 89666.9273 | 2520098.7459 | 33.0646 | 33.3034 | 0.010828 | [43392.82615384615, 19888.378653846157, 17718.73734615385] | [1.1600357485990704, 1.068786474333388, 1.0149550933426843] | [-6501.547064239453, -4395.224054975394, -7484.066507513802] | [0.00010236284115432423, 9.243662649013483e-05, 9.828765014613069e-05] | [0.2852950699983329, 0.2911944202856606, 0.28667404579633543] | [104.7182101288962, 83.36296185010201, 89.76348792666771] | [62.837756402417185, 57.33165322472151, 61.19946845947426] | [132182.89001925543, 61050.06316707502, 75767.82860164509] | [0.15000000084787532, 0.10131127393702864, 0.09149477662916354] | [0.046434333887804796, 0.05822394876401317, 0.07718259770799153] | [240.0, 110.0, 70.0] | [0.6904693071818773, 0.4254010265844858, 0.15650134837197013] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013003094128478906, 0.008790448109950789, 0.010691523582162575] | 0.021067 | 0.047791 | 0.17652 | 5 | 240 | 5 | 110 | 7 | 70
0.24784 | 0.88728 | 0.85 | 83531.1903 | 1.0806 | -19687.0128 | 9.8162e-05 | 0.28736 | 93.3695 | 60.7395 | 91349.1487 | 2502089.5958 | 33.0541 | 33.2668 | 0.010973 | [43392.82615373419, 19888.378653847478, 20249.98553846478] | [1.1583579721799993, 1.0690968690359055, 1.0142771548737797] | [-6553.877480553086, -4525.685793481603, -8607.449516686003] | [0.00010271428261493285, 9.32978990577084e-05, 9.847449688583808e-05] | [0.28501152770887256, 0.2905256153797591, 0.28654250579097434] | [105.20273708451968, 84.72025150437847, 90.18562794002264] | [63.05027896017848, 57.8547214134633, 61.313596307952174] | [133486.83018760552, 63965.5895073109, 76595.0263169992] | [0.15000000106127265, 0.10274873480652351, 0.0928711088679796] | [0.047093170120190944, 0.05909979655235617, 0.07718256844749705] | [240.0, 110.0, 70.0] | [0.6860764370418221, 0.42491400046543193, 0.16900797670053072] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013107754961106171, 0.009051371586963204, 0.010759311895857503] | 0.021725 | 0.047435 | 0.17628 | 5 | 240 | 5 | 110 | 8 | 70
0.24791 | 0.88493 | 0.85 | 84507.5289 | 1.0775 | -19291.7162 | 9.7697e-05 | 0.28775 | 92.6672 | 60.4614 | 90031.8158 | 2495761.9745 | 33.0499 | 33.2537 | 0.01085 | [43392.82615384615, 23649.090253846156, 17465.61252692308] | [1.1577683859562726, 1.0628527939863346, 1.0118985646262173] | [-6572.386117788085, -5189.0692434533885, -7530.260796943695] | [0.00010283784479429403, 9.177743725284302e-05, 9.847590963944891e-05] | [0.2849122900352731, 0.2917883683000873, 0.2865365250125816] | [105.37348202654384, 82.80838268489427, 89.81979057158962] | [63.12499825506806, 56.93599103142552, 61.32325537000789] | [133949.36496696871, 59890.2201412917, 76255.86234809196] | [0.15000000084787532, 0.10420486914716895, 0.08974581553625038] | [0.0473263780710059, 0.056811571302764, 0.07830114463000304] | [240.0, 109.0, 69.0] | [0.684521499893905, 0.4549220787579586, 0.12758590533496994] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013144772235576172, 0.008648448739088982, 0.010757515424205277] | 0.021979 | 0.04731 | 0.17622 | 5 | 240 | 6 | 109 | 7 | 69
0.24792 | 0.8843 | 0.85 | 84760.6538 | 1.0775 | -19116.63 | 9.7473e-05 | 0.2879 | 92.3094 | 60.3209 | 89161.6942 | 2494083.663 | 33.0488 | 33.2523 | 0.010769 | [43392.82615384615, 23649.090253846156, 17718.73734615385] | [1.1576120020863467, 1.0628877189613712, 1.0119413173937426] | [-6577.305942257062, -5203.106571141601, -7336.217519470401] | [0.00010287062472196053, 9.185577648627204e-05, 9.769121626904832e-05] | [0.28488600246167634, 0.29172676634233874, 0.28710016836035307] | [105.4188133619044, 82.93182435282087, 88.57767675659058] | [63.14482053714024, 56.983591699786004, 60.83438526099695] | [134072.43120662295, 60149.800916372646, 73262.85035357132] | [0.15000000087847054, 0.10434139301226153, 0.08857891571417446] | [0.04738838265973545, 0.05688554220176341, 0.07718255389273893] | [240.0, 109.0, 70.0] | [0.6841080783132721, 0.45492621206516276, 0.128720926475827] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013154611884514125, 0.008671844285236003, 0.010480310742100573] | 0.022045 | 0.047277 | 0.17621 | 5 | 240 | 6 | 109 | 7 | 70
0.24812 | 0.87912 | 0.85 | 87002.6164 | 1.0769 | -20597.3996 | 9.8106e-05 | 0.28743 | 93.3258 | 60.7095 | 91501.3878 | 2479880.8592 | 33.0395 | 33.2231 | 0.010976 | [43392.82615365706, 23649.090253849507, 19960.70003077501] | [1.1562885658564481, 1.063173711632083, 1.011382856702284] | [-6619.119714581814, -5323.73879492603, -8654.541093863676] | [0.0001031481373765296, 9.252344162929843e-05, 9.864505447478161e-05] | [0.28466411093377203, 0.29120430213084414, 0.2864165147288814] | [105.80316157172987, 83.98616639058358, 90.1881015470406] | [63.31263350895964, 57.38923389304642, 61.4266383395512] | [135120.39483131916, 62396.08155786549, 76987.68710973389] | [0.1500000012327283, 0.10550223565558556, 0.09086570229544827] | [0.047915598694498504, 0.05752049044391611, 0.0783011151406091] | [240.0, 109.0, 69.0] | [0.6805928191709879, 0.4549041893820976, 0.13834353938760355] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013238239429163629, 0.008872897991543383, 0.010818176367329594] | 0.022628 | 0.046997 | 0.1761 | 5 | 240 | 6 | 109 | 8 | 69
0.24815 | 0.87846 | 0.85 | 87291.9019 | 1.0769 | -20394.8679 | 9.7883e-05 | 0.28759 | 92.9704 | 60.5701 | 90633.1574 | 2478121.1422 | 33.0382 | 33.2216 | 0.010895 | [43392.82615384615, 23649.090253846156, 20249.98553846154] | [1.1561245940434328, 1.0632079424955765, 1.0114214325660178] | [-6624.322795160797, -5338.916453532892, -8431.628688985036] | [0.00010318253441037597, 9.260675152199451e-05, 9.785929793532704e-05] | [0.28463668963308103, 0.2911394287277628, 0.2869797535381389] | [105.85087247192834, 84.11801155340682, 88.94221282613208] | [63.333433389274816, 57.43984337365602, 60.937114623120706] | [135251.051060187, 62680.66277996385, 73967.7583085631] | [0.15000000084787532, 0.10564674598981981, 0.0896918776765564] | [0.0479812304703765, 0.05760028841613714, 0.07718252437562248] | [240.0, 109.0, 70.0] | [0.6801552156378827, 0.45489433479994995, 0.1395378607204266] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013248645590321595, 0.008898194089221488, 0.010539535861231296] | 0.022703 | 0.046962 | 0.17609 | 5 | 240 | 6 | 109 | 8 | 70
0.24793 | 0.88442 | 0.85 | 84724.4931 | 1.0774 | -19194.6474 | 9.7522e-05 | 0.28788 | 92.3937 | 60.353 | 89477.7094 | 2494383.5393 | 33.049 | 33.2512 | 0.010797 | [43392.82615342399, 23866.05438461614, 17465.61252692413] | [1.157639944484028, 1.0628711020899915, 1.0117669136797367] | [-6576.42655295242, -5094.436693943934, -7523.784153972887] | [0.00010286476746623917, 9.125174400145377e-05, 9.844995542862573e-05] | [0.28489069841277764, 0.2922042648747249, 0.286555009266253] | [105.41071234370307, 82.00237519869957, 89.76806204438574] | [63.14127862300677, 56.610426329572576, 61.30735970895131] | [134050.43019487438, 58236.81885353265, 76145.87912604623] | [0.15000000149436113, 0.10336865291360213, 0.08961833436173355] | [0.04737729925402573, 0.05621513700872538, 0.07830114200372058] | [240.0, 110.0, 69.0] | [0.684181976032429, 0.45628200963207, 0.12634428841245837] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013152853105904838, 0.008490727823239891, 0.010748263077104124] | 0.022036 | 0.047283 | 0.17621 | 5 | 240 | 6 | 110 | 7 | 69
0.24794 | 0.88379 | 0.85 | 84977.6179 | 1.0774 | -19019.3425 | 9.7297e-05 | 0.28804 | 92.0354 | 60.2123 | 88605.8287 | 2492713.9461 | 33.0479 | 33.2498 | 0.010716 | [43392.82615384615, 23866.05438461539, 17718.73734615385] | [1.1574843718015468, 1.0629062173000436, 1.011809346979372] | [-6581.324467138648, -5108.137698875777, -7329.880355318482] | [0.00010289737942632006, 9.132916346590611e-05, 9.766536814137907e-05] | [0.28486455895036944, 0.29214295545940433, 0.28711875684888666] | [105.45582307122359, 82.12389219081976, 88.52639976490671] | [63.16099929753891, 56.65746882548406, 60.81855464383434] | [134172.9890737571, 58487.80804232463, 73156.68909081582] | [0.15000000084787532, 0.10350334408510943, 0.08845209967742491] | [0.04743903270567516, 0.05628769979472495, 0.07718255130358431] | [240.0, 110.0, 70.0] | [0.6837703643516697, 0.4562883621413246, 0.12747113116331102] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013162648934277295, 0.008513562831459627, 0.010471257650454974] | 0.022101 | 0.04725 | 0.17619 | 5 | 240 | 6 | 110 | 7 | 70
0.24814 | 0.87863 | 0.85 | 87219.5806 | 1.0769 | -20495.61 | 9.7927e-05 | 0.28757 | 93.0445 | 60.5988 | 90915.8265 | 2478589.1856 | 33.0385 | 33.2209 | 0.010921 | [43392.82615384615, 23866.05438461539, 19960.700030769232] | [1.1561682065828545, 1.063193885969097, 1.0112579396959316] | [-6622.938415588341, -5225.835426042452, -8646.836200474612] | [0.00010317338532644662, 9.198877699602885e-05, 9.861825312663373e-05] | [0.28464398152709197, 0.2916231216799305, 0.28643551193493405] | [105.8381805539877, 83.16144210118652, 90.133810925602] | [63.32790094227348, 57.058226061726906, 61.4102272058618] | [135216.28197507325, 60658.830613204234, 76872.3668008194] | [0.15000000084787532, 0.10464821957939022, 0.09072661052158143] | [0.04796376730722052, 0.0569103284180829, 0.07830111250903155] | [240.0, 110.0, 69.0] | [0.6802716525607986, 0.4562858354056528, 0.13702189411332688] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013245876831176681, 0.008709725710070754, 0.010808545250593268] | 0.022684 | 0.046971 | 0.17609 | 5 | 240 | 6 | 110 | 8 | 69
0.24817 | 0.87798 | 0.85 | 87508.8661 | 1.0768 | -20292.8694 | 9.7704e-05 | 0.28772 | 92.6885 | 60.4592 | 90045.6733 | 2476837.849 | 33.0373 | 33.2194 | 0.01084 | [43392.82615384615, 23866.05438461539, 20249.98553846154] | [1.1560050165348392, 1.0632283692327502, 1.0112962620395525] | [-6628.120316089896, -5240.653707306206, -8424.095386337758] | [0.00010320762064415204, 9.207114135482766e-05, 9.78326268646339e-05] | [0.28461670221281, 0.2915585263309646, 0.2869988420003887] | [105.88567869989444, 83.29127814549437, 88.88842987943069] | [63.34860301312741, 57.10826204266084, 60.92078375055578] | [135346.4472924043, 60934.04827240335, 73856.52439798709] | [0.15000000087847093, 0.10479084247522483, 0.08955356188568356] | [0.04802913613447811, 0.05698863029088954, 0.07718252178118772] | [240.0, 110.0, 70.0] | [0.6798358011616744, 0.4562784813948797, 0.13820821953883394] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013256240632179794, 0.008734422845510344, 0.010530119232922198] | 0.02276 | 0.046936 | 0.17608 | 5 | 240 | 6 | 110 | 8 | 70