## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.24848 | 0.93128 | 0.85 | 68416.0226 | 1.0826 | -13226.4343 | 0.00012504 | 0.15985 | 109.9362 | 77.3028 | 78788.4569 | 2621937.5679 | 33.118 | 33.4727 | 0.0083122 | [34569.61816923077, 17899.54078846154, 15946.863611538463] | [1.146295420914244, 1.0783187544004402, 1.0232766289529702] | [-3383.6180141457094, -4228.55342009272, -5614.26287274128] | [0.0001255279019137504, 0.00012574022237687405, 0.00012385400277943197] | [0.1601068484419301, 0.15935807996580792, 0.16009373811068472] | [113.37906180883019, 111.47870378505772, 104.9507509682159] | [77.0003958595309, 77.82216893573363, 77.0857089959749] | [89155.25150616266, 80453.67170896653, 66756.44740450887] | [0.1506276159141844, 0.1381566064561311, 0.1136171360176101] | [0.05722805037304175, 0.07230181382938823, 0.08575860753397203] | [239.0, 99.0, 63.0] | [0.6200925459724681, 0.476754328634177, 0.24530437714051842] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008459045035364274, 0.008457106840185443, 0.008020375532487543] | 0.017794 | 0.049803 | 0.17848 | 4 | 239 | 5 | 99 | 7 | 63
0.24839 | 0.93019 | 0.85 | 68669.1474 | 1.0826 | -13099.3998 | 0.0001248 | 0.15998 | 109.5372 | 77.1523 | 78105.9476 | 2618998.2829 | 33.117 | 33.4693 | 0.0082565 | [34569.61816923077, 17899.54078846154, 16199.988430769234] | [1.146052794742208, 1.0782935600220243, 1.023339347408592] | [-3387.241261694338, -4246.896069648642, -5465.262452835402] | [0.00012557759563907613, 0.0001259017761056158, 0.00012292472297759357] | [0.16007642251082818, 0.15927084982408607, 0.1606020035015753] | [113.4489068282086, 111.75348812111471, 103.4091898561057] | [77.03037657860247, 77.91981610671382, 76.50673535473248] | [89278.05108338804, 81005.25350066515, 64034.53812618656] | [0.1506276159141844, 0.1384134491504269, 0.11215023509581214] | [0.057334441279883956, 0.07250116208214118, 0.08441862623583789] | [239.0, 99.0, 64.0] | [0.6193861599540729, 0.47628472639943914, 0.2473804135689109] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008468103154235844, 0.008493792139297284, 0.007807517789764859] | 0.01786 | 0.049745 | 0.17839 | 4 | 239 | 5 | 99 | 7 | 64
0.24774 | 0.92176 | 0.85 | 70694.1459 | 1.0815 | -14292.9206 | 0.00012578 | 0.15945 | 111.2356 | 77.7486 | 81241.4143 | 2596028.8383 | 33.1091 | 33.4185 | 0.0084768 | [34569.61816923077, 17899.54078846154, 18224.98698461539] | [1.1441598997432378, 1.0780701610231789, 1.022277798464585] | [-3415.6943304890374, -4392.845760468301, -6484.380518917852] | [0.00012596564631353784, 0.00012717042412034983, 0.00012419791587166555] | [0.15983977447019496, 0.15859128258911595, 0.15991717937940494] | [113.9956405704645, 113.9212551720392, 105.78988735645146] | [77.26449294956426, 78.68652519371389, 77.29480413975585] | [90245.39400386674, 85439.87670844127, 68038.97222166132] | [0.15062761591418442, 0.14042864316119036, 0.11642205375127426] | [0.05816918691614162, 0.07408676147808362, 0.08575857986604107] | [239.0, 99.0, 63.0] | [0.6138438466430027, 0.47250668240562194, 0.26349503308698535] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008539235826222593, 0.008785691520936603, 0.008105475648647316] | 0.018386 | 0.049291 | 0.17767 | 4 | 239 | 5 | 99 | 8 | 63
0.24767 | 0.92065 | 0.85 | 70983.4315 | 1.0814 | -14143.4336 | 0.00012554 | 0.15958 | 110.8354 | 77.5981 | 80554.7596 | 2593035.6889 | 33.1079 | 33.4149 | 0.0084209 | [34569.61816923077, 17899.54078846154, 18514.272492307693] | [1.1439136532647827, 1.0780376141787635, 1.0223269561351642] | [-3419.420170404589, -4412.207632203913, -6311.8057705549145] | [0.00012601617509857475, 0.0001273365301254735, 0.00012326294716537447] | [0.1598090825202589, 0.15850301313858062, 0.16042671132433364] | [114.06700470657013, 114.206394124836, 104.23278471853803] | [77.29497787675118, 78.78689958158361, 76.71235597792085] | [90372.46014970425, 86034.25190136213, 65257.5667764925] | [0.1506276159141844, 0.1406922870248263, 0.11492819758473954] | [0.05827839504375651, 0.07429701662043768, 0.08441859848958658] | [239.0, 99.0, 64.0] | [0.6131187578069074, 0.47200041309148927, 0.2655802069218366] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008548550426011473, 0.008824415264407826, 0.007889757213193642] | 0.018462 | 0.049232 | 0.17759 | 4 | 239 | 5 | 99 | 8 | 64
0.24841 | 0.93047 | 0.85 | 68596.826 | 1.0825 | -13136.6353 | 0.0001248 | 0.15998 | 109.5098 | 77.1522 | 77955.4607 | 2619757.0408 | 33.1173 | 33.4684 | 0.0082548 | [34569.61816923077, 18080.344230769235, 15946.863611538463] | [1.146115418552715, 1.0784072342855866, 1.023032765250148] | [-3386.3055575983963, -4146.84375663641, -5603.485996881614] | [0.0001255647683063105, 0.0001250365979523404, 0.0001237892505657298] | [0.1600842736521833, 0.1597398146433697, 0.16012784262143867] | [113.43087420016116, 110.28111104045031, 104.81754773367288] | [77.02263771693664, 77.38766629504511, 77.0462685550775] | [89246.32979975283, 78087.38273893371, 66532.66947563078] | [0.15062761591418442, 0.13696365301147254, 0.11331323838330515] | [0.05730696778722702, 0.07138734018148224, 0.08575860533569456] | [239.0, 100.0, 63.0] | [0.6195685711123644, 0.4788733533016208, 0.24327943253725326] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008465763893995991, 0.008293687513272821, 0.008004979995545164] | 0.017841 | 0.04976 | 0.17841 | 4 | 239 | 5 | 100 | 7 | 63
0.24832 | 0.92939 | 0.85 | 68849.9508 | 1.0825 | -13009.3065 | 0.00012456 | 0.16011 | 109.1094 | 77.0013 | 77268.5071 | 2616839.2336 | 33.1163 | 33.4651 | 0.0081989 | [34569.61816923077, 18080.344230769235, 16199.988430769234] | [1.1458746312924288, 1.0783830518783337, 1.0230948474762533] | [-3389.9052799165834, -4164.705187919818, -5454.696021106019] | [0.0001256140928559628, 0.00012519613573962147, 0.0001228600459414908] | [0.1600540939308796, 0.1596529740869363, 0.16063641673014142] | [113.50022854487113, 110.55100910881966, 103.27696749049228] | [77.05239574046361, 77.48409689000782, 76.46734232310732] | [89368.3954829798, 78618.91478106551, 63818.2110520563] | [0.15062761591418442, 0.13721624012235184, 0.11184760918485766] | [0.05741265277085852, 0.0715824698783089, 0.08441862406900492] | [239.0, 100.0, 64.0] | [0.6188668722775748, 0.4784102736617202, 0.2453431411506678] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008474763199791457, 0.008329410375839634, 0.007792422887294312] | 0.017907 | 0.049703 | 0.17832 | 4 | 239 | 5 | 100 | 7 | 64
0.24769 | 0.92102 | 0.85 | 70874.9494 | 1.0814 | -14196.1195 | 0.00012553 | 0.15958 | 110.7899 | 77.593 | 80338.6702 | 2594041.8886 | 33.1084 | 33.4148 | 0.008416 | [34569.61816923077, 18080.344230769235, 18224.986984615385] | [1.1439964224707273, 1.0781678826735435, 1.0220444774251622] | [-3418.1671976459193, -4306.785966096362, -6471.166338368086] | [0.00012599918995357266, 0.00012644873762894166, 0.0001241294889032512] | [0.1598193964218022, 0.15897651519037237, 0.15995290878727042] | [114.04301135329152, 112.67976748795465, 105.6469788095061] | [77.2847304269636, 78.2411237562209, 77.25313984069973] | [90329.71849718486, 82890.76820426504, 67795.523913726] | [0.1506276159141844, 0.13919759553728736, 0.11608603984772425] | [0.058241671772923595, 0.07313420510406626, 0.08575857763714131] | [239.0, 100.0, 63.0] | [0.6133625824309084, 0.47468456355418437, 0.26136226565837195] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008545417994114799, 0.008613571932192724, 0.008088957922960107] | 0.018434 | 0.049252 | 0.17761 | 4 | 239 | 5 | 100 | 8 | 63
0.24762 | 0.91992 | 0.85 | 71164.2349 | 1.0813 | -14046.3763 | 0.00012529 | 0.15971 | 110.3883 | 77.442 | 79647.342 | 2591069.9069 | 33.1072 | 33.4112 | 0.0083598 | [34569.61816923077, 18080.344230769235, 18514.272492307693] | [1.1437519813923356, 1.0781364307771006, 1.0220932040111383] | [-3421.869428404673, -4325.6408505561185, -6298.866031586825] | [0.00012604935555937452, 0.00012661281489547663, 0.00012319468750484526] | [0.15978894347047023, 0.15888860523476986, 0.16046271770736842] | [114.11388869261131, 112.95988625897228, 104.09108714010354] | [77.31499627408567, 78.34027425210203, 76.67079519382197] | [90456.03967995393, 83463.46894564123, 65022.517263626716] | [0.1506276159141844, 0.1394569120795669, 0.11459383604827122] | [0.05835017241822883, 0.07334005507089357, 0.08441859629262559] | [239.0, 100.0, 64.0] | [0.6126421910972506, 0.47418498407060816, 0.2634363809760862] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008554673571011683, 0.008651281701112236, 0.007873582539483531] | 0.018509 | 0.049194 | 0.17753 | 4 | 239 | 5 | 100 | 8 | 64
0.24737 | 0.91652 | 0.85 | 71995.9307 | 1.0781 | -13755.9195 | 0.00012433 | 0.16025 | 108.8037 | 76.8728 | 76925.7822 | 2581904.1028 | 33.1039 | 33.3918 | 0.0081662 | [34569.61816923077, 21479.44894615385, 15946.863611538463] | [1.1429987174692482, 1.0726571478018483, 1.0185933323794643] | [-3433.3133265693887, -4908.757944099978, -5413.848226716593] | [0.0001262040142279689, 0.00012417024750116553, 0.00012262803285355007] | [0.1596952318520217, 0.16031733078972915, 0.16074623300200477] | [114.33264829524668, 109.63965699577344, 102.4388307200896] | [77.40830505070736, 76.87132835544003, 76.33865513048065] | [90847.08176652368, 77268.7829719441, 62661.48190514838] | [0.15062761591418442, 0.1416748733042962, 0.10783406709837928] | [0.05868540777039886, 0.06862167906260498, 0.08575856392668467] | [239.0, 99.0, 63.0] | [0.6104163935091087, 0.5157357779711748, 0.20481153851258685] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008583283316423471, 0.008181263240166629, 0.007734068895309418] | 0.018725 | 0.049012 | 0.17724 | 4 | 239 | 6 | 99 | 7 | 63
0.24732 | 0.91559 | 0.85 | 72249.0555 | 1.078 | -13632.4556 | 0.00012409 | 0.16039 | 108.394 | 76.7165 | 76252.829 | 2579384.3403 | 33.1029 | 33.389 | 0.00811 | [34569.61816923077, 21479.44894615385, 16199.988430769234] | [1.142791801022438, 1.0726497667681199, 1.0186443260464977] | [-3436.4662280079842, -4927.131757498667, -5268.857617085923] | [0.00012624651646719412, 0.00012430818471963355, 0.0001217006065018617] | [0.15966952448534605, 0.16024137006763603, 0.16126022125322573] | [114.39283179281995, 109.8724585689394, 100.91662691418068] | [77.43394761565649, 76.95473639438305, 75.76084027135343] | [90954.9697622147, 77725.14637598644, 60078.370808467946] | [0.15062761591418442, 0.1418977478158775, 0.10639250715897337] | [0.05877772817477772, 0.06877899452701308, 0.08441858324566999] | [239.0, 99.0, 64.0] | [0.6098034319114571, 0.5153874723630085, 0.20663120075980024] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008591165570019961, 0.008211886262497779, 0.007526939452979891] | 0.018791 | 0.048963 | 0.17717 | 4 | 239 | 6 | 99 | 7 | 64
0.24695 | 0.90839 | 0.85 | 74274.0541 | 1.0772 | -14773.3738 | 0.00012496 | 0.15991 | 109.8888 | 77.2497 | 78925.7503 | 2559769.3303 | 33.0948 | 33.3478 | 0.0083022 | [34569.61816923077, 21479.44894615385, 18224.986984615385] | [1.1411835018221252, 1.0725735508601884, 1.017800351521085] | [-3461.111230048805, -5072.485017215589, -6239.777540779643] | [0.0001265771520578312, 0.0001253873884889302, 0.00012290680876361944] | [0.15947021115807983, 0.15965104623823126, 0.1605988461840746] | [114.86197898574096, 111.70070806014378, 103.10374344578024] | [77.63342884824905, 77.60723604037425, 76.5083194385891] | [91800.55709814813, 81366.95750743814, 63609.73633742864] | [0.15062761591418442, 0.143638391885605, 0.11003892084372315] | [0.05949874810324225, 0.070024767809642, 0.08575853559680033] | [239.0, 99.0, 63.0] | [0.6050162238943843, 0.5125850500454355, 0.22075215702616963] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008652778075122013, 0.008454141695359315, 0.007799721925974553] | 0.019318 | 0.048575 | 0.17666 | 4 | 239 | 6 | 99 | 8 | 63
0.24691 | 0.90743 | 0.85 | 74563.3396 | 1.0771 | -14628.6917 | 0.00012471 | 0.16004 | 109.4792 | 77.0938 | 78251.5377 | 2557187.3669 | 33.0936 | 33.3449 | 0.008246 | [34569.61816923077, 21479.44894615385, 18514.272492307693] | [1.1409721234104782, 1.0725610469284308, 1.0178416129071688] | [-3464.3686825085306, -5091.927072599827, -6072.395915109989] | [0.0001266206447044878, 0.00012553015402260882, 0.00012197543615529013] | [0.15944408103941451, 0.1595734788124871, 0.1611134737380941] | [114.92381909702536, 111.94347429479626, 101.57026716493414] | [77.65966929041636, 77.69354412539371, 75.92809183238191] | [91912.62389505473, 81858.30298332048, 60983.68615950448] | [0.15062761591418442, 0.14386826128525157, 0.1085775700107306] | [0.05959396597171509, 0.07019156041097735, 0.08441855484984473] | [239.0, 99.0, 64.0] | [0.604384026132171, 0.5122042128510101, 0.22260470243037617] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008660921706271325, 0.00848654512099971, 0.007590494893887486] | 0.019393 | 0.048524 | 0.1766 | 4 | 239 | 6 | 99 | 8 | 64
0.24733 | 0.91571 | 0.85 | 72212.8949 | 1.078 | -13652.6295 | 0.00012409 | 0.16039 | 108.3814 | 76.7221 | 76124.4912 | 2579717.3497 | 33.1031 | 33.3877 | 0.0081104 | [34569.61816923077, 21696.413076923083, 15946.863611538463] | [1.1428191428571082, 1.0726884336805584, 1.0183582248096965] | [-3436.0493736378417, -4812.430474509056, -5404.149632640912] | [0.0001262408997805598, 0.0001234620869946127, 0.00012256750662240006] | [0.15967292059289764, 0.16070932674413008, 0.16077882388354675] | [114.38487690214397, 108.4440003363896, 102.3153534700986] | [77.43055893910778, 76.4340574766612, 76.30175161739935] | [90940.7017987662, 74965.80125168068, 62466.97062119809] | [0.1506276159141844, 0.14044960050972546, 0.10754670783738708] | [0.058765523225826566, 0.06775442593755386, 0.08575856119839279] | [239.0, 100.0, 63.0] | [0.6098844666960745, 0.5176855620687288, 0.20268584130676845] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008590123434094604, 0.008020717457515094, 0.007720213760915588] | 0.018781 | 0.048969 | 0.17718 | 4 | 239 | 6 | 100 | 7 | 63
0.24727 | 0.91478 | 0.85 | 72466.0197 | 1.0779 | -13528.8373 | 0.00012384 | 0.16052 | 107.9704 | 76.5654 | 75447.8221 | 2577217.6585 | 33.102 | 33.3849 | 0.0080539 | [34569.61816923077, 21696.413076923083, 16199.988430769234] | [1.1426139351266067, 1.072681864196889, 1.0184086140358237] | [-3439.1797000651095, -4830.300979621832, -5259.356581171874] | [0.00012628305795235026, 0.00012359815286702857, 0.00012164018428499409] | [0.1596474382183555, 0.160633782232936, 0.16129309394088462] | [114.44459739264741, 108.67241168787727, 100.79412560342709] | [77.45599395191786, 76.516335861969, 75.72400157478715] | [91047.87376524853, 75405.04237763882, 59890.55027098389] | [0.1506276159141844, 0.14066863050423195, 0.10610641764772587] | [0.05885716757499246, 0.06790810729454455, 0.08441858055738186] | [239.0, 100.0, 64.0] | [0.6092759939184197, 0.5173437812929939, 0.20449108005506617] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008597949250162775, 0.008050501632703053, 0.007513366544531246] | 0.018847 | 0.04892 | 0.17711 | 4 | 239 | 6 | 100 | 7 | 64
0.24692 | 0.90764 | 0.85 | 74491.0182 | 1.0771 | -14663.2532 | 0.00012471 | 0.16004 | 109.4492 | 77.0944 | 78065.6049 | 2557763.2949 | 33.0939 | 33.3442 | 0.0082434 | [34569.61816923077, 21696.413076923083, 18224.98698461539] | [1.141019266470003, 1.0726122659676744, 1.0175754178703906] | [-3463.641811304865, -4971.627044575701, -6227.984306852326] | [0.00012661094391604877, 0.00012466248405472265, 0.00012284321178399217] | [0.1594499074472863, 0.16004678359878408, 0.16063284144882248] | [114.91002344492657, 110.46571715025235, 102.97197729083867] | [77.65381650488067, 77.159858667943, 76.46955603439014] | [91887.61109484508, 78908.7992765671, 63400.40442564697] | [0.15062761591418442, 0.14237880239555967, 0.1097218677184033] | [0.059572720667598195, 0.06912477666259408, 0.08575853284062357] | [239.0, 100.0, 63.0] | [0.6045250840288134, 0.5145937991649915, 0.21849940027741682] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008659104528262162, 0.008286045074292835, 0.007784980383565408] | 0.019374 | 0.048535 | 0.17661 | 4 | 239 | 6 | 100 | 8 | 63
0.24688 | 0.90669 | 0.85 | 74780.3037 | 1.077 | -14518.2744 | 0.00012446 | 0.16018 | 109.0384 | 76.9381 | 77387.4967 | 2555200.8968 | 33.0927 | 33.3413 | 0.0081869 | [34569.61816923077, 21696.413076923083, 18514.272492307693] | [1.1408095485177907, 1.0726006631737834, 1.0176162628584642] | [-3466.8769690846107, -4990.5403387264405, -6060.857089175669] | [0.00012665410165551633, 0.00012480337054949491, 0.00012191202863929286] | [0.15942399417732242, 0.15996959981151787, 0.16114771913273745] | [114.97141008394317, 110.7039827097971, 101.43968299778535] | [77.67985491898494, 77.2450328560985, 75.88944534249568] | [91998.96497454635, 79381.72852127222, 60781.79652369248] | [0.15062761591418442, 0.14260477935476376, 0.10826213625275072] | [0.05966727169655389, 0.06928776720176044, 0.08441855213430872] | [239.0, 100.0, 64.0] | [0.6038973138753112, 0.5142197665651915, 0.22033863447962737] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008667192422711528, 0.008317567231210734, 0.007576071361469587] | 0.019449 | 0.048485 | 0.17655 | 4 | 239 | 6 | 100 | 8 | 64
0.24842 | 0.93064 | 0.85 | 68560.6653 | 1.0825 | -13159.4874 | 0.00012483 | 0.15997 | 109.5644 | 77.1747 | 78030.6373 | 2620192.8337 | 33.1174 | 33.4693 | 0.0082637 | [34714.26092307692, 17899.54078846154, 15946.863611538463] | [1.1464651199857654, 1.077985988962446, 1.0230809379025505] | [-3350.3929887100758, -4203.4825602744295, -5605.611874673223] | [0.000125156903061665, 0.00012553176178143106, 0.00012380203416263507] | [0.16031389438525032, 0.15946680679332806, 0.1601211064588302] | [112.75266641097417, 111.09665590745958, 104.84384035434422] | [76.7739201268232, 77.6962226219682, 77.05405510868499] | [87848.60296406518, 79666.52749272184, 66576.78141342322] | [0.15000000084995532, 0.13762962999929487, 0.11337324603794348] | [0.05677222237470914, 0.07214661111505492, 0.08575860576353685] | [240.0, 99.0, 63.0] | [0.6215418722803268, 0.4758785416057003, 0.2436801388505073] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008375982471775187, 0.00840696512054886, 0.00800801696381889] | 0.017832 | 0.049769 | 0.17843 | 4 | 240 | 5 | 99 | 7 | 63
0.24833 | 0.92955 | 0.85 | 68813.7901 | 1.0824 | -13032.4025 | 0.00012459 | 0.1601 | 109.1649 | 77.0241 | 77347.0165 | 2617271.0889 | 33.1164 | 33.4659 | 0.0082079 | [34714.26092307692, 17899.54078846154, 16199.98843076923] | [1.1462236050801626, 1.077962379668732, 1.0231431602898025] | [-3353.97210248136, -4221.6494220056675, -5456.780975706274] | [0.00012520638901030904, 0.00012569239218177816, 0.0001228728183951542] | [0.16028344838805647, 0.15937989048737022, 0.16062961759905459] | [112.82199441032874, 111.36952851810968, 103.30307406328447] | [76.80377540307347, 77.79331458863494, 76.4751217685554] | [87969.22068028843, 80210.9627831051, 63860.866076856386] | [0.15000000084787532, 0.13788522997008956, 0.11190738339711448] | [0.056877657362661954, 0.07234416704459924, 0.08441862449061004] | [240.0, 99.0, 64.0] | [0.6208389035722415, 0.47541704952724423, 0.24574641378887283] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0083849302562034, 0.008443298844011335, 0.007795401393866107] | 0.017897 | 0.049711 | 0.17833 | 4 | 240 | 5 | 99 | 7 | 64
0.2477 | 0.92117 | 0.85 | 70838.7887 | 1.0814 | -14222.0314 | 0.00012556 | 0.15957 | 110.8539 | 77.618 | 80450.0486 | 2594442.0445 | 33.1085 | 33.4155 | 0.0084266 | [34714.26092307692, 17899.54078846154, 18224.98698461539] | [1.14433958307965, 1.077751602952326, 1.0220906849356486] | [-3382.0745130953933, -4366.177659581418, -6473.779201820021] | [0.00012559276641163912, 0.00012695366081308986, 0.00012414303089276562] | [0.16004667426249042, 0.15870281223408572, 0.15994583428212925] | [113.36460715560145, 113.5219430772474, 105.67525601222408] | [77.03688152831002, 78.5555862119788, 77.26138547052004] | [88919.22494433215, 84587.29592110707, 67843.62505079662] | [0.15000000088030127, 0.13989043856516856, 0.116152555387302] | [0.05770480590813205, 0.07391526251919217, 0.08575857806993893] | [240.0, 99.0, 63.0] | [0.6153240488216286, 0.4717032271762516, 0.26178543708803953] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008455186282738482, 0.008732355319162837, 0.008092224002275026] | 0.018424 | 0.04926 | 0.17762 | 4 | 240 | 5 | 99 | 8 | 63
0.24763 | 0.92006 | 0.85 | 71128.0742 | 1.0813 | -14072.5383 | 0.00012532 | 0.1597 | 110.4533 | 77.4672 | 79762.3534 | 2591466.1712 | 33.1073 | 33.4119 | 0.0083706 | [34714.26092307692, 17899.54078846154, 18514.272492307693] | [1.144094397636461, 1.0777207162167153, 1.0221395097863393] | [-3385.755699912246, -4385.357338037415, -6301.4252977134165] | [0.00012564309528213149, 0.00012711886458030612, 0.00012320819999913035] | [0.16001595485297973, 0.15861482877629887, 0.160455586430058] | [113.43545835152808, 113.80516555251981, 104.11913225002795] | [77.06724574216483, 78.65541826905029, 76.67902253777766] | [89044.05470446196, 85174.03470826117, 65068.97082999352] | [0.15000000084787532, 0.14015287347795263, 0.1146600426587695] | [0.05781306030965548, 0.0741236639410227, 0.08441859671911064] | [240.0, 99.0, 64.0] | [0.6146022844021064, 0.4712051927767913, 0.2638618711607637] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008464389249780616, 0.008770714676074829, 0.00787678162214177] | 0.018499 | 0.049201 | 0.17754 | 4 | 240 | 5 | 99 | 8 | 64
0.24835 | 0.92983 | 0.85 | 68741.4688 | 1.0824 | -13070.2546 | 0.00012459 | 0.1601 | 109.1397 | 77.0245 | 77205.6311 | 2618026.6127 | 33.1167 | 33.465 | 0.0082066 | [34714.26092307692, 18080.344230769235, 15946.863611538465] | [1.1462860491962124, 1.078073381803364, 1.0228388248474116] | [-3353.0462105900547, -4122.266122938051, -5594.942240300701] | [0.0001251935933835596, 0.00012482950930783762, 0.00012373782478049164] | [0.16029131819767725, 0.15984865019875283, 0.1601549560105912] | [112.80406455063431, 109.90335000291661, 104.71180170547377] | [76.79605569312487, 77.26254745984656, 77.01494378384051] | [87938.00960944242, 77323.33362902628, 66355.55001862584] | [0.15000000097274885, 0.1364409214909324, 0.11307177111853838] | [0.056850383954555175, 0.07123521580467918, 0.08575860356284307] | [240.0, 100.0, 63.0] | [0.621020744062858, 0.477991770336463, 0.24166271337368275] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008382615526475137, 0.008244532245876103, 0.007992774629001] | 0.017879 | 0.049726 | 0.17835 | 4 | 240 | 5 | 100 | 7 | 63
0.24827 | 0.92876 | 0.85 | 68994.5936 | 1.0823 | -12942.8787 | 0.00012435 | 0.16023 | 108.7388 | 76.8734 | 76517.6342 | 2615126.1688 | 33.1157 | 33.4617 | 0.0081506 | [34714.26092307692, 18080.344230769235, 16199.988430769234] | [1.1460463591925567, 1.0780507687987195, 1.022900415737369] | [-3356.602144417395, -4139.956506575943, -5446.320056785689] | [0.0001252427126467115, 0.00012498813541205855, 0.00012280868499355186] | [0.16026111795666942, 0.15976212252053323, 0.16066377301754325] | [112.87290676637056, 110.17137191496997, 103.17201057988522] | [76.82568977580874, 77.35842984418706, 76.43605832557208] | [88057.90814069465, 77847.98366442745, 63647.010755464646] | [0.15000000084787532, 0.13669229181962142, 0.11160717272200828] | [0.056955121591508936, 0.0714285905420853, 0.08441862232141666] | [240.0, 100.0, 64.0] | [0.6203224249991848, 0.47753673965858917, 0.2437166478938948] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008391505361043486, 0.008279913013151887, 0.0077804572239795556] | 0.017944 | 0.049669 | 0.17826 | 4 | 240 | 5 | 100 | 7 | 64
0.24765 | 0.92044 | 0.85 | 71019.5921 | 1.0813 | -14125.8717 | 0.00012531 | 0.1597 | 110.4101 | 77.4627 | 79556.2642 | 2592467.7964 | 33.1078 | 33.4118 | 0.0083662 | [34714.26092307692, 18080.344230769235, 18224.98698461539] | [1.1441769120361194, 1.0778480962220436, 1.0218590371972052] | [-3384.5162176541176, -4280.65450049656, -6460.7009443269435] | [0.00012562615646389034, 0.00012623345125812365, 0.00012407519305075666] | [0.16002629072387425, 0.15908814538619992, 0.15998129046651605] | [113.41160807239635, 112.28506530054821, 105.53362740152116] | [77.0570262763873, 78.11107530730118, 77.22007823362667] | [89002.01360029451, 82063.72534579583, 67603.05375834454] | [0.15000000117763834, 0.13866387071137806, 0.11581924662291068] | [0.057776612796407535, 0.07296612537243373, 0.08575857583882183] | [240.0, 100.0, 63.0] | [0.6148452908280668, 0.4738747652981861, 0.2596600425807224] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008461290544135294, 0.00856130900099312, 0.008075876180408679] | 0.018471 | 0.049221 | 0.17756 | 4 | 240 | 5 | 100 | 8 | 63
0.24758 | 0.91934 | 0.85 | 71308.8776 | 1.0812 | -13976.1254 | 0.00012507 | 0.15983 | 110.008 | 77.3116 | 78863.9666 | 2589512.906 | 33.1066 | 33.4082 | 0.00831 | [34714.26092307692, 18080.344230769235, 18514.272492307697] | [1.1439335176563385, 1.0778182890671966, 1.0219074340146612] | [-3388.174155385674, -4299.332178561528, -6288.619103658984] | [0.00012567612475987468, 0.0001263966379627476, 0.00012314052957012163] | [0.15999580978801511, 0.15900052047138732, 0.16049131686632162] | [113.48197755878428, 112.56330399163139, 103.97870677218762] | [77.08717298145118, 78.20969048549101, 76.63781886606367] | [89126.11384579536, 82629.07617167199, 64836.70978890247] | [0.15000000118480997, 0.1389220046821785, 0.11432837558581883] | [0.05788416861757439, 0.07317016037492405, 0.08441859451999235] | [240.0, 100.0, 64.0] | [0.6141281842167203, 0.4733833624861999, 0.26172539468218625] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008470435388464185, 0.008598664357123056, 0.007860773879573731] | 0.018546 | 0.049163 | 0.17748 | 4 | 240 | 5 | 100 | 8 | 64
0.24734 | 0.91597 | 0.85 | 72140.5735 | 1.078 | -13686.6147 | 0.00012413 | 0.16036 | 108.4406 | 76.7477 | 76183.7659 | 2580411.7621 | 33.1034 | 33.389 | 0.0081188 | [34714.26092307692, 21479.44894615385, 15946.863611538465] | [1.1431844492528687, 1.072337451558947, 1.0184325618862027] | [-3399.4663021190854, -4879.935948719455, -5407.212432567468] | [0.00012582997418979954, 0.00012396918972823383, 0.00012258663188709212] | [0.15990213409372103, 0.16042321426413614, 0.16076852203012099] | [113.69888577988552, 109.26863924572301, 102.35436478199207] | [77.1799932078941, 76.74982617220556, 76.31341305143243] | [89509.77377012563, 76513.16853372738, 62528.35540984918] | [0.15000000084787532, 0.14112982545525266, 0.10763753532508463] | [0.05821605300029174, 0.06849661338869023, 0.08575856211134605] | [240.0, 99.0, 63.0] | [0.6119154139905518, 0.5147516808281801, 0.2033589510159788] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008498665755297714, 0.008133226581199093, 0.007724589189382096] | 0.018763 | 0.048983 | 0.1772 | 4 | 240 | 6 | 99 | 7 | 63
0.24729 | 0.91504 | 0.85 | 72393.6983 | 1.0779 | -13563.0774 | 0.00012388 | 0.1605 | 108.0305 | 76.5913 | 75509.785 | 2577906.0486 | 33.1023 | 33.3863 | 0.0080626 | [34714.26092307692, 21479.44894615385, 16199.98843076923] | [1.1429783752464115, 1.072331234780223, 1.0184831626719395] | [-3402.5820255950075, -4898.13760056397, -5262.357772639567] | [0.0001258723172960473, 0.00012410634903319934, 0.0001216592817650585] | [0.1598763980540469, 0.16034753062878956, 0.16128270021162347] | [113.75864905751189, 109.49986324117867, 100.83283890132708] | [77.20553967429183, 76.83276629443188, 75.735645621276] | [89615.78184510455, 76963.73439079386, 59949.838772921285] | [0.15000000088030155, 0.14135172795852893, 0.10619686829829521] | [0.05830758778289321, 0.06865252092011002, 0.0844185814566943] | [240.0, 99.0, 64.0] | [0.6113051252364624, 0.5144102078739803, 0.20516895171525545] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00850645506398752, 0.008163562667606617, 0.007517653960913668] | 0.018829 | 0.048933 | 0.17713 | 4 | 240 | 6 | 99 | 7 | 64
0.24692 | 0.90788 | 0.85 | 74418.6969 | 1.0771 | -14700.7558 | 0.00012475 | 0.16002 | 109.5179 | 77.1225 | 78157.2464 | 2558403.2919 | 33.0942 | 33.3454 | 0.0082535 | [34714.26092307692, 21479.44894615385, 18224.986984615385] | [1.1413768120841412, 1.0722642661878141, 1.017646706666596] | [-3426.9328737614624, -5042.106056249789, -6231.716877714267] | [0.00012620167000917704, 0.00012517934348402925, 0.00012286335314410165] | [0.1596768891790888, 0.15975940933074473, 0.16062207090442246] | [114.22445558556497, 111.31548020087811, 103.01370262104554] | [77.40424618461279, 77.48153088292227, 76.4818330649497] | [90446.50510085696, 80558.62265324323, 63466.61134762063] | [0.15000000084787535, 0.14308456773801742, 0.10982231463089706] | [0.05902238419193219, 0.06988692749238903, 0.08575853376059975] | [240.0, 99.0, 63.0] | [0.6065393776858145, 0.5116618031289434, 0.21921451341089915] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008567332184403656, 0.008403510093749648, 0.0077896460971428345] | 0.019355 | 0.048548 | 0.17663 | 4 | 240 | 6 | 99 | 8 | 63
0.24689 | 0.90693 | 0.85 | 74707.9824 | 1.077 | -14556.0338 | 0.0001245 | 0.16016 | 109.1079 | 76.9665 | 77482.0473 | 2555835.0101 | 33.093 | 33.3425 | 0.0081972 | [34714.26092307692, 21479.44894615385, 18514.272492307693] | [1.1411662228011963, 1.072252997369506, 1.0176877028951639] | [-3430.152827188176, -5061.370914408647, -6064.51007381878] | [0.000126245012879079, 0.00012532135298432375, 0.00012193211524848763] | [0.15965072191067375, 0.15968209332124322, 0.16113686647220946] | [114.28588206997458, 111.55667539211723, 101.4810448864762] | [77.43039616240779, 77.56738442501317, 75.90168854210489] | [90556.64801054652, 81043.82817129805, 60845.66573729874] | [0.15000000084787532, 0.14331350985920574, 0.10836209675753979] | [0.059116822816922376, 0.07005226457053076, 0.08441855304047548] | [240.0, 99.0, 64.0] | [0.6059097297395547, 0.5112879717556117, 0.2210581763900983] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008575382067970441, 0.008435618190681077, 0.007580637592273475] | 0.01943 | 0.048497 | 0.17657 | 4 | 240 | 6 | 99 | 8 | 64
0.24729 | 0.91516 | 0.85 | 72357.5376 | 1.0779 | -13583.9806 | 0.00012389 | 0.1605 | 108.0201 | 76.5975 | 75390.2278 | 2578238.7812 | 33.1025 | 33.3849 | 0.0080633 | [34714.26092277458, 21696.4130769285, 15946.863611545703] | [1.1430057357405314, 1.0723679119683809, 1.0181993854331193] | [-3402.168121605724, -4784.19578546719, -5397.616690890054] | [0.00012586669495660553, 0.00012326250384129864, 0.00012252666966207896] | [0.15987981417526828, 0.16081523497531733, 0.16080083357575842] | [113.75071201861833, 108.07737382677882, 102.2320718343897] | [77.2021475871978, 76.31344495488322, 76.27685228731067] | [89601.69563300931, 74232.85263428772, 62336.13523762916] | [0.1500000014999633, 0.13990902943882344, 0.10735272691119073] | [0.05829542893505365, 0.06763221795406395, 0.0857585593796751] | [240.0, 100.0, 63.0] | [0.6113861899313316, 0.5166954794103202, 0.20124445941405303] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00850542030401431, 0.007973659642445317, 0.0077108809869857915] | 0.018819 | 0.04894 | 0.17714 | 4 | 240 | 6 | 100 | 7 | 63
0.24724 | 0.91424 | 0.85 | 72610.6624 | 1.0778 | -13460.1186 | 0.00012364 | 0.16064 | 107.6086 | 76.4406 | 74712.5879 | 2575752.9616 | 33.1015 | 33.3822 | 0.0080068 | [34714.26092307692, 21696.413076923083, 16199.988430769234] | [1.1428013568635105, 1.0723624912078622, 1.018249388078376] | [-3405.26161729463, -4801.89916292057, -5252.957807582919] | [0.0001259086964672156, 0.00012339780365805316, 0.00012159942430371089] | [0.15985430262561368, 0.16073996585037217, 0.16131529056768976] | [113.81001717225138, 108.30424095748867, 100.71151527997868] | [77.22748800470676, 76.39526256568584, 75.69914991396931] | [89707.00266577487, 74666.5225488423, 59764.23849264268] | [0.15000000084787532, 0.1401271109305159, 0.10591332189183883] | [0.058386296221048316, 0.06778452601077684, 0.08441857876605313] | [240.0, 100.0, 64.0] | [0.6107803535539101, 0.516360457124672, 0.2030400699160195] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008513154043236576, 0.008003165271534284, 0.007504225439404169] | 0.018885 | 0.048891 | 0.17707 | 4 | 240 | 6 | 100 | 7 | 64
0.24689 | 0.90714 | 0.85 | 74635.661 | 1.077 | -14591.3662 | 0.0001245 | 0.16016 | 109.0802 | 76.9677 | 77305.6784 | 2556409.4216 | 33.0933 | 33.3418 | 0.008195 | [34714.26092307692, 21696.413076923083, 18224.986984615385] | [1.1412133158600428, 1.0723020150320952, 1.0174236296773713] | [-3429.4323980094205, -4941.881333474108, -6220.052446004251] | [0.00012623531958004696, 0.00012445602102774292, 0.0001228003637036876] | [0.15965657224620186, 0.16015515641595057, 0.16065576857343308] | [114.27214195901311, 110.08518327625697, 102.8832287743774] | [77.42454791778543, 77.0351076956629, 76.44343852472753] | [90531.99875696619, 78125.2079523316, 63259.828564701216] | [0.15000000084787532, 0.14182966767884952, 0.10950811111706654] | [0.059095694866187314, 0.06899011000375191, 0.08575853100227955] | [240.0, 100.0, 63.0] | [0.6060505955063343, 0.5136638977262327, 0.21697323067010182] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00857358099502355, 0.008236468889123515, 0.007775065557505312] | 0.019412 | 0.048509 | 0.17658 | 4 | 240 | 6 | 100 | 8 | 63
0.24686 | 0.90619 | 0.85 | 74924.9465 | 1.0769 | -14446.3507 | 0.00012425 | 0.16029 | 108.6689 | 76.8112 | 76626.6419 | 2553860.5251 | 33.0921 | 33.3389 | 0.0081386 | [34714.26092307692, 21696.413076923083, 18514.272492307693] | [1.141004373422255, 1.0722916318140836, 1.0174642136900784] | [-3432.63040976993, -4960.622657730414, -6053.097619511273] | [0.00012627833007480976, 0.0001245961631725668, 0.00012186931476645083] | [0.15963062128728753, 0.16007822247836018, 0.16117081154641438] | [114.33311991990767, 110.32191139877837, 101.35174397909626] | [77.45049739518026, 77.11983435973143, 75.86341059502563] | [90641.44405923503, 78592.23908907508, 60646.24250242151] | [0.15000000087847046, 0.1420547407673262, 0.10804950116736234] | [0.059189475319719256, 0.0691516807471119, 0.08441855032286058] | [240.0, 100.0, 64.0] | [0.605425335904848, 0.513296798968622, 0.21880360044181987] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.008581576024424824, 0.008267704429550691, 0.007566372024389091] | 0.019487 | 0.048458 | 0.17652 | 4 | 240 | 6 | 100 | 8 | 64
0.24665 | 0.8994 | 0.85 | 77058.4271 | 1.0698 | -11929.7222 | 0.00011838 | 0.16372 | 98.7865 | 73.274 | 59858.1082 | 2535745.7106 | 33.0831 | 33.307 | 0.0069585 | [43212.02271153846, 17899.54078846154, 15946.863611538463] | [1.1377549013959452, 1.0578243657662347, 1.0137817994583194] | [-3673.6389209230133, -3033.9297087294067, -5222.153523135627] | [0.00011906274476049293, 0.00011466800558617485, 0.000121409597642733] | [0.16425457271581706, 0.16549634137082397, 0.16140948395225824] | [104.52901932960746, 91.86817319641699, 99.96239947222904] | [73.09983683088755, 71.12688873163827, 75.59535691571041] | [74475.89110287713, 46217.62901410155, 58880.80436259194] | [0.1506276159141844, 0.10988573503052962, 0.10200942103075442] | [0.04551752204193488, 0.06491508611048008, 0.08575849928551228] | [239.0, 99.0, 63.0] | [0.6978468627486978, 0.4093519748069555, 0.1593847116841237] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007347277841846027, 0.006067859417458813, 0.007460219318765181] | 0.020042 | 0.0481 | 0.17611 | 5 | 239 | 5 | 99 | 7 | 63
0.24663 | 0.89862 | 0.85 | 77311.5519 | 1.0698 | -11802.3191 | 0.00011812 | 0.16386 | 98.3642 | 73.1133 | 59153.4273 | 2533640.7458 | 33.0821 | 33.3049 | 0.0069004 | [43212.02271153846, 17899.54078846154, 16199.988430769234] | [1.1375950206441292, 1.057863482748583, 1.0138213740446336] | [-3677.027738450778, -3044.1159121428955, -5081.17545010878] | [0.0001191061815292623, 0.00011477983647944766, 0.0001204847910172248] | [0.16422479324144817, 0.1654282628331924, 0.161928969127497] | [104.58607044718092, 92.0455903037103, 98.46081512396718] | [73.12604225383907, 71.19462553459361, 75.01916693269698] | [74560.53010321231, 46469.446627275014, 56430.30520311949] | [0.1506276159141844, 0.11007236845503422, 0.10059529365983182] | [0.045594830447901205, 0.06503130095181045, 0.08441851955941512] | [239.0, 99.0, 64.0] | [0.6973335429742915, 0.4092974623060971, 0.16088768708380782] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0073540554769015555, 0.006088231824285791, 0.007258822071583971] | 0.020108 | 0.048059 | 0.17607 | 5 | 239 | 5 | 99 | 7 | 64
0.24653 | 0.89264 | 0.85 | 79336.5505 | 1.0692 | -12835.7006 | 0.00011891 | 0.16339 | 99.6448 | 73.5942 | 61086.0238 | 2517338.4866 | 33.0738 | 33.2732 | 0.0070551 | [43212.02271153846, 17899.54078846154, 18224.986984615385] | [1.1363559119283748, 1.0581530931427974, 1.0132043879941708] | [-3703.3998844718835, -3124.3578621763218, -6007.942870980114] | [0.00011944262121406683, 0.00011565196995133146, 0.00012163191828480069] | [0.16399496483707646, 0.16490049663046907, 0.16128823414773125] | [105.02888702560222, 93.43382717408991, 100.47168170783962] | [73.32901533524091, 71.72280951693352, 75.73081653944666] | [75220.7076699709, 48469.79928570772, 59567.56457015362] | [0.15062761591418442, 0.11152602881080545, 0.10362913766552738] | [0.04619697427727926, 0.06594581487806286, 0.0857584703743344] | [239.0, 99.0, 63.0] | [0.6933353792600883, 0.40879541508763245, 0.17252990693684533] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007406799768943767, 0.006248715724352643, 0.007509928588725142] | 0.020634 | 0.047737 | 0.17576 | 5 | 239 | 5 | 99 | 8 | 63
0.24652 | 0.89183 | 0.85 | 79625.836 | 1.0692 | -12687.8929 | 0.00011865 | 0.16353 | 99.2241 | 73.4344 | 60380.4773 | 2515158.8212 | 33.0726 | 33.271 | 0.0069972 | [43212.02271153846, 17899.54078846154, 18514.272492307693] | [1.1361901270338504, 1.0581900097990817, 1.013237849733849] | [-3706.942981744065, -3135.2698458821988, -5845.6800544974] | [0.00011948760847960641, 0.00011576938319099435, 0.00012070483073128594] | [0.16396434399877555, 0.16482986889572357, 0.16180771768141558] | [105.08822319990948, 93.62134820572244, 98.96278265981076] | [73.35615587809001, 71.79390786039156, 75.15322970141409] | [75309.60664574133, 48744.09493318955, 57087.73035792702] | [0.1506276159141844, 0.11172149015124219, 0.10220210466757813] | [0.04627793943503338, 0.06607004746186868, 0.0844184905977702] | [239.0, 99.0, 64.0] | [0.6927977813562157, 0.40871757508715045, 0.17408657351458195] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00741388596348813, 0.006270539691764397, 0.007307100068121751] | 0.020709 | 0.047694 | 0.17572 | 5 | 239 | 5 | 99 | 8 | 64
0.24664 | 0.89885 | 0.85 | 77239.2306 | 1.0697 | -11868.6167 | 0.00011817 | 0.16385 | 98.4512 | 73.1436 | 59390.7519 | 2534246.0063 | 33.0823 | 33.3043 | 0.0069188 | [43212.02271153847, 18080.344230769235, 15946.863611538465] | [1.137640995477363, 1.0578584882121307, 1.0136342312644995] | [-3676.0529362476195, -2976.0668367019452, -5216.496898504684] | [0.00011909369162062125, 0.000114041919988205, 0.00012137290970452573] | [0.16423335358614563, 0.16588073770041128, 0.16142969469544044] | [104.56966303785842, 90.8958661683339, 99.88812992865982] | [73.11850708972189, 70.73920695948662, 75.57296168580929] | [74536.17896331374, 44864.76114486433, 58771.3155368865] | [0.15062761591418442, 0.10891849215449163, 0.10183264594417507] | [0.04557259085961994, 0.0641545669448303, 0.08575849696636113] | [239.0, 100.0, 63.0] | [0.6974812115009024, 0.411088795051515, 0.1579247436338903] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007352105872495239, 0.00595213367340389, 0.007452138426435263] | 0.020089 | 0.048071 | 0.17608 | 5 | 239 | 5 | 100 | 7 | 63
0.24662 | 0.89807 | 0.85 | 77492.3554 | 1.0697 | -11741.0591 | 0.00011791 | 0.16399 | 98.028 | 72.9825 | 58684.2693 | 2532153.6633 | 33.0813 | 33.3023 | 0.0068606 | [43212.02271153846, 18080.344230769235, 16199.988430769234] | [1.137482054193067, 1.0578978769173504, 1.0136734700624292] | [-3679.424073292242, -2985.9950182804023, -5075.639981416104] | [0.0001191368687668544, 0.0001141524164141181, 0.00012044819422854051] | [0.16420376940743403, 0.1658129493672879, 0.16194934231689334] | [104.62639243630831, 91.07027498979103, 98.38718847062007] | [73.14455585749317, 70.80613667368334, 74.99682809723325] | [74620.40746735985, 45107.67532796014, 56324.72511581946] | [0.15062761591418442, 0.10910232189447366, 0.10041938659498012] | [0.045649507068817444, 0.06426840742078727, 0.08441851727493029] | [239.0, 100.0, 64.0] | [0.6969704960534896, 0.41103745902874217, 0.15941707694540727] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007358848146584484, 0.005971990036560805, 0.007250914259165864] | 0.020155 | 0.048029 | 0.17604 | 5 | 239 | 5 | 100 | 7 | 64
0.24652 | 0.89213 | 0.85 | 79517.3539 | 1.0692 | -12770.971 | 0.00011869 | 0.16352 | 99.2981 | 73.4606 | 60588.3742 | 2515952.1149 | 33.073 | 33.2708 | 0.0070137 | [43212.02271153847, 18080.344230769235, 18224.98698461539] | [1.1362504676878793, 1.0581897337595898, 1.0130635338589875] | [-3705.6529980158025, -3064.18339256892, -6001.1345652615555] | [0.00011947123517322982, 0.00011501397417671788, 0.00012159366045669828] | [0.16397548556710342, 0.1652875126968746, 0.16130918596819493] | [105.06662413922541, 92.43466483190255, 100.39300040559262] | [73.34627796593489, 71.32792555551205, 75.70746961389186] | [75277.2343736991, 47036.671142188265, 59451.217046987105] | [0.1506276159141844, 0.11053381839879774, 0.1034349597642023] | [0.04624845958108692, 0.06516402465144744, 0.08575846803843155] | [239.0, 100.0, 63.0] | [0.6929935236433579, 0.4105609084294242, 0.17097575239717053] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007411305996031605, 0.00612836678513784, 0.007501418206576944] | 0.020681 | 0.047709 | 0.17574 | 5 | 239 | 5 | 100 | 8 | 63
0.24652 | 0.89132 | 0.85 | 79806.6394 | 1.0691 | -12623.0251 | 0.00011844 | 0.16366 | 98.8765 | 73.3005 | 59880.8948 | 2513784.643 | 33.0718 | 33.2686 | 0.0069556 | [43212.02271153846, 18080.344230769235, 18514.272492307693] | [1.136085594535545, 1.058226999042598, 1.0130967614159738] | [-3709.178810987748, -3074.8214663972904, -5839.02482286769] | [0.0001195159712976188, 0.0001151300304055232, 0.00012066671130301393] | [0.16394505207173626, 0.16521715315129776, 0.161828813385122] | [105.12564761365297, 92.61906521010624, 98.88485558707598] | [73.37326697687945, 71.39820354179759, 75.1299680147453] | [75365.73022883902, 47301.30008837764, 56975.65405183866] | [0.1506276159141844, 0.11072640401573072, 0.10200899279458012] | [0.04632903933712583, 0.06528575538853126, 0.0844184882970675] | [239.0, 100.0, 64.0] | [0.6924584849257164, 0.4104865417967846, 0.17252229467544294] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007418357621975497, 0.0061496429327945815, 0.007298781028584612] | 0.020756 | 0.047666 | 0.1757 | 5 | 239 | 5 | 100 | 8 | 64
0.24652 | 0.88906 | 0.85 | 80638.3353 | 1.0666 | -12380.0705 | 0.00011798 | 0.16396 | 98.1891 | 73.0316 | 59021.358 | 2507684.4433 | 33.0683 | 33.2569 | 0.0068849 | [43212.02271153846, 21479.44894615385, 15946.863611538463] | [1.135621441980388, 1.0531858652664414, 1.010991635681217] | [-3719.1233603940414, -3543.5972523122, -5117.349883408845] | [0.00011964188208122816, 0.00011358565416836582, 0.00012072255142698831] | [0.1638595343672367, 0.16622429815571, 0.16179040020403623] | [105.29192688013745, 90.70081732931114, 98.57452461410382] | [73.44922796503717, 70.46961674387752, 75.17583294367957] | [75615.59154226114, 44576.6789207539, 56871.80345237963] | [0.15062761591418442, 0.11239371785147353, 0.09868570604091975] | [0.04655639358701206, 0.06279999475331256, 0.08575845349556352] | [239.0, 99.0, 63.0] | [0.6909488847839543, 0.4413617094095746, 0.13105872828978044] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007438246720788083, 0.005905995420520334, 0.007310499833441207] | 0.020973 | 0.047546 | 0.17561 | 5 | 239 | 6 | 99 | 7 | 63
0.24652 | 0.88837 | 0.85 | 80891.4601 | 1.0666 | -12254.8361 | 0.00011772 | 0.1641 | 97.7607 | 72.8672 | 58325.2954 | 2505826.635 | 33.0673 | 33.2552 | 0.0068267 | [43212.02271153847, 21479.44894615385, 16199.988430769234] | [1.1354800484348335, 1.0532245328075036, 1.0110252813646965] | [-3722.158235907939, -3554.0281809366616, -4978.649659951119] | [0.00011968022912420472, 0.00011368248541480629, 0.0001197996175384655] | [0.1638335297140352, 0.16616461641915387, 0.1623128715161603] | [105.34261433101999, 90.85416174744886, 97.08529479397774] | [73.47236238909638, 70.5282902603421, 74.60079996038101] | [75691.9203931486, 44790.17083629577, 54493.79501094924] | [0.1506276159141844, 0.11256127526435984, 0.097288572956277] | [0.04662580021410722, 0.06289362292122957, 0.0844184744506354] | [239.0, 99.0, 64.0] | [0.6904880349898261, 0.4413613418614852, 0.13235296005436847] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007444316471815878, 0.005923380301561103, 0.007112356657073028] | 0.021039 | 0.047509 | 0.17558 | 5 | 239 | 6 | 99 | 7 | 64
0.24657 | 0.88312 | 0.85 | 82916.4586 | 1.0661 | -13263.6109 | 0.00011844 | 0.16367 | 98.9292 | 73.3098 | 60066.7096 | 2491492.3323 | 33.0589 | 33.2287 | 0.0069679 | [43212.02271153847, 21479.44894615385, 18224.986984615385] | [1.134388566561151, 1.0535140289576232, 1.010544518542749] | [-3745.673096957075, -3635.751149191321, -5882.186603863101] | [0.00011997611625502109, 0.00011443458210685515, 0.0001209171602831002] | [0.1636335082806582, 0.1657034321235676, 0.16168234111432617] | [105.73444225703345, 92.04849866083713, 99.00480680673346] | [73.65086774938793, 70.9839553588205, 75.29448865146789] | [76284.54395408576, 46474.973331241184, 57440.61137206094] | [0.1506276159141844, 0.113860366054536, 0.09998488481584088] | [0.047163917319661366, 0.06362674488280783, 0.08575842422714242] | [239.0, 99.0, 63.0] | [0.6869150230738679, 0.4412951689723054, 0.14235523835674094] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00749134619391415, 0.006059585248652202, 0.007352733254828875] | 0.021565 | 0.047226 | 0.17539 | 5 | 239 | 6 | 99 | 8 | 63
0.24659 | 0.88239 | 0.85 | 83205.7442 | 1.0661 | -13118.6392 | 0.00011818 | 0.16382 | 98.5032 | 73.1466 | 59371.03 | 2489551.6592 | 33.0576 | 33.2269 | 0.0069098 | [43212.02271153847, 21479.44894615385, 18514.272492307697] | [1.134240726801654, 1.0535520054365495, 1.0105738401848186] | [-3748.8701352695416, -3646.9857461137076, -5722.783345872959] | [0.0001200161766854212, 0.00011453708080296635, 0.0001199927882564163] | [0.16360651282057853, 0.1656409029614448, 0.16220447599988191] | [105.78759055534178, 92.21172049861744, 97.51024325590141] | [73.67503566929655, 71.04604746620633, 74.71857349324577] | [76365.2820512293, 46708.263837420425, 55039.544078450686] | [0.15062761591418442, 0.11403709500030615, 0.0985784339705702] | [0.04723712303359963, 0.06372747246582315, 0.08441844514310491] | [239.0, 99.0, 64.0] | [0.6864289496655132, 0.4412775710227004, 0.14371151505036903] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0074977402705390835, 0.00607830957685618, 0.007153479182341199] | 0.021641 | 0.047188 | 0.17537 | 5 | 239 | 6 | 99 | 8 | 64
0.24652 | 0.88849 | 0.85 | 80855.2994 | 1.0665 | -12309.5595 | 0.00011777 | 0.16409 | 97.8591 | 72.9022 | 58573.3385 | 2506144.6515 | 33.0674 | 33.2543 | 0.0068464 | [43212.02271153847, 21696.413076923083, 15946.863611538465] | [1.1355042531218305, 1.0531820378089158, 1.0108575489780156] | [-3721.638523070682, -3475.4973609202375, -5112.423651303234] | [0.00011967366490941659, 0.00011296004732952341, 0.00012068988275812983] | [0.1638379798331735, 0.16661389617431865, 0.16180863972805087] | [105.3339361745429, 89.7346023221585, 98.50869847978882] | [73.46840225919706, 70.08221341159198, 75.1558739085415] | [75678.8467868451, 43262.717986460324, 56778.45062036357] | [0.1506276159141844, 0.11140725400511443, 0.09852696928869012] | [0.046613913809671316, 0.06207199065187476, 0.08575845065440349] | [239.0, 100.0, 63.0] | [0.6905669589530128, 0.4429492659335791, 0.1296580797877212] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007443277046141365, 0.005792495601533729, 0.00730346235900462] | 0.021029 | 0.047516 | 0.17558 | 5 | 239 | 6 | 100 | 7 | 63
0.24652 | 0.8878 | 0.85 | 81108.4242 | 1.0665 | -12184.1456 | 0.00011751 | 0.16423 | 97.4299 | 72.7375 | 57875.7167 | 2504298.4374 | 33.0663 | 33.2527 | 0.0067881 | [43212.02271153846, 21696.413076923083, 16199.988430769234] | [1.1353637284451363, 1.0532208404325167, 1.0108909049124388] | [-3724.656864058916, -3485.6575390754574, -4973.831167211554] | [0.00011971177300250149, 0.00011305566277939024, 0.00011976703932717545] | [0.16381215266650218, 0.16655450529430535, 0.16233125420018074] | [105.38432537504798, 89.88525846157283, 97.02005817178012] | [73.49139250983451, 70.14015135445698, 74.5808968185307] | [75754.7891033108, 43468.530654158414, 54403.83042570456] | [0.15062761591418442, 0.11157225244988811, 0.09713065155181308] | [0.046682950815852775, 0.062163616993160364, 0.08441847165278987] | [239.0, 100.0, 64.0] | [0.6901085635465604, 0.44295167971695554, 0.13094158013574222] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0074493137281178325, 0.005809429231792429, 0.007105473096016506] | 0.021095 | 0.047479 | 0.17556 | 5 | 239 | 6 | 100 | 7 | 64
0.24659 | 0.88258 | 0.85 | 83133.4228 | 1.0661 | -13189.5586 | 0.00011823 | 0.1638 | 98.5891 | 73.1775 | 59592.8116 | 2490056.5389 | 33.0579 | 33.2264 | 0.0069278 | [43212.02271153847, 21696.413076923083, 18224.98698461539] | [1.1342791898128866, 1.0535114806465313, 1.0104166506885863] | [-3748.0380946074556, -3565.2360912699123, -5876.284451686147] | [0.00012000575466410084, 0.00011379814990629457, 0.00012088319724215727] | [0.163613533932558, 0.16609565262229325, 0.16170120787472844] | [105.77376136697633, 91.05836256672804, 98.93528343243109] | [73.66874820555697, 70.59000343881954, 75.27374425802005] | [76344.26583902043, 45092.17172756965, 57341.99733394959] | [0.15062761591418442, 0.11285118731904145, 0.09981089179144645] | [0.047218070007967135, 0.06288086182861126, 0.08575842137382644] | [239.0, 100.0, 63.0] | [0.6865554584739955, 0.4429078300210689, 0.14085943072303658] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007496076189214912, 0.005942060152116521, 0.007345355564607684] | 0.021622 | 0.047198 | 0.17537 | 5 | 239 | 6 | 100 | 8 | 63
0.2466 | 0.88186 | 0.85 | 83422.7083 | 1.066 | -13044.4172 | 0.00011797 | 0.16395 | 98.1623 | 73.014 | 58895.4457 | 2488127.0704 | 33.0567 | 33.2246 | 0.0068697 | [43212.02271153847, 21696.413076923083, 18514.272492307697] | [1.134132192559286, 1.053549660145792, 1.0104457616327516] | [-3751.219025442974, -3576.1823974853837, -5717.015754747714] | [0.00012004558394515508, 0.00011389940589145516, 0.00011995895316547021] | [0.16358670914948611, 0.1660333959074948, 0.16222347125507702] | [105.82662020794207, 91.21878430788435, 97.4413980229721] | [73.69277666238817, 70.65134400647607, 74.69790790171857] | [76424.62637460619, 45317.11526670725, 54944.59539959744] | [0.1506276159141844, 0.11302528517664459, 0.0984054180187009] | [0.0472909142998513, 0.06297946753196858, 0.08441844233362955] | [239.0, 100.0, 64.0] | [0.6860717849984433, 0.44289336114461814, 0.1422052500019557] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0075024380508859475, 0.005960303995808974, 0.007146269693434642] | 0.021697 | 0.04716 | 0.17535 | 5 | 239 | 6 | 100 | 8 | 64
0.24664 | 0.89886 | 0.85 | 77239.2306 | 1.0696 | -11868.9207 | 0.00011818 | 0.16384 | 98.4549 | 73.1528 | 59297.1507 | 2534283.0841 | 33.0823 | 33.3044 | 0.006919 | [43392.82615384615, 17899.54078846154, 15946.863611538465] | [1.137863395372619, 1.05742011993102, 1.0136382239757673] | [-3636.181111154595, -3016.0898565710004, -5216.649736280016] | [0.0001186877249300447, 0.00011448118036228776, 0.00012137390426727513] | [0.16448455345930288, 0.16560683687540095, 0.16142914606941383] | [103.9256429773973, 91.54895013498394, 99.89014354212739] | [72.87093571234627, 71.01379081257582, 75.5735681078755] | [73356.87724448029, 45760.29259414718, 58774.28227510266] | [0.15000000084787532, 0.10939993068279506, 0.1018374276117142] | [0.04512747140665297, 0.06480563575290903, 0.08575849693019753] | [240.0, 99.0, 63.0] | [0.6991830276625381, 0.4077293235279911, 0.15796430251498214] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007272362222309189, 0.006032179713142001, 0.007452356766114309] | 0.020089 | 0.048071 | 0.17608 | 5 | 240 | 5 | 99 | 7 | 63
0.24662 | 0.89808 | 0.85 | 77492.3554 | 1.0696 | -11741.4724 | 0.00011792 | 0.16398 | 98.0321 | 72.9918 | 58591.9353 | 2532190.4333 | 33.0813 | 33.3023 | 0.0068608 | [43392.82615384615, 17899.54078846154, 16199.98843076923] | [1.1377045315419207, 1.057459900220723, 1.0136774639045292] | [-3639.525786978862, -3026.1573848532253, -5075.78924898266] | [0.0001187309530498639, 0.00011459215116562565, 0.00012044918434276234] | [0.1644547638420601, 0.1655391346422861, 0.16194879038500212] | [103.98222884501747, 91.72478114382682, 98.38918065637613] | [72.89701534839779, 71.08100986107965, 74.99743178963473] | [73439.9452951228, 46008.28035163489, 56327.58019123826] | [0.15000000084787532, 0.10958526331440087, 0.10042413531299693] | [0.04520392111719037, 0.06492065313163436, 0.08441851723944689] | [240.0, 99.0, 64.0] | [0.6986732849440717, 0.4076812327121297, 0.15945684548012434] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007279051573957724, 0.006052314769706451, 0.007251127498546658] | 0.020155 | 0.04803 | 0.17604 | 5 | 240 | 5 | 99 | 7 | 64
0.24652 | 0.89214 | 0.85 | 79517.3539 | 1.0691 | -12772.313 | 0.00011871 | 0.16352 | 99.3056 | 73.4707 | 60506.5918 | 2515986.5004 | 33.073 | 33.2709 | 0.0070145 | [43392.82615384615, 17899.54078846154, 18224.98698461539] | [1.1364734685980167, 1.0577548387022908, 1.013067279666483] | [-3665.549638933606, -3105.4479395365556, -6001.315375132411] | [0.00011906572185495252, 0.0001154574460459821, 0.00012159467977231847] | [0.1642248925180759, 0.1650143467519724, 0.1613086269977554] | [104.42135904468333, 93.10036978409354, 100.39509684464477] | [73.09898104634269, 71.60507716466975, 75.70809097767459] | [74087.7404354789, 47977.719747873554, 59454.31506849711] | [0.15000000117657117, 0.11102858001892077, 0.10344012210476741] | [0.045799289257804604, 0.06582553224848836, 0.08575846800332397] | [240.0, 99.0, 63.0] | [0.6947035653784291, 0.40722972055628837, 0.17101714689294203] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.0073310992778672125, 0.006210895879073112, 0.0075016442189155125] | 0.020681 | 0.04771 | 0.17574 | 5 | 240 | 5 | 99 | 8 | 63
0.24652 | 0.89133 | 0.85 | 79806.6394 | 1.0691 | -12624.4855 | 0.00011845 | 0.16366 | 98.8845 | 73.3108 | 59800.5216 | 2513818.7537 | 33.0718 | 33.2687 | 0.0069565 | [43392.82615371583, 17899.54078846309, 18514.272492311487] | [1.1363086587142772, 1.0577925219398425, 1.0131005058705522] | [-3669.0479221932965, -3116.236397043343, -5839.201210978676] | [0.0001191105119257798, 0.00011557400841938166, 0.00012066772484358121] | [0.1641942477267243, 0.16494407305245695, 0.16182825171529908] | [104.48023528164315, 93.2862897122675, 98.88692771039248] | [73.12600269945091, 71.67566362151736, 75.1305858598121] | [74175.0200238954, 48247.91240900275, 56978.632258107726] | [0.15000000109588124, 0.11122276754363764, 0.10201411640479131] | [0.04587939161235693, 0.0659485196960345, 0.08441848826285014] | [240.0, 99.0, 64.0] | [0.6941694694733007, 0.40715869268006316, 0.17256387514846458] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007338095844386593, 0.006232472794086686, 0.007299001513723345] | 0.020756 | 0.047667 | 0.1757 | 5 | 240 | 5 | 99 | 8 | 64
0.24663 | 0.89831 | 0.85 | 77420.034 | 1.0696 | -11808.219 | 0.00011797 | 0.16397 | 98.121 | 73.0226 | 58834.4893 | 2532793.4251 | 33.0816 | 33.3018 | 0.0068796 | [43392.82615384586, 18080.344230769235, 15946.863611538463] | [1.1377503107114935, 1.0574534327095917, 1.0134923036358139] | [-3638.561648596226, -2958.5887178346884, -5211.068672358136] | [0.0001187184968391397, 0.00011385648446084301, 0.00012133766483219264] | [0.16446334522808959, 0.16599121832555375, 0.16144912345563864] | [103.96592082030138, 90.58039497697055, 99.81679858102555] | [72.88950048814198, 70.62694942475257, 75.55144578537508] | [73415.99564339558, 44421.1005671125, 58666.37172386695] | [0.15000000084789203, 0.10843651680289937, 0.10166273236609485] | [0.04518188200120916, 0.06404752139063974, 0.08575849460944618] | [240.0, 100.0, 63.0] | [0.6988202348383984, 0.40945812526770126, 0.1565166574370626] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007277123297192452, 0.005917177435669377, 0.0074443838176544794] | 0.020136 | 0.048042 | 0.17605 | 5 | 240 | 5 | 100 | 7 | 63
0.24661 | 0.89754 | 0.85 | 77673.1588 | 1.0695 | -11680.6183 | 0.00011771 | 0.16411 | 97.6973 | 72.8614 | 58127.5053 | 2530713.262 | 33.0805 | 33.2997 | 0.0068213 | [43392.82615384615, 18080.344230769235, 16199.988430769234] | [1.137592374557439, 1.0574934750106757, 1.0135312130632328] | [-3641.8889681927035, -2968.4014858704477, -5070.327893955751] | [0.00011876146795890329, 0.0001139661331819756, 0.00012041303574612965] | [0.16443374996621568, 0.1659238038114621, 0.16196892799568324] | [104.02218931017828, 90.75324879126188, 98.31647221482622] | [72.91542504966276, 70.69336883328712, 74.97536566171469] | [73498.66291993778, 44660.32696275195, 56223.5261566404] | [0.15000000084787532, 0.10861907151515106, 0.10025030073512113] | [0.04525794646464629, 0.06416019247047752, 0.08441851495337592] | [240.0, 100.0, 64.0] | [0.6983130610077306, 0.4094131581457353, 0.15799862734384515] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007283777936385406, 0.005936802971740895, 0.007243325562793931] | 0.020202 | 0.048001 | 0.17601 | 5 | 240 | 5 | 100 | 7 | 64
0.24652 | 0.89163 | 0.85 | 79698.1574 | 1.069 | -12708.0371 | 0.00011849 | 0.16365 | 98.9605 | 73.3374 | 60014.1473 | 2514608.9606 | 33.0722 | 33.2685 | 0.0069734 | [43392.82615384615, 18080.344230769235, 18224.98698461539] | [1.1363687398298417, 1.057790580673194, 1.0129280103857141] | [-3667.772235235939, -3045.664875986512, -5994.600034546733] | [0.0001190941845144907, 0.00011482095177368615, 0.00012155689800356888] | [0.16420541571523717, 0.16540132571984817, 0.16132933321954093] | [104.45876964433546, 92.10524082478345, 100.31741184967841] | [73.11615245018655, 71.21110082796004, 75.68503363423387] | [74143.18709705389, 46559.56743702514, 59339.68745376441] | [0.15000000084787532, 0.1100404310187502, 0.10324825738870477] | [0.04585017959114592, 0.06504640215488401, 0.08575846566604839] | [240.0, 100.0, 63.0] | [0.6943642460222936, 0.408986714954839, 0.16947591618860197] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00733554447047188, 0.006091329751973024, 0.007493250043183417] | 0.020728 | 0.047683 | 0.17571 | 5 | 240 | 5 | 100 | 8 | 63
0.24652 | 0.89083 | 0.85 | 79987.4429 | 1.069 | -12560.0734 | 0.00011823 | 0.16379 | 98.5385 | 73.1772 | 59306.1785 | 2512453.2761 | 33.071 | 33.2664 | 0.0069152 | [43392.82615384615, 18080.344230769235, 18514.272492307693] | [1.1362048302265184, 1.0578286022140444, 1.0129610058916128] | [-3671.2535557865776, -3056.1828148840646, -5832.6370206756] | [0.00011913872599832921, 0.0001149361692218248, 0.00012063008040470293] | [0.164174957365894, 0.165331317995721, 0.16184909989086665] | [104.51733745204672, 92.28807132047768, 98.80998867450668] | [73.14302411471971, 71.28087419010349, 75.10761307319778] | [74230.07326230523, 46820.24595077151, 56868.21641095778] | [0.15000000084787532, 0.11023176826774196, 0.1018233073016879] | [0.0459299034448925, 0.06516691667308024, 0.0844184859605842] | [240.0, 100.0, 64.0] | [0.6938326748221425, 0.40891910852667285, 0.17101257520532792] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 5.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007342507111573155, 0.006112365629768129, 0.007290796275844501] | 0.020804 | 0.04764 | 0.17568 | 5 | 240 | 5 | 100 | 8 | 64
0.24652 | 0.88858 | 0.85 | 80819.1387 | 1.0665 | -12317.6389 | 0.00011779 | 0.16407 | 97.8653 | 72.9134 | 58470.4895 | 2506398.3354 | 33.0675 | 33.2548 | 0.0068463 | [43392.82615384615, 21479.44894615385, 15946.863611538463] | [1.1357442993692284, 1.0528061683062977, 1.010879935743471] | [-3681.0530348834277, -3523.3404545508897, -5113.245435048308] | [0.00011926384032140655, 0.00011340865741534518, 0.00012069533544594355] | [0.16408953908679907, 0.16632938734350938, 0.16180559445621326] | [104.68200509118121, 90.39416526081445, 98.51968444050198] | [73.21850481773669, 70.36245179763701, 75.15920517158486] | [74474.89861845381, 44142.55096959519, 56794.01883605551] | [0.15000000084922213, 0.11188944937669812, 0.09855346529315442] | [0.04615439786788799, 0.06271584155018917, 0.085758451111757] | [240.0, 99.0, 63.0] | [0.6923358247487744, 0.43959579339314364, 0.12989218709449338] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007362106069766856, 0.005872234090918149, 0.007304636335783297] | 0.02102 | 0.047521 | 0.17559 | 5 | 240 | 6 | 99 | 7 | 63
0.24652 | 0.8879 | 0.85 | 81072.2635 | 1.0665 | -12192.3408 | 0.00011753 | 0.16422 | 97.4365 | 72.7488 | 57773.8697 | 2504550.2696 | 33.0665 | 33.2531 | 0.006788 | [43392.82615384615, 21479.44894615385, 16199.98843076923] | [1.13560369872668, 1.052845286334008, 1.0109133399999841] | [-3684.050185016822, -3533.655676072213, -4974.6349720204025] | [0.00011930202860879729, 0.00011350478457696523, 0.00011977247689360241] | [0.1640635073931216, 0.16627001812942716, 0.16232818503357488] | [104.73231147037919, 90.546218518919, 97.03094568902861] | [73.24154352857195, 70.42070135731372, 74.5842187390223] | [74549.85221951702, 44352.92338077482, 54418.83342310572] | [0.15000000084787532, 0.11205595769670076, 0.0971570113376727] | [0.04622308254988907, 0.06280857298597022, 0.08441847210314286] | [240.0, 99.0, 64.0] | [0.6918778597963462, 0.43960082384618365, 0.13117748291449915] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007368100370033643, 0.0058894261267870215, 0.007106621388600575] | 0.021086 | 0.047484 | 0.17556 | 5 | 240 | 6 | 99 | 7 | 64
0.24658 | 0.88267 | 0.85 | 83097.2621 | 1.066 | -13198.9942 | 0.00011825 | 0.16379 | 98.5994 | 73.1898 | 59500.9566 | 2490293.618 | 33.0581 | 33.2268 | 0.0069284 | [43392.82615384615, 21479.44894615385, 18224.98698461539] | [1.1345184795625423, 1.053138378233767, 1.010437999597417] | [-3707.268751596897, -3614.4564734601813, -5877.268999929342] | [0.00011959664440371765, 0.00011425130050518598, 0.00012088886592720354] | [0.16386330824606238, 0.16581130523600898, 0.16169805785163832] | [105.1211303437361, 91.73030268314285, 98.94688627085716] | [73.41928234883376, 70.87300599715869, 75.27720657767831] | [75131.69093183134, 46012.73695649269, 57358.44182293573] | [0.15000000084787532, 0.11334673502487073, 0.09983993422070918] | [0.04675552819775919, 0.06353450359499675, 0.08575842183289092] | [240.0, 99.0, 63.0] | [0.6883277087057447, 0.43957689605507483, 0.14110946955961184] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007414537503193794, 0.006024094122433635, 0.007346586249911677] | 0.021612 | 0.047202 | 0.17538 | 5 | 240 | 6 | 99 | 8 | 63
0.2466 | 0.88195 | 0.85 | 83386.5476 | 1.066 | -13053.9755 | 0.00011798 | 0.16394 | 98.173 | 73.0265 | 58804.7059 | 2488362.3734 | 33.0569 | 33.225 | 0.0068703 | [43392.82615384615, 21479.44894615385, 18514.272492307697] | [1.1343713991371944, 1.0531768864943918, 1.0104671459476626] | [-3710.4272871577036, -3625.570336284854, -5717.977862780762] | [0.00011963655577714671, 0.00011435309831503906, 0.00011996460054991427] | [0.1638362730122733, 0.16574907298589786, 0.1622202997412234] | [105.17390071767663, 91.89221572455426, 97.45288778448005] | [73.44336039916188, 70.93467633232854, 74.70135710305635] | [75211.0034503794, 46242.685555225835, 54960.42871366721] | [0.15000000019988866, 0.11352243780320166, 0.09843429760078885] | [0.04682800559382069, 0.06363429339848976, 0.08441844278560552] | [240.0, 99.0, 64.0] | [0.6878444570544269, 0.43956509138236627, 0.14245704214953694] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007420854574315407, 0.006042617227141424, 0.007147472328475952] | 0.021688 | 0.047164 | 0.17535 | 5 | 240 | 6 | 99 | 8 | 64
0.24653 | 0.88801 | 0.85 | 81036.1028 | 1.0664 | -12247.587 | 0.00011758 | 0.1642 | 97.5367 | 72.7843 | 58026.9416 | 2504867.9997 | 33.0666 | 33.2522 | 0.0068081 | [43392.82615384554, 21696.413076923094, 15946.863611538478] | [1.1356278728758338, 1.0528019422300645, 1.0107474821827238] | [-3683.53469144772, -3455.6652789408404, -5108.387064980756] | [0.00011929546301510201, 0.00011278450839921393, 0.00012066308838156077] | [0.16406798160219188, 0.16671888039524538, 0.16182360824391856] | [104.72366094015692, 89.43173775225557, 98.45472115909033] | [73.23758255609741, 69.97593039553087, 75.13950297916952] | [74536.9581267231, 42841.83618689091, 56702.03052622507] | [0.15000000084915796, 0.11090704412762618, 0.09839673577950514] | [0.046211268386513814, 0.061989943541088256, 0.08575844826921868] | [240.0, 100.0, 63.0] | [0.6919566324041497, 0.44117632062421347, 0.12850555998766397] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00736706938289544, 0.005759442131568066, 0.007297695807115367] | 0.021076 | 0.04749 | 0.17557 | 5 | 240 | 6 | 100 | 7 | 63
0.24653 | 0.88733 | 0.85 | 81289.2277 | 1.0664 | -12122.1106 | 0.00011732 | 0.16435 | 97.1071 | 72.6195 | 57328.7817 | 2503031.5583 | 33.0656 | 33.2505 | 0.0067497 | [43392.82615384948, 21696.413076923083, 16199.988430769234] | [1.1354880555009275, 1.0528412318832674, 1.0107806218066102] | [-3686.515307273495, -3465.712416087107, -4969.882856347875] | [0.00011933349353524378, 0.00011287927609682265, 0.00011974005866136525] | [0.16404212917392277, 0.16665980301887645, 0.16234634049119226] | [104.77366799315243, 89.58111985033273, 96.96656361634712] | [73.26047622382143, 70.03344754599588, 74.56457153897735] | [74611.52671847219, 43044.63440358942, 54330.18405210103] | [0.15000000084315696, 0.11107100118997039, 0.09700108584998739] | [0.04627958382913932, 0.06208069494399192, 0.08441846930742147] | [240.0, 100.0, 64.0] | [0.6915011295878687, 0.4411840200492167, 0.12978018858208706] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 7.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.00737303061454699, 0.005776187360145179, 0.007099832651925536] | 0.021142 | 0.047454 | 0.17554 | 5 | 240 | 6 | 100 | 7 | 64
0.2466 | 0.88214 | 0.85 | 83314.2262 | 1.066 | -13125.4487 | 0.00011803 | 0.16392 | 98.2609 | 73.0579 | 59031.9543 | 2488866.177 | 33.0572 | 33.2245 | 0.0068886 | [43392.82615384615, 21696.413076923083, 18224.986984615385] | [1.1344097695970545, 1.05313535745036, 1.0103116979179003] | [-3709.6030144010692, -3544.3964096877003, -5871.44925103337] | [0.0001196261440662746, 0.00011361642824885365, 0.00012085534543521986] | [0.16384332375157803, 0.1662033969823337, 0.16171668940333164] | [105.16013222651932, 90.74420098412975, 98.87828346139727] | [73.43707914148513, 70.4799974480683, 75.25673170478711] | [75190.30176865167, 44644.26825369682, 57261.292816458736] | [0.15000000084787532, 0.11234181691187979, 0.09966816154172416] | [0.04680909037994992, 0.0627909417712862, 0.08575841897844345] | [240.0, 100.0, 63.0] | [0.6879705764706893, 0.4411820247831025, 0.1396284866676806] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007419206028802138, 0.005907327349479501, 0.007339311563791712] | 0.021669 | 0.047174 | 0.17536 | 5 | 240 | 6 | 100 | 8 | 63
0.24662 | 0.88143 | 0.85 | 83603.5117 | 1.0659 | -12980.2621 | 0.00011777 | 0.16407 | 97.8336 | 72.8943 | 58334.0453 | 2486946.0204 | 33.056 | 33.2227 | 0.0068304 | [43392.82615384615, 21696.413076923083, 18514.272492307697] | [1.1342635214957497, 1.0531740598551296, 1.0103406365995968] | [-3712.745738866224, -3555.2254435279756, -5712.2908680991795] | [0.00011966582655467231, 0.00011371699431544039, 0.0001199312065264152] | [0.16381645846123272, 0.1661414348544832, 0.16223905815508283] | [105.21261700365953, 90.90334122680554, 97.38495463690501] | [73.46101909356156, 70.5409228377594, 74.68096011985836] | [75269.24577860581, 44865.99762691405, 54866.89237384583] | [0.15000000034577782, 0.11251491050228893, 0.09826349089501119] | [0.04688121270928706, 0.06288863417280716, 0.0844184399750405] | [240.0, 100.0, 64.0] | [0.6874896924212807, 0.4411732932050545, 0.14096568055187678] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 8.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.007425491477732448, 0.005925375739213292, 0.007140363585123975] | 0.021744 | 0.047136 | 0.17534 | 5 | 240 | 6 | 100 | 8 | 64