## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.2525 | 0.93855 | 0.85 | 72574.5017 | 1.1346 | -34760.3383 | 7.2438e-05 | 0.14444 | 153.7981 | 44.7772 | 195221.8771 | 2639335.1441 | 33.0926 | 33.6911 | 0.014592 | [35799.081576923076, 21479.448946153847, 15295.971219230769] | [1.2525905730845, 1.1166495230855817, 1.0346946828306567] | [-9276.657381197147, -14033.002584971466, -11450.678347749546] | [7.539701075918756e-05, 7.491336064533808e-05, 6.700494048106821e-05] | [0.14349113242644407, 0.1426495072554405, 0.1471757954900886] | [163.149998591749, 160.95514025398046, 137.28915811694065] | [46.24096637878482, 46.37946198145429, 41.71115125483165] | [233315.1622459457, 214198.44783499365, 138152.02114163822] | [0.21818181941509138, 0.20697907910037774, 0.14382926141884522] | [0.08279163164015109, 0.10242386798008674, 0.11495292143676031] | [165.0, 66.0, 47.0] | [0.6205615960939853, 0.5052455869129167, 0.2008609534318085] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015461095635328579, 0.01559222509441274, 0.01272297594194394] | 0.018876 | 0.050147 | 0.18108 | 6 | 165 | 9 | 66 | 9 | 47
0.25243 | 0.93734 | 0.85 | 72899.9479 | 1.1345 | -34441.0656 | 7.212e-05 | 0.14469 | 153.0591 | 44.5777 | 193376.557 | 2636077.7611 | 33.0912 | 33.6903 | 0.014476 | [35799.081576923076, 21479.448946153847, 15621.417415384614] | [1.2520380434682035, 1.116535398273888, 1.0350309287888517] | [-9287.091936292794, -14092.120185446392, -11061.853485413523] | [7.544935049485866e-05, 7.508495580644547e-05, 6.582471736535253e-05] | [0.14344868781607903, 0.1425356057640441, 0.14807741736135155] | [163.25863890131558, 161.36053996137463, 134.55820771104064] | [46.2727912426348, 46.48429788081773, 40.97611518672934] | [233660.94813553168, 215658.85130316514, 130809.87154256189] | [0.21818181941509138, 0.2073734176324634, 0.14120923746444053] | [0.08294936705298536, 0.10269762724686583, 0.11255806347263682] | [165.0, 66.0, 48.0] | [0.6198385718259932, 0.5048659637471037, 0.20299221304698337] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015478486560487992, 0.015657911317162657, 0.012290948317126137] | 0.01896 | 0.050083 | 0.18099 | 6 | 165 | 9 | 66 | 9 | 48
0.252 | 0.93168 | 0.85 | 74274.0541 | 1.1329 | -36520.7213 | 7.2947e-05 | 0.14409 | 155.0293 | 45.0878 | 199289.1087 | 2620548.9952 | 33.086 | 33.628 | 0.014781 | [35799.081576923076, 21479.448946153847, 16995.52357692308] | [1.249411186492349, 1.1159752952378568, 1.0334162735791081] | [-9337.020101637232, -14377.749188378079, -12805.952025895827] | [7.569921542348676e-05, 7.59095125139797e-05, 6.723184976810845e-05] | [0.14324692137221604, 0.14199290572864287, 0.14701782355768903] | [163.7774744557511, 163.3092289500602, 138.001215593106] | [46.424718455180106, 46.98801649552979, 41.850594898688755] | [235319.0551963782, 222763.44274618803, 139784.82817596995] | [0.21818181941509138, 0.20926090251168866, 0.14607212121081942] | [0.08370436100467547, 0.10402105601376535, 0.11495289424034122] | [165.0, 66.0, 47.0] | [0.616377850015521, 0.5030061682348401, 0.21313704786245113] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015561700169395388, 0.015975276875975643, 0.012805952025895828] | 0.019318 | 0.049776 | 0.18052 | 6 | 165 | 9 | 66 | 10 | 47
0.25195 | 0.93044 | 0.85 | 74635.661 | 1.1328 | -36158.7329 | 7.2629e-05 | 0.14433 | 154.2925 | 44.8891 | 197451.6431 | 2617207.067 | 33.0845 | 33.6266 | 0.014665 | [35799.08157692308, 21479.448946153847, 17357.13046153846] | [1.248847427056568, 1.1158513007485342, 1.0337292039179438] | [-9347.80488263633, -14440.046942166748, -12370.881117749585] | [7.575306334597945e-05, 7.608837393276556e-05, 6.604680581960294e-05] | [0.1432036243865828, 0.14187618371143995, 0.14791929404829396] | [163.88933038718892, 163.73207736418178, 135.25622259515754] | [46.45745964649056, 47.09727289004894, 41.11258942738672] | [235677.99093174934, 224323.65655811495, 132353.28192718542] | [0.21818181941509132, 0.20966873645136086, 0.14342606870522387] | [0.08386749458054434, 0.10430986814925375, 0.11255803616891195] | [165.0, 66.0, 48.0] | [0.6156300833062058, 0.5025950986740407, 0.21531672338156513] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015579674804393883, 0.016044496602407497, 0.012370881117749585] | 0.019412 | 0.04971 | 0.18043 | 6 | 165 | 9 | 66 | 10 | 48
0.25241 | 0.93727 | 0.85 | 72899.9479 | 1.1345 | -34365.5615 | 7.2074e-05 | 0.14468 | 152.9151 | 44.5514 | 192163.554 | 2635904.7965 | 33.0912 | 33.6813 | 0.014448 | [35799.081576923076, 21804.895142307698, 15295.971219230772] | [1.2520087191281564, 1.1173555413883456, 1.034179316877281] | [-9287.646377435463, -13650.695895654773, -11427.219201181431] | [7.545213040687591e-05, 7.383601584230883e-05, 6.693267510467604e-05] | [0.14344643521386338, 0.14337558377062534, 0.1472274515173774] | [163.26440949666963, 158.39146698492087, 137.08952099580117] | [46.27448154814156, 45.71313072304911, 41.66669431032878] | [233679.3286947765, 205159.34802787114, 137651.98520594867] | [0.21818181941509138, 0.20429893376891345, 0.14337475998642912] | [0.08295774886374062, 0.10057632416958462, 0.11495291587518193] | [165.0, 67.0, 47.0] | [0.6198001514654436, 0.5077976784787727, 0.19832647987313617] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015479410629059104, 0.015167439884060859, 0.012696910223534924] | 0.01896 | 0.050079 | 0.18098 | 6 | 165 | 9 | 67 | 9 | 47
0.25235 | 0.93607 | 0.85 | 73225.3941 | 1.1344 | -34044.6619 | 7.1754e-05 | 0.14493 | 152.1732 | 44.3512 | 190299.9489 | 2632677.652 | 33.0899 | 33.6806 | 0.014331 | [35799.081576923076, 21804.895142307694, 15621.417415384614] | [1.2514618603159042, 1.1172441423179538, 1.0345107147951609] | [-9297.997968166008, -13707.657752300669, -11039.006185536946] | [7.550401067554629e-05, 7.400353604990767e-05, 6.575318225319303e-05] | [0.14340442826128127, 0.14326220433412135, 0.1481297456508324] | [163.3721109668216, 158.7865718203172, 134.36083725476084] | [46.30602690955958, 45.81547906936584, 40.93210897491466] | [234022.63282774194, 206544.94350236157, 130332.27027567891] | [0.21818181941509138, 0.20468434561245882, 0.14075811094359686] | [0.08311424943051358, 0.1008416317207858, 0.11255805802520447] | [165.0, 67.0, 48.0] | [0.6190827877303501, 0.5074279844631088, 0.20043663043548002] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015496663280276681, 0.015230730835889633, 0.012265562428374384] | 0.019045 | 0.050016 | 0.18089 | 6 | 165 | 9 | 67 | 9 | 48
0.25193 | 0.93047 | 0.85 | 74599.5003 | 1.1328 | -36108.4168 | 7.2572e-05 | 0.14433 | 154.1197 | 44.8557 | 196065.183 | 2617310.2328 | 33.0847 | 33.6191 | 0.014631 | [35799.081576923076, 21804.895142307698, 16995.52357692308] | [1.2488648220672345, 1.1166978255881124, 1.0329194593825166] | [-9347.471743982738, -13982.534686343019, -12778.410417480334] | [7.575140065904991e-05, 7.480757965148456e-05, 6.715595642606674e-05] | [0.14320496030848842, 0.14272256233925623, 0.14707158056330577] | [163.88587633423387, 160.68355453465983, 137.78980642634625] | [46.456448683635024, 46.30667647237209, 41.80391470217877] | [235666.89938959043, 213276.82418241265, 139251.8254368529] | [0.21818181941509138, 0.2065269418631266, 0.14557912389884914] | [0.08386245518078474, 0.10212266900367027, 0.11495288864767336] | [165.0, 67.0, 47.0] | [0.6156531827490653, 0.5056183910407999, 0.21047114129856515] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015579119573304564, 0.015536149651492243, 0.012778410417480334] | 0.019402 | 0.049712 | 0.18043 | 6 | 165 | 9 | 67 | 10 | 47
0.25188 | 0.92923 | 0.85 | 74961.1072 | 1.1327 | -35744.823 | 7.2253e-05 | 0.14458 | 153.38 | 44.6562 | 194208.3339 | 2613998.3201 | 33.0832 | 33.6178 | 0.014515 | [35799.08157692308, 21804.895142307698, 17357.13046153846] | [1.2483066583998808, 1.1165766669742094, 1.0332279961555062] | [-9358.173142368101, -14042.566484138339, -12344.083338672308] | [7.580479009449446e-05, 7.498223295088883e-05, 6.597175331520108e-05] | [0.14316209451721928, 0.14260632549789082, 0.1479736949807568] | [163.9967943326995, 161.0957484624969, 135.0473878030314] | [46.48891098053958, 46.413364655445235, 41.06642796301101] | [236023.3240139407, 214757.0223187497, 131844.6553721072] | [0.21818181941509132, 0.20692562198730485, 0.14293697241357903] | [0.08402434347363288, 0.10240260710226558, 0.11255803069129047] | [165.0, 67.0, 48.0] | [0.6149111243888669, 0.5052177464202043, 0.21263048770362708] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015596955237280169, 0.015602851649042597, 0.01234408333867231] | 0.019496 | 0.049647 | 0.18034 | 6 | 165 | 9 | 67 | 10 | 48
0.25192 | 0.92941 | 0.85 | 74961.1072 | 1.1299 | -35903.6717 | 7.2064e-05 | 0.14472 | 152.9831 | 44.5468 | 192985.1257 | 2614466.396 | 33.0831 | 33.6107 | 0.014464 | [35799.08157692308, 23866.054384615385, 15295.971219230772] | [1.2483855109880582, 1.1111419845134012, 1.030292828522484] | [-9356.659862669214, -15293.390467297762, -11253.621325143205] | [7.579724294791159e-05, 7.400064096725487e-05, 6.639435836751238e-05] | [0.1431681501434327, 0.1433825837522273, 0.147615866883759] | [163.9811140294412, 159.36614913083537, 135.60208210348225] | [46.48432210800486, 45.82063196474041, 41.33549261753396] | [235972.905694042, 209000.00570183786, 133982.46557195106] | [0.21818181941509132, 0.21000362487143517, 0.13997719243553486] | [0.08400144994857406, 0.09968072794651726, 0.11495288211271366] | [165.0, 66.0, 47.0] | [0.6150160629780611, 0.5254399564023591, 0.17885867619550008] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015594433104448689, 0.015293390467297762, 0.012504023694603562] | 0.019496 | 0.049656 | 0.18037 | 6 | 165 | 10 | 66 | 9 | 47
0.25187 | 0.9283 | 0.85 | 75286.5534 | 1.1298 | -35588.7884 | 7.1741e-05 | 0.14498 | 152.2352 | 44.3445 | 191143.2663 | 2611494.8218 | 33.0818 | 33.6102 | 0.014347 | [35799.081576923076, 23866.054384615385, 15621.417415384618] | [1.2478851023013613, 1.1110553780347767, 1.0305900602255629] | [-9366.271598099063, -15352.44337010276, -10870.073457557122] | [7.584516464591199e-05, 7.41560535572023e-05, 6.522071129644652e-05] | [0.14312972082126882, 0.14327765500897008, 0.14852294699470212] | [164.08068342357052, 159.73356314294713, 132.89138932651466] | [46.513459775669105, 45.9155992015085, 40.60451426291608] | [236293.23460363215, 210306.01829207252, 126830.5460738719] | [0.21818181941509138, 0.21036716412760195, 0.13738813417506077] | [0.08414686565104076, 0.09991864303640785, 0.11255802492187862] | [165.0, 66.0, 48.0] | [0.6143495113409526, 0.525128813504761, 0.18081483440943974] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015610452663498439, 0.01535244337010276, 0.01207785939728569] | 0.019581 | 0.049597 | 0.1803 | 6 | 165 | 10 | 66 | 9 | 48
0.25157 | 0.92321 | 0.85 | 76660.6595 | 1.1284 | -37621.9283 | 7.252e-05 | 0.1444 | 154.0845 | 44.8253 | 196585.9598 | 2597474.9364 | 33.0765 | 33.5557 | 0.014632 | [35799.08157692308, 23866.054384615385, 16995.52357692308] | [1.2455301546009667, 1.1106339805110623, 1.0291849410674387] | [-9411.770230132182, -15634.525185450071, -12575.632860175161] | [7.607153730225915e-05, 7.489479702977748e-05, 6.659329603761558e-05] | [0.14294888364002706, 0.14278266864759023, 0.1474740679645101] | [164.55119137533805, 161.48047102513175, 136.2218673543515] | [46.651099045240834, 46.36698377252115, 41.45779509683888] | [237812.5374725374, 216583.09961435787, 135362.24239313675] | [0.21818181941509132, 0.2120884415508263, 0.14190849547076828] | [0.0848353766203305, 0.10105604980494103, 0.11495285446390442] | [165.0, 66.0, 47.0] | [0.6111935406379387, 0.5236185587423162, 0.19003935768940794] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015686283716886972, 0.015634525185450072, 0.012575632860175162] | 0.019938 | 0.04932 | 0.17992 | 6 | 165 | 10 | 66 | 10 | 47
0.25153 | 0.92206 | 0.85 | 77022.2664 | 1.1283 | -37265.516 | 7.2198e-05 | 0.14465 | 153.3394 | 44.6239 | 194753.5028 | 2594415.6508 | 33.0749 | 33.5548 | 0.014516 | [35799.081576923076, 23866.054384615385, 17357.13046153846] | [1.245017598298325, 1.1105392249752377, 1.0294626800115911] | [-9421.731522594051, -15696.84516977521, -12146.939263709417] | [7.612099480590586e-05, 7.505720747027375e-05, 6.541574107476745e-05] | [0.14290952670236012, 0.14267467801497177, 0.14838073106268004] | [164.65402265467725, 161.86461965708412, 133.4996735010811] | [46.681169943381214, 46.466211398120926, 40.72440881452041] | [238145.82434556968, 217978.45437378756, 128136.22959120378] | [0.21818181941509138, 0.2124653748718009, 0.13929787499035026] | [0.08498614994872036, 0.10130754544752747, 0.1125579971779195] | [165.0, 66.0, 48.0] | [0.6105024321470032, 0.5232797072667227, 0.1920510455535426] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015702885870990085, 0.01569684516977521, 0.012146939263709416] | 0.020032 | 0.04926 | 0.17985 | 6 | 165 | 10 | 66 | 10 | 48
0.25186 | 0.92813 | 0.85 | 75322.7141 | 1.1298 | -35473.4719 | 7.1702e-05 | 0.14497 | 152.1075 | 44.323 | 189998.0521 | 2611042.8827 | 33.0816 | 33.6013 | 0.014322 | [35799.081576923076, 24227.661269230775, 15295.971219230769] | [1.2478090351375555, 1.1117514062069254, 1.0297984211865718] | [-9367.73439943484, -14873.785594590758, -11231.95195146636] | [7.58524547483936e-05, 7.292790276962445e-05, 6.632679392832601e-05] | [0.143123879271135, 0.14411860394864756, 0.14766506940994228] | [164.09583149598913, 156.81138906896274, 135.41532347450573] | [46.51789234331291, 45.15711315901355, 41.293910238529506] | [236342.00438512684, 200123.391880854, 133528.7600195887] | [0.21818181941509138, 0.20728185937125024, 0.13954876889592233] | [0.08416899744165919, 0.0978924199717664, 0.11495287582933686] | [165.0, 67.0, 47.0] | [0.6142480643974337, 0.5278352652070806, 0.176336519099131] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015612890665724731, 0.014873785594590757, 0.012479946612740402] | 0.01959 | 0.049588 | 0.18028 | 6 | 165 | 10 | 67 | 9 | 47
0.25181 | 0.92703 | 0.85 | 75648.1603 | 1.1297 | -35156.8959 | 7.1378e-05 | 0.14522 | 151.3569 | 44.12 | 188139.7121 | 2608099.5929 | 33.0803 | 33.6009 | 0.014205 | [35799.08157692308, 24227.661269230775, 15621.417415384618] | [1.2473138920637115, 1.111667217268939, 1.0300910630767188] | [-9377.267321865445, -14930.648130908363, -10848.98045571022] | [7.589994381852525e-05, 7.307952950434457e-05, 6.515385728206041e-05] | [0.14308585551963254, 0.14401421603943063, 0.14857277710604946] | [164.19451560754942, 157.16926175454404, 132.70682306782453] | [46.54676684938741, 45.24976893179779, 40.5633704169788] | [236659.95629640404, 201361.6833728573, 126397.49667545219] | [0.21818181941509132, 0.20763707125676198, 0.1369630204786983] | [0.08431323499517002, 0.09812276093996294, 0.11255801876839437] | [165.0, 67.0, 48.0] | [0.6135869133621108, 0.5275333863870141, 0.17827099092225862] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015628778869775744, 0.014930648130908363, 0.01205442272856691] | 0.019675 | 0.04953 | 0.18021 | 6 | 165 | 10 | 67 | 9 | 48
0.25152 | 0.92199 | 0.85 | 77022.2664 | 1.1283 | -37174.4886 | 7.2149e-05 | 0.14465 | 153.1844 | 44.5956 | 193450.2964 | 2594232.1951 | 33.0749 | 33.5473 | 0.014485 | [35799.081576923076, 24227.66126923077, 16995.52357692308] | [1.2449868769773835, 1.111257982228991, 1.0287084486701223] | [-9422.329245920393, -15201.8661413517, -12550.293210038051] | [7.612396130307434e-05, 7.379925768924466e-05, 6.652257022216007e-05] | [0.1429071677708951, 0.14352242959336933, 0.1475251543419544] | [164.6601909546425, 158.8683799438664, 136.02467160336965] | [46.68297361452148, 45.68954441273198, 41.41427455545006] | [238165.8305994769, 207304.041452091, 134881.01717628766] | [0.21818181941509138, 0.2093165309064743, 0.1414446161725163] | [0.08499519739838654, 0.09922234268818309, 0.11495284815266725] | [165.0, 67.0, 47.0] | [0.6104609608318416, 0.5260697121941561, 0.18738177210907117] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01570388207653399, 0.015201866141351699, 0.012550293210038053] | 0.020032 | 0.049256 | 0.17984 | 6 | 165 | 10 | 67 | 10 | 47
0.25149 | 0.92086 | 0.85 | 77383.8733 | 1.1282 | -36816.3939 | 7.1826e-05 | 0.14491 | 152.4366 | 44.3935 | 191600.3791 | 2591200.8435 | 33.0734 | 33.5464 | 0.014368 | [35799.081576923076, 24227.661269230775, 17357.13046153846] | [1.2444794968495747, 1.1111657634897572, 1.0289820183944278] | [-9432.211955954479, -15261.885568943791, -12122.296334785975] | [7.617298978332879e-05, 7.39577603445607e-05, 6.53458258835194e-05] | [0.14286820902839087, 0.14341494172123656, 0.14843241727778772] | [164.7621435390524, 159.24265945969344, 133.30494892185516] | [46.71278355223855, 45.78638668893503, 40.681388451885624] | [238496.7357049555, 208627.0852720569, 127677.31620935486] | [0.21818181941509138, 0.20968493780138714, 0.13883779271527452] | [0.08514479292541176, 0.09946588134825636, 0.11255799099759868] | [165.0, 67.0, 48.0] | [0.6097752513301881, 0.5257406447550322, 0.18937239475405576] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01572035325992413, 0.01526188556894379, 0.012122296334785976] | 0.020126 | 0.049196 | 0.17977 | 6 | 165 | 10 | 67 | 10 | 48
0.25244 | 0.9377 | 0.85 | 72791.4659 | 1.1348 | -34524.2602 | 7.2152e-05 | 0.14463 | 153.0984 | 44.6019 | 192686.5237 | 2637058.2092 | 33.0917 | 33.6845 | 0.014482 | [36016.04570769231, 21479.448946153847, 15295.971219230769] | [1.2538088992321663, 1.116095865203371, 1.0343482106207322] | [-9151.991549242703, -13937.372865863917, -11434.895749495101] | [7.485054305700211e-05, 7.464846334657757e-05, 6.695633526882902e-05] | [0.14387131793962324, 0.14281292354780728, 0.14721052646410424] | [161.85783797947735, 160.28252351025074, 137.15488430477959] | [45.90660137885492, 46.21772979537819, 41.681249890388756] | [228542.32664960116, 211701.73863680902, 137815.50588528073] | [0.2168674711053619, 0.20595341911356804, 0.14352360471535164] | [0.08188509434635838, 0.10220620335790193, 0.11495291765714044] | [166.0, 66.0, 47.0] | [0.6224421559259441, 0.5038384535341459, 0.19915826359182628] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015253319248737839, 0.015485969850959909, 0.012705439721661224] | 0.018932 | 0.050102 | 0.18102 | 6 | 166 | 9 | 66 | 9 | 47
0.25237 | 0.93649 | 0.85 | 73116.9121 | 1.1346 | -34204.5394 | 7.1833e-05 | 0.14488 | 152.3584 | 44.4021 | 190835.7642 | 2633821.9973 | 33.0903 | 33.6837 | 0.014365 | [36016.04570769231, 21479.448946153847, 15621.417415384616] | [1.2532571030435353, 1.1159852664022056, 1.0346812317647924] | [-9162.265361050402, -13995.790159992293, -11046.483902800961] | [7.49024443559419e-05, 7.481854054079945e-05, 6.57766077849677e-05] | [0.14382876301223213, 0.14269956220861685, 0.1481125969517596] | [161.96544915803088, 160.68428160587305, 134.4254707952781] | [45.93815997461553, 46.3216425444423, 40.94651972522595] | [228880.05468260119, 213138.75545662144, 130488.48233263311] | [0.2168674711053619, 0.20634523902661475, 0.14090587917940522] | [0.08204087816720827, 0.10247700303956744, 0.11255805977009366] | [166.0, 66.0, 48.0] | [0.6217237488963772, 0.5034679187493097, 0.20127552461778608] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015270442268417337, 0.015550877955546993, 0.012273871003112178] | 0.019017 | 0.050038 | 0.18093 | 6 | 166 | 9 | 66 | 9 | 48
0.25196 | 0.93088 | 0.85 | 74491.0182 | 1.1331 | -36276.6402 | 7.2655e-05 | 0.14428 | 154.3174 | 44.9095 | 196682.8767 | 2618405.6651 | 33.0851 | 33.622 | 0.014668 | [36016.04570769231, 21479.448946153847, 16995.52357692308] | [1.2506355519658077, 1.1154425500351046, 1.0330824605906732] | [-9211.388059208062, -14277.82023843547, -12787.43187906592] | [7.515003542489152e-05, 7.563520391695396e-05, 6.718083004503828e-05] | [0.14362661771310276, 0.14215980325882946, 0.14705394824129753] | [162.47899416335414, 162.61404388037664, 137.85909628690666] | [46.08870611572391, 46.82055958321615, 41.819213960996194] | [230498.3048210751, 220124.03103393287, 139426.29414015808] | [0.2168674711053619, 0.20821933781301522, 0.1457407511367589] | [0.08278600178107834, 0.10378508035496467, 0.11495289043686471] | [166.0, 66.0, 47.0] | [0.6182875673971194, 0.5016533192648832, 0.21134713667504756] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015352313432013438, 0.015864244709372744, 0.01278743187906592] | 0.019374 | 0.049734 | 0.18046 | 6 | 166 | 9 | 66 | 10 | 47
0.2519 | 0.92964 | 0.85 | 74852.6251 | 1.1329 | -35914.2625 | 7.2337e-05 | 0.14453 | 153.5796 | 44.7105 | 194839.851 | 2615084.7701 | 33.0836 | 33.6207 | 0.014552 | [36016.04570769231, 21479.448946153847, 17357.13046153846] | [1.25007236529677, 1.1153222211136722, 1.033392470682263] | [-9222.009046316094, -14339.390709406622, -12352.862701103586] | [7.520344505261147e-05, 7.581252447679915e-05, 6.59963558212905e-05] | [0.14358319693301475, 0.14204359537998373, 0.14795584809482065] | [162.5898167162074, 163.03318898395122, 135.11584640440043] | [46.1211811361197, 46.92887919344762, 41.08155995637709] | [230848.94451420364, 221659.4351913087, 132011.17327715812] | [0.2168674711053619, 0.20862468028331418, 0.1430973505404832] | [0.08294716204035382, 0.10407080039307869, 0.11255803244317003] | [166.0, 66.0, 48.0] | [0.6175443681258103, 0.5012517110251654, 0.21351334791322502] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01537001507719349, 0.015932656343785136, 0.012352862701103588] | 0.019468 | 0.049668 | 0.18037 | 6 | 166 | 9 | 66 | 10 | 48
0.25236 | 0.93643 | 0.85 | 73116.9121 | 1.1346 | -34132.2957 | 7.1788e-05 | 0.14488 | 152.2196 | 44.377 | 189662.7876 | 2633655.8171 | 33.0903 | 33.6748 | 0.014338 | [36016.04570769231, 21804.895142307694, 15295.971219230772] | [1.2532287819663745, 1.1167959959973885, 1.0338379095603276] | [-9162.793280102991, -13557.76710231974, -11411.735350004512] | [7.490511018869744e-05, 7.357538984184552e-05, 6.688492184033091e-05] | [0.14382657893430909, 0.14353932699565924, 0.14726164794016008] | [161.97097682695284, 157.73028743656707, 136.95759334135636] | [45.93978093150651, 45.55400523531281, 41.637315684319866] | [228897.415555723, 202768.42031202026, 137322.52699137008] | [0.2168674711053619, 0.2032852938186993, 0.14307418827548457] | [0.08204888364971599, 0.10036547535742947, 0.1149529120905913] | [166.0, 67.0, 47.0] | [0.6216868311100775, 0.5063805252018175, 0.19664152823965697] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015271322133504983, 0.015064185669244156, 0.012679705944449457] | 0.019017 | 0.050035 | 0.18091 | 6 | 166 | 9 | 67 | 9 | 47
0.25229 | 0.93523 | 0.85 | 73442.3583 | 1.1345 | -33810.9705 | 7.1468e-05 | 0.14513 | 151.4766 | 44.1765 | 187794.0849 | 2630449.521 | 33.089 | 33.6741 | 0.014221 | [36016.04570769231, 21804.895142307698, 15621.417415384618] | [1.2526826165524352, 1.11668808419115, 1.0341661379824014] | [-9172.985817806077, -13614.055983354005, -11023.928663588147] | [7.495655816888594e-05, 7.374143249328761e-05, 6.570591879770243e-05] | [0.14378446069455597, 0.14342648408111425, 0.14816438236412885] | [162.07766276014993, 158.121855105959, 134.23042715233305] | [45.971063760876646, 45.6554549937854, 40.90303265849904] | [229232.73135648723, 204131.87254931944, 130017.65088823473] | [0.2168674711053619, 0.20366826358667184, 0.14045981312965944] | [0.08220345578498202, 0.10062792582423362, 0.11255805431781975] | [166.0, 67.0, 48.0] | [0.6209740121174139, 0.5060197819853005, 0.1987377863029091] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015288309696343462, 0.015126728870393338, 0.012248809626209053] | 0.019101 | 0.049972 | 0.18083 | 6 | 166 | 9 | 67 | 9 | 48
0.25189 | 0.92968 | 0.85 | 74816.4644 | 1.1329 | -35867.3888 | 7.2282e-05 | 0.14453 | 153.4123 | 44.6784 | 193496.47 | 2615192.9186 | 33.0838 | 33.6133 | 0.014519 | [36016.04570769231, 21804.895142307694, 16995.52357692308] | [1.250090697483221, 1.1161589467133335, 1.0325905520224976] | [-9221.662942985879, -13885.4754081506, -12760.250483498916] | [7.52017052934743e-05, 7.45377916538483e-05, 6.71058531858133e-05] | [0.14358461028428707, 0.14288976723291555, 0.14710713771828215] | [162.58620655959106, 160.00045111063437, 137.65022664892217] | [46.1201233004797, 46.14197778929416, 41.77309598105799] | [230837.51408886985, 210750.8557030573, 138901.04018297174] | [0.2168674711053619, 0.2054978667249921, 0.14525335320922914] | [0.08294191006370162, 0.10189414329602638, 0.11495288483944469] | [166.0, 67.0, 47.0] | [0.6175685878965478, 0.5042546566317063, 0.20869958696515933] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015369438238309796, 0.015428306009056222, 0.012760250483498917] | 0.019459 | 0.04967 | 0.18037 | 6 | 166 | 9 | 67 | 10 | 47
0.25184 | 0.92845 | 0.85 | 75178.0713 | 1.1328 | -35503.4275 | 7.1963e-05 | 0.14478 | 152.6716 | 44.4787 | 191634.4203 | 2611901.7039 | 33.0823 | 33.612 | 0.014403 | [36016.04570769231, 21804.895142307698, 17357.13046153846] | [1.2495330656854788, 1.1160414154636864, 1.0328962183251684] | [-9232.202295222472, -13944.808568152175, -12326.41666346396] | [7.525466278881777e-05, 7.471094557873645e-05, 6.592221247086266e-05] | [0.1435416195990648, 0.14277404095181628, 0.14800967332705844] | [162.69610522476864, 160.40904922861475, 134.90952757951285] | [46.15232328789871, 46.24775439660273, 41.035956191206175] | [231185.71482531787, 212207.57442692047, 131509.97162984757] | [0.2168674711053619, 0.20589413334885895, 0.14261382281964274] | [0.08310184900225032, 0.1021710969454157, 0.11255802696093495] | [166.0, 67.0, 48.0] | [0.6168310210709306, 0.5038633333545255, 0.21084555943420072] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015387003825370787, 0.015494231742391307, 0.01232641666346396] | 0.019553 | 0.049605 | 0.18029 | 6 | 166 | 9 | 67 | 10 | 48
0.25188 | 0.92863 | 0.85 | 75178.0713 | 1.1301 | -35660.9096 | 7.1781e-05 | 0.14491 | 152.291 | 44.3735 | 190468.0045 | 2612374.697 | 33.0822 | 33.6049 | 0.014355 | [36016.04570769231, 23866.054384615385, 15295.971219230769] | [1.2496131720061503, 1.1106012086885415, 1.029987040978687] | [-9230.68680305635, -15190.014788859358, -11240.2080456867] | [7.52470504715124e-05, 7.374263924671424e-05, 6.635254546381327e-05] | [0.14354779529282954, 0.14354279687275157, 0.14764630430941877] | [162.6803070575342, 158.70619043897779, 135.48650681845018] | [46.14769474346331, 45.663098073298364, 41.30975936252081] | [231135.62951913042, 206566.87836348984, 133701.50568539623] | [0.2168674711053619, 0.20895589473124193, 0.13971211503701125] | [0.0830788497124215, 0.09949196070817468, 0.11495287829786029] | [166.0, 66.0, 47.0] | [0.6169370834890475, 0.523963716570297, 0.17729997330601238] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015384478005093917, 0.015190014788859356, 0.012489120050762999] | 0.019553 | 0.049614 | 0.18032 | 6 | 166 | 10 | 66 | 9 | 47
0.25183 | 0.92753 | 0.85 | 75503.5175 | 1.13 | -35345.5561 | 7.1457e-05 | 0.14517 | 151.5422 | 44.171 | 188621.1148 | 2609421.4435 | 33.0809 | 33.6045 | 0.014237 | [36016.04570769231, 23866.054384615385, 15621.417415384614] | [1.2491131896040077, 1.1105175180310383, 1.030281477321577] | [-9240.153793421565, -15248.383621369263, -10857.018666260341] | [7.529458867324561e-05, 7.389671018706489e-05, 6.517934363590587e-05] | [0.1435092503883649, 0.14343835742899616, 0.14855376837337192] | [162.77897008635074, 159.07039530583933, 132.77718626856586] | [46.176599524231, 45.75724927471451, 40.57905583100545] | [231448.59231492382, 207852.33982598368, 126562.41217084353] | [0.2168674711053619, 0.20931726674127574, 0.13712514059228367] | [0.08322252774050722, 0.09972737497620632, 0.11255802118520884] | [166.0, 66.0, 48.0] | [0.6162745048991161, 0.5236605994309433, 0.17924296462856168] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015400256322369276, 0.015248383621369262, 0.0120633540736226] | 0.019637 | 0.049556 | 0.18024 | 6 | 166 | 10 | 66 | 9 | 48
0.25154 | 0.92247 | 0.85 | 76877.6237 | 1.1286 | -37371.8479 | 7.2232e-05 | 0.14459 | 153.3818 | 44.6494 | 194007.119 | 2595499.7013 | 33.0755 | 33.5506 | 0.014521 | [36016.04570769231, 23866.054384615385, 16995.52357692308] | [1.2467621165212655, 1.110110370688744, 1.028890469523414] | [-9284.929925304106, -15526.95902826143, -12559.958928293237] | [7.551896443572749e-05, 7.46284677172469e-05, 6.654955900071411e-05] | [0.14332801760127795, 0.1429460659521726, 0.14750564672061167] | [163.2448097873674, 160.80060170161974, 136.09992403831225] | [46.31302599661177, 46.20438338926598, 41.43088227642539] | [232931.7050739647, 214025.20262352115, 135064.4493546445] | [0.2168674711053619, 0.21102690301223884, 0.14162170032570148] | [0.08390226264342027, 0.10085181689860562, 0.1149528506279864] | [166.0, 66.0, 47.0] | [0.6131398754294197, 0.5221899020368195, 0.18839835030191632] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015474883208840176, 0.01552695902826143, 0.012559958928293237] | 0.019995 | 0.049281 | 0.17987 | 6 | 166 | 10 | 66 | 10 | 47
0.2515 | 0.92133 | 0.85 | 77239.2306 | 1.1285 | -37015.0124 | 7.191e-05 | 0.14485 | 152.6358 | 44.4478 | 192169.5048 | 2592458.5277 | 33.074 | 33.5496 | 0.014404 | [36016.04570769231, 23866.054384615385, 17357.13046153846] | [1.2462498234500798, 1.1100186596417916, 1.0291656736247126] | [-9294.74377076661, -15588.570352309458, -12131.698292970963] | [7.556803970819258e-05, 7.478951892825835e-05, 6.537251116259219e-05] | [0.14328853078175202, 0.14283854040787164, 0.14841267617774717] | [163.34673294275422, 161.1814943118066, 133.3792746287428] | [46.34286478712834, 46.302784549902896, 40.69780888718335] | [233257.4056186655, 215398.82855690824, 127852.28014173766] | [0.2168674711053619, 0.21140170703667466, 0.139013466150789] | [0.08405128111096702, 0.10110070265511927, 0.11255799342088368] | [166.0, 66.0, 48.0] | [0.6124526703849987, 0.5218594296766742, 0.1903972783744998] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015491239617944352, 0.015588570352309459, 0.012131698292970962] | 0.020089 | 0.049221 | 0.1798 | 6 | 166 | 10 | 66 | 10 | 48
0.25182 | 0.92736 | 0.85 | 75539.6782 | 1.1299 | -35233.7892 | 7.1421e-05 | 0.14516 | 151.4196 | 44.1506 | 187514.868 | 2608978.2895 | 33.0807 | 33.5957 | 0.014214 | [36016.04570769231, 24227.661269230775, 15295.971219230772] | [1.249038201563717, 1.1112053490980944, 1.0294978360158231] | [-9241.575324678597, -14773.390804562518, -11218.823048375712] | [7.530172387059431e-05, 7.267422373803776e-05, 6.628581238871657e-05] | [0.14350346949165815, 0.14427902684761285, 0.1476949638320012] | [162.79377983298158, 156.16298854717178, 135.30203764332026] | [46.180937948953435, 45.00221762720467, 41.268687433242704] | [231495.60414526807, 197794.69431465748, 133254.30540639948] | [0.2168674711053619, 0.20624658389905373, 0.13928871367532883] | [0.08324410313997951, 0.09770999317523067, 0.11495287200967536] | [166.0, 67.0, 47.0] | [0.6161750088571541, 0.5263495692681998, 0.17479798649662198] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015402625541130994, 0.014773390804562516, 0.012465358942639681] | 0.019647 | 0.049547 | 0.18023 | 6 | 166 | 10 | 67 | 9 | 47
0.25177 | 0.92627 | 0.85 | 75865.1244 | 1.1298 | -34916.7656 | 7.1096e-05 | 0.14541 | 150.6681 | 43.9474 | 185651.8027 | 2606053.0076 | 33.0793 | 33.5953 | 0.014096 | [36016.04570769231, 24227.661269230775, 15621.417415384616] | [1.2485434471976977, 1.1111240372389397, 1.029787739307907] | [-9250.965146729937, -14829.597013860992, -10836.20341314695] | [7.534883539012281e-05, 7.282454690917003e-05, 6.511331466718597e-05] | [0.14346532918506463, 0.14417512380344805, 0.14860304730347237] | [162.89157073588328, 156.51774976057476, 132.59488900532955] | [46.20958318095157, 45.09408051976416, 40.53841853664825] | [231806.2580934008, 199013.55405307413, 126135.59595552836] | [0.2168674711053619, 0.20659969912649137, 0.13670502280351504] | [0.08338662555105375, 0.09793792678460779, 0.11255801502705204] | [166.0, 67.0, 48.0] | [0.6155177596965077, 0.52605557829148, 0.1767194372244891] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015418275244549895, 0.014829597013860992, 0.012040226014607722] | 0.019731 | 0.04949 | 0.18016 | 6 | 166 | 10 | 67 | 9 | 48
0.25149 | 0.92126 | 0.85 | 77239.2306 | 1.1285 | -36927.726 | 7.1863e-05 | 0.14484 | 152.4862 | 44.4207 | 190908.0295 | 2592282.1557 | 33.074 | 33.5422 | 0.014375 | [36016.04570769231, 24227.66126923077, 16995.52357692308] | [1.246220127453371, 1.1107288436186653, 1.028419025030734] | [-9295.313280587661, -15097.452622401024, -12534.96005784284] | [7.557088648053061e-05, 7.353748798610813e-05, 6.647972296442955e-05] | [0.1432862418894063, 0.14368601079590923, 0.14755615864794155] | [163.35264571653406, 158.20067593501523, 135.9051955704065] | [46.344595680995255, 45.529726438286914, 41.38790794366621] | [233276.31348268763, 204857.4616713003, 134590.31335705894] | [0.2168674711053619, 0.20826788434876775, 0.14116334157907828] | [0.08405992922510507, 0.09902503065995041, 0.1149528443122374] | [166.0, 67.0, 47.0] | [0.6124127892431666, 0.52463072583193, 0.18576182718404508] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015492188800979433, 0.015097452622401024, 0.012534960057842841] | 0.020089 | 0.049217 | 0.17979 | 6 | 166 | 10 | 67 | 10 | 47
0.25146 | 0.92013 | 0.85 | 77600.8374 | 1.1283 | -36569.2303 | 7.1539e-05 | 0.1451 | 151.7375 | 44.2184 | 189053.2736 | 2589268.5962 | 33.0725 | 33.5413 | 0.014258 | [36016.04570769231, 24227.661269230775, 17357.13046153846] | [1.2457129726337381, 1.1106396307110584, 1.028690110988611] | [-9305.05022242232, -15156.792303895281, -12107.387797189473] | [7.561953879530866e-05, 7.369467025341457e-05, 6.530347789495281e-05] | [0.14324715220667217, 0.14357898373919592, 0.14846378002583402] | [163.4537035963101, 158.57179930224953, 133.18699261854562] | [46.37417719680671, 45.625765857206545, 40.65532989101905] | [233599.70201492278, 206159.96736754067, 127400.15145669859] | [0.2168674711053619, 0.20863423317050792, 0.13855887168090505] | [0.08420779290616885, 0.09926605732363344, 0.11255798723619194] | [166.0, 67.0, 48.0] | [0.6117309097789617, 0.5243098967499797, 0.18773982014695387] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.015508417037370534, 0.015156792303895281, 0.012107387797189471] | 0.020183 | 0.049158 | 0.17972 | 6 | 166 | 10 | 67 | 10 | 48
0.25147 | 0.91757 | 0.85 | 78541.0153 | 1.1245 | -32512.9674 | 6.8276e-05 | 0.14746 | 143.8003 | 42.2362 | 163482.2519 | 2582762.4377 | 33.0679 | 33.5243 | 0.013086 | [41765.59517307693, 21479.448946153847, 15295.971219230772] | [1.2482623234421646, 1.0995774182582543, 1.0257093726898037] | [-9865.113794467947, -11591.587329853028, -11056.266275308037] | [7.119592526229549e-05, 6.785521192050613e-05, 6.577560137781479e-05] | [0.14704940240441267, 0.14727167964131166, 0.14807036909761215] | [154.46049231560872, 143.0491864617598, 133.89116916459753] | [43.68615970270476, 42.06776053721473, 40.95460314113566] | [206531.294995483, 154031.26786486237, 129884.1927301021] | [0.21818181941509132, 0.17890715670414276, 0.1360377612500051] | [0.07156286268165708, 0.0968753754356097, 0.11495281897201787] | [165.0, 66.0, 47.0] | [0.6720325429552998, 0.4586226346115338, 0.15506818806074363] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01409301970638278, 0.012879541477614474, 0.012284740305897818] | 0.020427 | 0.049029 | 0.17962 | 7 | 165 | 9 | 66 | 9 | 47
0.25144 | 0.91656 | 0.85 | 78866.4615 | 1.1244 | -32187.103 | 6.7947e-05 | 0.14772 | 143.0403 | 42.0306 | 161560.5643 | 2580058.4211 | 33.0666 | 33.5242 | 0.012966 | [41765.59517307693, 21479.448946153847, 15621.417415384618] | [1.2478105840376272, 1.09955074802577, 1.0259649330777652] | [-9875.548280996934, -11633.515989181053, -10678.03870730702] | [7.124361684283938e-05, 6.798779393798037e-05, 6.460865322276748e-05] | [0.14700602226239262, 0.14717279414398607, 0.14898313616683947] | [154.5584854360918, 143.3613503237533, 131.20107836745325] | [43.71516799424411, 42.14886277831411, 40.2277599799178] | [206811.46772640487, 154949.6279756084, 122920.59708464929] | [0.21818181941509132, 0.17923430803326776, 0.13348021012572064] | [0.07169372321330711, 0.09707651645506957, 0.11255796308389132] | [165.0, 66.0, 48.0] | [0.6714326880761086, 0.45848833608302547, 0.156819743874746] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014107926115709905, 0.012926128876867836, 0.011864487452563355] | 0.020512 | 0.048976 | 0.17956 | 7 | 165 | 9 | 66 | 9 | 48
0.25126 | 0.91199 | 0.85 | 80240.5677 | 1.1233 | -34100.7227 | 6.8674e-05 | 0.14715 | 144.7532 | 42.4798 | 166150.6192 | 2567482.3647 | 33.0612 | 33.4777 | 0.013223 | [41765.59517307692, 21479.448946153847, 16995.52357692308] | [1.2457125023067461, 1.0994158590870842, 1.024771687032678] | [-9924.25938589613, -11831.008004360167, -12345.455303635516] | [7.146580123779284e-05, 6.86093912377941e-05, 6.594707328466342e-05] | [0.14680472380955709, 0.1467124500008342, 0.14794510284048573] | [155.01516959509144, 144.82526105101456, 134.41920964098824] | [43.85030937516338, 42.529070282958216, 41.06006426161614] | [208121.73447522765, 159301.36527466198, 131028.75791462863] | [0.21818181941509138, 0.1807631406051481, 0.1376501031371755] | [0.07230525624205925, 0.09802355829465528, 0.11495279103561919] | [165.0, 66.0, 47.0] | [0.6686294700784038, 0.4578280303063641, 0.1649700329637849] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014177513408423043, 0.013145564449289073, 0.012345455303635514] | 0.020869 | 0.048727 | 0.17927 | 7 | 165 | 9 | 66 | 10 | 47
0.25124 | 0.91095 | 0.85 | 80602.1746 | 1.1232 | -33733.7637 | 6.8347e-05 | 0.14741 | 143.9968 | 42.2753 | 164235.6536 | 2564686.9445 | 33.0597 | 33.4771 | 0.013104 | [41765.59517307693, 21479.448946153847, 17357.130461538465] | [1.2452467983520858, 1.0993834406554162, 1.025011580802631] | [-9935.127592335608, -11875.467551710322, -11923.168576242011] | [7.151527246764362e-05, 6.874867588345154e-05, 6.477711352514476e-05] | [0.14676008150910025, 0.14661003046019533, 0.1488571910497641] | [155.11688917652776, 145.15336980364788, 131.72011420153777] | [43.880399353538365, 42.61425824847531, 40.33136469090677] | [208414.60282437614, 160286.94233960813, 124005.41559752068] | [0.21818181941509132, 0.18110459877685528, 0.13507543045683518] | [0.0724418395107421, 0.09823667669588014, 0.1125579350632678] | [165.0, 66.0, 48.0] | [0.6680033842142757, 0.45767323779194985, 0.1667824699985392] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014193039417622295, 0.013194963946344803, 0.01192316857624201] | 0.020963 | 0.048672 | 0.17921 | 7 | 165 | 9 | 66 | 10 | 48
0.25144 | 0.91656 | 0.85 | 78866.4615 | 1.1244 | -32195.1373 | 6.7955e-05 | 0.14771 | 143.0359 | 42.0373 | 161311.2315 | 2580055.6732 | 33.0665 | 33.5172 | 0.012969 | [41765.59517307692, 21804.895142307698, 15295.971219230772] | [1.2478101250895173, 1.1001219764303751, 1.0253336335387115] | [-9875.558891581508, -11279.142974930075, -11040.435446073805] | [7.12436653218172e-05, 6.689465014670995e-05, 6.572563239697073e-05] | [0.14700597819700484, 0.14800425796075536, 0.14810746175088813] | [154.55858505312443, 140.7960328536774, 133.7529403963884] | [43.71519748140012, 41.472745636575205, 40.92383584674653] | [206811.75271744785, 147563.16937730488, 129558.77234487273] | [0.21818181941509138, 0.1765594968761055, 0.135718010723803] | [0.07169385630726709, 0.09520517170177224, 0.11495281326077797] | [165.0, 67.0, 47.0] | [0.6714320779835012, 0.46088296395578526, 0.15307656910305126] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014107941273687868, 0.01253238108325564, 0.012267150495637561] | 0.020512 | 0.048976 | 0.17956 | 7 | 165 | 9 | 67 | 9 | 47
0.25142 | 0.91556 | 0.85 | 79191.9077 | 1.1243 | -31868.1529 | 6.7625e-05 | 0.14796 | 142.2737 | 41.8311 | 159378.6809 | 2577373.2121 | 33.0652 | 33.5171 | 0.012849 | [41765.59517307692, 21804.895142307694, 15621.417415384618] | [1.2473622033921414, 1.100097004326848, 1.0255858230629666] | [-9885.923855091174, -11319.589272737165, -10662.639735181348] | [7.12910051362983e-05, 6.702421076736785e-05, 6.455923817426005e-05] | [0.1469629782408062, 0.14790577498251176, 0.1490206866080585] | [154.65586711779386, 141.1006030106757, 131.06454864542692] | [43.74399167977653, 41.55200099157868, 40.19733465015889] | [207090.2339435828, 148435.54662035115, 122610.26198951057] | [0.21818181941509138, 0.176879737437682, 0.13316308729790022] | [0.07182389338378603, 0.09540042075073449, 0.11255795749115088] | [165.0, 67.0, 48.0] | [0.6708359980334528, 0.46075495021073626, 0.154810768671765] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014122748364415962, 0.012577321414152404, 0.011847377483534831] | 0.020597 | 0.048923 | 0.1795 | 7 | 165 | 9 | 67 | 9 | 48
0.25124 | 0.91103 | 0.85 | 80566.0139 | 1.1232 | -33771.1054 | 6.8346e-05 | 0.1474 | 143.9698 | 42.2763 | 163879.8848 | 2564914.2346 | 33.0598 | 33.4713 | 0.013103 | [41765.59517307692, 21804.895142307698, 16995.52357692308] | [1.2452846547296708, 1.0999703473518854, 1.0244100887191963] | [-9934.243367346093, -11509.823309683217, -12327.038752122622] | [7.151124892565715e-05, 6.763079309684402e-05, 6.589499804657764e-05] | [0.14676370988985815, 0.14744791056082868, 0.14798348404394274] | [155.1086157503416, 142.52689323690944, 134.27385456339107] | [43.877952112367865, 41.923030985262415, 41.02800512951809] | [208390.76818386294, 152563.15132943538, 130685.73490950333] | [0.21818181941509138, 0.1783741744083696, 0.13730494736908905] | [0.07243072536582282, 0.09631839591562961, 0.11495278530300578] | [165.0, 67.0, 47.0] | [0.6680543304802975, 0.4601253752808457, 0.16286993249014164] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014191776239065848, 0.012788692566314687, 0.012327038752122623] | 0.020954 | 0.048677 | 0.17922 | 7 | 165 | 9 | 67 | 10 | 47
0.25123 | 0.90999 | 0.85 | 80927.6208 | 1.1231 | -33403.0324 | 6.8018e-05 | 0.14765 | 143.2111 | 42.0713 | 161953.3248 | 2562139.9867 | 33.0583 | 33.4708 | 0.012983 | [41765.59517307692, 21804.895142307694, 17357.13046153846] | [1.244822699390929, 1.0999397443755234, 1.0246469140345025] | [-9945.042697764826, -11552.719800669405, -11905.269884684192] | [7.156037302665443e-05, 6.776694482671505e-05, 6.472566193570231e-05] | [0.1467194396590713, 0.1473458613081527, 0.14889600910079653] | [155.20963317306897, 142.84711196934262, 131.57665268698514] | [43.907830827764634, 42.006304365220316, 40.299690433002034] | [208681.95589563035, 153499.456890665, 123678.56147613077] | [0.21818181941509138, 0.17870851715427946, 0.13473325426510607] | [0.07256648878385893, 0.0965253164884342, 0.11255792945013163] | [165.0, 67.0, 48.0] | [0.6674320030048333, 0.4599773096634244, 0.16466536637752813] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014207203853949751, 0.012836355334077117, 0.011905269884684192] | 0.021048 | 0.048622 | 0.17917 | 7 | 165 | 9 | 67 | 10 | 48
0.25128 | 0.91021 | 0.85 | 80927.6208 | 1.1206 | -33525.6124 | 6.8015e-05 | 0.14767 | 143.2444 | 42.0756 | 162088.52 | 2562719.4839 | 33.0582 | 33.4654 | 0.013 | [41765.59517307692, 23866.054384615385, 15295.971219230769] | [1.2449191747477126, 1.0945817678171497, 1.0224395852667232] | [-9942.785680855004, -12662.578039150852, -10920.248698143121] | [7.155010929898426e-05, 6.715114902129401e-05, 6.534429364996555e-05] | [0.14672868397629507, 0.14789111974399702, 0.14839252382192794] | [155.18852609265682, 141.84692547197545, 132.69779990686177] | [43.90158813978903, 41.6361274852952, 40.68902887677797] | [208621.0830842907, 150542.05977261026, 127102.41717570965] | [0.21818181941509138, 0.18134527672949705, 0.13327118325916124] | [0.07253811069179883, 0.09490523656334209, 0.11495277858831977] | [165.0, 66.0, 47.0] | [0.6675620856400126, 0.47677155731181603, 0.13751951447953076] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014203979544078576, 0.012662578039150852, 0.01213360966460347] | 0.021048 | 0.048633 | 0.1792 | 7 | 165 | 10 | 66 | 9 | 47
0.25127 | 0.90928 | 0.85 | 81253.067 | 1.1206 | -33203.1835 | 6.7683e-05 | 0.14793 | 142.4783 | 41.868 | 160174.8922 | 2560224.522 | 33.0568 | 33.4655 | 0.01288 | [41765.59517307692, 23866.054384615385, 15621.417415384618] | [1.2445038858428912, 1.0945672074540693, 1.0226675562566643] | [-9952.507548361244, -12704.861731312136, -10545.814241988533] | [7.159430791406029e-05, 6.72721927285815e-05, 6.41823810179987e-05] | [0.14668889503109525, 0.1477996561906867, 0.14930908859425873] | [155.2794232646683, 142.1323925031127, 130.02307845522205] | [43.92847093812465, 41.710184044617755, 39.96529350258607] | [208883.34572797065, 151371.74708256611, 120269.58368384936] | [0.21818181941509138, 0.1816509041692397, 0.1307379691051197] | [0.07266036166769586, 0.09508215934917798, 0.11255792351033997] | [165.0, 66.0, 48.0] | [0.6670016981923884, 0.4766777039206781, 0.13912517505299554] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014217867926230348, 0.012704861731312135, 0.01171757137998726] | 0.021133 | 0.048584 | 0.17916 | 7 | 165 | 10 | 66 | 9 | 48
0.25117 | 0.90512 | 0.85 | 82627.1731 | 1.1196 | -35086.4968 | 6.8376e-05 | 0.14739 | 144.1067 | 42.2964 | 164483.7332 | 2548766.1567 | 33.0514 | 33.4248 | 0.013124 | [41765.59517307693, 23866.054384615385, 16995.52357692308] | [1.24259917326004, 1.094491891400687, 1.0216340632288812] | [-9997.30783574441, -12901.346651898055, -12187.842324235487] | [7.179760327302382e-05, 6.78323024488014e-05, 6.549927239194722e-05] | [0.14650654404112823, 0.14737912658938263, 0.14827729626040523] | [155.69764373834258, 143.45358481653759, 133.1689203871697] | [44.05211926235249, 42.052841859048605, 40.78437472593427] | [210093.90224477253, 155248.2762468777, 128109.02106046755] | [0.21818181941509132, 0.18306056023280415, 0.13467379202191215] | [0.07322422409312165, 0.09590406401560411, 0.11495275030781914] | [165.0, 66.0, 47.0] | [0.6644170066566437, 0.47621676610785885, 0.1465066371583506] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014281868336777727, 0.012901346651898054, 0.012187842324235486] | 0.02149 | 0.048358 | 0.17893 | 7 | 165 | 10 | 66 | 10 | 47
0.25118 | 0.90415 | 0.85 | 82988.78 | 1.1195 | -34723.8347 | 6.8046e-05 | 0.14765 | 143.3446 | 42.09 | 162577.9426 | 2546176.133 | 33.0498 | 33.4245 | 0.013004 | [41765.59517307692, 23866.054384615385, 17357.13046153846] | [1.242169223188026, 1.0944729353679148, 1.0218489643759299] | [-10007.468935957335, -12946.285671312538, -11770.08010643403] | [7.184362567454669e-05, 6.795986804630666e-05, 6.433493004613793e-05] | [0.14646541336052687, 0.14728396651746206, 0.149192988373382] | [155.79235119677236, 143.7545436481264, 130.48682218924944] | [44.080110687086645, 42.130876484829514, 40.05914111033147] | [210368.9248607244, 156139.7609572011, 121225.14189227954] | [0.21818181941509138, 0.1833805659396558, 0.13212649718894764] | [0.07335222637586232, 0.0960919979555983, 0.11255789515733823] | [165.0, 66.0, 48.0] | [0.6638302570826876, 0.4761057338078527, 0.14817671159216447] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014296384194224765, 0.012946285671312539, 0.01177008010643403] | 0.021584 | 0.048306 | 0.17889 | 7 | 165 | 10 | 66 | 10 | 48
0.25127 | 0.90919 | 0.85 | 81289.2277 | 1.1205 | -33178.9539 | 6.7698e-05 | 0.14791 | 142.4876 | 41.8787 | 159970.2831 | 2559993.158 | 33.0566 | 33.4586 | 0.012885 | [41765.59517307693, 24227.661269230775, 15295.971219230772] | [1.2444653850130838, 1.0950491430717917, 1.022085852466676] | [-9953.409679035463, -12319.781261708182, -10905.762942204778] | [7.159840778282221e-05, 6.619602063868568e-05, 6.529817823015596e-05] | [0.1466852068152136, 0.14863032900765683, 0.1484272315339193] | [155.28785541286692, 139.604662975986, 132.5701518345544] | [43.93096458400078, 41.04443784083011, 40.66062366758409] | [208907.68995139792, 144194.54046943312, 126808.61901877949] | [0.21818181941509132, 0.178967638692362, 0.13297405741675078] | [0.0726717078326561, 0.0932803089341386, 0.1149527721646818] | [165.0, 67.0, 47.0] | [0.6669496884072406, 0.47889879942868524, 0.1355913862654401] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014219156684336374, 0.012319781261708183, 0.012117514380227531] | 0.021142 | 0.048579 | 0.17916 | 7 | 165 | 10 | 67 | 9 | 47
0.25126 | 0.90827 | 0.85 | 81614.6739 | 1.1205 | -32855.3487 | 6.7364e-05 | 0.14818 | 141.7194 | 41.6705 | 158046.7543 | 2557518.2596 | 33.0553 | 33.4587 | 0.012765 | [41765.59517307693, 24227.661269230775, 15621.417415384618] | [1.2440536480426747, 1.0950360145269342, 1.0223106998566087] | [-9963.06611133592, -12360.553909814007, -10531.728687113646] | [7.164227699158008e-05, 6.631425994276792e-05, 6.413678925009658e-05] | [0.14664577007021742, 0.14853927140060647, 0.14934421910280243] | [155.37808614063204, 139.8830888353504, 129.8970334528401] | [43.957646907524605, 41.11677988378909, 39.937211628911705] | [209168.35457077323, 144982.3725210185, 119989.53595127285] | [0.21818181941509132, 0.1792667835386615, 0.13044336278520102] | [0.07279317877024435, 0.09345196139835298, 0.11255791722088403] | [165.0, 67.0, 48.0] | [0.6663928768344974, 0.4788106324030422, 0.1371799361239866] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014232951587622744, 0.012360553909814007, 0.011701920763459607] | 0.021227 | 0.048531 | 0.17911 | 7 | 165 | 10 | 67 | 9 | 48
0.25118 | 0.90415 | 0.85 | 82988.78 | 1.1195 | -34728.2416 | 6.8052e-05 | 0.14763 | 143.3324 | 42.0953 | 162275.7219 | 2546169.6404 | 33.0498 | 33.4186 | 0.013006 | [41765.59517307692, 24227.66126923077, 16995.52357692308] | [1.2421681456825848, 1.0949675316076435, 1.0212938728106475] | [-10007.494423388423, -12549.70556805517, -12171.041614918671] | [7.184374107384374e-05, 6.686051777791684e-05, 6.54513347220316e-05] | [0.14646531029652018, 0.14812124741425156, 0.14831314341314583] | [155.79258868573547, 141.16962293372782, 133.03500518289212] | [44.08018087429395, 41.45096963331322, 40.75485146810776] | [210369.61492236186, 148657.0748677982, 127800.47590350565] | [0.21818181941509138, 0.18064433339571995, 0.13435362540321286] | [0.07335254750008023, 0.09424806558135829, 0.11495274386726378] | [165.0, 67.0, 47.0] | [0.6638287850819204, 0.47837710610087114, 0.14447175848819319] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014296420604840604, 0.012549705568055167, 0.012171041614918672] | 0.021584 | 0.048306 | 0.17889 | 7 | 165 | 10 | 67 | 10 | 47
0.25118 | 0.90318 | 0.85 | 83350.3869 | 1.1194 | -34364.3974 | 6.7721e-05 | 0.14789 | 142.5682 | 41.8884 | 160359.342 | 2543599.2894 | 33.0483 | 33.4183 | 0.012886 | [41765.59517307693, 24227.66126923077, 17357.13046153846] | [1.241741678798253, 1.094950122374632, 1.0215059197529146] | [-10017.590980041537, -12593.049821961358, -11753.756618217916] | [7.188943936694424e-05, 6.698517144540506e-05, 6.428757644081385e-05] | [0.1464245240907231, 0.1480264627985028, 0.14922923996149548] | [155.8866401217027, 141.463256686345, 130.3546793458674] | [44.10797505385822, 41.52722441422894, 40.029978384448974] | [210643.05894466807, 149503.70806461267, 120931.25907651204] | [0.21818181941509132, 0.18095766091016902, 0.13180916420244673] | [0.07347977746049288, 0.09443044599578271, 0.11255788885195867] | [165.0, 67.0, 48.0] | [0.6632455760000536, 0.47827221205033094, 0.14612493272446697] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014310844257202197, 0.01259304982196136, 0.011753756618217917] | 0.021678 | 0.048256 | 0.17885 | 7 | 165 | 10 | 67 | 10 | 48
0.25145 | 0.91681 | 0.85 | 78794.1402 | 1.1246 | -32288.7309 | 6.8008e-05 | 0.14766 | 143.1508 | 42.0723 | 161382.1386 | 2580717.7558 | 33.0668 | 33.5189 | 0.012988 | [42018.71999230769, 21479.448946153847, 15295.971219230769] | [1.2493621510244546, 1.0989219228620155, 1.025423472551374] | [-9729.412854368356, -11515.10250038141, -11044.215567123505] | [7.066297116410943e-05, 6.762309636717239e-05, 6.57375745264605e-05] | [0.14745720789913788, 0.14743398351218895, 0.14809859112976212] | [153.20573667050752, 142.46060632263067, 133.78597518848085] | [43.359984203893646, 41.92586810811895, 40.93118842403764] | [202238.8431653126, 152271.102272066, 129636.47026360773] | [0.2168674711053619, 0.17795388197301912, 0.13579442031243558] | [0.0707527482543329, 0.09670208719218897, 0.11495281440831187] | [166.0, 66.0, 47.0] | [0.6737804392420746, 0.45669603753247506, 0.1535533534727004] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013899161220526222, 0.012794558333757122, 0.012271350630137227] | 0.020493 | 0.048989 | 0.17958 | 7 | 166 | 9 | 66 | 9 | 47
0.25143 | 0.9158 | 0.85 | 79119.5864 | 1.1245 | -31962.4803 | 6.7679e-05 | 0.14792 | 142.3898 | 41.8665 | 159456.7548 | 2578030.5051 | 33.0655 | 33.5187 | 0.012869 | [42018.71999230769, 21479.448946153847, 15621.417415384618] | [1.2489116486983556, 1.0988975910954402, 1.02567645005369] | [-9739.68030397066, -11556.484001531648, -10666.3159733929] | [7.071023699697095e-05, 6.775434668542095e-05, 6.457104546864186e-05] | [0.14741372681534576, 0.14733568483378512, 0.14901170832487678] | [153.30274628068858, 142.76958443733514, 131.09717061205438] | [43.38873393201102, 42.00615961376487, 40.204604002965] | [202512.33450877352, 153173.5878246165, 122684.34202558885] | [0.2168674711053619, 0.17827839936811596, 0.13323885347633246] | [0.0708817732427449, 0.09690098434642362, 0.11255795861484567] | [166.0, 66.0, 48.0] | [0.6731854130659718, 0.45656911797866145, 0.15529161914537482] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013913829005672371, 0.012840537779479608, 0.01185146219265878] | 0.020578 | 0.048936 | 0.17952 | 7 | 166 | 9 | 66 | 9 | 48
0.25125 | 0.91127 | 0.85 | 80493.6925 | 1.1234 | -33870.1854 | 6.8402e-05 | 0.14735 | 144.0933 | 42.3135 | 164000.9908 | 2565545.2951 | 33.0601 | 33.4728 | 0.013124 | [42018.7199923077, 21479.448946153847, 16995.52357692308] | [1.2468213500740468, 1.09877390577435, 1.024496449758882] | [-9787.562466965426, -11751.192004754277, -12331.430937333225] | [7.09302145973103e-05, 6.836906666925053e-05, 6.590742840388073e-05] | [0.14721216150566746, 0.14687852074265248, 0.14797431615462636] | [153.75438759506, 144.21706059467, 134.3085503637946] | [43.522534890536605, 42.38217876138469, 41.03565712566245] | [203790.02447751415, 157445.41680726924, 130767.531200356] | [0.2168674711053619, 0.17979341128599088, 0.13738733139031237] | [0.07148412737876746, 0.09783643295976792, 0.11495278645533438] | [166.0, 66.0, 47.0] | [0.6704075324644779, 0.4559442987076418, 0.1633721586324275] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013982232095664893, 0.013056880005282531, 0.012331430937333226] | 0.020935 | 0.048689 | 0.17923 | 7 | 166 | 9 | 66 | 10 | 47
0.25124 | 0.91023 | 0.85 | 80855.2994 | 1.1233 | -33502.8791 | 6.8075e-05 | 0.14761 | 143.336 | 42.1087 | 162082.1958 | 2562766.3928 | 33.0586 | 33.4722 | 0.013004 | [42018.71999230769, 21479.448946153847, 17357.13046153846] | [1.2463567330483607, 1.0987439847981597, 1.0247339901192265] | [-9798.259919137598, -11795.081562066012, -11909.537655680471] | [7.097926011084791e-05, 6.850699285075808e-05, 6.47379408195731e-05] | [0.14716739943806328, 0.14677666876489726, 0.1488867387860229] | [153.85511860670218, 144.5419152765722, 131.61088921604357] | [43.55236634260658, 42.466539977590045, 40.307248964292526] | [204075.98671406118, 158414.11589222978, 123756.48487434602] | [0.2168674711053619, 0.1801322421836149, 0.13481490993559309] | [0.07161884327782278, 0.09804720722588585, 0.11255793057837624] | [166.0, 66.0, 48.0] | [0.6697862630550712, 0.4557973239293324, 0.16517156229320792] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013997514170196568, 0.013105646180073347, 0.01190953765568047] | 0.021029 | 0.048634 | 0.17918 | 7 | 166 | 9 | 66 | 10 | 48
0.25143 | 0.91581 | 0.85 | 79119.5864 | 1.1245 | -31973.1345 | 6.7688e-05 | 0.14791 | 142.39 | 41.8743 | 159235.5009 | 2578032.9206 | 33.0654 | 33.5118 | 0.012873 | [42018.7199923077, 21804.895142307698, 15295.971219230769] | [1.2489120535532896, 1.0994607675263115, 1.0250523372953622] | [-9739.671068624597, -11204.845939017749, -11028.61746627194] | [7.071019449760238e-05, 6.666638199315854e-05, 6.56883028485234e-05] | [0.14741376588431238, 0.14816675942589716, 0.14813521009520667] | [153.30265904864774, 140.21762133156759, 133.6496681527887] | [43.38870808157346, 41.33320454135382, 40.900849562210425] | [202512.0884323261, 145878.20960916314, 129316.20478758778] | [0.2168674711053619, 0.175617240140797, 0.13547894576196498] | [0.07088165716526144, 0.09503746941510972, 0.11495280869365662] | [166.0, 67.0, 47.0] | [0.6731859483818518, 0.4589450172270112, 0.15158137057520915] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013913815812320852, 0.012449828821130833, 0.012254019406968825] | 0.020578 | 0.048936 | 0.17952 | 7 | 166 | 9 | 67 | 9 | 47
0.25141 | 0.91481 | 0.85 | 79445.0326 | 1.1244 | -31645.781 | 6.7358e-05 | 0.14816 | 141.6269 | 41.6678 | 157299.476 | 2575366.9685 | 33.0641 | 33.5118 | 0.012752 | [42018.71999230769, 21804.895142307694, 15621.417415384614] | [1.2484653287865233, 1.0994381029774813, 1.0253019938594976] | [-9749.870579538276, -11244.766309300334, -10651.14406832482] | [7.075711410033614e-05, 6.67946466983507e-05, 6.45223218256218e-05] | [0.1473706633724875, 0.14806885815264112, 0.1490487782308541] | [153.39896958492824, 140.51909697321315, 130.9625439738705] | [43.41724708155659, 41.411670940263704, 40.174603467899885] | [202783.93961794677, 146735.5483789148, 122378.93989449425] | [0.2168674711053619, 0.17593492018962736, 0.13292598230347966] | [0.07100987742593394, 0.09523055448607498, 0.11255795301879437] | [166.0, 67.0, 48.0] | [0.67259463365068, 0.4588242732350735, 0.153302443179452] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013928386542197538, 0.012494184788111483, 0.011834604520360911] | 0.020662 | 0.048883 | 0.17947 | 7 | 166 | 9 | 67 | 9 | 48
0.25124 | 0.91032 | 0.85 | 80819.1387 | 1.1233 | -33542.9876 | 6.8075e-05 | 0.1476 | 143.3138 | 42.1109 | 161756.5994 | 2562997.4913 | 33.0587 | 33.4665 | 0.013004 | [42018.7199923077, 21804.895142307698, 16995.52357692308] | [1.246395362538514, 1.0993224814607454, 1.0241393241588044] | [-9797.36974315311, -11432.326497851347, -12313.291315074868] | [7.097518023733274e-05, 6.739453966987743e-05, 6.58560950172944e-05] | [0.14717112052112397, 0.14761414712842985, 0.1480121984406177] | [153.8467387718236, 141.9294309481004, 134.1652556771167] | [43.549884804966645, 41.77862699137766, 41.00405371597611] | [204052.1835710465, 150787.536228635, 130430.07839875433] | [0.2168674711053619, 0.17741592182333915, 0.13704686538947888] | [0.07160763109737184, 0.09613735333291802, 0.11495278071959447] | [166.0, 67.0, 47.0] | [0.6698379702646878, 0.45822959411097347, 0.1612927192218462] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.013996242490218731, 0.012702584997612608, 0.012313291315074866] | 0.02102 | 0.048639 | 0.17918 | 7 | 166 | 9 | 67 | 10 | 47
0.25123 | 0.90928 | 0.85 | 81180.7456 | 1.1232 | -33174.5839 | 6.7747e-05 | 0.14785 | 142.5542 | 41.9055 | 159826.4426 | 2560239.5026 | 33.0572 | 33.4659 | 0.012884 | [42018.7199923077, 21804.895142307698, 17357.130461538465] | [1.2459344542238613, 1.0992943445732377, 1.0243738410716012] | [-9807.99991992493, -11474.675162960348, -11891.908824401005] | [7.102388420012302e-05, 6.75293694441209e-05, 6.468722387651029e-05] | [0.1471267288856599, 0.14751266056574142, 0.14892505137141465] | [153.94677970260767, 142.24648893769827, 131.46946585256075] | [43.57950838460138, 41.86109583476171, 40.27602598717986] | [204336.517158786, 151707.85582786257, 123434.95483952438] | [0.2168674711053619, 0.17774771136128487, 0.13447739358527658] | [0.0717415461518439, 0.096342013314825, 0.1125579249622191] | [166.0, 67.0, 48.0] | [0.6692203943747344, 0.4580892342024128, 0.16307527041183786] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 9.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014011428457035614, 0.012749639069955942, 0.011891908824401005] | 0.021114 | 0.048584 | 0.17913 | 7 | 166 | 9 | 67 | 10 | 48
0.25127 | 0.9095 | 0.85 | 81180.7456 | 1.1207 | -33296.0406 | 6.7751e-05 | 0.14787 | 142.6017 | 41.9136 | 160001.7699 | 2560822.1035 | 33.0571 | 33.4606 | 0.012904 | [42018.7199923077, 23866.054384615385, 15295.971219230772] | [1.2460317977748252, 1.0939483313655634, 1.0221916459774163] | [-9805.753189815094, -12580.196927486544, -10910.090505031738] | [7.101359342280386e-05, 6.692609539611932e-05, 6.53119620049712e-05] | [0.14713610318798054, 0.14804906677811167, 0.1484168518527862] | [153.92564078067772, 141.2710305851808, 132.6083057644865] | [43.57324915881619, 41.498544928582774, 40.66911376082774] | [204276.40673049266, 148832.54127928315, 126896.36161073353] | [0.2168674711053619, 0.18036966044920452, 0.1330628774904061] | [0.07171323849185239, 0.09475689760680435, 0.11495277400062208] | [166.0, 66.0, 47.0] | [0.6693509407512112, 0.4747635068818784, 0.13616866650331594] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014008218842592991, 0.012580196927486544, 0.012122322783368597] | 0.021114 | 0.048596 | 0.17917 | 7 | 166 | 10 | 66 | 9 | 47
0.25127 | 0.90857 | 0.85 | 81506.1918 | 1.1207 | -32973.2053 | 6.7418e-05 | 0.14813 | 141.8347 | 41.7058 | 158084.6335 | 2558341.5876 | 33.0557 | 33.4608 | 0.012783 | [42018.71999230769, 23866.054384615385, 15621.417415384618] | [1.2456174140959912, 1.0939356847929127, 1.022417421842573] | [-9815.323453406516, -12621.945364479325, -10535.936436599057] | [7.105741728907734e-05, 6.704596528992791e-05, 6.415041571412274e-05] | [0.1470962019120339, 0.14795812574938508, 0.14933371354304462] | [154.01566593524714, 141.55369165153144, 129.93470602017265] | [43.59990438853898, 41.57188681536392, 39.94560459310138] | [204532.51288654841, 149648.22120099366, 120073.16645764894] | [0.2168674711053619, 0.1806729775135846, 0.13053142454502795] | [0.07183383443311195, 0.09493194512365669, 0.11255791901823413] | [166.0, 66.0, 48.0] | [0.6687947887892485, 0.4746762090857487, 0.13776231503981248] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014021890647723596, 0.012621945364479326, 0.01170659604066562] | 0.021199 | 0.048547 | 0.17913 | 7 | 166 | 10 | 66 | 9 | 48
0.25118 | 0.90445 | 0.85 | 82880.298 | 1.1197 | -34851.1633 | 6.8108e-05 | 0.14759 | 143.455 | 42.1323 | 162353.6313 | 2546961.9432 | 33.0503 | 33.4204 | 0.013026 | [42018.7199923077, 23866.054384615385, 16995.52357692308] | [1.2437188218107798, 1.0938693897668625, 1.0213955860151729] | [-9859.377437776766, -12815.727013733018, -12176.058863231587] | [7.125877298038496e-05, 6.760004025058553e-05, 6.546565795369216e-05] | [0.14691352981661635, 0.14754043520830995, 0.1483024265743302] | [154.42942981494542, 142.86047367861966, 133.0750179862062] | [43.72237463195939, 41.91086890060262, 40.76367253935599] | [205713.3593097654, 153454.94993688495, 127892.58479457404] | [0.2168674711053619, 0.18207050265272606, 0.1344493007099937] | [0.07238947695831276, 0.09574419899045006, 0.11495274570690864] | [166.0, 66.0, 47.0] | [0.6662323366871151, 0.47424628482544695, 0.1450808570896371] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014084824911109664, 0.012815727013733017, 0.012176058863231587] | 0.021556 | 0.048322 | 0.1789 | 7 | 166 | 10 | 66 | 10 | 47
0.25118 | 0.90348 | 0.85 | 83241.9048 | 1.1196 | -34488.1227 | 6.7778e-05 | 0.14785 | 142.692 | 41.9257 | 160444.1817 | 2544386.1273 | 33.0487 | 33.4201 | 0.012906 | [42018.7199923077, 23866.054384615385, 17357.13046153846] | [1.2432896339039012, 1.0938524873601208, 1.0216084810642574] | [-9869.38325549776, -12860.108393750561, -11758.631072012526] | [7.130442051871743e-05, 6.772640736761487e-05, 6.430172438311665e-05] | [0.14687226814392884, 0.14744578171328207, 0.14921840275903245] | [154.52325998003718, 143.15856466499028, 130.39416038960076] | [43.750138435531206, 41.98817408090317, 40.038691257123176] | [205982.00434195512, 154331.55552207615, 121018.98535050215] | [0.2168674711053619, 0.18238820727886607, 0.13190398739711745] | [0.07251579325545277, 0.09593017265244905, 0.11255789065272212] | [166.0, 66.0, 48.0] | [0.6656498055217336, 0.47414222437209724, 0.1467390660158718] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.01409911893642537, 0.01286010839375056, 0.011758631072012525] | 0.02165 | 0.048271 | 0.17887 | 7 | 166 | 10 | 66 | 10 | 48
0.25127 | 0.90849 | 0.85 | 81542.3525 | 1.1206 | -32951.8164 | 6.7434e-05 | 0.14811 | 141.8484 | 41.7176 | 157907.3127 | 2558116.8738 | 33.0555 | 33.4539 | 0.01279 | [42018.7199923077, 24227.66126923077, 15295.971219230772] | [1.2455798837355294, 1.0944107473033369, 1.0218424843990441] | [-9816.191013751364, -12239.80309268516, -10895.822267592113] | [7.106138855547495e-05, 6.597483593417614e-05, 6.526651010765267e-05] | [0.14709258865295563, 0.14878835732697462, 0.14845109577906637] | [154.02382440334526, 139.0389926995478, 132.4824888339454] | [43.60231984808531, 40.90922002125567, 40.64111644012528] | [204555.73674316873, 142558.93242661352, 126607.26880662047] | [0.2168674711053619, 0.17800345665617545, 0.1327698788044846] | [0.07184476865038407, 0.09313707916135487, 0.11495276757399765] | [166.0, 67.0, 47.0] | [0.6687443635017383, 0.47688048538259087, 0.13426141330886857] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014023130019644807, 0.01223980309268516, 0.012106469186213461] | 0.021208 | 0.048542 | 0.17912 | 7 | 166 | 10 | 67 | 9 | 47
0.25126 | 0.90757 | 0.85 | 81867.7987 | 1.1205 | -32627.8221 | 6.7101e-05 | 0.14837 | 141.0795 | 41.5092 | 155980.4724 | 2555656.1816 | 33.0542 | 33.4541 | 0.012669 | [42018.71999230769, 24227.661269230775, 15621.417415384614] | [1.2451690152939274, 1.0943995040623204, 1.0220651844764166] | [-9825.69734565595, -12280.061821588235, -10522.062891666683] | [7.110488821731264e-05, 6.609193441127343e-05, 6.410548125689738e-05] | [0.14705303813323903, 0.1486978168633728, 0.14936837391342733] | [154.11319439384448, 139.31469631998468, 129.81047286361022] | [43.62877776475453, 40.9808674717177, 39.91792677638059] | [204810.29391607508, 143333.5072235666, 119797.61620936764] | [0.2168674711053619, 0.17830035823261284, 0.13024091934228016] | [0.07196460241918712, 0.09330692728999174, 0.11255791272588933] | [166.0, 67.0, 48.0] | [0.6681917266976287, 0.47679876865566495, 0.13583813149928767] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 9.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014036710493794216, 0.012280061821588233, 0.011691180990740757] | 0.021293 | 0.048494 | 0.17908 | 7 | 166 | 10 | 67 | 9 | 48
0.25118 | 0.90348 | 0.85 | 83241.9048 | 1.1196 | -34495.5237 | 6.7785e-05 | 0.14783 | 142.6845 | 41.9321 | 160171.1483 | 2544384.9997 | 33.0487 | 33.4143 | 0.012908 | [42018.7199923077, 24227.66126923077, 16995.52357692308] | [1.243289446061617, 1.0943398883130488, 1.0210598312104648] | [-9869.38763856729, -12466.620811085291, -12159.51520692634] | [7.130444050778802e-05, 6.663233164076159e-05, 6.541842180125753e-05] | [0.14687225008755506, 0.14828260274004992, 0.14833778782630888] | [154.52330107068093, 140.58726100704942, 132.94305514760546] | [43.750150593282946, 41.31148752792897, 40.734580454552635] | [205982.12205852848, 146942.2381869018, 127589.08472814609] | [0.2168674711053619, 0.17966613234670484, 0.1341336449769034] | [0.07251584859776641, 0.09409375095394713, 0.11495273926368108] | [166.0, 67.0, 47.0] | [0.6656495503003854, 0.4763956886218982, 0.14306800022847005] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014099125197953272, 0.01246662081108529, 0.012159515206926342] | 0.02165 | 0.048271 | 0.17887 | 7 | 166 | 10 | 67 | 10 | 47
0.25119 | 0.90252 | 0.85 | 83603.5117 | 1.1195 | -34131.3179 | 6.7454e-05 | 0.14809 | 141.9195 | 41.7249 | 158251.3156 | 2541828.6186 | 33.0472 | 33.4141 | 0.012788 | [42018.7199923077, 24227.66126923077, 17357.130461538465] | [1.242863705315751, 1.0943245034776201, 1.021269915151961] | [-9879.330414551348, -12509.429626637697, -11742.55782858889] | [7.134976911611387e-05, 6.675582033927976e-05, 6.425506487084862e-05] | [0.1468313314667328, 0.14818831964454854, 0.14925416242757925] | [154.61648644964257, 140.87811219860424, 130.2639472921251] | [43.77772029906931, 41.38703325560705, 40.00995512702282] | [206249.2375792799, 147774.78994065744, 120729.91928262846] | [0.2168674711053619, 0.17997722598534294, 0.13159113387949958] | [0.0726414104880601, 0.09427424516740268, 0.11255788434476552] | [166.0, 67.0, 48.0] | [0.6650704984670498, 0.47629765783980077, 0.14470947798218242] | [0.0008636, 0.0008636, 0.0008636] | [7.0, 10.0, 10.0] | [0.85, 0.85, 0.85] | [1.9, 1.9, 1.9] | [0.1, 0.1, 0.1] | [None, None, None] | [None, None, None] | [0.014113329163644783, 0.012509429626637696, 0.011742557828588891] | 0.021744 | 0.048221 | 0.17883 | 7 | 166 | 10 | 67 | 10 | 48