## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.24957 | 0.90979 | 0.85 | 78251.7298 | 1.0772 | -38511.9689 | 9.7685e-05 | 1.2902 | 70.7646 | 60.417 | 226642.2022 | 2561033.9214 | 33.0754 | 33.3684 | 0.029124 | [43212.02271153846, 18550.433180769232, 16489.27393846154] | [1.1398473635293673, 1.074008677529716, 1.0178660015978649] | [-26057.103451209914, -4943.027381769694, -7511.838091113361] | [0.00011762646847301411, 8.612343570041435e-05, 8.930545401520923e-05] | [1.1805795033174538, 1.357519288075838, 1.3324809429497368] | [104.21800614122222, 52.88359909458914, 55.19221674487329] | [72.22039765151942, 53.424627701199846, 55.60609752773075] | [525980.2443834391, 72114.77934977005, 81831.58291275645] | [0.15062761591418442, 0.06322833079823156, 0.05623174420697818] | [0.04523868019455061, 0.03748782947131879, 0.047392841769791624] | [239.0, 171.0, 114.0] | [0.6996983452670118, 0.4072069511172879, 0.15726273730554108] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05211420690241983, 0.01647675793923231, 0.0187795952277834] | 0.020352 | 0.0486 | 0.17822 | 5 | 239 | 3 | 171 | 4 | 114
0.24956 | 0.90935 | 0.85 | 78396.3726 | 1.0772 | -38422.699 | 9.7582e-05 | 1.2909 | 70.6398 | 60.3526 | 226193.1812 | 2559877.5831 | 33.0748 | 33.3671 | 0.029049 | [43212.02271153847, 18550.433180769232, 16633.916692307695] | [1.1397582546795113, 1.0740387000265748, 1.0178937803291999] | [-26070.206176033025, -4951.921249794684, -7400.571566845791] | [0.00011765014448691694, 8.616923151550395e-05, 8.89276024350724e-05] | [1.1804434431389752, 1.3571713707639395, 1.335197063904423] | [104.2493427304909, 52.93937456843279, 54.73079438977137] | [72.23468144822405, 53.452368882019606, 55.37067966817343] | [526307.3573816649, 72326.9480905466, 79945.23812528291] | [0.1506276159141844, 0.0632875999457764, 0.055796848650715734] | [0.045281086153672656, 0.03752419646100766, 0.04698072908557599] | [239.0, 171.0, 115.0] | [0.6994167735644865, 0.4071873772254384, 0.1580798917337925] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05214041235206605, 0.016506404165982275, 0.018501428917114475] | 0.02039 | 0.048577 | 0.1782 | 5 | 239 | 3 | 171 | 4 | 115
0.24956 | 0.89853 | 0.85 | 82374.0483 | 1.0763 | -41083.3953 | 9.8394e-05 | 1.2853 | 71.699 | 60.8459 | 232043.4805 | 2530291.6595 | 33.0584 | 33.2992 | 0.029694 | [43212.02271153847, 18550.433180769232, 20611.592423076927] | [1.1374754401134914, 1.0747560703222967, 1.0165775464209779] | [-26408.137091942135, -5185.9713843928785, -9489.286869265245] | [0.00011825605129423058, 8.735480162057858e-05, 8.956993574522335e-05] | [1.176983334078565, 1.3482569635686472, 1.3306368109782603] | [105.05411710091184, 54.39132663271751, 55.65164925905721] | [72.60022290703219, 54.170370205825634, 55.76722150334515] | [534776.7183497704, 77989.05164031335, 83364.67149563904] | [0.15062761591418442, 0.064818727630949, 0.05771933931848477] | [0.0463765791836497, 0.038479559545656516, 0.04739281256030749] | [239.0, 171.0, 114.0] | [0.6921428264050618, 0.4064491310498287, 0.17899307558759742] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.052816274183884265, 0.017286571281309598, 0.01897857373853049] | 0.021424 | 0.047993 | 0.17775 | 5 | 239 | 3 | 171 | 5 | 114
0.24957 | 0.89808 | 0.85 | 82554.8518 | 1.0763 | -40966.9407 | 9.8292e-05 | 1.286 | 71.5757 | 60.7823 | 231603.3249 | 2529061.9837 | 33.0576 | 33.2978 | 0.029621 | [43212.02271153846, 18550.433180769232, 20792.39586538462] | [1.137380449663555, 1.0747837403420768, 1.0165987609897769] | [-26422.294605803745, -5195.973665858104, -9348.672428169004] | [0.00011828123915940046, 8.740464953457248e-05, 8.919069811019242e-05] | [1.1768404019087344, 1.34788600955752, 1.3333515932438529] | [105.08768985959111, 54.452713943108925, 55.186726779712515] | [72.61541852231345, 54.20055209202086, 55.53095452755481] | [535132.924629884, 78234.37560949157, 81442.67449815062] | [0.15062761591418442, 0.06488297305029127, 0.05727803856246508] | [0.0464225455715473, 0.03852031833148237, 0.046980699852188765] | [239.0, 171.0, 115.0] | [0.6918376159951685, 0.40640855478499327, 0.17986221444722414] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05284458921160749, 0.017319912219527014, 0.01869734485633801] | 0.021471 | 0.047968 | 0.17773 | 5 | 239 | 3 | 171 | 5 | 115
0.24956 | 0.90946 | 0.85 | 78360.2119 | 1.0772 | -38463.6603 | 9.7596e-05 | 1.2909 | 70.657 | 60.3615 | 226291.8157 | 2560163.8751 | 33.075 | 33.3666 | 0.029067 | [43212.02271153846, 18658.915246153847, 16489.27393846154] | [1.1397803175478667, 1.0740305487691804, 1.01775885927495] | [-26066.961403565565, -4889.251327094157, -7507.447601975888] | [0.0001176442826176677, 8.585172771329808e-05, 8.92906097578483e-05] | [1.1804771238212373, 1.359598197277435, 1.3325857336779932] | [104.241583433236, 52.55962383518058, 55.169663721018196] | [72.23114496933462, 53.25635255726436, 55.59703528648676] | [526226.3419595708, 70900.17151388971, 81748.93352204555] | [0.15062761591418442, 0.06290505592623316, 0.05617808268256371] | [0.0452705841812222, 0.03723431061518758, 0.047392840994687636] | [239.0, 172.0, 114.0] | [0.6994865056967757, 0.4081904541990667, 0.1564573588708356] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05213392280713112, 0.01629750442364719, 0.01876861900493972] | 0.02038 | 0.048583 | 0.17821 | 5 | 239 | 3 | 172 | 4 | 114
0.24956 | 0.90903 | 0.85 | 78504.8547 | 1.0772 | -38374.2772 | 9.7493e-05 | 1.2916 | 70.532 | 60.297 | 225841.6236 | 2559011.3186 | 33.0744 | 33.3653 | 0.028992 | [43212.02271153846, 18658.915246153847, 16633.916692307695] | [1.139691493288215, 1.0740606670615853, 1.0177865116338363] | [-26080.027175832907, -4898.017453218576, -7396.232523463084] | [0.00011766788154525274, 8.589721478480096e-05, 8.89127789074583e-05] | [1.1803415550447485, 1.3592510150032442, 1.3353023454536634] | [104.27282418458549, 52.61486068871835, 54.70835077415499] | [72.24538225111077, 53.28390698607321, 55.361630252615555] | [526552.603313837, 71108.04637273222, 79864.2210000325] | [0.1506276159141844, 0.0629638200624661, 0.055743338957164316] | [0.04531287468930615, 0.03727025569810405, 0.04698072831701347] | [239.0, 172.0, 115.0] | [0.6992057006376056, 0.40817180889369026, 0.15727131373989758] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05216005435166582, 0.01632672484406192, 0.01849058130865771] | 0.020418 | 0.04856 | 0.17818 | 5 | 239 | 3 | 172 | 4 | 115
0.24956 | 0.89825 | 0.85 | 82482.5304 | 1.0762 | -41028.9915 | 9.83e-05 | 1.286 | 71.5849 | 60.7881 | 231642.4345 | 2529524.3437 | 33.0579 | 33.2977 | 0.029632 | [43212.02271153847, 18658.915246153847, 20611.592423076927] | [1.1374161671596317, 1.07478085936508, 1.016478857104921] | [-26416.970307143394, -5128.670880723141, -9483.350334204] | [0.00011827176844891672, 8.707468982324932e-05, 8.955413254174654e-05] | [1.1768941363825312, 1.350355842924914, 1.3307472478264633] | [105.07506529844834, 54.052626852793296, 55.62697270986482] | [72.60970492796844, 53.99701330113131, 55.75757833431874] | [534998.9509441124, 76654.4187720407, 83273.93389043816] | [0.1506276159141844, 0.06448172491350099, 0.05765683783997125] | [0.04640525809674547, 0.038214415777655365, 0.04739281177829969] | [239.0, 172.0, 114.0] | [0.6919524024086124, 0.4074587302858947, 0.17810265796850064] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.052833940614286784, 0.017095569602410467, 0.018966700668408] | 0.021452 | 0.047977 | 0.17774 | 5 | 239 | 3 | 172 | 5 | 114
0.24957 | 0.89779 | 0.85 | 82663.3338 | 1.0762 | -40912.4355 | 9.8199e-05 | 1.2867 | 71.4614 | 60.7244 | 231200.9866 | 2528298.2115 | 33.0572 | 33.2963 | 0.029559 | [43212.02271153846, 18658.915246153847, 20792.39586538462] | [1.137321445481385, 1.0748086773729761, 1.0165000075361115] | [-26431.0925885158, -5138.5318407163495, -9342.81103603645] | [0.00011829688391078062, 8.712421983111134e-05, 8.917493272178518e-05] | [1.1767516597139667, 1.3499855060536967, 1.3334624337287906] | [105.1085474059349, 54.113440301652204, 55.1621899272079] | [72.62485685691651, 54.02700303518225, 55.52133461322127] | [535354.3402160361, 76894.80957028634, 81353.8099794199] | [0.15062761591418442, 0.06454544246845098, 0.05721574520120125] | [0.04645111340825761, 0.03825471336126828, 0.046980699076872724] | [239.0, 172.0, 115.0] | [0.6916479295839074, 0.4074192373786544, 0.1789688671954261] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.052862185177031604, 0.017128439469054495, 0.0186856220720729] | 0.021499 | 0.047953 | 0.17772 | 5 | 239 | 3 | 172 | 5 | 115
0.24969 | 0.89351 | 0.85 | 84435.2076 | 1.0711 | -40172.3787 | 9.7307e-05 | 1.2939 | 70.4324 | 60.1852 | 228180.3447 | 2516786.185 | 33.0496 | 33.2731 | 0.02905 | [43212.02271153846, 24733.910907692312, 16489.27393846154] | [1.136431741543949, 1.0643857282341322, 1.012383733354199] | [-26564.120319197693, -6314.740422641771, -7293.517912779396] | [0.00011853270299196398, 8.483265517929624e-05, 8.855541868370164e-05] | [1.1754173675863373, 1.3684059275966318, 1.3378304407776276] | [105.4233821021036, 51.81683303432685, 54.05686025238915] | [72.76712390454188, 52.640630602834996, 55.1479641427419] | [538707.4711909031, 68050.51648138938, 77783.04637590055] | [0.15062761591418442, 0.0655269654306941, 0.053507553030974396] | [0.046883309994345986, 0.03567170202064959, 0.047392797541829706] | [239.0, 171.0, 114.0] | [0.6887782091507354, 0.45573449450884046, 0.11433523449144226] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05312824063839539, 0.015786851056604427, 0.018233794781948493] | 0.02196 | 0.047726 | 0.17761 | 5 | 239 | 4 | 171 | 4 | 114
0.2497 | 0.89316 | 0.85 | 84579.8503 | 1.0711 | -40083.9658 | 9.72e-05 | 1.2947 | 70.3039 | 60.1183 | 227725.805 | 2515835.1983 | 33.049 | 33.2722 | 0.028974 | [43212.02271153846, 24733.910907692312, 16633.916692307695] | [1.1363582160482726, 1.0644133395790334, 1.012405616332151] | [-26575.144682884864, -6323.9640155242005, -7184.857134086594] | [0.00011855218445052607, 8.48690764629603e-05, 8.817872946454333e-05] | [1.1753074195713762, 1.3681236097870604, 1.3405710087983866] | [105.44942823484871, 51.86109705622764, 53.601132446135026] | [72.77887681860861, 52.6627062749418, 54.91326431904813] | [538985.7985183308, 68213.84024511023, 75977.77636588775] | [0.15062761591418442, 0.0655770536584768, 0.05308076314177258] | [0.046919147178240736, 0.03569758924739092, 0.04698068522950222] | [239.0, 171.0, 115.0] | [0.6885402559654676, 0.4557553761769392, 0.11497783540979503] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05315028936576973, 0.0158099100388105, 0.017962142835216483] | 0.021998 | 0.047707 | 0.1776 | 5 | 239 | 4 | 171 | 4 | 115
0.25013 | 0.88431 | 0.85 | 88557.526 | 1.0704 | -42618.5089 | 9.7877e-05 | 1.2899 | 71.1788 | 60.5305 | 232542.1626 | 2491601.8584 | 33.0323 | 33.2218 | 0.029506 | [43212.02271153847, 24733.910907692312, 20611.592423076927] | [1.1344833177685674, 1.065091090091321, 1.0115401943471523] | [-26857.88701703306, -6564.667711638994, -9195.954137658002] | [0.00011904864521115122, 8.580729161409096e-05, 8.877512602123365e-05] | [1.1725198659598175, 1.3609100341901503, 1.3362543121574497] | [106.11509465491811, 53.0060605789641, 54.41526283281438] | [73.07838367882167, 53.231265295595946, 55.281949951721685] | [546147.4158877663, 72523.97246617064, 78955.0995218597] | [0.15062761591418442, 0.06686300117050248, 0.05455876028251513] | [0.047839218410694245, 0.03637250685501008, 0.047392767916266225] | [239.0, 171.0, 114.0] | [0.6824311467710076, 0.45612671494218276, 0.1314084226260527] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.053715774034066126, 0.016411669279097485, 0.018391908275316005] | 0.023032 | 0.047228 | 0.17748 | 5 | 239 | 4 | 171 | 5 | 114
0.25015 | 0.88392 | 0.85 | 88738.3295 | 1.0704 | -42504.3393 | 9.7772e-05 | 1.2907 | 71.0523 | 60.4646 | 232098.7016 | 2490566.0952 | 33.0315 | 33.2207 | 0.029432 | [43212.02271153846, 24733.910907692312, 20792.39586538462] | [1.1344031320771992, 1.0651189276324617, 1.0115583029441706] | [-26870.04977178133, -6575.2019733960005, -9059.087551043107] | [0.00011906986523366764, 8.584782496856146e-05, 8.839783446050532e-05] | [1.172401330257254, 1.3606009211702363, 1.3389895258668008] | [106.1436291705605, 53.05573095646021, 53.95742712070196] | [73.0911853208693, 53.25582378178012, 55.046879707627056] | [546456.4990481383, 72714.69661002213, 77124.90922432745] | [0.1506276159141844, 0.06691837275821261, 0.05412821914235933] | [0.047878835739139564, 0.036402018721469726, 0.04698065558900322] | [239.0, 171.0, 115.0] | [0.6821680954845833, 0.45613564862409917, 0.1321129669462783] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05374009954356266, 0.016438004933490003, 0.018118175102086215] | 0.023079 | 0.047208 | 0.17747 | 5 | 239 | 4 | 171 | 5 | 115
0.2497 | 0.89317 | 0.85 | 84579.8503 | 1.071 | -40110.0881 | 9.7219e-05 | 1.2946 | 70.3279 | 60.1307 | 227862.5513 | 2515875.542 | 33.049 | 33.2714 | 0.028996 | [43212.02271153846, 24878.553661538463, 16489.27393846154] | [1.1363613353096202, 1.0643675537873625, 1.0122946351626918] | [-26574.676886549023, -6245.343732232727, -7290.067516349182] | [0.0001185513579851838, 8.456199451208335e-05, 8.854337310889192e-05] | [1.175312083048356, 1.3705256068875546, 1.3379172617244373] | [105.44832316023465, 51.496819583572815, 54.03870687786953] | [72.77837822277127, 52.47298357038487, 55.140599887404086] | [538973.9868832156, 66893.52348298737, 77720.14368005258] | [0.15062761591418442, 0.06519367860046625, 0.05346364024813554] | [0.04691762644050291, 0.03543520342027588, 0.047392796479901717] | [239.0, 172.0, 114.0] | [0.6885503534204684, 0.4565793220706818, 0.11360742306316006] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05314935377309805, 0.015613359330581819, 0.018225168790872954] | 0.021998 | 0.047708 | 0.1776 | 5 | 239 | 4 | 172 | 4 | 114
0.24971 | 0.89282 | 0.85 | 84724.4931 | 1.071 | -40021.547 | 9.7112e-05 | 1.2954 | 70.1993 | 60.0636 | 227407.0526 | 2514927.8257 | 33.0484 | 33.2705 | 0.02892 | [43212.02271153847, 24878.553661538463, 16633.916692307695] | [1.1362880586702098, 1.0643951799997926, 1.0123164218983791] | [-26585.668458823104, -6254.430334256012, -7181.448213574641] | [0.00011857077256016836, 8.45981523852676e-05, 8.816670268544868e-05] | [1.1752025531587227, 1.3702440223601182, 1.3406582294543603] | [105.47428526266103, 51.54063643732807, 53.58307069486242] | [72.79009078203117, 52.4948998196939, 54.90591168188289] | [539251.5512827624, 67053.46393450124, 75916.1425384741] | [0.15062761591418442, 0.06524333140876536, 0.05303698274266285] | [0.04695335984229139, 0.03546077334538505, 0.04698068417675407] | [239.0, 172.0, 115.0] | [0.6883130893801611, 0.4566008995065025, 0.11424691172697406] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05317133691764621, 0.015636075835640032, 0.017953620533936603] | 0.022036 | 0.047689 | 0.17759 | 5 | 239 | 4 | 172 | 4 | 115
0.25015 | 0.884 | 0.85 | 88702.1688 | 1.0703 | -42550.3965 | 9.7786e-05 | 1.2906 | 71.0691 | 60.474 | 232184.3776 | 2490779.6532 | 33.0317 | 33.2203 | 0.029449 | [43212.02271153847, 24878.553661538463, 20611.592423076927] | [1.1344196654038272, 1.065073554499192, 1.011458304902793] | [-26867.541479633306, -6491.523347972371, -9191.331630929895] | [0.00011906548999864711, 8.55294939062238e-05, 8.876237360038509e-05] | [1.1724257663728728, 1.363049602441027, 1.336345498449456] | [106.13774524955348, 52.67389975767812, 54.39552084758346] | [73.08854582389814, 53.05929985517308, 55.27415683162167] | [546392.75081435, 71273.48245882402, 78886.89952768982] | [0.15062761591418442, 0.06651795937019139, 0.05450787631202265] | [0.047870665320807186, 0.03612731336959641, 0.04739276685172548] | [239.0, 172.0, 114.0] | [0.6822223454541743, 0.4569913134897798, 0.13059717792981176] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05373508295926661, 0.016228808369930927, 0.018382663261859788] | 0.02307 | 0.047212 | 0.17747 | 5 | 239 | 4 | 172 | 5 | 114
0.25017 | 0.88362 | 0.85 | 88882.9722 | 1.0703 | -42436.1013 | 9.7681e-05 | 1.2914 | 70.9424 | 60.408 | 231739.8448 | 2489746.9801 | 33.0309 | 33.2193 | 0.029374 | [43212.02271153846, 24878.553661538463, 20792.39586538462] | [1.1343397160422994, 1.0651014464974118, 1.0114763559025248] | [-26879.673005273326, -6501.9043676978845, -9054.523957063144] | [0.00011908664672122566, 8.55697510497527e-05, 8.838511192689833e-05] | [1.1723076236678145, 1.362741140087342, 1.3390810572566962] | [106.16619997954922, 52.72308677874389, 53.93779677751227] | [73.10130927490772, 53.08369128327975, 55.03910498667709] | [546701.1064965618, 71460.29677606633, 77058.13114658372] | [0.15062761591418442, 0.06657287094263412, 0.054077506183317435] | [0.04791018327252329, 0.03615647215745062, 0.046980654533780135] | [239.0, 172.0, 115.0] | [0.6819599540558993, 0.45700112680927285, 0.1312986754354737] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05375934601054665, 0.01625476091924471, 0.018109047914126288] | 0.023117 | 0.047192 | 0.17747 | 5 | 239 | 4 | 172 | 5 | 115
0.24954 | 0.90915 | 0.85 | 78432.5333 | 1.077 | -38215.8727 | 9.7508e-05 | 1.2912 | 70.4922 | 60.3092 | 223764.4574 | 2559346.4099 | 33.0747 | 33.3653 | 0.028913 | [43392.82615384615, 18550.433180769232, 16489.27393846154] | [1.1399507627181682, 1.073482850116398, 1.0176846121239684] | [-25796.236634797428, -4915.227857976625, -7504.408161162193] | [0.0001172572306940443, 8.598685953264554e-05, 8.92803268912948e-05] | [1.1824667931696478, 1.3585256071249479, 1.332658351437717] | [103.6183246375019, 52.70416524157552, 55.154042565424945] | [71.99501174026611, 53.3419434774536, 55.59075784381059] | [518175.08569856465, 71426.54653191919, 81691.73995074988] | [0.15000000084787532, 0.06295159718239655, 0.056140906350978716] | [0.04485301299245755, 0.03742727090065248, 0.04739284048076985] | [240.0, 171.0, 114.0] | [0.7010130320119008, 0.4055627543250159, 0.15589849471013986] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05159247326959485, 0.016384092859922084, 0.018761020402905483] | 0.020399 | 0.048567 | 0.17818 | 5 | 240 | 3 | 171 | 4 | 114
0.24953 | 0.90872 | 0.85 | 78577.176 | 1.077 | -38126.4259 | 9.7405e-05 | 1.292 | 70.3672 | 60.2447 | 223313.3486 | 2558196.5112 | 33.0741 | 33.3641 | 0.028838 | [43392.82615384615, 18550.433180769232, 16633.916692307692] | [1.1398622019022717, 1.073513303329681, 1.0177121802815776] | [-25809.174662740556, -4924.02238350342, -7393.228847352369] | [0.00011728079865991524, 8.603231672725108e-05, 8.89025108945325e-05] | [1.182330626969959, 1.3581794983022601, 1.335375299920063] | [103.64941371457246, 52.75946012297491, 54.692806152618346] | [72.00923040451619, 53.369480833444904, 55.35536199436839] | [518496.27857129753, 71635.60745295038, 79808.15991766396] | [0.1500000008803017, 0.06301046730080401, 0.05570626954876649] | [0.04489495795182289, 0.037463280690690916, 0.046980727807386324] | [240.0, 171.0, 115.0] | [0.7007333556221628, 0.40554654729611456, 0.15671025116094112] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05161834932548111, 0.0164134079450114, 0.01848307211838092] | 0.020437 | 0.048544 | 0.17816 | 5 | 240 | 3 | 171 | 4 | 115
0.24954 | 0.89796 | 0.85 | 82554.8518 | 1.0761 | -40777.4823 | 9.8212e-05 | 1.2863 | 71.4188 | 60.7354 | 229078.6129 | 2528779.0787 | 33.0576 | 33.2967 | 0.029476 | [43392.82615384615, 18550.433180769232, 20611.592423076923] | [1.1375935282566, 1.074242537487663, 1.0164105506835397] | [-26142.81599625644, -5155.420147040986, -9479.246203304921] | [0.00011788388302483971, 8.720902988816417e-05, 8.954319979338958e-05] | [1.1788680971632768, 1.3493116070300801, 1.3308236799452353] | [104.44774622165338, 54.19874341276034, 55.60990323221845] | [72.37307029701351, 54.0821515784257, 55.75090723061984] | [526811.1054432855, 77213.49974007517, 83211.23340326057] | [0.15000000088030077, 0.06453118835192713, 0.05761359195332896] | [0.045978471700748084, 0.038409061302219306, 0.04739281125849431] | [240.0, 171.0, 114.0] | [0.6935088380714826, 0.4048966201301944, 0.17748543050716048] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.052285631992512877, 0.017184733823469956, 0.018958492406609843] | 0.021471 | 0.047963 | 0.17771 | 5 | 240 | 3 | 171 | 5 | 114
0.24955 | 0.89751 | 0.85 | 82735.6552 | 1.0761 | -40660.8804 | 9.8111e-05 | 1.2871 | 71.2953 | 60.6717 | 228636.2761 | 2527555.4443 | 33.0569 | 33.2953 | 0.029403 | [43392.82615384615, 18550.433180769236, 20792.39586538462] | [1.137499044232818, 1.0742707615915248, 1.0164316599448058] | [-26156.804815198866, -5165.316516957583, -9338.759060194061] | [0.00011790897407052935, 8.725854688423337e-05, 8.916402666928351e-05] | [1.1787249458116626, 1.3489422582885013, 1.3335391415219362] | [104.48107710461113, 54.259644125379, 55.14521792110084] | [72.3882075454822, 54.11213449188132, 55.5146799223964] | [527161.0791327978, 77455.34210810598, 81292.40709650707] | [0.15000000084787532, 0.06459505127301216, 0.05717264540746747] | [0.046023974032021166, 0.038449439893910864, 0.04698069856146815] | [240.0, 171.0, 115.0] | [0.6932054444096896, 0.40485977090515307, 0.1783496340951228] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05231360963039774, 0.017217721723191942, 0.018677518120388124] | 0.021518 | 0.047939 | 0.1777 | 5 | 240 | 3 | 171 | 5 | 115
0.24953 | 0.90883 | 0.85 | 78541.0153 | 1.077 | -38167.8119 | 9.7419e-05 | 1.2919 | 70.385 | 60.2538 | 223416.86 | 2558482.0091 | 33.0742 | 33.3635 | 0.028856 | [43392.82615384615, 18658.915246153847, 16489.27393846154] | [1.1398841907595247, 1.0735041992678487, 1.017578664326942] | [-25805.96167134077, -4861.775011196234, -7500.0752195144405] | [0.00011727494713649134, 8.571574328651793e-05, 8.92656614959173e-05] | [1.1823644286841735, 1.3606045882346642, 1.3327619505019448] | [103.64169406445095, 52.38141564141971, 55.13176653334041] | [72.0057001541263, 53.17402623744099, 55.58180444759201] | [518416.50586988113, 70223.8161963252, 81610.25793774253] | [0.15000000084787532, 0.06262959200309295, 0.05608787127897417] | [0.04488454093554996, 0.03717451933606426, 0.047392839705183175] | [240.0, 172.0, 114.0] | [0.7008028131502845, 0.4065418957280097, 0.15509994709429856] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05161192334268155, 0.01620591670398745, 0.018750188048786098] | 0.020427 | 0.04855 | 0.17816 | 5 | 240 | 3 | 172 | 4 | 114
0.24953 | 0.9084 | 0.85 | 78685.6581 | 1.077 | -38078.2535 | 9.7316e-05 | 1.2927 | 70.2598 | 60.1892 | 222964.6017 | 2557335.8528 | 33.0736 | 33.3622 | 0.028782 | [43392.82615384615, 18658.915246153847, 16633.916692307695] | [1.139795910971704, 1.0735347446361336, 1.0176061080722676] | [-25818.863412902683, -4870.443351623113, -7388.946740656817] | [0.00011729843878420594, 8.576089453188549e-05, 8.888786612832251e-05] | [1.1822287517039076, 1.360259207979218, 1.3354793834463594] | [103.67268858394864, 52.43617731131118, 54.67063841940454] | [72.01987276640969, 53.20137852200774, 55.34642136028945] | [518736.86700840376, 70428.64941941803, 79728.28863872521] | [0.15000000084787532, 0.0626879616185649, 0.055653384964733627] | [0.04492637249330484, 0.037210112040374235, 0.04698072703834902] | [240.0, 172.0, 115.0] | [0.7005238929473165, 0.40652660192578866, 0.1559085248942962] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05163772682580537, 0.016234811172077042, 0.018472366851642046] | 0.020465 | 0.048527 | 0.17814 | 5 | 240 | 3 | 172 | 4 | 115
0.24955 | 0.89768 | 0.85 | 82663.3338 | 1.076 | -40723.4114 | 9.8119e-05 | 1.287 | 71.3052 | 60.6777 | 228681.2253 | 2528016.3231 | 33.0572 | 33.2952 | 0.029415 | [43392.82615384617, 18658.915246153847, 20611.592423076927] | [1.1375346324086961, 1.0742667005298392, 1.0163129730028824] | [-26151.53492138254, -5098.486493516101, -9473.389996633688] | [0.00011789952355047107, 8.692958649082544e-05, 8.95275918411349e-05] | [1.1787788551982716, 1.351410385817368, 1.330932834692333] | [104.46852196078581, 53.86141901962726, 55.58553719720103] | [72.38250611550662, 53.9091986748892, 55.741382817664] | [527029.223572439, 75892.62645790857, 83121.82579248655] | [0.1500000008478753, 0.06419557906221138, 0.05755183346734894] | [0.04600683166125149, 0.03814481985626616, 0.04739281047613007] | [240.0, 172.0, 114.0] | [0.693319743744127, 0.40590143017143615, 0.17660237336640577] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05230306984276508, 0.016994954978387003, 0.01894677999326738] | 0.021499 | 0.047948 | 0.1777 | 5 | 240 | 3 | 172 | 5 | 114
0.24955 | 0.89722 | 0.85 | 82844.1373 | 1.076 | -40606.7094 | 9.8017e-05 | 1.2878 | 71.1815 | 60.6139 | 228237.6186 | 2526796.1951 | 33.0564 | 33.2939 | 0.029341 | [43392.82615444259, 18658.915246153807, 20792.395865384504] | [1.1374404138482155, 1.0742950685386563, 1.0163340189339927] | [-26165.489149236055, -5108.243190914561, -9332.977030543147] | [0.00011792454289014329, 8.697878823179953e-05, 8.914845617120253e-05] | [1.1786361574192903, 1.3510416492195623, 1.3336486950103121] | [104.50176340862245, 53.92175126082043, 55.120989942945585] | [72.39760011049685, 53.93899102120355, 55.50517851925372] | [527378.3996581329, 76129.60985905286, 81204.84624802509] | [0.15000000000052321, 0.06425891847152598, 0.057111092796816004] | [0.046052224901910147, 0.038184742276940804, 0.04698069778543965] | [240.0, 172.0, 115.0] | [0.6930170799991547, 0.40586564942202324, 0.17746366083838458] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05233097829847211, 0.017027477303048537, 0.018665954061086294] | 0.021547 | 0.047924 | 0.17769 | 5 | 240 | 3 | 172 | 5 | 115
0.24968 | 0.89297 | 0.85 | 84616.011 | 1.0709 | -39866.7419 | 9.7136e-05 | 1.2949 | 70.1654 | 60.0809 | 225263.0236 | 2515359.2432 | 33.0488 | 33.2708 | 0.028839 | [43392.82615384615, 24733.910907692312, 16489.27393846154] | [1.1365568505204677, 1.0639171036662443, 1.0122656433680848] | [-26296.719121180304, -6281.077170944696, -7288.94565697216] | [0.00011815907922334482, 8.470853169140507e-05, 8.85394516003935e-05] | [1.1773019483942018, 1.3693254639762698, 1.3379455428142135] | [104.81382720362276, 51.649699467604364, 54.03279684353002] | [72.53909365692503, 52.56546825521243, 55.13820326547244] | [530667.4882427115, 67421.90843296409, 77699.67422036115] | [0.15000000084787535, 0.06523421451827545, 0.053449353796763355] | [0.046479377844271266, 0.03563290253117557, 0.04739279623121091] | [240.0, 171.0, 114.0] | [0.6901689754566903, 0.45388639260664154, 0.11337037952851577] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0525934382423606, 0.01570269292736174, 0.0182223641424304] | 0.022007 | 0.047698 | 0.17758 | 5 | 240 | 4 | 171 | 4 | 114
0.24969 | 0.89262 | 0.85 | 84760.6538 | 1.0709 | -39778.1618 | 9.7029e-05 | 1.2956 | 70.0368 | 60.0139 | 224806.7051 | 2514412.6437 | 33.0482 | 33.27 | 0.028764 | [43392.82615384615, 24733.910907692312, 16633.916692307695] | [1.1364836898578534, 1.0639449444900417, 1.0122874046561434] | [-26307.615371539618, -6290.206378748565, -7180.340062108989] | [0.0001181784921685987, 8.474470974848518e-05, 8.816278809063905e-05] | [1.1771917938394705, 1.3690444724010697, 1.340686634966988] | [104.83969386889316, 51.69362070493584, 53.5771916965504] | [72.55080526717242, 52.58739746430048, 54.9035193233042] | [530941.0205976308, 67583.00445907874, 75896.09014915957] | [0.15000000084787532, 0.06528402195821009, 0.05302274225309568] | [0.04651486564522469, 0.035658569351497096, 0.04698068393013134] | [240.0, 171.0, 115.0] | [0.68993235590898, 0.45390981473506603, 0.1140089016220819] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.052615230743079236, 0.015725515946871414, 0.017950850155272473] | 0.022045 | 0.047679 | 0.17757 | 5 | 240 | 4 | 171 | 4 | 115
0.25013 | 0.88381 | 0.85 | 88738.3295 | 1.0702 | -42305.302 | 9.7703e-05 | 1.2909 | 70.9065 | 60.4243 | 229559.0028 | 2490293.4553 | 33.0315 | 33.2199 | 0.029292 | [43392.82615384615, 24733.910907692312, 20611.592423076927] | [1.1346181519415977, 1.0646289845099346, 1.0114318037146446] | [-26587.04697399718, -6528.418170915154, -9189.836819797425] | [0.00011867317129577367, 8.567659820011124e-05, 8.875824465317384e-05] | [1.1743991874213315, 1.3618649901857023, 1.336375039097726] | [105.50072185383405, 52.82962087281506, 54.38912910057786] | [72.84923794017969, 53.15214712151227, 55.271634419545556] | [537978.507170613, 71833.67124595393, 78864.82996958989] | [0.15000000084787532, 0.06656271070246321, 0.05449141242282227] | [0.04742593137550504, 0.036327608281881515, 0.047392766600136395] | [240.0, 171.0, 114.0] | [0.6838577232368162, 0.4543472881888192, 0.13033436757040442] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.053174093947994355, 0.01632104542728789, 0.018379673639594852] | 0.023079 | 0.047202 | 0.17745 | 5 | 240 | 4 | 171 | 5 | 114
0.25015 | 0.88343 | 0.85 | 88919.1329 | 1.0702 | -42190.975 | 9.7597e-05 | 1.2916 | 70.7798 | 60.3584 | 229113.6196 | 2489261.8403 | 33.0307 | 33.2189 | 0.029217 | [43392.82615384615, 24733.910907692312, 20792.395865384617] | [1.1345383046818978, 1.0646571327037195, 1.0114498420624547] | [-26599.075932920776, -6538.850547032269, -9053.048527214183] | [0.000118694330693695, 8.571688811008492e-05, 8.838099358428812e-05] | [1.1742803489344023, 1.361557098367864, 1.3391107030197396] | [105.52907817491223, 52.878938024571255, 53.93144262301634] | [72.86200303162857, 53.17655916636555, 55.03658909399064] | [538282.445709388, 72021.88653257326, 77036.52668100281] | [0.15000000084787532, 0.06661781199096445, 0.05406110134509901] | [0.04746519104356217, 0.03635688102155781, 0.04698065428431487] | [240.0, 171.0, 115.0] | [0.6835959557320145, 0.45435911836379267, 0.13103493635986851] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05319815186584156, 0.01634712636758067, 0.018106097054428366] | 0.023127 | 0.047182 | 0.17745 | 5 | 240 | 4 | 171 | 5 | 115
0.2497 | 0.89264 | 0.85 | 84760.6538 | 1.0709 | -39804.7776 | 9.7048e-05 | 1.2956 | 70.0615 | 60.0265 | 224947.6447 | 2514453.6637 | 33.0482 | 33.2691 | 0.028786 | [43392.82615384615, 24878.553661538463, 16489.27393846154] | [1.1364868602998535, 1.0638988781879863, 1.0121776578277397] | [-26307.143082649764, -6212.092708978102, -7285.54184325271] | [0.00011817765092389618, 8.443849810493479e-05, 8.852756057622073e-05] | [1.1771965664150197, 1.3714444851151648, 1.3380312882263632] | [104.83857284106668, 51.33091584058402, 54.01488040636711] | [72.55029775387166, 52.39820073369234, 55.13093322623789] | [530929.1631849979, 66276.10611484657, 77637.66492611183] | [0.15000000084787532, 0.06490231729188832, 0.05340600427598764] | [0.04651332739251996, 0.035397002834084826, 0.04739279516895412] | [240.0, 172.0, 114.0] | [0.6899426124087373, 0.4547279874835009, 0.11265034456114942] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.05261428616529953, 0.015530231772445254, 0.018213854608131776] | 0.022045 | 0.04768 | 0.17758 | 5 | 240 | 4 | 172 | 4 | 114
0.2497 | 0.89228 | 0.85 | 84905.2965 | 1.0708 | -39716.0708 | 9.6941e-05 | 1.2963 | 69.9327 | 59.9594 | 224490.3836 | 2513510.3024 | 33.0476 | 33.2683 | 0.02871 | [43392.82615384615, 24878.553661538463, 16633.916692307695] | [1.1364139455900895, 1.0639267313302718, 1.0121993242843028] | [-26318.007121004186, -6221.086511132186, -7176.977177950715] | [0.00011819699760622364, 8.447441508621395e-05, 8.815091563148859e-05] | [1.1770868284980835, 1.3711642200796175, 1.3407727752246614] | [104.8643565523424, 51.37439419668035, 53.5593657292179] | [72.56196938336548, 52.41997192487613, 54.89626075981762] | [531201.9503399336, 66433.86842070673, 75835.33210736433] | [0.15000000084787532, 0.0649516928314166, 0.05297952359958682] | [0.046548713195848565, 0.03542235589507259, 0.04698068287706035] | [240.0, 172.0, 115.0] | [0.6897066729918807, 0.4547520897636605, 0.11328578292459153] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.052636014242008373, 0.015552716277830466, 0.017942442944876784] | 0.022083 | 0.047661 | 0.17757 | 5 | 240 | 4 | 172 | 4 | 115
0.25015 | 0.88351 | 0.85 | 88882.9722 | 1.0702 | -42237.5923 | 9.7612e-05 | 1.2916 | 70.7972 | 60.368 | 229204.2906 | 2489475.427 | 33.0309 | 33.2184 | 0.029234 | [43392.82615384615, 24878.553661538463, 20611.592423076927] | [1.1345548366789784, 1.0646113252278284, 1.0113509417756223] | [-26596.584923922546, -6455.730021897652, -9185.277318105977] | [0.00011868994982526383, 8.539949151307201e-05, 8.874565648770895e-05] | [1.1743049493007924, 1.3640037179342615, 1.3364650955834236] | [105.52320669644568, 52.49880784761713, 54.36964646013509] | [72.85936013137706, 52.98059966303581, 55.26394138389588] | [538219.4980757243, 70595.7615756659, 78797.61208818172] | [0.15000000084787532, 0.0662191545011929, 0.054441187316901306] | [0.04745706072585491, 0.03608311252399273, 0.047392765535377364] | [240.0, 172.0, 114.0] | [0.6836501653801286, 0.4552082208204333, 0.1295316547114658] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0531931698478451, 0.01613932505474413, 0.018370554636211952] | 0.023117 | 0.047186 | 0.17745 | 5 | 240 | 4 | 172 | 5 | 114
0.25017 | 0.88312 | 0.85 | 89063.7757 | 1.0702 | -42123.1412 | 9.7506e-05 | 1.2924 | 70.6704 | 60.3019 | 228757.8529 | 2488446.8732 | 33.0301 | 33.2174 | 0.02916 | [43392.82615384615, 24878.553661538463, 20792.395865384617] | [1.134475223119985, 1.0646395247757081, 1.0113689231347789] | [-26608.583196306994, -6466.010832770447, -9048.547128916207] | [0.00011871104648041953, 8.543950741081427e-05, 8.836843486424432e-05] | [1.1741865026427178, 1.36369647159121, 1.3392011009035287] | [105.55148422166319, 52.54764590438454, 53.912070108152065] | [72.87208736757628, 53.004845971153486, 55.02891418625601] | [538522.7259127422, 70780.12237486217, 76970.71032105113] | [0.15000000084787532, 0.06627379910248776, 0.05401104505632874] | [0.047496222690116226, 0.03611203593882445, 0.04698065322887846] | [240.0, 172.0, 115.0] | [0.6833890493707887, 0.45522091433642176, 0.13022920009913944] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.053217166392613986, 0.016165027081926117, 0.018097094257832413] | 0.023164 | 0.047166 | 0.17745 | 5 | 240 | 4 | 172 | 5 | 115
0.24995 | 0.88798 | 0.85 | 86894.1344 | 1.0638 | -38623.7432 | 9.3564e-05 | 1.3184 | 65.364 | 57.923 | 190860.6494 | 2501961.6883 | 33.0389 | 33.2455 | 0.025635 | [51854.42725384616, 18550.433180769232, 16489.27393846154] | [1.1302959171997746, 1.0500539259994035, 1.0110487827013206] | [-27483.227514522656, -3898.434061569742, -7242.081629303505] | [0.00011176106493672366, 8.055525097716976e-05, 8.837525177647432e-05] | [1.2154037013368424, 1.400600115912138, 1.3391319970652602] | [96.56984744612468, 45.73647703331697, 53.78569247301114] | [68.68114279366905, 50.05005093537778, 55.03778262402638] | [447668.34070372983, 48064.4216868164, 76849.18576071179] | [0.1506276159141844, 0.05171049634787238, 0.05285080540499052] | [0.03699788650831036, 0.03523387026999368, 0.0473927792234072] | [239.0, 171.0, 114.0] | [0.7544182253360779, 0.31873556054393387, 0.10332404933961188] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04580537919087109, 0.012994780205232474, 0.01810520407325876] | 0.0226 | 0.047433 | 0.17752 | 6 | 239 | 3 | 171 | 4 | 114
0.24996 | 0.88764 | 0.85 | 87038.7771 | 1.0638 | -38533.1745 | 9.3456e-05 | 1.3192 | 65.2335 | 57.8555 | 190380.6195 | 2501059.2213 | 33.0383 | 33.2448 | 0.025558 | [51854.42725384616, 18550.433180769232, 16633.916692307695] | [1.1302370443125114, 1.0500923233595585, 1.0110691301178971] | [-27495.456210398534, -3903.682373115804, -7134.0359464271505] | [0.00011178198490341556, 8.058710620793826e-05, 8.799882901520881e-05] | [1.2152701627993696, 1.4003337062187067, 1.341878678211299] | [96.59597638163521, 45.77323256383513, 53.33131361989032] | [68.69376838686209, 50.06939381731265, 54.803247688513956] | [447907.2928769772, 48171.85809883884, 75062.7074354495] | [0.15062761591418442, 0.051752437992184916, 0.052425956065546606] | [0.03702789496511975, 0.03525722191542609, 0.04698066707070197] | [239.0, 171.0, 115.0] | [0.7542189573916278, 0.31883643004877404, 0.10391824913751532] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04582576035066423, 0.013012274577052679, 0.017835089866067876] | 0.022637 | 0.047415 | 0.17752 | 6 | 239 | 3 | 171 | 4 | 115
0.2505 | 0.87926 | 0.85 | 91016.4529 | 1.0634 | -40976.7865 | 9.4103e-05 | 1.3143 | 66.0363 | 58.2496 | 194334.3355 | 2478093.5311 | 33.0216 | 33.1984 | 0.026024 | [51854.42725384616, 18550.433180769232, 20611.592423076927] | [1.128731491017724, 1.05105453712244, 1.010311174027197] | [-27809.116542616503, -4040.720057550773, -9126.949900605809] | [0.00011231521615344075, 8.140852773143344e-05, 8.858403439406442e-05] | [1.211884918814825, 1.3935180436007906, 1.3376242151883244] | [97.26392274364052, 46.72502324935563, 54.11988260629721] | [69.0155738001894, 50.56805224513691, 55.165137024672845] | [454053.3429605669, 51008.11768701208, 77941.54591273484] | [0.15062761591418442, 0.05283292836280853, 0.0537967235802955] | [0.037800965481339995, 0.03586448238686367, 0.04739274958860495] | [239.0, 171.0, 114.0] | [0.7490854892783995, 0.32127221324858785, 0.119098608729358] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.046348527571027504, 0.013469066858502576, 0.01825389980121162] | 0.023672 | 0.046961 | 0.17747 | 6 | 239 | 3 | 171 | 5 | 114
0.25052 | 0.87889 | 0.85 | 91197.2563 | 1.0634 | -40860.4743 | 9.3997e-05 | 1.3151 | 65.9078 | 58.1832 | 193862.7697 | 2477103.9334 | 33.0208 | 33.1974 | 0.025947 | [51854.42725384616, 18550.433180769232, 20792.39586538462] | [1.1286663026367805, 1.0510953243413703, 1.0103283141571047] | [-27822.73939315562, -4046.7780958500903, -8990.956854462269] | [0.00011233822985789226, 8.144439032035269e-05, 8.820717069307817e-05] | [1.211739615055109, 1.393222821850885, 1.3403647722282075] | [97.29283511088812, 46.76675341245906, 53.66368983246805] | [69.02946218002937, 50.58981816569176, 54.93033037019482] | [454321.0245351, 51134.87003627184, 76132.41463108371] | [0.15062761591418442, 0.052880056680114085, 0.05336868680483513] | [0.037834684905018866, 0.035891222120210765, 0.04698063742286071] | [239.0, 171.0, 115.0] | [0.7488615811211858, 0.32137141256836377, 0.11975523792467553] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04637123232192603, 0.0134892603195003, 0.017981913708924536] | 0.023719 | 0.046942 | 0.17747 | 6 | 239 | 3 | 171 | 5 | 115
0.24996 | 0.88773 | 0.85 | 87002.6164 | 1.0638 | -38588.7887 | 9.3484e-05 | 1.3191 | 65.2748 | 57.8734 | 190638.7909 | 2501310.5084 | 33.0384 | 33.2443 | 0.025592 | [51854.42725384616, 18658.915246153847, 16489.27393846154] | [1.1302534393869519, 1.0500598531142167, 1.0109893194902924] | [-27492.050461370636, -3856.9353751801227, -7239.802882809027] | [0.00011177615958682534, 8.030865350944501e-05, 8.836723464348261e-05] | [1.2153073420395426, 1.4026719517127677, 1.3391900769598994] | [96.5887000136783, 45.46207654254962, 53.77364381590181] | [68.69025270174524, 49.896984977149856, 55.032879353970806] | [447840.7385953044, 47267.66444671074, 76807.96956992315] | [0.1506276159141844, 0.05143993728796918, 0.05282161087147184] | [0.03701953645828744, 0.03500967232178948, 0.04739277843127806] | [239.0, 172.0, 114.0] | [0.7542744611542043, 0.3195104473544681, 0.10282820710807838] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04582008410228439, 0.012856451250600408, 0.018099507207022567] | 0.022628 | 0.04742 | 0.17752 | 6 | 239 | 3 | 172 | 4 | 114
0.24998 | 0.8874 | 0.85 | 87147.2592 | 1.0638 | -38498.1503 | 9.3376e-05 | 1.3198 | 65.1442 | 57.8058 | 190158.1867 | 2500410.3468 | 33.0378 | 33.2435 | 0.025515 | [51854.42725384616, 18658.915246153847, 16633.916692307695] | [1.1301947009199316, 1.050098236493994, 1.0110096075854265] | [-27504.25317001168, -3862.1123213516826, -7131.78479685139] | [0.0001117970279993456, 8.034031352477935e-05, 8.799082483070214e-05] | [1.215174172172387, 1.4024059817246795, 1.3419370235872328] | [96.61476867993767, 45.498503368298394, 53.31932668156354] | [68.7028471598675, 49.91620945182514, 54.79835241971459] | [448079.2186335088, 47373.013916604534, 75022.32760165115] | [0.15062761591418442, 0.051481556520227956, 0.05239685255594015] | [0.03704948837438999, 0.03503277932519255, 0.046980666285419075] | [239.0, 172.0, 115.0] | [0.7540755687130593, 0.3196117070591855, 0.10342027611341785] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.045840421950019465, 0.012873707737838943, 0.017829461992128474] | 0.022666 | 0.047402 | 0.17751 | 6 | 239 | 3 | 172 | 4 | 115
0.25051 | 0.87904 | 0.85 | 91124.9349 | 1.0633 | -40938.4019 | 9.402e-05 | 1.315 | 65.9432 | 58.1985 | 194087.8197 | 2477504.418 | 33.0211 | 33.1973 | 0.025978 | [51854.42725384616, 18658.915246153847, 20611.592423076927] | [1.1286926870762692, 1.051060215053823, 1.0102566401723319] | [-27817.225232900106, -3997.2714923321414, -9123.905176743852] | [0.00011232891598587122, 8.11566418441265e-05, 8.857556152134412e-05] | [1.211798412969333, 1.3956018898091003, 1.337685143905501] | [97.28113314691063, 46.44169817365319, 54.106809079019186] | [69.0238414203506, 50.41177962933072, 55.15995711972435] | [454212.6667656063, 50153.77807289032, 77897.0143739848] | [0.15062761591418442, 0.052553647178404064, 0.053762991866567265] | [0.03782103478947907, 0.035633610888306216, 0.047392748794660364] | [239.0, 172.0, 114.0] | [0.748952222405709, 0.3220580886753518, 0.11854564292976816] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.046362042054833505, 0.013324238307773803, 0.018247810353487704] | 0.0237 | 0.04695 | 0.17747 | 6 | 239 | 3 | 172 | 5 | 114
0.25054 | 0.87867 | 0.85 | 91305.7384 | 1.0633 | -40822.0227 | 9.3914e-05 | 1.3158 | 65.8146 | 58.1321 | 193615.5994 | 2476517.0098 | 33.0203 | 33.1964 | 0.025902 | [51854.42725384616, 18658.915246153847, 20792.395865384617] | [1.1286276278205059, 1.051101015494809, 1.0102737441923397] | [-27830.82320842485, -4003.24844832471, -8987.95102636974] | [0.00011235188052338323, 8.11922951417526e-05, 8.819871762878482e-05] | [1.2116534587341488, 1.3953070536356915, 1.3404259332176935] | [97.3099879063012, 46.48306595547371, 53.65069051058801] | [69.03770010946822, 50.4334186992347, 54.92516266217321] | [454479.89665398083, 50278.08719442008, 76088.81425586794] | [0.15062761591418442, 0.05260042556470269, 0.05333507054684752] | [0.03785469956957683, 0.03566007623771782, 0.046980636635864] | [239.0, 172.0, 115.0] | [0.7487286771497246, 0.3221578179863988, 0.11920015758702882] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.046384705347374745, 0.0133441614944157, 0.01797590205273948] | 0.023747 | 0.04693 | 0.17747 | 6 | 239 | 3 | 172 | 5 | 115
0.2509 | 0.87546 | 0.85 | 93077.6121 | 1.0598 | -40134.8226 | 9.3446e-05 | 1.3199 | 65.3101 | 57.8496 | 192604.9496 | 2467906.9136 | 33.0126 | 33.1801 | 0.025682 | [51854.42725384616, 24733.91090769231, 16489.27393846154] | [1.1280592501791624, 1.043336470194586, 1.008038228414623] | [-27949.771468921434, -5057.6185734604405, -7127.4325861181005] | [0.00011255225244363308, 7.981831638238596e-05, 8.796833777912562e-05] | [1.2103914740913655, 1.4072836567168916, 1.3420970196621789] | [97.56205054753187, 45.19120163575678, 53.176916655104115] | [69.1586196344105, 49.60127588401089, 54.788807529262684] | [456820.1512766817, 46200.865188648444, 74793.83221949932] | [0.15062761591418442, 0.05332030380472736, 0.05137897084082199] | [0.03814967343350786, 0.03425264722721466, 0.04739273426860855] | [239.0, 171.0, 114.0] | [0.7467699568339607, 0.35772132679038543, 0.07762415134370246] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.046582952448202396, 0.0126440464336511, 0.01781858146529525] | 0.024208 | 0.04676 | 0.17754 | 6 | 239 | 4 | 171 | 4 | 114
0.25092 | 0.87517 | 0.85 | 93222.2549 | 1.0598 | -40044.5804 | 9.3336e-05 | 1.3207 | 65.1773 | 57.7805 | 192122.7077 | 2467133.5116 | 33.012 | 33.1795 | 0.025604 | [51854.42725384616, 24733.91090769231, 16633.916692307695] | [1.1280081025722564, 1.0433673974281894, 1.008055619291559] | [-27960.489009168283, -5063.318516808069, -7020.772827657512] | [0.00011257026159495955, 7.984459366176966e-05, 8.759254658144238e-05] | [1.2102782926605276, 1.4070614571753812, 1.3448575167021697] | [97.58473172339635, 45.22163980721124, 52.72564082398509] | [69.16948759651157, 49.617238318190616, 54.55466305344786] | [457031.24929741246, 46287.78881907217, 73049.08489783204] | [0.1506276159141844, 0.053357510602959256, 0.05095876649410605] | [0.038176294197096367, 0.03427051547849238, 0.04698062250294464] | [239.0, 171.0, 115.0] | [0.7465931868030687, 0.3578343006951055, 0.07810532526790771] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.046600815015280475, 0.012658296292020173, 0.01755193206914378] | 0.024246 | 0.046745 | 0.17754 | 6 | 239 | 4 | 171 | 4 | 115
0.25172 | 0.86801 | 0.85 | 97199.9306 | 1.0595 | -42419.4765 | 9.39e-05 | 1.3165 | 65.8761 | 58.1249 | 195576.1259 | 2447495.7093 | 32.9952 | 33.1422 | 0.026011 | [51854.42725384616, 24733.91090769231, 20611.592423076927] | [1.1267043575965368, 1.044146188687466, 1.0075519890798024] | [-28234.453672293526, -5211.290656809282, -8973.732190291696] | [0.00011302811647428039, 8.051968599870311e-05, 8.815345805734613e-05] | [1.2074142841727806, 1.4013900689309515, 1.3407404982939737] | [98.16281958417731, 46.006263333034795, 53.45918904989735] | [69.44578248843416, 50.02724760663754, 54.901786099762305] | [462440.671428777, 48565.300656671505, 75722.405654236] | [0.1506276159141844, 0.05431186845924662, 0.05209857843270322] | [0.038859119274189, 0.034732385621802156, 0.04739270450067479] | [239.0, 171.0, 114.0] | [0.7420590360685183, 0.36061381993740094, 0.09037114224389414] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.047057422787155884, 0.013028226642023204, 0.017947464380583394] | 0.02528 | 0.046357 | 0.17769 | 6 | 239 | 4 | 171 | 5 | 114
0.25176 | 0.86769 | 0.85 | 97380.734 | 1.0595 | -42304.238 | 9.3792e-05 | 1.3173 | 65.7455 | 58.057 | 195103.1599 | 2446630.7747 | 32.9944 | 33.1414 | 0.025934 | [51854.42725384616, 24733.91090769231, 20792.39586538462] | [1.1266467158555142, 1.0441801860441715, 1.0075672214458185] | [-28246.60150583572, -5217.953636820168, -8839.682849693447] | [0.00011304830735084598, 8.054976985516116e-05, 8.777754456146267e-05] | [1.2072885786744236, 1.4011389874509774, 1.3434934249465784] | [98.1883772088581, 46.04134597898055, 53.006691080400856] | [69.45796650735285, 50.045515012432894, 54.66756490566513] | [462681.1242679919, 48668.79746110693, 73959.55787373852] | [0.1506276159141844, 0.05435432805087264, 0.05167634314861065] | [0.038889498312549044, 0.03475309626953348, 0.04698059272773147] | [239.0, 171.0, 115.0] | [0.7418573114524835, 0.3607322321648186, 0.09091351066143223] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04707766917639286, 0.013044884092050422, 0.01767936569938689] | 0.025327 | 0.04634 | 0.1777 | 6 | 239 | 4 | 171 | 5 | 115
0.25093 | 0.8752 | 0.85 | 93222.2549 | 1.0598 | -40088.9777 | 9.3368e-05 | 1.3206 | 65.2235 | 57.8009 | 192403.5425 | 2467193.3655 | 33.012 | 33.1789 | 0.025641 | [51854.42725384616, 24878.553661538463, 16489.27393846154] | [1.1280120614518414, 1.0433220803350396, 1.0079907829072166] | [-27959.65937955008, -5003.6921880709015, -7125.626142356096] | [0.00011256886779629105, 7.957353727193547e-05, 8.796187761348398e-05] | [1.2102870507795227, 1.4093690119817226, 1.342144350241257] | [97.5829761843728, 44.92014593281848, 53.167313494413634] | [69.16864648309641, 49.44931298001633, 54.784850547947315] | [457014.90710772685, 45433.90431510856, 74761.81599664567] | [0.15062761591418442, 0.05304442878895424, 0.05135587569608029] | [0.03817423327071184, 0.03403819668228578, 0.04739273319736118] | [239.0, 172.0, 114.0] | [0.7466068719842266, 0.3584233877188956, 0.07720914623174903] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.046599432299250135, 0.012509230470177254, 0.017814065355890238] | 0.024246 | 0.046746 | 0.17754 | 6 | 239 | 4 | 172 | 4 | 114
0.25095 | 0.87491 | 0.85 | 93366.8976 | 1.0598 | -39998.6534 | 9.3258e-05 | 1.3214 | 65.0907 | 57.7318 | 191920.7969 | 2466422.0742 | 33.0113 | 33.1783 | 0.025563 | [51854.42725384616, 24878.553661538463, 16633.916692307695] | [1.127961039439371, 1.0433529537562833, 1.0080081237082419] | [-27970.352676746537, -5009.312725825964, -7018.987955798414] | [0.00011258682940882796, 7.959964422937164e-05, 8.758609516867138e-05] | [1.2101742050333903, 1.4091472600097794, 1.344905078575924] | [97.60560145516672, 44.9503025289311, 52.71608519510372] | [69.17948573941551, 49.46517205652636, 54.55071150394648] | [457225.56343812234, 45519.112467100946, 73017.7149144078] | [0.15062761591418442, 0.053081344560949664, 0.05093574309348964] | [0.038200800269804776, 0.03405587474274017, 0.04698062144107377] | [239.0, 172.0, 115.0] | [0.7464304590128458, 0.35853652304699424, 0.07768841450486107] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04661725446124423, 0.01252328181456491, 0.017547469889496035] | 0.024283 | 0.046731 | 0.17754 | 6 | 239 | 4 | 172 | 4 | 115
0.25176 | 0.86777 | 0.85 | 97344.5733 | 1.0594 | -42370.2052 | 9.382e-05 | 1.3172 | 65.7862 | 58.075 | 195354.1831 | 2446838.3778 | 32.9945 | 33.1411 | 0.025968 | [51854.42725384616, 24878.553661538463, 20611.592423076927] | [1.126660552785113, 1.0441304598297834, 1.0075084412833657] | [-28243.685135129082, -5155.210364950333, -8971.309653585424] | [0.00011304346091405098, 8.027032360143845e-05, 8.814659012627374e-05] | [1.207318747332685, 1.403487482024572, 1.3407905127460065] | [98.18224208675855, 45.72761388022229, 53.448732725409684] | [69.45504196682523, 49.872504163666584, 54.89758110554116] | [462623.39333420276, 47751.41191498407, 75687.7440836502] | [0.15062761591418442, 0.054028179289657224, 0.05207191468524573] | [0.03888220434234746, 0.034512780663476836, 0.04739270343075123] | [239.0, 172.0, 114.0] | [0.741905745281979, 0.3613208023707651, 0.08990513076716704] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04707280855854847, 0.012888025912375832, 0.01794261930717085] | 0.025318 | 0.046344 | 0.1777 | 6 | 239 | 4 | 172 | 5 | 114
0.25179 | 0.86745 | 0.85 | 97525.3768 | 1.0594 | -42254.8819 | 9.3712e-05 | 1.318 | 65.6555 | 58.0071 | 194880.638 | 2445975.4943 | 32.9938 | 33.1403 | 0.025891 | [51854.42725384616, 24878.553661538463, 20792.39586538462] | [1.1266030339666537, 1.0441644183106567, 1.00752363812073] | [-28255.809364513367, -5161.782050967325, -8837.290508138278] | [0.00011306360546851742, 8.030022145712002e-05, 8.777068991810047e-05] | [1.2071933680861588, 1.4032368196018006, 1.3435436530264604] | [98.20774522145106, 45.762381488056576, 52.996291029504945] | [69.46719801630056, 49.89065877031872, 54.663368120767316] | [462863.4173491626, 47852.88399989853, 73925.61260844264] | [0.1506276159141844, 0.054070318920656314, 0.05164976782582368] | [0.038912530771350984, 0.034533274999823976, 0.046980591667270005] | [239.0, 172.0, 115.0] | [0.7417043700531576, 0.3614395029367861, 0.09044552764648368] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.047093015607522284, 0.01290445512741831, 0.017674581016276555] | 0.025365 | 0.046327 | 0.17771 | 6 | 239 | 4 | 172 | 5 | 115
0.24996 | 0.88741 | 0.85 | 87111.0985 | 1.0636 | -38319.5788 | 9.3402e-05 | 1.3194 | 65.1226 | 57.8244 | 188458.1804 | 2500454.3894 | 33.038 | 33.2431 | 0.025455 | [52071.391385332325, 18550.433180769243, 16489.27393846156] | [1.13031635921689, 1.0495516807657417, 1.0109330269187644] | [-27201.260113660373, -3880.6687404886957, -7237.649924184462] | [0.0001113954117122014, 8.045173244917243e-05, 8.835998189037973e-05] | [1.2174488726616195, 1.401446494539326, 1.3392449643774185] | [95.99906085547917, 45.606509872218275, 53.762261328072476] | [68.45785961147246, 49.987074256669146, 55.02824567761111] | [440916.1872911194, 47689.300022593234, 76769.05398352526] | [0.15000000000000058, 0.051490068826454, 0.052794026582838424] | [0.036686674036708375, 0.03519601772189247, 0.04739277762778349] | [240.0, 171.0, 114.0] | [0.7554654955757046, 0.31655359227947055, 0.1023592102681131] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.045335433522767296, 0.012935562468295652, 0.018094124810461156] | 0.022656 | 0.047403 | 0.1775 | 6 | 240 | 3 | 171 | 4 | 114
0.24997 | 0.88707 | 0.85 | 87255.7413 | 1.0636 | -38228.8475 | 9.3294e-05 | 1.3202 | 64.992 | 57.7568 | 187976.7381 | 2499556.3109 | 33.0373 | 33.2424 | 0.025378 | [52071.39138454703, 18550.433180769538, 16633.916692308234] | [1.1302580133334112, 1.049590155531804, 1.0109533586910802] | [-27213.333047699838, -3885.8562966003, -7129.658126812058] | [0.00011141617064362426, 8.04830647482657e-05, 8.79832626573241e-05] | [1.2173152692542442, 1.4011817945465652, 1.3419921539540376] | [96.02497772691763, 45.642918142521296, 53.30800373298756] | [68.47042426650623, 50.00625697631573, 54.79372692143213] | [441150.8378512945, 47795.169422852705, 74984.20700655242] | [0.15000000095912397, 0.05153165529466361, 0.052369354351370294] | [0.03671630439766206, 0.03521915643513263, 0.04698066548602536] | [240.0, 171.0, 115.0] | [0.7552679115980929, 0.3166560928074921, 0.1029492627437704] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04535555507949973, 0.012952854322001, 0.017824145317030145] | 0.022694 | 0.047385 | 0.1775 | 6 | 240 | 3 | 171 | 4 | 115
0.25051 | 0.87873 | 0.85 | 91233.417 | 1.0632 | -40665.2682 | 9.3937e-05 | 1.3154 | 65.7891 | 58.1488 | 191876.4242 | 2476704.7255 | 33.0206 | 33.1963 | 0.025839 | [52071.39138461538, 18550.433180769232, 20611.592423076927] | [1.1287643069864393, 1.0505512507456136, 1.0102049371830466] | [-27522.972584442476, -4021.276133780892, -9121.019469032595] | [0.00011194676635672926, 8.129751097707022e-05, 8.856752999806438e-05] | [1.2139286617153053, 1.394410620530365, 1.3377429082550278] | [96.68741991328281, 46.5855481533158, 54.09441895838437] | [68.79064294217535, 50.50070875058621, 55.15504648320159] | [447185.21862389764, 50589.216635587894, 77854.83745148867] | [0.15000000087082133, 0.05260290468825351, 0.053731017566395124] | [0.03747956959038063, 0.03582067837759675, 0.04739274798730497] | [240.0, 171.0, 114.0] | [0.7501783388609398, 0.3191363961895323, 0.11802084614207618] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0458716209740708, 0.013404253779269638, 0.01824203893806519] | 0.023728 | 0.046934 | 0.17746 | 6 | 240 | 3 | 171 | 5 | 114
0.25054 | 0.87836 | 0.85 | 91414.2204 | 1.0632 | -40548.7994 | 9.3831e-05 | 1.3161 | 65.6605 | 58.0823 | 191403.3003 | 2475719.3064 | 33.0198 | 33.1954 | 0.025763 | [52071.39138461538, 18550.433180769232, 20792.39586538462] | [1.1286995782500937, 1.0505920466685903, 1.010221999842991] | [-27536.430870502412, -4027.2667468672316, -8985.101789172855] | [0.00011196968423006345, 8.133309621327827e-05, 8.819070375250234e-05] | [1.2137831825320198, 1.3941170870231012, 1.3404839260302632] | [96.71611605525358, 46.62690725492577, 53.63836899160394] | [68.80447364840079, 50.52230755673778, 54.92026289981929] | [447448.2274685792, 50714.159807707445, 76047.5135428568] | [0.1500000009727584, 0.052649667528608717, 0.05330320132833007] | [0.03751288811413371, 0.0358471821798711, 0.046980635835602594] | [240.0, 171.0, 115.0] | [0.7499561666898767, 0.3192376978924138, 0.11867327892060975] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04589405145083736, 0.01342422248955744, 0.017970203578345712] | 0.023775 | 0.046914 | 0.17746 | 6 | 240 | 3 | 171 | 5 | 115
0.24997 | 0.88717 | 0.85 | 87219.5806 | 1.0636 | -38284.7505 | 9.3322e-05 | 1.3201 | 65.0337 | 57.7749 | 188237.6496 | 2499806.9146 | 33.0375 | 33.2419 | 0.025412 | [52071.39138461538, 18658.915246153847, 16489.27393846154] | [1.1302743149948338, 1.0495575706587363, 1.0108745222464504] | [-27209.963353077557, -3839.381125574617, -7235.406049418976] | [0.00011141036119914247, 8.020536359822649e-05, 8.835175985515319e-05] | [1.2173525455679488, 1.4035179996641864, 1.339302215748941] | [96.01774513602054, 45.33302325929004, 53.75039267506304] | [68.46691811836267, 49.83430316735957, 55.02341421994079] | [441085.3435924777, 46899.106147374725, 76728.49914881351] | [0.15000000084787532, 0.05122051212501375, 0.05276526336235227] | [0.03670803368959319, 0.03497232571690791, 0.04739277683249301] | [240.0, 172.0, 114.0] | [0.7553230626393894, 0.31732377115634364, 0.10186964560707196] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.045349938921795924, 0.012797937085248724, 0.018088515123547443] | 0.022684 | 0.04739 | 0.1775 | 6 | 240 | 3 | 172 | 4 | 114
0.24998 | 0.88683 | 0.85 | 87364.2233 | 1.0636 | -38193.95 | 9.3214e-05 | 1.3208 | 64.903 | 57.7072 | 187755.6346 | 2498911.1178 | 33.0369 | 33.2412 | 0.025335 | [52071.39138460788, 18658.915246153876, 16633.916692307757] | [1.1302160357953253, 1.0495958893378046, 1.0108946884947707] | [-27222.011098803483, -3844.497943006158, -7127.440934416696] | [0.00011143112832638845, 8.023675817929847e-05, 8.797537400032685e-05] | [1.217219312880062, 1.4032537509448528, 1.3420496826908885] | [96.04360164577994, 45.36910435818271, 53.296193128407104] | [68.47945160288664, 49.85336753428855, 54.788902100938195] | [441319.5239854956, 47002.91487054715, 74944.46490008375] | [0.1500000008610632, 0.05126177824564952, 0.05234067722602429] | [0.03673760774273905, 0.034995220238330266, 0.04698066470050009] | [240.0, 172.0, 115.0] | [0.7551258572516563, 0.3174266843338127, 0.10245752750632603] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0453700184980058, 0.012814993143353859, 0.017818602336041742] | 0.022722 | 0.047373 | 0.17749 | 6 | 240 | 3 | 172 | 4 | 115
0.25053 | 0.87851 | 0.85 | 91341.8991 | 1.0631 | -40627.0606 | 9.3855e-05 | 1.316 | 65.6964 | 58.0979 | 191631.6591 | 2476118.6578 | 33.0201 | 33.1953 | 0.025794 | [52071.39138461539, 18658.915246153847, 20611.592423076927] | [1.1287258133514073, 1.0505567157005162, 1.0101511881879197] | [-27530.97570082416, -3978.06400322701, -9118.020907867489] | [0.00011196039615874065, 8.104616708259595e-05, 8.85591794020337e-05] | [1.2138421338687673, 1.3964939884130263, 1.3378029870544808] | [96.70448535263482, 46.30323750102694, 54.081538446824446] | [68.79886839468243, 50.34476473859276, 55.14994111712383] | [447341.61234825617, 49742.34945629597, 77811.01553139913] | [0.1500000008478753, 0.05232471823520118, 0.053697784483335856] | [0.037499381401894176, 0.03559039204128074, 0.04739274719327617] | [240.0, 172.0, 114.0] | [0.7500462311617719, 0.31991737266117226, 0.1174747254153483] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0458849595013736, 0.013260213344090032, 0.018236041815734978] | 0.023757 | 0.046922 | 0.17746 | 6 | 240 | 3 | 172 | 5 | 114
0.25056 | 0.87814 | 0.85 | 91522.7025 | 1.0631 | -40510.5256 | 9.3749e-05 | 1.3168 | 65.5676 | 58.0314 | 191157.8916 | 2475135.407 | 33.0194 | 33.1944 | 0.025717 | [52071.39138461538, 18658.915246153847, 20792.39586538462] | [1.1286612117976458, 1.050597523095219, 1.0101682152005502] | [-27544.409576195412, -3983.97453636429, -8982.141524007035] | [0.00011198326538818125, 8.108154510148061e-05, 8.818237262395326e-05] | [1.2136970024506535, 1.3962008355396516, 1.340544234376752] | [96.73312469544558, 46.34423805496434, 53.62556154089917] | [68.81266972528815, 50.36623794263003, 54.91516952137605] | [447604.18029560643, 49864.886587370696, 76004.60791648195] | [0.15000000084787532, 0.052371134551570185, 0.053270082018891836] | [0.037532646428625305, 0.03561662460565443, 0.04698063504852485] | [240.0, 172.0, 115.0] | [0.7498244157652357, 0.32001919548927266, 0.11812506403682213] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.045907349293659014, 0.0132799151212143, 0.017964283048014066] | 0.023804 | 0.046903 | 0.17746 | 6 | 240 | 3 | 172 | 5 | 115
0.25092 | 0.87496 | 0.85 | 93294.5762 | 1.0597 | -39822.7717 | 9.3289e-05 | 1.3209 | 65.0721 | 57.7536 | 190168.9191 | 2466574.0533 | 33.0116 | 33.1782 | 0.025502 | [52071.39138461539, 24733.910907692312, 16489.27393846154] | [1.1280976384557317, 1.0429008211740065, 1.0079657084556115] | [-27661.750932514657, -5036.349330630791, -7124.671422975521] | [0.00011218251758531393, 7.972558475217656e-05, 8.795846133150055e-05] | [1.2124352874051327, 1.4080393794634458, 1.3421693868166862] | [96.98294271836888, 45.07108059271635, 53.16223578145423] | [68.93291488387361, 49.544998446901495, 54.782758291264976] | [449900.23128661216, 45861.63534651482, 74744.89060585746] | [0.15000000084787532, 0.053085893011118566, 0.05134367138820918] | [0.037823698770421986, 0.03422911425880612, 0.04739273266449408] | [240.0, 171.0, 114.0] | [0.7478836455385146, 0.35532778535053744, 0.07698969110875029] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04610291822085776, 0.01259087332657698, 0.017811678557438804] | 0.024265 | 0.046734 | 0.17753 | 6 | 240 | 4 | 171 | 4 | 114
0.25094 | 0.87467 | 0.85 | 93439.219 | 1.0597 | -39732.3737 | 9.3178e-05 | 1.3217 | 64.9392 | 57.6844 | 189685.3927 | 2465803.8119 | 33.011 | 33.1776 | 0.025424 | [52071.39138461539, 24733.910907692312, 16633.916692307695] | [1.1280468414153524, 1.0429316620701348, 1.0079830198867659] | [-27672.34040682505, -5041.9887963755245, -7018.044524821757] | [0.00011220045468076018, 7.975166348111275e-05, 8.758268310669315e-05] | [1.2123219484594916, 1.4078184704281773, 1.3449302405252592] | [97.00545765788758, 45.10125782907893, 52.71103201982432] | [68.94373948311959, 49.560841085552205, 54.548621868676285] | [450107.6675703026, 45947.381433567294, 73001.12920999163] | [0.15000000084787532, 0.05312281786515429, 0.05092357529634603] | [0.037850007728922434, 0.03424684888350756, 0.04698062091286222] | [240.0, 171.0, 115.0] | [0.7477082147098444, 0.3554420298529278, 0.07746792549712747] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.046120567344708416, 0.012604971990938811, 0.01754511131205439] | 0.024302 | 0.046718 | 0.17753 | 6 | 240 | 4 | 171 | 4 | 115
0.25175 | 0.86754 | 0.85 | 97416.8947 | 1.0593 | -42101.4214 | 9.374e-05 | 1.3175 | 65.6339 | 58.0273 | 193095.3359 | 2446247.2138 | 32.9942 | 33.1405 | 0.025828 | [52071.39138461539, 24733.910907692312, 20611.592423076923] | [1.1267520061694007, 1.0437085494508753, 1.0074853613130947] | [-27943.019671246042, -5188.376136915632, -8970.025561121874] | [0.00011265646881004191, 8.042162536305594e-05, 8.81429474691097e-05] | [1.2094539698616589, 1.4021800764350698, 1.3408170475983632] | [97.57929183206703, 45.87911005303596, 53.443187875795914] | [69.21892652674278, 49.96775543710948, 54.89535113111823] | [455422.93394390726, 48193.70677887711, 75669.3671080294] | [0.15000000084787532, 0.05406995232486801, 0.05205778481674517] | [0.03852484103146847, 0.03470518987783011, 0.0473927028982534] | [240.0, 171.0, 114.0] | [0.7432083742196438, 0.35825540095152836, 0.08965798398353401] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04657169945207674, 0.01297094034228908, 0.017940051122243745] | 0.025337 | 0.046332 | 0.17769 | 6 | 240 | 4 | 171 | 5 | 114
0.25179 | 0.86722 | 0.85 | 97597.6982 | 1.0593 | -41986.0224 | 9.3632e-05 | 1.3183 | 65.5031 | 57.9594 | 192620.9284 | 2445385.3557 | 32.9934 | 33.1397 | 0.02575 | [52071.39138461538, 24733.910907692312, 20792.39586538462] | [1.1266947211275298, 1.0437424973156846, 1.0075005367013916] | [-27955.028864283613, -5194.971253818196, -8836.02227192907] | [0.00011267659078108931, 8.045149811677522e-05, 8.776705387881009e-05] | [1.2093280115770457, 1.4019303006374408, 1.3435703043814935] | [97.60467663172582, 45.91390986509447, 52.99077538241279] | [69.23106909122615, 49.985895593758585, 54.661142236536264] | [455659.33590702683, 48295.83585854569, 73907.61332073595] | [0.15000000084787532, 0.05411211747054913, 0.051635683227197] | [0.03855488369776626, 0.0347257518779395, 0.0469805911394703] | [240.0, 171.0, 115.0] | [0.7430080481539405, 0.3583754501335083, 0.09019730632214543] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04659171477380602, 0.012987428134545488, 0.017672044543858144] | 0.025384 | 0.046315 | 0.17769 | 6 | 240 | 4 | 171 | 5 | 115
0.25095 | 0.87469 | 0.85 | 93439.219 | 1.0596 | -39777.0907 | 9.3211e-05 | 1.3216 | 64.9858 | 57.705 | 189968.5257 | 2465863.8403 | 33.011 | 33.1769 | 0.025461 | [52071.39138461538, 24878.553661538463, 16489.27393846154] | [1.1280508008137855, 1.0428866168559867, 1.007918955770884] | [-27671.514927185348, -4982.685122737987, -7122.890685547125] | [0.00011219905669686411, 7.948129003996436e-05, 8.795209071742159e-05] | [1.212330780444731, 1.4101239830545091, 1.3422160737241557] | [97.00370273197349, 44.800910096371545, 53.152769533248396] | [68.94289583466256, 49.39332955151576, 54.77885598065152] | [450091.4959563298, 45100.734346438614, 74713.3467260536] | [0.15000000087847018, 0.05281110225716128, 0.051320918066964205] | [0.037847956617632246, 0.03401502709089488, 0.047392731593265326] | [240.0, 172.0, 114.0] | [0.7477218917280863, 0.35602680208929083, 0.07658026859143191] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04611919154530892, 0.012456712806844968, 0.017807226713867814] | 0.024302 | 0.04672 | 0.17753 | 6 | 240 | 4 | 172 | 4 | 114
0.25097 | 0.87441 | 0.85 | 93583.8617 | 1.0596 | -39686.6118 | 9.31e-05 | 1.3224 | 64.8529 | 57.6358 | 189484.5041 | 2465095.6915 | 33.0104 | 33.1764 | 0.025383 | [52071.39138461538, 24878.553661538463, 16633.916692307692] | [1.1280001276462621, 1.0429174034445352, 1.007936217813209] | [-27682.080579803198, -4988.246136778924, -7016.285040098688] | [0.00011221694670045835, 7.950720016711222e-05, 8.757632106472447e-05] | [1.2122177758977455, 1.409903515987474, 1.3449771560873398] | [97.026162480902, 44.83080871441896, 52.701612567733584] | [68.95369199731681, 49.409069869900335, 54.54472487866309] | [450298.50052182993, 45184.789991289676, 72970.22186495652] | [0.15000000084787532, 0.05284773887480533, 0.05090089266195061] | [0.03787421286027715, 0.034032573582118135, 0.04698061985101118] | [240.0, 172.0, 115.0] | [0.747546812460771, 0.3561412007465857, 0.07705662014134874] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04613680096633867, 0.012470615341947308, 0.01754071260024672] | 0.02434 | 0.046704 | 0.17753 | 6 | 240 | 4 | 172 | 4 | 115
0.25178 | 0.8673 | 0.85 | 97561.5375 | 1.0593 | -42052.3604 | 9.366e-05 | 1.3182 | 65.5443 | 57.9776 | 192874.7434 | 2445592.7074 | 32.9936 | 33.1394 | 0.025785 | [52071.39138460787, 24878.553661538517, 20611.592423077018] | [1.1267085048362175, 1.0436929910468922, 1.0074424499267098] | [-27952.138989414198, -5132.58432365883, -8967.63711772248] | [0.00011267174950848531, 8.017279458745385e-05, 8.813617325832243e-05] | [1.2093583121132863, 1.4042765824255017, 1.3408663944415897] | [97.59856864654397, 45.60142697311914, 53.432879342915705] | [69.228147636589, 49.813334478708704, 54.89120333080514] | [455602.44395869767, 47386.57343824927, 75635.2128008141] | [0.15000000086106652, 0.05378742348122415, 0.052031517039794965] | [0.03854765349490206, 0.03448600547986418, 0.0473927018284086] | [240.0, 172.0, 114.0] | [0.7430562594695104, 0.35895913601439183, 0.08919817649799222] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04658689831569033, 0.012831460809147075, 0.017935274235444956] | 0.025374 | 0.046319 | 0.1777 | 6 | 240 | 4 | 172 | 5 | 114
0.25182 | 0.86697 | 0.85 | 97742.3409 | 1.0593 | -41936.8777 | 9.3552e-05 | 1.319 | 65.4134 | 57.9095 | 192399.7659 | 2444732.8842 | 32.9928 | 33.1386 | 0.025707 | [52071.39138461539, 24878.553661538463, 20792.39586538462] | [1.1266513411162977, 1.0437268990802353, 1.0074575901829803] | [-27964.12497428269, -5139.0891962685855, -8833.663574902534] | [0.00011269182555896809, 8.020248307169979e-05, 8.776029269157779e-05] | [1.2092326790968753, 1.4040272208294118, 1.343619862693229] | [97.62389961580149, 45.63591484345206, 52.980522239242546] | [69.24026247351375, 49.83136287877011, 54.6570024822224] | [455838.42654226755, 47486.70659677077, 73874.16455013174] | [0.15000000084787532, 0.053829271467663684, 0.051609502517967254] | [0.03857764455182565, 0.03450635342771067, 0.04698059007907994] | [240.0, 172.0, 115.0] | [0.7428562776337715, 0.3590794646213502, 0.08973554926276207] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.04660687495713782, 0.012847722990671466, 0.017667327149805068] | 0.025421 | 0.046302 | 0.1777 | 6 | 240 | 4 | 172 | 5 | 115