## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.26557 | 0.9823 | 0.85 | 78649.4974 | 1.2688 | -96216.3414 | 3.3032e-05 | 3.7492 | 73.1474 | 20.4259 | 535553.7263 | 2751281.7038 | 33.0442 | 34.3636 | 0.076504 | [43212.02271153846, 16923.202200000003, 18514.272492307693] | [1.4895802754471688, 1.23734401907865, 1.0794076004295623] | [-54758.573594395195, -19621.20082113744, -21836.56702508679] | [3.7413888228589864e-05, 3.185524838881063e-05, 2.9827584253720546e-05] | [2.795537336201452, 3.888520744579089, 4.563449512118266] | [105.01107553834576, 63.042950774074356, 51.3882034445063] | [22.972257463621144, 19.740648890257674, 18.56492424309819] | [1047165.4676913277, 337948.08005247323, 221547.63113877355] | [0.15062761591418442, 0.0730846527936132, 0.05485180057124317] | [0.0477037901079651, 0.04500660559691747, 0.04220920208031275] | [239.0, 156.0, 128.0] | [0.6833303005507742, 0.38426973906963724, 0.23058878841963798] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10951714718879038, 0.0654040027371248, 0.05459141756271698] | 0.020456 | 0.052359 | 0.19036 | 5 | 239 | 3 | 156 | 4 | 128
0.26448 | 0.9648 | 0.85 | 83278.0655 | 1.2636 | -103452.0185 | 3.3272e-05 | 3.6805 | 74.5201 | 20.5694 | 553471.7925 | 2703116.3251 | 33.0264 | 34.0823 | 0.078033 | [43212.02271153846, 16923.2022, 23142.84061538462] | [1.4782397802221527, 1.2390928723208856, 1.0735521822064142] | [-55496.515227563694, -20395.730999417156, -27559.772253670468] | [3.760842390791486e-05, 3.228281868920207e-05, 2.992354309619724e-05] | [2.7511854998641834, 3.760403823181123, 4.529987195591514] | [106.12971470295966, 65.38207575738168, 52.048627548643125] | [23.08871410812602, 19.99676146965305, 18.622745035756196] | [1068692.029711005, 365258.0249256549, 226465.32297718804] | [0.15062761591418442, 0.07537907928168901, 0.056969905937441896] | [0.04920140739725307, 0.04674453820508054, 0.04220917502301191] | [239.0, 156.0, 128.0] | [0.6733864521790467, 0.37995201074874674, 0.259207625873328] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11099303045512739, 0.06798576999805718, 0.05511954450734094] | 0.021659 | 0.051407 | 0.18902 | 5 | 239 | 3 | 156 | 5 | 128
0.26553 | 0.98182 | 0.85 | 78757.9795 | 1.2685 | -96081.474 | 3.3007e-05 | 3.7573 | 73.0111 | 20.4101 | 534107.8503 | 2749992.3521 | 33.0438 | 34.3574 | 0.076348 | [43212.02271153847, 17031.684265384614, 18514.272492307693] | [1.4892775636714493, 1.237295677934727, 1.0790415016434398] | [-54778.16535280651, -19476.22500747315, -21827.083633370967] | [3.741909120044235e-05, 3.177790902990819e-05, 2.9823181338199233e-05] | [2.79433287517056, 3.912395749869636, 4.565057920924115] | [105.04082682073303, 62.63006533555797, 51.3623962912978] | [22.97537206225096, 19.69279936412214, 18.56226382412083] | [1047733.566641536, 333255.1950760988, 221334.78919244884] | [0.15062761591418442, 0.07267935048602875, 0.05479418745777091] | [0.04774333902220297, 0.04467296811843743, 0.042209201441363996] | [239.0, 157.0, 128.0] | [0.6830677034400432, 0.3854264065026522, 0.22977943040729693] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10955633070561302, 0.06492075002491049, 0.054567709083427424] | 0.020484 | 0.052334 | 0.19032 | 5 | 239 | 3 | 157 | 4 | 128
0.26445 | 0.96438 | 0.85 | 83386.5476 | 1.2634 | -103302.5995 | 3.3245e-05 | 3.6886 | 74.374 | 20.5529 | 551838.6253 | 2701990.0803 | 33.026 | 34.0775 | 0.077865 | [43212.02271153846, 17031.684265384618, 23142.84061538462] | [1.477973845177353, 1.239055779912722, 1.0732124857969187] | [-55513.9196930021, -20242.033916657467, -27546.645939283197] | [3.761297665093039e-05, 3.220307642218029e-05, 2.9918739415138724e-05] | [2.7501641059711224, 3.7837956749751434, 4.531698468617035] | [106.15604906753367, 64.9462469544534, 52.019716647082745] | [23.091439656983102, 19.94747504327464, 18.61984448233475] | [1069202.93700367, 360087.9467247961, 226224.99213010623] | [0.15062761591418442, 0.07495302199644112, 0.05690211970381868] | [0.049236922399335796, 0.0463915370833681, 0.04220917437270205] | [239.0, 157.0, 128.0] | [0.6731506413597349, 0.3811369196836768, 0.25832475185421583] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1110278393860042, 0.06747344638885823, 0.055093291878566396] | 0.021688 | 0.051385 | 0.18898 | 5 | 239 | 3 | 157 | 5 | 128
0.2642 | 0.96075 | 0.85 | 84290.5648 | 1.2487 | -102512.4229 | 3.2928e-05 | 3.8003 | 72.7825 | 20.3629 | 536081.3024 | 2692262.4952 | 33.0226 | 34.0343 | 0.07615 | [43212.02271153847, 22564.2696, 18514.272492307697] | [1.4756755434381876, 1.2112853417461553, 1.059266181054634] | [-55664.52940991377, -25527.68683481742, -21320.206616067997] | [3.765230635524385e-05, 3.1547294373684196e-05, 2.9584561751666387e-05] | [2.7413716874770393, 4.005164705300218, 4.654333946282756] | [106.38383951119688, 61.987782198834736, 49.97578515365091] | [23.114985008978074, 19.555651512192583, 18.417999306452614] | [1073630.2635721192, 324459.68753157015, 210153.95616633407] | [0.15062761591418442, 0.07590488989579802, 0.05168071662751132] | [0.04954461432529076, 0.04240469056616314, 0.04220916921349872] | [239.0, 156.0, 128.0] | [0.6711076449565139, 0.4414432683279385, 0.1833558838449727] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11132905881982755, 0.06381921708704355, 0.05330051654017] | 0.021923 | 0.051193 | 0.18869 | 5 | 239 | 4 | 156 | 4 | 128
0.26387 | 0.94673 | 0.85 | 88919.1329 | 1.2448 | -109462.9065 | 3.312e-05 | 3.7433 | 73.8747 | 20.4782 | 550299.8908 | 2653540.5372 | 33.0042 | 33.8252 | 0.077366 | [43212.02271153846, 22564.2696, 23142.84061538462] | [1.4665036398487472, 1.2130733127081021, 1.0548847022975647] | [-56269.10299702342, -26344.208387760624, -26849.595138233442] | [3.7808974716220105e-05, 3.189223012779146e-05, 2.965968865927492e-05] | [2.7068932413776405, 3.896666065123829, 4.6264289327286345] | [107.29652816926637, 63.853048986358466, 50.47446346684708] | [23.2087806941156, 19.762401509272713, 18.46332990891627] | [1091514.3003952734, 345677.9307921816, 213707.44133681752] | [0.1506276159141844, 0.07780696070050054, 0.05324935895125135] | [0.050786133344259764, 0.043691781703590865, 0.04220914124436769] | [239.0, 156.0, 128.0] | [0.6628643049802657, 0.4385523932451985, 0.20742419882260266] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11253820599404685, 0.06586052096940155, 0.053699190276466885] | 0.023127 | 0.050428 | 0.18792 | 5 | 239 | 4 | 156 | 5 | 128
0.26417 | 0.96024 | 0.85 | 84435.2076 | 1.2485 | -102334.2161 | 3.2903e-05 | 3.8088 | 72.6484 | 20.3471 | 534710.1201 | 2690876.8293 | 33.022 | 34.0284 | 0.075998 | [43212.02271153846, 22708.912353846154, 18514.272492307697] | [1.4753479594249044, 1.2111375317034945, 1.0589127815061465] | [-55686.02476785133, -25336.948266821597, -21311.24306610454] | [3.76579097304066e-05, 3.146950572285172e-05, 2.9580288181310004e-05] | [2.7401235349080677, 4.030309956690194, 4.655970953175356] | [106.41633649499752, 61.57760026545323, 49.95116969011676] | [23.118339587823122, 19.50752935148283, 18.415412803246888] | [1074263.0466111861, 319907.2799195584, 209960.0337318699] | [0.15062761591418442, 0.07548835019015458, 0.05162505256108359] | [0.049588581505666404, 0.042089214826870704, 0.04220916832798437] | [239.0, 157.0, 128.0] | [0.6708157142827501, 0.44254003242979867, 0.18247493345885152] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11137204953570265, 0.06334237066705399, 0.05327810766526135] | 0.02196 | 0.051166 | 0.18865 | 5 | 239 | 4 | 157 | 4 | 128
0.26386 | 0.94627 | 0.85 | 89063.7757 | 1.2446 | -109269.4016 | 3.3094e-05 | 3.7518 | 73.732 | 20.4618 | 548772.8758 | 2652309.5733 | 33.0037 | 33.8206 | 0.077204 | [43212.02271153847, 22708.912353846154, 23142.84061538462] | [1.4662114891749538, 1.2129305004270161, 1.054557503757494] | [-56288.4547665288, -26143.5980802657, -26837.348757348347] | [3.7813957828290036e-05, 3.181221976623669e-05, 2.9655071384189053e-05] | [2.7058107258848265, 3.9214792330709094, 4.628161803218256] | [107.32569734371316, 63.423051246762, 50.447169555790275] | [23.21176413068889, 19.712950252689108, 18.46053719489925] | [1092089.720988672, 340736.73578303907, 213492.17057313738] | [0.15062761591418442, 0.07737212170379065, 0.05318422990021352] | [0.0508260381066742, 0.04336039125622504, 0.04220914034908271] | [239.0, 157.0, 128.0] | [0.6625993493045422, 0.4396798242362419, 0.20645316985973108] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1125769095330576, 0.06535899520066425, 0.05367469751469669] | 0.023164 | 0.050404 | 0.18789 | 5 | 239 | 4 | 157 | 5 | 128
0.26549 | 0.98141 | 0.85 | 78830.3008 | 1.268 | -95779.9804 | 3.2992e-05 | 3.7583 | 72.8791 | 20.4018 | 530647.7608 | 2748910.6714 | 33.0435 | 34.3533 | 0.076185 | [43392.82615384615, 16923.2022, 18514.272492307693] | [1.4892844894309145, 1.2359269933704682, 1.0787945830972503] | [-54395.80282176016, -19563.48856998086, -21820.688971820084] | [3.7333173069587554e-05, 3.182378334346389e-05, 2.9820211552030504e-05] | [2.8110531929567744, 3.897750409601656, 4.566143525082528] | [104.43196925591602, 62.86027133016114, 51.34499420341282] | [22.9230727818391, 19.721802315889796, 18.56046924979217] | [1034865.5819347737, 335886.33412319736, 221191.3662541972] | [0.15000000084787532, 0.07282718922274459, 0.05475532927070904] | [0.04733767299478399, 0.04492744965801767, 0.0422092009893883] | [240.0, 156.0, 128.0] | [0.6844461298911356, 0.38317975773894347, 0.22923258264020463] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10879160564352032, 0.06521162856660287, 0.054551722429550205] | 0.020503 | 0.052312 | 0.19028 | 5 | 240 | 3 | 156 | 4 | 128
0.26441 | 0.96401 | 0.85 | 83458.869 | 1.2629 | -102996.2471 | 3.323e-05 | 3.6897 | 74.2413 | 20.5445 | 548344.7157 | 2701020.0068 | 33.0257 | 34.0742 | 0.077701 | [43392.82615384615, 16923.2022, 23142.84061538462] | [1.4780262749225828, 1.2377136791009469, 1.0729821889783173] | [-55126.67924331264, -20331.817175363238, -27537.75064887581] | [3.752692281825213e-05, 3.224889522903557e-05, 2.9915482910883015e-05] | [2.7664649250642173, 3.7699090853474915, 4.532859436296902] | [105.54159439550145, 65.18233076980783, 52.000123068193815] | [23.039057980367208, 19.976450708087224, 18.61787803323041] | [1056068.9790236615, 362902.9245318935, 226062.24368495686] | [0.15000000084787546, 0.07510750828806927, 0.05685616588344947] | [0.04881988038724502, 0.046651213032573934, 0.04220917391226495] | [240.0, 156.0, 128.0] | [0.6745634126902068, 0.3789525498615447, 0.25772503402282426] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11025335848662528, 0.06777272391787748, 0.055075501297751614] | 0.021706 | 0.051366 | 0.18895 | 5 | 240 | 3 | 156 | 5 | 128
0.26545 | 0.98093 | 0.85 | 78938.7829 | 1.2678 | -95645.4904 | 3.2967e-05 | 3.7664 | 72.7432 | 20.386 | 529209.5858 | 2747628.5938 | 33.0431 | 34.3472 | 0.07603 | [43392.82615384615, 17031.684265384614, 18514.272492307697] | [1.4889839733177976, 1.2358784465973367, 1.078431252684405] | [-54415.20832243597, -19418.99930741668, -21811.282799015382] | [3.733835520208108e-05, 3.17465391787615e-05, 2.9815840951862158e-05] | [2.8098423123506486, 3.9216800793003928, 4.5677423827812875] | [104.46148236652652, 62.448627439439534, 51.31939011682941] | [22.926174881980412, 19.674009715604015, 18.557828243220722] | [1035425.2038459996, 331223.06709355104, 220980.48632777872] | [0.15000000084787532, 0.07242315856892326, 0.05469815017112905] | [0.047376816230503986, 0.044594670203213456, 0.04220920035003883] | [240.0, 157.0, 128.0] | [0.6841851386975606, 0.3843333999141288, 0.2284264925135187] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10883041664487192, 0.06472999769138894, 0.05452820699753845] | 0.020531 | 0.052287 | 0.19023 | 5 | 240 | 3 | 157 | 4 | 128
0.26439 | 0.96359 | 0.85 | 83567.351 | 1.2627 | -102847.3402 | 3.3204e-05 | 3.6978 | 74.0957 | 20.528 | 546721.4649 | 2699899.8206 | 33.0253 | 34.0695 | 0.077533 | [43392.8261537539, 17031.684265384385, 23142.840615384] | [1.4777621664054545, 1.2376760832891127, 1.072645086517966] | [-55143.922598032506, -20178.6811406009, -27524.73646389184] | [3.753145877764654e-05, 3.2169262522676215e-05, 2.991071593009724e-05] | [2.7654376833976486, 3.7933571154319834, 4.534560272372035] | [105.56772533723635, 64.74791877319385, 51.97144889415809] | [23.041773457205, 19.92722975365032, 18.614999512365678] | [1056572.3651130244, 357767.77540450345, 225824.25424817615] | [0.15000000097212032, 0.074682867585395, 0.05678890230370021] | [0.04885504254587698, 0.04629923245142377, 0.042209173261693586] | [240.0, 157.0, 128.0] | [0.6743289672481858, 0.3801341578200051, 0.25684546321928786] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11028784519606502, 0.06726227046866967, 0.05504947292778369] | 0.021735 | 0.051344 | 0.18891 | 5 | 240 | 3 | 157 | 5 | 128
0.26414 | 0.95999 | 0.85 | 84471.3682 | 1.2481 | -102056.3753 | 3.2889e-05 | 3.8091 | 72.5163 | 20.3392 | 531113.172 | 2690230.8809 | 33.0219 | 34.0266 | 0.075831 | [43392.82615384615, 22564.269600000003, 18514.272492307697] | [1.4754811078610697, 1.2100116892029553, 1.058804624865066] | [-55293.040487615464, -25454.83343068453, -21308.501421574907] | [3.7570618159234745e-05, 3.151738117247976e-05, 2.957897998392588e-05] | [2.756600563917423, 4.014119460820465, 4.656472434017109] | [105.7936090591168, 61.81159729679024, 49.943635320482244] | [23.065216630687104, 19.537728284610274, 18.414621169030447] | [1060931.6351373685, 322507.17390693404, 209900.70684879422] | [0.1500000009136028, 0.07562997025579671, 0.051608016562131945] | [0.04915948066626787, 0.042345039230467243, 0.042209168096366406] | [240.0, 156.0, 128.0] | [0.6722991160845917, 0.4402014436068201, 0.18220493779926303] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11058608097523093, 0.06363708357671133, 0.05327125355393727] | 0.02197 | 0.051153 | 0.18862 | 5 | 240 | 4 | 156 | 4 | 128
0.26383 | 0.94604 | 0.85 | 89099.9364 | 1.2442 | -108990.6708 | 3.308e-05 | 3.7522 | 73.6006 | 20.4539 | 545161.2006 | 2651713.6382 | 33.0035 | 33.8192 | 0.077038 | [43392.82615384615, 22564.269600000003, 23142.84061538462] | [1.4663706243269647, 1.2118221537255098, 1.0544570435973306] | [-55892.07090926199, -26265.008716257435, -26833.591206677756] | [3.772672901594634e-05, 3.186037205981345e-05, 2.9653653547848532e-05] | [2.721918900464277, 3.905875374878904, 4.628694333718693] | [106.69934500701376, 63.66370695127107, 50.43878942972624] | [23.158677640008, 19.743319451338678, 18.45967975442833] | [1078553.4564606785, 343504.0320740636, 213426.11329168346] | [0.15000000084787532, 0.07752128281749411, 0.05316423375327114] | [0.050388833831371174, 0.043621935387299395, 0.042209140112261026] | [240.0, 156.0, 128.0] | [0.6641023937014982, 0.43738424605840476, 0.20615456303568358] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11178414181852397, 0.06566252179064358, 0.05366718241335551] | 0.023174 | 0.050392 | 0.18787 | 5 | 240 | 4 | 156 | 5 | 128
0.26411 | 0.95947 | 0.85 | 84616.011 | 1.2478 | -101878.6957 | 3.2864e-05 | 3.8176 | 72.3826 | 20.3234 | 529749.1181 | 2688852.5485 | 33.0213 | 34.0208 | 0.07568 | [43392.82615384615, 22708.912353846154, 18514.272492307697] | [1.4751557359698892, 1.2098644303612243, 1.0584541506254896] | [-55314.33866041689, -25264.740237632723, -21299.616764779166] | [3.757620143779421e-05, 3.1439696991795403e-05, 2.957474145163218e-05] | [2.755345116868363, 4.039313364122129, 4.65809782143622] | [105.82585796534833, 61.40267331159405, 49.919231337522305] | [23.06855914752156, 19.4896686220052, 18.41205576574511] | [1061555.1479254945, 317983.5500602277, 209708.65636059124] | [0.15000000084787532, 0.07521480064809014, 0.051552812163612266] | [0.049203015423958975, 0.04203031819708514, 0.04220916721044531] | [240.0, 157.0, 128.0] | [0.6720088468684509, 0.4412954823151177, 0.1813288044817188] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11062867732083378, 0.0631618505940818, 0.0532490419119479] | 0.022007 | 0.051126 | 0.18859 | 5 | 240 | 4 | 157 | 4 | 128
0.26381 | 0.94558 | 0.85 | 89244.5791 | 1.244 | -108797.8388 | 3.3054e-05 | 3.7607 | 73.4584 | 20.4375 | 543643.1965 | 2650488.7718 | 33.0029 | 33.8146 | 0.076876 | [43392.82615384615, 22708.912353846154, 23142.84061538462] | [1.4660803168602017, 1.211679657083092, 1.0541325997633852] | [-55911.25165712344, -26065.12986956923, -26821.45730027772] | [3.77316961788344e-05, 3.1780480849645695e-05, 2.9649075555009406e-05] | [2.720829588856208, 3.9307380245355374, 4.630414560322229] | [106.7283020055487, 63.23512354691726, 50.41173876438959] | [23.16165149741139, 19.693939429973405, 18.45691068082528] | [1079120.6196641123, 338595.94716170104, 213213.02261841655] | [0.15000000084787532, 0.0770879420777684, 0.05309965670845602] | [0.050428362109206835, 0.04329143986421893, 0.04220913921665791] | [240.0, 157.0, 128.0] | [0.663838839397931, 0.4385085691575836, 0.20518868532574888] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11182250331424688, 0.06516282467392308, 0.05364291460055544] | 0.023211 | 0.050368 | 0.18784 | 5 | 240 | 4 | 157 | 5 | 128
0.26378 | 0.93808 | 0.85 | 91920.4701 | 1.2192 | -105248.5346 | 3.2221e-05 | 3.9821 | 68.5276 | 19.9392 | 471062.172 | 2630578.0035 | 32.9915 | 33.7424 | 0.071221 | [51854.42725384616, 16923.2022, 23142.84061538462] | [1.4350065799501328, 1.1734143056322701, 1.0491405395809705] | [-60990.2995391034, -17622.64894167595, -26635.586133985045] | [3.6355298637221967e-05, 3.072758724642495e-05, 2.9578694863906625e-05] | [3.0519109453158966, 4.237362840833883, 4.657057716672272] | [99.02670306923252, 56.55897242899459, 49.9969747714384] | [22.338525774966516, 19.06487430942239, 18.414317982801425] | [933703.9271524868, 269511.71965833957, 209970.869126732] | [0.1506276159141844, 0.06310103234742989, 0.052106395086275] | [0.04118728471212997, 0.04275396519899488, 0.04220912182939357] | [239.0, 156.0, 128.0] | [0.7265995078055109, 0.3225377885946164, 0.19003080762454974] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10165049923183898, 0.05874216313891984, 0.05327117226797009] | 0.023907 | 0.049974 | 0.1875 | 6 | 239 | 3 | 156 | 5 | 128
0.26377 | 0.93776 | 0.85 | 92028.9521 | 1.219 | -105127.8795 | 3.2196e-05 | 3.9908 | 68.4044 | 19.924 | 469892.6254 | 2629716.9201 | 32.991 | 33.7393 | 0.071081 | [51854.42725384616, 17031.684265384618, 23142.84061538462] | [1.4348337509398488, 1.1733633782445874, 1.0489177113552233] | [-61007.201014683036, -17493.345557248977, -26627.332916921263] | [3.6359329184571754e-05, 3.065306026797461e-05, 2.957555432302455e-05] | [3.0508210673825733, 4.263461731123919, 4.658255916590096] | [99.04846909495801, 56.18634835309782, 49.97851090622048] | [22.34093803269286, 19.018707569429843, 18.41241740326439] | [934087.9409883327, 265762.3159757868, 209827.6191409179] | [0.15062761591418442, 0.06273880671931505, 0.052062074311326034] | [0.041213358388838765, 0.042445512814329504, 0.042209121161141346] | [239.0, 157.0, 128.0] | [0.7264263758048292, 0.32354266541030663, 0.18934095362342515] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10167866835780506, 0.05831115185749659, 0.05325466583384252] | 0.023935 | 0.049957 | 0.18749 | 6 | 239 | 3 | 157 | 5 | 128
0.26291 | 0.93352 | 0.85 | 92137.4342 | 1.2153 | -105158.4039 | 3.4414e-05 | 3.9761 | 68.5423 | 19.9453 | 469948.505 | 2618226.8406 | 32.9928 | 33.5831 | 0.071221 | [52071.39138461538, 16923.202200000003, 23142.84061538462] | [1.4324161682910872, 1.1705998637099582, 1.0429457607386141] | [-60778.266476438446, -17704.929213012998, -26675.20818243793] | [3.6337310153540134e-05, 3.1282644027765873e-05, 3.562145189321043e-05] | [3.0569280823796143, 4.219849964420068, 4.651453987399973] | [98.72619769176103, 56.81239418500305, 50.088425420646885] | [22.317689701246234, 19.09490532897774, 18.423360068953947] | [927092.5700536832, 272084.59482507984, 210668.35027060605] | [0.15000000084787532, 0.06333868871359923, 0.05234620543447079] | [0.0411701476638395, 0.04295073266418115, 0.04220912382736654] | [240.0, 156.0, 128.0] | [0.7255694739451073, 0.32197262778987074, 0.1937432374688987] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10129711079406407, 0.05901643071004333, 0.05335041636487586] | 0.023964 | 0.04973 | 0.18682 | 6 | 240 | 3 | 156 | 5 | 128
0.26329 | 0.93497 | 0.85 | 92245.9163 | 1.2178 | -104947.579 | 3.3375e-05 | 3.9875 | 68.37 | 19.9247 | 468023.88 | 2622182.206 | 32.9913 | 33.6408 | 0.071022 | [52071.39138461538, 17031.684265384618, 23142.840615384615] | [1.4366350304889188, 1.1717807027788534, 1.0448655513483158] | [-60737.75253448321, -17562.238137763223, -26647.588311105166] | [3.601465955496536e-05, 3.108236268582359e-05, 3.302935896694331e-05] | [3.05815583769449, 4.248846847180774, 4.65543880744904] | [98.67713953056942, 56.402451823180456, 50.03053791332354] | [22.313158856464497, 19.043820765524643, 18.417012863310937] | [925962.8132322816, 267921.3276721766, 210187.4990793243] | [0.15000000084787546, 0.0629758241706793, 0.05223583518520769] | [0.04119668497831938, 0.04258717773061518, 0.04220912160719178] | [240.0, 157.0, 128.0] | [0.7253925245050765, 0.3238389025277161, 0.19203888791457166] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.10122958755747202, 0.05854079379254407, 0.05329517662221033] | 0.023992 | 0.049808 | 0.1871 | 6 | 240 | 3 | 157 | 5 | 128