## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.26107 | 0.96304 | 0.85 | 78179.4085 | 1.1848 | -94096.5 | 4.3895e-05 | 3.0005 | 71.7832 | 27.1404 | 560647.1382 | 2699347.0703 | 33.0575 | 33.9466 | 0.071175 | [43212.02271153846, 18333.469050000003, 16633.916692307695] | [1.3283371191056061, 1.174718588486225, 1.0513890870730374] | [-64109.43916616315, -12406.939901012287, -17580.120975856145] | [5.3601047640735375e-05, 3.8691705825518176e-05, 3.939262392411179e-05] | [2.85670229821134, 3.079673905745375, 3.0652040580469007] | [104.01944112837131, 55.50949078369331, 55.82073787827043] | [32.9078570545117, 23.990083767040176, 24.523368324068933] | [1297052.3043043306, 190750.8736310994, 194138.23678560043] | [0.1506276159141844, 0.06546672846539023, 0.05799161766602455] | [0.046292372847911926, 0.03946175166622972, 0.046980699606298214] | [239.0, 169.0, 115.0] | [0.6927019065002359, 0.3973188155060546, 0.18995922929761808] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1282188783323263, 0.04135646633670763, 0.04395030243964036] | 0.020333 | 0.051333 | 0.18701 | 5 | 239 | 3 | 169 | 4 | 115
0.26104 | 0.96252 | 0.85 | 78324.0512 | 1.1848 | -93887.3449 | 4.3845e-05 | 3.0015 | 71.6621 | 27.1092 | 559633.9163 | 2697964.7338 | 33.0569 | 33.9446 | 0.071002 | [43212.02271153847, 18333.469050000003, 16778.55944615385] | [1.328088168702091, 1.1747518197316864, 1.0514768132038956] | [-64146.03217965108, -12431.69785637228, -17309.614854727606] | [5.3614072692939306e-05, 3.8716237564868446e-05, 3.92057038897916e-05] | [2.856501649880898, 3.079189292062889, 3.0687896111304918] | [104.0534714996381, 55.570732917723845, 55.36213286053752] | [32.915733676468456, 24.004977482350558, 24.40692025799212] | [1297960.5627404503, 191356.73985524342, 189584.446356629] | [0.1506276159141844, 0.06552976358293762, 0.05755385303239317] | [0.04633694579713999, 0.039504419832885246, 0.046575692588286366] | [239.0, 169.0, 116.0] | [0.6924059482645822, 0.39724731533891194, 0.19083456179198485] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.12829206435930218, 0.04143899285457427, 0.043274037136819016] | 0.020371 | 0.051306 | 0.18697 | 5 | 239 | 3 | 169 | 4 | 116
0.26042 | 0.94883 | 0.85 | 82337.8876 | 1.1814 | -100578.5892 | 4.4309e-05 | 2.993 | 72.8877 | 27.3913 | 576972.7671 | 2660168.236 | 33.0412 | 33.7602 | 0.072889 | [43212.02271153847, 18333.469050000003, 20792.39586538462] | [1.321274701413658, 1.1755239557209203, 1.0474517640773437] | [-65157.47763040106, -13131.702286293928, -22289.40930683716] | [5.397104424089082e-05, 3.9396757104141194e-05, 3.9557915582290655e-05] | [2.8510380626258653, 3.065896302169496, 3.0621431779274926] | [104.98918491343241, 57.27896218561932, 56.39493966519539] | [33.13160094434978, 24.418038435140033, 24.624247338856488] | [1323169.5467629356, 208759.0663447628, 198989.68832536464] | [0.15062761591418442, 0.06727545672086298, 0.059817360668364766] | [0.04757134805784872, 0.04070412116486359, 0.04698067196439023] | [239.0, 169.0, 115.0] | [0.6842097189156482, 0.39505212428781816, 0.21469476463366877] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1303149552608021, 0.043772340954313094, 0.04457881861367432] | 0.021415 | 0.050559 | 0.18605 | 5 | 239 | 3 | 169 | 5 | 115
0.2604 | 0.94827 | 0.85 | 82518.6911 | 1.1814 | -100303.6046 | 4.426e-05 | 2.994 | 72.7683 | 27.3605 | 575986.885 | 2658696.0745 | 33.0404 | 33.758 | 0.072718 | [43212.02271153847, 18333.469050000003, 20973.199307692314] | [1.3210090966056685, 1.175548621202709, 1.0475220822510287] | [-65197.30084724391, -13159.88584727441, -21946.4179312841] | [5.39849800226449e-05, 3.9423643493285314e-05, 3.9370109919175335e-05] | [2.850826150320399, 3.0653769920373293, 3.0657281039379516] | [105.02583416229422, 57.34682254098787, 55.932145708548205] | [33.140028033198284, 24.43435421077267, 24.507255974475232] | [1324166.2313944413, 209470.61637423548, 194323.80718958896] | [0.15062761591418442, 0.06734431415790797, 0.05937168191729366] | [0.04762003804471317, 0.04075216036926665, 0.04657566491186755] | [239.0, 169.0, 116.0] | [0.6838864265669115, 0.39495720867585116, 0.21562092414922382] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1303946016944878, 0.04386628615758137, 0.0438928358625682] | 0.021462 | 0.05053 | 0.18602 | 5 | 239 | 3 | 169 | 5 | 116
0.26105 | 0.96265 | 0.85 | 78287.8905 | 1.1847 | -93972.7244 | 4.385e-05 | 3.0014 | 71.6724 | 27.1126 | 559714.7402 | 2698293.0911 | 33.057 | 33.9425 | 0.071028 | [43212.02271153847, 18441.951115384614, 16633.916692307695] | [1.3281473055813757, 1.1748466316673267, 1.0511596970102643] | [-64137.3374152932, -12266.094166380528, -17569.292854904263] | [5.361097854999013e-05, 3.855455085204317e-05, 3.93853048684887e-05] | [2.8565493062313765, 3.0823832789041505, 3.065341932395891] | [104.04538676582732, 55.17305527211313, 55.798701702958866] | [32.913862560538306, 23.9051231292406, 24.518892944110878] | [1297744.7302061333, 187464.20540062935, 193935.28499647698] | [0.15062761591418442, 0.06512940407526578, 0.05794182979201647] | [0.04632635436315975, 0.03919594368283468, 0.046980698847933634] | [239.0, 170.0, 115.0] | [0.692476273918157, 0.3982783254557329, 0.18926285694891146] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1282746748305864, 0.04088698055460176, 0.04392323213726066] | 0.020361 | 0.051312 | 0.18698 | 5 | 239 | 3 | 170 | 4 | 115
0.26102 | 0.96213 | 0.85 | 78432.5333 | 1.1847 | -93763.2745 | 4.38e-05 | 3.0024 | 71.5511 | 27.0814 | 558698.2765 | 2696914.4499 | 33.0564 | 33.9406 | 0.070854 | [43212.02271153846, 18441.951115384618, 16778.55944615385] | [1.327899006341037, 1.1748802173340327, 1.0512470967018799] | [-64173.85386665685, -12290.504123773586, -17298.9164847535] | [5.362397045066624e-05, 3.85789280067056e-05, 3.919839663545454e-05] | [2.8563492382018234, 3.081899586543158, 3.068928053078664] | [104.07933647472335, 55.23375833803673, 55.34019866153061] | [32.92171912734895, 23.91992308949831, 24.402452178095086] | [1298651.2877319022, 188058.01884899466, 189385.522938029] | [0.15062761591418442, 0.06519194410638965, 0.05750422055773564] | [0.046370838904126535, 0.03923817402763138, 0.04657569183642645] | [239.0, 170.0, 116.0] | [0.6921809027627776, 0.39820767414501657, 0.19013583623790647] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1283477077333137, 0.04096834707924529, 0.04324729121188375] | 0.020399 | 0.051285 | 0.18694 | 5 | 239 | 3 | 170 | 4 | 116
0.26041 | 0.94848 | 0.85 | 82446.3697 | 1.1813 | -100437.6036 | 4.4262e-05 | 2.9939 | 72.7697 | 27.3622 | 575890.241 | 2659230.9468 | 33.0407 | 33.757 | 0.072727 | [43212.02271153847, 18441.951115384614, 20792.39586538462] | [1.3211055989729534, 1.1756626351814563, 1.047239874527103] | [-65182.82837323851, -12980.390851938793, -22274.38435028055] | [5.3979916542563985e-05, 3.925492932245115e-05, 3.954994734592734e-05] | [2.8509031354209613, 3.0686358847446877, 3.0622915983905528] | [105.01251683890546, 56.926337471154795, 56.37039136918039] | [33.13696610371277, 24.33024447979423, 24.61937735586369] | [1323803.9817893463, 205106.39152298117, 198760.3496708011] | [0.15062761591418442, 0.06692329328089307, 0.05975888190501918] | [0.04760234250105364, 0.0404251259945718, 0.04698067119909687] | [239.0, 170.0, 115.0] | [0.6840039216359507, 0.39603742767159356, 0.21392593061296514] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.13036565674647702, 0.043267969506462646, 0.0445487687005611] | 0.021443 | 0.05054 | 0.18603 | 5 | 239 | 3 | 170 | 5 | 115
0.26039 | 0.94792 | 0.85 | 82627.1731 | 1.1813 | -100162.3403 | 4.4213e-05 | 2.9949 | 72.6501 | 27.3314 | 574900.6377 | 2657762.3564 | 33.04 | 33.7548 | 0.072556 | [43212.02271153847, 18441.951115384614, 20973.19930769231] | [1.3208406294421713, 1.1756877497094904, 1.0473099848090963] | [-65222.57541717684, -13008.180445835906, -21931.584405166785] | [5.399381999942988e-05, 3.928165173811783e-05, 3.936216106522492e-05] | [2.8506917800130136, 3.068117417470412, 3.065877008853202] | [105.04908680943856, 56.993611210852734, 55.90772767929424] | [33.14537363934553, 24.34646087262384, 24.502397928181246] | [1324798.960007656, 205803.7706160864, 194099.18240959704] | [0.15062761591418442, 0.06699162032470782, 0.059313409172173925] | [0.047650943327198034, 0.04047267919983633, 0.04657566415319393] | [239.0, 170.0, 116.0] | [0.6836812213543116, 0.39594347337248065, 0.21484995538491308] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.13044515083435368, 0.04336060148611969, 0.04386316881033357] | 0.02149 | 0.050511 | 0.186 | 5 | 239 | 3 | 170 | 5 | 116
0.26029 | 0.94292 | 0.85 | 84290.5648 | 1.1699 | -98439.1953 | 4.3726e-05 | 3.005 | 71.4763 | 27.0362 | 565947.7127 | 2644385.8773 | 33.033 | 33.7058 | 0.071102 | [43212.02271153846, 24444.625400000004, 16633.916692307695] | [1.3184265774891295, 1.1538667208253037, 1.0373118524494545] | [-65586.0857840165, -15919.729150640958, -16933.380407609253] | [5.412056400904193e-05, 3.810947915216548e-05, 3.894702024402468e-05] | [2.8487697820715967, 3.0925698448150554, 3.0736933931088073] | [105.38287421359966, 54.561132518276125, 54.48488447943159] | [33.22201636292618, 23.635650514863887, 24.250798513170647] | [1333913.2258281796, 181713.879891872, 182216.0324522333] | [0.15062761591418442, 0.06801700778447323, 0.05495594312002406] | [0.04809570843337228, 0.037396055969247145, 0.046980658168607] | [239.0, 169.0, 115.0] | [0.6807280693706885, 0.45030392726705837, 0.14519181805031742] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.131172171568033, 0.0397993228766024, 0.04233345101902314] | 0.021923 | 0.050247 | 0.18573 | 5 | 239 | 4 | 169 | 4 | 115
0.26029 | 0.94249 | 0.85 | 84435.2076 | 1.1698 | -98233.552 | 4.3674e-05 | 3.006 | 71.3515 | 27.0037 | 564926.4256 | 2643256.2032 | 33.0324 | 33.7047 | 0.070925 | [43212.02271153846, 24444.625400000004, 16778.55944615385] | [1.318222658777794, 1.1539029487041925, 1.0373816315278686] | [-65616.90736017087, -15945.840964153078, -16670.80369229377] | [5.413127649854827e-05, 3.812930187183438e-05, 3.876091220514722e-05] | [2.8486077223763004, 3.0921708849803804, 3.0773124345800946] | [105.41112048863684, 54.61049686112716, 54.032755461349836] | [33.22849422314661, 23.647691425217808, 24.134851802497288] | [1334687.22529512, 182189.08589999177, 177902.9657263905] | [0.15062761591418442, 0.06807037090453316, 0.05452822964322522] | [0.04813344218772428, 0.037427660583515536, 0.04657565149258366] | [239.0, 169.0, 116.0] | [0.680477525070854, 0.45027047074509974, 0.14591399610877728] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1312338147203417, 0.0398646024103827, 0.041677009230734426] | 0.02196 | 0.050225 | 0.18571 | 5 | 239 | 4 | 169 | 4 | 116
0.26028 | 0.93159 | 0.85 | 88449.044 | 1.1674 | -104511.6733 | 4.4053e-05 | 2.999 | 72.3465 | 27.2351 | 578900.879 | 2613074.771 | 33.0162 | 33.5714 | 0.072452 | [43212.02271153846, 24444.625400000004, 20792.39586538462] | [1.3127724848551305, 1.154797602364917, 1.0345007799202832] | [-66447.45548542388, -16663.08047206216, -21401.137379308944] | [5.4417968432582646e-05, 3.8665675979530675e-05, 3.907674268250815e-05] | [2.8442929761997884, 3.0814709802367575, 3.0712174278090245] | [106.1690521046175, 55.95172288239655, 54.918806872832285] | [33.40185543794105, 23.973436768054746, 24.330048773416685] | [1355615.9093240923, 195405.79059232614, 185680.9371212933] | [0.15062761591418442, 0.06951008300913633, 0.05627361204964849] | [0.04915148129097925, 0.0382926945899975, 0.046980629717606213] | [239.0, 169.0, 115.0] | [0.6737179758900428, 0.44920943941422425, 0.16521731627641886] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.13289491097084774, 0.041657701180155396, 0.04280227475861789] | 0.023004 | 0.049628 | 0.18525 | 5 | 239 | 4 | 169 | 5 | 115
0.26029 | 0.93113 | 0.85 | 88629.8474 | 1.1673 | -104244.2066 | 4.4003e-05 | 3 | 72.2237 | 27.2032 | 577911.294 | 2611848.2797 | 33.0155 | 33.5701 | 0.072278 | [43212.02271153847, 24444.625400000004, 20973.199307692314] | [1.3125509370070525, 1.1548309192152508, 1.0345598123174746] | [-66481.49679963895, -16693.040747437462, -21069.66903520039] | [5.442963827876319e-05, 3.868774914892512e-05, 3.88901870475239e-05] | [2.8441182521329225, 3.0810345480438763, 3.0748307951134266] | [106.19998540467809, 56.00714489426965, 54.464103169625595] | [33.4089120643703, 23.98683943328434, 24.213826809156206] | [1356476.6664549918, 195964.68988031187, 181292.52559034355] | [0.1506276159141844, 0.06956915888312216, 0.05584095621065145] | [0.049193254607730746, 0.03832870367121638, 0.046575623017760144] | [239.0, 169.0, 116.0] | [0.6734406112987955, 0.4491594504086679, 0.16600196376769316] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1329629935992779, 0.041732601868593656, 0.04213933807040079] | 0.023051 | 0.049604 | 0.18524 | 5 | 239 | 4 | 169 | 5 | 116
0.26029 | 0.9425 | 0.85 | 84435.2076 | 1.1697 | -98277.7481 | 4.3681e-05 | 3.0059 | 71.3679 | 27.0087 | 565093.9853 | 2643268.2161 | 33.0324 | 33.702 | 0.070962 | [43212.02271153846, 24589.268153846155, 16633.916692307695] | [1.3182248272709052, 1.1539075984797669, 1.0371015138361204] | [-65616.57950524954, -15737.17957546493, -16923.989009325418] | [5.413116257561909e-05, 3.797268209501202e-05, 3.894042607694601e-05] | [2.8486094454964985, 3.0953280844534037, 3.0738204253119266] | [105.41082007291466, 54.22756054428952, 54.46520894390246] | [33.22842533378968, 23.55090478152793, 24.24676133309696] | [1334678.991117622, 178556.7539938245, 182046.21074339474] | [0.1506276159141844, 0.0676693926379215, 0.05491088940896945] | [0.04813304078847972, 0.03714560165900876, 0.04698065712791001] | [239.0, 170.0, 115.0] | [0.680480190278281, 0.4511809560739529, 0.14449011912577628] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.13123315901049906, 0.039342948938662324, 0.042309972523313547] | 0.02196 | 0.050225 | 0.18571 | 5 | 239 | 4 | 170 | 4 | 115
0.26028 | 0.94207 | 0.85 | 84579.8503 | 1.1697 | -98071.7675 | 4.363e-05 | 3.0069 | 71.2429 | 26.9762 | 564070.073 | 2642141.8823 | 33.0318 | 33.7009 | 0.070785 | [43212.02271153847, 24589.268153846155, 16778.55944615385] | [1.3180215049250816, 1.1539440230015614, 1.0371710206742224] | [-65647.32874406868, -15762.910253278751, -16661.528485116698] | [5.414184470813536e-05, 3.7992369497345506e-05, 3.875433026217791e-05] | [2.8484479046121076, 3.0949300826801447, 3.0774399694945975] | [105.43899158133425, 54.27646574787424, 54.013176154626684] | [33.234884831888635, 23.56286358846227, 24.13082217618269] | [1335451.3612457262, 179022.2550284656, 177736.60274862294] | [0.15062761591418442, 0.06772232213089446, 0.05448332620517334] | [0.04817068938180778, 0.037176857881177104, 0.046575650460920034] | [239.0, 170.0, 116.0] | [0.680230211481235, 0.4511482677361267, 0.14520974503087314] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.13129465748813737, 0.039407275633196875, 0.04165382121279174] | 0.021998 | 0.050203 | 0.18569 | 5 | 239 | 4 | 170 | 4 | 116
0.26028 | 0.93121 | 0.85 | 88593.6867 | 1.1672 | -104333.1965 | 4.4007e-05 | 2.9999 | 72.2321 | 27.2065 | 577927.0665 | 2612062.3209 | 33.0156 | 33.5684 | 0.0723 | [43212.02271153847, 24589.268153846155, 20792.395865384617] | [1.3125896007279398, 1.1548441867374515, 1.0343072350745819] | [-66475.55443995362, -16469.323994640417, -21388.318066252097] | [5.442760160746968e-05, 3.852484422889954e-05, 3.906964938245336e-05] | [2.8441487406280133, 3.0842602655534708, 3.0713528636137415] | [106.1945863329288, 55.60459692867566, 54.89714631028488] | [33.40768051223851, 23.886243492192882, 24.325707881926725] | [1356326.3930988286, 191961.89980912296, 185492.90664746016] | [0.1506276159141844, 0.0691496763723958, 0.05622112315870627] | [0.04918596227325223, 0.03803193625441895, 0.04698062867273094] | [239.0, 170.0, 115.0] | [0.673489030609232, 0.45010934060603214, 0.16443757936033174] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.13295110887990724, 0.04117330998660105, 0.042776636132504195] | 0.023042 | 0.049608 | 0.18524 | 5 | 239 | 4 | 170 | 5 | 115
0.26029 | 0.93075 | 0.85 | 88774.4902 | 1.1672 | -104065.3948 | 4.3956e-05 | 3.0009 | 72.1092 | 27.1746 | 576934.4814 | 2610839.0276 | 33.0149 | 33.5671 | 0.072127 | [43212.02271153846, 24589.268153846155, 20973.199307692314] | [1.3123686273134427, 1.1548777807234103, 1.0343660876096528] | [-66509.52568991586, -16498.852353263563, -21057.01675760275] | [5.4439242251316106e-05, 3.854677325494328e-05, 3.888311203336043e-05] | [2.843974511914676, 3.083824721116528, 3.074966663746171] | [106.22544748126248, 55.659517626971066, 54.442561155645784] | [33.41471947591229, 23.89955875294588, 24.20949718370419] | [1357185.5712042921, 192509.43457106216, 181108.43828740937] | [0.15062761591418442, 0.06920828790062299, 0.05578865949555212] | [0.04922765248161467, 0.03806755589108263, 0.04657562198205218] | [239.0, 170.0, 116.0] | [0.6732122178865338, 0.45006026141453204, 0.16521979556271713] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.13301905137983172, 0.0412471308831589, 0.0421140335152055] | 0.023089 | 0.049584 | 0.18522 | 5 | 239 | 4 | 170 | 5 | 116
0.26098 | 0.96214 | 0.85 | 78360.2119 | 1.1844 | -93361.8316 | 4.3811e-05 | 3.0018 | 71.5254 | 27.0889 | 553544.8555 | 2696992.5221 | 33.0567 | 33.9396 | 0.070655 | [43392.82615384615, 18333.469050000003, 16633.916692307695] | [1.3285893286798636, 1.1737144459368296, 1.0509890805495221] | [-63455.4380395253, -12345.148172391486, -17561.24537342523] | [5.341865550124621e-05, 3.863323614215528e-05, 3.9379861314915254e-05] | [2.8592092860933938, 3.0807971753753765, 3.0654445198924956] | [103.44128773676775, 55.35269624951222, 55.78231367204993] | [32.796384286950996, 23.95460188011462, 24.515564619290522] | [1277666.1619014754, 189183.918450678, 193784.48607152267] | [0.15000000084787532, 0.06523096268024821, 0.05790480512921357] | [0.04593346955400813, 0.03940267804650627, 0.04698069835019424] | [240.0, 169.0, 115.0] | [0.6938088578738705, 0.3960459531969732, 0.18874422322792778] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1269108760790506, 0.04115049390797162, 0.043903113433563075] | 0.02038 | 0.051286 | 0.18692 | 5 | 240 | 3 | 169 | 4 | 115
0.26095 | 0.96163 | 0.85 | 78504.8546 | 1.1844 | -93152.221 | 4.3761e-05 | 3.0028 | 71.4042 | 27.0576 | 552526.1816 | 2695616.6906 | 33.0561 | 33.9376 | 0.070481 | [43392.82615384615, 18333.469050000003, 16778.55944615385] | [1.3283416252359692, 1.1737486754945714, 1.05107623977981] | [-63491.581264557644, -12369.674145639916, -17290.96557197923] | [5.3431619933191963e-05, 3.8657618517398424e-05, 3.9192961946408244e-05] | [2.8590086284664964, 3.080314641145186, 3.0690310613195915] | [103.47506894800563, 55.41350907119187, 55.32388674397497] | [32.80422428724827, 23.96940544292213, 24.399129334299044] | [1278558.48717815, 189782.33723683932, 189237.72028625465] | [0.15000000088030158, 0.06529362957334131, 0.05746731200832536] | [0.045977597491227845, 0.039445018893288414, 0.0465756913428409] | [240.0, 169.0, 116.0] | [0.6935146281988277, 0.39597703171926796, 0.18961545422994633] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1269831625291153, 0.041232247152133056, 0.04322741392994808] | 0.020418 | 0.051259 | 0.18688 | 5 | 240 | 3 | 169 | 4 | 116
0.26035 | 0.948 | 0.85 | 82518.6911 | 1.1811 | -99815.9307 | 4.4221e-05 | 2.9943 | 72.6215 | 27.3382 | 569619.7771 | 2658019.137 | 33.0404 | 33.7546 | 0.07235 | [43392.82615384615, 18333.469050000003, 20792.395865384617] | [1.3215655885529056, 1.1745497928599036, 1.0470823166372771] | [-64490.0276203943, -13062.680419948652, -22263.222670679428] | [5.3786740605968604e-05, 3.933362741753875e-05, 3.9544023325742846e-05] | [2.8535476039395498, 3.0670851547458526, 3.0624019912541263] | [104.40342542623546, 57.1087975583283, 56.35214258282529] | [33.01897325079043, 24.379743130226966, 24.615756970177024] | [1303310.554665123, 206958.74054716443, 198590.03607697613] | [0.1500000008784697, 0.06702822318492796, 0.05971540855510911] | [0.04719904049272011, 0.04063474546649435, 0.04698067069292553] | [240.0, 169.0, 115.0] | [0.6853705041689858, 0.39385565689864377, 0.21335339919536522] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1289800552407886, 0.043542268066495506, 0.044526445341358856] | 0.021462 | 0.050516 | 0.18597 | 5 | 240 | 3 | 169 | 5 | 115
0.26033 | 0.94745 | 0.85 | 82699.4945 | 1.181 | -99540.5501 | 4.4172e-05 | 2.9953 | 72.5019 | 27.3074 | 568628.0417 | 2656553.287 | 33.0397 | 33.7524 | 0.072178 | [43392.82615384615, 18333.469050000003, 20973.19930769231] | [1.3213011640384533, 1.174575698264225, 1.0471522728636808] | [-64529.377368307636, -13090.607692750214, -21920.565011932664] | [5.380061811916993e-05, 3.9360362342629767e-05, 3.935625148831957e-05] | [2.8533355735703827, 3.066567779755151, 3.065987761498769] | [104.43982280198388, 57.17620949277191, 55.88957584447428] | [33.02736513892794, 24.39596756449493, 24.49878643554893] | [1304290.103644406, 207661.65027994406, 193932.3711747068] | [0.15000000087847054, 0.0670967128202868, 0.05927008917740194] | [0.047247268610951965, 0.04068242807442973, 0.04657566365127798] | [240.0, 169.0, 116.0] | [0.6850489383650972, 0.393763612239829, 0.2142758330603151] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.12905875473661527, 0.04363535897583405, 0.043841130023865325] | 0.021509 | 0.050487 | 0.18594 | 5 | 240 | 3 | 169 | 5 | 116
0.26096 | 0.96175 | 0.85 | 78468.694 | 1.1843 | -93238.5099 | 4.3766e-05 | 3.0027 | 71.4149 | 27.0611 | 552617.9317 | 2695944.5528 | 33.0563 | 33.9355 | 0.070509 | [43392.82615384615, 18441.951115384618, 16633.916692307695] | [1.3284006550803658, 1.173841156831303, 1.0507615275065065] | [-63482.9657825049, -12205.023707741335, -17550.52042207801] | [5.342853029319407e-05, 3.84963267846237e-05, 3.937260414051669e-05] | [2.8590564402160483, 3.083506570456536, 3.0655813150034765] | [103.46701761873143, 55.01726003816054, 55.76046950450883] | [32.80235588554223, 23.869790208606126, 24.511126942664287] | [1278345.7598010222, 185924.3662043148, 193583.66898405037] | [0.15000000084787532, 0.06489469849448402, 0.0578554343388382] | [0.04596707810025952, 0.03913749969980231, 0.04698069759147674] | [240.0, 170.0, 115.0] | [0.6935847678168702, 0.39700248155134016, 0.18805161570131484] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1269659315650098, 0.040683412359137784, 0.04387630105519503] | 0.020409 | 0.051266 | 0.18689 | 5 | 240 | 3 | 170 | 4 | 115
0.26093 | 0.96123 | 0.85 | 78613.3367 | 1.1843 | -93028.608 | 4.3716e-05 | 3.0037 | 71.2935 | 27.0298 | 551596.0653 | 2694572.3887 | 33.0557 | 33.9336 | 0.070334 | [43392.82615384615, 18441.951115384618, 16778.55944615385] | [1.3281535967093274, 1.1738757347495974, 1.0508483639797344] | [-63519.03363602243, -12229.205110421019, -17280.369274234537] | [5.344146184381263e-05, 3.852055564462407e-05, 3.91857165367121e-05] | [2.8588563608951487, 3.083024951933311, 3.0691684187124046] | [103.50071903673214, 55.07753796451682, 55.302143865346714] | [32.810175993911415, 23.88450066139447, 24.39469893465173] | [1279236.4188596848, 186510.8843539899, 189040.89256134068] | [0.15000000084787532, 0.0649568737771437, 0.057418095669923945] | [0.04601111892547678, 0.03917940645712459, 0.04657569059063144] | [240.0, 170.0, 116.0] | [0.6932911190357133, 0.3969343999315014, 0.1889205019568916] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.12703806727204486, 0.04076401703473673, 0.043200923185586354] | 0.020446 | 0.051239 | 0.18686 | 5 | 240 | 3 | 170 | 4 | 116
0.26034 | 0.94765 | 0.85 | 82627.1731 | 1.181 | -99675.5951 | 4.4175e-05 | 2.9953 | 72.5039 | 27.3091 | 568544.8806 | 2657086.9681 | 33.04 | 33.7514 | 0.072189 | [43392.82615384615, 18441.951115384618, 20792.395865384617] | [1.32139743652507, 1.1746869430537759, 1.0468721493751263] | [-64515.04737543347, -12912.199394535503, -22248.34831830867] | [5.3795565374335025e-05, 3.9192079378275105e-05, 3.953612539928416e-05] | [2.8534127610247433, 3.069824580222994, 3.062549205168673] | [104.42656963210138, 56.75730501289746, 56.327817079100086] | [33.024309688491016, 24.292118726692774, 24.610929804084762] | [1303933.3457281152, 203338.04584214318, 198363.25014659023] | [0.15000000084787532, 0.06667723008349166, 0.059657433913088885] | [0.04722970464247325, 0.040356499411795414, 0.04698066992732481] | [240.0, 170.0, 115.0] | [0.6851660478719791, 0.3948376810834363, 0.21258859225934024] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.12903009475086694, 0.04304066464845169, 0.04449669663661733] | 0.02149 | 0.050498 | 0.18595 | 5 | 240 | 3 | 170 | 5 | 115
0.26032 | 0.9471 | 0.85 | 82807.9766 | 1.1809 | -99399.9391 | 4.4125e-05 | 2.9962 | 72.3841 | 27.2783 | 567549.4793 | 2655624.6608 | 33.0392 | 33.7493 | 0.072018 | [43392.82615384615, 18441.951115384618, 20973.19930769231] | [1.3211336411573356, 1.1747132908251996, 1.0469419000593494] | [-64554.32219357394, -12939.736523965772, -21905.88033928368] | [5.3809410840152154e-05, 3.921865142031761e-05, 3.9348372830245047e-05] | [2.8532012854995905, 3.069308042918225, 3.0661354551818447] | [104.46288862722277, 56.824134731909055, 55.865379608416035] | [33.03268219104977, 24.308244435393085, 24.493971135854917] | [1304911.2247899694, 204026.96316472726, 193710.25005938765] | [0.15000000084787532, 0.06674519289874814, 0.05921231910717947] | [0.0472778449699466, 0.04040370009666364, 0.046575662892300654] | [240.0, 170.0, 116.0] | [0.684845067478387, 0.39474658865579354, 0.21350889659562833] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1291086443871479, 0.04313245507988591, 0.04381176067856736] | 0.021537 | 0.050469 | 0.18592 | 5 | 240 | 3 | 170 | 5 | 116
0.26023 | 0.94212 | 0.85 | 84471.3682 | 1.1696 | -97676.3706 | 4.3643e-05 | 3.0063 | 71.2211 | 26.9856 | 558693.8893 | 2642320.562 | 33.0323 | 33.7007 | 0.070578 | [43392.82615384615, 24444.625400000004, 16633.916692307695] | [1.3187329527336744, 1.1529697689255827, 1.0370241089306016] | [-64913.10429173591, -15842.730733208238, -16920.535624379074] | [5.393548393542667e-05, 3.8054820168021957e-05, 3.893799805911713e-05] | [2.851280350119752, 3.093625566462851, 3.073867234213161] | [104.79401021751558, 54.41146563132205, 54.457963043051265] | [33.1089195159165, 23.602474343702745, 24.245275405044367] | [1313858.5575923477, 180239.40634467182, 181983.70402190648] | [0.15000000084787532, 0.06776506756330906, 0.054894311624179876] | [0.04771790174249681, 0.03735411737740051, 0.046980656890982075] | [240.0, 169.0, 115.0] | [0.6819109495179438, 0.44887887495992196, 0.14423163244493264] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.12982620858347182, 0.039606826833020595, 0.04230133906094769] | 0.02197 | 0.050206 | 0.18566 | 5 | 240 | 4 | 169 | 4 | 115
0.26022 | 0.9417 | 0.85 | 84616.011 | 1.1695 | -97470.295 | 4.3591e-05 | 3.0073 | 71.0962 | 26.9531 | 557667.9271 | 2641195.5219 | 33.0317 | 33.6996 | 0.070401 | [43392.826153728405, 24444.625400000925, 16778.55944615477] | [1.318529890323153, 1.1530066065358597, 1.0370935255322091] | [-64943.56493110697, -15868.611799739803, -16658.118262432436] | [5.394615385339251e-05, 3.8074530188199924e-05, 3.8751907057422325e-05] | [2.8511181641198275, 3.093228210764682, 3.0774869574413133] | [104.82206795365789, 54.46050842245413, 54.00596665136205] | [33.11537165812898, 23.61444720819332, 24.12933921963286] | [1314619.371848348, 180709.03209519465, 177675.37741480613] | [0.15000000107350508, 0.06781815730128081, 0.054466805847469484] | [0.047755285766887, 0.0373854998716365, 0.04657565022604014] | [240.0, 169.0, 116.0] | [0.681661687785944, 0.4488474701433283, 0.1449503504180884] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.12988712986221396, 0.0396715294993495, 0.04164529565608109] | 0.022007 | 0.050184 | 0.18564 | 5 | 240 | 4 | 169 | 4 | 116
0.26023 | 0.93085 | 0.85 | 88629.8474 | 1.1671 | -103726.6011 | 4.3969e-05 | 3.0003 | 72.0853 | 27.1834 | 571455.0036 | 2611155.2178 | 33.0155 | 33.5674 | 0.071914 | [43392.82615384615, 24444.625400000004, 20792.39586538462] | [1.3131054027755729, 1.1539182091077396, 1.034236260927382] | [-65763.91458491536, -16579.065533783854, -21383.620992872515] | [5.4231548500960976e-05, 3.860755231147391e-05, 3.906704702779413e-05] | [2.8468023993319127, 3.082576958483026, 3.0714025872986346] | [105.57451864739912, 55.792219213617855, 54.88919871750117] | [33.287949043317084, 23.93816793056096, 24.324115888605366] | [1335179.3062178665, 193761.7464720466, 185423.95810406862] | [0.1500000008803008, 0.06924972702932863, 0.05620187831470949] | [0.04876334944981893, 0.03824388169344137, 0.04698062843012776] | [240.0, 169.0, 115.0] | [0.6749403618736607, 0.44784332354254697, 0.1641513247194279] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.13152782916983072, 0.04144766383445964, 0.042767241985745025] | 0.023051 | 0.04959 | 0.18519 | 5 | 240 | 4 | 169 | 5 | 115
0.26023 | 0.93039 | 0.85 | 88810.6509 | 1.167 | -103458.7269 | 4.3918e-05 | 3.0013 | 71.9624 | 27.1515 | 570460.3193 | 2609933.1777 | 33.0147 | 33.5661 | 0.071741 | [43392.82615384615, 24444.625400000004, 20973.199307692314] | [1.3128846537075318, 1.1539523005665526, 1.034295056858645] | [-65797.57330834669, -16608.772063652978, -21052.38149545098] | [5.424317803148192e-05, 3.862951084284786e-05, 3.888051673202153e-05] | [2.8466274443398163, 3.0821420322651782, 3.075016539673849] | [105.60526105860154, 55.84730555751421, 54.43465812836074] | [33.29498131540585, 23.95150144286502, 24.207909531073977] | [1336025.7721454967, 194314.24068158946, 181040.94495770906] | [0.15000000084787532, 0.06930853302625635, 0.05576948765181569] | [0.04880475867265552, 0.03827964832905692, 0.04657562174143615] | [240.0, 169.0, 116.0] | [0.6746642641076575, 0.44779566026595957, 0.16493268492727478] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.13159514661669336, 0.04152193015913244, 0.042104762990901955] | 0.023098 | 0.049566 | 0.18517 | 5 | 240 | 4 | 169 | 5 | 116
0.26023 | 0.94171 | 0.85 | 84616.011 | 1.1695 | -97515.5592 | 4.3599e-05 | 3.0072 | 71.113 | 26.9582 | 557844.8322 | 2641208.7178 | 33.0317 | 33.697 | 0.070439 | [43392.826153473645, 24589.26815384914, 16633.916692310657] | [1.3185322720357981, 1.1530100222302475, 1.0368156377143478] | [-64943.2075419489, -15661.113349442385, -16911.23835602206] | [5.394602871234771e-05, 3.791828034282949e-05, 3.8931464711449806e-05] | [2.851120066204087, 3.0963832569495593, 3.0739931485759615] | [104.82173880827543, 54.07890339190251, 54.43847316523382] | [33.11529597500812, 23.5178846502542, 24.241275472301655] | [1314610.44435584, 177108.3432422232, 181815.70912490707] | [0.15000000149996337, 0.0674186077020595, 0.05484966994805637] | [0.047754847124090935, 0.037104188494275506, 0.04698065584999633] | [240.0, 170.0, 115.0] | [0.681664611157006, 0.4497534691605403, 0.14353479277077544] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.12988641508389778, 0.03915278337360596, 0.04227809589005515] | 0.022007 | 0.050184 | 0.18564 | 5 | 240 | 4 | 170 | 4 | 115
0.26022 | 0.94128 | 0.85 | 84760.6538 | 1.1694 | -97309.1501 | 4.3547e-05 | 3.0082 | 70.9879 | 26.9256 | 556816.2844 | 2640086.9921 | 33.0311 | 33.6959 | 0.070262 | [43392.82615384616, 24589.268153846155, 16778.55944615385] | [1.3183298005457205, 1.1530470519092837, 1.0368847853861523] | [-64973.59700993094, -15686.616950481408, -16648.936102545846] | [5.395666850651575e-05, 3.793785596406083e-05, 3.874538607708117e-05] | [2.850958397290305, 3.0959868525254697, 3.0776133694272665] | [104.84972259795693, 54.12749058470543, 53.98657223941791] | [33.12172990612932, 23.529775991455324, 24.12534679881002] | [1315369.6635885153, 177568.38357627665, 177510.8061529628] | [0.15000000084787532, 0.06747126673946122, 0.054422313354126846] | [0.04779214727378503, 0.03713522558281597, 0.046575649193951185] | [240.0, 170.0, 116.0] | [0.6814159115031556, 0.449722822398173, 0.14425097376584317] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.12994719401986188, 0.03921654237620352, 0.04162234025636462] | 0.022045 | 0.050162 | 0.18562 | 5 | 240 | 4 | 170 | 4 | 116
0.26023 | 0.93047 | 0.85 | 88774.4902 | 1.167 | -103548.953 | 4.3923e-05 | 3.0012 | 71.9713 | 27.1549 | 570487.5906 | 2610147.7426 | 33.0149 | 33.5644 | 0.071764 | [43392.82615384615, 24589.268153846155, 20792.39586538462] | [1.3129234130331824, 1.1539640197888525, 1.034044462116068] | [-65791.66190469626, -16386.35619630918, -21370.934938868657] | [5.42411360176297e-05, 3.8467008359638966e-05, 3.90600213946091e-05] | [2.846658159334635, 3.085365473489224, 3.0715367993086886] | [105.59986258036265, 55.446214807622326, 54.86774874278226] | [33.29374652846848, 23.851149171169336, 24.31981627875017] | [1335877.0927041722, 190347.643660499, 185238.03531901282] | [0.15000000085369078, 0.0688905681967893, 0.05614988149223362] | [0.048797485806059096, 0.03798374336239334, 0.046980627385024364] | [240.0, 170.0, 115.0] | [0.6747127562527026, 0.44874046359008224, 0.1633769296865559] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.13158332380939253, 0.04096589049077295, 0.042741869877737315] | 0.023089 | 0.04957 | 0.18518 | 5 | 240 | 4 | 170 | 5 | 115
0.26024 | 0.93001 | 0.85 | 88955.2936 | 1.1669 | -103280.7472 | 4.3872e-05 | 3.0022 | 71.8482 | 27.1229 | 569489.8897 | 2608928.8755 | 33.0141 | 33.5631 | 0.07159 | [43392.826154443545, 24589.268153846202, 20973.199307692383] | [1.3127032434413777, 1.1539983135591243, 1.0341029065426068] | [-65825.25417984514, -16415.635009715486, -21039.858058592945] | [5.4252732230106445e-05, 3.8488842246864925e-05, 3.8873610923267146e-05] | [2.8464837106778296, 3.0849314333658286, 3.075151221845256] | [105.63053022932407, 55.50080303977072, 54.413320878876185] | [33.30076067461925, 23.864395738854036, 24.20361983754609] | [1336721.888252528, 190888.9065426024, 180858.87427869777] | [0.15000000000001865, 0.06894891322605964, 0.05571768118291511] | [0.04883881353227762, 0.03801912363069603, 0.04657562070905] | [240.0, 170.0, 116.0] | [0.6744372043370856, 0.44869370562722216, 0.1641558669484314] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1316505083596903, 0.04103908752428872, 0.04207971611718589] | 0.023136 | 0.049546 | 0.18516 | 5 | 240 | 4 | 170 | 5 | 116
0.26027 | 0.93587 | 0.85 | 86821.813 | 1.1543 | -94490.8806 | 4.1916e-05 | 3.0362 | 66.5581 | 25.9401 | 473176.439 | 2625734.4579 | 33.022 | 33.6476 | 0.062619 | [51854.42725384616, 18333.469050000003, 16633.916692307695] | [1.3031002733089627, 1.1257880531459952, 1.0341600469863224] | [-67870.8072077259, -9826.600217871885, -16793.47320475579] | [5.0849773485965206e-05, 3.605088132732151e-05, 3.884843095770961e-05] | [2.90019967826169, 3.132697034154429, 3.075596733155726] | [96.9085298696335, 48.574605752381075, 54.19102449058672] | [31.24380440676473, 22.386128899564106, 24.19041989053355] | [1110243.7823908033, 129588.44525008646, 179697.08935452753] | [0.1506276159141844, 0.054772563663021225, 0.05428177513597138] | [0.038730390205232584, 0.0369373026073178, 0.04698063941557309] | [239.0, 169.0, 115.0] | [0.7429137740703128, 0.32572165391782226, 0.1345701428393656] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1131180120128765, 0.03275533405957295, 0.04198368301188948] | 0.022581 | 0.049878 | 0.18542 | 6 | 239 | 3 | 169 | 4 | 115
0.26027 | 0.93547 | 0.85 | 86966.4558 | 1.1543 | -94279.7001 | 4.1864e-05 | 3.0372 | 66.4315 | 25.9074 | 472088.3959 | 2624652.5822 | 33.0214 | 33.6466 | 0.062438 | [51854.42725384616, 18333.469050000003, 16778.55944615385] | [1.3029318990742382, 1.1258505279244626, 1.0342253438645457] | [-67905.09575282516, -9841.991224618308, -16532.61311679458] | [5.086118698582198e-05, 3.606871737324935e-05, 3.866249363463131e-05] | [2.900007615531324, 3.132313004136983, 3.0792235608258975] | [96.93705229159518, 48.61719276215324, 53.74029773452211] | [31.250708940887097, 22.39697876348892, 24.07457880658709] | [1110914.4081688575, 129915.68101598803, 175435.0986265746] | [0.1506276159141844, 0.054818585501155585, 0.053856230677559035] | [0.03876293284391336, 0.03696640685560265, 0.04657563290416563] | [239.0, 169.0, 116.0] | [0.7426976824173704, 0.325756752368659, 0.13525185494586164] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11317515958804193, 0.032806637415394364, 0.041331532791986446] | 0.022619 | 0.049857 | 0.1854 | 6 | 239 | 3 | 169 | 4 | 116
0.26038 | 0.9251 | 0.85 | 90980.2922 | 1.1525 | -100296.4055 | 4.2228e-05 | 3.0301 | 67.3538 | 26.1295 | 483599.3803 | 2595945.7675 | 33.0052 | 33.5245 | 0.063778 | [51854.42725384616, 18333.469050000003, 20792.39586538462] | [1.2984465082868135, 1.1274578472979413, 1.0315911770200674] | [-68824.14257152994, -10262.48905939807, -21209.77383264904] | [5.1165035921219547e-05, 3.6548895455615436e-05, 3.897041911498775e-05] | [2.8949226431876096, 3.1220636436983655, 3.073252467946566] | [97.69841695817456, 49.76860588166092, 54.59446883829124] | [31.43451493597866, 22.689008176633834, 24.264962302549712] | [1128942.549955654, 138968.3819015511, 182887.20911862084] | [0.15062761591418442, 0.056056965909683315, 0.05548598504160989] | [0.03963860769345808, 0.03775673538334401, 0.04698061095496217] | [239.0, 169.0, 115.0] | [0.7368829984712418, 0.32655152232065415, 0.15336185722101228] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11470690428588323, 0.03420829686466024, 0.04241954766529808] | 0.023663 | 0.04929 | 0.18503 | 6 | 239 | 3 | 169 | 5 | 115
0.26039 | 0.92465 | 0.85 | 91161.0956 | 1.1525 | -100023.3819 | 4.2177e-05 | 3.0311 | 67.2294 | 26.0974 | 482535.6771 | 2594765.3473 | 33.0044 | 33.5234 | 0.0636 | [51854.42725384616, 18333.469050000003, 20973.19930769231] | [1.2982613530788538, 1.1275217904872459, 1.0316470928684267] | [-68862.31656026017, -10280.28957041251, -20880.775777981078] | [5.117757096175915e-05, 3.656892683690314e-05, 3.8784122614044216e-05] | [2.8947140251909325, 3.1216397790680785, 3.0768726473386674] | [97.7299113300451, 49.816843687083605, 54.14149601778805] | [31.44209747121551, 22.701187849439187, 24.148900128132627] | [1129693.605008992, 139356.34321779895, 178557.08315183246] | [0.15062761591418442, 0.05610860090566579, 0.05505610906664621] | [0.03967511946885991, 0.03778999202207669, 0.046575604421399026] | [239.0, 169.0, 116.0] | [0.7366405529106519, 0.3265784897350768, 0.15410730139185583] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11477052760043362, 0.03426763190137503, 0.04176155155596216] | 0.02371 | 0.049267 | 0.18502 | 6 | 239 | 3 | 169 | 5 | 116
0.26027 | 0.93558 | 0.85 | 86930.2951 | 1.1543 | -94398.8214 | 4.1876e-05 | 3.037 | 66.4632 | 25.9148 | 472559.4299 | 2624950.0285 | 33.0215 | 33.645 | 0.062505 | [51854.42725384616, 18441.951115384618, 16633.916692307695] | [1.3029781960834077, 1.1258612699741006, 1.0340137201216706] | [-67895.6661035531, -9716.133976686313, -16787.0213546694] | [5.0858048731218517e-05, 3.592512912234194e-05, 3.884386209652e-05] | [2.9000604174287643, 3.1353996861169127, 3.0756851937293694] | [96.92920921731852, 48.282957395779206, 54.177419087922814] | [31.248810472581795, 22.308091373597914, 24.1876218817719] | [1110729.9660828798, 127366.97231391387, 179581.35142865678] | [0.1506276159141844, 0.05448353995804599, 0.054250524318308124] | [0.03875398239693648, 0.03669888409767903, 0.04698063863810211] | [239.0, 170.0, 115.0] | [0.7427571157247156, 0.3265204346378537, 0.13407137221067378] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11315944350592182, 0.03238711325562105, 0.0419675533866735] | 0.022609 | 0.049863 | 0.18541 | 6 | 239 | 3 | 170 | 4 | 115
0.26027 | 0.93517 | 0.85 | 87074.9378 | 1.1543 | -94187.4531 | 4.1823e-05 | 3.0381 | 66.3365 | 25.8821 | 471469.7068 | 2623870.58 | 33.0209 | 33.644 | 0.062323 | [51854.42725384616, 18441.951115384614, 16778.55944615385] | [1.302810164023084, 1.1259238681373627, 1.0340788425373248] | [-67929.89585845424, -9731.315188652956, -16526.242038668213] | [5.0869438619875816e-05, 3.594285898058905e-05, 3.86579337602541e-05] | [2.899868807454051, 3.1350162859786077, 3.079312363164492] | [96.95767663930256, 48.325186538498855, 53.7267605277161] | [31.25570071164949, 22.31887669566356, 24.071786348094818] | [1111399.5445909868, 127687.83750382942, 175321.73841967975] | [0.15062761591418442, 0.05452922218358477, 0.053825087869369036] | [0.0387864760301649, 0.03672770701674593, 0.04657563213342137] | [239.0, 170.0, 116.0] | [0.7425413495332261, 0.3265560104595994, 0.1347512742336937] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11321649309742374, 0.03243771729550985, 0.04131560509667053] | 0.022647 | 0.049842 | 0.18539 | 6 | 239 | 3 | 170 | 4 | 116
0.26039 | 0.92484 | 0.85 | 91088.7742 | 1.1524 | -100193.992 | 4.2186e-05 | 3.031 | 67.2545 | 26.1034 | 482904.5937 | 2595237.1775 | 33.0047 | 33.5224 | 0.063656 | [51854.42725384616, 18441.951115384614, 20792.39586538462] | [1.2983353688208126, 1.1275343407870264, 1.031456949247674] | [-68847.05424355957, -10145.92182926725, -21201.015927179065] | [5.11725601512696e-05, 3.642001488148115e-05, 3.8965526793299125e-05] | [2.894797408069982, 3.1247869814974516, 3.073346403636227] | [97.71732082621062, 49.46651648962582, 54.579559815923176] | [31.43906639842899, 22.60906971199433, 24.26196744078573] | [1129393.3047479833, 136560.58551525357, 182759.8907738458] | [0.1506276159141844, 0.05575802576566522, 0.05544972408711894] | [0.03966052041909241, 0.03751010747069811, 0.04698061017398559] | [239.0, 170.0, 115.0] | [0.7367374935384935, 0.3273638230511082, 0.15280793814893479] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11474509040593261, 0.03381973943089083, 0.04240203185435813] | 0.023691 | 0.049276 | 0.18502 | 6 | 239 | 3 | 170 | 5 | 115
0.2604 | 0.92439 | 0.85 | 91269.5777 | 1.1524 | -99920.7863 | 4.2135e-05 | 3.032 | 67.1299 | 26.0712 | 481838.9395 | 2594059.0827 | 33.0039 | 33.5213 | 0.063477 | [51854.42725384616, 18441.951115384614, 20973.199307692314] | [1.2981505451520354, 1.1275984682940687, 1.0315127506994883] | [-68885.17123006665, -10163.482092458129, -20872.132965954155] | [5.118507240619e-05, 3.6439931373574443e-05, 3.87792432830145e-05] | [2.89458922397167, 3.124363697907266, 3.0769668777501926] | [97.7487619860322, 49.51435803959162, 54.126669904056904] | [31.446635139812987, 22.62117960214766, 24.145913269293608] | [1130143.3453178685, 136941.02013962963, 178432.4529047416] | [0.1506276159141844, 0.05580928949808831, 0.05501998436664998] | [0.03969698416182014, 0.03754304815606706, 0.0465756036472564] | [239.0, 170.0, 116.0] | [0.7364953669756203, 0.3273913708097051, 0.15355164337957206] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11480861871677776, 0.03387827364152709, 0.04174426593190832] | 0.023738 | 0.049253 | 0.18501 | 6 | 239 | 3 | 170 | 5 | 116
0.26056 | 0.92058 | 0.85 | 92932.9693 | 1.144 | -98343.3918 | 4.1841e-05 | 3.0386 | 66.4528 | 25.8931 | 477982.3378 | 2583922.5362 | 32.9968 | 33.4896 | 0.062727 | [51854.42725384616, 24444.625400000004, 16633.916692307695] | [1.2965580199936153, 1.1104155238320532, 1.0251541981068382] | [-69214.39208430305, -12725.78592819176, -16403.213803823895] | [5.129286093552255e-05, 3.5661390085712704e-05, 3.8568551245873385e-05] | [2.892799558875721, 3.1418793267039744, 3.0810566637839285] | [98.01989492550784, 47.97849537244841, 53.35992806610667] | [31.511836368638615, 22.14852606937145, 24.0189889660459] | [1136628.9673227018, 124548.38125495643, 172769.66483231902] | [0.15062761591418442, 0.056585542537795686, 0.05236634857095085] | [0.04001237108321117, 0.03563390583230383, 0.046980596856787994] | [239.0, 169.0, 115.0] | [0.7344011380992329, 0.370375900440805, 0.10289890287140128] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11535732014050507, 0.0318144648204794, 0.04100803450955974] | 0.02417 | 0.049052 | 0.18494 | 6 | 239 | 4 | 169 | 4 | 115
0.26057 | 0.92024 | 0.85 | 93077.6121 | 1.144 | -98133.998 | 4.1787e-05 | 3.0396 | 66.3239 | 25.8596 | 476893.6887 | 2583009.0769 | 32.9962 | 33.4891 | 0.062544 | [51854.42725384616, 24444.625400000004, 16778.55944615385] | [1.2964143109082877, 1.1104685225020847, 1.025209615374081] | [-69244.17069752084, -12742.537095373256, -16147.290175523336] | [5.130258580380505e-05, 3.567616443491137e-05, 3.838318852496603e-05] | [2.8926384234466456, 3.141557316289323, 3.0847042544995094] | [98.04438160936067, 48.01383061708022, 52.91345404029291] | [31.517718873315125, 22.157517120612177, 23.90350243649538] | [1137216.262021367, 124813.61531500034, 168651.18886684944] | [0.15062761591418442, 0.05662594099224168, 0.051947654948772425] | [0.04004093735434663, 0.035656378544719536, 0.04657559070406928] | [239.0, 169.0, 116.0] | [0.7342114529585397, 0.3704281814876174, 0.10346460302273147] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11540695116253473, 0.031856342738433144, 0.040368225438808344] | 0.024208 | 0.049034 | 0.18494 | 6 | 239 | 4 | 169 | 4 | 116
0.26108 | 0.91171 | 0.85 | 97091.4485 | 1.1426 | -103894.8729 | 4.2097e-05 | 3.0335 | 67.1057 | 26.049 | 486629.9523 | 2559298.752 | 32.9797 | 33.3986 | 0.063681 | [51854.42725384616, 24444.625400000004, 20792.39586538462] | [1.2926729241231172, 1.111818250255171, 1.0233567660618497] | [-70023.57151647001, -13188.180088458566, -20683.12130875051] | [5.155566510096336e-05, 3.60645260227212e-05, 3.867210032515891e-05] | [2.8884642301372248, 3.133152455047477, 3.0790278273106226] | [98.68305806819245, 48.94575718355047, 53.68815195358168] | [31.6708011976166, 22.393811114294596, 24.082304976126792] | [1152626.726389729, 131942.4701436947, 175320.66040332252] | [0.1506276159141844, 0.057686451231387714, 0.05327353656872437] | [0.040790837900018924, 0.03625122310889528, 0.04698056790951457] | [239.0, 169.0, 115.0] | [0.7292319973072618, 0.37168933039941504, 0.11818337058678596] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11670595252744999, 0.03297045022114642, 0.04136624261750101] | 0.025252 | 0.048566 | 0.18487 | 6 | 239 | 4 | 169 | 5 | 115
0.26111 | 0.91132 | 0.85 | 97272.252 | 1.1426 | -103626.0739 | 4.2045e-05 | 3.0346 | 66.979 | 26.0161 | 485568.0181 | 2558282.8436 | 32.979 | 33.3979 | 0.063501 | [51854.42725384616, 24444.625400000004, 20973.19930769231] | [1.2925121456955462, 1.1118749259186818, 1.0234061049735756] | [-70057.24505617643, -13207.749021253014, -20361.079847074514] | [5.156653659901095e-05, 3.608137672670527e-05, 3.848660259838369e-05] | [2.888285744428875, 3.132790347793501, 3.0826661459596463] | [98.71055576334355, 48.98632756670896, 53.24026085328137] | [31.677376987115217, 22.404061729687555, 23.966734745438153] | [1153294.2312399452, 132258.69772965982, 171151.12543106126] | [0.1506276159141844, 0.05773240380868188, 0.052852149009182774] | [0.040823331563461254, 0.03627721470452782, 0.04657556174311881] | [239.0, 169.0, 116.0] | [0.7290162351173909, 0.37173917636524084, 0.11881549208174633] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11676207509362739, 0.03301937255313253, 0.04072215969414903] | 0.025299 | 0.048546 | 0.18487 | 6 | 239 | 4 | 169 | 5 | 116
0.26058 | 0.92026 | 0.85 | 93077.6121 | 1.144 | -98222.2461 | 4.1801e-05 | 3.0395 | 66.3603 | 25.8683 | 477420.2648 | 2583064.5239 | 32.9962 | 33.4871 | 0.062618 | [51854.42725384616, 24589.268153846155, 16633.916692307695] | [1.2964230349750658, 1.110434892844736, 1.025025244654548] | [-69242.36261287893, -12582.167407208151, -16397.716077290355] | [5.1301995450576185e-05, 3.5536371469129796e-05, 3.8564564164686984e-05] | [2.8926482036966576, 3.144604918491231, 3.0811349694687347] | [98.04289501616928, 47.68975210430773, 53.34813374280454] | [31.51736177307999, 22.070933986246473, 24.016544242711333] | [1137180.5998002044, 122406.75939144097, 172673.43530433823] | [0.15062761591418442, 0.05629040849832918, 0.05233903814238269] | [0.04003920269755632, 0.03540581991984712, 0.046980595801332355] | [239.0, 170.0, 115.0] | [0.734222971387891, 0.37112631044789746, 0.10243056789118775] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11540393768813156, 0.031455418518020375, 0.04099429019322589] | 0.024208 | 0.049035 | 0.18494 | 6 | 239 | 4 | 170 | 4 | 115
0.26059 | 0.91992 | 0.85 | 93222.2549 | 1.1439 | -98012.6322 | 4.1747e-05 | 3.0405 | 66.2313 | 25.8347 | 476330.2014 | 2582153.2862 | 32.9956 | 33.4866 | 0.062435 | [51854.42725384616, 24589.268153846155, 16778.55944615385] | [1.296279645003935, 1.1104879210044631, 1.0250805152608011] | [-69272.08597596621, -12598.684389816432, -16141.861880862245] | [5.1311698433036094e-05, 3.555105257301064e-05, 3.837920932650403e-05] | [2.8924874821384328, 3.1442835505217572, 3.0847828664275516] | [98.06733040842613, 47.72477898188494, 52.90171942674516] | [31.523231029463215, 22.079868340078992, 23.90106258685024] | [1137766.907411428, 122666.74256805633, 168556.95433995023] | [0.15062761591418442, 0.056330503227420864, 0.05192044182864469] | [0.040067721960926964, 0.03542806618895756, 0.046575589657837604] | [239.0, 170.0, 116.0] | [0.734033598434755, 0.3711789571252566, 0.10299447105093658] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11545347662661037, 0.03149671097454108, 0.040354654702155615] | 0.024246 | 0.049017 | 0.18493 | 6 | 239 | 4 | 170 | 4 | 116
0.26111 | 0.91141 | 0.85 | 97236.0913 | 1.1425 | -103763.3704 | 4.2056e-05 | 3.0344 | 67.0093 | 26.0234 | 486004.2203 | 2558509.1143 | 32.9791 | 33.3965 | 0.063565 | [51854.42725384616, 24589.268153846155, 20792.39586538462] | [1.2925479587774642, 1.1118381931373975, 1.0232388488215378] | [-70049.74303962073, -13037.909745755249, -20675.71765401235] | [5.1564115020589966e-05, 3.5936813080301055e-05, 3.8667853004627125e-05] | [2.8883254954766637, 3.1358985254614304, 3.079110679629294] | [98.70443032835452, 48.64820174695958, 53.6753019792846] | [31.675912259943324, 22.31458112464457, 24.079701703175612] | [1153145.5077616987, 129651.26920216923, 175215.88386289825] | [0.1506276159141844, 0.05738262309831515, 0.05324203041382613] | [0.04081609174357144, 0.03601666763288239, 0.04698056685369923] | [239.0, 170.0, 115.0] | [0.7290643084662594, 0.3724497745702788, 0.1176612988102114] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.1167495717327012, 0.032594774364388124, 0.0413514353080247] | 0.02529 | 0.04855 | 0.18487 | 6 | 239 | 4 | 170 | 5 | 115
0.26113 | 0.91103 | 0.85 | 97416.8947 | 1.1425 | -103494.3449 | 4.2004e-05 | 3.0355 | 66.8826 | 25.9905 | 484940.6338 | 2557495.3585 | 32.9783 | 33.3959 | 0.063385 | [51854.42725384616, 24589.268153846155, 20973.199307692314] | [1.2923874915008722, 1.111894942343511, 1.0232880828589295] | [-70083.36306159638, -13057.208568216525, -20353.773273783936] | [5.157496524183054e-05, 3.5953561704823475e-05, 3.848236600343237e-05] | [2.8881474115214463, 3.1355370318487616, 3.082749273730239] | [98.73187818337212, 48.688427300812116, 53.22748134707881] | [31.682475170499675, 22.32476970881664, 23.964138089834904] | [1153812.061709063, 129961.2731770315, 171048.56645979552] | [0.15062761591418442, 0.05742824111534198, 0.052820761728964744] | [0.04084853970547337, 0.036042402120940654, 0.046575560696628146] | [239.0, 170.0, 116.0] | [0.7288488497888175, 0.3725000976972037, 0.11829161796561705] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11680560510266062, 0.03264302142054131, 0.04070754654756788] | 0.025337 | 0.04853 | 0.18487 | 6 | 239 | 4 | 170 | 5 | 116
0.26022 | 0.93505 | 0.85 | 87038.7771 | 1.154 | -93728.4861 | 4.1838e-05 | 3.0374 | 66.3244 | 25.8921 | 467176.9025 | 2623575.2659 | 33.021 | 33.6423 | 0.062168 | [52071.39138461538, 18333.469050000003, 16633.916692307695] | [1.3031955822726524, 1.1248295567579423, 1.0338651156228589] | [-67164.16370153139, -9783.849402853002, -16780.472976304383] | [5.067082988470703e-05, 3.60031623159101e-05, 3.8839222941080336e-05] | [2.9028510972785524, 3.133701304878926, 3.0757750375343726] | [96.35764010704713, 48.452063799672, 54.16360560736634] | [31.134406726806542, 22.35711384131013, 24.184780804399523] | [1093414.5448851362, 128652.2387618158, 179463.92383175975] | [0.15000000084787532, 0.054578046116294736, 0.05421879146211785] | [0.03843204080689088, 0.036894443894340545, 0.04698063785046788] | [240.0, 169.0, 115.0] | [0.7438271139956677, 0.3241033798681511, 0.13356431948979294] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11194027283588566, 0.03261283134284334, 0.04195118244076095] | 0.022637 | 0.049836 | 0.18535 | 6 | 240 | 3 | 169 | 4 | 115
0.26022 | 0.93464 | 0.85 | 87183.4199 | 1.154 | -93516.881 | 4.1785e-05 | 3.0385 | 66.1978 | 25.8594 | 466085.1088 | 2622498.1544 | 33.0205 | 33.6413 | 0.061987 | [52071.39138461538, 18333.469050000003, 16778.55944615385] | [1.3030282594672589, 1.1248921663509643, 1.0339300428530716] | [-67198.0180181064, -9799.088087780186, -16519.774870576264] | [5.0682184856602316e-05, 3.602087464916679e-05, 3.865330317001409e-05] | [2.902659115628688, 3.1333193066392737, 3.079402565076669] | [96.3859408043766, 48.49431811721473, 53.713014629720604] | [31.141275923306285, 22.367888914434197, 24.06895056373368] | [1094073.2515709396, 128975.36526998665, 175206.70969128815] | [0.1500000010171832, 0.05462373736414487, 0.05379346088918785] | [0.03846421506058536, 0.036923322267134864, 0.046575631352576155] | [240.0, 169.0, 116.0] | [0.7436125742976637, 0.32414001270891324, 0.13424231757987623] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11199669669684402, 0.03266362695926729, 0.041299437176440655] | 0.022675 | 0.049814 | 0.18534 | 6 | 240 | 3 | 169 | 4 | 116
0.26034 | 0.92433 | 0.85 | 91197.2563 | 1.1521 | -99512.0356 | 4.2147e-05 | 3.0314 | 67.1137 | 26.0802 | 477435.4122 | 2593936.3486 | 33.0042 | 33.5203 | 0.063314 | [52071.39138461538, 18333.469050000003, 20792.395865384617] | [1.2985735581100626, 1.1265033362079204, 1.0313201824366054] | [-68104.8238077809, -10215.113195075954, -21192.09862756686] | [5.098428570151425e-05, 3.649740687331993e-05, 3.896054309729514e-05] | [2.897579372143503, 3.1231304041916403, 3.0734421201335382] | [97.1409025811346, 49.63595490506944, 54.5643737548932] | [31.32402623065824, 22.657713599617843, 24.25891662663454] | [1111768.834207542, 137907.0961895389, 182630.30605500756] | [0.15000000084787532, 0.05585244636152937, 0.055412783964558426] | [0.03932943097957694, 0.03770692399955159, 0.04698060938195818] | [240.0, 169.0, 115.0] | [0.737843293333879, 0.32497698058291574, 0.15224289832931093] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11350803967963483, 0.034050377316919844, 0.04238419725513371] | 0.023719 | 0.04925 | 0.18498 | 6 | 240 | 3 | 169 | 5 | 115
0.26035 | 0.92388 | 0.85 | 91378.0597 | 1.1521 | -99238.6083 | 4.2096e-05 | 3.0324 | 66.9892 | 26.0481 | 476367.5755 | 2592760.5098 | 33.0035 | 33.5192 | 0.063136 | [52071.39138461538, 18333.469050000003, 20973.19930769231] | [1.2983894441266355, 1.1265675698462998, 1.0313758492249236] | [-68142.53317647934, -10232.743439855783, -20863.331702095955] | [5.09967635671305e-05, 3.6517309376131257e-05, 3.877427216049778e-05] | [2.8973707142498935, 3.1227085267562584, 3.077062907396725] | [97.17216913967806, 49.68383790217453, 54.11156629610141] | [31.3315742518027, 22.669815437434497, 24.142870203864366] | [1112506.876348713, 138290.26260944532, 178305.58767914536] | [0.15000000084787532, 0.05590373944583698, 0.054983178216396526] | [0.03936554985977688, 0.03773993297693489, 0.0465756028621235] | [240.0, 169.0, 116.0] | [0.7376024528406713, 0.32500580410876717, 0.1529847521880219] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11357088862746556, 0.03410914479951928, 0.041726663404191906] | 0.023766 | 0.049227 | 0.18496 | 6 | 240 | 3 | 169 | 5 | 116
0.26022 | 0.93475 | 0.85 | 87147.2592 | 1.1539 | -93636.6662 | 4.1797e-05 | 3.0383 | 66.2298 | 25.8669 | 466562.7772 | 2622795.0694 | 33.0206 | 33.6397 | 0.062054 | [52071.39138461539, 18441.951115384618, 16633.916692307695] | [1.3030743883873432, 1.1249018611964394, 1.033720267459983] | [-67188.68331194045, -9673.88905382218, -16774.093839018307] | [5.0679054484597044e-05, 3.587761959672987e-05, 3.883470198647508e-05] | [2.9027120340620463, 3.1364037308173485, 3.0758626118367607] | [96.3781382382393, 48.16121154171584, 54.15014544855281] | [31.139382204646314, 22.27920366938346, 24.182012046924477] | [1093891.6114796193, 126447.14187094136, 179349.57836888748] | [0.15000000084787532, 0.05428989552675491, 0.05418786500209124] | [0.03845534266478473, 0.036656496913179376, 0.0469806370728452] | [240.0, 170.0, 115.0] | [0.7436717359149523, 0.32489857997850574, 0.13306958047987932] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11198113885323409, 0.032246296846073934, 0.041935234597545765] | 0.022666 | 0.04982 | 0.18534 | 6 | 240 | 3 | 170 | 4 | 115
0.26022 | 0.93435 | 0.85 | 87291.9019 | 1.1539 | -93424.8757 | 4.1745e-05 | 3.0393 | 66.103 | 25.8341 | 465469.3299 | 2621720.3648 | 33.02 | 33.6387 | 0.061873 | [52071.39138461538, 18441.951115384614, 16778.55944615385] | [1.3029074037152377, 1.1249645911543142, 1.0337850227740266] | [-67222.47985485819, -9688.92017518091, -16513.475653007536] | [5.0690386080043665e-05, 3.5895226634318254e-05, 3.86487911347497e-05] | [2.9025205028112024, 3.136022356367504, 3.0794904773604737] | [96.40638462625361, 48.20311118961222, 53.699622030134854] | [31.146237247934344, 22.289914739732954, 24.066187314796018] | [1094549.2940128373, 126763.98109670698, 175094.71468848354] | [0.15000000084787532, 0.054335250039066696, 0.05376264153858711] | [0.03848746877767224, 0.036685096579271215, 0.046575630581682174] | [240.0, 170.0, 116.0] | [0.7434575172746343, 0.3249356846808615, 0.13374578152089056] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11203746642476364, 0.03229640058393637, 0.04128368913251884] | 0.022703 | 0.049799 | 0.18532 | 6 | 240 | 3 | 170 | 4 | 116
0.26035 | 0.92406 | 0.85 | 91305.7384 | 1.1521 | -99409.9947 | 4.2105e-05 | 3.0323 | 67.0147 | 26.0541 | 476744.7045 | 2593231.3256 | 33.0038 | 33.5182 | 0.063192 | [52071.39138461538, 18441.951115384614, 20792.39586538462] | [1.2984631716481985, 1.1265788242795165, 1.0311873352534453] | [-68127.43042014916, -10099.121426626269, -21183.442858455383] | [5.099176694005275e-05, 3.636876412624338e-05, 3.895570354763572e-05] | [2.897454258113871, 3.1258533136155773, 3.0735350911498562] | [97.1596479813093, 49.334762211908114, 54.54962848595102] | [31.32855173007415, 22.5779196195114, 24.255953972554657] | [1112211.2664997408, 135518.26733839104, 182504.57964660175] | [0.15000000084787532, 0.055554469833951105, 0.05537690905220356] | [0.03935108279904869, 0.03746085024119653, 0.046980608600887055] | [240.0, 170.0, 115.0] | [0.737698919111294, 0.32578551906945946, 0.1516934303805212] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11354571736691527, 0.033663738088754225, 0.04236688571691077] | 0.023747 | 0.049236 | 0.18497 | 6 | 240 | 3 | 170 | 5 | 115
0.26036 | 0.92362 | 0.85 | 91486.5418 | 1.1521 | -99136.3874 | 4.2054e-05 | 3.0333 | 66.89 | 26.022 | 475674.9461 | 2592057.7929 | 33.003 | 33.5171 | 0.063013 | [52071.39138461538, 18441.951115384614, 20973.19930769231] | [1.2982793852876235, 1.1266432384717908, 1.0312428892080854] | [-68165.08378616713, -10116.51390997541, -20854.789731182602] | [5.100422224597913e-05, 3.6388552648001165e-05, 3.876944547215807e-05] | [2.8972460319468345, 3.1254320117759193, 3.077156170067009] | [97.19086199984761, 49.3822523240017, 54.09690307464886] | [31.336086093857137, 22.589952222880832, 24.139915473154854] | [1112948.3169365483, 135894.00443845938, 178182.51678531917] | [0.15000000084787532, 0.055605394610079635, 0.0549474382756627] | [0.039387154515473075, 0.037493546117511024, 0.046575602087888225] | [240.0, 170.0, 116.0] | [0.737458393156745, 0.3258149170140755, 0.15243355591700375] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 3.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11360847297694522, 0.03372171303325137, 0.041709579462365205] | 0.023794 | 0.049213 | 0.18496 | 6 | 240 | 3 | 170 | 5 | 116
0.26053 | 0.91983 | 0.85 | 93149.9335 | 1.1437 | -97557.5649 | 4.1764e-05 | 3.0398 | 66.2212 | 25.8459 | 471869.8275 | 2581971.8266 | 32.9959 | 33.4856 | 0.062273 | [52071.39138461538, 24444.625400000004, 16633.916692307695] | [1.296697542730183, 1.1095676053486347, 1.0249498219875037] | [-68489.93416599362, -12673.128478255654, -16394.502271003053] | [5.111140077639322e-05, 3.561743560237234e-05, 3.856223125385406e-05] | [2.895457983058223, 3.142805447926338, 3.081180811713545] | [97.4597354044676, 47.86256964509487, 53.34123184860289] | [31.400918940690996, 22.121797277994666, 24.015114174823157] | [1119314.3845757942, 123677.95430810544, 172617.14348913284] | [0.15000000084787532, 0.05637699922967314, 0.0523230661926035] | [0.039698803624228174, 0.03560445332632783, 0.04698059528165008] | [240.0, 169.0, 115.0] | [0.7353803225657957, 0.36856880267135006, 0.10215644331385242] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11414989027665604, 0.03168282119563914, 0.04098625567750763] | 0.024227 | 0.049014 | 0.18489 | 6 | 240 | 4 | 169 | 4 | 115
0.26106 | 0.911 | 0.85 | 97308.4127 | 1.1423 | -103091.2847 | 4.2019e-05 | 3.0348 | 66.8693 | 26.0009 | 480387.2656 | 2557453.9663 | 32.9788 | 33.3954 | 0.063217 | [52071.39138461539, 24444.625400000004, 20792.39586538462] | [1.292835589087281, 1.110971199997131, 1.0231696903324257] | [-69288.91770693687, -13130.989270316213, -20671.377713629197] | [5.137290605584943e-05, 3.601778617238715e-05, 3.866536096928108e-05] | [2.8911233532970946, 3.13412525300084, 3.0791593171051415] | [98.11783756513567, 48.822350991313535, 53.6677619503341] | [31.55909952653654, 22.36539750910514, 24.078174665468055] | [1135027.598772456, 130979.76930288019, 175154.42877100955] | [0.15000000084787532, 0.05747020768590123, 0.05322355425213593] | [0.04046860457882213, 0.03621721147334694, 0.0469805663317874] | [240.0, 169.0, 115.0] | [0.7302473299766059, 0.3699165481181055, 0.11735485085509982] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11548152951156145, 0.03282747317579053, 0.04134275542725839] | 0.025308 | 0.048529 | 0.18483 | 6 | 240 | 4 | 169 | 5 | 115
0.26108 | 0.91061 | 0.85 | 97489.2161 | 1.1423 | -102822.0761 | 4.1966e-05 | 3.0358 | 66.7426 | 25.968 | 479321.5465 | 2556441.3797 | 32.978 | 33.3947 | 0.063037 | [52071.39138461539, 24444.625400000004, 20973.19930769231] | [1.292675594814017, 1.1110280040745713, 1.0232188549824281] | [-69322.20130505759, -13150.385063070675, -20349.489744716273] | [5.1383735277522156e-05, 3.603453765092766e-05, 3.8479879973845685e-05] | [2.8909447047769774, 3.133764699214532, 3.082798078535917] | [98.14515406231911, 48.86264841342808, 53.21998181603857] | [31.565649801941284, 22.37558817988774, 23.96261475683999] | [1135683.8969109976, 131292.3372364818, 170988.40530206834] | [0.15000000084787532, 0.05751588754727361, 0.05280235319434196] | [0.040500770814538505, 0.03624303532866075, 0.046575560179260095] | [240.0, 169.0, 116.0] | [0.7300328479852537, 0.3699679280991738, 0.1179840760299158] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.115537002175096, 0.032875962657676686, 0.040698979489432546] | 0.025355 | 0.048509 | 0.18483 | 6 | 240 | 4 | 169 | 5 | 116
0.26054 | 0.91951 | 0.85 | 93294.5762 | 1.1437 | -97436.7628 | 4.1724e-05 | 3.0407 | 66.1289 | 25.8211 | 471309.9711 | 2581117.8297 | 32.9953 | 33.4831 | 0.062165 | [52071.39138461539, 24589.268153846155, 16633.916692307695] | [1.296563418800847, 1.1095866867887494, 1.0248222636153688] | [-68517.54186137013, -12530.153436493107, -16389.067521976263] | [5.1120486505051995e-05, 3.549263065451609e-05, 3.855828774674905e-05] | [2.8953067149640357, 3.1455303505852585, 3.0812582864156526] | [97.48255101785637, 47.574616552178654, 53.32956856518606] | [31.40641488541515, 22.0443351343631, 24.012696089911287] | [1119856.0103306074, 121551.83178940031, 172522.07121010456] | [0.15000000084787532, 0.0560828128056125, 0.052296056261235756] | [0.03972532573730886, 0.03537674394142419, 0.04698059422617519] | [240.0, 170.0, 115.0] | [0.7352034738851382, 0.36931643726246594, 0.10169249712913303] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11419590310228356, 0.03132538359123277, 0.04097266880494066] | 0.024265 | 0.048997 | 0.18489 | 6 | 240 | 4 | 170 | 4 | 115
0.26056 | 0.91917 | 0.85 | 93439.219 | 1.1436 | -97226.7487 | 4.167e-05 | 3.0418 | 65.9998 | 25.7876 | 470216.5658 | 2580209.996 | 32.9947 | 33.4827 | 0.061981 | [52071.39138461539, 24589.268153846155, 16778.55944615385] | [1.2964208078938484, 1.1096397471243524, 1.024877295583637] | [-68546.9074799487, -12546.51896531825, -16133.322214947662] | [5.113014683588517e-05, 3.5507218778849364e-05, 3.8372945064072347e-05] | [2.8951459330825635, 3.145210527648645, 3.0849066707474564] | [97.5068134391245, 47.609393203121115, 52.88324751964943] | [31.412258396117057, 22.0532132643744, 23.89722194916864] | [1120432.2275342022, 121808.74705498801, 168408.72287362945] | [0.15000000084787535, 0.056122648708576785, 0.051877611494136694] | [0.039753542835241885, 0.035398840784234456, 0.04657558809638697] | [240.0, 170.0, 116.0] | [0.7350153231440835, 0.36937032689607335, 0.10225353618132264] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 4.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11424484579991451, 0.03136629741329562, 0.040333305537369156] | 0.024302 | 0.048979 | 0.18488 | 6 | 240 | 4 | 170 | 4 | 116
0.26108 | 0.9107 | 0.85 | 97453.0554 | 1.1423 | -102960.2527 | 4.1978e-05 | 3.0357 | 66.7733 | 25.9754 | 479764.6998 | 2556667.7685 | 32.9782 | 33.3933 | 0.063102 | [52071.39138461538, 24589.268153846155, 20792.39586538462] | [1.2927113688471987, 1.1109907996047763, 1.0230530633819797] | [-69314.75795665833, -12981.434599596878, -20664.06017914098] | [5.138131393867214e-05, 3.58903107654991e-05, 3.866116054369443e-05] | [2.890984643478121, 3.1368704292953877, 3.0792412839564305] | [98.13904584176018, 48.525667352324966, 53.6550565629017] | [31.564185206852546, 22.286311891333668, 24.075600049588918] | [1135537.114211457, 128706.04897134393, 175050.93628680424] | [0.1500000002249812, 0.05716740237041687, 0.053192400499776527] | [0.04049357667904528, 0.03598309445573118, 0.046980565276006546] | [240.0, 170.0, 115.0] | [0.7300808179232572, 0.370674037862833, 0.11683765140218241] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11552459659443057, 0.0324535864989922, 0.04132812035828195] | 0.025346 | 0.048514 | 0.18483 | 6 | 240 | 4 | 170 | 5 | 115
0.26111 | 0.91032 | 0.85 | 97633.8588 | 1.1422 | -102690.82 | 4.1925e-05 | 3.0367 | 66.6464 | 25.9424 | 478697.3516 | 2555657.3189 | 32.9774 | 33.3927 | 0.062922 | [52071.391384615476, 24589.268153846155, 20973.199307692314] | [1.2925516823717405, 1.1110476745813351, 1.0231021243101737] | [-69347.98892764273, -13000.562914376154, -20342.268149986798] | [5.1392122073238994e-05, 3.5906960937706405e-05, 3.847569014675117e-05] | [2.8908063951780436, 3.1365104837694266, 3.0828803183580864] | [98.1663130775164, 48.56562271041139, 53.207346074015064] | [31.57072271684798, 22.29644099481493, 23.960046674632462] | [1136192.4820093564, 129012.46946239145, 170887.10323084256] | [0.15000000084778, 0.057212750121745426, 0.052771317028576153] | [0.04052569800290273, 0.03600866338420491, 0.046575559132806164] | [240.0, 170.0, 116.0] | [0.7298666354491279, 0.370725888462285, 0.11746508765691833] | [0.0008636, 0.0008636, 0.0008636] | [6.0, 4.0, 5.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.11557998154607121, 0.03250140728594039, 0.040684536299973595] | 0.025393 | 0.048494 | 0.18483 | 6 | 240 | 4 | 170 | 5 | 116