## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.27082 | 0.9917 | 0.85 | 84145.922 | 1.3844 | -134797.8578 | 2.6946e-05 | 1.6266 | 103.5073 | 16.641 | 669453.8379 | 2772646.5159 | 33.0083 | 34.4714 | 0.073912 | [34569.61816923077, 25818.73156153846, 23757.57231923077] | [1.6988075283489468, 1.3574328657800874, 1.0969917852409992] | [-34968.30670464537, -42110.77342707986, -57718.77769996738] | [2.98043537845275e-05, 2.6236529525722896e-05, 2.4798362875629097e-05] | [1.5769672723703023, 1.641049515896023, 1.6619260056847716] | [116.80424705299978, 101.1422439629278, 92.57527039654852] | [18.27312727813201, 16.21948784806608, 15.430429702613399] | [925137.9572169986, 611485.8561056954, 471737.70034077915] | [0.15062761591418442, 0.1308256986264779, 0.10324675281070625] | [0.06513915538305802, 0.06333624332085343, 0.07401055992210592] | [239.0, 119.0, 73.0] | [0.5675670426969164, 0.515951180436692, 0.2832853639661941] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08742076676161342, 0.07018462237846643, 0.06413197522218597] | 0.021885 | 0.052781 | 0.19376 | 4 | 239 | 6 | 119 | 9 | 73
0.27077 | 0.99059 | 0.85 | 84471.3682 | 1.384 | -133674.9461 | 2.687e-05 | 1.6284 | 103.1851 | 16.5934 | 665277.3032 | 2769742.8594 | 33.0069 | 34.4711 | 0.073531 | [34569.61816923077, 25818.731561538465, 24083.018515384618] | [1.6975568514269894, 1.3570552612145934, 1.0974206502292245] | [-34996.34433228369, -42226.57765555198, -56452.02416046767] | [2.981859830840797e-05, 2.6275872605808305e-05, 2.4516678567424148e-05] | [1.5766612696524818, 1.6401836430895056, 1.6684740062647623] | [116.85838313216757, 101.30766364133498, 91.38932280570246] | [18.281786595308454, 16.2434948491509, 15.255055574433632] | [926153.3030053364, 614173.2713655003, 455505.33526469563] | [0.1506276159141844, 0.13097910831030388, 0.10204507812685115] | [0.06521553928420988, 0.06345660320493264, 0.0730104135908921] | [239.0, 119.0, 74.0] | [0.56705990042881, 0.5155990070934413, 0.28464535572100746] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08749086083070923, 0.07037762942591996, 0.06272447128940851] | 0.02197 | 0.052724 | 0.19368 | 4 | 239 | 6 | 119 | 9 | 74
0.27035 | 0.98246 | 0.85 | 86785.6523 | 1.3778 | -142838.3664 | 2.7128e-05 | 1.6228 | 104.3066 | 16.7517 | 682191.243 | 2746749.0492 | 32.9983 | 34.2796 | 0.074813 | [34569.61816923077, 25818.73156153846, 26397.30257692308] | [1.6876771010532856, 1.3540180839601637, 1.0917695949806496] | [-35219.538850805555, -43157.923387274284, -64460.90418168709] | [2.9931731879457587e-05, 2.65905125220304e-05, 2.486118866216096e-05] | [1.5742407743565165, 1.6333198083859273, 1.6606989480608108] | [117.28850648185997, 102.63109727951, 93.0000836022367] | [18.35056047872559, 16.435472782280762, 15.468945125838374] | [934254.4377921615, 635936.3311419872, 476382.960153332] | [0.1506276159141844, 0.13220123387746402, 0.10502009935206837] | [0.0658240453197415, 0.06442409456051253, 0.07401053321975871] | [239.0, 119.0, 73.0] | [0.563019796542561, 0.5127571847478821, 0.2953927349834175] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08804884712701389, 0.07192987231212382, 0.0644609041816871] | 0.022572 | 0.052269 | 0.19311 | 4 | 239 | 6 | 119 | 10 | 73
0.27031 | 0.9813 | 0.85 | 87147.2592 | 1.3774 | -141576.3849 | 2.7052e-05 | 1.6245 | 103.9865 | 16.7045 | 678049.2024 | 2743760.4488 | 32.9968 | 34.279 | 0.074434 | [34569.61816923077, 25818.731561538465, 26758.909461538467] | [1.6863961854700413, 1.3536172035057557, 1.092171642430944] | [-35248.700869609245, -43280.85961646553, -63046.82438089486] | [2.994647955141703e-05, 2.6631811804219865e-05, 2.4578872027173765e-05] | [1.5739265318283384, 1.6324268119434309, 1.6672419853939586] | [117.34459684111444, 102.80487809533467, 91.81006864357471] | [18.359525511438783, 16.46066974621032, 15.293181930872516] | [935315.3348086113, 638828.8421259638, 460003.43031479977] | [0.15062761591418442, 0.1323610289870413, 0.10380617423771847] | [0.06590360857513773, 0.06455173860160643, 0.07301038682882763] | [239.0, 119.0, 74.0] | [0.5624915461139789, 0.5123808579477555, 0.2967866038961422] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08812175217402311, 0.07213476602744254, 0.06304682438089486] | 0.022666 | 0.05221 | 0.19304 | 4 | 239 | 6 | 119 | 10 | 74
0.27077 | 0.9909 | 0.85 | 84362.8862 | 1.3843 | -134115.8215 | 2.6875e-05 | 1.6282 | 103.1976 | 16.5972 | 664565.7786 | 2770529.8461 | 33.0074 | 34.4628 | 0.073551 | [34569.61816923077, 26035.695692307694, 23757.572319230774] | [1.6978957588818049, 1.3584751458211284, 1.0964733729058127] | [-34988.74195189165, -41470.579722031405, -57656.499777000514] | [2.9814736640745957e-05, 2.602715442900177e-05, 2.478454917917871e-05] | [1.5767441989852655, 1.6456493156257843, 1.662218802054019] | [116.8437064794349, 100.24386892998521, 92.5051826954078] | [18.279439069881242, 16.09017730789694, 15.42194160906451] | [925877.9417821415, 596997.0621678284, 470822.331749815] | [0.1506276159141844, 0.12984636293567964, 0.10307967372765701] | [0.0651948265785839, 0.06270680151765803, 0.07401055738328845] | [239.0, 120.0, 73.0] | [0.5671974200853698, 0.517147586767662, 0.2821231768953983] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08747185487972914, 0.06911763287005233, 0.06406277753000057] | 0.021942 | 0.052739 | 0.1937 | 4 | 239 | 6 | 120 | 9 | 73
0.27073 | 0.98978 | 0.85 | 84688.3324 | 1.3839 | -132991.9601 | 2.6799e-05 | 1.63 | 102.875 | 16.5495 | 660374.621 | 2767633.8146 | 33.006 | 34.4625 | 0.073169 | [34569.61816923077, 26035.69569230769, 24083.018515384618] | [1.69664886080094, 1.3581000128256153, 1.0969001818319397] | [-35016.72989403013, -41584.31556569563, -56390.91464121079] | [2.9828950601822735e-05, 2.6066078273074854e-05, 2.4502982307472434e-05] | [1.5764390550031446, 1.6447833859357097, 1.668768636149546] | [116.89772969957531, 100.40737161726467, 91.31988918767175] | [18.288079795860654, 16.113928700102583, 15.246639831680076] | [926891.8635395505, 599613.7740896677, 454618.2253711804] | [0.15062761591418442, 0.1299982431983627, 0.10187917789861549] | [0.06527108445106077, 0.06282549303747957, 0.07301041108895637] | [239.0, 120.0, 74.0] | [0.5666911146335595, 0.5167984993982029, 0.28347998690220455] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08754182473507534, 0.06930719260949272, 0.06265657182356754] | 0.022026 | 0.052682 | 0.19362 | 4 | 239 | 6 | 120 | 9 | 74
0.27031 | 0.98168 | 0.85 | 87002.6164 | 1.3777 | -142126.3467 | 2.7055e-05 | 1.6243 | 103.9892 | 16.7068 | 677058.5631 | 2744726.6982 | 32.9974 | 34.2721 | 0.074439 | [34569.61816923077, 26035.69569230769, 26397.30257692308] | [1.6868102392574909, 1.3550859863948859, 1.0912780707606824] | [-35239.26860352521, -42497.938553966254, -64389.13958377981] | [2.994171037141523e-05, 2.63770026672443e-05, 2.484694987921048e-05] | [1.5740281209489395, 1.6379268429393172, 1.6609981132751137] | [117.32645751285645, 101.71393766325696, 92.92711334524907] | [18.356626353723378, 16.30364129778695, 15.460197267044245] | [934972.1331710495, 620778.4457257733, 475425.11048663047] | [0.15062761591418442, 0.13120676359924707, 0.10484127567951715] | [0.06587787293686044, 0.0637784427050396, 0.07401053068378181] | [239.0, 120.0, 73.0] | [0.5626624147025644, 0.5139847086747329, 0.2941904204143021] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08809817150881302, 0.07082989758994376, 0.06438913958377981] | 0.022628 | 0.05223 | 0.19306 | 4 | 239 | 6 | 120 | 10 | 73
0.27028 | 0.98053 | 0.85 | 87364.2233 | 1.3773 | -140863.5044 | 2.698e-05 | 1.6261 | 103.6687 | 16.6596 | 672900.6808 | 2741745.4545 | 32.9958 | 34.2715 | 0.07406 | [34569.61816923077, 26035.695692307694, 26758.909461538464] | [1.685532977150828, 1.3546876133858976, 1.0916782745807454] | [-35268.38252626246, -42618.68886290223, -62976.4329675715] | [2.9956428425881634e-05, 2.6417867161338102e-05, 2.4564760165649063e-05] | [1.5737147084187746, 1.637033605383018, 1.667542885126382] | [117.38243850437277, 101.88572515127743, 91.73780306149207] | [18.365573370513875, 16.328573222254303, 15.284512246771527] | [936031.658919281, 623594.9236478817, 459075.45983367244] | [0.15062761591418442, 0.13136498311419462, 0.10362864124068545] | [0.06595731369750356, 0.06390432876508936, 0.07301038432987274] | [239.0, 120.0, 74.0] | [0.5621349776245075, 0.5136115904446907, 0.29558138923639077] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08817095631565615, 0.07103114810483706, 0.0629764329675715] | 0.022722 | 0.052171 | 0.19299 | 4 | 239 | 6 | 120 | 10 | 74
0.27015 | 0.97699 | 0.85 | 88449.044 | 1.365 | -138413.7736 | 2.6662e-05 | 1.6337 | 102.3338 | 16.4663 | 654481.5467 | 2732407.171 | 32.9912 | 34.2229 | 0.07263 | [34569.61816923077, 30121.853488461544, 23757.57231923077] | [1.6815369579339012, 1.3323760890823055, 1.0810172245789018] | [-35359.8040315553, -47205.87137289072, -55848.09815887858] | [3.0002594267386018e-05, 2.56041621283542e-05, 2.4378211755685238e-05] | [1.5727335356437468, 1.6573064684678904, 1.6709824457993683] | [117.55806442439214, 98.99782257587756, 90.44542562097766] | [18.39363719713724, 15.833073020992785, 15.172242487934] | [939362.3446750246, 579432.1247411426, 444650.1707131732] | [0.1506276159141844, 0.1329700615453748, 0.09816091498838225] | [0.0662068507276134, 0.06021635961472188, 0.07401051416329456] | [239.0, 119.0, 73.0] | [0.5604782080504211, 0.5472289674606278, 0.2461350475996083] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08839951007888826, 0.0674369591041296, 0.06205344239875398] | 0.023004 | 0.051986 | 0.19277 | 4 | 239 | 7 | 119 | 9 | 73
0.27013 | 0.97599 | 0.85 | 88774.4902 | 1.3646 | -137326.8752 | 2.6585e-05 | 1.6355 | 102.0108 | 16.4184 | 650435.2386 | 2729823.9153 | 32.9898 | 34.2235 | 0.072252 | [34569.61816923077, 30121.85348846154, 24083.018515384618] | [1.6804328298112385, 1.3320885469383896, 1.081393595654463] | [-35385.15476733436, -47323.91543182465, -54617.8049944748] | [3.0015382216046935e-05, 2.5639154553225388e-05, 2.4100395819250057e-05] | [1.5724622596813667, 1.6565079416234152, 1.6775811155264293] | [117.60672126833553, 99.1448283925856, 89.28086856763505] | [18.401410853947688, 15.85443235796825, 14.999250850292864] | [940286.9053345841, 581743.5643469584, 429275.2462367161] | [0.15062761591418442, 0.13310907779691838, 0.09699876509807837] | [0.06627606802440707, 0.06031855980888906, 0.0730103684492726] | [239.0, 119.0, 74.0] | [0.5600186487138553, 0.5469338568984241, 0.24741292128567738] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0884628869183359, 0.0676055934740352, 0.06068644999386088] | 0.023089 | 0.051935 | 0.19271 | 4 | 239 | 7 | 119 | 9 | 74
0.26997 | 0.96907 | 0.85 | 91088.7742 | 1.3595 | -146136.6666 | 2.6817e-05 | 1.6302 | 103.0173 | 16.5614 | 665115.7707 | 2710157.7233 | 32.9809 | 34.065 | 0.073392 | [34569.61816923077, 30121.853488461544, 26397.30257692308] | [1.6720457392435635, 1.3298657091083579, 1.0767068058432987] | [-35579.01367974661, -48235.05162531495, -62322.60130174117] | [3.0112977899308485e-05, 2.5907938368980556e-05, 2.4431448077192595e-05] | [1.5703991638362242, 1.6504212086981442, 1.669885608696712] | [117.97818327480431, 100.27432309654111, 90.79924754271102] | [18.460737803836107, 16.018486540106665, 15.204903735885997] | [947371.1473841739, 599691.1979403737, 448284.9667799561] | [0.1506276159141844, 0.13417275715722982, 0.09961323589329144] | [0.06680568243393452, 0.061107279161430876, 0.07401048681560148] | [239.0, 119.0, 73.0] | [0.5565023442190585, 0.5446458594753635, 0.2571309357547881] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08894753419936653, 0.06890721660759278, 0.06232260130174117] | 0.023691 | 0.051547 | 0.19234 | 4 | 239 | 7 | 119 | 10 | 73
0.26997 | 0.96804 | 0.85 | 91450.3811 | 1.3592 | -144917.2476 | 2.6741e-05 | 1.6321 | 102.6968 | 16.5138 | 661109.1586 | 2707481.0275 | 32.9794 | 34.0654 | 0.073017 | [34569.61816923077, 30121.853488461544, 26758.909461538464] | [1.670906763268637, 1.3295585348931596, 1.077062355134554] | [-35605.51758226558, -48360.78516853876, -60950.94484200537] | [3.0126294258306533e-05, 2.5944849602265813e-05, 2.415325507171546e-05] | [1.5701186555604991, 1.64959175782715, 1.676475975182159] | [118.02888358743041, 100.42947659105837, 89.63199991488166] | [18.4688325614051, 16.04101406018617, 15.031679778765412] | [948341.6219111076, 602182.6612839682, 432803.192526267] | [0.1506276159141844, 0.1343182627389012, 0.09844211354749206] | [0.06687813081978763, 0.06121610422281019, 0.07301034105526485] | [239.0, 119.0, 74.0] | [0.5560213330930737, 0.5443287495620914, 0.25845212968247233] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08901379395566396, 0.06908683595505537, 0.06095094484200536] | 0.023785 | 0.051494 | 0.19229 | 4 | 239 | 7 | 119 | 10 | 74
0.27012 | 0.97616 | 0.85 | 88702.1688 | 1.3648 | -137657.6019 | 2.6592e-05 | 1.6353 | 102.0315 | 16.4235 | 649879.4026 | 2730240.0461 | 32.99 | 34.2148 | 0.072283 | [34569.61816923077, 30374.97830769231, 23757.57231923077] | [1.6806106532777574, 1.3332274632148853, 1.08052726502315] | [-35381.069294587694, -46484.244752537146, -55792.28787454439] | [3.0013321735363038e-05, 2.5398451292159367e-05, 2.4365544690969284e-05] | [1.572505954595554, 1.66198814501554, 1.6712603510385573] | [117.59888110194156, 98.114451640647, 90.38124431782083] | [18.400158310708036, 15.705997069159233, 15.16445331325155] | [940137.8763149325, 565642.9637352469, 443857.3678663807] | [0.15062761591418442, 0.13197761733773494, 0.0980069925602426] | [0.06626491247082925, 0.05962092047414759, 0.07401051116804068] | [239.0, 120.0, 73.0] | [0.5600927145719569, 0.5483354682270108, 0.24495057234199796] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08845267323646923, 0.06640606393219592, 0.061991430971715986] | 0.02307 | 0.051943 | 0.19272 | 4 | 239 | 7 | 120 | 9 | 73
0.2701 | 0.97516 | 0.85 | 89027.615 | 1.3645 | -136569.5885 | 2.6516e-05 | 1.6371 | 101.7082 | 16.3755 | 645820.5232 | 2727663.512 | 32.9887 | 34.2155 | 0.071904 | [34569.61816923077, 30374.97830769231, 24083.018515384618] | [1.6795098686416896, 1.3329420427162308, 1.0809017345156164] | [-35406.3760830971, -46600.15834467976, -54563.054035852605] | [3.0026082578937524e-05, 2.5433064259679265e-05, 2.4087838188824793e-05] | [1.5722354379020196, 1.6611896987957593, 1.677860751013028] | [117.64743786894584, 98.25972976857915, 89.21729586970967] | [18.40791547993826, 15.727124985250086, 14.991529137921612] | [941061.1895893905, 567893.1993568324, 428507.1806761947] | [0.1506276159141844, 0.13211525176328318, 0.09684595550118907] | [0.06633401762173213, 0.059721672559066595, 0.07301036549742808] | [239.0, 120.0, 74.0] | [0.5596338998705507, 0.548043212358306, 0.24622493000566092] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08851594020774275, 0.06657165477811396, 0.060625615595391785] | 0.023155 | 0.051892 | 0.19266 | 4 | 239 | 7 | 120 | 9 | 74
0.26995 | 0.96827 | 0.85 | 91341.8991 | 1.3594 | -145351.8147 | 2.6747e-05 | 1.6318 | 102.7082 | 16.5177 | 660308.8194 | 2708076.0834 | 32.9798 | 34.058 | 0.073035 | [34569.61816923077, 30374.97830769231, 26397.30257692308] | [1.6711599154054675, 1.3307386201001066, 1.0762422675696135] | [-35599.62304641423, -47493.553776511384, -62258.637911154976] | [3.012333321937393e-05, 2.569855405841982e-05, 2.441845077316786e-05] | [1.5701810091946418, 1.6551120477033117, 1.6701685642112412] | [118.01760947260993, 99.37435269109581, 90.73269887128178] | [18.467032604176385, 15.889170204541301, 15.19691271653619] | [948125.7456007212, 585339.8149621326, 447460.8976573117] | [0.15062761591418442, 0.1331668510877333, 0.09944890994540072] | [0.06686201728254391, 0.06049808688345211, 0.07401048382545544] | [239.0, 120.0, 73.0] | [0.5561283167083262, 0.5457804928545185, 0.25590291997659376] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08899905761603558, 0.06784793396644483, 0.062258637911154976] | 0.023757 | 0.051505 | 0.19229 | 4 | 239 | 7 | 120 | 10 | 73
0.26994 | 0.96724 | 0.85 | 91703.5059 | 1.359 | -144131.3333 | 2.6671e-05 | 1.6336 | 102.3873 | 16.4701 | 656288.5203 | 2705405.8285 | 32.9783 | 34.0584 | 0.072659 | [34569.61816923077, 30374.97830769231, 26758.909461538464] | [1.6700241593641727, 1.330433627303425, 1.0765960991919126] | [-35626.085196786895, -47617.03190789423, -60888.21615713939] | [3.013662363821906e-05, 2.573507074842317e-05, 2.4140374781971824e-05] | [1.5699012307824451, 1.6542824916576808, 1.6767605733293585] | [118.06821409208183, 99.52770544326135, 89.56610079527312] | [18.475111582681933, 15.911457148357645, 15.023760879948473] | [949095.0527250798, 587765.4500972512, 432005.05807769037] | [0.15062761591418442, 0.13331093161516466, 0.0982789966832834] | [0.06693435896995714, 0.06060538128802477, 0.07301033810870743] | [239.0, 120.0, 74.0] | [0.5556480140483424, 0.545466376797071, 0.25722083320303685] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08906521299196725, 0.06802433129699176, 0.06088821615713938] | 0.023851 | 0.051453 | 0.19225 | 4 | 239 | 7 | 120 | 10 | 74
0.27078 | 0.99112 | 0.85 | 84290.5648 | 1.3847 | -134305.1567 | 2.6882e-05 | 1.6279 | 103.2207 | 16.6013 | 663880.2936 | 2771127.9718 | 33.0077 | 34.4653 | 0.073561 | [34714.260922699985, 25818.731561534383, 23757.572319222396] | [1.7008523483316427, 1.3566494121371067, 1.0966203443099423] | [-34658.44603832113, -41972.5642202765, -57674.146456937975] | [2.966411710573038e-05, 2.6191926968485637e-05, 2.4788459655398593e-05] | [1.5796154466983412, 1.6419570875582017, 1.6621358330843208] | [116.19754196692153, 100.93938032243966, 92.52503829022571] | [18.187311055456483, 16.19228418654325, 15.424346186787574] | [912482.2203565951, 608077.187873811, 471081.47268401115] | [0.15000000149493356, 0.13051547307764275, 0.10312703122871204] | [0.06471392207058912, 0.06326280066970402, 0.07401055817459637] | [240.0, 119.0, 73.0] | [0.568592585499036, 0.5153633352639563, 0.2824529734732061] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08664611509580283, 0.06995427370046084, 0.0640823849521533] | 0.021923 | 0.052751 | 0.19371 | 4 | 240 | 6 | 119 | 9 | 73
0.27073 | 0.99001 | 0.85 | 84616.011 | 1.3843 | -133182.2771 | 2.6805e-05 | 1.6297 | 102.8984 | 16.5537 | 659699.6904 | 2768230.5771 | 33.0063 | 34.465 | 0.073179 | [34714.260922774454, 25818.73156154362, 24083.01851539566] | [1.6996011017327182, 1.3562749327590926, 1.0970477978256725] | [-34686.236600462136, -42087.80472566267, -56408.235785274344] | [2.9678299875298725e-05, 2.623113465763709e-05, 2.450686450192481e-05] | [1.5793086788696769, 1.6410923695456296, 1.6686850928240062] | [116.25140983785226, 101.10422547448042, 91.33957051785599] | [18.195933450750598, 16.216210800813222, 15.24902540735081] | [913483.4302556906, 610746.1282798765, 454869.51253841387] | [0.15000000149996182, 0.1306684988538889, 0.10192621575384914] | [0.06478979735084034, 0.06338268878812428, 0.07301041186754426] | [240.0, 119.0, 74.0] | [0.5680867120148159, 0.5150132021331599, 0.28381079004751675] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08671559150115533, 0.07014634120943777, 0.06267581753919371] | 0.022007 | 0.052694 | 0.19364 | 4 | 240 | 6 | 119 | 9 | 74
0.27031 | 0.9819 | 0.85 | 86930.2951 | 1.3781 | -142330.6589 | 2.7062e-05 | 1.624 | 104.0163 | 16.7115 | 676500.9249 | 2745305.1974 | 32.9977 | 34.2742 | 0.074456 | [34714.26092307692, 25818.73156153846, 26397.30257692308] | [1.6897245691138483, 1.3532650117676055, 1.0914177469062785] | [-34907.2908697081, -43013.84931196856, -64409.51870933509] | [2.979085573357988e-05, 2.6544452767491063e-05, 2.4850993517572365e-05] | [1.5768841527828745, 1.6342432938084823, 1.6609131215798374] | [116.67903909993683, 102.42195581647745, 92.94783652546901] | [18.264356411102746, 16.407385376159496, 15.462681681744437] | [921464.8859634299, 632340.9447951609, 475696.943926311] | [0.15000000084787532, 0.13188658829622538, 0.10489207424713018] | [0.06539376669687842, 0.06434555815160088, 0.07401053146887868] | [240.0, 119.0, 73.0] | [0.5640599510929436, 0.5121902380164756, 0.29453237935113646] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08726822717427025, 0.07168974885328094, 0.06440951870933509] | 0.022609 | 0.052241 | 0.19307 | 4 | 240 | 6 | 119 | 10 | 73
0.27028 | 0.98075 | 0.85 | 87291.9019 | 1.3777 | -141068.8267 | 2.6987e-05 | 1.6258 | 103.6961 | 16.6643 | 672354.5658 | 2742322.6962 | 32.9961 | 34.2737 | 0.074077 | [34714.26092307692, 25818.731561538465, 26758.909461538464] | [1.688442829147622, 1.3528673393953428, 1.0918185070318949] | [-34936.20064903428, -43136.199304291076, -62996.42671898404] | [2.9805542073028632e-05, 2.658561722964908e-05, 2.456876869387814e-05] | [1.5765690858846244, 1.6333513603609642, 1.6674573805971167] | [116.73485730547195, 102.59515040383015, 91.75833089345363] | [18.273284194954357, 16.432500497699287, 15.286975032020683] | [922511.0957447223, 635213.7274403316, 459338.87436473026] | [0.15000000084787532, 0.1320460086594393, 0.10367908476631889] | [0.06547281262697201, 0.06447270817401343, 0.07301038510303687] | [240.0, 119.0, 74.0] | [0.563532939321237, 0.5118160570233691, 0.29592425366919667] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0873405016225857, 0.0718936655071518, 0.06299642671898403] | 0.022703 | 0.052182 | 0.193 | 4 | 240 | 6 | 119 | 10 | 74
0.27074 | 0.99032 | 0.85 | 84507.5289 | 1.3846 | -133625.4596 | 2.6811e-05 | 1.6295 | 102.9117 | 16.5576 | 659017.7708 | 2769018.8981 | 33.0067 | 34.4567 | 0.0732 | [34714.26092307692, 26035.69569230769, 23757.572319230774] | [1.699941476479734, 1.3576873787428352, 1.0961041781018852] | [-34678.67191457858, -41334.575579848184, -57612.21207958106] | [2.967443997687573e-05, 2.5982953638442173e-05, 2.477471850313112e-05] | [1.579392134133796, 1.6465579243443504, 1.662427375408144] | [116.23675010261567, 100.04295859309386, 92.45530695164105] | [18.19358699103396, 16.063220397724976, 15.415900968704047] | [913210.866984386, 593670.5079168405, 470171.9373894216] | [0.1500000008571886, 0.12953828633743533, 0.10296076911109191] | [0.06476914316871767, 0.06263446787591426, 0.07401055563511119] | [240.0, 120.0, 73.0] | [0.5682244186313012, 0.5165576207335305, 0.28129378841268876] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08669667978644646, 0.06889095929974696, 0.0640135689773123] | 0.021979 | 0.05271 | 0.19365 | 4 | 240 | 6 | 120 | 9 | 73
0.27069 | 0.98921 | 0.85 | 84832.9751 | 1.3842 | -132501.636 | 2.6735e-05 | 1.6313 | 102.589 | 16.5099 | 654822.6068 | 2766129.094 | 33.0053 | 34.4564 | 0.072818 | [34714.26092307692, 26035.69569230769, 24083.018515384618] | [1.6986939845675273, 1.3573153316819317, 1.0965295633748644] | [-34706.41417378799, -41447.75901901288, -56347.462810105084] | [2.9688592891836942e-05, 2.602174599372816e-05, 2.449323631019957e-05] | [1.57908623352599, 1.6456931642183394, 1.6689784925293245] | [116.29050390834968, 100.20589136905116, 91.27048450689571] | [18.202190640854486, 16.08689194532262, 15.240651357016139] | [914210.6325631195, 596269.2027606592, 453987.9851360974] | [0.15000000084787532, 0.1296897874565903, 0.10176112552906529] | [0.06484489372829515, 0.06275269407625694, 0.07301040936571451] | [240.0, 120.0, 74.0] | [0.5677193769116248, 0.5162105692989474, 0.282648410837865] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08676603543446997, 0.06907959836502148, 0.06260829201122788] | 0.022064 | 0.052652 | 0.19358 | 4 | 240 | 6 | 120 | 9 | 74
0.27028 | 0.98113 | 0.85 | 87147.2592 | 1.378 | -141621.1669 | 2.699e-05 | 1.6256 | 103.6996 | 16.6667 | 671395.7495 | 2743290.0506 | 32.9967 | 34.2667 | 0.074083 | [34714.26092307692, 26035.69569230769, 26397.30257692308] | [1.6888584725865123, 1.354328436256226, 1.090928341206809] | [-34926.82012504516, -42356.18700324871, -64338.15981532202] | [2.980077756728307e-05, 2.6331365537789876e-05, 2.4836827283721414e-05] | [1.5766712666832006, 1.638851360019547, 1.6612110078388256] | [116.71674837215457, 101.50683338354396, 92.8752399277898] | [18.27038786739166, 16.275811486325768, 15.453978256461818] | [922171.5654628694, 617270.3920710173, 474745.2909462174] | [0.15000000084787532, 0.13089432539622162, 0.1047141374612848] | [0.06544716269811081, 0.06370110028894826, 0.07401052893288637] | [240.0, 120.0, 73.0] | [0.5637039514611719, 0.5134154885193616, 0.29333311214930435] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08731705031261289, 0.07059364500541453, 0.06433815981532202] | 0.022666 | 0.052201 | 0.19301 | 4 | 240 | 6 | 120 | 10 | 73
0.27024 | 0.97998 | 0.85 | 87508.8661 | 1.3776 | -140358.4787 | 2.6914e-05 | 1.6274 | 103.379 | 16.6194 | 667233.6775 | 2740314.8714 | 32.9952 | 34.2662 | 0.073703 | [34714.26092307692, 26035.695692307694, 26758.909461538464] | [1.6875803733297878, 1.353933261268067, 1.0913272676688668] | [-34955.68244818348, -42476.362469787324, -62926.43381941465] | [2.9815434538467503e-05, 2.6372096897561973e-05, 2.455472881893648e-05] | [1.5763570289312923, 1.6379591833436222, 1.6677569929630973] | [116.77245821281504, 101.67804261046598, 91.68643580991592] | [18.279297786773505, 16.300662591577588, 15.278349435891275] | [923216.4298687016, 620067.6849093456, 458416.9177107039] | [0.15000000099481825, 0.1310521753659305, 0.10350243341807945] | [0.06552608768296524, 0.06382650060781567, 0.07301038260406185] | [240.0, 120.0, 74.0] | [0.5631777461123403, 0.5130445019568378, 0.29472208905640046] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08738920612045871, 0.07079393744964554, 0.06292643381941464] | 0.02276 | 0.052142 | 0.19295 | 4 | 240 | 6 | 120 | 10 | 74
0.27012 | 0.97645 | 0.85 | 88593.6867 | 1.3653 | -137912.133 | 2.6598e-05 | 1.6349 | 102.0514 | 16.4272 | 648955.3294 | 2731004.9998 | 32.9905 | 34.2177 | 0.072283 | [34714.26092307692, 30121.853488461544, 23757.57231923077] | [1.683585715673327, 1.3316299739338122, 1.0807028255120055] | [-35046.22280414001, -47053.634610922345, -55812.275561605486] | [2.9861362651864116e-05, 2.5561737900272774e-05, 2.4370079793557726e-05] | [1.5753742581375918, 1.6581865899213277, 1.6711608271018776] | [116.94705805996387, 98.8028283527413, 90.40422405697178] | [18.307217208998, 15.807195329988394, 15.167242327635782] | [926497.7166995618, 576227.2154437725, 444141.05612545117] | [0.15000000084787532, 0.13265295491255166, 0.0980621296331624] | [0.06577375681080688, 0.06015576019513323, 0.07401051241339862] | [240.0, 119.0, 73.0] | [0.5615264974807284, 0.5466034223409574, 0.24537529346659281] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08761555701035001, 0.06721947801560335, 0.062013639512894986] | 0.023042 | 0.051958 | 0.19273 | 4 | 240 | 7 | 119 | 9 | 73
0.2701 | 0.97545 | 0.85 | 88919.1329 | 1.365 | -136825.1517 | 2.6521e-05 | 1.6368 | 101.7283 | 16.3792 | 644904.7344 | 2728426.7867 | 32.9891 | 34.2184 | 0.071904 | [34714.26092271297, 30121.853488460583, 24083.01851538305] | [1.6824805620022274, 1.3313445955945968, 1.081077711477679] | [-35071.35988583892, -47171.12872743878, -54582.66305724978] | [2.987410691993513e-05, 2.559663740080252e-05, 2.409240597578006e-05] | [1.5751022830162775, 1.657389171432564, 1.677760687760962] | [116.99547380236967, 98.94933322292297, 89.24004467083623] | [18.31495796759159, 15.828484112920815, 14.99429195887391] | [927409.350766442, 578523.0118048629, 428781.84061887144] | [0.15000000149373732, 0.13279165808116458, 0.09690069678828372] | [0.06584253046816549, 0.0602575761540608, 0.07301036674524379] | [240.0, 119.0, 74.0] | [0.5610679714355942, 0.5463100864642539, 0.24665093586110606] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0876783997145973, 0.06738732675348398, 0.06064740339694419] | 0.023127 | 0.051907 | 0.19267 | 4 | 240 | 7 | 119 | 9 | 74
0.26995 | 0.96856 | 0.85 | 91233.417 | 1.3599 | -145622.1651 | 2.6753e-05 | 1.6315 | 102.7318 | 16.5219 | 659493.7178 | 2708816.6642 | 32.9803 | 34.0606 | 0.073041 | [34714.26092307692, 30121.853488461544, 26397.302576923084] | [1.6740945511326384, 1.3291426533977324, 1.0764090528913843] | [-35263.386993381595, -48077.18821960271, -62281.589854655096] | [2.9971212431926726e-05, 2.5864293308500245e-05, 2.44231133341244e-05] | [1.573035338308909, 1.6513155904656387, 1.670067029344511] | [117.36485360623843, 100.07408616947224, 90.75657363235518] | [18.37399355216239, 15.991866737580986, 15.199779657287824] | [934390.1307582672, 596334.6702202787, 447756.3524765946] | [0.15000000087655252, 0.1338520319492729, 0.09950789024657603] | [0.0663682991748471, 0.061042655361344955, 0.0740104850636173] | [240.0, 119.0, 73.0] | [0.5575625945866177, 0.5440375611377983, 0.25634414817462564] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08815846748345399, 0.06868169745657529, 0.062281589854655095] | 0.023728 | 0.05152 | 0.19231 | 4 | 240 | 7 | 119 | 10 | 73
0.26994 | 0.96752 | 0.85 | 91595.0239 | 1.3595 | -144402.7467 | 2.6677e-05 | 1.6333 | 102.4113 | 16.4743 | 655482.7974 | 2706144.8611 | 32.9787 | 34.061 | 0.072665 | [34714.26092307692, 30121.85348846154, 26758.909461538467] | [1.6729544981891808, 1.3288380065422967, 1.076763539560249] | [-35289.66808413501, -48202.34849791958, -60910.730153572906] | [2.9984476793800465e-05, 2.5901090130615358e-05, 2.414499643736621e-05] | [1.5727540196824201, 1.650487077569074, 1.6766584251968073] | [117.41532071755269, 100.22874504198572, 89.58974800222741] | [18.38205673251603, 16.014324799363614, 15.026602602664179] | [935347.3893239336, 598809.7225049973, 432291.28027639695] | [0.1500000008784698, 0.13399723681948164, 0.09833755637382655] | [0.06644029658965969, 0.06115108547616105, 0.073010339328356] | [240.0, 119.0, 74.0] | [0.5570825773908057, 0.5437222768579656, 0.2576633431346444] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08822417021033753, 0.06886049785417082, 0.0609107301535729] | 0.023822 | 0.051467 | 0.19226 | 4 | 240 | 7 | 119 | 10 | 74
0.27009 | 0.97562 | 0.85 | 88846.8116 | 1.3651 | -137158.5319 | 2.6529e-05 | 1.6365 | 101.7498 | 16.3845 | 644376.8719 | 2728845.344 | 32.9894 | 34.2097 | 0.071937 | [34714.26092307692, 30374.978307692312, 23757.572319230774] | [1.6826600886819847, 1.3324777222851618, 1.080215081525877] | [-35067.27465948563, -46334.48096670453, -55756.77631420537] | [2.987203061992801e-05, 2.5356425127207837e-05, 2.4357477671325543e-05] | [1.5751463969261477, 1.6628689584250076, 1.6714374953953246] | [116.98762006428095, 97.92137922078038, 90.34037332651138] | [18.31370217833712, 15.680362090136313, 15.159492972588279] | [927261.4375165475, 562515.9784086468, 443353.19990097114] | [0.15000000084787532, 0.13166272225247985, 0.09790898028597785] | [0.06583136112623994, 0.059561296340636505, 0.07401050941822558] | [240.0, 120.0, 73.0] | [0.5611424406696424, 0.5477080620430191, 0.2441943982324313] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08766818664871408, 0.06619211566672074, 0.06195197368245042] | 0.023108 | 0.051916 | 0.19268 | 4 | 240 | 7 | 120 | 9 | 73
0.27007 | 0.97463 | 0.85 | 89172.2577 | 1.3648 | -136070.4417 | 2.6452e-05 | 1.6383 | 101.4263 | 16.3365 | 640314.0306 | 2726273.822 | 32.988 | 34.2104 | 0.071558 | [34714.26092307692, 30374.97830769231, 24083.018515384618] | [1.6815584459891864, 1.3321947150213251, 1.0805883837217805] | [-35092.36527924901, -46449.85485476066, -54528.221542336505] | [2.988473983870967e-05, 2.5390926743058297e-05, 2.407984201671213e-05] | [1.5748751382798498, 1.6620715407891375, 1.6780389730777654] | [117.03594669027885, 98.06617725850342, 89.1768183042626] | [18.321427995351563, 15.701422383177981, 14.986612466480144] | [928172.0602973767, 564751.2142545036, 428018.81738785456] | [0.15000000084787535, 0.13180005087821386, 0.09674866585370784] | [0.06590002543910693, 0.05966167727645317, 0.0730103637725168] | [240.0, 120.0, 74.0] | [0.5606846452209101, 0.5474175296796716, 0.24546661151607482] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08773091319812253, 0.06635693550680095, 0.060586912824818345] | 0.023192 | 0.051865 | 0.19262 | 4 | 240 | 7 | 120 | 9 | 74
0.26993 | 0.96776 | 0.85 | 91486.5418 | 1.3597 | -144840.0635 | 2.6682e-05 | 1.6331 | 102.4235 | 16.4783 | 654712.1464 | 2706742.1201 | 32.9791 | 34.0536 | 0.072685 | [34714.26092307692, 30374.97830769231, 26397.30257692308] | [1.6732092942832897, 1.3300118069116587, 1.075946632217864] | [-35283.79071430415, -47338.28060670813, -62217.99221696829] | [2.9981510972345405e-05, 2.565532392892279e-05, 2.4410184314543308e-05] | [1.5728169000106749, 1.6560070818761325, 1.6703486961750464] | [117.40403627120156, 99.1761154847437, 90.69037553804318] | [18.380253861195957, 15.862803363156337, 15.191830500671589] | [935133.2730330204, 582065.5995959989, 446937.56657951744] | [0.15000000084787532, 0.13284838921525544, 0.09934440397381793] | [0.06642419460762772, 0.060434512417405904, 0.07401048207354861] | [240.0, 120.0, 73.0] | [0.5571899316316048, 0.545170177404316, 0.25511982638667774] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0882094767857604, 0.06762611515244019, 0.0622179922169683] | 0.023794 | 0.051479 | 0.19226 | 4 | 240 | 7 | 120 | 10 | 73
0.26992 | 0.96673 | 0.85 | 91848.1487 | 1.3594 | -143619.5881 | 2.6606e-05 | 1.6349 | 102.1025 | 16.4307 | 650687.646 | 2704076.7277 | 32.9776 | 34.054 | 0.072308 | [34714.26092307692, 30374.97830769231, 26758.909461538464] | [1.672072450462847, 1.3297093314015935, 1.0762994109149553] | [-35310.030619314486, -47461.19688949236, -60848.36055720613] | [2.9994749614511822e-05, 2.569172770612583e-05, 2.413218387467631e-05] | [1.5725363105709227, 1.6551784611424574, 1.6769417265693463] | [117.454408577101, 99.32898062645233, 89.52419635978417] | [18.388301396442237, 15.885021758229135, 15.018725223887676] | [936089.3868821927, 584475.2813547496, 431498.2698838975] | [0.15000000084787535, 0.13299217343206654, 0.09817527397816053] | [0.06649608671603327, 0.060541418953199, 0.07301033638186828] | [240.0, 120.0, 74.0] | [0.5567106165852634, 0.5448578734129846, 0.25643574666346036] | [0.0008636, 0.0008636, 0.0008636] | [4.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.08827507654828622, 0.06780170984213195, 0.060848360557206126] | 0.023888 | 0.051426 | 0.19221 | 4 | 240 | 7 | 120 | 10 | 74
0.26974 | 0.96316 | 0.85 | 92788.3266 | 1.3459 | -126905.184 | 2.5031e-05 | 1.6693 | 95.2512 | 15.4727 | 541419.4474 | 2696179.7288 | 32.9717 | 34.0846 | 0.064625 | [43212.02271153847, 25818.731561538465, 23757.57231923077] | [1.6672010111298192, 1.2978343588591628, 1.0725319926417072] | [-38590.47444469795, -33420.16156922023, -54894.547944266626] | [2.765452835022222e-05, 2.327698617930789e-05, 2.416050869210613e-05] | [1.6260943256534286, 1.705990780217172, 1.675800374878173] | [108.67811298344625, 87.73287406244233, 89.34271455358581] | [16.966033796662817, 14.413564467922857, 15.038353131430526] | [781188.0451580661, 411853.5818200427, 431216.71518028836] | [0.1506276159141844, 0.10987728169172409, 0.09551226276623294] | [0.054708772055712, 0.058591556150714326, 0.07401046222579316] | [239.0, 119.0, 73.0] | [0.6368193388737263, 0.46684463444365903, 0.22522034986926837] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0771809488893959, 0.055700269282033726, 0.060993942160296244] | 0.024133 | 0.05127 | 0.19195 | 5 | 239 | 6 | 119 | 9 | 73
0.26973 | 0.96221 | 0.85 | 93113.7728 | 1.3456 | -125807.4016 | 2.4954e-05 | 1.6711 | 94.9274 | 15.4245 | 537270.2839 | 2693722.1631 | 32.9703 | 34.0857 | 0.064243 | [43212.02271153846, 25818.731561538465, 24083.018515384618] | [1.6662019141519278, 1.2976626759715022, 1.072876467301105] | [-38621.57895208741, -33503.32450518853, -53682.498158568764] | [2.766818475207379e-05, 2.3308355927017464e-05, 2.3884601930301623e-05] | [1.6257573078124214, 1.705194074586549, 1.6824285533824987] | [108.72936256923319, 87.86394346563291, 88.18876328951275] | [16.974338366754914, 14.432730814308973, 14.866538494253621] | [782024.1389606603, 413523.3058728488, 416263.406924463] | [0.15062761591418442, 0.11000873701934377, 0.09436964801453117] | [0.054774224708376194, 0.05868364666449838, 0.07301031725585495] | [239.0, 119.0, 74.0] | [0.6363847602257975, 0.4666444404190581, 0.22643674350047172] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07724315790417481, 0.05583887417531422, 0.05964722017618751] | 0.024217 | 0.051222 | 0.1919 | 5 | 239 | 6 | 119 | 9 | 74
0.26969 | 0.95581 | 0.85 | 95428.0568 | 1.3413 | -134214.9039 | 2.5174e-05 | 1.6658 | 95.8716 | 15.5601 | 549598.1155 | 2675493.7888 | 32.9614 | 33.9443 | 0.065274 | [43212.02271153846, 25818.73156153846, 26397.30257692308] | [1.65879801637089, 1.2963595124287113, 1.0686699352657896] | [-38853.519660410646, -34129.038094202566, -61232.34609826993] | [2.776980670647765e-05, 2.3543238322515553e-05, 2.4208551543318943e-05] | [1.6232591554289921, 1.6992730730849748, 1.6747819599948763] | [109.11085958615077, 88.8456745838964, 89.65819403827804] | [17.03613484243864, 14.576228731603232, 15.067840489886411] | [788270.7318161255, 426163.87980383635, 434359.73476644093] | [0.1506276159141844, 0.11099026788789533, 0.09679023990993912] | [0.05526293673079307, 0.05937552532290384, 0.07401043487995546] | [239.0, 119.0, 73.0] | [0.6331399170708102, 0.46512617463360795, 0.2354548267081538] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07770703932082129, 0.056881730157004276, 0.06123234609826993] | 0.024819 | 0.050862 | 0.19161 | 5 | 239 | 6 | 119 | 10 | 73
0.26969 | 0.95481 | 0.85 | 95789.6637 | 1.341 | -132986.1143 | 2.5098e-05 | 1.6676 | 95.5505 | 15.5124 | 545481.3355 | 2672938.2771 | 32.9599 | 33.9451 | 0.064895 | [43212.02271153847, 25818.731561538465, 26758.909461538464] | [1.6577609943943195, 1.296172598624886, 1.0689966532054962] | [-38886.210327888824, -34218.023445573745, -59881.88054865961] | [2.7784099828110348e-05, 2.3576480047652622e-05, 2.3932390320274796e-05] | [1.6229091588276803, 1.6984413656058404, 1.681400340717626] | [109.16453569640566, 88.98466291345055, 88.50221898993637] | [17.044826418968945, 14.596535727270435, 14.895868894397498] | [789152.8556935675, 427972.64173528773, 419318.5091513273] | [0.15062761591418442, 0.11112878981980234, 0.09564026629916288] | [0.055331907901909956, 0.059473779043176904, 0.0730102898679124] | [239.0, 119.0, 74.0] | [0.6326819778476638, 0.46490857570741334, 0.23671846389560894] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07777242065577766, 0.057030039075956246, 0.05988188054865961] | 0.024913 | 0.050811 | 0.19157 | 5 | 239 | 6 | 119 | 10 | 74
0.26974 | 0.96254 | 0.85 | 93005.2907 | 1.3458 | -126385.1125 | 2.497e-05 | 1.6708 | 94.9911 | 15.435 | 538197.57 | 2694567.6422 | 32.9707 | 34.0786 | 0.064346 | [43212.02271153846, 26035.69569230769, 23757.572319230774] | [1.6665456110830608, 1.298595115083509, 1.0721654770066993] | [-38610.873595700694, -32920.262283978765, -54853.97664485134] | [2.7663485334676012e-05, 2.3095063310879964e-05, 2.415118958987734e-05] | [1.6258732468014176, 1.7106453494443024, 1.6760086043960178] | [108.71172617858176, 86.96606593420022, 89.2955238309625] | [16.971480614868963, 14.300999172674157, 15.032620272464152] | [781736.3345268781, 402205.64763074473, 430650.72779459145] | [0.15062761591418442, 0.1090471264612792, 0.09539866916980377] | [0.05475169529436612, 0.058034190411630646, 0.07401045965246801] | [239.0, 120.0, 73.0] | [0.6365343462409592, 0.4678966028219426, 0.2242973946442403] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07722174719140139, 0.054867103806631276, 0.060948862938723716] | 0.024189 | 0.051238 | 0.19192 | 5 | 239 | 6 | 120 | 9 | 73
0.26973 | 0.96159 | 0.85 | 93330.7369 | 1.3455 | -125286.6331 | 2.4893e-05 | 1.6727 | 94.6669 | 15.3869 | 534039.7981 | 2692115.2178 | 32.9694 | 34.0796 | 0.063963 | [43212.02271153847, 26035.695692307694, 24083.018515384618] | [1.6655487408679703, 1.2984251616620905, 1.0725085745960645] | [-38641.93874072, -33001.989800874086, -53642.7045217552] | [2.7677120059058536e-05, 2.3126114116730814e-05, 2.3875364621095033e-05] | [1.6255369667529957, 1.7098484198710289, 1.6826380640287382] | [108.76289714779917, 87.09568599794625, 88.14202708514956] | [16.97977198870702, 14.319970793027355, 14.860856073527799] | [782571.618785496, 403832.5523559762, 415715.2230291826] | [0.1506276159141844, 0.10917734819172258, 0.094256895578435] | [0.05481707858998623, 0.058125085606701585, 0.07301031471970393] | [239.0, 120.0, 74.0] | [0.6361002281647459, 0.4676985557022669, 0.225510981587144] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07728387748143999, 0.05500331633479015, 0.05960300502417245] | 0.024274 | 0.05119 | 0.19187 | 5 | 239 | 6 | 120 | 9 | 74
0.26969 | 0.95521 | 0.85 | 95645.021 | 1.3412 | -133675.4692 | 2.5112e-05 | 1.6673 | 95.606 | 15.5217 | 546237.3284 | 2673946.939 | 32.9605 | 33.939 | 0.064987 | [43212.02271153847, 26035.695692307694, 26397.30257692308] | [1.6581702787149244, 1.297136516770982, 1.0683227951209167] | [-38873.30217942237, -33616.13673785962, -61186.030322539096] | [2.7778456965038394e-05, 2.335832270102021e-05, 2.4199022326706517e-05] | [1.6230472957996582, 1.7039328677995649, 1.6749933799258088] | [109.14334405099643, 88.0653650112421, 89.60941833482175] | [17.041395024612548, 14.461836274362597, 15.061979221210867] | [788804.4922778518, 416133.33896322845, 433774.15384301386] | [0.1506276159141844, 0.11014847073800318, 0.09666925885760189] | [0.055304671500252645, 0.05880713247170782, 0.07401043231102344] | [239.0, 120.0, 73.0] | [0.6328628159495797, 0.46619826903919726, 0.23449758584239103] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07774660435884473, 0.05602689456309937, 0.0611860303225391] | 0.024876 | 0.050831 | 0.19159 | 5 | 239 | 6 | 120 | 10 | 73
0.26969 | 0.95422 | 0.85 | 96006.6279 | 1.3409 | -132446.0153 | 2.5036e-05 | 1.6691 | 95.2846 | 15.474 | 542111.0486 | 2671396.351 | 32.9589 | 33.9398 | 0.064607 | [43212.02271153846, 26035.69569230769, 26758.909461538467] | [1.6571354007112542, 1.29695140778268, 1.0686482639194688] | [-38905.95573929307, -33703.59381652156, -59836.46570154692] | [2.7792729414128216e-05, 2.3391230495974778e-05, 2.3922947841024593e-05] | [1.6226980083707487, 1.703100777956149, 1.6816129803271458] | [109.19694529414983, 88.2028324266881, 88.45392489011893] | [17.050074016376094, 14.481939434355231, 14.890061103836043] | [789685.8694860351, 417895.7931722953, 418751.4832121571] | [0.1506276159141844, 0.1102857088573613, 0.0955201935872277] | [0.05537357766896801, 0.05890411937879042, 0.07301028733632378] | [239.0, 120.0, 74.0] | [0.6324053083838878, 0.4659829347428599, 0.23575857104328915] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07781191147858615, 0.056172656360869266, 0.05983646570154693] | 0.02497 | 0.050781 | 0.19155 | 5 | 239 | 6 | 120 | 10 | 74
0.26973 | 0.95139 | 0.85 | 97091.4485 | 1.3303 | -130279.2449 | 2.4833e-05 | 1.6747 | 94.4485 | 15.3514 | 532712.5754 | 2663956.1048 | 32.9542 | 33.9048 | 0.063795 | [43212.02271153846, 30121.853488461544, 23757.57231923077] | [1.654117981734974, 1.276174547802507, 1.0605512902173273] | [-39001.45301348807, -37682.76584707999, -53595.02605576628] | [2.7834427917734208e-05, 2.2806791624988615e-05, 2.3858910584701548e-05] | [1.6216794445737066, 1.7197141925134907, 1.6826270542009378] | [109.3535733032227, 86.1756765966733, 87.81628124355295] | [17.075430498403627, 14.125835082751767, 14.852837500591985] | [792265.9260201742, 392599.04089056834, 413272.75940545386] | [0.15062761591418442, 0.11161746484447149, 0.09183322773764477] | [0.055575223081556935, 0.05633466911637032, 0.07401041568000191] | [239.0, 119.0, 73.0] | [0.6310664695171164, 0.4953856157102746, 0.19416654018785803] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07800290602697615, 0.053832522638685695, 0.059550028950851416] | 0.025252 | 0.050634 | 0.19144 | 5 | 239 | 7 | 119 | 9 | 73
0.26973 | 0.95053 | 0.85 | 97416.8947 | 1.33 | -129207.6185 | 2.4756e-05 | 1.6765 | 94.1241 | 15.303 | 528665.3822 | 2661732.734 | 32.9528 | 33.9065 | 0.063416 | [43212.02271153847, 30121.853488461544, 24083.018515384618] | [1.653216693564896, 1.276048505891724, 1.0608584181299356] | [-39030.06128651999, -37768.84342639602, -52408.713755099074] | [2.784690740370424e-05, 2.2835025165097434e-05, 2.3585839536199463e-05] | [1.6213751641070093, 1.7189764661564393, 1.689293161308155] | [109.40045636041862, 86.29371767408992, 86.67800417758404] | [17.08301912286526, 14.143090675163227, 14.682770685506878] | [793039.5395166219, 394060.4878770333, 398896.11932148796] | [0.1506276159141844, 0.11173885943482581, 0.09072029232590074] | [0.05563566641315594, 0.05641429942955172, 0.07301027134248107] | [239.0, 119.0, 74.0] | [0.6306651519641067, 0.49522102896955034, 0.1953045331811472] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07806012257303999, 0.053955490609137166, 0.0582319041723323] | 0.025337 | 0.05059 | 0.19141 | 5 | 239 | 7 | 119 | 9 | 74
0.26988 | 0.94501 | 0.85 | 99731.1788 | 1.3264 | -137381.9805 | 2.4958e-05 | 1.6715 | 94.9886 | 15.4278 | 539714.2571 | 2645933.1041 | 32.9438 | 33.7891 | 0.064356 | [43212.02271153846, 30121.853488461544, 26397.30257692308] | [1.6468175463530603, 1.2751318463565895, 1.0573831332240105] | [-39234.29778056147, -38388.3832057133, -59759.299508228956] | [2.7935836396884632e-05, 2.3037374086480973e-05, 2.3902272132307068e-05] | [1.6192142190588548, 1.7137237182842593, 1.6816680718633896] | [109.73464688501153, 87.13993421330316, 88.09109715895713] | [17.137095267312322, 14.26675233955327, 14.879469018201778] | [798571.8406039707, 404636.11938429857, 415934.8113529689] | [0.15062761591418442, 0.11260646120487634, 0.09289622008524347] | [0.056067652231716676, 0.05698675685901489, 0.07401038783712538] | [239.0, 119.0, 73.0] | [0.6277969556579811, 0.49402538048385536, 0.20339184019997855] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07846859556112294, 0.054840547436733285, 0.059759299508228954] | 0.025939 | 0.050278 | 0.19127 | 5 | 239 | 7 | 119 | 10 | 73
0.26991 | 0.94411 | 0.85 | 100092.7857 | 1.3262 | -136183.7179 | 2.4882e-05 | 1.6734 | 94.6671 | 15.3798 | 535701.2291 | 2643606.1635 | 32.9422 | 33.7906 | 0.06398 | [43212.02271153846, 30121.85348846154, 26758.909461538464] | [1.6458759310154112, 1.2749937114440493, 1.0576763875765587] | [-39264.51720159798, -38480.80394131284, -58438.39672594405] | [2.7948970370004978e-05, 2.306743151821528e-05, 2.362908385927041e-05] | [1.6188961584581314, 1.712948584510848, 1.6883222104027484] | [109.7840187171688, 87.26566629042637, 86.95156562628978] | [17.14508172961717, 14.285120082875594, 14.709329625157855] | [799391.8215149882, 406222.293056573, 401489.5727344076] | [0.1506276159141844, 0.11273497504203808, 0.09177803312759071] | [0.05613164029289762, 0.057072054213795916, 0.07301024346941482] | [239.0, 119.0, 74.0] | [0.6273721033754648, 0.49384538804332395, 0.20458297190530575] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07852903440319596, 0.05497257705901835, 0.058438396725944045] | 0.026033 | 0.050232 | 0.19125 | 5 | 239 | 7 | 119 | 10 | 74
0.26974 | 0.95075 | 0.85 | 97344.5733 | 1.3301 | -129699.2066 | 2.4774e-05 | 1.6762 | 94.1944 | 15.3146 | 529669.9873 | 2662281.6188 | 32.9531 | 33.8991 | 0.063527 | [43212.02271153847, 30374.97830769231, 23757.57231923077] | [1.6534391774425052, 1.2767956151312034, 1.060209592206265] | [-39022.995714551864, -37117.469893698166, -53558.7409577974] | [2.784382578613697e-05, 2.2627904794056222e-05, 2.3850436229825642e-05] | [1.6214502777931812, 1.7244254804438452, 1.6828214343008843] | [109.38887898391685, 85.42103220211962, 87.77339157799054] | [17.08114523011472, 14.015124559086974, 14.847620787152886] | [792848.4450320458, 383381.9281950957, 412779.5888055964] | [0.1506276159141844, 0.11077796743913655, 0.09172934857755576] | [0.055620736789524616, 0.05580202038467975, 0.07401041265724924] | [239.0, 120.0, 73.0] | [0.6307642781932167, 0.49636927408418685, 0.19325356156628032] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07804599142910373, 0.05302495699099738, 0.05950971217533045] | 0.025318 | 0.050601 | 0.19142 | 5 | 239 | 7 | 120 | 9 | 73
0.26975 | 0.94989 | 0.85 | 97670.0195 | 1.3299 | -128626.7493 | 2.4697e-05 | 1.6781 | 93.8697 | 15.2662 | 525615.2264 | 2660062.8286 | 32.9517 | 33.9008 | 0.063147 | [43212.02271153846, 30374.97830769231, 24083.018515384618] | [1.6525398886596308, 1.276671007177684, 1.0605154620431558] | [-39051.56953549763, -37202.05192506833, -52373.12779571549] | [2.7856286021242636e-05, 2.2655847863386347e-05, 2.357743986492717e-05] | [1.6211466581577247, 1.723687633500705, 1.6894887460701853] | [109.43569234428296, 85.53775664118476, 86.63553025858619] | [17.08872213531419, 14.032202757067958, 14.677600054942474] | [793621.3702566292, 384805.7582287526, 398418.5507400215] | [0.1506276159141844, 0.11089823018595167, 0.09061719646175298] | [0.055681119758636814, 0.05588060448474768, 0.07301026836334193] | [239.0, 120.0, 74.0] | [0.6303633614860308, 0.4962066586707554, 0.19438861393183826] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07810313907099527, 0.053145788464383316, 0.058192364217461656] | 0.025402 | 0.050557 | 0.19139 | 5 | 239 | 7 | 120 | 9 | 74
0.2699 | 0.94439 | 0.85 | 99984.3036 | 1.3263 | -136783.308 | 2.4898e-05 | 1.6731 | 94.7297 | 15.3904 | 536554.2571 | 2644317.3901 | 32.9426 | 33.7841 | 0.064081 | [43212.02271153846, 30374.97830769231, 26397.30257692308] | [1.6461637113315937, 1.2757659059734503, 1.0570597737381324] | [-39255.27685349709, -37809.96869041274, -59718.062444243245] | [2.7944954988578894e-05, 2.28558357171322e-05, 2.389364043838295e-05] | [1.6189933677722343, 1.7184412173331816, 1.6818648111019179] | [109.76892411218664, 86.37336516266802, 88.0469248881545] | [17.142640071961846, 14.154422482366414, 14.874156166972478] | [799141.053211828, 395094.43640697945, 415427.2815866225] | [0.1506276159141844, 0.11175654426067057, 0.09278587617631655] | [0.05611207243213584, 0.05644474134059257, 0.07401038482161788] | [239.0, 120.0, 73.0] | [0.6275020252626524, 0.4950268640134591, 0.2024440656259954] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07851055370699417, 0.05401424098630391, 0.05971806244424325] | 0.026004 | 0.050246 | 0.19126 | 5 | 239 | 7 | 120 | 10 | 73
0.26992 | 0.94349 | 0.85 | 100345.9105 | 1.3261 | -135584.2199 | 2.4821e-05 | 1.675 | 94.4079 | 15.3424 | 532532.8234 | 2641994.8372 | 32.9411 | 33.7856 | 0.063704 | [43212.02271153847, 30374.97830769231, 26758.909461538464] | [1.6452240235769982, 1.2756292845480792, 1.0573518759499163] | [-39285.464205693606, -37900.792639540174, -58397.963032338535] | [2.795807070798065e-05, 2.2885587821011717e-05, 2.3620530437416444e-05] | [1.6186759429949447, 1.7176658148957007, 1.688520107056131] | [109.81823000933484, 86.49771043675625, 86.90782943792127] | [17.150615421504206, 14.172603793284349, 14.704065064810043] | [799960.4154525787, 396639.8740565352, 400998.1807773725] | [0.15062761591418442, 0.11188387660504732, 0.09166852804699108] | [0.05617600498998192, 0.056528925628977836, 0.07301024049769234] | [239.0, 120.0, 74.0] | [0.6270775415631161, 0.4948489697951985, 0.20363236162394216] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07857092841138721, 0.05414398948505739, 0.05839796303233853] | 0.026098 | 0.0502 | 0.19123 | 5 | 239 | 7 | 120 | 10 | 74
0.26973 | 0.96261 | 0.85 | 92969.13 | 1.346 | -126412.4814 | 2.497e-05 | 1.6706 | 94.9864 | 15.4357 | 536876.0643 | 2694739.3881 | 32.9708 | 34.0794 | 0.064319 | [43392.82615366214, 25818.731561541517, 23757.572319237304] | [1.6688752784851897, 1.2969355024119438, 1.0722138849160567] | [-38240.51573264323, -33312.63342712432, -54859.33222994314] | [2.7520350743622938e-05, 2.3238153064080375e-05, 2.415242000454395e-05] | [1.628939196480984, 1.7069133640936307, 1.6759811020323199] | [108.09994713412564, 87.5575926669857, 89.30175445362445] | [16.883895968056024, 14.38985086627611, 15.033377200098268] | [770324.1367574747, 409578.6424895892, 430725.413698937] | [0.15000000118946188, 0.1095969044399653, 0.09541366830134465] | [0.054341798452496516, 0.05853107383192648, 0.07401045999497381] | [240.0, 119.0, 73.0] | [0.6377462373769927, 0.4660324669483928, 0.22441938950748805] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07648103146528645, 0.05552105571187386, 0.06095481358882571] | 0.02418 | 0.051242 | 0.19192 | 5 | 240 | 6 | 119 | 9 | 73
0.26972 | 0.96166 | 0.85 | 93294.5762 | 1.3457 | -125314.6347 | 2.4893e-05 | 1.6724 | 94.6624 | 15.3876 | 532723.8555 | 2692286.7982 | 32.9695 | 34.0804 | 0.063937 | [43392.82615384615, 25818.731561538465, 24083.018515384618] | [1.667876625597949, 1.296765866942571, 1.0725571581301225] | [-38271.33112147029, -33395.34683526419, -53647.95676894594] | [2.7533941818227145e-05, 2.3269400275956966e-05, 2.3876584085633114e-05] | [1.6286014590241664, 1.7061181284809392, 1.682610395878956] | [108.15091571690664, 87.6881312312769, 88.14819691966645] | [16.892160859288282, 14.408942739539375, 14.861606247028003] | [771148.1536900244, 411235.86233603524, 415787.5503984144] | [0.15000000084787532, 0.10972790610312688, 0.09427178171480116] | [0.054406753442800423, 0.05862278862937214, 0.07301031505661802] | [240.0, 119.0, 74.0] | [0.6373131593095945, 0.465833950792619, 0.22563333219090162] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.0765426622429406, 0.05565891139210698, 0.05960884085438438] | 0.024265 | 0.051193 | 0.19187 | 5 | 240 | 6 | 119 | 9 | 74
0.26968 | 0.95528 | 0.85 | 95608.8603 | 1.3414 | -133710.0225 | 2.5113e-05 | 1.6671 | 95.6035 | 15.5227 | 544972.4963 | 2674114.4564 | 32.9606 | 33.9397 | 0.064963 | [43392.82615384615, 25818.73156153846, 26397.30257692308] | [1.6604836037326336, 1.2954795177470104, 1.0683685858260235] | [-38500.87566510143, -34017.01069735623, -61192.13610078816] | [2.763497245939639e-05, 2.3503117468871983e-05, 2.4200278869831292e-05] | [1.626100558373596, 1.7002141764216208, 1.6749654915901022] | [108.52992604964349, 88.66485105340593, 89.61584995988592] | [16.953598105994153, 14.551731743298816, 15.06275210500641] | [777298.0384959739, 423768.1262077432, 433851.324224672] | [0.15000000084787532, 0.11070503445287269, 0.09668521279928893] | [0.05489124624954938, 0.0593110969272949, 0.0740104326494561] | [240.0, 119.0, 73.0] | [0.6340828687774727, 0.46432997495483463, 0.23462395572701567] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07700175133020286, 0.056695017828927045, 0.06119213610078816] | 0.024866 | 0.050834 | 0.19159 | 5 | 240 | 6 | 119 | 10 | 73
0.26968 | 0.95429 | 0.85 | 95970.4672 | 1.3411 | -132481.2423 | 2.5037e-05 | 1.6689 | 95.2823 | 15.475 | 540852.3965 | 2671563.7715 | 32.9591 | 33.9405 | 0.064584 | [43392.82615384615, 25818.73156153846, 26758.909461538464] | [1.6594468463029646, 1.2952947847330267, 1.068694210831722] | [-38533.26726285137, -34105.523401141036, -59842.45158879137] | [2.7649199468518308e-05, 2.353623338332677e-05, 2.392419271943468e-05] | [1.6257497536886327, 1.6993838650237887, 1.6815849361772155] | [108.58331624840537, 88.8032933394358, 88.46029184215095] | [16.96224952883149, 14.571962300688265, 14.89082679547013] | [778167.5371550432, 425563.4579572549, 418826.1945087762] | [0.15000000084787532, 0.11084310092778135, 0.09553602478150934] | [0.054959704210024926, 0.05940895658682093, 0.07301028766943929] | [240.0, 119.0, 74.0] | [0.6336264350143321, 0.46411416507923625, 0.2358852679301328] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07706653452570274, 0.05684253900190173, 0.05984245158879138] | 0.02496 | 0.050784 | 0.19155 | 5 | 240 | 6 | 119 | 10 | 74
0.26973 | 0.96199 | 0.85 | 93186.0942 | 1.3459 | -125894.1413 | 2.491e-05 | 1.6722 | 94.7269 | 15.3982 | 533670.6989 | 2693133.0184 | 32.9699 | 34.0734 | 0.064041 | [43392.82615384615, 26035.695692307694, 23757.57231923077] | [1.6682211692164426, 1.2976922643115465, 1.0718492461636457] | [-38260.69443701098, -32814.434399862366, -54819.01250888183] | [2.7529251281029472e-05, 2.3056578755703018e-05, 2.4143154529644214e-05] | [1.6287179835176189, 1.7115689025250087, 1.6761882764271505] | [108.13332502444942, 86.79244859402793, 89.2548361919065] | [16.889308491221986, 14.27749835477926, 15.027677238821955] | [770863.6819188979, 399985.09544958395, 430163.31941235455] | [0.15000000084787532, 0.10876866062773423, 0.09530071403627614] | [0.054384330313867114, 0.05797460103873467, 0.0740104574217003] | [240.0, 120.0, 73.0] | [0.6374626626434282, 0.46708210359511415, 0.22349973555821817] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07652138887402196, 0.054690723999770596, 0.060910013898757595] | 0.024236 | 0.05121 | 0.19189 | 5 | 240 | 6 | 120 | 9 | 73
0.26972 | 0.96105 | 0.85 | 93511.5404 | 1.3456 | -124795.6021 | 2.4833e-05 | 1.674 | 94.4025 | 15.35 | 529509.9597 | 2690685.5458 | 32.9685 | 34.0745 | 0.063658 | [43392.82615384615, 26035.695692307694, 24083.018515384618] | [1.6672247324095757, 1.2975243486300547, 1.072191151786711] | [-38291.47101257602, -32895.72084334484, -53608.41023514287] | [2.754282087702791e-05, 2.308750850410333e-05, 2.3867399993933592e-05] | [1.6283809825657003, 1.7107734397746395, 1.6828188440107739] | [108.1842157712736, 86.92154469193278, 88.1017308942951] | [16.89756030716032, 14.296396400587042, 14.85595647309432] | [771686.9048957055, 401599.83081721916, 415243.14341047575] | [0.15000000087847054, 0.10889843385845027, 0.09415966484120189] | [0.054449216929225136, 0.058065126652074514, 0.07301031252078383] | [240.0, 120.0, 74.0] | [0.6370300394993137, 0.4668857230401408, 0.2247108807240746] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07658294202515203, 0.054826201405574725, 0.05956490026126986] | 0.024321 | 0.051162 | 0.19184 | 5 | 240 | 6 | 120 | 9 | 74
0.26968 | 0.95469 | 0.85 | 95825.8244 | 1.3414 | -133172.459 | 2.5051e-05 | 1.6686 | 95.3386 | 15.4844 | 541629.508 | 2672573.0149 | 32.9596 | 33.9344 | 0.064677 | [43392.826153473434, 26035.695692313922, 26397.302576939233] | [1.6598570377043007, 1.2962524120674321, 1.068023244172809] | [-38520.44561210328, -33505.89817290192, -61146.11522812765] | [2.7643568829716348e-05, 2.331856687817693e-05, 2.4190805897780445e-05] | [1.625888551748527, 1.7048748958184858, 1.6751758138750688] | [108.56218541057372, 87.88628141067305, 89.56736265565868] | [16.958825548982375, 14.43756208760683, 15.056925338911892] | [777823.3117245301, 413795.3280314462, 433269.88421349507] | [0.1500000014999637, 0.10986520735898493, 0.09656492603748026] | [0.054932603681568264, 0.05874366333948905, 0.07401043008099696] | [240.0, 120.0, 73.0] | [0.6338071220351488, 0.4653996068131062, 0.2336701442742606] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07704089122420654, 0.055843163621503204, 0.06114611522812765] | 0.024923 | 0.050804 | 0.19156 | 5 | 240 | 6 | 120 | 10 | 73
0.26969 | 0.9537 | 0.85 | 96187.4313 | 1.3411 | -131943.0183 | 2.4975e-05 | 1.6705 | 95.017 | 15.4367 | 537499.9913 | 2670027.2305 | 32.9581 | 33.9353 | 0.064297 | [43392.82615384615, 26035.695692307694, 26758.909461538464] | [1.6588224138354455, 1.2960694742749914, 1.0683476284876963] | [-38552.80063128731, -33592.89147308726, -59797.326238677364] | [2.7657775359321195e-05, 2.3351350370208697e-05, 2.391480602651464e-05] | [1.625538455000034, 1.7040441992850575, 1.6817964712267846] | [108.61550149530197, 88.02320981090926, 88.41228357817575] | [16.96746450401663, 14.4575897244458, 14.885053222857945] | [778692.0783869207, 415544.7117747405, 418263.18386051] | [0.15000000084787532, 0.1100019952015124, 0.09541664206950175] | [0.0550009976007562, 0.05884026260952608, 0.0730102851381563] | [240.0, 120.0, 74.0] | [0.63335111723097, 0.46518604997442825, 0.23492881215126513] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 6.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07710560126257461, 0.05598815245514542, 0.05979732623867736] | 0.025017 | 0.050754 | 0.19152 | 5 | 240 | 6 | 120 | 10 | 74
0.26972 | 0.95087 | 0.85 | 97272.252 | 1.3305 | -129778.5559 | 2.4774e-05 | 1.676 | 94.1871 | 15.3149 | 528193.6557 | 2662608.4131 | 32.9534 | 33.9004 | 0.063492 | [43392.82615384615, 30121.85348846154, 23757.572319230774] | [1.6558087096653025, 1.275326579259142, 1.0602857580061587] | [-38647.33066636467, -37564.39865472875, -53566.82654770277] | [2.7699240074040526e-05, 2.276995902783029e-05, 2.3852323216889137e-05] | [1.624518541583279, 1.720601351290244, 1.6827781433420035] | [108.77114156116254, 86.00730303001392, 87.78294268250191] | [16.992678963506634, 14.103339772600497, 14.848782600052598] | [781232.6822869049, 390458.9327421434, 412889.35192227806] | [0.15000000085586015, 0.11132963834437268, 0.0917524978085828] | [0.05520094567908479, 0.05628514571450881, 0.0740104134533778] | [240.0, 119.0, 73.0] | [0.632017992570538, 0.4945257440620958, 0.1934571947350688] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07729466133272933, 0.0536634266496125, 0.05951869616411419] | 0.025299 | 0.050607 | 0.19142 | 5 | 240 | 7 | 119 | 9 | 73
0.26973 | 0.95001 | 0.85 | 97597.6982 | 1.3302 | -128706.7684 | 2.4696e-05 | 1.6778 | 93.8626 | 15.2665 | 524143.3088 | 2660389.0737 | 32.952 | 33.9021 | 0.063113 | [43392.82615384615, 30121.85348846154, 24083.018515384618] | [1.6549075566305071, 1.2752021375248845, 1.0605919084969124] | [-38675.67958539574, -37650.03123554692, -52381.05759526992] | [2.771166294282827e-05, 2.279808789430282e-05, 2.3579310236439866e-05] | [1.6242135293087507, 1.719864908779627, 1.6894451864175817] | [108.81777900590994, 86.1248911476241, 86.64498885089347] | [17.000233202292367, 14.120531742014531, 14.678751612336992] | [781995.2817521763, 391909.8025271542, 398524.84203941765] | [0.1500000008472655, 0.11145064501948738, 0.09064017118657501] | [0.05526094482216249, 0.056364476200055046, 0.07301026914761038] | [240.0, 119.0, 74.0] | [0.63161795722227, 0.4943625999510646, 0.19459290427014406] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07735135917079147, 0.05378575890792417, 0.05820117510585547] | 0.025384 | 0.050563 | 0.19139 | 5 | 240 | 7 | 119 | 9 | 74
0.26988 | 0.94452 | 0.85 | 99911.9822 | 1.3266 | -136870.7987 | 2.4898e-05 | 1.6728 | 94.7245 | 15.391 | 535126.8628 | 2644634.9473 | 32.9429 | 33.7853 | 0.064049 | [43392.82615384615, 30121.853488461544, 26397.30257692308] | [1.6485160563979544, 1.2742980111531763, 1.0571318500825537] | [-38877.84950772083, -38265.69844189635, -59727.25074007402] | [2.7800094812807485e-05, 2.2999469804201433e-05, 2.3895562403329684e-05] | [1.622049667358318, 1.7146268450717443, 1.6818209954938652] | [109.14986679420956, 86.96695417769476, 88.05676140384007] | [17.054007356458378, 14.243604948004696, 14.875339346641969] | [787442.9931569557, 402397.3596486539, 415540.2357120776] | [0.15000000084787532, 0.11231456204219557, 0.0928104649801545] | [0.05568930367925531, 0.0569341507861452, 0.07401038561214102] | [240.0, 119.0, 73.0] | [0.6287619408402393, 0.49317867055243264, 0.2026554598988433] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07775569901544166, 0.05466528348842335, 0.059727250740074025] | 0.025986 | 0.050252 | 0.19125 | 5 | 240 | 7 | 119 | 10 | 73
0.26991 | 0.94361 | 0.85 | 100273.5891 | 1.3264 | -135672.4214 | 2.4822e-05 | 1.6747 | 94.4029 | 15.343 | 531110.3706 | 2642311.9256 | 32.9414 | 33.7868 | 0.063673 | [43392.82615384615, 30121.85348846154, 26758.909461538467] | [1.6475744158848222, 1.274161590788166, 1.0574242080286136] | [-38907.79922467965, -38357.65003705544, -58406.97217039074] | [2.7813171171512117e-05, 2.3029419280678288e-05, 2.3622434954942182e-05] | [1.6217307902849853, 1.7138529418236765, 1.688476034055697] | [109.19898731997941, 87.09221842483757, 86.91756874423648] | [17.061958829166247, 14.26190709481827, 14.705237477143086] | [788251.4054511221, 403972.1643793121, 401107.5420761858] | [0.15000000087308502, 0.11244268537229413, 0.09169292954620126] | [0.05575283149709584, 0.0570191326589823, 0.07301024127634136] | [240.0, 119.0, 74.0] | [0.6283383793171333, 0.4930002243068833, 0.2038443859536885] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07781559844935931, 0.054796642910079206, 0.05840697217039074] | 0.02608 | 0.050206 | 0.19123 | 5 | 240 | 7 | 119 | 10 | 74
0.26973 | 0.95024 | 0.85 | 97525.3768 | 1.3303 | -129200.418 | 2.4715e-05 | 1.6775 | 93.9336 | 15.2783 | 525166.3275 | 2660939.5339 | 32.9522 | 33.8947 | 0.063225 | [43392.826153842965, 30374.97830769238, 23757.572319230883] | [1.655131051390479, 1.275944356252354, 1.059945889984082] | [-38668.64521424056, -37001.00363180598, -53530.76911164831] | [2.77085809100312e-05, 2.2591413485129214e-05, 2.3843898968457223e-05] | [1.6242891770447243, 1.7253132593561964, 1.6829714863809198] | [108.80620823592967, 85.25429119665324, 87.74030703241704] | [16.998359046494375, 13.992837637018258, 14.843596651157863] | [781806.0241082401, 381293.3992721207, 412399.5592398403] | [0.150000000854471, 0.11049211072896424, 0.09164921893242421] | [0.05524605536449998, 0.055753274850558206, 0.07401041043109102] | [240.0, 120.0, 73.0] | [0.6317172304330545, 0.4955073853575332, 0.1925478984180517] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07733729042848113, 0.05285857661686569, 0.0594786323462759] | 0.025365 | 0.050574 | 0.1914 | 5 | 240 | 7 | 120 | 9 | 73
0.26974 | 0.94938 | 0.85 | 97850.823 | 1.3301 | -128127.8045 | 2.4637e-05 | 1.6794 | 93.6087 | 15.2298 | 521108.4784 | 2658724.7549 | 32.9509 | 33.8964 | 0.062845 | [43392.82615384615, 30374.97830769231, 24083.018515384618] | [1.6542318885678238, 1.2758213400466816, 1.0602507910659473] | [-38696.960165292316, -37085.149190503245, -52345.69512227007] | [2.7720984703120173e-05, 2.2619253188918227e-05, 2.3570960265761712e-05] | [1.62398482461289, 1.7245766927547428, 1.6896397272849886] | [108.85277667150565, 85.3705687210882, 86.60276669876671] | [17.005901672499643, 14.0098530070468, 14.673611496421808] | [782567.9487630035, 382706.9380708365, 398050.5483918049] | [0.15000000088030155, 0.11061199005528055, 0.09053767182095497] | [0.055305995027640276, 0.05583156428958891, 0.0730102661689204] | [240.0, 120.0, 74.0] | [0.6313175917420879, 0.4953462021698182, 0.19368067836500813] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 9.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07739392033058463, 0.052978784557861786, 0.05816188346918898] | 0.02545 | 0.05053 | 0.19137 | 5 | 240 | 7 | 120 | 9 | 74
0.2699 | 0.9439 | 0.85 | 100165.107 | 1.3265 | -136274.1586 | 2.4838e-05 | 1.6744 | 94.4663 | 15.3537 | 531983.1935 | 2643024.5564 | 32.9418 | 33.7803 | 0.063775 | [43392.82615384615, 30374.97830769231, 26397.30257692308] | [1.647863259194071, 1.2749286820021457, 1.056810242227763] | [-38898.60778086905, -37689.27264845458, -59686.27820656813] | [2.780915875011387e-05, 2.281828724952227e-05, 2.3886982836323924e-05] | [1.6218286064451377, 1.71934491000743, 1.6820166640437457] | [109.18391449996504, 86.20208409726669, 88.01285604481936] | [17.05951895781876, 14.13149231573737, 14.870058496170113] | [788003.2691129816, 392910.0470844273, 415036.2642002849] | [0.15000000084787532, 0.11146666633252268, 0.09270076997542084] | [0.05573333316626134, 0.05639296840171436, 0.0740103825970908] | [240.0, 120.0, 73.0] | [0.6284683812965364, 0.4941780182687259, 0.20171152196569045] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07779721556173812, 0.05384181806922084, 0.05968627820656813] | 0.026051 | 0.05022 | 0.19124 | 5 | 240 | 7 | 120 | 10 | 73
0.26992 | 0.94299 | 0.85 | 100526.7139 | 1.3263 | -135074.9603 | 2.4761e-05 | 1.6763 | 94.1443 | 15.3057 | 527958.3654 | 2640705.9033 | 32.9403 | 33.7818 | 0.063398 | [43392.82615384615, 30374.97830769231, 26758.909461538464] | [1.646923537473444, 1.2747937666218216, 1.0571014557974423] | [-38928.525887532676, -37779.6363988597, -58366.79802575593] | [2.782221702288657e-05, 2.2847932730111046e-05, 2.361393320914756e-05] | [1.6215103642789543, 1.718570735124409, 1.6886728536464883] | [109.23296974872792, 86.32596771922387, 86.87409698695485] | [17.067459419758393, 14.149608839405825, 14.700004640024943] | [788811.0751479022, 394444.4226935642, 400619.5984150425] | [0.15000000088331247, 0.11159361265364122, 0.09158406912196392] | [0.05579680632682061, 0.056476842625211084, 0.07301023830506456] | [240.0, 120.0, 74.0] | [0.6280451842575613, 0.4940016594768894, 0.2028976219128746] | [0.0008636, 0.0008636, 0.0008636] | [5.0, 7.0, 10.0] | [0.85, 0.85, 0.85] | [1, 1, 1] | [1, 1, 1] | [None, None, None] | [None, None, None] | [0.07785705177506536, 0.053970909141228145, 0.05836679802575594] | 0.026145 | 0.050174 | 0.19121 | 5 | 240 | 7 | 120 | 10 | 74