## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l | pv
0.79526 | 2.7473 | 0.5 | 103759.7312 | 1.0461 | -98460.1941 | 9.1012e-05 | 1.8487 | 55.9313 | 29.3533 | 116094.8113 | 5876098.5368 | 69.7018 | 70.827 | 0.19692 | [103759.7312445308] | [1.0460554657048147] | [-98460.19414540299] | [9.101173180904662e-05] | [1.8487231724882534] | [55.93126419640292] | [29.353253246413193] | [116094.81132398095] | [0.15041501345652245] | [0.07529939173631087] | [329.0] | [0.49999999999999994] | [0.0003000003651998787] | [5.0] | [0.9499999286081376] | [1] | [1] | [None] | [None] | [0.19692038829080596] | 0.04928 | 0.19397 | 0.53843 | 5 | 329
0.79512 | 2.7453 | 0.5 | 104075.1558 | 1.046 | -98062.3554 | 9.0925e-05 | 1.8503 | 55.6999 | 29.2922 | 114746.6024 | 5872012.2002 | 69.7011 | 70.82 | 0.19612 | [104075.15581634265] | [1.0459520870256154] | [-98062.35538525548] | [9.092526001626405e-05] | [1.850344081631586] | [55.69994430126316] | [29.292150069101222] | [114746.60240254053] | [0.15000001133051474] | [0.0750916336084444] | [330.0] | [0.5] | [0.00030000003453144327] | [5.0] | [0.9497421547419357] | [1] | [1] | [None] | [None] | [0.19612471077051094] | 0.04943 | 0.19383 | 0.53828 | 5 | 330
0.79589 | 2.6587 | 0.5 | 124285.6257 | 1.0385 | -113209.9317 | 8.9851e-05 | 1.8554 | 55.0873 | 29.1081 | 110324.3229 | 5681466.7026 | 69.6581 | 70.4039 | 0.18868 | [124285.62568373252] | [1.0385089638140816] | [-113209.93174785434] | [8.985139549486437e-05] | [1.855376535690151] | [55.0872518624477] | [29.108145031459436] | [110324.32286165415] | [0.15000000835457694] | [0.07509140354215436] | [329.0] | [0.5] | [0.0003013775680093] | [6.0] | [0.9499998067535016] | [1] | [1] | [None] | [None] | [0.18868321957975723] | 0.059028 | 0.18743 | 0.53585 | 6 | 329
0.79604 | 2.6567 | 0.5 | 124890.1753 | 1.0382 | -113885.1097 | 9.0084e-05 | 1.8578 | 54.7457 | 29.0171 | 108397.4637 | 5676758.2659 | 69.6568 | 70.3916 | 0.18981 | [124890.17534681012] | [1.0382090932667816] | [-113885.10972220913] | [9.008376857724536e-05] | [1.8578226003854077] | [54.745743111619426] | [29.01710625982829] | [108397.46370512487] | [0.15000000645607775] | [0.07509139580640005] | [330.0] | [0.5] | [0.00030000010506026856] | [6.0] | [0.9497420507873967] | [1] | [1] | [None] | [None] | [0.18980851620368186] | 0.059315 | 0.18728 | 0.53587 | 6 | 330