## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l | pv
0.82894 | 2.8018 | 0.5 | 122997.9059 | 1.1178 | -125556.8588 | 3.035e-05 | 1.9605 | 56.2303 | 9.7894 | 122848.4475 | 5978836.0664 | 69.6454 | 72.8062 | 0.20926 | [122997.90591735975] | [1.1177918963266298] | [-125556.85882412812] | [3.0350079144143258e-05] | [1.9605144235104262] | [56.2302638972845] | [9.7893631258565] | [122848.44746523592] | [0.1522663656365118] | [0.0762258946953606] | [325.0] | [0.5] | [0.0003000000684022733] | [6.0] | [0.9499999316108063] | [1] | [1] | [None] | [None] | [0.20926143137354686] | 0.058417 | 0.19742 | 0.55952 | 6 | 325
0.8289 | 2.7999 | 0.5 | 123376.368 | 1.1178 | -124860.8598 | 3.0263e-05 | 1.9624 | 56.0473 | 9.7613 | 121759.887 | 5975125.4822 | 69.6445 | 72.797 | 0.2081 | [123376.36804034699] | [1.1177503315327848] | [-124860.85981359323] | [3.0263047185177242e-05] | [1.9624422019327432] | [56.04732141283832] | [9.761278987412119] | [121759.8870451547] | [0.15179929716621515] | [0.07599207150826146] | [326.0] | [0.5] | [0.00030000002527038987] | [6.0] | [0.9499999748373401] | [1] | [1] | [None] | [None] | [0.2081014330226554] | 0.058596 | 0.1973 | 0.55943 | 6 | 326
0.83016 | 2.7218 | 0.5 | 142074.9129 | 1.1032 | -135335.0524 | 2.9516e-05 | 1.9623 | 56.1259 | 9.76 | 121472.2905 | 5804655.1698 | 69.6049 | 71.9772 | 0.19334 | [142074.91294163855] | [1.10321892785087] | [-135335.05239899637] | [2.9515736066124912e-05] | [1.96230092537091] | [56.12592094644985] | [9.759989876060544] | [121472.29053615539] | [0.15000001346796624] | [0.07509112416930086] | [325.0] | [0.49999999999999994] | [0.0003075821677541989] | [7.0] | [0.9499999157211234] | [1] | [1] | [None] | [None] | [0.19333578914142335] | 0.067477 | 0.19157 | 0.55754 | 7 | 325
0.83033 | 2.7193 | 0.5 | 142806.1617 | 1.1026 | -136126.8021 | 2.9521e-05 | 1.9656 | 55.8124 | 9.7117 | 119618.5649 | 5798931.9562 | 69.6033 | 71.947 | 0.19447 | [142806.1617150549] | [1.1026055674634563] | [-136126.80214168274] | [2.952108488673371e-05] | [1.9656283759410247] | [55.812413035587156] | [9.71173731589404] | [119618.56488987175] | [0.15000001265610197] | [0.07509111563988091] | [326.0] | [0.5] | [0.0003060071743634166] | [7.0] | [0.949999913862106] | [1] | [1] | [None] | [None] | [0.19446686020240392] | 0.067824 | 0.19138 | 0.55755 | 7 | 326