## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l | pv
0.77694 | 2.7327 | 0.5 | 88558.497 | 1.0121 | -9654.3073 | 0.00040151 | 0.14536 | 40.9997 | 90.7787 | 3604.9592 | 5887013.7344 | 69.74 | 70.0812 | 0.024136 | [88558.49695750214] | [1.0120637758092847] | [-9654.307269985276] | [0.00040151372497466444] | [0.1453625286370562] | [40.99965232118143] | [90.7786803306536] | [3604.959240022197] | [0.15542301203610556] | [0.0778066605589737] | [351.0] | [0.5000000000000001] | [0.00030000002824189046] | [4.0] | [0.8617643310321633] | [1.8999990330789576] | [0.10000021528376232] | [None] | [None] | [0.02413576817496319] | 0.04206 | 0.19434 | 0.52696 | 4 | 351
0.77676 | 2.7308 | 0.5 | 88810.8003 | 1.012 | -9620.286 | 0.00040107 | 0.1455 | 40.8432 | 90.5816 | 3566.7508 | 5883046.7005 | 69.7395 | 70.0789 | 0.024051 | [88810.80032248056] | [1.0120411411106431] | [-9620.286043587847] | [0.00040107286206190866] | [0.14549703172504763] | [40.84315347794291] | [90.58156777821821] | [3566.7507722522655] | [0.15503316369505826] | [0.07761149480933725] | [352.0] | [0.49999999999999994] | [0.0003000000286268982] | [4.0] | [0.861476983395476] | [1.8999990302567005] | [0.10000021599027253] | [None] | [None] | [0.024050715108969615] | 0.04218 | 0.1942 | 0.52679 | 4 | 352
0.77049 | 2.6064 | 0.5 | 110695.4933 | 1.0102 | -9421.9421 | 0.00037753 | 0.14325 | 43.6828 | 96.1376 | 4255.0437 | 5619527.4308 | 69.6931 | 69.9114 | 0.018844 | [110695.49333767805] | [1.010152607037821] | [-9421.942127016146] | [0.00037753245092792887] | [0.1432486287186107] | [43.68277471708198] | [96.13764459323104] | [4255.043722135185] | [0.15000026605237107] | [0.07509171867997164] | [351.0] | [0.5] | [0.0003000180038161449] | [5.0] | [0.892886166541085] | [1.8999987344521587] | [0.10000021664023802] | [None] | [None] | [0.01884388425403229] | 0.052574 | 0.18535 | 0.51899 | 5 | 351
0.77051 | 2.6062 | 0.5 | 110769.421 | 1.0101 | -9608.069 | 0.00037878 | 0.1438 | 42.9909 | 94.9337 | 4071.4646 | 5618877.235 | 69.693 | 69.9102 | 0.019216 | [110769.42102382505] | [1.0101119085019135] | [-9608.068985792563] | [0.0003787760196061076] | [0.14379888168998273] | [42.99087523284445] | [94.9337366174342] | [4071.4645624807613] | [0.15000023506963006] | [0.07509170235457042] | [352.0] | [0.5] | [0.0003016685117810621] | [5.0] | [0.8874084809697392] | [1.8999987288626634] | [0.10000021243419435] | [None] | [None] | [0.019216137971585126] | 0.052609 | 0.18533 | 0.51899 | 5 | 352