## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l | pv
0.78074 | 2.6495 | 0.5 | 111013.476 | 1.0299 | -36046.2263 | 0.00013111 | 0.57037 | 43.3545 | 33.0594 | 15122.3414 | 5698270.8497 | 69.6891 | 70.3236 | 0.072092 | [111013.47599538528] | [1.0298844643560725] | [-36046.22633556898] | [0.00013111222898055055] | [0.5703665651921865] | [43.35453914364898] | [33.05943383751197] | [15122.341394017054] | [0.15000009025472194] | [0.07509160931826213] | [352.0] | [0.49999999999999994] | [0.00030000019510689204] | [5.0] | [0.8903825138258581] | [1.8999995741194937] | [0.1000000587251749] | [None] | [None] | [0.07209245267113795] | 0.052725 | 0.188 | 0.52644 | 5 | 352
0.78074 | 2.6481 | 0.5 | 111328.8542 | 1.0296 | -36720.9415 | 0.00013192 | 0.57577 | 42.917 | 32.9387 | 14804.4803 | 5695003.75 | 69.6885 | 70.3143 | 0.073442 | [111328.85415854999] | [1.0296089452431683] | [-36720.94149098458] | [0.0001319236154803408] | [0.575766974276194] | [42.91697471065568] | [32.93868616672248] | [14804.480342651452] | [0.15000007393475548] | [0.07509159773096014] | [353.0] | [0.49999999999999994] | [0.0003000002021124362] | [5.0] | [0.8878602678385699] | [1.8999995694271725] | [0.10000005763270477] | [None] | [None] | [0.07344188298196916] | 0.052875 | 0.18789 | 0.52639 | 5 | 353
0.78274 | 2.6432 | 0.5 | 114774.4565 | 1.0252 | -64479.6519 | 0.00014967 | 0.69695 | 34.9888 | 30.6006 | 9674.5752 | 5671560.8477 | 69.6815 | 70.1811 | 0.10747 | [114774.45645628929] | [1.025216209446524] | [-64479.651949345345] | [0.00014966767948199904] | [0.6969533347971788] | [34.98880641836686] | [30.600559650264074] | [9674.575227288156] | [0.15000000516102174] | [0.07509152635390051] | [352.0] | [0.5] | [0.0004216655066142625] | [6.0] | [0.7352618496856476] | [1.8999998124901167] | [0.1000000118864891] | [None] | [None] | [0.10746608658224224] | 0.054511 | 0.1871 | 0.52755 | 6 | 352
0.78282 | 2.6441 | 0.5 | 114671.2085 | 1.0251 | -65593.2232 | 0.00015052 | 0.70275 | 34.6817 | 30.5036 | 9499.8891 | 5672880.7854 | 69.6818 | 70.179 | 0.10932 | [114671.20849931362] | [1.0250947278746678] | [-65593.22324028327] | [0.00015051758711249864] | [0.7027538140135878] | [34.68170164937977] | [30.50359559183222] | [9499.889050770278] | [0.1500000138951952] | [0.07509153197761527] | [353.0] | [0.5] | [0.0004249558468562546] | [6.0] | [0.7302257264643988] | [1.899999480698007] | [0.10000003221195394] | [None] | [None] | [0.10932203873380544] | 0.054462 | 0.18715 | 0.52763 | 6 | 353