## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l | pv
0.78824 | 2.8032 | 0.5 | 83638.5812 | 1.024 | -29513.3141 | 0.00021466 | 0.34969 | 23.1128 | 27.8649 | 1577.9802 | 6026984.4854 | 69.7486 | 70.4954 | 0.098378 | [83638.58121142795] | [1.0240297836860837] | [-29513.31405243526] | [0.00021465946880675136] | [0.34968981423872825] | [23.112800836034275] | [27.864917330092517] | [1577.9802313485145] | [0.15186074595019144] | [0.07602339277225441] | [442.0] | [0.5000000000000001] | [0.0003000000214377949] | [3.0] | [0.7003951979241296] | [1.8999995327941805] | [0.10000007073308806] | [None] | [None] | [0.09837771350811753] | 0.039723 | 0.19904 | 0.5359 | 3 | 442
0.78804 | 2.8015 | 0.5 | 83827.8103 | 1.024 | -29436.8972 | 0.00021451 | 0.34984 | 23.0436 | 27.8171 | 1564.3975 | 6023438.7007 | 69.7482 | 70.492 | 0.098123 | [83827.81027580978] | [1.0239898567974943] | [-29436.897232316383] | [0.00021450567852497436] | [0.34983750971845057] | [23.043637203973383] | [27.817098889195147] | [1564.3975074581988] | [0.15158457347284682] | [0.07588513525460337] | [443.0] | [0.49999999999999994] | [0.00030000000784270557] | [3.0] | [0.7000873615858987] | [1.899999830105709] | [0.10000002572194734] | [None] | [None] | [0.09812299077438795] | 0.039813 | 0.19892 | 0.53573 | 3 | 443
0.77684 | 2.6311 | 0.5 | 111517.9678 | 1.0183 | -35427.4155 | 0.00020732 | 0.3503 | 22.8954 | 27.6781 | 1518.091 | 5659540.5367 | 69.6898 | 70.0944 | 0.088569 | [111517.96781207918] | [1.0183478724424413] | [-35427.41553489795] | [0.00020731784081547415] | [0.35030426510971935] | [22.895381091956033] | [27.678065839635888] | [1518.0910338983742] | [0.15000004316370552] | [0.07509158952517499] | [442.0] | [0.5] | [0.00030000097521911296] | [4.0] | [0.7090820162096398] | [1.8999993133374746] | [0.10000005760769375] | [None] | [None] | [0.08856853883724487] | 0.052964 | 0.1867 | 0.5236 | 4 | 442
0.77685 | 2.63 | 0.5 | 111770.199 | 1.0183 | -35622.649 | 0.00020775 | 0.35057 | 22.7711 | 27.592 | 1494.4712 | 5657174.6329 | 69.6893 | 70.0907 | 0.089057 | [111770.19897424207] | [1.018264932942683] | [-35622.649011414804] | [0.00020775423216825664] | [0.35057260181057337] | [22.77110342194583] | [27.592001257376022] | [1494.4711630852262] | [0.15000004239367273] | [0.07509158631413396] | [443.0] | [0.49999999999999994] | [0.00030000146253424755] | [4.0] | [0.7074806893365487] | [1.8999993094294572] | [0.10000005728359143] | [None] | [None] | [0.08905662252853702] | 0.053084 | 0.18662 | 0.52357 | 4 | 443