## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l | pv
0.78716 | 2.7778 | 0.5 | 87927.0723 | 1.0358 | -10413.663 | 0.00013828 | 0.16708 | 90.4095 | 70.954 | 44639.5379 | 5982119.2852 | 69.7379 | 70.7942 | 0.011571 | [87927.0723] | [1.0357911269326125] | [-10413.662963298235] | [0.00013827589836695663] | [0.16708098249775158] | [90.40954673021665] | [70.95398287926467] | [44639.537864803846] | [0.15062761506276154] | [0.07540601517281352] | [239.0] | [0.5] | [0.0007112] | [9.0] | [0.85] | [1.899999682814907] | [0.10000020065466597] | [None] | [None] | [0.011570736625886929] | 0.04176 | 0.19753 | 0.53429 | 9 | 239
0.78685 | 2.7748 | 0.5 | 88294.968 | 1.0357 | -10329.7997 | 0.00013796 | 0.16724 | 90.0035 | 70.7934 | 44076.3722 | 5975952.0253 | 69.7372 | 70.7867 | 0.011478 | [88294.968] | [1.0357159502315385] | [-10329.799652102247] | [0.0001379632857337019] | [0.1672401559640673] | [90.00354919784812] | [70.7934070377461] | [44076.37220529781] | [0.15000000000000155] | [0.07509181933344325] | [240.0] | [0.49999999999999695] | [0.0007112] | [9.0] | [0.85] | [1.89999988453763] | [0.1000000733551312] | [None] | [None] | [0.011477555169002496] | 0.041935 | 0.19733 | 0.53401 | 9 | 240
0.78073 | 2.7074 | 0.5 | 97696.747 | 1.0322 | -11381.9202 | 0.00013762 | 0.16743 | 89.6211 | 70.6147 | 43397.2507 | 5832478.2115 | 69.7176 | 70.5624 | 0.011382 | [97696.74699999999] | [1.0321713822704957] | [-11381.920219939404] | [0.0001376234771186315] | [0.1674258641013679] | [89.62114144939473] | [70.61468834040643] | [43397.250707405685] | [0.15062761506276154] | [0.07540590647387992] | [239.0] | [0.5] | [0.0007112] | [10.0] | [0.85] | [1.8999996330162352] | [0.10000018192773764] | [None] | [None] | [0.011381920219939407] | 0.0464 | 0.19251 | 0.52825 | 10 | 239
0.78056 | 2.7048 | 0.5 | 98105.52 | 1.0321 | -11289.7521 | 0.00013731 | 0.16759 | 89.2166 | 70.454 | 42846.1476 | 5827117.25 | 69.7167 | 70.5559 | 0.01129 | [98105.52] | [1.0321040555571352] | [-11289.752053761433] | [0.0001373106307155926] | [0.16758645348088916] | [89.2166002551342] | [70.45398513913733] | [42846.14755185848] | [0.15] | [0.07509171059071433] | [240.0] | [0.5000000000000001] | [0.0007112] | [10.0] | [0.85] | [1.8999996316562793] | [0.1000001833497609] | [None] | [None] | [0.011289752053761433] | 0.046594 | 0.19233 | 0.52806 | 10 | 240