## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l | pv
0.79499 | 2.8155 | 0.5 | 87927.0723 | 1.0362 | -74513.99 | 0.00013675 | 1.2027 | 90.2601 | 70.1687 | 318182.1708 | 6031862.1368 | 69.7376 | 70.7828 | 0.082793 | [87927.0723] | [1.036174134802399] | [-74513.9900480275] | [0.00013674702937316658] | [1.2027397816919074] | [90.26008766608336] | [70.16865646093424] | [318182.17079345096] | [0.15062761506276154] | [0.0754060133982922] | [239.0] | [0.5] | [0.0007112] | [9.0] | [0.85] | [1] | [1] | [None] | [None] | [0.08279332227558611] | 0.04176 | 0.1992 | 0.54045 | 9 | 239
0.79462 | 2.8123 | 0.5 | 88294.968 | 1.0361 | -73925.1728 | 0.00013644 | 1.204 | 89.8555 | 70.0101 | 314218.8551 | 6025332.3248 | 69.7368 | 70.7754 | 0.082139 | [88294.968] | [1.0360981431220764] | [-73925.17277467572] | [0.00013643843675800092] | [1.20404849050872] | [89.85546704108484] | [70.01014912519511] | [314218.85512614466] | [0.15000000002983016] | [0.07509181756661402] | [240.0] | [0.5000000000000002] | [0.0007112] | [9.0] | [0.85] | [1] | [1] | [None] | [None] | [0.08213908086075081] | 0.041935 | 0.19898 | 0.54013 | 9 | 240
0.78933 | 2.7488 | 0.5 | 97696.747 | 1.0325 | -81419.033 | 0.00013608 | 1.2057 | 89.4445 | 69.8209 | 309091.8759 | 5887193.6258 | 69.7171 | 70.5483 | 0.081419 | [97696.74699999999] | [1.0325171232309311] | [-81419.03302852582] | [0.00013607851424835246] | [1.2056773471788396] | [89.44446500778997] | [69.82093927587532] | [309091.8758790759] | [0.15062761506276154] | [0.07540590423076057] | [239.0] | [0.5] | [0.0007112] | [10.0] | [0.85] | [1] | [1] | [None] | [None] | [0.08141903302852581] | 0.0464 | 0.19434 | 0.53501 | 10 | 239
0.7891 | 2.7459 | 0.5 | 98105.52 | 1.0324 | -80772.2927 | 0.00013577 | 1.207 | 89.0416 | 69.6624 | 305217.9045 | 5881428.9116 | 69.7163 | 70.5419 | 0.080772 | [98105.51999999999] | [1.0324490565680142] | [-80772.29265167053] | [0.00013576990317503283] | [1.2069957495397947] | [89.0416001387199] | [69.66241647722596] | [305217.90453337436] | [0.15000000000028216] | [0.07509170835827282] | [240.0] | [0.4999999999986602] | [0.0007112] | [10.0] | [0.85] | [1] | [1] | [None] | [None] | [0.08077229265167052] | 0.046594 | 0.19415 | 0.53478 | 10 | 240