## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l | pv
0.81217 | 2.8888 | 0.5 | 87927.0723 | 1.0692 | -104159.5978 | 7.2788e-05 | 1.6707 | 90.4299 | 37.3502 | 446353.6371 | 6173275.2059 | 69.7327 | 71.8025 | 0.11573 | [87927.0723] | [1.0692395478493741] | [-104159.59780268236] | [7.278786547750225e-05] | [1.6706508496125363] | [90.42988860674653] | [37.350223233613164] | [446353.63711259176] | [0.15062761506276154] | [0.07540598744038848] | [239.0] | [0.49999999999999994] | [0.0007112] | [9.0] | [0.85] | [1] | [1] | [None] | [None] | [0.11573288644742484] | 0.04176 | 0.20395 | 0.55287 | 9 | 239
0.81173 | 2.8853 | 0.5 | 88294.968 | 1.0691 | -103328.3652 | 7.2625e-05 | 1.6722 | 90.0273 | 37.2665 | 440777.1426 | 6166171.2747 | 69.732 | 71.7896 | 0.11481 | [88294.968] | [1.0690923777857693] | [-103328.36524998929] | [7.262481978377811e-05] | [1.6722292042924753] | [90.02728323277165] | [37.266483290331145] | [440777.1426039332] | [0.15000000029572966] | [0.07509179169714174] | [240.0] | [0.5000000000000001] | [0.0007112] | [9.0] | [0.85] | [1] | [1] | [None] | [None] | [0.11480929472221034] | 0.041935 | 0.20371 | 0.5525 | 9 | 240
0.80502 | 2.8162 | 0.5 | 97696.747 | 1.0622 | -113876.9016 | 7.2451e-05 | 1.674 | 89.6553 | 37.1748 | 434135.1976 | 6014791.9166 | 69.7124 | 71.3702 | 0.11388 | [97696.74699999999] | [1.062153876937343] | [-113876.90159781362] | [7.245060604716616e-05] | [1.674036239847092] | [89.65531062000692] | [37.17484409197948] | [434135.1975899171] | [0.15062761506276154] | [0.07540587907197188] | [239.0] | [0.5] | [0.0007112] | [10.0] | [0.85] | [1] | [1] | [None] | [None] | [0.11387690159781362] | 0.0464 | 0.19863 | 0.54641 | 10 | 239
0.80471 | 2.813 | 0.5 | 98105.52 | 1.062 | -112963.7539 | 7.2288e-05 | 1.6756 | 89.2544 | 37.0911 | 428680.683 | 6008465.0747 | 69.7116 | 71.3591 | 0.11296 | [98105.519998] | [1.0620224448411861] | [-112963.75391433874] | [7.22875692451206e-05] | [1.6756250971216304] | [89.25441007964984] | [37.091106033619454] | [428680.682983266] | [0.15000000149998827] | [0.07509168329838048] | [240.0] | [0.49999999673761614] | [0.0007112] | [10.0] | [0.85] | [1] | [1] | [None] | [None] | [0.11296375391433874] | 0.046594 | 0.19842 | 0.54612 | 10 | 240