## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Sh_improvement_list | f_improvement_list | k_error_list | f_error_list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l | pv
0.86275 | 3.0975 | 0.5 | 87927.0723 | 1.1805 | -105639.4622 | 2.9063e-05 | 1.6972 | 90.6924 | 14.9155 | 451618.2409 | 6614811.3061 | 69.7154 | 76.3585 | 0.11738 | [87927.0723] | [1.1805177730488123] | [-105639.46223333119] | [2.906301493918496e-05] | [1.6971990711951335] | [90.6924316954303] | [14.915482669140482] | [451618.24092552176] | [0.15062761506276154] | [0.07540589499913365] | [239.0] | [0.5] | [0.0007112] | [9.0] | [0.85] | [1] | [1] | [None] | [None] | [0.11737718025925688] | 0.04176 | 0.21878 | 0.58863 | 9 | 239
0.8623 | 3.094 | 0.5 | 88294.968 | 1.1804 | -104853.0428 | 2.8951e-05 | 1.6994 | 90.2956 | 14.858 | 446258.9253 | 6607587.092 | 69.7146 | 76.3378 | 0.1165 | [88294.968] | [1.1804252169664633] | [-104853.04278864988] | [2.8951068188255506e-05] | [1.699444203612396] | [90.29562092773102] | [14.858011403782445] | [446258.925269546] | [0.15000000000014602] | [0.0750916992887473] | [240.0] | [0.5000000000002981] | [0.0007112] | [9.0] | [0.85] | [1] | [1] | [None] | [None] | [0.11650338087627764] | 0.041935 | 0.21854 | 0.58825 | 9 | 240
0.849 | 2.9977 | 0.5 | 97696.747 | 1.1613 | -115960.0555 | 2.8868e-05 | 1.7011 | 90.0746 | 14.8149 | 442027.1981 | 6398376.1712 | 69.6957 | 75.1482 | 0.11596 | [97696.747] | [1.1612984845580934] | [-115960.05553297317] | [2.8868419620368193e-05] | [1.7010760724610208] | [90.07461262104798] | [14.814944876394923] | [442027.19814288226] | [0.1506276150627567] | [0.07540578980823792] | [239.0] | [0.49999999999999006] | [0.0007112] | [10.0] | [0.85] | [1] | [1] | [None] | [None] | [0.11596005553297307] | 0.0464 | 0.21151 | 0.5775 | 10 | 239
0.84867 | 2.9944 | 0.5 | 98105.52 | 1.1612 | -115094.1591 | 2.8757e-05 | 1.7033 | 89.6794 | 14.7577 | 436762.674 | 6391895.1856 | 69.6948 | 75.1301 | 0.11509 | [98105.51999999999] | [1.1612174515067164] | [-115094.1590605965] | [2.8756869734835896e-05] | [1.7033330352896126] | [89.6793932955524] | [14.757678096211999] | [436762.6740260601] | [0.1500000000282161] | [0.07509159407269] | [240.0] | [0.5] | [0.0007112] | [10.0] | [0.85] | [1] | [1] | [None] | [None] | [0.11509415906059652] | 0.046594 | 0.2113 | 0.5772 | 10 | 240