## macro_results
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | correlation | nfe | model | solve
0.75661 | 4.3389 | 0.5 | 44147.484 | 1.256 | -232647.6569 | 5.456e-05 | 1.8229 | 144.8166 | 28.0082 | 2662405.2626 | 9185221.3767 | 69.8344 | 82.0589 | [44147.484000000004] | [1.256033244680078] | [-232647.65686701494] | [5.456019915415367e-05] | [1.8229013461663732] | [144.81664218333574] | [28.00819824342788] | [2662405.262605502] | [0.25000000000000006] | [0.12515389480237293] | [180] | [0.4999999999999999] | [0.0007112] | [6] | [0.85] | guillen | 60 | swro_single_stage | recovery_0.5_simulation
0.76952 | 4.4126 | 0.5 | 44147.484 | 1.2928 | -187433.8405 | 4.8319e-05 | 1.4258 | 144.0302 | 24.8063 | 2182493.9844 | 9362664.6005 | 69.8314 | 86.253 | [44147.484000000004] | [1.2927672292239625] | [-187433.8404888235] | [4.831924701314762e-05] | [1.4257582647230425] | [144.03018411424085] | [24.806312506595017] | [2182493.9844387686] | [0.25000000000000006] | [0.12515386794831038] | [180] | [0.4999999999999999] | [0.0007112] | [6] | [0.85] | schock | 60 | swro_single_stage | recovery_0.5_simulation
0.69552 | 3.9512 | 0.5 | 44147.484 | 1.0699 | -139883.2378 | 0.00018383 | 1.0426 | 145.2184 | 94.3693 | 1648049.2018 | 8407577.8429 | 69.8459 | 73.5119 | [44147.484000000004] | [1.0698567594140713] | [-139883.23783861846] | [0.00018382570414006427] | [1.0425516401223551] | [145.21842638060468] | [94.3693304015923] | [1648049.201814736] | [0.25000000000000006] | [0.1251539973740899] | [180] | [0.4999999999999999] | [0.0007112] | [6] | [0.85] | dacosta | 60 | swro_single_stage | recovery_0.5_simulation
0.73546 | 4.2244 | 0.5 | 44147.484 | 1.1534 | -356943.6179 | 8.6811e-05 | 2.6604 | 144.5533 | 44.5655 | 4204802.6552 | 8884123.9798 | 69.8405 | 77.7358 | [44147.484000000004] | [1.1534086166608115] | [-356943.61785206833] | [8.681128355261771e-05] | [2.6603835866526997] | [144.55333180991204] | [44.56549878319254] | [4204802.655205287] | [0.25000000000000006] | [0.12515394882180467] | [180] | [0.4999999999999997] | [0.0007112] | [6] | [0.85] | koustou | 60 | swro_single_stage | recovery_0.5_simulation
0.71919 | 4.1042 | 0.5 | 44147.484 | 1.1355 | -197761.8118 | 9.7652e-05 | 1.4756 | 144.9336 | 50.1304 | 2328308.9058 | 8704393.142 | 69.8417 | 76.8035 | [44147.484000000004] | [1.135468526236698] | [-197761.81181352324] | [9.765169100793488e-05] | [1.4755578324563305] | [144.93361132770934] | [50.13042992205888] | [2328308.9058335046] | [0.25000000000000006] | [0.12515396030971082] | [180] | [0.5] | [0.0007112] | [6] | [0.85] | kuroda | 60 | swro_single_stage | recovery_0.5_simulation

## guillen_micro_trend
global_length_domain | velocity | Re | Sh | cp_modulus | K | deltaP | f | Pn
0.1 | 0.2472 | 199.5292 | 31.623 | 1.3152 | 6.1601e-05 | -56629.2792 | 1.3687 | 5436360.6522
0.2 | 0.24442 | 197.1709 | 31.4954 | 1.314 | 6.1348e-05 | -55837.3601 | 1.3801 | 5289357.4589
0.3 | 0.24166 | 194.8303 | 31.3678 | 1.3127 | 6.1094e-05 | -55055.6968 | 1.3916 | 5145864.8835
0.4 | 0.23892 | 192.5077 | 31.2403 | 1.3114 | 6.0841e-05 | -54284.2964 | 1.4033 | 5005831.1162
0.5 | 0.2362 | 190.2034 | 31.1128 | 1.3101 | 6.0588e-05 | -53523.1634 | 1.4153 | 4869204.068
0.6 | 0.23351 | 187.9173 | 30.9853 | 1.3088 | 6.0336e-05 | -52772.1661 | 1.4274 | 4735907.8024
0.7 | 0.23083 | 185.6498 | 30.858 | 1.3074 | 6.0083e-05 | -52031.3094 | 1.4397 | 4605891.5203
0.8 | 0.22818 | 183.401 | 30.7307 | 1.3059 | 5.9831e-05 | -51300.5956 | 1.4522 | 4479104.1769
0.9 | 0.22556 | 181.1711 | 30.6034 | 1.3044 | 5.958e-05 | -50579.8961 | 1.4649 | 4355472.635
1 | 0.22295 | 178.9601 | 30.4763 | 1.3029 | 5.9329e-05 | -49869.2132 | 1.4778 | 4234947.1131
1.1 | 0.22037 | 176.7686 | 30.3494 | 1.3014 | 5.9078e-05 | -49168.5467 | 1.4909 | 4117477.6186
1.2 | 0.21781 | 174.5963 | 30.2225 | 1.2998 | 5.8828e-05 | -48477.7707 | 1.5042 | 4002993.7307
1.3 | 0.21527 | 172.4435 | 30.0958 | 1.2981 | 5.8579e-05 | -47796.8847 | 1.5178 | 3891446.6986
1.4 | 0.21275 | 170.3107 | 29.9693 | 1.2964 | 5.833e-05 | -47125.8857 | 1.5315 | 3782787.5972
1.5 | 0.21026 | 168.1976 | 29.843 | 1.2947 | 5.8082e-05 | -46464.6499 | 1.5455 | 3676948.6481
1.6 | 0.2078 | 166.1046 | 29.7169 | 1.2929 | 5.7834e-05 | -45813.174 | 1.5596 | 3573882.1519
1.7 | 0.20536 | 164.032 | 29.591 | 1.2911 | 5.7587e-05 | -45171.4514 | 1.574 | 3473540.2723
1.8 | 0.20294 | 161.9797 | 29.4654 | 1.2893 | 5.7341e-05 | -44539.3605 | 1.5887 | 3375857.8091
1.9 | 0.20054 | 159.948 | 29.34 | 1.2874 | 5.7096e-05 | -43916.8944 | 1.6035 | 3280788.141
2 | 0.19817 | 157.9372 | 29.2149 | 1.2854 | 5.6852e-05 | -43304.0431 | 1.6186 | 3188284.5495
2.1 | 0.19583 | 155.9473 | 29.0901 | 1.2834 | 5.6608e-05 | -42700.6864 | 1.6339 | 3098284.3567
2.2 | 0.19351 | 153.9784 | 28.9657 | 1.2814 | 5.6366e-05 | -42106.8135 | 1.6494 | 3010742.0536
2.3 | 0.19122 | 152.0309 | 28.8416 | 1.2793 | 5.6124e-05 | -41522.4104 | 1.6651 | 2925612.0736
2.4 | 0.18895 | 150.1047 | 28.7178 | 1.2772 | 5.5884e-05 | -40947.3582 | 1.6811 | 2842834.2155
2.5 | 0.1867 | 148.2001 | 28.5945 | 1.275 | 5.5644e-05 | -40381.6419 | 1.6973 | 2762364.1218
2.6 | 0.18448 | 146.3173 | 28.4716 | 1.2728 | 5.5406e-05 | -39825.2431 | 1.7138 | 2684157.419
2.7 | 0.18229 | 144.4563 | 28.3491 | 1.2705 | 5.5169e-05 | -39278.0437 | 1.7304 | 2608156.3444
2.8 | 0.18013 | 142.6173 | 28.2271 | 1.2682 | 5.4933e-05 | -38740.0239 | 1.7473 | 2534317.7376
2.9 | 0.17799 | 140.8005 | 28.1055 | 1.2658 | 5.4698e-05 | -38211.1609 | 1.7645 | 2462598.4645
3 | 0.17587 | 139.006 | 27.9845 | 1.2634 | 5.4465e-05 | -37691.3367 | 1.7818 | 2392943.1707
3.1 | 0.17379 | 137.2339 | 27.864 | 1.261 | 5.4233e-05 | -37180.5268 | 1.7994 | 2325309.9432
3.2 | 0.17173 | 135.4844 | 27.7441 | 1.2585 | 5.4002e-05 | -36678.7033 | 1.8172 | 2259656.9382
3.3 | 0.16969 | 133.7574 | 27.6248 | 1.2559 | 5.3773e-05 | -36185.7481 | 1.8352 | 2195931.1863
3.4 | 0.16768 | 132.0533 | 27.506 | 1.2534 | 5.3546e-05 | -35701.6313 | 1.8535 | 2134092.0761
3.5 | 0.1657 | 130.3721 | 27.3879 | 1.2507 | 5.332e-05 | -35226.3202 | 1.872 | 2074099.1086
3.6 | 0.16375 | 128.7138 | 27.2705 | 1.2481 | 5.3096e-05 | -34759.6957 | 1.8907 | 2015901.6818
3.7 | 0.16183 | 127.0786 | 27.1538 | 1.2454 | 5.2873e-05 | -34301.7228 | 1.9096 | 1959460.5429
3.8 | 0.15993 | 125.4667 | 27.0377 | 1.2426 | 5.2652e-05 | -33852.363 | 1.9288 | 1904736.5939
3.9 | 0.15806 | 123.8779 | 26.9225 | 1.2398 | 5.2433e-05 | -33411.4965 | 1.9481 | 1851681.5873
4 | 0.15621 | 122.3123 | 26.8079 | 1.237 | 5.2216e-05 | -32979.0826 | 1.9677 | 1800257.6869
4.1 | 0.1544 | 120.7703 | 26.6942 | 1.2342 | 5.2001e-05 | -32555.0772 | 1.9874 | 1750427.2527
4.2 | 0.15261 | 119.2516 | 26.5813 | 1.2313 | 5.1787e-05 | -32139.3593 | 2.0074 | 1702144.3814
4.3 | 0.15085 | 117.7563 | 26.4693 | 1.2284 | 5.1576e-05 | -31731.8824 | 2.0276 | 1655372.7105
4.4 | 0.14912 | 116.2847 | 26.3581 | 1.2254 | 5.1366e-05 | -31332.5966 | 2.0479 | 1610076.1142
4.5 | 0.14741 | 114.8364 | 26.2478 | 1.2224 | 5.1159e-05 | -30941.3796 | 2.0684 | 1566211.0236
4.6 | 0.14574 | 113.4118 | 26.1385 | 1.2194 | 5.0954e-05 | -30558.1789 | 2.0891 | 1523742.605
4.7 | 0.14409 | 112.0107 | 26.0301 | 1.2163 | 5.0751e-05 | -30182.939 | 2.11 | 1482636.2992
4.8 | 0.14247 | 110.6331 | 25.9226 | 1.2133 | 5.055e-05 | -29815.536 | 2.1311 | 1442850.8615
4.9 | 0.14087 | 109.2791 | 25.8162 | 1.2102 | 5.0351e-05 | -29455.9117 | 2.1523 | 1404353.0372
5 | 0.13931 | 107.9486 | 25.7108 | 1.2071 | 5.0155e-05 | -29104.0048 | 2.1736 | 1367109.8808
5.1 | 0.13777 | 106.6416 | 25.6065 | 1.2039 | 4.9961e-05 | -28759.6898 | 2.1951 | 1331082.4587
5.2 | 0.13626 | 105.358 | 25.5032 | 1.2008 | 4.9769e-05 | -28422.9031 | 2.2167 | 1296239.1387
5.3 | 0.13477 | 104.0978 | 25.4011 | 1.1976 | 4.958e-05 | -28093.5776 | 2.2385 | 1262548.6291
5.4 | 0.13332 | 102.8608 | 25.3 | 1.1944 | 4.9393e-05 | -27771.5866 | 2.2604 | 1229974.2889
5.5 | 0.13189 | 101.6471 | 25.2001 | 1.1912 | 4.9209e-05 | -27456.8609 | 2.2823 | 1198486.1438
5.6 | 0.13049 | 100.4567 | 25.1014 | 1.188 | 4.9027e-05 | -27149.3283 | 2.3044 | 1168054.5866
5.7 | 0.12911 | 99.2892 | 25.0039 | 1.1847 | 4.8848e-05 | -26848.8608 | 2.3266 | 1138645.244
5.8 | 0.12777 | 98.1446 | 24.9075 | 1.1815 | 4.8671e-05 | -26555.3842 | 2.3488 | 1110229.824
5.9 | 0.12645 | 97.0229 | 24.8124 | 1.1783 | 4.8497e-05 | -26268.8215 | 2.3711 | 1082780.4244
6 | 0.12515 | 95.9239 | 24.7186 | 1.175 | 4.8325e-05 | -25989.0436 | 2.3934 | 1056264.906

## schock_micro_trend
global_length_domain | velocity | Re | Sh | cp_modulus | K | deltaP | f | Pn
0.1 | 0.2471 | 199.4454 | 33.5834 | 1.3061 | 6.542e-05 | -52592.0655 | 1.2722 | 5046416.0009
0.2 | 0.24422 | 197.0059 | 33.2294 | 1.307 | 6.4725e-05 | -51580.0752 | 1.2769 | 4881487.151
0.3 | 0.24137 | 194.5868 | 32.8778 | 1.3078 | 6.4035e-05 | -50584.5781 | 1.2816 | 4721327.1865
0.4 | 0.23854 | 192.1884 | 32.5286 | 1.3085 | 6.3349e-05 | -49605.5485 | 1.2864 | 4565845.6727
0.5 | 0.23574 | 189.811 | 32.1819 | 1.3092 | 6.2669e-05 | -48642.9544 | 1.2912 | 4414951.9759
0.6 | 0.23296 | 187.4547 | 31.8378 | 1.3099 | 6.1994e-05 | -47696.5898 | 1.296 | 4268529.4866
0.7 | 0.23021 | 185.1198 | 31.4962 | 1.3105 | 6.1325e-05 | -46766.4195 | 1.3009 | 4126489.701
0.8 | 0.22748 | 182.8066 | 31.1572 | 1.311 | 6.0661e-05 | -45852.4021 | 1.3058 | 3988744.006
0.9 | 0.22478 | 180.5151 | 30.8208 | 1.3115 | 6.0002e-05 | -44954.3306 | 1.3108 | 3855180.187
1 | 0.22211 | 178.2457 | 30.4872 | 1.312 | 5.9349e-05 | -44072.1597 | 1.3158 | 3725711.7874
1.1 | 0.21946 | 175.9986 | 30.1562 | 1.3124 | 5.8701e-05 | -43205.838 | 1.3208 | 3600252.3358
1.2 | 0.21684 | 173.7739 | 29.828 | 1.3127 | 5.8059e-05 | -42355.1565 | 1.3258 | 3478693.987
1.3 | 0.21424 | 171.5719 | 29.5027 | 1.3129 | 5.7423e-05 | -41520.0593 | 1.3309 | 3360952.4683
1.4 | 0.21167 | 169.3928 | 29.1801 | 1.3131 | 5.6793e-05 | -40700.484 | 1.336 | 3246943.5922
1.5 | 0.20913 | 167.2368 | 28.8605 | 1.3133 | 5.6169e-05 | -39896.2192 | 1.3412 | 3136563.8812
1.6 | 0.20662 | 165.1041 | 28.5437 | 1.3133 | 5.555e-05 | -39107.1976 | 1.3464 | 3029731.4023
1.7 | 0.20413 | 162.995 | 28.23 | 1.3133 | 5.4938e-05 | -38333.3455 | 1.3516 | 2926364.4117
1.8 | 0.20168 | 160.9094 | 27.9192 | 1.3132 | 5.4332e-05 | -37574.4481 | 1.3568 | 2826363.8197
1.9 | 0.19925 | 158.8478 | 27.6114 | 1.3131 | 5.3732e-05 | -36830.4267 | 1.3621 | 2729650.2044
2 | 0.19685 | 156.8103 | 27.3068 | 1.3128 | 5.3138e-05 | -36101.1957 | 1.3673 | 2636144.4394
2.1 | 0.19447 | 154.7969 | 27.0052 | 1.3125 | 5.2551e-05 | -35386.5366 | 1.3726 | 2545751.8607
2.2 | 0.19213 | 152.8079 | 26.7068 | 1.3121 | 5.197e-05 | -34686.3587 | 1.378 | 2458395.7401
2.3 | 0.18982 | 150.8436 | 26.4115 | 1.3117 | 5.1395e-05 | -34000.5646 | 1.3833 | 2373999.7518
2.4 | 0.18753 | 148.9039 | 26.1195 | 1.3111 | 5.0828e-05 | -33328.9317 | 1.3887 | 2292473.7083
2.5 | 0.18528 | 146.989 | 25.8307 | 1.3105 | 5.0266e-05 | -32671.3573 | 1.3941 | 2213743.7632
2.6 | 0.18305 | 145.0993 | 25.5452 | 1.3097 | 4.9712e-05 | -32027.7324 | 1.3996 | 2137736.5783
2.7 | 0.18085 | 143.2345 | 25.263 | 1.3089 | 4.9164e-05 | -31397.83 | 1.405 | 2064366.5
2.8 | 0.17869 | 141.395 | 24.9841 | 1.308 | 4.8623e-05 | -30781.5359 | 1.4105 | 1993562.751
2.9 | 0.17655 | 139.5809 | 24.7086 | 1.307 | 4.8088e-05 | -30178.7294 | 1.4159 | 1925255.1648
3 | 0.17444 | 137.7921 | 24.4365 | 1.3059 | 4.7561e-05 | -29589.1796 | 1.4214 | 1859362.6791
3.1 | 0.17237 | 136.0289 | 24.1678 | 1.3047 | 4.7041e-05 | -29012.7611 | 1.4269 | 1795817.7655
3.2 | 0.17032 | 134.2913 | 23.9026 | 1.3034 | 4.6527e-05 | -28449.3422 | 1.4324 | 1734553.6015
3.3 | 0.1683 | 132.5793 | 23.6408 | 1.3021 | 4.6021e-05 | -27898.6885 | 1.438 | 1675493.7673
3.4 | 0.16632 | 130.893 | 23.3825 | 1.3006 | 4.5521e-05 | -27360.664 | 1.4435 | 1618574.1469
3.5 | 0.16436 | 129.2325 | 23.1277 | 1.2991 | 4.5029e-05 | -26835.1272 | 1.449 | 1563731.4168
3.6 | 0.16244 | 127.5977 | 22.8765 | 1.2975 | 4.4543e-05 | -26321.8407 | 1.4546 | 1510893.8355
3.7 | 0.16054 | 125.9887 | 22.6287 | 1.2957 | 4.4065e-05 | -25820.6589 | 1.4601 | 1460000.8398
3.8 | 0.15868 | 124.4055 | 22.3846 | 1.2939 | 4.3594e-05 | -25331.4314 | 1.4657 | 1410992.7343
3.9 | 0.15685 | 122.848 | 22.144 | 1.292 | 4.313e-05 | -24853.9189 | 1.4712 | 1363802.4703
4 | 0.15504 | 121.3162 | 21.9069 | 1.29 | 4.2673e-05 | -24387.9677 | 1.4768 | 1318373.1477
4.1 | 0.15327 | 119.8101 | 21.6735 | 1.2879 | 4.2224e-05 | -23933.4197 | 1.4823 | 1274648.7958
4.2 | 0.15153 | 118.3296 | 21.4436 | 1.2858 | 4.1781e-05 | -23490.0346 | 1.4879 | 1232567.0454
4.3 | 0.14981 | 116.8747 | 21.2174 | 1.2835 | 4.1346e-05 | -23057.6522 | 1.4934 | 1192074.7336
4.4 | 0.14813 | 115.4453 | 20.9947 | 1.2812 | 4.0918e-05 | -22636.1084 | 1.4989 | 1153119.6737
4.5 | 0.14648 | 114.0413 | 20.7756 | 1.2788 | 4.0497e-05 | -22225.1632 | 1.5044 | 1115644.1297
4.6 | 0.14485 | 112.6625 | 20.5601 | 1.2763 | 4.0083e-05 | -21824.6513 | 1.5099 | 1079598.7104
4.7 | 0.14326 | 111.309 | 20.3482 | 1.2738 | 3.9676e-05 | -21434.4043 | 1.5154 | 1044935.0304
4.8 | 0.1417 | 109.9803 | 20.1399 | 1.2712 | 3.9277e-05 | -21054.184 | 1.5209 | 1011599.9062
4.9 | 0.14016 | 108.6766 | 19.9351 | 1.2685 | 3.8884e-05 | -20683.8217 | 1.5263 | 979547.7091
5 | 0.13866 | 107.3977 | 19.7339 | 1.2657 | 3.8499e-05 | -20323.1465 | 1.5318 | 948733.8305
5.1 | 0.13718 | 106.1432 | 19.5363 | 1.2629 | 3.812e-05 | -19971.9234 | 1.5372 | 919109.5216
5.2 | 0.13573 | 104.9131 | 19.3421 | 1.26 | 3.7749e-05 | -19629.9822 | 1.5425 | 890632.8654
5.3 | 0.13431 | 103.7073 | 19.1515 | 1.2571 | 3.7384e-05 | -19297.151 | 1.5479 | 863262.9625
5.4 | 0.13292 | 102.5253 | 18.9644 | 1.2541 | 3.7026e-05 | -18973.1995 | 1.5532 | 836955.3462
5.5 | 0.13156 | 101.3671 | 18.7808 | 1.251 | 3.6676e-05 | -18657.9577 | 1.5585 | 811671.7195
5.6 | 0.13022 | 100.2325 | 18.6006 | 1.2479 | 3.6332e-05 | -18351.2546 | 1.5638 | 787374.7854
5.7 | 0.12892 | 99.1211 | 18.4239 | 1.2448 | 3.5994e-05 | -18052.8657 | 1.5691 | 764024.1748
5.8 | 0.12764 | 98.0328 | 18.2505 | 1.2416 | 3.5664e-05 | -17762.623 | 1.5743 | 741585.0816
5.9 | 0.12638 | 96.9673 | 18.0806 | 1.2384 | 3.534e-05 | -17480.3579 | 1.5794 | 720023.6696
6 | 0.12515 | 95.9243 | 17.914 | 1.2352 | 3.5022e-05 | -17205.8531 | 1.5846 | 699303.4551

## dacosta_micro_trend
global_length_domain | velocity | Re | Sh | cp_modulus | K | deltaP | f | Pn
0.1 | 0.24727 | 199.59 | 111.8117 | 1.0784 | 0.00021781 | -39483.5786 | 0.95377 | 3791681.0092
0.2 | 0.24456 | 197.2894 | 111.1891 | 1.0784 | 0.00021658 | -38740.4539 | 0.95643 | 3672275.4847
0.3 | 0.24186 | 195.0035 | 110.5669 | 1.0783 | 0.00021535 | -38008.1477 | 0.95911 | 3556034.9925
0.4 | 0.23919 | 192.7326 | 109.9451 | 1.0782 | 0.00021412 | -37286.6597 | 0.96181 | 3442908.2061
0.5 | 0.23653 | 190.4771 | 109.324 | 1.0782 | 0.0002129 | -36575.9868 | 0.96453 | 3332843.5406
0.6 | 0.23388 | 188.2368 | 108.7033 | 1.0781 | 0.00021167 | -35875.998 | 0.96727 | 3225770.2459
0.7 | 0.23126 | 186.0121 | 108.0834 | 1.078 | 0.00021045 | -35186.6897 | 0.97004 | 3121637.892
0.8 | 0.22866 | 183.8033 | 107.4642 | 1.0779 | 0.00020923 | -34508.0549 | 0.97282 | 3020395.8312
0.9 | 0.22607 | 181.6103 | 106.8457 | 1.0777 | 0.00020801 | -33839.9648 | 0.97563 | 2921975.8315
1 | 0.22351 | 179.4335 | 106.2281 | 1.0776 | 0.0002068 | -33182.4119 | 0.97846 | 2826328.3903
1.1 | 0.22096 | 177.2732 | 105.6115 | 1.0775 | 0.00020559 | -32535.3854 | 0.98131 | 2733403.8296
1.2 | 0.21843 | 175.1293 | 104.9958 | 1.0773 | 0.00020438 | -31898.7581 | 0.98418 | 2643136.3798
1.3 | 0.21593 | 173.0023 | 104.3813 | 1.0772 | 0.00020317 | -31272.5182 | 0.98707 | 2555477.5045
1.4 | 0.21344 | 170.8924 | 103.7679 | 1.077 | 0.00020197 | -30656.6506 | 0.98998 | 2470378.5351
1.5 | 0.21097 | 168.7995 | 103.1558 | 1.0768 | 0.00020077 | -30051.0295 | 0.99291 | 2387776.1194
1.6 | 0.20853 | 166.7241 | 102.545 | 1.0766 | 0.00019957 | -29455.6385 | 0.99586 | 2307622.7324
1.7 | 0.2061 | 164.6665 | 101.9356 | 1.0764 | 0.00019838 | -28870.458 | 0.99883 | 2229870.763
1.8 | 0.2037 | 162.6267 | 101.3278 | 1.0762 | 0.00019719 | -28295.3628 | 1.0018 | 2154459.2402
1.9 | 0.20132 | 160.6049 | 100.7215 | 1.076 | 0.00019601 | -27730.3317 | 1.0048 | 2081341.7042
2 | 0.19896 | 158.6016 | 100.117 | 1.0757 | 0.00019483 | -27175.3403 | 1.0079 | 2010471.6556
2.1 | 0.19662 | 156.6167 | 99.5143 | 1.0755 | 0.00019365 | -26630.2635 | 1.0109 | 1941790.4785
2.2 | 0.1943 | 154.6507 | 98.9135 | 1.0752 | 0.00019248 | -26095.0751 | 1.014 | 1875252.8379
2.3 | 0.19201 | 152.7037 | 98.3148 | 1.0749 | 0.00019132 | -25569.7453 | 1.0171 | 1810813.4078
2.4 | 0.18974 | 150.7759 | 97.7181 | 1.0746 | 0.00019015 | -25054.149 | 1.0202 | 1748415.9101
2.5 | 0.18749 | 148.8675 | 97.1237 | 1.0743 | 0.000189 | -24548.2544 | 1.0233 | 1688016.2008
2.6 | 0.18526 | 146.9789 | 96.5317 | 1.074 | 0.00018785 | -24052.0261 | 1.0264 | 1629570.1946
2.7 | 0.18306 | 145.1102 | 95.9421 | 1.0736 | 0.00018671 | -23565.3385 | 1.0296 | 1573023.9419
2.8 | 0.18089 | 143.2616 | 95.3551 | 1.0733 | 0.00018557 | -23088.1539 | 1.0328 | 1518334.5618
2.9 | 0.17873 | 141.4336 | 94.7709 | 1.0729 | 0.00018444 | -22620.4308 | 1.036 | 1465459.2822
3 | 0.1766 | 139.626 | 94.1895 | 1.0725 | 0.00018331 | -22162.043 | 1.0392 | 1414346.4801
3.1 | 0.1745 | 137.8393 | 93.611 | 1.0721 | 0.0001822 | -21712.9465 | 1.0424 | 1364954.6139
3.2 | 0.17242 | 136.0737 | 93.0357 | 1.0716 | 0.00018109 | -21273.0937 | 1.0456 | 1317242.3009
3.3 | 0.17037 | 134.3293 | 92.4636 | 1.0712 | 0.00017998 | -20842.3568 | 1.0489 | 1271160.2493
3.4 | 0.16834 | 132.6064 | 91.8949 | 1.0707 | 0.00017889 | -20420.6857 | 1.0521 | 1226668.3359
3.5 | 0.16633 | 130.9054 | 91.3297 | 1.0703 | 0.0001778 | -20008.0262 | 1.0554 | 1183726.6463
3.6 | 0.16436 | 129.2261 | 90.7681 | 1.0698 | 0.00017672 | -19604.2489 | 1.0587 | 1142288.2291
3.7 | 0.16241 | 127.569 | 90.2104 | 1.0692 | 0.00017565 | -19209.2971 | 1.0619 | 1102314.4596
3.8 | 0.16048 | 125.9343 | 89.6565 | 1.0687 | 0.00017459 | -18823.11 | 1.0652 | 1063766.9717
3.9 | 0.15858 | 124.322 | 89.1067 | 1.0681 | 0.00017354 | -18445.5564 | 1.0685 | 1026601.1662
4 | 0.15671 | 122.7325 | 88.5612 | 1.0676 | 0.00017249 | -18076.5726 | 1.0718 | 990779.9969
4.1 | 0.15487 | 121.1659 | 88.02 | 1.067 | 0.00017146 | -17716.0914 | 1.0751 | 956266.7238
4.2 | 0.15305 | 119.6223 | 87.4833 | 1.0664 | 0.00017043 | -17363.9793 | 1.0785 | 923019.1127
4.3 | 0.15126 | 118.102 | 86.9512 | 1.0657 | 0.00016942 | -17020.166 | 1.0818 | 891001.7732
4.4 | 0.1495 | 116.6051 | 86.424 | 1.0651 | 0.00016842 | -16684.5774 | 1.0851 | 860179.6655
4.5 | 0.14776 | 115.1317 | 85.9017 | 1.0644 | 0.00016742 | -16357.078 | 1.0884 | 830512.932
4.6 | 0.14606 | 113.6819 | 85.3845 | 1.0637 | 0.00016644 | -16037.5908 | 1.0917 | 801967.909
4.7 | 0.14438 | 112.256 | 84.8726 | 1.063 | 0.00016547 | -15726.0351 | 1.095 | 774511.3255
4.8 | 0.14273 | 110.854 | 84.366 | 1.0623 | 0.00016451 | -15422.2733 | 1.0983 | 748105.7072
4.9 | 0.14111 | 109.476 | 83.8649 | 1.0616 | 0.00016356 | -15126.2218 | 1.1016 | 722719.181
5 | 0.13951 | 108.1223 | 83.3695 | 1.0608 | 0.00016263 | -14837.7936 | 1.1049 | 698320.3033
5.1 | 0.13795 | 106.7926 | 82.8799 | 1.0601 | 0.0001617 | -14556.8491 | 1.1082 | 674873.9839
5.2 | 0.13641 | 105.4872 | 82.3963 | 1.0593 | 0.00016079 | -14283.2986 | 1.1115 | 652350.1928
5.3 | 0.1349 | 104.2063 | 81.9187 | 1.0585 | 0.00015989 | -14017.0493 | 1.1148 | 630719.3611
5.4 | 0.13342 | 102.9496 | 81.4473 | 1.0577 | 0.00015901 | -13757.9595 | 1.118 | 609948.7741
5.5 | 0.13197 | 101.7174 | 80.9823 | 1.0568 | 0.00015813 | -13505.9342 | 1.1213 | 590010.2838
5.6 | 0.13055 | 100.5096 | 80.5237 | 1.056 | 0.00015727 | -13260.8749 | 1.1245 | 570876.2295
5.7 | 0.12916 | 99.3262 | 80.0716 | 1.0551 | 0.00015643 | -13022.6389 | 1.1277 | 552516.2515
5.8 | 0.1278 | 98.1672 | 79.6263 | 1.0543 | 0.00015559 | -12791.1258 | 1.1309 | 534904.1077
5.9 | 0.12646 | 97.0326 | 79.1877 | 1.0534 | 0.00015478 | -12566.2327 | 1.134 | 518014.0621
6 | 0.12515 | 95.9222 | 78.756 | 1.0525 | 0.00015397 | -12347.816 | 1.1372 | 501818.0761

## koustou_micro_trend
global_length_domain | velocity | Re | Sh | cp_modulus | K | deltaP | f | Pn
0.1 | 0.24717 | 199.5017 | 54.1229 | 1.1758 | 0.00010543 | -104446.3214 | 2.5251 | 10025204.3999
0.2 | 0.24435 | 197.1172 | 53.7676 | 1.1755 | 0.00010473 | -102285.1742 | 2.5294 | 9686297.2246
0.3 | 0.24157 | 194.7515 | 53.4133 | 1.1753 | 0.00010403 | -100161.9025 | 2.5337 | 9357530.3703
0.4 | 0.2388 | 192.4051 | 53.06 | 1.175 | 0.00010334 | -98076.2831 | 2.538 | 9038686.5882
0.5 | 0.23606 | 190.0781 | 52.7079 | 1.1747 | 0.00010264 | -96028.0851 | 2.5423 | 8729550.1169
0.6 | 0.23334 | 187.7705 | 52.3567 | 1.1744 | 0.00010195 | -94016.7125 | 2.5466 | 8429853.879
0.7 | 0.23064 | 185.4824 | 52.0068 | 1.1741 | 0.00010126 | -92041.9388 | 2.551 | 8139390.2351
0.8 | 0.22796 | 183.2143 | 51.658 | 1.1737 | 0.00010058 | -90103.5294 | 2.5554 | 7857953.0277
0.9 | 0.22531 | 180.9658 | 51.3104 | 1.1733 | 9.9892e-05 | -88200.9038 | 2.5598 | 7585289.5745
1 | 0.22269 | 178.7374 | 50.9641 | 1.1729 | 9.9212e-05 | -86333.8308 | 2.5643 | 7321201.48
1.1 | 0.22008 | 176.5294 | 50.6191 | 1.1725 | 9.8535e-05 | -84502.0707 | 2.5687 | 7065491.8393
1.2 | 0.21751 | 174.3415 | 50.2753 | 1.172 | 9.7861e-05 | -82705.0568 | 2.5732 | 6817921.6821
1.3 | 0.21495 | 172.1741 | 49.933 | 1.1716 | 9.719e-05 | -80942.5518 | 2.5777 | 6578301.5501
1.4 | 0.21242 | 170.0275 | 49.5921 | 1.1711 | 9.6522e-05 | -79214.3097 | 2.5823 | 6346443.4967
1.5 | 0.20992 | 167.9015 | 49.2526 | 1.1705 | 9.5857e-05 | -77519.7757 | 2.5868 | 6122121.653
1.6 | 0.20744 | 165.7965 | 48.9147 | 1.17 | 9.5196e-05 | -75858.7053 | 2.5914 | 5905155.2443
1.7 | 0.20498 | 163.7127 | 48.5783 | 1.1694 | 9.4538e-05 | -74230.8452 | 2.596 | 5695365.0404
1.8 | 0.20255 | 161.6501 | 48.2434 | 1.1688 | 9.3884e-05 | -72635.6509 | 2.6006 | 5492537.7293
1.9 | 0.20014 | 159.6089 | 47.9103 | 1.1682 | 9.3234e-05 | -71072.8694 | 2.6052 | 5296501.0148
2 | 0.19776 | 157.5894 | 47.5788 | 1.1675 | 9.2587e-05 | -69542.2392 | 2.6099 | 5107084.1867
2.1 | 0.19541 | 155.5915 | 47.2491 | 1.1668 | 9.1945e-05 | -68043.2244 | 2.6146 | 4924086.0057
2.2 | 0.19308 | 153.6156 | 46.9212 | 1.166 | 9.1306e-05 | -66575.563 | 2.6192 | 4747342.4901
2.3 | 0.19078 | 151.6618 | 46.5951 | 1.1653 | 9.0672e-05 | -65138.9842 | 2.6239 | 4576691.2936
2.4 | 0.18851 | 149.7301 | 46.271 | 1.1645 | 9.0041e-05 | -63732.9595 | 2.6286 | 4411942.8184
2.5 | 0.18626 | 147.8208 | 45.9488 | 1.1637 | 8.9415e-05 | -62357.217 | 2.6334 | 4252941.269
2.6 | 0.18403 | 145.9341 | 45.6286 | 1.1628 | 8.8794e-05 | -61011.4761 | 2.6381 | 4099532.5392
2.7 | 0.18184 | 144.07 | 45.3105 | 1.1619 | 8.8177e-05 | -59695.2146 | 2.6429 | 3951538.2872
2.8 | 0.17967 | 142.2287 | 44.9945 | 1.161 | 8.7565e-05 | -58408.1502 | 2.6476 | 3808810.803
2.9 | 0.17753 | 140.4105 | 44.6808 | 1.16 | 8.6957e-05 | -57149.992 | 2.6524 | 3671204.1226
3 | 0.17541 | 138.6153 | 44.3692 | 1.159 | 8.6354e-05 | -55920.223 | 2.6572 | 3538550.8125
3.1 | 0.17333 | 136.8433 | 44.06 | 1.1579 | 8.5757e-05 | -54718.5506 | 2.662 | 3410711.1673
3.2 | 0.17127 | 135.0948 | 43.7531 | 1.1569 | 8.5164e-05 | -53544.6734 | 2.6668 | 3287547.2848
3.3 | 0.16924 | 133.3696 | 43.4486 | 1.1557 | 8.4577e-05 | -52398.0791 | 2.6716 | 3168902.321
3.4 | 0.16723 | 131.6681 | 43.1466 | 1.1546 | 8.3995e-05 | -51278.4645 | 2.6764 | 3054644.5067
3.5 | 0.16526 | 129.9905 | 42.8472 | 1.1534 | 8.3418e-05 | -50185.5179 | 2.6812 | 2944643.93
3.6 | 0.16331 | 128.3365 | 42.5503 | 1.1522 | 8.2847e-05 | -49118.7315 | 2.686 | 2838754.038
3.7 | 0.16139 | 126.7065 | 42.2562 | 1.1509 | 8.2282e-05 | -48077.7917 | 2.6908 | 2736850.9322
3.8 | 0.1595 | 125.1007 | 41.9647 | 1.1496 | 8.1722e-05 | -47062.3771 | 2.6956 | 2638812.6198
3.9 | 0.15764 | 123.5188 | 41.676 | 1.1483 | 8.1169e-05 | -46071.9842 | 2.7004 | 2544502.5525
4 | 0.1558 | 121.9612 | 41.3901 | 1.1469 | 8.0621e-05 | -45106.2898 | 2.7052 | 2453804.6315
4.1 | 0.154 | 120.4279 | 41.1071 | 1.1455 | 8.0079e-05 | -44164.9637 | 2.71 | 2366604.7039
4.2 | 0.15222 | 118.9189 | 40.8271 | 1.1441 | 7.9544e-05 | -43247.5066 | 2.7148 | 2282775.9421
4.3 | 0.15047 | 117.4342 | 40.5501 | 1.1426 | 7.9015e-05 | -42353.587 | 2.7196 | 2202209.9619
4.4 | 0.14875 | 115.9741 | 40.2761 | 1.1411 | 7.8492e-05 | -41482.8667 | 2.7244 | 2124800.3544
4.5 | 0.14706 | 114.5383 | 40.0052 | 1.1395 | 7.7976e-05 | -40634.8516 | 2.7291 | 2050429.7234
4.6 | 0.1454 | 113.127 | 39.7375 | 1.138 | 7.7466e-05 | -39809.2031 | 2.7339 | 1978997.2928
4.7 | 0.14377 | 111.7402 | 39.473 | 1.1364 | 7.6963e-05 | -39005.5763 | 2.7386 | 1910404.2777
4.8 | 0.14217 | 110.3779 | 39.2118 | 1.1347 | 7.6467e-05 | -38223.4833 | 2.7433 | 1844542.4109
4.9 | 0.14059 | 109.04 | 38.9539 | 1.1331 | 7.5977e-05 | -37462.5798 | 2.748 | 1781318.3893
5 | 0.13905 | 107.7267 | 38.6994 | 1.1314 | 7.5494e-05 | -36722.5163 | 2.7526 | 1720640.9015
5.1 | 0.13753 | 106.4376 | 38.4482 | 1.1296 | 7.5019e-05 | -36002.812 | 2.7573 | 1662410.4881
5.2 | 0.13604 | 105.173 | 38.2005 | 1.1279 | 7.455e-05 | -35303.1189 | 2.7619 | 1606541.1497
5.3 | 0.13458 | 103.9327 | 37.9563 | 1.1261 | 7.4089e-05 | -34623.0848 | 2.7665 | 1552948.8631
5.4 | 0.13315 | 102.7166 | 37.7156 | 1.1243 | 7.3634e-05 | -33962.2373 | 2.7711 | 1501542.6315
5.5 | 0.13175 | 101.5246 | 37.4785 | 1.1225 | 7.3187e-05 | -33320.227 | 2.7756 | 1452243.5525
5.6 | 0.13037 | 100.3567 | 37.245 | 1.1206 | 7.2747e-05 | -32696.701 | 2.7801 | 1404974.6676
5.7 | 0.12903 | 99.2127 | 37.0151 | 1.1188 | 7.2314e-05 | -32091.1971 | 2.7846 | 1359653.0711
5.8 | 0.12771 | 98.0925 | 36.7888 | 1.1169 | 7.1889e-05 | -31503.3665 | 2.789 | 1316206.7122
5.9 | 0.12642 | 96.996 | 36.5663 | 1.115 | 7.1471e-05 | -30932.858 | 2.7934 | 1274565.4348
6 | 0.12515 | 95.923 | 36.3474 | 1.113 | 7.106e-05 | -30379.2211 | 2.7977 | 1234654.0258

## kuroda_micro_trend
global_length_domain | velocity | Re | Sh | cp_modulus | K | deltaP | f | Pn
0.1 | 0.24722 | 199.5518 | 59.4478 | 1.1553 | 0.0001158 | -56474.3153 | 1.3647 | 5422169.822
0.2 | 0.24447 | 197.2147 | 59.1114 | 1.1551 | 0.00011514 | -55374.8715 | 1.3681 | 5246853.7122
0.3 | 0.24173 | 194.8942 | 58.7755 | 1.1549 | 0.00011448 | -54292.6548 | 1.3715 | 5076412.733
0.4 | 0.23902 | 192.5904 | 58.44 | 1.1546 | 0.00011381 | -53227.6287 | 1.3749 | 4910758.4388
0.5 | 0.23632 | 190.3036 | 58.105 | 1.1544 | 0.00011315 | -52179.7517 | 1.3784 | 4749802.3192
0.6 | 0.23365 | 188.0339 | 57.7705 | 1.1541 | 0.00011249 | -51148.7945 | 1.3818 | 4593428.2166
0.7 | 0.23099 | 185.7814 | 57.4365 | 1.1538 | 0.00011183 | -50134.7153 | 1.3853 | 4441550.0439
0.8 | 0.22836 | 183.5466 | 57.1032 | 1.1535 | 0.00011118 | -49137.4674 | 1.3889 | 4294081.7027
0.9 | 0.22574 | 181.3293 | 56.7704 | 1.1531 | 0.00011052 | -48156.825 | 1.3924 | 4150911.8488
1 | 0.22315 | 179.1298 | 56.4384 | 1.1528 | 0.00010987 | -47192.7407 | 1.396 | 4011956.7631
1.1 | 0.22058 | 176.9485 | 56.107 | 1.1524 | 0.00010922 | -46245.1618 | 1.3996 | 3877132.7719
1.2 | 0.21803 | 174.7852 | 55.7764 | 1.152 | 0.00010857 | -45313.8656 | 1.4032 | 3746333.2111
1.3 | 0.2155 | 172.6404 | 55.4465 | 1.1516 | 0.00010792 | -44398.7983 | 1.4069 | 3619476.754
1.4 | 0.213 | 170.5144 | 55.1175 | 1.1511 | 0.00010728 | -43499.901 | 1.4105 | 3496482.1791
1.5 | 0.21051 | 168.407 | 54.7894 | 1.1506 | 0.00010663 | -42616.9532 | 1.4142 | 3377247.3886
1.6 | 0.20805 | 166.3186 | 54.4622 | 1.1501 | 0.00010599 | -41749.8944 | 1.4179 | 3261693.4863
1.7 | 0.20561 | 164.2496 | 54.136 | 1.1496 | 0.00010536 | -40898.6589 | 1.4216 | 3149741.7438
1.8 | 0.2032 | 162.1998 | 53.8108 | 1.1491 | 0.00010472 | -40063.0277 | 1.4254 | 3041294.5341
1.9 | 0.2008 | 160.1696 | 53.4866 | 1.1485 | 0.00010409 | -39242.9331 | 1.4292 | 2936275.4425
2 | 0.19844 | 158.1594 | 53.1637 | 1.1479 | 0.00010346 | -38438.3022 | 1.433 | 2834608.2871
2.1 | 0.19609 | 156.169 | 52.8418 | 1.1473 | 0.00010283 | -37648.9169 | 1.4368 | 2736199.833
2.2 | 0.19377 | 154.1989 | 52.5212 | 1.1466 | 0.0001022 | -36874.7019 | 1.4406 | 2640976.2094
2.3 | 0.19147 | 152.2492 | 52.202 | 1.146 | 0.00010158 | -36115.5766 | 1.4445 | 2548863.8447
2.4 | 0.1892 | 150.32 | 51.884 | 1.1453 | 0.00010096 | -35371.3233 | 1.4484 | 2459773.8329
2.5 | 0.18695 | 148.4117 | 51.5675 | 1.1445 | 0.00010035 | -34641.8586 | 1.4522 | 2373634.9187
2.6 | 0.18473 | 146.5244 | 51.2524 | 1.1438 | 9.9737e-05 | -33927.0941 | 1.4562 | 2290376.2135
2.7 | 0.18253 | 144.6582 | 50.9388 | 1.143 | 9.9129e-05 | -33226.8116 | 1.4601 | 2209913.09
2.8 | 0.18036 | 142.8134 | 50.6269 | 1.1421 | 9.8525e-05 | -32540.9196 | 1.464 | 2132176.9874
2.9 | 0.17821 | 140.9902 | 50.3166 | 1.1413 | 9.7924e-05 | -31869.3213 | 1.468 | 2057099.7794
3 | 0.17609 | 139.1887 | 50.008 | 1.1404 | 9.7328e-05 | -31211.798 | 1.4719 | 1984601.0773
3.1 | 0.17399 | 137.4091 | 49.7011 | 1.1395 | 9.6735e-05 | -30568.2497 | 1.4759 | 1914615.0987
3.2 | 0.17192 | 135.6517 | 49.3962 | 1.1385 | 9.6147e-05 | -29938.571 | 1.4799 | 1847076.5619
3.3 | 0.16988 | 133.9165 | 49.0931 | 1.1375 | 9.5562e-05 | -29322.5422 | 1.4839 | 1781909.2855
3.4 | 0.16786 | 132.2038 | 48.792 | 1.1365 | 9.4983e-05 | -28720.0548 | 1.4879 | 1719050.3501
3.5 | 0.16587 | 130.5137 | 48.493 | 1.1355 | 9.4408e-05 | -28130.9948 | 1.492 | 1658437.4017
3.6 | 0.16391 | 128.8464 | 48.196 | 1.1344 | 9.3837e-05 | -27555.1413 | 1.496 | 1599998.4388
3.7 | 0.16197 | 127.2019 | 47.9013 | 1.1333 | 9.3272e-05 | -26992.3772 | 1.5 | 1543673.4883
3.8 | 0.16006 | 125.5806 | 47.6088 | 1.1321 | 9.2711e-05 | -26442.5802 | 1.5041 | 1489403.2034
3.9 | 0.15818 | 123.9824 | 47.3186 | 1.1309 | 9.2155e-05 | -25905.528 | 1.5081 | 1437119.7365
4 | 0.15633 | 122.4076 | 47.0308 | 1.1297 | 9.1605e-05 | -25381.0951 | 1.5122 | 1386766.1378
4.1 | 0.1545 | 120.8563 | 46.7454 | 1.1285 | 9.106e-05 | -24869.151 | 1.5163 | 1338286.1405
4.2 | 0.1527 | 119.3284 | 46.4626 | 1.1272 | 9.0521e-05 | -24369.472 | 1.5203 | 1291616.0217
4.3 | 0.15093 | 117.8242 | 46.1824 | 1.1259 | 8.9987e-05 | -23881.9248 | 1.5244 | 1246701.9226
4.4 | 0.14919 | 116.3439 | 45.9048 | 1.1246 | 8.9458e-05 | -23406.3709 | 1.5284 | 1203490.7181
4.5 | 0.14747 | 114.8873 | 45.63 | 1.1232 | 8.8936e-05 | -22942.5858 | 1.5325 | 1161922.7739
4.6 | 0.14579 | 113.4547 | 45.3579 | 1.1218 | 8.8419e-05 | -22490.4284 | 1.5365 | 1121947.3764
4.7 | 0.14413 | 112.0461 | 45.0887 | 1.1204 | 8.7909e-05 | -22049.7533 | 1.5405 | 1083514.5887
4.8 | 0.1425 | 110.6614 | 44.8225 | 1.1189 | 8.7405e-05 | -21620.335 | 1.5446 | 1046568.819
4.9 | 0.1409 | 109.3009 | 44.5592 | 1.1175 | 8.6907e-05 | -21202.0258 | 1.5486 | 1011062.5351
5 | 0.13933 | 107.9645 | 44.299 | 1.116 | 8.6415e-05 | -20794.6738 | 1.5526 | 976949.0165
5.1 | 0.13778 | 106.6521 | 44.0418 | 1.1144 | 8.593e-05 | -20398.0534 | 1.5566 | 944176.6533
5.2 | 0.13627 | 105.3639 | 43.7879 | 1.1129 | 8.5452e-05 | -20012.011 | 1.5606 | 912701.1105
5.3 | 0.13478 | 104.0999 | 43.5372 | 1.1113 | 8.498e-05 | -19636.3892 | 1.5645 | 882478.8904
5.4 | 0.13332 | 102.8599 | 43.2897 | 1.1097 | 8.4515e-05 | -19270.963 | 1.5685 | 853462.2873
5.5 | 0.13189 | 101.6439 | 43.0456 | 1.1081 | 8.4056e-05 | -18915.5737 | 1.5724 | 825610.1556
5.6 | 0.13048 | 100.452 | 42.8049 | 1.1064 | 8.3605e-05 | -18570.0598 | 1.5763 | 798882.2025
5.7 | 0.12911 | 99.284 | 42.5676 | 1.1048 | 8.3161e-05 | -18234.1975 | 1.5802 | 773234.5293
5.8 | 0.12776 | 98.1398 | 42.3338 | 1.1031 | 8.2723e-05 | -17907.8247 | 1.584 | 748629.1469
5.9 | 0.12644 | 97.0195 | 42.1035 | 1.1014 | 8.2293e-05 | -17590.7763 | 1.5878 | 725028.9235
6 | 0.12515 | 95.9228 | 41.8768 | 1.0997 | 8.187e-05 | -17282.8312 | 1.5916 | 702393.6502

## cv_results
Variable | CV (%)
LCOW | 3.5815
Energy Consumption | 3.92
Volumetric Recovery | 0
Total membrane area | 0
Average cp (TDS) | 6.908
Total pressure drop | -32.8673
Average K (TDS) | 51.4993
Average f | 32.4346
Average Re | 0.27755
Average Sh | 51.4993
Average Pn | 33.1688
Operating pressure | 3.8099
Outlet bulk concentration | 0.0074952
Outlet interface concentration | 5.5886
nfe | 0