## Sheet1
LCOW | Energy Consumption | Volumetric Recovery | Total membrane area | Average cp (TDS) | Total pressure drop | Average K (TDS) | Average f | Average Re | Average Sh | Average Pn | Operating pressure | Outlet bulk concentration | Outlet interface concentration | Average telescoping potential | Membrane area list | cp (TDS) list | Pressure drop list | K (TDS) list | f list | Re list | Sh (TDS) list | Pn list | Inlet velocity list | Outlet velocity list | Number of pressure vessels list | Recovery list | Channel height list | Length list | Porosity list | Telescoping potential list | levelized_mem_cost | levelized_pump_cost | levelized_operating_cost | l_stage1 | pv_stage1 | l_stage2 | pv_stage2 | l_stage3 | pv_stage3
0.17862 | 1.0054 | 0.85 | 73798.7431 | 1.1363 | -47629.4141 | 9.68e-05 | 0.16436 | 99.31 | 30.589 | 58625.5405 | 2819054.2776 | 33.1472 | 34.0012 | 0.051672 | [35448.62785766528, 21950.395029521027, 16399.720207620674] | [1.2319001332928743, 1.130882832741352, 1.0460281796594169] | [-9169.21608387104, -15625.029609115392, -22835.168359882024] | [9.296684348447629e-05, 9.787442907771997e-05, 9.95574515097305e-05] | [0.16670503232007428, 0.1632083841992971, 0.1631601031909617] | [96.6974922180095, 102.66647898902423, 98.56610667048838] | [29.501269269590143, 31.30866762516704, 30.956949063241847] | [55675.13303246566, 64144.70624508477, 56056.782143442324] | [0.23646519284833767, 0.25056790796574424, 0.2201841958765675] | [0.10343739681915103, 0.12233001321784999, 0.15473353026810718] | [281.0, 116.0, 65.0] | [0.5625865394476656, 0.5118646988894041, 0.29737708223954845] | [0.00030000005529172685, 0.00030000008523795024, 0.0003000000952448945] | [2.0, 3.0, 4.0] | [0.9499981839913675, 0.9499991459001939, 0.9419215168750364] | [0.04584608041935521, 0.05208343203038464, 0.057087920899705054] | 0.015355 | 0.053698 | 0.10717 | 2 | 281 | 3 | 116 | 4 | 65
0.17854 | 1.004 | 0.85 | 74051.0335 | 1.136 | -47783.8069 | 9.6666e-05 | 0.16473 | 98.5735 | 30.3846 | 57525.4375 | 2815280.41 | 33.1465 | 33.9957 | 0.051828 | [35448.62314678547, 21950.390480658087, 16652.01984469178] | [1.2313521218448225, 1.1306187490570778, 1.0461297435032633] | [-9179.25313204895, -15693.070508850422, -22911.48321090311] | [9.302702171893893e-05, 9.810765311378464e-05, 9.886182607043187e-05] | [0.16666178433421652, 0.16307080370947502, 0.1644591664477664] | [96.75706910635066, 102.93142324843316, 96.03214314103569] | [29.51984872912958, 31.38214932128447, 30.25181341330883] | [55754.67226824815, 64585.41941919432, 52236.220760971046] | [0.23646585281754626, 0.2510104997849003, 0.21842027918446297] | [0.10362027994223783, 0.12272869252223939, 0.15299548926793421] | [281.0, 116.0, 66.0] | [0.5618143015627703, 0.5111367605473023, 0.29965972275600805] | [0.00030000015591844073, 0.00030000024215540497, 0.0003000002657983491] | [2.0, 3.0, 4.0] | [0.9499953401727806, 0.9499978078816619, 0.9381878100437735] | [0.04589626566024475, 0.0523102350295014, 0.05727870802725777] | 0.015408 | 0.053624 | 0.10712 | 2 | 281 | 3 | 116 | 4 | 66
0.17754 | 0.98378 | 0.85 | 77898.668 | 1.131 | -53614.3202 | 9.8381e-05 | 0.16277 | 102.5743 | 31.4551 | 63835.9475 | 2759803.827 | 33.1356 | 33.8292 | 0.052499 | [35448.62643124434, 21950.39286880627, 20499.648712521073] | [1.2233909712714868, 1.1266432245069116, 1.0428713421733056] | [-9324.480520875442, -16722.05665691772, -27567.78301736581] | [9.390887379598289e-05, 0.00010158785161350244, 9.964745458655967e-05] | [0.16601497705245724, 0.16105766907544988, 0.16124213238024873] | [97.65024827149975, 106.89948451446556, 103.17303965654887] | [29.79783200495935, 32.4811729834495, 32.086374619461665] | [56960.71726229688, 71409.09061806383, 63138.03454598594] | [0.23646493739857696, 0.2575585073867331, 0.22982029975294535] | [0.10632315126300522, 0.12877857679973698, 0.15341775484889156] | [281.0, 116.0, 65.0] | [0.5503814589873232, 0.5000711516675523, 0.3325753943581122] | [0.0003000000857607783, 0.00030000015977390095, 0.0003000001523869547] | [2.0, 3.0, 5.0] | [0.9499991520029939, 0.9499996034429298, 0.9499993266098826] | [0.046622402604377215, 0.0557401888563924, 0.05513556603473162] | 0.016208 | 0.052527 | 0.10641 | 2 | 281 | 3 | 116 | 5 | 65
0.17749 | 0.98231 | 0.85 | 78214.0468 | 1.1308 | -53038.5339 | 9.8072e-05 | 0.16294 | 102.212 | 31.3547 | 63246.9699 | 2755898.5868 | 33.1347 | 33.8274 | 0.052159 | [35448.62628889866, 21950.39260234709, 20815.027898978507] | [1.2228362808204905, 1.1263570652086141, 1.0431740938142915] | [-9334.807352592308, -16796.766300043357, -26906.960200793237] | [9.397111295752805e-05, 0.00010183655527549818, 9.840841799362671e-05] | [0.16596991598974203, 0.16091743488769805, 0.16194131356328617] | [97.71324630367118, 107.18341807263637, 101.73922074444562] | [29.817420584563887, 32.55968276113736, 31.687015844631237] | [57046.738519916464, 71913.78035219446, 60780.39078183819] | [0.23646492924432158, 0.2580226791429044, 0.22711054575876352] | [0.10651476652137352, 0.1292180172187895, 0.15109324769903215] | [281.0, 116.0, 66.0] | [0.5495710542215386, 0.4992670627790049, 0.3348460849502146] | [0.0003000000888013519, 0.00030000016896566955, 0.0003000001532783664] | [2.0, 3.0, 5.0] | [0.9499991789490554, 0.949999616414688, 0.9499992646996366] | [0.04667403676296154, 0.055989221000144515, 0.053813920401586474] | 0.016274 | 0.05245 | 0.10637 | 2 | 281 | 3 | 116 | 5 | 66
0.17856 | 1.0043 | 0.85 | 73987.9706 | 1.1362 | -47264.69 | 9.6494e-05 | 0.16449 | 99.0387 | 30.5163 | 58170.9498 | 2816186.9779 | 33.1466 | 33.9947 | 0.051308 | [35448.62780714275, 22139.622570844032, 16399.72018459364] | [1.2314843218139226, 1.1314521311210322, 1.0457505451683555] | [-9176.66629961831, -15385.205978558477, -22702.817684591915] | [9.30123265900712e-05, 9.70811663212371e-05, 9.938814062297346e-05] | [0.1666713555567955, 0.16367782624833352, 0.16311842938808002] | [96.74347598128402, 101.74573176609137, 98.62676829642012] | [29.515595618366667, 31.055102663512827, 30.978221705928313] | [55736.52539407446, 62622.2470122874, 56154.07703616757] | [0.23646516621787103, 0.2487594819418393, 0.2195550301355617] | [0.10357610322567673, 0.12100872408468848, 0.1546429680079852] | [281.0, 117.0, 65.0] | [0.5619998640971464, 0.5136273507227181, 0.29577533944599405] | [0.0003000000563709129, 0.0003000000853075472, 0.000300000096308088] | [2.0, 3.0, 4.0] | [0.9499982889157497, 0.9499990698128322, 0.9424731051083496] | [0.04588333149809155, 0.05128401992852826, 0.05675704421147979] | 0.015395 | 0.053641 | 0.10713 | 2 | 281 | 3 | 117 | 4 | 65
0.17849 | 1.003 | 0.85 | 74240.2608 | 1.136 | -47417.4593 | 9.6359e-05 | 0.16486 | 98.2992 | 30.3112 | 57062.6612 | 2812434.5857 | 33.1459 | 33.9892 | 0.051462 | [35448.6230021941, 22139.617978994575, 16652.01977841141] | [1.2309400165163882, 1.1311896841597868, 1.0458515179244752] | [-9186.645529919142, -15451.865726293045, -22778.94806634369] | [9.307215688606179e-05, 9.731134391248873e-05, 9.869313642505361e-05] | [0.1666283705783081, 0.1635405470642065, 0.16441865353448507] | [96.80277449318137, 102.00687652418839, 96.08803590978933] | [29.53408419766627, 31.127610105443402, 30.271766383510716] | [55815.78890011103, 63050.1075120511, 52322.087113122674] | [0.23646578935374474, 0.2491961298337647, 0.21779155443475628] | [0.10375805909340231, 0.12140074356543273, 0.15290569659322514] | [281.0, 117.0, 66.0] | [0.5612314811547836, 0.5129061096139617, 0.2980494932284772] | [0.00030000015900698393, 0.00030000024235401487, 0.0003000002688122485] | [2.0, 3.0, 4.0] | [0.9499955892316015, 0.9499976264589625, 0.93873872854249] | [0.04593322764959571, 0.05150621908764348, 0.05694737016585924] | 0.015447 | 0.053567 | 0.10708 | 2 | 281 | 3 | 117 | 4 | 66
0.19082 | 1.0892 | 0.85 | 76713.9986 | 1.1853 | -371568.4896 | 7.5204e-05 | 1.4334 | 97.586 | 24.6812 | 479962.4789 | 3011482.1496 | 33.125 | 33.7318 | 0.39337 | [35201.56734517931, 21825.832632264544, 19686.59860877524] | [1.35131352907771, 1.1614542580349079, 1.0431178684199933] | [-80269.38887811676, -147126.2338441937, -144172.86690151365] | [6.616780000878977e-05, 7.719417804250892e-05, 8.224928643456264e-05] | [1.5021557559842627, 1.7260171894552716, 1.0720323465720318] | [93.97597551434836, 97.74210602498597, 101.0400638120403] | [20.786360447415806, 24.855156466229218, 28.401971552620203] | [461175.38044602226, 583231.139867336, 395480.91652363044] | [0.2355613928486457, 0.2377562185458623, 0.2035068706309803] | [0.10002774791785207, 0.11735428405266085, 0.1457174328098478] | [281.0, 117.0, 65.0] | [0.575383735089391, 0.5064876816736325, 0.28408707899127994] | [0.00030531442757180977, 0.0003108863489504593, 0.00033127227179614556] | [2.0, 3.0, 5.0] | [0.9436203971991671, 0.9432222570674049, 0.9431903799752864] | [0.40134694439058377, 0.49042077948064566, 0.2883457338030273] | 0.015962 | 0.0575 | 0.11496 | 2 | 281 | 3 | 117 | 5 | 65
0.17745 | 0.98137 | 0.85 | 78403.2741 | 1.1308 | -52727.9732 | 9.777e-05 | 0.16311 | 101.8516 | 31.2583 | 62609.5361 | 2753390.663 | 33.1341 | 33.8213 | 0.051841 | [35448.62617453448, 22139.62011882982, 20815.02780682953] | [1.2224804637530662, 1.1269533046939224, 1.042880776434938] | [-9341.444980945009, -16532.789522679486, -26853.7386593704] | [9.401109149861598e-05, 0.00010099121621021676, 9.83086718623009e-05] | [0.16594100464464884, 0.1613911346769799, 0.16199249307036617] | [97.75371747486724, 106.19843629419972, 101.60252108884802] | [29.83000324914686, 32.289697072875455, 31.65532648916089] | [57102.06750478976, 70164.08268397761, 60562.45807427615] | [0.2364649234596091, 0.25611312462813124, 0.22652190682705461] | [0.10663791103703377, 0.1277815409689312, 0.15109324243102307] | [281.0, 117.0, 66.0] | [0.5490502340760524, 0.5011422430045211, 0.3331169364066276] | [0.00030000009124422683, 0.00030000016916921073, 0.00030000015663052233] | [2.0, 3.0, 5.0] | [0.9499991975182912, 0.949999600792564, 0.9499992716433127] | [0.046707224904725037, 0.055109298408931626, 0.053707477318740794] | 0.016313 | 0.052401 | 0.10634 | 2 | 281 | 3 | 117 | 5 | 66
0.17707 | 0.96926 | 0.85 | 81115.5298 | 1.1228 | -49452.1862 | 9.4816e-05 | 0.16492 | 98.41 | 30.325 | 57442.2879 | 2720928.5822 | 33.1257 | 33.7335 | 0.049067 | [35448.62384592582, 29267.188194001246, 16399.71776255493] | [1.2179031042524833, 1.1167629445973275, 1.0338464389873645] | [-9427.781499335453, -19918.782154634697, -20105.622590703846] | [9.45292118699459e-05, 9.491398295206229e-05, 9.500546617465129e-05] | [0.16556868351008433, 0.16550522582513255, 0.16368088928734567] | [98.27850825238934, 100.30775932708664, 96.6437778744834] | [29.993066057153403, 30.371556261333115, 30.61045232653394] | [57824.29418104219, 61092.09286013951, 53410.476801206474] | [0.236464855230321, 0.26219758123622305, 0.19911094771310522] | [0.10823819396112155, 0.11157058079244837, 0.15341791647101322] | [281.0, 116.0, 65.0] | [0.5422821104304113, 0.5745676875174965, 0.22958842132026555] | [0.00030000014098445667, 0.00030000021922099983, 0.00030000020813732603] | [2.0, 4.0, 4.0] | [0.9499993765245124, 0.949999635471964, 0.9499978781470431] | [0.04713890749667727, 0.04979695538658674, 0.05026405647675962] | 0.016878 | 0.051759 | 0.10603 | 2 | 281 | 4 | 116 | 4 | 65
0.17704 | 0.96819 | 0.85 | 81367.7961 | 1.1227 | -49037.5896 | 9.4491e-05 | 0.16511 | 98.0337 | 30.2193 | 56890.7631 | 2718071.9397 | 33.125 | 33.7335 | 0.048728 | [35448.61150782022, 29267.17157530076, 16652.013050284742] | [1.2175028027118968, 1.116611757498053, 1.0341135178501393] | [-9435.507269745834, -19986.33093658611, -19615.7514242673] | [9.457486662684469e-05, 9.509154919042217e-05, 9.380605871670423e-05] | [0.16553679261315138, 0.16539455099780662, 0.16439998506289238] | [98.32446536805375, 100.50942055828662, 95.26727449954748] | [30.00731776351845, 30.427618799153954, 30.223105538626328] | [57888.09324027712, 61417.16929594228, 51367.02682412752] | [0.2364649953784174, 0.2625401042601063, 0.19657736309913826] | [0.10837967976751814, 0.11184497970241788, 0.1510941104281318] | [281.0, 116.0, 66.0] | [0.541684004162879, 0.5740772768372038, 0.2314795768778444] | [0.00030000040453258725, 0.00030000064917999386, 0.00030000057475359663] | [2.0, 4.0, 4.0] | [0.9499983095644722, 0.949999024676257, 0.9499927000212998] | [0.04717753634872918, 0.04996582734146528, 0.04903937856066824] | 0.01693 | 0.051703 | 0.10601 | 2 | 281 | 4 | 116 | 4 | 66
0.17674 | 0.95394 | 0.85 | 84934.0687 | 1.1201 | -55095.0942 | 9.5861e-05 | 0.1638 | 100.6019 | 30.9053 | 60858.3916 | 2678839.7433 | 33.1143 | 33.6092 | 0.04959 | [35448.61265659433, 28985.831392705808, 20499.624617431455] | [1.212046240965026, 1.1165605807264793, 1.0317101419324033] | [-9540.869271842022, -19915.122557800005, -25639.102324490148] | [9.520269184880672e-05, 9.6392517303661e-05, 9.5987505373839e-05] | [0.16509114803838, 0.1631659384828564, 0.16315477014914143] | [98.96152149892454, 104.69549610984552, 98.1487446409664] | [30.205022350885326, 31.58801269193553, 30.92298412367823] | [58777.66858517984, 68402.0453190702, 55395.46075927794] | [0.23646470977844422, 0.263406246506171, 0.20794705594345858] | [0.11033017303584366, 0.11483972876061262, 0.15341733442012365] | [281.0, 116.0, 65.0] | [0.5334343448140565, 0.5641024621129468, 0.2623417665172435] | [0.00030000037999418773, 0.0003073501354174293, 0.0003000010423937656] | [2.0, 4.0, 5.0] | [0.9499995038823779, 0.9499997282380691, 0.9499994945949437] | [0.047704346359210115, 0.04978780639450001, 0.0512782046489803] | 0.017672 | 0.050928 | 0.10575 | 2 | 281 | 4 | 116 | 5 | 65
0.17673 | 0.95323 | 0.85 | 85116.5732 | 1.1205 | -54092.4681 | 9.5348e-05 | 0.16389 | 100.4449 | 30.8587 | 60673.5124 | 2677031.0968 | 33.1137 | 33.6124 | 0.048857 | [35448.57801664881, 28853.036245748393, 20814.958895262607] | [1.2117968195953637, 1.1174431952423698, 1.0321830307525564] | [-9545.803190500244, -19496.215946677457, -25050.449005552193] | [9.523155683243462e-05, 9.596524968641403e-05, 9.48470466640944e-05] | [0.16507136886530113, 0.1627611847561157, 0.16383155850078404] | [98.99078227450288, 105.4889754034972, 96.85508953463423] | [30.21406487892596, 31.806838923563753, 30.555052365580302] | [58819.008594393046, 69779.47888261659, 53422.04983750157] | [0.23646457184801048, 0.2618378532224055, 0.20579557105472301] | [0.11042054331489101, 0.11461922844283302, 0.15109248936582192] | [281.0, 116.0, 66.0] | [0.5330518752014709, 0.5623323932151992, 0.26592663129866756] | [0.00030000111992174977, 0.0003108689521798776, 0.00030000266347425574] | [2.0, 4.0, 5.0] | [0.9499986432512684, 0.9499992288082687, 0.9499985118884778] | [0.04772901595250122, 0.04874053986669365, 0.05010089801110439] | 0.01771 | 0.050892 | 0.10574 | 2 | 281 | 4 | 116 | 5 | 66
0.17704 | 0.96819 | 0.85 | 81367.8325 | 1.1227 | -49112.9923 | 9.454e-05 | 0.16509 | 98.0809 | 30.2366 | 56917.803 | 2718077.976 | 33.1249 | 33.7266 | 0.04879 | [35448.623517037566, 29519.49137141166, 16399.71763164434] | [1.2175036541867177, 1.117175032329898, 1.0335267598952398] | [-9435.400085877403, -19604.793812971053, -20072.798417919556] | [9.457476592390033e-05, 9.411988214851496e-05, 9.492421279436503e-05] | [0.16553615646191672, 0.16599923627684396, 0.16372607463118244] | [98.32467517470937, 99.38430651820106, 96.53381737174202] | [30.007402410054944, 30.117728605266706, 30.58460217222928] | [57888.25610247518, 59609.38297494586, 53255.77000713027] | [0.2364648489608458, 0.2602954219239983, 0.19864485631544876] | [0.10837927547941592, 0.11035805839583988, 0.15341789728017183] | [281.0, 117.0, 65.0] | [0.5416854301795978, 0.576116685460891, 0.2277800150845404] | [0.0003000001480096724, 0.0003000002235582928, 0.0003000002141816698] | [2.0, 4.0, 4.0] | [0.9499993882796713, 0.949999619546917, 0.9499979578816425] | [0.047177000429387016, 0.04901198453242763, 0.050181996044798886] | 0.01693 | 0.051703 | 0.10601 | 2 | 281 | 4 | 117 | 4 | 65
0.17701 | 0.96713 | 0.85 | 81620.1349 | 1.1226 | -48696.5457 | 9.4213e-05 | 0.16528 | 97.7044 | 30.1308 | 56365.1921 | 2715239.3882 | 33.1241 | 33.7266 | 0.04845 | [35448.62322117102, 29519.49071209935, 16652.02097058651] | [1.2171062879895147, 1.1170252990300162, 1.0337915041085872] | [-9442.99266892023, -19670.783948208817, -19582.769083460935] | [9.462013726651175e-05, 9.429491455281402e-05, 9.372475723957237e-05] | [0.16550379374986135, 0.16588851851713618, 0.16444426927066003] | [98.37066003453302, 99.58296169039951, 95.15946956129984] | [30.021680903665867, 30.173032714397095, 30.19782432790576] | [57952.03447750942, 59924.630074638815, 51218.911812811806] | [0.23646484354276454, 0.26063303636396834, 0.1961122888469986] | [0.10851985062182719, 0.11062718814696995, 0.1510934561317728] | [281.0, 117.0, 66.0] | [0.5410908932388484, 0.5756328884355668, 0.22965954311528622] | [0.0003000001543295284, 0.0003000002404702182, 0.00030000021460169305] | [2.0, 4.0, 4.0] | [0.9499993979630268, 0.9499996310943101, 0.9499974749425601] | [0.047214963344601145, 0.04917695987052204, 0.04895692270865234] | 0.016983 | 0.051647 | 0.10599 | 2 | 281 | 4 | 117 | 4 | 66
0.17673 | 0.9531 | 0.85 | 85152.2971 | 1.1202 | -54626.8254 | 9.5524e-05 | 0.16395 | 100.2952 | 30.8233 | 60334.7517 | 2676622.2639 | 33.1136 | 33.6046 | 0.049211 | [35448.6106670936, 29204.06525496321, 20499.621227517026] | [1.2117401095961617, 1.1172634850893117, 1.0314703006662493] | [-9546.861491490881, -19479.167419751848, -25600.796523489113] | [9.523822228939545e-05, 9.542200756717555e-05, 9.591298965773825e-05] | [0.1650661476179465, 0.16359574160037704, 0.1631951429478366] | [98.99759141413708, 103.84158269621784, 98.04636350006265] | [30.21620713875621, 31.35455066520719, 30.8992912981193] | [58828.44188326267, 66928.45945928882, 55247.3537381426] | [0.23646468812706264, 0.2609968371352862, 0.20749410899282825] | [0.11044091403374481, 0.11342759027768012, 0.1534172913077963] | [281.0, 117.0, 65.0] | [0.5329659522667707, 0.565488535240299, 0.2607309888893638] | [0.0003000004224909367, 0.0003081785618754314, 0.0003000011676081154] | [2.0, 4.0, 5.0] | [0.9499995096115637, 0.9499997155135681, 0.949999497667071] | [0.047734307457454404, 0.048697918549379625, 0.05120159304697823] | 0.017717 | 0.050884 | 0.10573 | 2 | 281 | 4 | 117 | 5 | 65
0.17672 | 0.95241 | 0.85 | 85332.4997 | 1.1205 | -53630.2795 | 9.5011e-05 | 0.16404 | 100.1378 | 30.7766 | 60143.9424 | 2674849.2573 | 33.113 | 33.6078 | 0.048483 | [35448.571806590284, 29068.977064110084, 20814.950839370602] | [1.2114958439270946, 1.1181630543887215, 1.0319435187565023] | [-9551.695270968183, -19065.599227697654, -25012.985016912793] | [9.526650319587212e-05, 9.499413172252538e-05, 9.477343408782785e-05] | [0.16504677186274277, 0.1631875463543416, 0.1638720050120845] | [99.02629814503292, 104.63300406309475, 96.75411389598972] | [30.225076153986663, 31.573015080121547, 30.531665843571602] | [58869.038890596654, 68283.67150301341, 53279.116774662165] | [0.23646450491105173, 0.25942632661408654, 0.2053476486831766] | [0.1105295377580785, 0.11320470289400951, 0.1510923948570122] | [281.0, 117.0, 66.0] | [0.5325907794671859, 0.5637160504700165, 0.26432515077330515] | [0.0003000012525720381, 0.0003117353986025544, 0.00030000295653009483] | [2.0, 4.0, 5.0] | [0.9499986585396937, 0.9499991918357026, 0.9499985215452302] | [0.047758476354840915, 0.04766399806924414, 0.05002597003382559] | 0.017755 | 0.050849 | 0.10572 | 2 | 281 | 4 | 117 | 5 | 66
0.17858 | 1.0047 | 0.85 | 73924.8821 | 1.1364 | -47411.4978 | 9.6571e-05 | 0.16447 | 99.0993 | 30.533 | 58292.1636 | 2817148.7468 | 33.1468 | 33.9968 | 0.051416 | [35574.77495383359, 21950.390631141614, 16399.716539065033] | [1.2325564779321734, 1.130660510389594, 1.045841016906524] | [-9099.433800536093, -15565.808570071593, -22746.255442754227] | [9.258851219757559e-05, 9.767973963325363e-05, 9.944346668566389e-05] | [0.16695036035010952, 0.16331652951594186, 0.16313290353445822] | [96.2622952340339, 102.429175651925, 98.60633354877227] | [29.380997084441468, 31.247025341690623, 30.971083781705495] | [55019.333645908526, 63735.6433931424, 56121.51377023916] | [0.23562751125568873, 0.24994261115517463, 0.21976032067646217] | [0.10281361894460708, 0.12214265485998702, 0.15467274645393336] | [282.0, 116.0, 65.0] | [0.5636788069561866, 0.5113931430943889, 0.2962979388364947] | [0.0003000001532950583, 0.00030000023696432823, 0.00030000026462774206] | [2.0, 3.0, 4.0] | [0.9499945798338642, 0.9499976193974681, 0.9422913419795799] | [0.045497169002680464, 0.05188602856690531, 0.056865638606885566] | 0.015381 | 0.05366 | 0.10714 | 2 | 282 | 3 | 116 | 4 | 65
0.17851 | 1.0033 | 0.85 | 74177.185 | 1.1361 | -47563.984 | 9.6436e-05 | 0.16484 | 98.3623 | 30.3286 | 57189.374 | 2813389.7122 | 33.1461 | 33.9913 | 0.05157 | [35574.77478722586, 21950.390419643307, 16652.019797638146] | [1.2320094120987077, 1.130399045188593, 1.0459425184432658] | [-9109.139651716414, -15633.264390004852, -22821.580000956423] | [9.264807400274126e-05, 9.791191655889743e-05, 9.874767340307471e-05] | [0.166905921678065, 0.1631784942931867, 0.16443140326368763] | [96.32259749753241, 102.69352702072813, 96.0706984093041] | [29.399791926174494, 31.320367949525508, 30.26550400553677] | [55099.2240023626, 64173.529311886305, 52295.368782476166] | [0.235627409823595, 0.2503837399560514, 0.21799572593434224] | [0.10299505185242855, 0.12253900822628176, 0.15293447518877307] | [282.0, 116.0, 66.0] | [0.5629085629151375, 0.5106706520309845, 0.2985751626915466] | [0.000300000156841262, 0.0003000002442601695, 0.0003000002679379707] | [2.0, 3.0, 4.0] | [0.9499949820038717, 0.9499977843545182, 0.9385620882729686] | [0.04554569825858207, 0.05211088130001617, 0.05705395000239106] | 0.015434 | 0.053586 | 0.10709 | 2 | 282 | 3 | 116 | 4 | 66
0.17752 | 0.98315 | 0.85 | 78024.8196 | 1.1311 | -53440.7669 | 9.8161e-05 | 0.1629 | 102.3123 | 31.3855 | 63406.2656 | 2758136.7948 | 33.1353 | 33.825 | 0.052283 | [35574.77809231196, 21950.39280861424, 20499.64865016305] | [1.2240492267120324, 1.126459453228412, 1.0426753024253874] | [-9253.096847284458, -16656.336458485574, -27531.33361749745] | [9.352586414635325e-05, 0.00010137802976631607, 9.957991440290787e-05] | [0.1662580258983858, 0.16116866825198495, 0.16127623040108743] | [97.21125628957243, 106.64512770304763, 103.08038890957849] | [29.67653820962292, 32.41496652310469, 32.064916304807625] | [56289.48771756096, 70942.55474844258, 62986.75423457746] | [0.235626416443382, 0.25691425274468216, 0.22942239440879983] | [0.10568110946380793, 0.1285556136063946, 0.1534177513486274] | [282.0, 116.0, 65.0] | [0.55150625262893, 0.4996854057368755, 0.33141736891601775] | [0.0003000000864933403, 0.00030000016185028337, 0.0003000001546902873] | [2.0, 3.0, 5.0] | [0.9499991216071603, 0.9499996007293046, 0.9499993304074763] | [0.046265484236422294, 0.05552112152828524, 0.0550626672349949] | 0.016234 | 0.052494 | 0.10639 | 2 | 282 | 3 | 116 | 5 | 65
0.17746 | 0.98169 | 0.85 | 78340.1747 | 1.1309 | -52865.5944 | 9.7852e-05 | 0.16307 | 101.9494 | 31.2848 | 62816.7185 | 2754247.1565 | 33.1343 | 33.8233 | 0.051943 | [35574.77055498023, 21950.38381680923, 20815.02032076436] | [1.2234943247641272, 1.1261758440725917, 1.0429768321413988] | [-9263.46033092247, -16730.7171242621, -26871.41697104683] | [9.358791221669046e-05, 0.00010162572226391194, 9.834137192147471e-05] | [0.16621369128777153, 0.1610291075642876, 0.16197634071100114] | [97.27347530048326, 106.92774240071424, 101.64685653470185] | [29.695888475785075, 32.493094214636486, 31.66556622919444] | [56373.852499545006, 71443.09087039993, 60633.212110914246] | [0.23562670318495416, 0.25737729679985255, 0.22671475585716055] | [0.10587170241787827, 0.1289927382151752, 0.15109336509050578] | [282.0, 116.0, 66.0] | [0.5506978649966022, 0.4988868030635736, 0.3336838933238691] | [0.00030000024692355937, 0.0003000004720314751, 0.00030000042895548905] | [2.0, 3.0, 5.0] | [0.9499976587744913, 0.9499989355765478, 0.9499979860116439] | [0.04631730165461234, 0.055769057080873666, 0.053742833942093664] | 0.0163 | 0.052418 | 0.10635 | 2 | 282 | 3 | 116 | 5 | 66
0.17852 | 1.0036 | 0.85 | 74114.1222 | 1.1363 | -47046.675 | 9.6265e-05 | 0.1646 | 98.83 | 30.461 | 57842.6711 | 2814293.9859 | 33.1462 | 33.9903 | 0.051052 | [35574.77949191474, 22139.622549429358, 16399.72016796916] | [1.2321418713227028, 1.1312283295359205, 1.0455646088741188] | [-9106.555866896906, -15326.706054024646, -22613.413086485794] | [9.263339406338065e-05, 9.688802778159579e-05, 9.927390377740515e-05] | [0.1669154818018916, 0.16378548876509774, 0.1630893358709698] | [96.3091265397736, 101.51111580166894, 98.66982311902107] | [29.395570918351304, 30.99414111501273, 30.99314280432277] | [55081.400607323274, 62223.49428721971, 56223.11842162318] | [0.23562667017894157, 0.2481382098386669, 0.2191325934917989] | [0.10295106334472126, 0.1208241287139793, 0.15458123466527252] | [282.0, 117.0, 65.0] | [0.5630938918156077, 0.5131535607388765, 0.29469896369828724] | [0.0003000000567031526, 0.00030000008603995346, 0.00030000009707566535] | [2.0, 3.0, 4.0] | [0.9499981555566852, 0.9499990586211586, 0.9428494752209218] | [0.04553277933448453, 0.05108902018008215, 0.05653353271621448] | 0.015421 | 0.053604 | 0.1071 | 2 | 282 | 3 | 117 | 4 | 65
0.17845 | 1.0023 | 0.85 | 74366.4254 | 1.1361 | -47197.9604 | 9.613e-05 | 0.16497 | 98.0898 | 30.2556 | 56731.2059 | 2810556.3025 | 33.1455 | 33.9849 | 0.051204 | [35574.77942949568, 22139.622471958126, 16652.02352806378] | [1.2315983462960802, 1.1309684916132148, 1.0456653608294328] | [-9116.232789314283, -15392.789160582915, -22688.93841030421] | [9.269266792365516e-05, 9.711716823253362e-05, 9.857906246436218e-05] | [0.16687137922312711, 0.16364775109896734, 0.16438935538142277] | [96.36901765711004, 101.7716800719741, 96.12862438931353] | [29.41423992822542, 31.066512502395607, 30.286026201225706] | [55160.8139911538, 62648.6175187449, 52384.186264688804] | [0.23562663781907142, 0.248573407127455, 0.21736896929179494] | [0.10313161813361268, 0.12121385582139269, 0.1528441069696973] | [282.0, 117.0, 66.0] | [0.5623275002530033, 0.5124377274683983, 0.29696766569707994] | [0.00030000005803172653, 0.0003000000886895568, 0.0003000000983081787] | [2.0, 3.0, 4.0] | [0.949998283484741, 0.9499991290244875, 0.9391173091698592] | [0.045581163946571406, 0.051309297201943056, 0.056722346025760526] | 0.015473 | 0.05353 | 0.10705 | 2 | 282 | 3 | 117 | 4 | 66
0.17748 | 0.98221 | 0.85 | 78214.0469 | 1.131 | -53132.1509 | 9.7861e-05 | 0.16307 | 101.9539 | 31.2896 | 62775.6561 | 2755619.0771 | 33.1347 | 33.8189 | 0.051968 | [35574.77798257054, 22139.62032667052, 20499.648558416182] | [1.2236901040566888, 1.1270524803474697, 1.042384808794358] | [-9259.722615003942, -16394.930443542515, -27477.497878556438] | [9.356596686565122e-05, 0.0001005377200477128, 9.948004802368834e-05] | [0.16622880367898146, 0.1616423965245774, 0.1613267269792717] | [97.2518235968425, 105.66651745167685, 102.94339058416017] | [29.68916038756101, 32.146566753735, 32.03318684414643] | [56344.41794128489, 69218.89533085775, 62763.65514927197] | [0.23562641000025497, 0.2550154804462947, 0.2288336919078367] | [0.10580435976624959, 0.12712979465438112, 0.15341774619246165] | [282.0, 117.0, 65.0] | [0.5509831285584756, 0.5015511483495348, 0.3296966760031442] | [0.0003000000888291583, 0.0003000001620608226, 0.0003000001580791619] | [2.0, 3.0, 5.0] | [0.9499991431183934, 0.9499995839143336, 0.949999336086782] | [0.046298613075019715, 0.05464976814514171, 0.05495499575711288] | 0.016274 | 0.052445 | 0.10636 | 2 | 282 | 3 | 117 | 5 | 65
0.17743 | 0.98076 | 0.85 | 78529.4256 | 1.1309 | -52555.8618 | 9.7551e-05 | 0.16324 | 101.5903 | 31.1888 | 62183.7617 | 2751750.0525 | 33.1337 | 33.8172 | 0.051626 | [35574.77783059273, 22139.620051599763, 20815.02774008783] | [1.2231388497188675, 1.1267703043882455, 1.0426845073081983] | [-9269.914075508614, -16467.70430133354, -26818.243395018973] | [9.362760872121854e-05, 0.00010078227485655364, 9.824207590643721e-05] | [0.16618394002867756, 0.16150256087563364, 0.16202671676040242] | [97.31418341582847, 105.94537270635564, 101.51125023243019] | [29.708561105493224, 32.223769303116036, 31.63416834053973] | [56428.958404731275, 69704.98794211498, 60417.338730850795] | [0.23562640169241675, 0.2554723249249649, 0.22612864639750288] | [0.10599390158696739, 0.12755970284229287, 0.15109323882755402] | [282.0, 117.0, 66.0] | [0.5501786396701098, 0.5007593639210266, 0.3319567015698778] | [0.0003000000920639673, 0.00030000017146855504, 0.0003000001590584233] | [2.0, 3.0, 5.0] | [0.9499991704288667, 0.9499995980476024, 0.9499992761564268] | [0.04634957037754307, 0.05489234767111179, 0.05363648679003795] | 0.016339 | 0.052368 | 0.10632 | 2 | 282 | 3 | 117 | 5 | 66
0.17705 | 0.9687 | 0.85 | 81241.6461 | 1.1229 | -49287.8224 | 9.4611e-05 | 0.16504 | 98.1662 | 30.26 | 57056.073 | 2719435.5977 | 33.1253 | 33.7298 | 0.048869 | [35574.763663809885, 29267.17282518302, 16399.709644864] | [1.2185639246551405, 1.1165498029630099, 1.0336770401237947] | [-9355.559381063722, -19843.468174954796, -20088.79488381187] | [9.414312866711326e-05, 9.472804355504456e-05, 9.49627564537209e-05] | [0.16581192151376617, 0.16561053727452052, 0.16370603511556542] | [97.83568298790088, 100.0785577360022, 96.58438223005031] | [29.870685507289988, 30.312809960994844, 30.596414505452287] | [57140.95239199011, 60700.296432602234, 53326.970312566926] | [0.23562649010986633, 0.2615392411312257, 0.1988646428106172] | [0.10758365103433536, 0.11143221307101821, 0.15341838098913574] | [282.0, 116.0, 65.0] | [0.5434314391866338, 0.5740258667066195, 0.22863144245800276] | [0.0003000003936004548, 0.0003000006168430249, 0.0003000005829437951] | [2.0, 4.0, 4.0] | [0.9499982373976877, 0.9499989885677037, 0.9499942713865376] | [0.04677779690531861, 0.04960867043738699, 0.05022198720952967] | 0.016904 | 0.05173 | 0.10602 | 2 | 282 | 4 | 116 | 4 | 65
0.17702 | 0.96763 | 0.85 | 81493.9836 | 1.1228 | -48871.4662 | 9.4285e-05 | 0.16523 | 97.7909 | 30.1546 | 56505.6723 | 2716588.2345 | 33.1246 | 33.7298 | 0.048529 | [35574.77516883281, 29267.187363074798, 16652.021030544965] | [1.2181633345696277, 1.1163999578928656, 1.0339430787074924] | [-9363.040796558038, -19910.484215285127, -19597.94118032475] | [9.418859680013163e-05, 9.490499146926838e-05, 9.376275427429399e-05] | [0.16577852758573172, 0.16549926119067565, 0.16442278493523338] | [97.88206710927567, 100.279687155012, 95.21082894298618] | [29.88511678796234, 30.368765657439845, 30.20991019788297] | [57204.56812488686, 61023.06549258497, 51289.38318025989] | [0.23562632502518724, 0.26188104418946656, 0.1963306126670052] | [0.1077241683303828, 0.11170508036006542, 0.1510934682358803] | [282.0, 116.0, 66.0] | [0.5428347223205713, 0.5735396094478858, 0.23051651500747167] | [0.00030000014871885383, 0.00030000024071871593, 0.0003000002118752639] | [2.0, 4.0, 4.0] | [0.9499993712095821, 0.9499996438479957, 0.9499974178632702] | [0.046815203982790196, 0.049776210538212816, 0.04899485295081187] | 0.016956 | 0.051674 | 0.106 | 2 | 282 | 4 | 116 | 4 | 66
0.17673 | 0.95354 | 0.85 | 85029.7847 | 1.1203 | -54814.1983 | 9.5606e-05 | 0.16391 | 100.3978 | 30.8511 | 60527.4905 | 2677805.1894 | 33.114 | 33.6072 | 0.049297 | [35574.73187412869, 28955.48166010585, 20499.571201843715] | [1.2127471523738271, 1.1166123403820414, 1.0316069577142528] | [-9466.857504992964, -19724.904270038587, -25622.436522579843] | [9.480883250457368e-05, 9.605500803118962e-05, 9.595501191288834e-05] | [0.16533677177205466, 0.16320892174664772, 0.1631726320234449] | [98.5106580825803, 104.57809619015859, 98.10455392596147] | [30.080269732160154, 31.560190491645216, 30.912728739907237] | [58075.40682493523, 68175.42866416163, 55331.635924476395] | [0.2356260784343475, 0.2623020057727401, 0.2077511121547564] | [0.10964846232207918, 0.11455350321710583, 0.15341686621267422] | [282.0, 116.0, 65.0] | [0.5346669728673824, 0.5633584557960652, 0.2616479747681518] | [0.00030000107023687176, 0.0003081514998167878, 0.0003000030154271682] | [2.0, 4.0, 5.0] | [0.9499986034393905, 0.9499992374298758, 0.9499986104599075] | [0.04733428752496482, 0.04931226067509646, 0.051244873045159685] | 0.017692 | 0.050907 | 0.10574 | 2 | 282 | 4 | 116 | 5 | 65
0.17672 | 0.95284 | 0.85 | 85211.773 | 1.1207 | -53813.6892 | 9.5093e-05 | 0.16399 | 100.2419 | 30.8047 | 60343.566 | 2676007.0446 | 33.1134 | 33.6104 | 0.048565 | [35574.76262364281, 28822.006089732713, 20815.004330660387] | [1.2124975723055473, 1.117500716313016, 1.0320793159065813] | [-9471.644491380064, -19307.708828372284, -25034.33585253758] | [9.483773648774172e-05, 9.56266964118236e-05, 9.481552011173354e-05] | [0.16531575569200102, 0.16280185978207148, 0.16384856014783575] | [98.5400420580857, 105.37409257320955, 96.81148725004678] | [30.089417164085074, 31.77978462433699, 30.544983346276627] | [58116.27148513476, 69554.2844865884, 53360.142081179525] | [0.23562616710178458, 0.26073277122326877, 0.2056024044811791] | [0.10973801600319628, 0.11433048259661974, 0.15109283921175143] | [282.0, 116.0, 66.0] | [0.5342870563688931, 0.5615846663161916, 0.265234948321901] | [0.00030000041574016444, 0.00031169586545380944, 0.0003000010106375007] | [2.0, 4.0, 5.0] | [0.9499994973705662, 0.949999715067558, 0.94999946163067] | [0.04735822245690032, 0.048269272070930715, 0.05006867170507515] | 0.01773 | 0.050872 | 0.10573 | 2 | 282 | 4 | 116 | 5 | 66
0.17702 | 0.96764 | 0.85 | 81493.9476 | 1.1228 | -48949.9524 | 9.4335e-05 | 0.16521 | 97.838 | 30.1717 | 56534.8394 | 2716597.8028 | 33.1245 | 33.723 | 0.048594 | [35574.762731820476, 29519.475552596712, 16399.709273824632] | [1.2181646704438116, 1.1169604813508311, 1.0333587789602527] | [-9363.106840220422, -19530.69471161244, -20056.15087175559] | [9.418844985232081e-05, 9.393563798268484e-05, 9.488193522787054e-05] | [0.16577935010210126, 0.1661047088544734, 0.1637509863481097] | [97.88160072735529, 99.15731761749105, 96.47507925006569] | [29.884952759059928, 30.05951466023519, 30.57072038046702] | [57204.05324012276, 59227.04843602085, 53173.41642938248] | [0.23562647224121328, 0.2596416880199911, 0.19840096691620868] | [0.10772380216105984, 0.11022223515279651, 0.15341833727787835] | [282.0, 117.0, 65.0] | [0.5428365621105697, 0.5755725513990358, 0.22682808235251056] | [0.0003000004134376284, 0.00030000062932465497, 0.00030000060007527086] | [2.0, 4.0, 4.0] | [0.9499982715110628, 0.9499989442289261, 0.9499944817384749] | [0.04681553420110211, 0.048826736779031106, 0.05014037717938898] | 0.016956 | 0.051674 | 0.106 | 2 | 282 | 4 | 117 | 4 | 65
0.177 | 0.96658 | 0.85 | 81746.2862 | 1.1227 | -48532.6445 | 9.4009e-05 | 0.1654 | 97.4617 | 30.0661 | 55982.5798 | 2713769.0473 | 33.1237 | 33.723 | 0.048253 | [35574.77480430823, 29519.490500355336, 16652.02089268497] | [1.2177670819674282, 1.1168122159222276, 1.0336223447034045] | [-9370.546920512332, -19596.232051138926, -19565.865505994716] | [9.423363571044071e-05, 9.411000647772255e-05, 9.368239211363914e-05] | [0.16574620221214725, 0.16599378073662704, 0.16446824467160556] | [97.92768790788352, 99.35532080548865, 95.1022055923233] | [29.899291149336904, 30.11465879717216, 30.18434900252736] | [57267.32726538841, 59539.96721888093, 51140.4450440338] | [0.23562631840367274, 0.2599785580442043, 0.19586883160904717] | [0.10786349158955248, 0.11048986057564295, 0.15109344316255657] | [282.0, 117.0, 66.0] | [0.5422433804520547, 0.5750928155883627, 0.22870166031292388] | [0.000300000156477668, 0.0003000002459016336, 0.0003000002181440296] | [2.0, 4.0, 4.0] | [0.9499993830710605, 0.949999628632553, 0.9499975359524371] | [0.04685273460256165, 0.048990580127847315, 0.04891466376498678] | 0.017009 | 0.051618 | 0.10598 | 2 | 282 | 4 | 117 | 4 | 66
0.17672 | 0.95271 | 0.85 | 85247.198 | 1.1204 | -54348.5568 | 9.527e-05 | 0.16405 | 100.0924 | 30.7694 | 60007.0961 | 2675605.3255 | 33.1133 | 33.6026 | 0.04892 | [35574.7261438687, 29172.91086116082, 20499.560961033425] | [1.2124422066319318, 1.1173191760991468, 1.03136916772845] | [-9472.7687102366, -19291.33051038734, -25584.457594404328] | [9.484404849916684e-05, 9.508583870144356e-05, 9.588114546441434e-05] | [0.1653118153424178, 0.16363742165861828, 0.1632126328064555] | [98.54641914959593, 103.72768403297069, 98.00317036777321] | [30.091364916903284, 31.32765429807432, 30.889268650030782] | [58125.33187950723, 66710.8202904264, 55185.136061760844] | [0.23562601651466147, 0.25989521606328425, 0.2073021811877673] | [0.10975808687560887, 0.11314407095586151, 0.1534167441215777] | [282.0, 117.0, 65.0] | [0.5342015720907756, 0.5647374918137488, 0.26004887994875464] | [0.0003000011922043319, 0.0003089959264928349, 0.000300003393697339] | [2.0, 4.0, 5.0] | [0.9499986198819508, 0.9499992011857437, 0.9499986188158384] | [0.047363843551183005, 0.04822832627596835, 0.05116891518880866] | 0.017737 | 0.050864 | 0.10573 | 2 | 282 | 4 | 117 | 5 | 65
0.17671 | 0.95202 | 0.85 | 85426.8131 | 1.1208 | -53354.3122 | 9.4757e-05 | 0.16414 | 99.936 | 30.7229 | 59817.1527 | 2673843.6616 | 33.1127 | 33.6058 | 0.048194 | [35574.72181645874, 29037.144483203087, 20814.94681555433] | [1.2121981732754874, 1.1182245714494727, 1.0318420047304182] | [-9477.505535946511, -18879.666874193703, -24997.13975626467] | [9.487225486318425e-05, 9.46570282942338e-05, 9.474228288028721e-05] | [0.16529184267520997, 0.1632273119973148, 0.16388913549612552] | [98.57506064981864, 104.52146524948903, 96.71138975301126] | [30.100250746090694, 31.54681681233173, 30.521771094077792] | [58165.347442192506, 68067.35930589866, 53218.751448622184] | [0.23562597019752998, 0.25832441853417976, 0.2051580008295692] | [0.1098459127227924, 0.1129188342539879, 0.15109234799355936] | [282.0, 117.0, 66.0] | [0.5338287220567383, 0.5629614910318587, 0.2636450179873236] | [0.0003000012843124306, 0.00031257836022029987, 0.00030000310290786866] | [2.0, 4.0, 5.0] | [0.9499986305102024, 0.9499991763808098, 0.9499985255404121] | [0.047387527679732554, 0.04719916718548426, 0.04999427951252934] | 0.017775 | 0.050829 | 0.10572 | 2 | 282 | 4 | 117 | 5 | 66
0.17682 | 0.9422 | 0.85 | 88422.5651 | 1.1219 | -38686.8176 | 8.3024e-05 | 0.17129 | 87.3457 | 27.3616 | 42446.954 | 2648801.9705 | 33.1014 | 33.5671 | 0.037614 | [50072.47312346961, 21950.384430424398, 16399.707552609765] | [1.2390807826607655, 1.100668013120376, 1.0260731108411583] | [-9020.230621811372, -10328.316100384462, -19338.27087682617] | [7.71417902061456e-05, 7.884821077575628e-05, 9.308179666786941e-05] | [0.17391149910035467, 0.17520006088824244, 0.16477160991711262] | [88.31555015279687, 79.6822568079866, 94.03918067772767] | [26.78980523893094, 25.296894375465627, 29.998109874927298] | [45697.559421886355, 31784.214002525492, 49859.08858916627] | [0.22016872104088053, 0.18721938622577738, 0.18798861598780445] | [0.07195981527070162, 0.10533886800589609, 0.1534174665100559] | [281.0, 116.0, 65.0] | [0.6731897442097456, 0.4374496236896285, 0.18398704862265244] | [0.0003468855973197063, 0.00030000045086420586, 0.0003000006795465011] | [3.0, 3.0, 4.0] | [0.9370463874112891, 0.9499955821336975, 0.9499989271747776] | [0.030067435406037905, 0.03442772033461487, 0.04834567719206542] | 0.018398 | 0.050334 | 0.10569 | 3 | 281 | 3 | 116 | 4 | 65
0.17681 | 0.94207 | 0.85 | 88449.4185 | 1.1225 | -38292.7743 | 8.2753e-05 | 0.17141 | 87.0724 | 27.2845 | 41987.2501 | 2648481.1913 | 33.1013 | 33.5724 | 0.037302 | [49847.07135169588, 21950.360070930772, 16651.987054118646] | [1.2396953927059595, 1.1011611848024818, 1.0265424452819487] | [-8982.184545554504, -10425.23887690876, -18885.35085681011] | [7.706510937288988e-05, 7.923743256180147e-05, 9.195520543442661e-05] | [0.1738501174217973, 0.1749148299944974, 0.1654653677086931] | [88.31369400034025, 80.13784820639589, 92.76566369811853] | [26.79954105363177, 25.41955361735627, 29.634430325573913] | [45639.861235249395, 32286.474212528276, 48035.41478193634] | [0.21936824366878332, 0.18839516707013337, 0.1858644969717919] | [0.0721482031665418, 0.1057512782603597, 0.1510929902659446] | [281.0, 116.0, 66.0] | [0.6711380634174565, 0.43877140290042727, 0.1871678746226815] | [0.00035052156455666944, 0.0003000012911702188, 0.0003000017568534774] | [3.0, 3.0, 4.0] | [0.9349187583453107, 0.9499904772497195, 0.9499966711336408] | [0.02994061515184835, 0.03475079625636253, 0.047213377142025274] | 0.018403 | 0.050328 | 0.10569 | 3 | 281 | 3 | 116 | 4 | 66
0.17676 | 0.94173 | 0.85 | 88473.7541 | 1.129 | -44493.7946 | 8.5193e-05 | 0.16862 | 91.6201 | 28.5258 | 47520.5387 | 2646898.3325 | 33.1018 | 33.5548 | 0.038753 | [46178.14051239524, 21950.356994891583, 20345.25663455477] | [1.2495824606360955, 1.1083880353528153, 1.0288963826992001] | [-8318.78986077236, -12135.886456928727, -24039.11824990596] | [7.589967241233167e-05, 8.586879238754434e-05, 9.380942498229181e-05] | [0.17224534139167785, 0.17028188098194888, 0.16333712387198457] | [89.4253557569121, 87.95224126333262, 97.48276573495126] | [27.255707382258134, 27.517657294081886, 30.80407479667586] | [46355.817360465175, 41693.01495102922, 54512.78377725095] | [0.20748419905817223, 0.20810127658923014, 0.19931955941792073] | [0.07537822166602962, 0.11296936790019903, 0.15167661140128766] | [281.0, 116.0, 65.0] | [0.6367286763696093, 0.4572297299879664, 0.2391337098213407] | [0.0004146963997684713, 0.0003000013972815158, 0.00030574624382552967] | [3.0, 3.0, 5.0] | [0.9018831773154079, 0.9499992657211271, 0.9499994680479285] | [0.027729299535907866, 0.040452954856429094, 0.048078236499811924] | 0.018409 | 0.050297 | 0.10566 | 3 | 281 | 3 | 116 | 5 | 65
0.17676 | 0.94157 | 0.85 | 88521.3473 | 1.1295 | -44395.7234 | 8.5135e-05 | 0.16867 | 91.4584 | 28.4781 | 47193.3697 | 2646478.5999 | 33.1016 | 33.5575 | 0.038735 | [45863.35774949055, 21950.347586340762, 20707.641942474107] | [1.2503574903050578, 1.108913857035409, 1.0293626919991958] | [-8255.60682904673, -12305.236802474692, -23834.879733315916] | [7.580662239976276e-05, 8.650162586504375e-05, 9.309705462712656e-05] | [0.17203715377800632, 0.16986287398437694, 0.1641076207611819] | [89.64886278916151, 88.69791408831267, 96.02850760492831] | [27.329119866466904, 27.717719834965315, 30.387528124675732] | [46599.394287409625, 42669.88223294535, 52310.83268558445] | [0.2065350683738736, 0.2099202610347299, 0.19826815413443957] | [0.07568931621165928, 0.11369434016017288, 0.14991435012725346] | [281.0, 116.0, 66.0] | [0.6335525622097339, 0.4584790692122033, 0.2439880888376092] | [0.00042068065323689133, 0.0003000017218398308, 0.00030392685159346013] | [3.0, 3.0, 5.0] | [0.8992694321756591, 0.9499993167200909, 0.9499994538889741] | [0.02751868943015577, 0.041017456008248965, 0.04766975946663183] | 0.018418 | 0.050288 | 0.10566 | 3 | 281 | 3 | 116 | 5 | 66
0.19865 | 1.1052 | 0.85 | 90571.221 | 1.1347 | -747209.6921 | 7.2048e-05 | 3.2102 | 69.858 | 20.2804 | 434667.0959 | 3014820.0213 | 33.0686 | 33.1396 | 0.72448 | [52637.25571501504, 21827.980634538642, 16105.984607347298] | [1.3102399068700368, 1.085366735406798, 1.008638021696696] | [-164364.55130214972, -202129.73288234783, -380715.4079461929] | [6.339983291042544e-05, 6.596754794209111e-05, 8.677564485275752e-05] | [3.0013910363946326, 3.551911177823635, 3.0773000044527574] | [78.30905617744862, 52.687240861011546, 78.57774940898517] | [19.88970430333083, 16.385357555842656, 24.566191412840897] | [566465.7169883566, 184496.36674839444, 553039.2039707773] | [0.23508722113244498, 0.1586001004992188, 0.16711559157070432] | [0.06198117706470697, 0.09658609866286523, 0.15620322612115115] | [281.0, 117.0, 65.0] | [0.7363874431904243, 0.3911323272330248, 0.0653319362750367] | [0.00030770603307183627, 0.00031081076471517266, 0.00031380965920054107] | [3.0, 3.0, 4.0] | [0.9411172808790722, 0.8780510124187735, 0.9082641299981864] | [0.5478818376738325, 0.6737657762744927, 0.9517885198654823] | 0.018845 | 0.057566 | 0.11985 | 3 | 281 | 3 | 117 | 4 | 65
0.17681 | 0.94211 | 0.85 | 88441.531 | 1.123 | -38159.6057 | 8.2594e-05 | 0.1715 | 86.9199 | 27.2421 | 41808.297 | 2648598.2295 | 33.1013 | 33.573 | 0.037153 | [49649.907420882104, 22139.611769356594, 16652.0118426023] | [1.2402712307372967, 1.1020138437692197, 1.026575291281296] | [-8951.010012279792, -10320.413438065461, -18888.182298698797] | [7.699805016256114e-05, 7.882180661791878e-05, 9.196307440903433e-05] | [0.17380810803936325, 0.17524474291451977, 0.1654598176857977] | [88.29536738764305, 79.68766041859965, 92.77678011635925] | [26.80320915725138, 25.285878832814774, 29.63710011909282] | [45568.555804859425, 31806.72639929671, 48049.608800095164] | [0.2186888385347101, 0.1877583219995283, 0.18591016444277292] | [0.07229983488328325, 0.10487278826979977, 0.15109299618238395] | [281.0, 117.0, 66.0] | [0.6694227048713512, 0.4415464079033781, 0.18736760607915462] | [0.00035372909437784967, 0.0003000004547307916, 0.00030000062966935374] | [3.0, 3.0, 4.0] | [0.9330097398736649, 0.9499956109579564, 0.949998789523342] | [0.029836700040932643, 0.034401378126884874, 0.047220455746747] | 0.018402 | 0.05033 | 0.10569 | 3 | 281 | 3 | 117 | 4 | 66
0.17676 | 0.94176 | 0.85 | 88464.1938 | 1.1294 | -44418.5577 | 8.5063e-05 | 0.16869 | 91.5006 | 28.4922 | 47360.3571 | 2646985.0795 | 33.1018 | 33.5548 | 0.038636 | [45969.1501264685, 22139.587330609007, 20355.456336213716] | [1.250139901958752, 1.1092702132731411, 1.0289139941748549] | [-8278.79634381899, -12023.49142253191, -24116.269897177906] | [7.583726059323414e-05, 8.545200068351686e-05, 9.390049513983148e-05] | [0.17212171305092777, 0.17058334720902607, 0.1633534557442841] | [89.55174415602502, 87.49469953836044, 97.45521859730471] | [27.298232469453307, 27.383030192966242, 30.795365057010493] | [46488.39859306911, 41124.0128481656, 54468.65982969423] | [0.20686453293109025, 0.20747114567545677, 0.19956987245557584] | [0.07557142655251395, 0.11206043367416652, 0.15179040335823551] | [281.0, 117.0, 65.0] | [0.634706235573435, 0.45996198390252935, 0.23951810420932196] | [0.00041866031827848154, 0.0003000012905652861, 0.00030536394711155293] | [3.0, 3.0, 5.0] | [0.9000936749184092, 0.9499992324510135, 0.9499994723785086] | [0.027595987812729973, 0.04007830474177304, 0.04823253979435582] | 0.018407 | 0.050298 | 0.10566 | 3 | 281 | 3 | 117 | 5 | 65
0.17676 | 0.9416 | 0.85 | 88511.6968 | 1.13 | -44318.7039 | 8.5005e-05 | 0.16873 | 91.3421 | 28.4454 | 47035.8385 | 2646562.5117 | 33.1017 | 33.5576 | 0.038616 | [45654.092887021936, 22139.579375810677, 20718.024525591147] | [1.2509112257701496, 1.1097959715802737, 1.0293803854485528] | [-8215.169935138712, -12191.663910904706, -23911.87008036108] | [7.574474735422972e-05, 8.608312456359099e-05, 9.318817487394028e-05] | [0.17190761428460816, 0.17016274810827095, 0.16412387154594582] | [89.78668311181117, 88.23793251697919, 96.00183048864078] | [27.3747003554971, 27.58254159587717, 30.37903556159922] | [46748.71209838407, 42089.64096847202, 52269.16256159999] | [0.20592209838033726, 0.20928581450814662, 0.1985202173417201] | [0.07588516613218053, 0.11278081234248245, 0.15002750689845532] | [281.0, 117.0, 66.0] | [0.6315103833043151, 0.4612021730366123, 0.24437826134854196] | [0.00042470459857336023, 0.00030000156262933314, 0.00030354542223519544] | [3.0, 3.0, 5.0] | [0.8974957156710888, 0.9499992879635173, 0.949999458479179] | [0.02738389978379571, 0.04063887970301569, 0.04782374016072216] | 0.018416 | 0.05029 | 0.10566 | 3 | 281 | 3 | 117 | 5 | 66
0.17681 | 0.94181 | 0.85 | 88547.6578 | 1.1291 | -42929.0816 | 8.4283e-05 | 0.16867 | 91.5351 | 28.4821 | 47407.1871 | 2647283.184 | 33.1014 | 33.5541 | 0.037904 | [42934.309388004265, 29213.685018257533, 16399.66340819429] | [1.2578432857312545, 1.1041063941265927, 1.0253283458188538] | [-7667.902716601275, -15993.062930410457, -19268.115982209078] | [7.497483446903192e-05, 8.497139608877396e-05, 9.2902537067953e-05] | [0.16988605647992855, 0.17123277310405025, 0.16487626161118837] | [92.26141188731455, 88.54758664053486, 93.79638335225694] | [28.14952645901901, 27.355787001440234, 29.940997116022906] | [49722.40748210588, 42959.0567326171, 49540.0970963971] | [0.19836626186924042, 0.2262710295995622, 0.1869451548956047] | [0.0785759714891319, 0.10446309562406095, 0.15341712200635088] | [281.0, 116.0, 65.0] | [0.6039060836421537, 0.5384291310526513, 0.1794319667101845] | [0.000480571098095484, 0.0003013869876610936, 0.0003000027177701259] | [3.0, 4.0, 4.0] | [0.8755321161350901, 0.9499984879087786, 0.949997162460439] | [0.02555967572200425, 0.03998265732602614, 0.048170289955522694] | 0.018424 | 0.050304 | 0.10569 | 3 | 281 | 4 | 116 | 4 | 65
0.17681 | 0.94168 | 0.85 | 88579.7588 | 1.1296 | -42341.0217 | 8.3902e-05 | 0.16872 | 91.3916 | 28.4391 | 47173.0563 | 2646989.8511 | 33.1013 | 33.5598 | 0.037405 | [42787.495223135586, 29140.257448631826, 16652.006138611447] | [1.258163043433764, 1.1048789312347815, 1.0258147156831483] | [-7636.387711898436, -15886.570900815726, -18818.063084707952] | [7.49359753848348e-05, 8.498643354287894e-05, 9.178238369610065e-05] | [0.16975021825042752, 0.17085236924815286, 0.1655661818429955] | [92.4447276139205, 89.19780260012787, 92.53235529614466] | [28.204925234320257, 27.532701316218983, 29.579596498032913] | [49957.9339916257, 43825.78916863601, 47735.44583307045] | [0.1979708817688046, 0.22633076211312836, 0.18485631683570677] | [0.07873922008497428, 0.10448633964726141, 0.1510929076877603] | [281.0, 116.0, 66.0] | [0.602290223248336, 0.538447490946035, 0.18273308514730408] | [0.00048378881579283663, 0.00030329847382252605, 0.00030000088904143365] | [3.0, 4.0, 4.0] | [0.8744359728575952, 0.9499994492470327, 0.9499988474325222] | [0.02545462570632812, 0.03971642725203932, 0.04704515771176988] | 0.018431 | 0.050298 | 0.10568 | 3 | 281 | 4 | 116 | 4 | 66
0.17679 | 0.94153 | 0.85 | 88594.8727 | 1.1367 | -44957.2718 | 8.4264e-05 | 0.16514 | 97.9787 | 30.2155 | 56632.9135 | 2646312.1783 | 33.1014 | 33.5537 | 0.035505 | [40397.326377059, 27905.025736678166, 20292.520633420623] | [1.2637422895972688, 1.117725019604636, 1.0287771412029558] | [-7131.559718303873, -14184.523847466085, -23641.18823496004] | [7.431019136055746e-05, 8.514733911992588e-05, 9.333317387728796e-05] | [0.167474501320313, 0.164686983308665, 0.16325744944748619] | [95.72588718534827, 100.59563311691988, 97.61463340148052] | [29.181570756684017, 30.618388926298177, 30.846646143135494] | [54380.635899115776, 60791.52766973273, 54726.576987178865] | [0.19191637197166092, 0.22668964213729476, 0.1979853372764662] | [0.08133727720287563, 0.10518737830548334, 0.15109113190389722] | [281.0, 116.0, 65.0] | [0.5762031182418833, 0.5360734223811601, 0.23696201721047272] | [0.0005394638406947758, 0.0003369623679404668, 0.00030772898094855633] | [3.0, 4.0, 5.0] | [0.8567912697131426, 0.9499983625137848, 0.9499984720380436] | [0.023771865727679573, 0.03546130961866521, 0.04728237646992007] | 0.018434 | 0.050285 | 0.10567 | 3 | 281 | 4 | 116 | 5 | 65
0.17679 | 0.94143 | 0.85 | 88625.7224 | 1.1375 | -44707.5794 | 8.408e-05 | 0.16512 | 98.0069 | 30.2171 | 56718.0418 | 2646070.1997 | 33.1013 | 33.5566 | 0.03529 | [40170.34508977744, 27779.055585406422, 20676.321739099756] | [1.2642317314393654, 1.1189780582557376, 1.0292779220230845] | [-7082.845440520155, -14024.748991947254, -23599.98501726781] | [7.425353772388355e-05, 8.517161207568318e-05, 9.281413808545375e-05] | [0.16723475042078523, 0.1640673326037217, 0.16406357283333473] | [96.09235720005668, 101.83154709842907, 96.0967507981666] | [29.289073626853217, 30.951768858653356, 30.410325184066046] | [54897.80070777192, 62836.525037215266, 52419.79978353116] | [0.1913639224598462, 0.2266830746614026, 0.19745564190925655] | [0.08159762657059744, 0.10532476228382386, 0.14957403049658294] | [281.0, 116.0, 66.0] | [0.5736189061969679, 0.5354526749549394, 0.24259981579846013] | [0.000545095458771302, 0.0003405636694071854, 0.00030507979591723233] | [3.0, 4.0, 5.0] | [0.8551923944876209, 0.9499994015489075, 0.9499994405844935] | [0.02360948480173385, 0.03506187247986813, 0.04719997003453562] | 0.01844 | 0.05028 | 0.10567 | 3 | 281 | 4 | 116 | 5 | 66
0.17681 | 0.94181 | 0.85 | 88556.4299 | 1.1295 | -42874.0696 | 8.4203e-05 | 0.1687 | 91.4816 | 28.4663 | 47347.7367 | 2647299.5444 | 33.1013 | 33.5542 | 0.037842 | [42651.50156588674, 29505.227254670408, 16399.70106812538] | [1.2585310707678377, 1.1047309005353088, 1.0253379441486346] | [-7609.45854358144, -15995.663552637832, -19268.947536071446] | [7.489900467531485e-05, 8.480385073308052e-05, 9.290507752005692e-05] | [0.16964206934668996, 0.1715801580490816, 0.16487405785788845] | [92.58918737096089, 88.05584661066366, 93.79989150826192] | [28.248944323078046, 27.20815756569696, 29.941870384086855] | [50142.50776996542, 42356.16699108426, 49544.53519211213] | [0.19762276567842285, 0.22649056673900256, 0.18695903350462584] | [0.07887145201250913, 0.10378980363027424, 0.15341736675874135] | [281.0, 117.0, 65.0] | [0.6009203784210998, 0.541849235437886, 0.17949160028306782] | [0.0004867891441703087, 0.00030036628724904507, 0.00030000097894561573] | [3.0, 4.0, 4.0] | [0.8733530435456944, 0.9499994455372945, 0.9499989700595538] | [0.02536486181193813, 0.03998915888159458, 0.048172368840178614] | 0.018426 | 0.050305 | 0.10569 | 3 | 281 | 4 | 117 | 4 | 65
0.17681 | 0.94168 | 0.85 | 88588.7732 | 1.1301 | -42286.9921 | 8.3822e-05 | 0.16876 | 91.3385 | 28.4234 | 47112.5539 | 2647003.091 | 33.1012 | 33.5599 | 0.037344 | [42505.13575600479, 29431.63114497964, 16652.00626302696] | [1.2588493071042834, 1.1055020625557195, 1.0258239572552317] | [-7577.68081826032, -15890.399540170754, -18818.911744750123] | [7.485991159476179e-05, 8.482029878825837e-05, 9.178457982461494e-05] | [0.16950368981946484, 0.1712006390608932, 0.16556488651224846] | [92.78004245990726, 88.70003426679799, 92.53532437466967] | [28.306309637473372, 27.383503056547664, 29.58029481151426] | [50390.780968835556, 43207.62972927249, 47739.25093444419] | [0.1972312225552226, 0.22655073390683417, 0.18486910024285558] | [0.07903503778222666, 0.10381431013076171, 0.15109290925834418] | [281.0, 117.0, 66.0] | [0.5992985302004525, 0.541861983103626, 0.1827896167364309] | [0.0004900397569056586, 0.0003022606413641727, 0.0003000008833840051] | [3.0, 4.0, 4.0] | [0.8722754120494514, 0.9499994434630727, 0.9499988468457085] | [0.025258936060867734, 0.03972599885042688, 0.04704727936187531] | 0.018432 | 0.050299 | 0.10569 | 3 | 281 | 4 | 117 | 4 | 66
0.17679 | 0.94154 | 0.85 | 88599.3492 | 1.1372 | -44938.9441 | 8.4201e-05 | 0.16516 | 97.9343 | 30.2025 | 56547.0069 | 2646347.6618 | 33.1014 | 33.5536 | 0.035467 | [40115.31058131971, 28186.455792434226, 20297.582860100567] | [1.2643933253391202, 1.118390361386501, 1.0287825532255568] | [-7072.205965156699, -14188.762089770113, -23677.97605212155] | [7.423944965310837e-05, 8.498531775208341e-05, 9.337691091319573e-05] | [0.16718590418228713, 0.16501754664333185, 0.16326553158070894] | [96.16671636362689, 100.03638761346488, 97.59971573414171] | [29.310991563996218, 30.454312311325715, 30.842074954725405] | [55002.718188106024, 59935.602588813446, 54702.70002553292] | [0.19123958493723273, 0.22686266872619756, 0.19810178268145862] | [0.0816504544319232, 0.10451691701529084, 0.15114699651163555] | [281.0, 117.0, 65.0] | [0.5730653932105393, 0.5393825722046623, 0.23712865058164137] | [0.0005464705157533755, 0.00033581085707127964, 0.00030753820730214224] | [3.0, 4.0, 5.0] | [0.8547661877601975, 0.9499993995478146, 0.949999448019425] | [0.023574019883855664, 0.03547190522442528, 0.04735595210424309] | 0.018435 | 0.050286 | 0.10568 | 3 | 281 | 4 | 117 | 5 | 65
0.17679 | 0.94144 | 0.85 | 88630.3349 | 1.1379 | -44687.9565 | 8.4016e-05 | 0.16514 | 97.9626 | 30.204 | 56627.8755 | 2646102.9309 | 33.1013 | 33.5565 | 0.035252 | [39889.46429866112, 28059.630671779873, 20681.239977609177] | [1.2648792401805233, 1.119644345443517, 1.0292832929810631] | [-7023.438803460123, -14028.956218287794, -23635.56150396484] | [7.418276626262943e-05, 8.500866792548754e-05, 9.285616057291389e-05] | [0.16694350814538778, 0.16439846539549005, 0.16407180719173414] | [96.54334090299426, 101.26171944875804, 96.08277638580985] | [29.421112890739046, 30.785029000015857, 30.405990252607346] | [55540.05972199973, 61945.3987130038, 52398.168111066465] | [0.1906938261651377, 0.22684729802997633, 0.1975686713102987] | [0.08191065265732178, 0.10465317352137873, 0.149627368397375] | [281.0, 117.0, 66.0] | [0.5704787870447728, 0.5387494643706077, 0.24276326631746076] | [0.0005521531003401166, 0.0003393951415119663, 0.00030489851694888757] | [3.0, 4.0, 5.0] | [0.8531937570864191, 0.9499993950766357, 0.9499994429218813] | [0.023411462678200413, 0.035072390545719485, 0.047271123007929676] | 0.018441 | 0.050281 | 0.10568 | 3 | 281 | 4 | 117 | 5 | 66
0.17682 | 0.94234 | 0.85 | 88397.348 | 1.1221 | -38770.7372 | 8.2994e-05 | 0.17153 | 86.9456 | 27.2554 | 41888.8692 | 2649178.7257 | 33.1015 | 33.5678 | 0.037706 | [50047.30407206496, 21950.361763450026, 16399.682178756942] | [1.2395871897650959, 1.1007455261478323, 1.0261104355419195] | [-9090.868144038008, -10337.896237995632, -19341.972797799786] | [7.700575768213547e-05, 7.88847735103985e-05, 9.309068858368239e-05] | [0.1746527559852196, 0.17517607692705744, 0.16476730730244027] | [87.06236344692532, 79.72339915200203, 94.05088883116477] | [26.457861659192513, 25.30767694409339, 30.000809881369868] | [43962.118596128086, 31829.811867876626, 49874.677178031576] | [0.21933192720894162, 0.18734579374750193, 0.1880408217132403] | [0.07173425211652794, 0.10536884657987916, 0.15341741053354285] | [282.0, 116.0, 65.0] | [0.6729711700364398, 0.4376692014803951, 0.18421400664472515] | [0.0003501529298309085, 0.0003000012327849506, 0.0003000018510996074] | [3.0, 3.0, 4.0] | [0.9323129430189939, 0.9499878972209238, 0.949997036044332] | [0.030302893813460026, 0.034459654126652105, 0.04835493199449947] | 0.018393 | 0.050342 | 0.1057 | 3 | 282 | 3 | 116 | 4 | 65
0.17682 | 0.94221 | 0.85 | 88424.0802 | 1.1227 | -38374.3776 | 8.2723e-05 | 0.17164 | 86.6787 | 27.1801 | 41437.9348 | 2648856.1601 | 33.1014 | 33.5732 | 0.037391 | [49821.68430675233, 21950.384034989554, 16652.01183002355] | [1.2401973579204397, 1.1012396887099543, 1.0265804537690602] | [-9051.739568666922, -10433.977867708361, -18888.660117162988] | [7.693106448505185e-05, 7.927338300556011e-05, 9.196429608475356e-05] | [0.17458154212814564, 0.174886888008008, 0.1654591002400151] | [87.07441970914094, 80.18316819466102, 92.77843463242561] | [26.47121190908579, 25.431531427557303, 29.637489569987544] | [43925.22624070912, 32336.83734378373, 48051.74091947599] | [0.21854337766228446, 0.18852087063888198, 0.18591732828349858] | [0.07192521167439074, 0.10578083257962144, 0.1510929964150014] | [282.0, 116.0, 66.0] | [0.670917029095513, 0.43898887818418314, 0.18739893299829136] | [0.0003538090643251054, 0.0003000004645051263, 0.00030000063024133495] | [3.0, 3.0, 4.0] | [0.9302014437330722, 0.949996557678358, 0.9499987889019151] | [0.030172465228889736, 0.03477992622569454, 0.04722165029290748] | 0.018398 | 0.050335 | 0.10569 | 3 | 282 | 3 | 116 | 4 | 66
0.17676 | 0.94183 | 0.85 | 88454.9904 | 1.1291 | -44611.8308 | 8.5192e-05 | 0.16881 | 91.2877 | 28.437 | 47055.4056 | 2647177.1368 | 33.1018 | 33.555 | 0.038861 | [46152.47572022363, 21950.287148188287, 20352.22753616775] | [1.2500287571076503, 1.1084513605184785, 1.028915203375999] | [-8370.5502101316, -12148.251713642692, -24093.028829298673] | [7.578709381610892e-05, 8.59146333730833e-05, 9.387367225852992e-05] | [0.1728428346701874, 0.17025217968683065, 0.1633477981117989] | [88.38944658847463, 88.0073128362432, 97.46641167258653] | [26.980260653520265, 27.532209896444623, 30.798650900624505] | [44914.78438169819, 41765.179708812044, 54486.252737871095] | [0.2068177338866155, 0.20824623399833672, 0.1995029526113942] | [0.07518869811901453, 0.11301487130952424, 0.15175451178533095] | [282.0, 116.0, 65.0] | [0.6364743157197681, 0.4573890354010772, 0.23944285956148278] | [0.000418285809638039, 0.0003000038067270494, 0.0003054849248523435] | [3.0, 3.0, 5.0] | [0.8975240848970535, 0.9499979825286724, 0.949998541473504] | [0.027901834033772, 0.04049417237880897, 0.04818605765859734] | 0.018405 | 0.050302 | 0.10566 | 3 | 282 | 3 | 116 | 5 | 65
0.17677 | 0.94167 | 0.85 | 88502.6954 | 1.1297 | -44513.091 | 8.5135e-05 | 0.16886 | 91.1306 | 28.3906 | 46733.6078 | 2646753.6404 | 33.1017 | 33.5577 | 0.038842 | [45837.54866060377, 21950.34825450395, 20714.79849352364] | [1.250798122221926, 1.1089754198491293, 1.029381294862419] | [-8306.304774450427, -12317.948418658481, -23888.837785099535] | [7.569616584162369e-05, 8.65485664778971e-05, 9.316171558965532e-05] | [0.172624714876595, 0.1698323622769558, 0.1641177688832803] | [88.62506254942772, 88.75395245278767, 96.01271622613349] | [27.05687971272111, 27.73255240518852, 30.382275230591127] | [45170.888949559456, 42744.23913426681, 52285.69538095376] | [0.20588085621256513, 0.2100675957875053, 0.19845333457845807] | [0.07550251752351705, 0.1137413713069497, 0.14999232923285663] | [282.0, 116.0, 66.0] | [0.6332953393779417, 0.4586349860582655, 0.24430080079963443] | [0.00042430083836066525, 0.000300001698790797, 0.00030366389739816313] | [3.0, 3.0, 5.0] | [0.8949335325807074, 0.9499993188357992, 0.9499994568896268] | [0.02768768258150143, 0.041059828062194936, 0.047777675570199074] | 0.018415 | 0.050294 | 0.10566 | 3 | 282 | 3 | 116 | 5 | 66
0.17683 | 0.94238 | 0.85 | 88390.1702 | 1.1226 | -38638.3959 | 8.2836e-05 | 0.17163 | 86.7938 | 27.2131 | 41713.4757 | 2649290.1013 | 33.1015 | 33.5683 | 0.037558 | [49850.89751166482, 22139.590021606036, 16399.682671250433] | [1.2401611679771267, 1.101594443276983, 1.0261419267665313] | [-9059.194335589886, -10234.243395415306, -19344.9581876946] | [7.693956104997738e-05, 7.8470286881241e-05, 9.309828444994816e-05] | [0.17460825591990908, 0.17550994659159824, 0.16476291597968984] | [87.04905729001374, 79.27123535994843, 94.06116744175849] | [26.462722771256885, 25.173377399514465, 30.003225685265175] | [43900.001498997146, 31352.18898867095, 49888.23671006871] | [0.21865822782047747, 0.1867101502844951, 0.18808502459279505] | [0.07188533946658766, 0.10449330830736493, 0.15341741848848653] | [282.0, 117.0, 65.0] | [0.6712722900703934, 0.4404438386778735, 0.18440578008523087] | [0.00035333380359431365, 0.0003000011985298681, 0.00030000182836032694] | [3.0, 3.0, 4.0] | [0.9304178346056892, 0.9499834340949059, 0.949997030563195] | [0.030197314451966287, 0.03411414465138435, 0.04836239546923649] | 0.018391 | 0.050344 | 0.1057 | 3 | 282 | 3 | 117 | 4 | 65
0.17682 | 0.94224 | 0.85 | 88417.2757 | 1.1232 | -38241.0148 | 8.2565e-05 | 0.17174 | 86.5288 | 27.1382 | 41264.0858 | 2648961.7159 | 33.1014 | 33.5737 | 0.037242 | [49625.69909102678, 22139.588703572368, 16651.98792684478] | [1.240767386320241, 1.102088282574696, 1.0266118388201566] | [-9019.492209913422, -10329.742906300226, -18891.779674310746] | [7.68652937447995e-05, 7.885739249951379e-05, 9.197173450235799e-05] | [0.17453210359288593, 0.17522143424053901, 0.16545566319898586] | [87.07090487772294, 79.72762713237532, 92.78801073507366] | [26.47862806835862, 25.296357791992328, 29.63968796201645] | [43876.94859967528, 31851.079889982135, 48064.22892621699] | [0.21787701508509394, 0.18788094489484583, 0.18596084368455512] | [0.07207801934877058, 0.104902047025051, 0.15109300532534561] | [282.0, 117.0, 66.0] | [0.6692088958248547, 0.44175518327114865, 0.1875891285526489] | [0.00035701195696618605, 0.0003000012436082426, 0.00030000171716874] | [3.0, 3.0, 4.0] | [0.928327475628901, 0.9499879765383357, 0.9499966549082107] | [0.03006497403304474, 0.03443247635433408, 0.04722944918577687] | 0.018397 | 0.050337 | 0.10569 | 3 | 282 | 3 | 117 | 4 | 66
0.17676 | 0.94186 | 0.85 | 88445.7631 | 1.1296 | -44534.4983 | 8.5062e-05 | 0.16888 | 91.1709 | 28.4042 | 46898.2114 | 2647259.2591 | 33.1018 | 33.555 | 0.038741 | [45943.97663857997, 22139.522170853103, 20362.264276503145] | [1.2505820129760399, 1.109332455677232, 1.028932526000982] | [-8329.79208556762, -12035.559192537508, -24169.14706049091] | [7.572589900687644e-05, 8.549688259634644e-05, 9.396340090451242e-05] | [0.17271280132008565, 0.17055414281029171, 0.16336384839490137] | [88.52482812458685, 87.54851215065085, 97.43935713688946] | [27.025128098193186, 27.397255589184265, 30.790093639272847] | [45057.74802381492, 41193.95860728003, 54442.92751242189] | [0.20620718141961306, 0.20761315007710351, 0.1997496824000625] | [0.07538307640010124, 0.11210478055221444, 0.15186659813147926] | [282.0, 117.0, 65.0] | [0.6344550420925756, 0.4601177564996088, 0.23982141220798953] | [0.00042225886553473216, 0.0003000035191161503, 0.00030510899070058446] | [3.0, 3.0, 5.0] | [0.8957583715168234, 0.949997891258429, 0.9499985531388948] | [0.02776597361855874, 0.04011853064179169, 0.04833829412098181] | 0.018403 | 0.050304 | 0.10566 | 3 | 282 | 3 | 117 | 5 | 65
0.17676 | 0.9417 | 0.85 | 88493.3635 | 1.1302 | -44434.0888 | 8.5005e-05 | 0.16892 | 91.0169 | 28.3586 | 46578.8034 | 2646833.0925 | 33.1017 | 33.5578 | 0.03872 | [45628.75312282223, 22139.57993251635, 20725.03045298827] | [1.2513477682151577, 1.1098565624416294, 1.0293986939932025] | [-8265.119985912155, -12204.058690745189, -23964.910077543056] | [7.56354813890104e-05, 8.612908768318327e-05, 9.325162174772726e-05] | [0.17248889668057557, 0.17013268075187304, 0.16413377061010487] | [88.77155439188306, 88.29277897691195, 95.98646423109633] | [27.104723044173987, 27.597065167766722, 30.3739157371241] | [45329.88356829989, 42161.82528027529, 52244.70127909236] | [0.20527674384484004, 0.20943017915775297, 0.1987021144974938] | [0.07569952254301392, 0.11282665851309479, 0.15010395926498704] | [282.0, 117.0, 66.0] | [0.6312561706879192, 0.4613546654160143, 0.24468541267177984] | [0.0004283345545813331, 0.0003000015435892968, 0.00030328825845404015] | [3.0, 3.0, 5.0] | [0.8931832255221587, 0.9499992902051592, 0.949999461380823] | [0.027550399953040518, 0.0406801956358173, 0.047929820155086116] | 0.018413 | 0.050295 | 0.10566 | 3 | 282 | 3 | 117 | 5 | 66
0.17681 | 0.94189 | 0.85 | 88534.6902 | 1.1292 | -43005.8052 | 8.4273e-05 | 0.16883 | 91.2348 | 28.4019 | 46972.5038 | 2647487.2383 | 33.1014 | 33.5544 | 0.03798 | [42914.05340577991, 29220.972980122908, 16399.66380510108] | [1.258231416223078, 1.1041029799318285, 1.0253444636931264] | [-7709.028371284953, -16027.14491334348, -19269.631934613175] | [7.487917009245706e-05, 8.503486996117414e-05, 9.29063988655118e-05] | [0.170393303648207, 0.17122780486290062, 0.16487402150212163] | [91.34074382147759, 88.56206263549953, 93.80160790705729] | [27.90442623287001, 27.358906201130765, 29.94222502710442] | [48389.71035848356, 42980.85886781809, 49546.94212470663] | [0.19782021490139667, 0.22648462520376306, 0.18696769018337395] | [0.07840396187151108, 0.10451523607004028, 0.15341712831746093] | [282.0, 116.0, 65.0] | [0.6036821830089867, 0.5386342851263562, 0.17953088495756508] | [0.0004843525769765182, 0.00030119778954502106, 0.00030000269944420726] | [3.0, 4.0, 4.0] | [0.8715056346202644, 0.949998497323884, 0.9499971596384585] | [0.025696761237616512, 0.0400678622833587, 0.04817407983653294] | 0.018421 | 0.050308 | 0.10569 | 3 | 282 | 4 | 116 | 4 | 65
0.17681 | 0.94175 | 0.85 | 88566.9863 | 1.1298 | -42417.4851 | 8.3893e-05 | 0.16889 | 91.0925 | 28.3591 | 46738.9356 | 2647191.2013 | 33.1013 | 33.5601 | 0.03748 | [42767.26183164145, 29147.718191666256, 16652.006256508474] | [1.2585493912323975, 1.1048737904911856, 1.0258307891654097] | [-7677.042776876879, -15920.903327736745, -18819.538989404064] | [7.484089276881572e-05, 8.505057590799297e-05, 9.178618692964841e-05] | [0.17025371605445005, 0.17084778291042835, 0.16556393908897937] | [91.52826592543883, 89.21173334961843, 92.53750114754784] | [27.96095422215826, 27.53566593522304, 29.58080718384496] | [48627.61283452959, 43847.155846939626, 47742.037980540605] | [0.19742895685911085, 0.22654595967886082, 0.18487854462797076] | [0.07856800638225564, 0.10453924814308195, 0.15109290971365014] | [282.0, 116.0, 66.0] | [0.6020656830166656, 0.5386524458844719, 0.18283138164375412] | [0.0004875843009398755, 0.00030310381420444, 0.0003000008836804141] | [3.0, 4.0, 4.0] | [0.8704223028388194, 0.9499994527325758, 0.9499988461459273] | [0.025590142589589596, 0.039802258319341866, 0.04704884747351015] | 0.018428 | 0.050302 | 0.10569 | 3 | 282 | 4 | 116 | 4 | 66
0.17679 | 0.94159 | 0.85 | 88583.8231 | 1.1369 | -45044.3703 | 8.4265e-05 | 0.16529 | 97.6997 | 30.141 | 56208.4722 | 2646483.4448 | 33.1014 | 33.5538 | 0.035583 | [40376.83025223301, 27910.938949430292, 20296.05393757348] | [1.2641046253143566, 1.117724003341804, 1.0287870761031446] | [-7165.159217776071, -14211.321550865192, -23667.88953953824] | [7.422374992535833e-05, 8.520678374823463e-05, 9.33655016339451e-05] | [0.16792079785856007, 0.16467733195742007, 0.16326253756887216] | [94.87228132696073, 100.62036742245162, 97.6065037400193] | [28.95461364307054, 30.62430513089995, 30.84395277186968] | [53076.94260432713, 60835.23705468226, 54713.23700877775] | [0.1914345101349363, 0.2268827022916104, 0.19807764927074817] | [0.0811788069560019, 0.10523945650796342, 0.15113022759005273] | [282.0, 116.0, 65.0] | [0.5759641110862801, 0.536238687438381, 0.2371203470946492] | [0.0005435184149995374, 0.00033679411666630223, 0.0003075958158144207] | [3.0, 4.0, 5.0] | [0.8529730394932926, 0.9499983720860472, 0.9499984761365559] | [0.02388386405925357, 0.03552830387716298, 0.047335779079076476] | 0.018431 | 0.050288 | 0.10568 | 3 | 282 | 4 | 116 | 5 | 65
0.17679 | 0.94149 | 0.85 | 88614.8935 | 1.1376 | -44793.1673 | 8.4081e-05 | 0.16527 | 97.7296 | 30.1429 | 56294.0952 | 2646238.3332 | 33.1013 | 33.5567 | 0.035367 | [40150.09244913794, 27784.977907700126, 20679.823186282814] | [1.2645912399443973, 1.1189757919438148, 1.029287792401898] | [-7115.891855911142, -14051.113779545136, -23626.161709733846] | [7.416790747375243e-05, 8.523067968708615e-05, 9.284579941743959e-05] | [0.1676762900351269, 0.1640579428646142, 0.16406844587218897] | [95.24343090045751, 101.85599369675015, 96.08924438914521] | [29.063390166898074, 30.957608047774777, 30.40780428754268] | [53593.87986730186, 62880.62992523414, 52407.77590284947] | [0.19088784874240258, 0.22687423565860648, 0.19754686098721128] | [0.08143995322349039, 0.10537683668840703, 0.14961199980558956] | [282.0, 116.0, 66.0] | [0.5733814467514206, 0.5356146012149244, 0.24275744701591268] | [0.0005491697268918133, 0.0003403936273945508, 0.0003049507289315008] | [3.0, 4.0, 5.0] | [0.8513940266705881, 0.9499994050279497, 0.9499994420829706] | [0.023719639519703805, 0.035127784448862845, 0.047252323419467696] | 0.018438 | 0.050284 | 0.10568 | 3 | 282 | 4 | 116 | 5 | 66
0.17682 | 0.94189 | 0.85 | 88543.5963 | 1.1297 | -42945.7677 | 8.4191e-05 | 0.16886 | 91.1843 | 28.3869 | 46915.034 | 2647500.8823 | 33.1014 | 33.5545 | 0.037913 | [42632.57128923462, 29511.323827292963, 16399.70121503825] | [1.2589130349251747, 1.104733335878982, 1.025354366335972] | [-7649.966972562759, -16025.310568182635, -19270.490139682457] | [7.480481350474849e-05, 8.486011432020684e-05, 9.290900976926641e-05] | [0.17014330525363436, 0.17157366083870032, 0.16487177438625597] | [91.67533899809898, 88.07232334278623, 93.80521705014284] | [28.005617106973585, 27.21189902280661, 29.94312210307989] | [48813.376938837224, 42380.21160965528, 49551.51342639312] | [0.1970880541114372, 0.22668159168210658, 0.18698198916263142] | [0.07869962945919311, 0.10383520330682244, 0.1534173692145669] | [282.0, 117.0, 65.0] | [0.6007093810569586, 0.5420350966196202, 0.17959236995456] | [0.0004905691903355381, 0.00030020978603908117, 0.0003000009721624087] | [3.0, 4.0, 4.0] | [0.8693605379537067, 0.9499994485397322, 0.9499989690210148] | [0.025499889908542527, 0.04006327642045659, 0.04817622534920614] | 0.018423 | 0.050309 | 0.10569 | 3 | 282 | 4 | 117 | 4 | 65
0.17682 | 0.94175 | 0.85 | 88576.2881 | 1.1302 | -42361.9361 | 8.3812e-05 | 0.16892 | 91.0419 | 28.3441 | 46679.8196 | 2647200.1319 | 33.1013 | 33.5602 | 0.037418 | [42485.2962113014, 29438.98551315909, 16652.006376895442] | [1.2592315821657696, 1.105496655963973, 1.0258396723153977] | [-7617.524872224426, -15924.05639256166, -18820.354873629272] | [7.47660416166131e-05, 8.488308419028984e-05, 9.178829849325997e-05] | [0.17000036728966667, 0.17119605012585562, 0.165562693718243] | [91.87143676640844, 88.7138000600331, 92.54035582247717] | [28.06443171498829, 27.386443440587453, 29.581478582597747] | [49065.1814357088, 43228.580269977, 47745.697025613204] | [0.19669805628734932, 0.22676186613437335, 0.1848908333525274] | [0.07886502344003372, 0.10386577087613959, 0.15109291121992047] | [282.0, 117.0, 66.0] | [0.5990766605450903, 0.542061671776369, 0.18288571269568946] | [0.0004938546277413444, 0.00030207091494945326, 0.0003000008782061716] | [3.0, 4.0, 4.0] | [0.8682887498995754, 0.9499994469617059, 0.9499988455862878] | [0.02539174957408142, 0.03981014098140415, 0.04705088718407318] | 0.01843 | 0.050303 | 0.10569 | 3 | 282 | 4 | 117 | 4 | 66
0.1768 | 0.94161 | 0.85 | 88588.5401 | 1.1373 | -45024.3373 | 8.4202e-05 | 0.1653 | 97.6571 | 30.1284 | 56122.2976 | 2646515.3478 | 33.1014 | 33.5537 | 0.035543 | [40095.193299675884, 28192.31667508319, 20301.030094255526] | [1.2647520442722624, 1.118388810610607, 1.0287922652672952] | [-7105.138801384371, -14215.120236879306, -23704.07825461238] | [7.415404350819564e-05, 8.50436431216219e-05, 9.340848501619272e-05] | [0.16762636362010802, 0.16500806141122665, 0.16327048914292747] | [95.31899935922317, 100.06055248184158, 97.59180379397307] | [29.085631353940926, 30.460094390848603, 30.839451956190295] | [53699.1809040555, 59977.99362626144, 54689.718143618236] | [0.19076510812774392, 0.22705242920473384, 0.19819198200074747] | [0.08149292572232647, 0.10456770710071674, 0.15118516826250525] | [282.0, 117.0, 65.0] | [0.5728292157593177, 0.5395438783500395, 0.23728333906430538] | [0.0005505476686724597, 0.0003356459985523357, 0.0003074083502625945] | [3.0, 4.0, 5.0] | [0.850973112365613, 0.949999403045892, 0.9499994494611989] | [0.023683796004614566, 0.035537800592198264, 0.047408156509224766] | 0.018432 | 0.050289 | 0.10568 | 3 | 282 | 4 | 117 | 5 | 65
0.1768 | 0.9415 | 0.85 | 88620.1922 | 1.1381 | -44769.686 | 8.4016e-05 | 0.16528 | 97.6867 | 30.1303 | 56203.1181 | 2646263.7336 | 33.1013 | 33.5566 | 0.035325 | [39870.33021548631, 28065.500048945505, 20684.361935343582] | [1.2652356727715799, 1.1196402751052545, 1.0292928704818132] | [-7055.726584322621, -14054.66484311568, -23659.294525732126] | [7.409762500762888e-05, 8.506550547304934e-05, 9.288468908478853e-05] | [0.1673799845095378, 0.1643906088187866, 0.1640766522105064] | [95.7004746159681, 101.28363424142785, 96.07610134037772] | [29.197019850236654, 30.79019664539004, 30.40370420189957] | [54236.746509420314, 61985.0090271145, 52387.59881619793] | [0.19022529290278228, 0.2270316375111351, 0.1976517037352782] | [0.0817526636641788, 0.10470296874431484, 0.1496613995662991] | [282.0, 117.0, 66.0] | [0.5702513296222149, 0.5389046821768435, 0.24290929065943395] | [0.0005562312245305961, 0.000339228548459078, 0.0003047834909515704] | [3.0, 4.0, 5.0] | [0.8494318906780342, 0.9499983421558849, 0.9499984681392211] | [0.023519088614408736, 0.03513666210778921, 0.047318589051464244] | 0.018439 | 0.050284 | 0.10568 | 3 | 282 | 4 | 117 | 5 | 66